## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-14 00:00:00 | 1.1467 | 165.77 | 1.3267 | 182.1667 | 1.55 | 183.2667 | 2.4533 | 185.1 | 4.1733 | 887 | 91.1667 | 1.1387
2019-02-14 00:15:00 | 1.86 | 163.32 | 2.14 | 179.4667 | 2.4167 | 184.9 | 2.8133 | 193.7667 | 4.1167 | 887 | 91.5 | 1.916
2019-02-14 00:30:00 | 2.2733 | 158.7667 | 2.6133 | 174.4667 | 2.7167 | 195.8333 | 2.96 | 194.2333 | 4.11 | 887 | 91.3 | 2.5013
2019-02-14 00:45:00 | 1.8 | 167.41 | 2.08 | 183.9667 | 2.3733 | 207.5333 | 2.6867 | 205.3667 | 4.09 | 887 | 91.5 | 3.386
2019-02-14 01:00:00 | 1.7 | 187.0633 | 1.9533 | 205.5667 | 2.8667 | 231.5333 | 2.96 | 221.5667 | 4.0567 | 887 | 91.9667 | 5.0287
2019-02-14 01:15:00 | 1.01 | 152.1833 | 1.1633 | 167.2333 | 1.38 | 210.5667 | 2.1633 | 219.4 | 4.0313 | 887 | 92.1 | 4.58
2019-02-14 01:30:00 | 0.52333 | 145.8833 | 0.61 | 160.3 | 0.86 | 226.1667 | 2.1167 | 227.8667 | 3.9667 | 887 | 92.3867 | 3.4953
2019-02-14 01:45:00 | 1.8167 | 199.9333 | 2.0933 | 219.7 | 3.0033 | 235.0333 | 3.44 | 224.2333 | 4.0067 | 887 | 92.0467 | 3.7887
2019-02-14 02:00:00 | 1.2633 | 184.3333 | 1.46 | 202.5667 | 2.1433 | 216.1 | 2.4267 | 231.4333 | 4.1533 | 887 | 90.6 | 1.686
2019-02-14 02:15:00 | 0.71333 | 311.59 | 0.82333 | 342.4 | 0.85667 | 178.92 | 1.3633 | 258.0333 | 4.0367 | 887 | 89.9667 | 0.71533
2019-02-14 02:30:00 | 1.6467 | 120.0833 | 1.8967 | 131.9533 | 2.1033 | 18.9533 | 1.9767 | 96.8733 | 3.4633 | 887 | 88.7 | 0.086
2019-02-14 02:45:00 | 1.9133 | 21.9833 | 2.2067 | 24.16 | 2.1133 | 8.2867 | 1.49 | 14.8567 | 2.9833 | 887 | 88.4333 | 0
2019-02-14 03:00:00 | 1.9667 | 215.61 | 2.2733 | 236.9333 | 2.62 | 13.5067 | 1.59 | 3.5567 | 2.81 | 887 | 89.7667 | 0
2019-02-14 03:15:00 | 2.4867 | 0.05 | 2.8567 | 0.05 | 3.0333 | 18.76 | 1.8033 | 38.6033 | 2.5433 | 887 | 91.1667 | 0
2019-02-14 03:30:00 | 2.8533 | 12.3367 | 3.2833 | 13.5567 | 3.8133 | 13.8 | 3.0767 | 11.1567 | 2.35 | 887 | 92.7 | 0
2019-02-14 03:45:00 | 2.94 | 311.2333 | 3.38 | 342 | 3.83 | 16.4433 | 3.2967 | 20.1633 | 2.1067 | 887 | 93.7 | 0
2019-02-14 04:00:00 | 2.9333 | 129.2867 | 3.3733 | 142.06 | 3.7833 | 15.4233 | 3.67 | 14.6167 | 1.9533 | 887 | 93.6133 | 0.40067
2019-02-14 04:15:00 | 3.7533 | 312.1933 | 4.3133 | 343.0667 | 4.5767 | 6.0167 | 4.52 | 11.87 | 1.8767 | 887 | 94.0333 | 3.9553
2019-02-14 04:30:00 | 4.0867 | 133.5333 | 4.7067 | 146.7333 | 6.0233 | 8.29 | 5.8267 | 12.7167 | 1.8033 | 887 | 93.5 | 13.4013
2019-02-14 04:45:00 | 4.7733 | 8.9233 | 5.4867 | 9.8033 | 7.9867 | 6.25 | 7.6367 | 22.0733 | 1.64 | 887 | 91.7 | 24.9853
2019-02-14 05:00:00 | 5.3267 | 19.6833 | 6.1267 | 21.6233 | 9.02 | 9.3167 | 8.7367 | 14.0733 | 1.52 | 887 | 90.6333 | 31.3487
2019-02-14 05:15:00 | 5.3667 | 224.3333 | 6.1833 | 246.5233 | 8.53 | 23.48 | 8.4033 | 21.79 | 1.4 | 887 | 90.32 | 31.106
2019-02-14 05:30:00 | 5.3 | 228.4067 | 6.11 | 250.99 | 8.1367 | 244.9467 | 7.93 | 16.63 | 1.32 | 887 | 89.92 | 33.8367
2019-02-14 05:45:00 | 5.5567 | 10.8633 | 6.3933 | 11.93 | 8.5967 | 124.9867 | 8.3967 | 19.5233 | 1.17 | 887 | 90.8 | 35.7887
2019-02-14 06:00:00 | 5.69 | 203.9233 | 6.5533 | 224.0833 | 9.11 | 125.44 | 8.7633 | 15.4567 | 1.0367 | 887 | 91.4 | 36.4287
2019-02-14 06:15:00 | 5.9733 | 114.5767 | 6.8833 | 125.9067 | 9.2767 | 24.1667 | 9.1933 | 15.3733 | 0.89667 | 887 | 92.2 | 39.6053
2019-02-14 06:30:00 | 6.5 | 124.77 | 7.49 | 137.1133 | 9.9967 | 21.36 | 9.7733 | 20.0733 | 0.81 | 887 | 92.0667 | 37.936
2019-02-14 06:45:00 | 6.32 | 216.3967 | 7.2667 | 237.8 | 10.07 | 26.7633 | 9.6267 | 19.85 | 0.71 | 887 | 91.7667 | 39.1733
2019-02-14 07:00:00 | 6.7267 | 324.87 | 7.74 | 357 | 10.6233 | 16.5767 | 10.3867 | 13.4167 | 0.60333 | 887 | 91.6333 | 38.5953
2019-02-14 07:15:00 | 6.19 | 98.7567 | 7.1267 | 108.52 | 9.96 | 25.8333 | 9.6167 | 18.2433 | 0.46667 | 887 | 93.0333 | 38.4327
2019-02-14 07:30:00 | 6.4367 | 312.6233 | 7.4133 | 343.5333 | 10.1933 | 17.24 | 9.5967 | 6.37 | 0.38 | 887 | 94.1 | 38.5593
2019-02-14 07:45:00 | 6.5267 | 10.0767 | 7.5133 | 11.0667 | 9.8967 | 10.7033 | 9.668 | 6.4867 | 0.32667 | 887 | 94.2533 | 41.0247
2019-02-14 08:00:00 | 7.02 | 206.1433 | 8.0733 | 226.5333 | 10.8233 | 1.67 | 10.2367 | 11.8733 | 0.35333 | 887.2 | 93.7667 | 43.342
2019-02-14 08:15:00 | 6.8333 | 23.1867 | 7.8667 | 25.47 | 11.42 | 240.83 | 10.7867 | 9.44 | 0.43333 | 888 | 93.4 | 43.5113
2019-02-14 08:30:00 | 6.9533 | 232.7 | 8 | 255.71 | 11 | 13.2567 | 10.46 | 240.4933 | 0.43333 | 888 | 92.9133 | 42.998
2019-02-14 08:45:00 | 6.73 | 108.4133 | 7.7367 | 119.1333 | 10.7867 | 239.2367 | 10.6 | 15.4567 | 0.44667 | 888 | 92.7133 | 43.5027
2019-02-14 09:00:00 | 7.1167 | 205.2067 | 8.19 | 225.5 | 11.7733 | 15.79 | 11.4 | 11.0567 | 0.49333 | 888 | 92.6 | 43.0427
2019-02-14 09:15:00 | 6.9667 | 188.7533 | 8.02 | 207.41 | 10.9133 | 345.5667 | 10.1867 | 7.2167 | 0.54333 | 888 | 91.7 | 42.8873
2019-02-14 09:30:00 | 6.8 | 204.7 | 7.8333 | 224.9433 | 11.3 | 118.2667 | 10.8933 | 2.0433 | 0.61 | 888.8667 | 91.1 | 43.3313
2019-02-14 09:45:00 | 7.2267 | 212.9767 | 8.3133 | 234.0267 | 10.9867 | 221.66 | 10.6433 | 20.9867 | 0.65333 | 889 | 90.0333 | 42.5113
2019-02-14 10:00:00 | 7 | 2.15 | 8.0533 | 2.36 | 10.3333 | 1.9867 | 9.8767 | 17.7133 | 0.74667 | 889 | 89.3667 | 43.3613
2019-02-14 10:15:00 | 6.52 | 195.6033 | 7.5133 | 214.9333 | 10.6533 | 27.3033 | 9.69 | 33.72 | 0.89667 | 889 | 88.6667 | 43.74
2019-02-14 10:30:00 | 6.9067 | 206.45 | 7.9533 | 226.8667 | 11.78 | 13.97 | 10.85 | 25.6267 | 0.99667 | 889 | 87.9333 | 45.3553
2019-02-14 10:45:00 | 6.6 | 9.48 | 7.59 | 10.41 | 10.7933 | 10.0467 | 10.3167 | 15.7733 | 1.1 | 889.5333 | 87.1 | 46.1733
2019-02-14 11:00:00 | 6.5733 | 8.9933 | 7.5567 | 9.8767 | 11.2 | 12.8667 | 10.43 | 6.1733 | 1.2067 | 890 | 86.68 | 47.1433
2019-02-14 11:15:00 | 7.3667 | 268.9067 | 8.4733 | 295.5 | 12.7267 | 24.2533 | 11.7367 | 17.53 | 1.38 | 890 | 85.7 | 46.9573
2019-02-14 11:30:00 | 7.2133 | 263.7467 | 8.3067 | 289.8333 | 12.4933 | 11.8933 | 12.19 | 18.21 | 1.48 | 890 | 84.8333 | 46.86
2019-02-14 11:45:00 | 6.9933 | 40.84 | 8.05 | 44.8733 | 12.2367 | 7.6133 | 12.01 | 11.1 | 1.6933 | 890 | 83.6 | 46.602
2019-02-14 12:00:00 | 7.12 | 170.2333 | 8.19 | 187.0667 | 11.7767 | 15.2533 | 11.37 | 16.68 | 1.74 | 890 | 83.2 | 46.248
2019-02-14 12:15:00 | 6.74 | 205.7833 | 7.7533 | 226.13 | 10.9567 | 238.6067 | 10.5067 | 11.0033 | 2.03 | 890 | 82.5333 | 44.414
2019-02-14 12:30:00 | 7.02 | 27.71 | 8.08 | 30.4433 | 12.1167 | 9.44 | 11.64 | 9.6433 | 2.39 | 890 | 81.2667 | 43.662
2019-02-14 12:45:00 | 7.0933 | 190.5433 | 8.1633 | 209.3867 | 12.82 | 122.5867 | 12.3433 | 17.1767 | 2.8433 | 890 | 79.7033 | 45.534
2019-02-14 13:00:00 | 6.9 | 215.1833 | 7.9433 | 236.4533 | 12.4493 | 119.3933 | 11.9633 | 23.0767 | 3.1167 | 890 | 78.51 | 46.3847
2019-02-14 13:15:00 | 6.5633 | 255.93 | 7.5433 | 281.2333 | 11.0933 | 237.4367 | 10.4367 | 15.44 | 3.05 | 890 | 78.474 | 44.8733
2019-02-14 13:30:00 | 6.3233 | 297.9167 | 7.2767 | 327.3667 | 10.6733 | 233.0367 | 10.1967 | 8.8133 | 3.2167 | 890 | 78.2533 | 43.678
2019-02-14 13:45:00 | 6.4633 | 169.9367 | 7.4367 | 186.7433 | 10.6667 | 7.36 | 10.09 | 247.4567 | 3.9333 | 890 | 75.8933 | 44.1067
2019-02-14 14:00:00 | 6.4967 | 33.0367 | 7.4767 | 36.3033 | 10.2533 | 12.08 | 9.7033 | 19.7567 | 4.0667 | 889.8 | 74.9733 | 42.074
2019-02-14 14:15:00 | 6.5467 | 115.4367 | 7.5267 | 126.8467 | 10.59 | 20.84 | 10.2133 | 17.3633 | 4.6167 | 889 | 73.1233 | 38.0127
2019-02-14 14:30:00 | 5.9467 | 324.78 | 6.84 | 356.9 | 9.9633 | 10.7933 | 10.0933 | 14.6233 | 5.21 | 889 | 71.3833 | 40.608
2019-02-14 14:45:00 | 7.3867 | 55.22 | 8.5 | 60.6833 | 12.8533 | 21.48 | 12.74 | 24.7033 | 6.5667 | 889 | 66.4333 | 46.226
2019-02-14 15:00:00 | 7.6667 | 214.3467 | 8.82 | 235.55 | 13.0467 | 17.0533 | 12.9133 | 18.59 | 6.62 | 889 | 65.3133 | 48.6293
2019-02-14 15:15:00 | 7.36 | 83.8133 | 8.4667 | 92.1 | 13.03 | 13.31 | 12.77 | 16.0667 | 7.4167 | 889 | 62.7467 | 45.7953
2019-02-14 15:30:00 | 7.4267 | 97.4667 | 8.5467 | 107.1067 | 12.9433 | 12.95 | 12.71 | 8.8867 | 7.39 | 889.2 | 61.78 | 45.1387
2019-02-14 15:45:00 | 7.24 | 2.7 | 8.33 | 2.97 | 13.08 | 3.7 | 12.92 | 23.05 | 7.67 | 890 | 60.1 | 44.156
2019-02-14 16:00:00 | 7.24 | 2.7 | 8.33 | 2.97 | 13.08 | 3.7 | 12.92 | 23.05 | 7.67 | 890 | 60.1 | 44.156
2019-02-14 16:15:00 | 7.24 | 2.7 | 8.33 | 2.97 | 13.08 | 3.7 | 12.92 | 23.05 | 7.67 | 890 | 60.1 | 44.156
2019-02-14 16:30:00 | 4.8675 | 227.955 | 5.595 | 250.5 | 8.1375 | 19.065 | 7.8 | 33.195 | 4.95 | 667.5 | 45.795 | 42.2687
2019-02-14 16:45:00 | 6.0533 | 28.9867 | 6.96 | 31.8533 | 10.2167 | 19.2867 | 10.2867 | 27.26 | 6.56 | 890 | 60.13 | 44.97
2019-02-14 17:00:00 | 6.8267 | 13.3 | 7.8533 | 14.6133 | 11.4167 | 20.1333 | 11.06 | 32.7067 | 6.4 | 890 | 59.7033 | 47.5647
2019-02-14 17:15:00 | 6.3433 | 218.5667 | 7.3067 | 240.1767 | 10.62 | 23.87 | 10.5233 | 25.5933 | 6.1 | 890 | 60.44 | 45.4167
2019-02-14 17:30:00 | 5.9833 | 68.2933 | 6.8867 | 75.0433 | 10.6067 | 13.6433 | 10.41 | 29.58 | 5.9867 | 890 | 61.018 | 44.74
2019-02-14 17:45:00 | 6.5733 | 27.8533 | 7.5667 | 30.6067 | 11.2467 | 22.53 | 10.712 | 23.1767 | 5.2767 | 890 | 63.0833 | 46.008
2019-02-14 18:00:00 | 7.1667 | 222.36 | 8.2533 | 244.3467 | 12.16 | 18.8633 | 11.61 | 24.47 | 4.6433 | 889.8 | 65.3233 | 47.0267
2019-02-14 18:15:00 | 6.4133 | 66.6933 | 7.3767 | 73.28 | 11.6333 | 55.4467 | 11.5367 | 27.17 | 4.08 | 889 | 68.0167 | 47.176
2019-02-14 18:30:00 | 6.26 | 228.4867 | 7.2033 | 251.08 | 11.6133 | 54.2667 | 11.15 | 17.4633 | 3.7933 | 889 | 69.6167 | 48.332
2019-02-14 18:45:00 | 6.5 | 207.2467 | 7.4767 | 227.7333 | 11.7533 | 12.7967 | 11.3233 | 14.2267 | 3.5367 | 889 | 70.8767 | 49.1553
2019-02-14 19:00:00 | 6.3133 | 144.0933 | 7.262 | 158.3467 | 11.6107 | 13.1127 | 11.17 | 21.2293 | 3.3953 | 889 | 71.738 | 49.0647
2019-02-14 19:15:00 | 6.374 | 267.878 | 7.342 | 294.36 | 11.646 | 13.308 | 11.678 | 18.666 | 3.246 | 889 | 72.292 | 45.6533
2019-02-14 19:30:00 | 6.5033 | 324.76 | 7.49 | 356.88 | 11.4433 | 8.8667 | 11.07 | 10.75 | 3.1033 | 889.2 | 73.0733 | 44.1113
2019-02-14 19:45:00 | 6.34 | 306.3067 | 7.3033 | 336.6 | 11.0933 | 15.57 | 10.7433 | 11.59 | 2.9867 | 890 | 73.8967 | 44.956
2019-02-14 20:00:00 | 6.2067 | 311.3467 | 7.15 | 342.1333 | 10.9 | 16.61 | 10.75 | 20.3967 | 2.9 | 890 | 74.174 | 44.79
2019-02-14 20:15:00 | 6.4667 | 11.7133 | 7.44 | 12.8633 | 10.7833 | 13.0267 | 10.33 | 20.65 | 2.86 | 890 | 73.84 | 48.08
2019-02-14 20:30:00 | 6.4933 | 58.0867 | 7.4733 | 63.83 | 11.3767 | 9.4467 | 10.8767 | 12.35 | 2.82 | 890.2 | 73.5667 | 49.4627
2019-02-14 20:45:00 | 6 | 131.4667 | 6.8967 | 144.4667 | 10.98 | 11.0533 | 10.6233 | 20.4933 | 2.7467 | 891 | 73.51 | 48.1793
2019-02-14 21:00:00 | 6.1333 | 102.42 | 7.0567 | 112.5467 | 10.98 | 6.8867 | 10.5367 | 20.8667 | 2.66 | 891 | 73.4713 | 46.9607
2019-02-14 21:15:00 | 6.2733 | 41.9767 | 7.2233 | 46.1233 | 10.9 | 12.27 | 10.674 | 18.88 | 2.5433 | 891 | 74.41 | 44.8113
2019-02-14 21:30:00 | 6.1267 | 23.83 | 7.05 | 26.1767 | 11.2733 | 18.6767 | 11.19 | 20.58 | 2.4833 | 891.2 | 74.58 | 43.8547
2019-02-14 21:45:00 | 6.23 | 202.8167 | 7.1633 | 222.8667 | 11.5267 | 18.3233 | 11.6 | 21.66 | 2.4667 | 892 | 75.18 | 42.6093
2019-02-14 22:00:00 | 5.5433 | 24.5967 | 6.3767 | 27.0333 | 10.38 | 13.93 | 10.46 | 24.0267 | 2.38 | 891.1333 | 75.7133 | 39.7267
2019-02-14 22:15:00 | 5.9633 | 119.4567 | 6.8667 | 131.26 | 10.3567 | 18.62 | 10.0967 | 9.0867 | 2.2333 | 891.5333 | 76.38 | 45.2093
2019-02-14 22:30:00 | 5.87 | 321.842 | 6.7533 | 353.66 | 9.9167 | 10.1333 | 9.7767 | 12.8667 | 2.24 | 892 | 76.32 | 42.7553
2019-02-14 22:45:00 | 6.2867 | 16.4167 | 7.23 | 18.03 | 10.8733 | 15.1533 | 10.5767 | 21.09 | 2.25 | 892 | 76.08 | 46.7767
2019-02-14 23:00:00 | 6.8867 | 17.43 | 7.9233 | 19.15 | 12.1867 | 17.3267 | 11.7633 | 21.69 | 2.2233 | 892 | 76.2567 | 52.524
2019-02-14 23:15:00 | 7.05 | 264.5633 | 8.1067 | 290.7333 | 12.95 | 13.4767 | 13.02 | 22.08 | 2.14 | 891.4667 | 76.58 | 52.0027
2019-02-14 23:30:00 | 7.11 | 59.13 | 8.1733 | 64.98 | 13.0367 | 13.9167 | 13.2 | 20.1867 | 2.0867 | 891 | 76.61 | 50.7127
2019-02-14 23:45:00 | 6.9933 | 136.96 | 8.0433 | 150.5 | 12.56 | 12.25 | 12.4767 | 16.3533 | 2.0467 | 891 | 76.5327 | 51.7693