## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-15 00:00:00 | 7.1267 | 264.2333 | 8.1967 | 290.3667 | 13.0667 | 10.1567 | 12.8033 | 19.7933 | 2.1333 | 891 | 75.8 | 52.7933
2019-02-15 00:15:00 | 7.1533 | 100.5 | 8.2333 | 110.4333 | 13.2933 | 8.7233 | 13.1967 | 22.4767 | 2.0933 | 891 | 75.81 | 52.422
2019-02-15 00:30:00 | 7.1133 | 88.8533 | 8.18 | 97.64 | 13.2267 | 9.0633 | 13.0233 | 26.0633 | 2.0133 | 891 | 75.9167 | 51.3187
2019-02-15 00:45:00 | 7 | 131.9867 | 8.0533 | 145.0333 | 13.0167 | 8.36 | 13.17 | 22.1667 | 1.7567 | 891 | 76.9033 | 52.246
2019-02-15 01:00:00 | 7.2 | 127.3667 | 8.2867 | 139.96 | 13.45 | 11.2333 | 13.1233 | 19.5867 | 1.5033 | 891 | 77.9633 | 53.0413
2019-02-15 01:15:00 | 7.85 | 122.88 | 9.0367 | 135.0333 | 13.34 | 4.1867 | 12.7633 | 17.7667 | 1.4767 | 890.4667 | 77.8867 | 52.1067
2019-02-15 01:30:00 | 7.49 | 301.3 | 8.6233 | 331.1 | 12.62 | 17.6267 | 11.83 | 242.18 | 1.6433 | 890 | 77.3 | 51.9
2019-02-15 01:45:00 | 7.2667 | 38.55 | 8.3533 | 42.36 | 11.6867 | 236.23 | 11.14 | 18.85 | 1.7733 | 890 | 76.79 | 49.7787
2019-02-15 02:00:00 | 6.8533 | 45.47 | 7.88 | 49.9667 | 11.56 | 239.2967 | 10.8733 | 5.63 | 1.7667 | 890 | 76.7647 | 49.3867
2019-02-15 02:15:00 | 6.8567 | 312.6267 | 7.8933 | 343.5333 | 11.29 | 236.51 | 10.8467 | 8.8433 | 1.7567 | 890 | 76.8407 | 50.082
2019-02-15 02:30:00 | 6.5767 | 313.84 | 7.56 | 344.8667 | 10.7167 | 41.1167 | 10.3867 | 16.6433 | 1.77 | 890 | 76.6933 | 49.674
2019-02-15 02:45:00 | 6.6167 | 118.24 | 7.61 | 129.9333 | 10.01 | 341.0333 | 9.5833 | 4.8467 | 1.8433 | 890 | 76.29 | 48.8427
2019-02-15 03:00:00 | 6.4833 | 144.3067 | 7.4567 | 158.5733 | 9.89 | 337.6333 | 9.3767 | 2.9867 | 1.7767 | 890 | 76.62 | 48.346
2019-02-15 03:15:00 | 6.29 | 292.35 | 7.2333 | 321.2667 | 9.8233 | 228.2033 | 9.29 | 233.6567 | 1.6167 | 890 | 77.3667 | 48.346
2019-02-15 03:30:00 | 6.37 | 105.6967 | 7.3333 | 116.14 | 10.0367 | 238.5367 | 9.6833 | 214.8567 | 1.5167 | 890 | 77.56 | 49.262
2019-02-15 03:45:00 | 6.736 | 113.3133 | 7.7567 | 124.5173 | 10.0393 | 49.1413 | 9.9687 | 52.4993 | 1.3453 | 889.4667 | 78.0607 | 49.0067
2019-02-15 04:00:00 | 6.8 | 172.025 | 7.83 | 189.035 | 10.44 | 5.5 | 10.195 | 9.365 | 1.16 | 889 | 78.795 | 49.661
2019-02-15 04:15:00 | 6.5133 | 109.9533 | 7.4933 | 120.8267 | 10.4033 | 124.9733 | 9.8133 | 7.9267 | 0.88 | 889 | 80.24 | 48.9527
2019-02-15 04:30:00 | 6.4733 | 304.36 | 7.4467 | 334.4667 | 10.53 | 118.78 | 10.1667 | 16.9267 | 0.7 | 889 | 81.2333 | 48.478
2019-02-15 04:45:00 | 6.34 | 26.2867 | 7.3067 | 28.8833 | 10.1 | 12.8933 | 9.87 | 17.42 | 0.69 | 889 | 81.0333 | 47.5593
2019-02-15 05:00:00 | 6.0867 | 41.5333 | 7.0067 | 45.6367 | 9.4867 | 14.9867 | 9.5767 | 23.4333 | 0.60333 | 888.8 | 81.32 | 47.634
2019-02-15 05:15:00 | 5.7633 | 18.9167 | 6.6367 | 20.7867 | 8.9767 | 21.72 | 8.7167 | 17.6233 | 0.37667 | 888 | 82.7333 | 46.6647
2019-02-15 05:30:00 | 5.13 | 189.3767 | 5.8967 | 208.1067 | 8.6633 | 9.3133 | 8.7833 | 14.3633 | 0.19 | 888 | 83.8 | 45.1173
2019-02-15 05:45:00 | 5.5067 | 119.4267 | 6.3333 | 131.24 | 8.58 | 231.75 | 8.57 | 11.4333 | 0.016667 | 888 | 84.7333 | 44.5807
2019-02-15 06:00:00 | 5 | 310.3467 | 5.7467 | 341.0333 | 8.4133 | 1.25 | 8.15 | 6.5667 | -0.13667 | 888 | 85.4 | 44.072
2019-02-15 06:15:00 | 4.88 | 257.6927 | 5.6167 | 283.1733 | 8.2853 | 1.406 | 7.9487 | 5.7533 | -0.26067 | 888 | 85.88 | 47.2307
2019-02-15 06:30:00 | 5.77 | 314.6533 | 6.64 | 345.7667 | 9.1333 | 4.9167 | 9.1133 | 14.5867 | -0.31667 | 888 | 86.3 | 49.328
2019-02-15 06:45:00 | 6.1333 | 25.2133 | 7.0633 | 27.7 | 9.1567 | 237.9833 | 9.3133 | 10.1133 | -0.38333 | 888 | 86.7333 | 49.8573
2019-02-15 07:00:00 | 5.9333 | 12.9333 | 6.8367 | 14.2067 | 8.73 | 6.8433 | 8.7133 | 11.72 | -0.43 | 888 | 87.02 | 49.2473
2019-02-15 07:15:00 | 6.3067 | 6.1367 | 7.2567 | 6.74 | 8.9033 | 11.0533 | 9.0933 | 14.8833 | -0.43333 | 888 | 87.2333 | 48.5213
2019-02-15 07:30:00 | 6.2667 | 10.4033 | 7.21 | 11.4267 | 9.1633 | 4.9067 | 9.12 | 15.19 | -0.42667 | 888 | 87.2333 | 48.3307
2019-02-15 07:45:00 | 5.6933 | 115.6133 | 6.5533 | 127.0467 | 8.4333 | 6.21 | 8.5533 | 10.7033 | -0.58667 | 888 | 88.0667 | 49.072
2019-02-15 08:00:00 | 5.8333 | 305.22 | 6.7133 | 335.4 | 8.7067 | 4.2633 | 8.84 | 12.1167 | -0.7 | 888 | 88.6 | 47.8967
2019-02-15 08:15:00 | 6.3667 | 25.7167 | 7.3233 | 28.2567 | 8.8167 | 9.08 | 8.7567 | 14.5667 | -0.55333 | 888 | 88.0333 | 46.5773
2019-02-15 08:30:00 | 6.34 | 20.746 | 7.294 | 22.802 | 8.906 | 9.272 | 8.986 | 13.42 | -0.46 | 888 | 87.54 | 46.9387
2019-02-15 08:45:00 | 6.48 | 298.9667 | 7.4533 | 328.5333 | 9.5867 | 9.8167 | 9.4467 | 13.0767 | -0.17667 | 888.5333 | 86.5667 | 46.2527
2019-02-15 09:00:00 | 6.4667 | 293.3933 | 7.4333 | 322.4 | 9.2867 | 2.4567 | 9.362 | 12.93 | 0.03 | 889 | 85.9667 | 43.766
2019-02-15 09:15:00 | 6.1667 | 27.8467 | 7.09 | 30.59 | 8.8467 | 6.0667 | 9.1033 | 7.0567 | 0.52667 | 889 | 84.0333 | 42.0973
2019-02-15 09:30:00 | 6.08 | 39.38 | 7.0033 | 43.27 | 9.1733 | 13.9667 | 9.4167 | 16.93 | 1.0133 | 889.8667 | 81.7667 | 36.6787
2019-02-15 09:45:00 | 5.48 | 125.1233 | 6.3033 | 137.4933 | 8.57 | 15.6733 | 8.54 | 16.7433 | 1.5 | 890 | 79.6233 | 30.6773
2019-02-15 10:00:00 | 5.0133 | 119.6633 | 5.7633 | 131.4933 | 7.6633 | 15.82 | 7.6333 | 11.9433 | 1.1133 | 890 | 80.7833 | 30.9067
2019-02-15 10:15:00 | 5.0933 | 279.3133 | 5.8633 | 306.9333 | 7.86 | 11.6567 | 8.0233 | 15.03 | 1.0767 | 890 | 81.8 | 30.1267
2019-02-15 10:30:00 | 4.7467 | 292.4733 | 5.4633 | 321.4 | 7.8133 | 20.0767 | 7.7567 | 13.8633 | 2.2433 | 890 | 77.5133 | 25.8833
2019-02-15 10:45:00 | 4.0733 | 318.9567 | 4.6933 | 350.5 | 6.6867 | 18.41 | 6.39 | 16.0667 | 3.0867 | 890 | 73.5667 | 20.9107
2019-02-15 11:00:00 | 4.14 | 299.5433 | 4.7667 | 329.1667 | 6.8533 | 18.4233 | 6.57 | 14.4133 | 3.46 | 890 | 71.6667 | 18.1587
2019-02-15 11:15:00 | 3.96 | 211.7 | 4.55 | 232.6333 | 6.8533 | 20.6867 | 6.52 | 16.8667 | 4.1667 | 890 | 68.46 | 12.366
2019-02-15 11:30:00 | 4.06 | 123.86 | 4.6767 | 136.1067 | 6.7533 | 24.04 | 6.3133 | 22.6067 | 4.9133 | 890 | 64.8067 | 10.668
2019-02-15 11:45:00 | 4.0133 | 22.12 | 4.6267 | 24.2967 | 6.4033 | 21.87 | 5.9367 | 9.9533 | 5.45 | 890 | 61.8633 | 8.968
2019-02-15 12:00:00 | 3.8533 | 214.94 | 4.4333 | 236.19 | 5.4833 | 19.81 | 5.0233 | 11.4467 | 5.09 | 890 | 62.7033 | 8.6453
2019-02-15 12:15:00 | 4.0233 | 112.28 | 4.63 | 123.3733 | 5.7767 | 15.25 | 5.36 | 12.2133 | 5.2033 | 890 | 62.1067 | 5.426
2019-02-15 12:30:00 | 3.9433 | 309.0467 | 4.5367 | 339.6 | 5.8567 | 6.01 | 5.6333 | 10.9 | 5.85 | 890 | 59.7267 | 3.1027
2019-02-15 12:45:00 | 3.7867 | 107.6667 | 4.3567 | 118.3133 | 5.84 | 8.2667 | 5.4933 | 5.1733 | 6.55 | 890 | 55.6267 | 1.886
2019-02-15 13:00:00 | 3.4533 | 112.08 | 3.97 | 123.16 | 5.0733 | 11.6067 | 4.6733 | 3.0667 | 6.8833 | 890 | 54.5333 | 0.23533
2019-02-15 13:15:00 | 2.9733 | 108.6133 | 3.42 | 119.3533 | 4.6133 | 15.0567 | 4.1233 | 18.9467 | 7.0733 | 890 | 53.3 | 0
2019-02-15 13:30:00 | 3.1067 | 134.52 | 3.5733 | 147.8133 | 4.54 | 20.5633 | 4.0367 | 26.3067 | 6.8733 | 890 | 53.5673 | 0.22933
2019-02-15 13:45:00 | 3.3467 | 287.9867 | 3.8533 | 316.4667 | 4.7133 | 20.9367 | 4.3867 | 17.2 | 7.2767 | 889.4667 | 51.6967 | 0.45933
2019-02-15 14:00:00 | 3.6133 | 112.62 | 4.16 | 123.76 | 5.1267 | 18.3767 | 4.7467 | 20.9 | 7.7833 | 889 | 50.1367 | 1.3093
2019-02-15 14:15:00 | 3.94 | 33.5067 | 4.5367 | 36.82 | 5.53 | 7.9433 | 5.13 | 11.1833 | 8.18 | 889 | 47.57 | 0.918
2019-02-15 14:30:00 | 3.92 | 224.3333 | 4.51 | 246.52 | 5.31 | 17.4367 | 4.9167 | 17.45 | 8.4 | 889 | 46.5833 | 1.832
2019-02-15 14:45:00 | 3.84 | 316.8213 | 4.42 | 348.1533 | 5.5767 | 10.0933 | 5.27 | 15.75 | 8.72 | 889 | 46.2133 | 2.5193
2019-02-15 15:00:00 | 3.8333 | 303.21 | 4.4067 | 333.2 | 5.5233 | 7.84 | 5.2567 | 21.1433 | 8.4 | 888.1333 | 46.82 | 2.8893
2019-02-15 15:15:00 | 3.6133 | 117.81 | 4.1567 | 129.4667 | 5.1967 | 9.13 | 4.9667 | 15.52 | 8.23 | 888 | 48.1467 | 3.002
2019-02-15 15:30:00 | 3.592 | 108.472 | 4.134 | 119.204 | 5.268 | 16.452 | 5.114 | 20.35 | 8.32 | 888 | 48.204 | 6.4807
2019-02-15 15:45:00 | 3.7867 | 217.9167 | 4.3633 | 239.4667 | 6.2067 | 11.2833 | 5.92 | 21.6567 | 8.52 | 888 | 48.3753 | 8.706
2019-02-15 16:00:00 | 4.0667 | 322.0167 | 4.6767 | 353.8667 | 6.48 | 14.2367 | 6.1733 | 25.53 | 8.44 | 888 | 48.5667 | 12.278
2019-02-15 16:15:00 | 3.89 | 41.99 | 4.48 | 46.14 | 6.82 | 15.62 | 6.5267 | 25.09 | 8.362 | 888 | 48.59 | 15.2173
2019-02-15 16:30:00 | 3.8367 | 34.4233 | 4.4133 | 37.8267 | 6.8067 | 15.18 | 6.86 | 18.2833 | 8.16 | 888 | 49.15 | 18.406
2019-02-15 16:45:00 | 3.9267 | 295.2433 | 4.5133 | 324.4333 | 7.1533 | 18.1933 | 7.28 | 29.7233 | 7.84 | 888 | 50.51 | 20.274
2019-02-15 17:00:00 | 3.8933 | 308.534 | 4.48 | 339.04 | 7.1533 | 3.5933 | 7.5467 | 34.2033 | 7.7133 | 888 | 51.5233 | 20.2047
2019-02-15 17:15:00 | 4 | 286.4167 | 4.5967 | 314.7333 | 7.2033 | 241.4933 | 7.5967 | 31.9233 | 7.1333 | 888 | 51.9933 | 22.6867
2019-02-15 17:30:00 | 4.0667 | 249.35 | 4.6767 | 274 | 7.31 | 23.8733 | 7.8833 | 31.6033 | 6.8733 | 888 | 51.1133 | 24.1707
2019-02-15 17:45:00 | 4.22 | 285.2967 | 4.8567 | 313.5 | 7.8133 | 30.3967 | 8.2033 | 33.2167 | 6.35 | 888 | 51.3 | 19.9433
2019-02-15 18:00:00 | 3.98 | 198.11 | 4.5767 | 217.7 | 7.34 | 22.5367 | 7.59 | 24.8167 | 5.87 | 888 | 52.0033 | 20.2133
2019-02-15 18:15:00 | 3.8533 | 262.9267 | 4.44 | 288.9333 | 7.1667 | 15.09 | 7.7 | 23.5293 | 5.4667 | 888 | 51.4367 | 20.2153
2019-02-15 18:30:00 | 3.78 | 171.9267 | 4.3467 | 188.9333 | 7 | 8.1367 | 7.3067 | 20.6633 | 5.1467 | 888 | 51.4233 | 24.18
2019-02-15 18:45:00 | 4.2467 | 190.0733 | 4.89 | 208.8667 | 7.5633 | 3.16 | 7.6 | 7.9367 | 4.7067 | 888 | 53.3833 | 24.3973
2019-02-15 19:00:00 | 4.76 | 276.7667 | 5.4833 | 304.1333 | 8.5167 | 14.3667 | 8.562 | 19.5433 | 4.3667 | 888 | 55.23 | 27.374
2019-02-15 19:15:00 | 4.7733 | 8.92 | 5.49 | 9.7933 | 8.5367 | 11.2367 | 8.3 | 16.7267 | 4.0733 | 888 | 56.5133 | 28.878
2019-02-15 19:30:00 | 4.38 | 187.9667 | 5.0367 | 206.5467 | 7.67 | 15.2367 | 7.48 | 14.8467 | 3.8667 | 888 | 57.72 | 30.8367
2019-02-15 19:45:00 | 5.24 | 146.4833 | 6.03 | 160.9733 | 9.1867 | 17.2667 | 9.0533 | 25.72 | 3.72 | 888 | 58.7933 | 31.6887
2019-02-15 20:00:00 | 4.8 | 116.83 | 5.5233 | 128.3867 | 8.3933 | 23.3267 | 7.9933 | 15.0867 | 3.6467 | 888 | 59.2867 | 34.3527
2019-02-15 20:15:00 | 4.6867 | 106.6967 | 5.39 | 117.2533 | 6.7067 | 2.9 | 6.3333 | 9.6133 | 3.5767 | 888.5333 | 59.8767 | 31.466
2019-02-15 20:30:00 | 4.7733 | 294.2033 | 5.4967 | 323.3 | 7.3333 | 12.4 | 7.3267 | 12.7733 | 3.4833 | 889 | 60.9633 | 32.8987
2019-02-15 20:45:00 | 5.1733 | 191.81 | 5.96 | 210.7667 | 9.1667 | 13.18 | 9.0733 | 23.74 | 3.38 | 889 | 62.1967 | 29.206
2019-02-15 21:00:00 | 5 | 294.63 | 5.7533 | 323.7667 | 8.7067 | 13.86 | 8.7333 | 26.02 | 3.3 | 889 | 62.9567 | 27.708
2019-02-15 21:15:00 | 4.5027 | 45.8073 | 5.18 | 50.3327 | 7.6693 | 23.6527 | 7.276 | 28.7233 | 3.2553 | 889 | 63.2007 | 25.5953
2019-02-15 21:30:00 | 4.1933 | 223.3433 | 4.82 | 245.42 | 7.0267 | 237.5467 | 6.92 | 12.84 | 3.2 | 889.2 | 63.63 | 26.4007
2019-02-15 21:45:00 | 4.53 | 229.7367 | 5.2167 | 252.4533 | 7.4433 | 1.5433 | 7.2233 | 13.6367 | 3.1733 | 890 | 63.878 | 30.612
2019-02-15 22:00:00 | 5.0167 | 20.7167 | 5.7767 | 22.7533 | 8.2233 | 6.7767 | 8.0367 | 21.97 | 3.1333 | 890 | 64.4533 | 31.0913
2019-02-15 22:15:00 | 5.08 | 286.81 | 5.8433 | 315.1667 | 9.15 | 19.7567 | 8.86 | 10.1967 | 3.0433 | 890 | 65.2067 | 33.5613
2019-02-15 22:30:00 | 5.49 | 169.37 | 6.32 | 186.115 | 9.345 | 21.16 | 8.815 | 23.175 | 2.99 | 890 | 65.945 | 32.737
2019-02-15 22:45:00 | 5.24 | 37.26 | 6.03 | 40.93 | 9.28 | 20.23 | 8.9 | 32.27 | 2.95 | 890 | 66.57 | 32.924
2019-02-15 23:00:00 | 4.88 | 263.6867 | 5.62 | 289.7667 | 8.5133 | 240.75 | 8.2033 | 14.3033 | 2.8867 | 890 | 67.3467 | 33.5047
2019-02-15 23:15:00 | 5.2027 | 307.2173 | 5.9833 | 337.6067 | 8.864 | 9.584 | 8.6747 | 19.6573 | 2.8507 | 890 | 67.83 | 35.1453
2019-02-15 23:30:00 | 5.3333 | 298.1767 | 6.1433 | 327.6667 | 9.0667 | 17.18 | 8.97 | 16.76 | 2.8867 | 890 | 67.7787 | 36.896
2019-02-15 23:45:00 | 5.88 | 42.93 | 6.7633 | 47.1667 | 9.87 | 14.5867 | 9.5467 | 19.4433 | 2.88 | 890 | 67.9333 | 37.5