## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-16 00:00:00 | 5.9467 | 9.3433 | 6.8433 | 10.2667 | 9.9567 | 17.1467 | 9.76 | 22.9433 | 2.88 | 890 | 67.84 | 39.084
2019-02-16 00:15:00 | 5.8067 | 320.1467 | 6.68 | 351.8 | 9.4433 | 12.8533 | 8.9967 | 16.46 | 2.9 | 890 | 67.36 | 38.0453
2019-02-16 00:30:00 | 5.68 | 259.3 | 6.5333 | 284.9333 | 9.9633 | 27.1067 | 9.4567 | 11.5267 | 2.8667 | 890 | 67.354 | 34.684
2019-02-16 00:45:00 | 5.3733 | 312.71 | 6.1833 | 343.6333 | 8.54 | 8.1667 | 8.3267 | 20.8267 | 2.84 | 890 | 67.07 | 33.7567
2019-02-16 01:00:00 | 5.46 | 307.31 | 6.2833 | 337.7 | 9.0933 | 24.9533 | 8.84 | 20.42 | 2.8333 | 890 | 66.89 | 35.0647
2019-02-16 01:15:00 | 4.62 | 163.86 | 5.32 | 180.0667 | 7.75 | 9.95 | 7.71 | 14.8733 | 2.7667 | 890 | 66.926 | 31.9233
2019-02-16 01:30:00 | 4.636 | 304.728 | 5.328 | 334.86 | 7.612 | 12.026 | 7.392 | 6.918 | 2.74 | 890 | 66.908 | 30.7153
2019-02-16 01:45:00 | 4.1533 | 1.9233 | 4.7867 | 2.1067 | 6.8867 | 119.0667 | 6.9167 | 21.1533 | 2.73 | 889.4667 | 66.39 | 25.5267
2019-02-16 02:00:00 | 4.5933 | 215.8633 | 5.2867 | 237.2133 | 7.42 | 119.5467 | 7.0433 | 16.2733 | 2.7033 | 889 | 66.14 | 29.5133
2019-02-16 02:15:00 | 4.9933 | 24.6567 | 5.75 | 27.0967 | 8.2 | 13.1433 | 7.7367 | 26.1333 | 2.7433 | 889 | 65.53 | 31.9107
2019-02-16 02:30:00 | 5.2067 | 190.39 | 5.99 | 209.2167 | 8.56 | 19.55 | 8.4233 | 15.0067 | 2.73 | 889 | 65.5187 | 32.33
2019-02-16 02:45:00 | 5.1933 | 284.3233 | 5.9733 | 312.4333 | 8.41 | 20.4933 | 8.22 | 21.0167 | 2.6933 | 889 | 65.3 | 34.7973
2019-02-16 03:00:00 | 4.8867 | 116.97 | 5.62 | 128.54 | 7.9033 | 26.8133 | 7.6467 | 27.8967 | 2.6467 | 889 | 65.5673 | 32.3553
2019-02-16 03:15:00 | 4.6533 | 13.6133 | 5.36 | 14.95 | 8.0133 | 23.6167 | 7.5433 | 17.1067 | 2.5733 | 889 | 65.87 | 30.4867
2019-02-16 03:30:00 | 4.5733 | 15.54 | 5.26 | 17.0767 | 7.98 | 20.71 | 7.75 | 15.9067 | 2.5467 | 889 | 65.6573 | 30.2173
2019-02-16 03:45:00 | 4.7533 | 128.5 | 5.47 | 141.2067 | 7.4867 | 14.0133 | 7.2667 | 19.58 | 2.5367 | 889 | 65.4433 | 31.1087
2019-02-16 04:00:00 | 4.5467 | 106.5267 | 5.2367 | 117.06 | 7.8333 | 13.8333 | 7.5333 | 25.0933 | 2.49 | 889 | 65.83 | 30.9173
2019-02-16 04:15:00 | 4.6467 | 109.61 | 5.34 | 120.4533 | 7.8633 | 27.71 | 7.5333 | 17.28 | 2.4867 | 889 | 65.78 | 31.2747
2019-02-16 04:30:00 | 4.8 | 290.33 | 5.52 | 319.0333 | 8.43 | 26.2967 | 8.3333 | 13.7267 | 2.4267 | 889 | 66.26 | 31.984
2019-02-16 04:45:00 | 4.7693 | 46.9533 | 5.496 | 51.592 | 8.4013 | 11.378 | 8.1873 | 19.61 | 2.388 | 889 | 66.4127 | 30.65
2019-02-16 05:00:00 | 4.5467 | 186.6 | 5.2333 | 205.0533 | 8.1467 | 13.93 | 8.1967 | 29.3033 | 2.3267 | 889 | 66.8087 | 29.082
2019-02-16 05:15:00 | 4.44 | 7.26 | 5.1067 | 7.97 | 8.18 | 19.43 | 8.112 | 25.77 | 2.2567 | 888.4667 | 67.2233 | 29.8387
2019-02-16 05:30:00 | 4.5467 | 212.6333 | 5.24 | 233.6567 | 8.2333 | 19.8167 | 8.0767 | 26.97 | 2.2233 | 888 | 67.35 | 29.616
2019-02-16 05:45:00 | 4.7333 | 17.1933 | 5.4567 | 18.89 | 7.25 | 24.1633 | 7.2233 | 23.4667 | 2.22 | 888 | 66.8 | 29.672
2019-02-16 06:00:00 | 4.8667 | 14.98 | 5.61 | 16.4567 | 7.89 | 10.9167 | 7.69 | 17.3867 | 2.2133 | 888 | 66.6113 | 31.164
2019-02-16 06:15:00 | 5.0767 | 305.56 | 5.84 | 335.7667 | 8 | 40.7367 | 7.86 | 19.6567 | 2.2167 | 888 | 66.2867 | 31.5747
2019-02-16 06:30:00 | 4.91 | 307.4933 | 5.6467 | 337.9 | 7.8867 | 24.6967 | 7.74 | 4.9167 | 2.1967 | 888 | 66.464 | 31.2147
2019-02-16 06:45:00 | 4.7867 | 209.0333 | 5.5167 | 229.71 | 8.0133 | 10.24 | 7.6533 | 18.0567 | 2.1533 | 888 | 66.56 | 31.6393
2019-02-16 07:00:00 | 4.7733 | 3.2267 | 5.5033 | 3.5433 | 7.8667 | 9.3467 | 7.7333 | 10.5833 | 2.1267 | 888 | 66.664 | 30.2767
2019-02-16 07:15:00 | 4.88 | 18.6667 | 5.62 | 20.5033 | 8.2467 | 119 | 7.9433 | 13.2667 | 2.1067 | 888 | 66.716 | 30.9373
2019-02-16 07:30:00 | 4.76 | 11.7467 | 5.48 | 12.8967 | 8.04 | 125.2 | 7.8767 | 19.6267 | 2.0933 | 888.8667 | 66.9327 | 28.3467
2019-02-16 07:45:00 | 4.86 | 315.3433 | 5.5967 | 346.5333 | 7.7333 | 13.8767 | 7.4933 | 14.7167 | 2.0767 | 889 | 66.89 | 27.6667
2019-02-16 08:00:00 | 4.6733 | 314.4967 | 5.3767 | 345.6 | 8.0067 | 12.01 | 7.5733 | 13.1633 | 2.0567 | 889 | 67.2833 | 22.6487
2019-02-16 08:15:00 | 4.1 | 318.57 | 4.72 | 350.0667 | 7.6133 | 20.06 | 7.6033 | 21.94 | 2.0033 | 889 | 67.8033 | 22.902
2019-02-16 08:30:00 | 3.9933 | 194.8633 | 4.5933 | 214.1333 | 7.4067 | 17.3533 | 7.19 | 23.4333 | 1.97 | 889 | 68.4167 | 22.82
2019-02-16 08:45:00 | 4.3 | 130.3667 | 4.9433 | 143.2533 | 7.05 | 123.38 | 6.9767 | 15.52 | 2.0467 | 889 | 67.6733 | 22.6613
2019-02-16 09:00:00 | 4.46 | 307.2533 | 5.13 | 337.6333 | 7.1233 | 113.26 | 6.7767 | 241.32 | 2.1267 | 889 | 67.28 | 23.2253
2019-02-16 09:15:00 | 4.2 | 30.69 | 4.8267 | 33.72 | 6.6233 | 8.4567 | 6.5833 | 11.64 | 2.1867 | 889 | 67.2427 | 21.6047
2019-02-16 09:30:00 | 4.1 | 210.3367 | 4.72 | 231.1333 | 6.6033 | 11.33 | 6.4233 | 19.38 | 2.2067 | 889 | 67.384 | 19.9213
2019-02-16 09:45:00 | 3.9867 | 201.6333 | 4.6 | 221.5733 | 6.7033 | 12.7867 | 6.5167 | 18.7233 | 2.2333 | 889 | 67.496 | 17.692
2019-02-16 10:00:00 | 3.5867 | 27.5467 | 4.1267 | 30.2667 | 5.9033 | 19.6467 | 5.6567 | 17.6367 | 2.28 | 889.2 | 67.4913 | 16.608
2019-02-16 10:15:00 | 3.53 | 18.2 | 4.06 | 20.0033 | 5.84 | 350.5333 | 5.55 | 12.4133 | 2.3633 | 890 | 67.5433 | 13.7827
2019-02-16 10:30:00 | 3.4767 | 228.1 | 4.0067 | 250.6633 | 5.8133 | 118.8 | 5.5167 | 15.9333 | 2.41 | 890 | 67.314 | 10.1433
2019-02-16 10:45:00 | 3.6333 | 107.6633 | 4.1833 | 118.3133 | 5.9233 | 3.02 | 5.7267 | 12.8367 | 2.5267 | 890 | 67.12 | 9.8447
2019-02-16 11:00:00 | 3.68 | 305.6767 | 4.23 | 335.9 | 5.69 | 10.0733 | 5.5933 | 245.01 | 2.6067 | 889.3333 | 66.84 | 9.5827
2019-02-16 11:15:00 | 3.4667 | 321.88 | 3.9867 | 353.7 | 5.5833 | 8.03 | 5.4533 | 15.6233 | 2.69 | 890 | 66.46 | 10.1427
2019-02-16 11:30:00 | 3.4933 | 307.724 | 4.02 | 338.1533 | 5.7233 | 17.2033 | 5.6867 | 11.7633 | 2.8633 | 890 | 66.294 | 9.6553
2019-02-16 11:45:00 | 3.66 | 324.69 | 4.22 | 356.8 | 5.88 | 15.66 | 5.74 | 6.54 | 3.06 | 889.7 | 65.78 | 9.322
2019-02-16 12:00:00 | 3.4933 | 296.2333 | 4.0233 | 325.5333 | 5.88 | 16.5367 | 5.61 | 25.0167 | 3.06 | 889 | 65.606 | 8.92
2019-02-16 12:15:00 | 3.4933 | 140.3333 | 4.0233 | 154.2067 | 5.4967 | 8.4567 | 5.3667 | 12.06 | 3.1267 | 889 | 65.2367 | 6.888
2019-02-16 12:30:00 | 3.4467 | 315.6867 | 3.9633 | 346.9 | 5.0567 | 10.4167 | 4.8333 | 13.6 | 3.1067 | 889 | 65.396 | 6.378
2019-02-16 12:45:00 | 3.4467 | 317.9033 | 3.9633 | 349.3333 | 5.6067 | 12.4 | 5.41 | 18.1267 | 3.2933 | 889 | 65.1933 | 5.6647
2019-02-16 13:00:00 | 3.4133 | 316.438 | 3.9233 | 347.72 | 5.4667 | 16.9067 | 5.3233 | 22.7933 | 3.3467 | 889 | 65.016 | 6.1693
2019-02-16 13:15:00 | 3.3067 | 125.0633 | 3.8133 | 137.4267 | 5.3033 | 19.91 | 4.9267 | 10.8933 | 3.32 | 888.4667 | 65.18 | 5.088
2019-02-16 13:30:00 | 2.9733 | 102.8433 | 3.4267 | 113.0067 | 4.71 | 21.4167 | 4.2467 | 16.7933 | 3.48 | 888 | 64.78 | 2.7673
2019-02-16 13:45:00 | 3.1033 | 4.2867 | 3.5767 | 4.7033 | 5.0933 | 18.4533 | 4.6733 | 22.9333 | 3.6433 | 888 | 64.47 | 2.5027
2019-02-16 14:00:00 | 3.0767 | 209.9133 | 3.5433 | 230.67 | 4.88 | 18.58 | 4.6733 | 20.9067 | 3.5233 | 888 | 64.7387 | 2.1307
2019-02-16 14:15:00 | 2.74 | 27.95 | 3.15 | 30.7133 | 4.6733 | 24.7267 | 4.4133 | 27.11 | 3.4067 | 887.4667 | 65.4933 | 2.1853
2019-02-16 14:30:00 | 2.8 | 42.0967 | 3.2233 | 46.2467 | 4.4733 | 9.9533 | 4.16 | 17.33 | 3.4467 | 887 | 65.6133 | 2.616
2019-02-16 14:45:00 | 2.8 | 17.2767 | 3.22 | 18.98 | 4.6067 | 9.2867 | 4.48 | 21.31 | 3.4567 | 887 | 66.0933 | 2.484
2019-02-16 15:00:00 | 2.74 | 11.03 | 3.16 | 12.12 | 4.54 | 22.36 | 4.3933 | 22.4167 | 3.53 | 886.8 | 65.8867 | 2.4893
2019-02-16 15:15:00 | 2.6533 | 221.71 | 3.0533 | 243.6333 | 4.7267 | 18.9033 | 4.49 | 20.6533 | 3.5467 | 886 | 65.9347 | 2.1773
2019-02-16 15:30:00 | 2.44 | 14.1833 | 2.8067 | 15.5733 | 4.36 | 10.4233 | 4.0567 | 15.68 | 3.5 | 886 | 66.11 | 1.4307
2019-02-16 15:45:00 | 2.4133 | 15.4233 | 2.7767 | 16.9433 | 4.56 | 13.4733 | 4.3 | 18.3433 | 3.4467 | 886 | 66.62 | 1.8207
2019-02-16 16:00:00 | 2.36 | 1.1233 | 2.71 | 1.2367 | 4.5 | 15.82 | 4.0933 | 14.05 | 3.5067 | 886 | 66.6467 | 2.394
2019-02-16 16:15:00 | 2.4767 | 309.0967 | 2.8567 | 339.6667 | 4.5633 | 30.74 | 4.4367 | 30.1867 | 3.5267 | 886 | 66.6127 | 3.1987
2019-02-16 16:30:00 | 2.3767 | 295.5033 | 2.73 | 324.7333 | 4.2833 | 21.08 | 4.1167 | 15.74 | 3.4867 | 886 | 66.9173 | 2.7933
2019-02-16 16:45:00 | 2.64 | 14.5967 | 3.0367 | 16.0367 | 4.73 | 15.5167 | 4.59 | 22.0333 | 3.4733 | 886 | 67.4667 | 4.626
2019-02-16 17:00:00 | 2.8267 | 25.5967 | 3.25 | 28.13 | 5.1233 | 13.6033 | 5.1633 | 16.7133 | 3.4267 | 886 | 67.88 | 5.7573
2019-02-16 17:15:00 | 2.92 | 315.5967 | 3.3567 | 346.8 | 5.22 | 17.5733 | 5.0233 | 22.11 | 3.36 | 886 | 68.6633 | 5.2453
2019-02-16 17:30:00 | 3.0667 | 110.05 | 3.53 | 120.9267 | 5.5467 | 24.82 | 5.1233 | 21.7967 | 3.22 | 886 | 69.13 | 7.1813
2019-02-16 17:45:00 | 3.1267 | 15.4333 | 3.5933 | 16.9533 | 5.86 | 10.2567 | 5.7567 | 11.01 | 3.0767 | 886 | 70.1433 | 8.412
2019-02-16 18:00:00 | 3.0067 | 122.08 | 3.4667 | 134.1467 | 5.7467 | 19.53 | 5.63 | 14.93 | 2.95 | 886 | 70.97 | 8.018
2019-02-16 18:15:00 | 3.08 | 296.57 | 3.54 | 325.9 | 5.79 | 15.1 | 5.65 | 27.72 | 2.85 | 886 | 71.49 | 9.489
2019-02-16 18:30:00 | 3.56 | 14.6567 | 4.0967 | 16.1 | 6.61 | 15.95 | 6.2967 | 24.02 | 2.7533 | 886 | 71.852 | 11.5807
2019-02-16 18:45:00 | 3.5 | 191.7033 | 4.03 | 210.6633 | 6.6133 | 9.1433 | 6.52 | 23.0467 | 2.6467 | 886 | 72.47 | 12.2407
2019-02-16 19:00:00 | 3.82 | 177.6967 | 4.3967 | 195.2633 | 7.0867 | 15.9367 | 6.8733 | 31.6867 | 2.56 | 886 | 73.0367 | 14.4007
2019-02-16 19:15:00 | 3.7967 | 27.4767 | 4.3733 | 30.1967 | 6.97 | 13.5067 | 6.87 | 25.8067 | 2.44 | 886 | 73.8433 | 12.208
2019-02-16 19:30:00 | 3.744 | 137.662 | 4.316 | 151.268 | 6.768 | 9.896 | 6.794 | 19.664 | 2.338 | 886 | 74.566 | 18.4693
2019-02-16 19:45:00 | 4.1467 | 217.73 | 4.7667 | 239.2667 | 7.3633 | 22.1967 | 7.3433 | 28.19 | 2.2433 | 886.5333 | 75.4067 | 26.0507
2019-02-16 20:00:00 | 5.1133 | 32.6433 | 5.88 | 35.8733 | 9.2433 | 8.35 | 9.1167 | 30.6433 | 2.1633 | 887 | 76.14 | 27.824
2019-02-16 20:15:00 | 5.0267 | 74.69 | 5.78 | 82.0733 | 9.41 | 9.8867 | 9.5433 | 26.1267 | 2.0633 | 887 | 77.0767 | 28.4727
2019-02-16 20:30:00 | 4.9733 | 252.93 | 5.72 | 277.9333 | 8.93 | 13 | 8.93 | 17.0133 | 1.9567 | 887 | 77.5767 | 29.5467
2019-02-16 20:45:00 | 4.8867 | 97.3267 | 5.6267 | 106.9467 | 9.01 | 19.16 | 9.1333 | 20.63 | 1.8433 | 887 | 78.32 | 31.2513
2019-02-16 21:00:00 | 5.1067 | 79.18 | 5.88 | 87.0133 | 9.5567 | 12.4933 | 9.58 | 21.31 | 1.7767 | 887 | 78.8133 | 35.0533
2019-02-16 21:15:00 | 5.4733 | 119.5833 | 6.2933 | 131.4133 | 10.0133 | 11.3433 | 9.9233 | 18.5567 | 1.7067 | 887 | 79.1967 | 36.968
2019-02-16 21:30:00 | 5.42 | 307.55 | 6.24 | 337.9667 | 10.12 | 11.65 | 10.0767 | 20.65 | 1.66 | 887 | 79.65 | 37.6733
2019-02-16 21:45:00 | 5.28 | 303.68 | 6.08 | 333.7 | 9.95 | 16.2 | 9.68 | 26.42 | 1.62 | 887 | 79.79 | 37.764
2019-02-16 22:00:00 | 5.5867 | 179.33 | 6.4267 | 197.0667 | 10.0867 | 9.26 | 9.5167 | 12.9233 | 1.5533 | 887.8667 | 79.9447 | 38.2247
2019-02-16 22:15:00 | 5.648 | 26.1907 | 6.4993 | 28.78 | 10.3827 | 15.8387 | 9.914 | 17.706 | 1.4947 | 888 | 79.9393 | 38.25
2019-02-16 22:30:00 | 5.7933 | 45.57 | 6.6733 | 50.0733 | 10.1433 | 17.0433 | 9.7 | 21.2967 | 1.44 | 888 | 79.9353 | 40.9967
2019-02-16 22:45:00 | 5.94 | 4.9367 | 6.8367 | 5.4233 | 10.19 | 9.24 | 9.5667 | 15.7067 | 1.4067 | 888 | 79.89 | 41.5233
2019-02-16 23:00:00 | 5.7467 | 9.5567 | 6.61 | 10.4967 | 10.0967 | 11.9333 | 9.72 | 16.34 | 1.3867 | 888 | 79.8427 | 41.5347
2019-02-16 23:15:00 | 5.54 | 302.22 | 6.3733 | 332.1 | 10.0267 | 21.4933 | 9.5867 | 19.2667 | 1.3567 | 888 | 79.8467 | 40.276
2019-02-16 23:30:00 | 5.456 | 295.424 | 6.282 | 324.64 | 9.928 | 15.486 | 9.562 | 18.022 | 1.332 | 888 | 79.8253 | 40.7193
2019-02-16 23:45:00 | 5.66 | 112.72 | 6.51 | 123.86 | 10.0833 | 22.69 | 9.68 | 18.6233 | 1.28 | 888 | 79.65 | 39.5733