## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-17 00:00:00 | 5.6733 | 323.068 | 6.53 | 355.02 | 9.9567 | 14.5967 | 9.62 | 20.17 | 1.2467 | 888 | 79.5513 | 41.3053
2019-02-17 00:15:00 | 6.1167 | 215.83 | 7.04 | 237.1667 | 10.67 | 13.53 | 10.2967 | 15.5667 | 1.2033 | 888 | 79.31 | 44.2347
2019-02-17 00:30:00 | 6.0567 | 14.6167 | 6.9667 | 16.06 | 10.8567 | 22.9233 | 10.4633 | 20.4 | 1.1833 | 888 | 79.224 | 42.5533
2019-02-17 00:45:00 | 5.9267 | 19.1367 | 6.82 | 21.0267 | 10.38 | 15.38 | 10.1233 | 13.2967 | 1.1633 | 888 | 79.148 | 41.9853
2019-02-17 01:00:00 | 5.7267 | 27.0767 | 6.5933 | 29.7533 | 10.242 | 17.3467 | 9.81 | 22.59 | 1.13 | 888 | 79.3893 | 40.9633
2019-02-17 01:15:00 | 5.7367 | 88.7133 | 6.6127 | 97.48 | 9.9567 | 12.0467 | 9.4867 | 14.23 | 1.03 | 888 | 80.0933 | 38.8847
2019-02-17 01:30:00 | 5.6433 | 127.86 | 6.49 | 140.4933 | 10.01 | 10.56 | 9.4533 | 12.43 | 0.94333 | 888 | 80.9 | 39.45
2019-02-17 01:45:00 | 5.074 | 138.862 | 5.844 | 152.596 | 9.446 | 15.598 | 9.168 | 17.69 | 0.896 | 888 | 81.24 | 36.2673
2019-02-17 02:00:00 | 5.5433 | 61.7967 | 6.38 | 67.9 | 9.4367 | 17.4833 | 9.1133 | 20.724 | 0.86667 | 888 | 81.1333 | 37.988
2019-02-17 02:15:00 | 5.8967 | 73.9667 | 6.79 | 81.28 | 10.33 | 19.6933 | 9.7867 | 24.87 | 0.80333 | 888 | 81.9 | 39.926
2019-02-17 02:30:00 | 5.8567 | 61.7267 | 6.7433 | 67.82 | 10.428 | 18.04 | 9.88 | 19.13 | 0.69667 | 888 | 82.7667 | 37.636
2019-02-17 02:45:00 | 5.2733 | 29.0967 | 6.0633 | 31.9667 | 9.6433 | 16.83 | 9.4767 | 23.61 | 0.57 | 888 | 84.6333 | 36.1453
2019-02-17 03:00:00 | 5.1467 | 29.7433 | 5.928 | 32.68 | 9.6233 | 16.0233 | 9.5633 | 21.3767 | 0.43667 | 888 | 86.3 | 37.4573
2019-02-17 03:15:00 | 5.3033 | 305.34 | 6.1033 | 335.5333 | 9.87 | 17.83 | 9.6467 | 19.0267 | 0.35667 | 888 | 87.1667 | 36.024
2019-02-17 03:30:00 | 5.5433 | 286.7133 | 6.3767 | 315.0667 | 10.2567 | 15.3367 | 10.02 | 19.4 | 0.28333 | 887.1333 | 87.9667 | 33.016
2019-02-17 03:45:00 | 5.6567 | 288.8033 | 6.5133 | 317.3667 | 10.4967 | 11.7833 | 10.2267 | 18.1667 | 0.20667 | 887 | 89.3 | 33.1167
2019-02-17 04:00:00 | 5.732 | 274.704 | 6.606 | 301.86 | 10.428 | 164.636 | 10.134 | 13.914 | 0.114 | 887 | 90.56 | 30.2007
2019-02-17 04:15:00 | 5.6967 | 169.4133 | 6.5567 | 186.1667 | 10.44 | 12.4133 | 10.0367 | 16.9433 | -0.09 | 887 | 92.9667 | 28.3127
2019-02-17 04:30:00 | 5.3767 | 298.8867 | 6.19 | 328.4333 | 9.9733 | 13.68 | 9.8433 | 19.9567 | -0.21 | 887 | 94.3667 | 27.3707
2019-02-17 04:45:00 | 5 | 108.3733 | 5.7533 | 119.0867 | 9.4367 | 9.68 | 9.46 | 11.4167 | -0.34 | 887 | 95.3667 | 27.552
2019-02-17 05:00:00 | 5.2867 | 126.9733 | 6.0933 | 139.52 | 9.6033 | 14.5 | 9.4867 | 15.3433 | -0.44 | 886.8 | 96.0333 | 25.6193
2019-02-17 05:15:00 | 5.4333 | 7.39 | 6.25 | 8.11 | 9.48 | 18.84 | 8.9567 | 23.87 | -0.5 | 886 | 96.7 | 24.666
2019-02-17 05:30:00 | 5.92 | 201.9167 | 6.81 | 221.8833 | 10.1667 | 11.1667 | 9.5767 | 11.5967 | -0.48 | 886 | 96.1467 | 26.106
2019-02-17 05:45:00 | 6.3467 | 15.09 | 7.3 | 16.5833 | 11.0767 | 17.3467 | 10.7 | 22.2067 | -0.41 | 886 | 94.4 | 27.356
2019-02-17 06:00:00 | 6.18 | 213.4567 | 7.1067 | 234.5567 | 10.79 | 15.06 | 10.5867 | 23.4733 | -0.37 | 886 | 92.9333 | 25.0893
2019-02-17 06:15:00 | 5.7867 | 164.1967 | 6.66 | 180.4333 | 9.8567 | 14.83 | 9.6533 | 18.7367 | -0.34333 | 886 | 91.9 | 21.95
2019-02-17 06:30:00 | 5.0467 | 290.7567 | 5.8067 | 319.5 | 8.39 | 15.8033 | 8.3133 | 4.2767 | -0.34333 | 886 | 91.7867 | 21.2553
2019-02-17 06:45:00 | 5.42 | 181.6467 | 6.2333 | 199.61 | 8.88 | 9.4267 | 8.69 | 16.05 | -0.33333 | 886 | 91.8 | 20.7767
2019-02-17 07:00:00 | 5.7467 | 204.3333 | 6.62 | 224.5433 | 9.64 | 22.64 | 9.41 | 19.2567 | -0.35333 | 886 | 92.02 | 20.386
2019-02-17 07:15:00 | 5.62 | 17.9367 | 6.4667 | 19.7033 | 9.7833 | 15.1933 | 9.5967 | 19.2167 | -0.39667 | 886 | 92.5667 | 17.3967
2019-02-17 07:30:00 | 5.3467 | 16.4367 | 6.1467 | 18.0633 | 9.0233 | 10.1 | 8.7367 | 7.6567 | -0.45 | 886.2 | 92.92 | 14.2193
2019-02-17 07:45:00 | 4.7533 | 110.5967 | 5.4733 | 121.5267 | 7.9267 | 19.7067 | 7.7533 | 12.68 | -0.50333 | 887 | 93.8667 | 12.7967
2019-02-17 08:00:00 | 4.82 | 90.25 | 5.54 | 99.18 | 8.2867 | 13.8533 | 8.2067 | 32.6467 | -0.55 | 887 | 94.7333 | 14.3027
2019-02-17 08:15:00 | 5.46 | 42.9633 | 6.29 | 47.2133 | 8.7767 | 123.0867 | 8.6233 | 14.98 | -0.62333 | 887 | 95.6333 | 13.5987
2019-02-17 08:30:00 | 5.4533 | 209.1833 | 6.2767 | 229.8667 | 9.1367 | 127.3 | 8.6833 | 16.8267 | -0.68333 | 887 | 96.7 | 13.2207
2019-02-17 08:45:00 | 5.3333 | 21.6533 | 6.1467 | 23.7867 | 9.3833 | 10.8033 | 8.9367 | 17.87 | -0.77667 | 887 | 97.8333 | 11.6067
2019-02-17 09:00:00 | 5.2667 | 218.34 | 6.0667 | 239.9333 | 9.07 | 14.37 | 8.6567 | 14.6633 | -0.83 | 887.8667 | 98.3667 | 11.5527
2019-02-17 09:15:00 | 5.2433 | 104.83 | 6.03 | 115.1933 | 9.2367 | 13.1833 | 8.98 | 24.5267 | -0.87 | 888 | 98.9667 | 11.6407
2019-02-17 09:30:00 | 5.0233 | 253.47 | 5.7767 | 278.5333 | 8.8833 | 10.7033 | 8.74 | 16.8733 | -0.87667 | 888 | 99.2333 | 11.4793
2019-02-17 09:45:00 | 5.2933 | 211.77 | 6.0867 | 232.71 | 8.78 | 12.21 | 8.7033 | 13.79 | -0.90667 | 888 | 99.3533 | 10.6267
2019-02-17 10:00:00 | 5.1733 | 196.6033 | 5.9533 | 216.0433 | 8.6467 | 8.37 | 8.2767 | 11.9767 | -0.89333 | 888 | 99.5067 | 10.0147
2019-02-17 10:15:00 | 4.88 | 202.3833 | 5.62 | 222.4 | 7.9667 | 25.8167 | 7.6567 | 6.2933 | -0.86333 | 888 | 99.6533 | 10.4587
2019-02-17 10:30:00 | 5.1933 | 190.6167 | 5.9733 | 209.4667 | 8.5333 | 8.29 | 8.25 | 15.36 | -0.82333 | 888 | 99.7867 | 10.814
2019-02-17 10:45:00 | 5.2 | 310.8267 | 5.9867 | 341.5667 | 8.7667 | 27.24 | 8.5533 | 17.72 | -0.73333 | 888 | 99.8 | 10.4693
2019-02-17 11:00:00 | 5.1933 | 323.4533 | 5.9867 | 355.4333 | 8.5867 | 20.1667 | 8.0867 | 21.8067 | -0.70667 | 888 | 99.6933 | 9.2253
2019-02-17 11:15:00 | 4.8 | 15.7833 | 5.52 | 17.3367 | 8.09 | 15.45 | 7.8267 | 6.56 | -0.69333 | 888 | 99.5333 | 10.1167
2019-02-17 11:30:00 | 5.164 | 5.676 | 5.936 | 6.228 | 8.848 | 10.6373 | 8.304 | 10.262 | -0.592 | 888 | 99.22 | 9.9327
2019-02-17 11:45:00 | 5.17 | 49.6833 | 5.9433 | 54.59 | 8.9367 | 19.3167 | 8.6933 | 22.94 | -0.49 | 888 | 98.5333 | 10.9407
2019-02-17 12:00:00 | 5.1967 | 24.43 | 5.9767 | 26.8433 | 8.85 | 10.3633 | 8.5 | 29.64 | -0.48333 | 888 | 97.8 | 10.922
2019-02-17 12:15:00 | 5.5267 | 14.9633 | 6.3633 | 16.44 | 8.4 | 12.6967 | 7.84 | 26.9433 | -0.59 | 888 | 97.5 | 9.9407
2019-02-17 12:30:00 | 4.98 | 13.3433 | 5.73 | 14.6533 | 7.978 | 2.1767 | 7.3133 | 18.2833 | -0.55 | 888 | 97.7 | 9.7927
2019-02-17 12:45:00 | 5.1527 | 198.612 | 5.926 | 218.2467 | 8.348 | 17.466 | 7.954 | 13.856 | -0.41867 | 887.4667 | 97.5467 | 9.9793
2019-02-17 13:00:00 | 5.2633 | 21.67 | 6.0633 | 23.8067 | 8.18 | 11.8333 | 7.8533 | 10.7433 | -0.43 | 887 | 97.3 | 9.6787
2019-02-17 13:15:00 | 4.6533 | 115.3267 | 5.3533 | 126.7267 | 7.2333 | 5.9067 | 6.9 | 10.8733 | -0.38 | 887 | 97.22 | 10.0473
2019-02-17 13:30:00 | 5.16 | 321.5333 | 5.9467 | 353.3333 | 7.52 | 5.9533 | 7.1133 | 16.6933 | -0.41333 | 886.1333 | 96.8 | 10.0087
2019-02-17 13:45:00 | 4.8467 | 25.87 | 5.5833 | 28.4233 | 7.51 | 15.4333 | 7.04 | 8.9967 | -0.36667 | 886 | 96.58 | 10.2367
2019-02-17 14:00:00 | 4.9267 | 26.57 | 5.6767 | 29.1967 | 8.03 | 14.02 | 7.558 | 18.01 | -0.28667 | 886 | 96.2667 | 10.196
2019-02-17 14:15:00 | 4.76 | 314.66 | 5.4733 | 345.7667 | 7.3267 | 3.14 | 7.1433 | 17.2833 | -0.23 | 886 | 95.7 | 11.0407
2019-02-17 14:30:00 | 4.94 | 129.24 | 5.68 | 142.02 | 8.1133 | 9.4933 | 7.8767 | 19.8567 | -0.23 | 885.8 | 95.1667 | 10.9167
2019-02-17 14:45:00 | 4.8267 | 16.53 | 5.5633 | 18.1533 | 7.9933 | 29.7833 | 7.4833 | 10.04 | -0.27333 | 885 | 95 | 11.504
2019-02-17 15:00:00 | 4.9867 | 21.91 | 5.7367 | 24.0733 | 8.1133 | 15.5433 | 7.55 | 16.3333 | -0.36667 | 885 | 95.3533 | 13.084
2019-02-17 15:15:00 | 4.6667 | 20.86 | 5.37 | 22.9267 | 7.98 | 14.7067 | 7.6667 | 21.3467 | -0.38 | 885 | 95.62 | 14.8073
2019-02-17 15:30:00 | 5.28 | 8.66 | 6.0767 | 9.5133 | 8.5933 | 12.9067 | 8.2933 | 18.8 | -0.38667 | 884.1333 | 95.6667 | 16.3133
2019-02-17 15:45:00 | 5.78 | 64.88 | 6.6533 | 71.2967 | 9.11 | 17.4667 | 8.58 | 33.75 | -0.56333 | 884 | 95.8667 | 18.27
2019-02-17 16:00:00 | 5.6113 | 210.9667 | 6.46 | 231.83 | 9.0967 | 25.3333 | 8.2867 | 22.5767 | -0.60333 | 884 | 96 | 19.3773
2019-02-17 16:15:00 | 5.8467 | 3.36 | 6.7233 | 3.6867 | 9.51 | 16.24 | 8.89 | 132.6 | -0.63 | 884 | 96.2 | 22.1067
2019-02-17 16:30:00 | 5.6467 | 7.8933 | 6.49 | 8.6667 | 9.13 | 18.4467 | 8.7833 | 139.0267 | -0.65667 | 884 | 96.18 | 23.9793
2019-02-17 16:45:00 | 5.8867 | 18.0667 | 6.7767 | 19.85 | 9.68 | 12.3767 | 8.97 | 19.7767 | -0.66333 | 884 | 95.8 | 25.696
2019-02-17 17:00:00 | 5.9333 | 15.7467 | 6.8367 | 17.3033 | 10.3733 | 7.2367 | 9.6367 | 17.83 | -0.67667 | 884 | 95.6 | 27.4893
2019-02-17 17:15:00 | 5.7867 | 114.6367 | 6.6633 | 125.9667 | 10.7033 | 13.3 | 10.11 | 18.48 | -0.70333 | 884 | 95.4467 | 27.77
2019-02-17 17:30:00 | 6.04 | 110.7633 | 6.95 | 121.7133 | 10.89 | 18.08 | 10.2567 | 26.9467 | -0.77 | 884 | 95.2 | 28.3267
2019-02-17 17:45:00 | 6.18 | 190.9333 | 7.12 | 209.82 | 10.7967 | 16.59 | 10.32 | 14.95 | -0.89 | 884 | 95.4667 | 29.15
2019-02-17 18:00:00 | 6.0067 | 227.4067 | 6.9133 | 249.8867 | 10.7233 | 13.83 | 10.3533 | 19.8167 | -0.95667 | 884 | 95.7333 | 29.8893
2019-02-17 18:15:00 | 6.4067 | 26.47 | 7.3767 | 29.0867 | 11.0767 | 13.3233 | 10.2933 | 17.9567 | -1.02 | 884 | 95.7467 | 30.018
2019-02-17 18:30:00 | 6.4333 | 223.7567 | 7.4033 | 245.88 | 10.79 | 16.4833 | 10.1067 | 45.5567 | -1.06 | 884 | 95.5 | 30.7333
2019-02-17 18:45:00 | 6.3833 | 291.7133 | 7.34 | 320.5667 | 10.6567 | 18.96 | 9.7733 | 29.0067 | -1.0833 | 884 | 95.4 | 30.8933
2019-02-17 19:00:00 | 6.65 | 266.84 | 7.6553 | 293.2333 | 11.21 | 16.0067 | 10.46 | 23.1667 | -1.13 | 884 | 95.3333 | 30.1767
2019-02-17 19:15:00 | 6.9 | 150.4133 | 7.94 | 165.28 | 11.0487 | 122.6933 | 10.8533 | 18.7467 | -1.23 | 884 | 95.6333 | 27.4413
2019-02-17 19:30:00 | 6.1933 | 309.5867 | 7.1267 | 340.2 | 10.5733 | 125.0933 | 10.1933 | 24.8133 | -1.2367 | 884 | 95.48 | 27.1247
2019-02-17 19:45:00 | 6.7267 | 209.78 | 7.7433 | 230.5267 | 10.59 | 9.94 | 9.8267 | 15.4533 | -1.2767 | 884 | 95.2 | 27.6093
2019-02-17 20:00:00 | 6.7267 | 205.6533 | 7.7433 | 225.9933 | 10.53 | 18.2933 | 10.0267 | 21.86 | -1.2767 | 884 | 94.8467 | 28.772
2019-02-17 20:15:00 | 6.7933 | 218.9033 | 7.82 | 240.5467 | 10.8767 | 17.0533 | 10.2033 | 4.4867 | -1.2333 | 884 | 93.9333 | 29.972
2019-02-17 20:30:00 | 7.1133 | 217.63 | 8.18 | 239.1467 | 11.4233 | 17.62 | 10.8633 | 15.7267 | -1.2267 | 884 | 93.4667 | 29.4007
2019-02-17 20:45:00 | 6.58 | 13.2 | 7.57 | 14.5 | 10.69 | 26.44 | 9.93 | 16.06 | -1.22 | 884 | 93 | 28.0473
2019-02-17 21:00:00 | 6.6313 | 201.0367 | 7.63 | 220.9167 | 11.0533 | 12.7733 | 10.24 | 21.4667 | -1.21 | 884 | 92.5 | 28.8387
2019-02-17 21:15:00 | 6.64 | 14.75 | 7.6467 | 16.2067 | 10.8867 | 21.3333 | 10.4167 | 17.8233 | -1.1933 | 884 | 91.8 | 26.9993
2019-02-17 21:30:00 | 6.3467 | 218.97 | 7.3067 | 240.6267 | 10.9467 | 9.1267 | 10.47 | 20.5367 | -1.2 | 884 | 91.6 | 25.6487
2019-02-17 21:45:00 | 6.67 | 25.9333 | 7.6767 | 28.4867 | 11.4033 | 13.39 | 11.0433 | 17.18 | -1.2 | 884 | 90.9667 | 26.994
2019-02-17 22:00:00 | 6.3033 | 208.5533 | 7.25 | 229.18 | 11.4633 | 17.0167 | 11.11 | 17.58 | -1.2067 | 884 | 90.7 | 26.392
2019-02-17 22:15:00 | 6.15 | 5.1233 | 7.0733 | 5.63 | 11.0467 | 8.7067 | 10.73 | 22.1067 | -1.2167 | 884 | 90.4 | 25.7227
2019-02-17 22:30:00 | 6.13 | 30.45 | 7.0533 | 33.4567 | 10.9933 | 10.9 | 10.7033 | 21.2 | -1.2167 | 884 | 90 | 26.93
2019-02-17 22:45:00 | 6.088 | 130.61 | 7.0067 | 143.5133 | 10.9467 | 17.5833 | 10.5967 | 15.6 | -1.2367 | 884 | 89.7667 | 26.5473
2019-02-17 23:00:00 | 6.3967 | 287.21 | 7.3533 | 315.6 | 11.2133 | 15.7033 | 10.8167 | 16.9 | -1.2367 | 884 | 89.3667 | 28.472
2019-02-17 23:15:00 | 6.54 | 55.56 | 7.52 | 61.04 | 11.56 | 6.72 | 11.09 | 24.08 | -1.24 | 884 | 88.8 | 28.433
2019-02-17 23:30:00 | 6.0467 | 274.3933 | 6.9567 | 301.5333 | 10.9733 | 14.5167 | 10.7933 | 18.0367 | -1.2333 | 884 | 88.6 | 29.566
2019-02-17 23:45:00 | 5.6933 | 132.5567 | 6.5467 | 145.66 | 10.58 | 11.4733 | 10.4933 | 14.6233 | -1.2333 | 884 | 88.5867 | 30.9193