## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-18 00:00:00 | 5.74 | 135.9833 | 6.6 | 149.4267 | 10.3467 | 3.04 | 10.0933 | 14.0233 | -1.2533 | 884 | 88.3 | 33.3847
2019-02-18 00:15:00 | 5.9867 | 228.8033 | 6.8833 | 251.4233 | 10.48 | 13.6967 | 10.36 | 22.4767 | -1.2633 | 884 | 88.3133 | 31.5453
2019-02-18 00:30:00 | 5.5867 | 219.8767 | 6.4233 | 241.6233 | 10.2133 | 10.37 | 10.2847 | 26.8433 | -1.2833 | 884 | 88.8667 | 28.0433
2019-02-18 00:45:00 | 5.594 | 175.422 | 6.432 | 192.7693 | 10.1833 | 17.2887 | 10.122 | 28.7673 | -1.3253 | 884 | 90.0067 | 23.902
2019-02-18 01:00:00 | 5.6233 | 120.7433 | 6.4667 | 132.68 | 10.21 | 15.17 | 10.15 | 30.1167 | -1.4533 | 884 | 91.9 | 21.5753
2019-02-18 01:15:00 | 5.5033 | 198.62 | 6.3267 | 218.2667 | 10.16 | 16.3733 | 9.9067 | 24.2467 | -1.62 | 884 | 94.6333 | 20.9353
2019-02-18 01:30:00 | 5.61 | 198.32 | 6.46 | 217.9333 | 10.2067 | 22.0667 | 9.9867 | 21.46 | -1.7267 | 884 | 95.7 | 22.0673
2019-02-18 01:45:00 | 5.78 | 202.11 | 6.6467 | 222.1 | 10.0133 | 12.3267 | 9.67 | 25.62 | -1.81 | 883.4667 | 95.8333 | 22.318
2019-02-18 02:00:00 | 6.22 | 40.1833 | 7.16 | 44.1533 | 10.4 | 17.52 | 10.15 | 20.0267 | -1.8233 | 883 | 95.3 | 24.0027
2019-02-18 02:15:00 | 6.0733 | 205.33 | 6.9867 | 225.6333 | 11.2533 | 16.15 | 11.38 | 23.0467 | -1.7933 | 883 | 95.0533 | 25.3773
2019-02-18 02:30:00 | 6.3 | 297.9633 | 7.2467 | 327.4333 | 11.2733 | 16.99 | 11.3133 | 17.1267 | -1.7733 | 883 | 94.5667 | 24.916
2019-02-18 02:45:00 | 6.1867 | 274.0033 | 7.1133 | 301.1 | 11.35 | 12.1033 | 11.2433 | 24.0633 | -1.75 | 883 | 94.2 | 24.3133
2019-02-18 03:00:00 | 6.88 | 136.9433 | 7.92 | 150.48 | 12.17 | 6.5367 | 12.05 | 26.1233 | -1.7567 | 883 | 93.8 | 29.6047
2019-02-18 03:15:00 | 7.2 | 178.93 | 8.2833 | 196.6233 | 12.5467 | 15.88 | 12.27 | 20.8567 | -1.8033 | 883 | 93.7667 | 31.6513
2019-02-18 03:30:00 | 7.36 | 54.7433 | 8.4633 | 60.1567 | 12.7067 | 10.0267 | 12.5633 | 18.0167 | -1.93 | 883 | 94.9667 | 32.514
2019-02-18 03:45:00 | 7.62 | 315.23 | 8.7667 | 346.4 | 13.16 | 121.4 | 13.1133 | 12.7733 | -2.1467 | 883 | 97.4 | 34.21
2019-02-18 04:00:00 | 7.824 | 118.4567 | 9.02 | 130.16 | 13.1133 | 125.7933 | 12.9667 | 15.7733 | -2.2267 | 883 | 98.2667 | 35.3533
2019-02-18 04:15:00 | 7.9933 | 175.1033 | 9.1933 | 192.4133 | 13.7333 | 12.18 | 13.6033 | 18.32 | -2.2333 | 883 | 98.3533 | 34.9107
2019-02-18 04:30:00 | 7.5933 | 22.5633 | 8.7333 | 24.7867 | 13.44 | 11.86 | 13.4767 | 13.7467 | -2.2667 | 883 | 98.3333 | 34.3827
2019-02-18 04:45:00 | 6.92 | 234.6267 | 7.96 | 257.8333 | 12.66 | 16.7533 | 12.6833 | 20.2667 | -2.3533 | 883 | 98.9 | 34.1393
2019-02-18 05:00:00 | 6.8 | 72.8467 | 7.82 | 80.0533 | 11.982 | 9.2 | 11.85 | 14.1733 | -2.4067 | 882.8 | 99.12 | 34.6827
2019-02-18 05:15:00 | 6.6 | 264.96 | 7.5967 | 291.1667 | 11.42 | 2.3133 | 11.31 | 15.65 | -2.4767 | 882 | 99.4 | 34.8553
2019-02-18 05:30:00 | 6.4067 | 98.28 | 7.37 | 107.9933 | 10.78 | 14.24 | 10.71 | 21.9767 | -2.5167 | 882 | 99.4867 | 31.8833
2019-02-18 05:45:00 | 5.1133 | 13.9433 | 5.8867 | 15.3133 | 8.88 | 6.7167 | 8.7467 | 16.76 | -2.5267 | 882 | 99.38 | 26.838
2019-02-18 06:00:00 | 4.5667 | 219.67 | 5.2533 | 241.3867 | 7.7533 | 233.1833 | 7.5667 | 243.5933 | -2.5467 | 881.8 | 99.0667 | 26.1127
2019-02-18 06:15:00 | 4.5667 | 212.7333 | 5.25 | 233.77 | 7.9133 | 356.4 | 7.9733 | 14.9933 | -2.5533 | 881 | 98.6 | 25.6213
2019-02-18 06:30:00 | 4.66 | 33.3733 | 5.3567 | 36.67 | 7.78 | 343.1667 | 7.3667 | 14.9933 | -2.5267 | 881 | 98.2 | 27.3927
2019-02-18 06:45:00 | 5.5387 | 309.3873 | 6.3767 | 339.9733 | 9.6933 | 8.1807 | 9.3807 | 16.8673 | -2.5313 | 881 | 97.5867 | 34.4533
2019-02-18 07:00:00 | 6.3467 | 103.3533 | 7.31 | 113.5667 | 10.7467 | 12.84 | 10.37 | 14.4733 | -2.5767 | 881 | 96.2667 | 33.8887
2019-02-18 07:15:00 | 6.0867 | 238.9167 | 7 | 262.5333 | 10.2233 | 23.5 | 10.2393 | 5.7667 | -2.54 | 881 | 96.2 | 34.8053
2019-02-18 07:30:00 | 5.9133 | 53.0033 | 6.8133 | 58.2333 | 10.3367 | 11.2467 | 10.3233 | 12.1467 | -2.6 | 881 | 97.3333 | 36.3093
2019-02-18 07:45:00 | 5.9833 | 3.5433 | 6.8967 | 3.8867 | 9.59 | 11.7533 | 9.4467 | 12.6033 | -2.57 | 881 | 98.0333 | 37.34
2019-02-18 08:00:00 | 6.2967 | 193.17 | 7.2433 | 212.26 | 9.61 | 11.04 | 9.6667 | 238.2367 | -2.4767 | 881 | 96.9 | 36.8167
2019-02-18 08:15:00 | 6.1367 | 190.0733 | 7.0667 | 208.87 | 9.47 | 15.5867 | 9.54 | 20.81 | -2.35 | 881 | 95.0333 | 33.0373
2019-02-18 08:30:00 | 5.71 | 110.9733 | 6.5733 | 121.9367 | 9.3967 | 11.5467 | 9.4067 | 22.7233 | -2.3253 | 881.2 | 94.5 | 26.4493
2019-02-18 08:45:00 | 5.23 | 310.2533 | 6.0267 | 340.9333 | 8.6433 | 22.13 | 8.7433 | 25.18 | -2.1467 | 882 | 93.9667 | 21.9667
2019-02-18 09:00:00 | 4.8567 | 291.8067 | 5.5933 | 320.6667 | 8.1767 | 15.4767 | 8.1767 | 22.8067 | -2 | 882 | 93.3667 | 23.726
2019-02-18 09:15:00 | 4.6187 | 13.75 | 5.3167 | 15.1033 | 7.6267 | 7.4767 | 7.6733 | 12.66 | -1.92 | 882.5333 | 92.1667 | 19.3873
2019-02-18 09:30:00 | 4.2433 | 227.0767 | 4.8833 | 249.53 | 6.9333 | 0.32333 | 6.9667 | 33.9267 | -1.7267 | 883 | 91.6333 | 24.8207
2019-02-18 09:45:00 | 4.6633 | 301.6667 | 5.36 | 331.5 | 7.7033 | 235.0233 | 7.3833 | 242.6667 | -1.1667 | 883.5333 | 89.8667 | 24.4613
2019-02-18 10:00:00 | 4.9567 | 104.2933 | 5.7 | 114.6 | 7.9633 | 13.3167 | 7.9633 | 13.36 | -0.92 | 884 | 87.7333 | 24.172
2019-02-18 10:15:00 | 4.8133 | 82.66 | 5.5367 | 90.84 | 7.53 | 28.56 | 7.4567 | 18.58 | -0.52333 | 884 | 86.1333 | 24.304
2019-02-18 10:30:00 | 5.2933 | 81.1733 | 6.0967 | 89.2 | 8.5167 | 19.28 | 8.3767 | 16.8733 | 0.44333 | 884.8667 | 82.4 | 26.2833
2019-02-18 10:45:00 | 5.54 | 303.3067 | 6.37 | 333.3 | 9.3233 | 14.4833 | 8.98 | 20.73 | 0.48 | 885 | 80.8333 | 26.8507
2019-02-18 11:00:00 | 5.58 | 116.94 | 6.4167 | 128.5067 | 9.2233 | 16.17 | 8.64 | 11.2033 | 0.78667 | 885 | 80.0333 | 28.4873
2019-02-18 11:15:00 | 5.92 | 105.43 | 6.8067 | 115.8533 | 10.0667 | 13.69 | 9.78 | 15.9333 | 1.0333 | 885 | 78.6233 | 29.8587
2019-02-18 11:30:00 | 6.12 | 132.3433 | 7.0467 | 145.4333 | 10.4067 | 17.4367 | 10.0467 | 31.3067 | 1.2733 | 885 | 77.3967 | 28.7353
2019-02-18 11:45:00 | 5.77 | 228.3433 | 6.6367 | 250.9267 | 9.69 | 17.3267 | 9.2233 | 21.64 | 2.2 | 885 | 75.27 | 26.402
2019-02-18 12:00:00 | 6.1167 | 26.9167 | 7.0367 | 29.58 | 10.7167 | 10.3867 | 10.3033 | 18.9267 | 3.5467 | 885 | 70.27 | 29.0527
2019-02-18 12:15:00 | 5.9933 | 196.95 | 6.9067 | 216.4233 | 10.7 | 3.31 | 10.4533 | 25.3733 | 4.32 | 885 | 66.9 | 24.1733
2019-02-18 12:30:00 | 5.6133 | 23.2767 | 6.46 | 25.5767 | 9.92 | 14.8833 | 9.72 | 20.12 | 5.1267 | 885 | 63.0733 | 19.972
2019-02-18 12:45:00 | 5.4933 | 117.1467 | 6.3167 | 128.7267 | 9.63 | 12.6767 | 8.9767 | 17.6033 | 4.91 | 885 | 62.36 | 16.7873
2019-02-18 13:00:00 | 5.08 | 122.6267 | 5.8433 | 134.74 | 8.8367 | 7.8633 | 8.2567 | 15.7767 | 5.19 | 884.8 | 61.3487 | 14.6693
2019-02-18 13:15:00 | 4.98 | 212.11 | 5.73 | 233.0833 | 8.19 | 18.6367 | 7.6933 | 19.7633 | 5.3933 | 884.5333 | 59.9933 | 11.5207
2019-02-18 13:30:00 | 4.95 | 183.575 | 5.7 | 201.725 | 7.975 | 15.32 | 7.33 | 20.69 | 5.42 | 884.2 | 58.95 | 11.416
2019-02-18 13:45:00 | 4.2933 | 320.7167 | 4.95 | 352.4333 | 7.0233 | 19.1267 | 6.6533 | 20.44 | 5.8667 | 884 | 57.1333 | 5.786
2019-02-18 14:00:00 | 3.92 | 109.5567 | 4.51 | 120.3933 | 5.6833 | 11.6533 | 5.3467 | 18.48 | 5.7667 | 884 | 56.56 | 4.0287
2019-02-18 14:15:00 | 3.88 | 222.28 | 4.46 | 244.2533 | 5.86 | 29.1467 | 5.49 | 11.1967 | 6.0967 | 884 | 56.1467 | 3.9473
2019-02-18 14:30:00 | 3.7733 | 29.4667 | 4.34 | 32.3733 | 5.5333 | 24.22 | 5.3233 | 16.9367 | 6.33 | 884 | 54.77 | 3.662
2019-02-18 14:45:00 | 3.7667 | 13.73 | 4.33 | 15.08 | 5.4767 | 20.7533 | 5.06 | 23.74 | 6.75 | 884 | 53.0033 | 6.2793
2019-02-18 15:00:00 | 4.2867 | 43.9433 | 4.93 | 48.28 | 6.51 | 9.7667 | 6.1333 | 21.86 | 6.9367 | 883.8 | 52.3567 | 6.802
2019-02-18 15:15:00 | 3.84 | 95.4367 | 4.4133 | 104.88 | 5.61 | 10.6433 | 5.3 | 22.28 | 7.02 | 883.5333 | 51.6567 | 5.64
2019-02-18 15:30:00 | 3.78 | 93.4367 | 4.3533 | 102.6733 | 5.7233 | 8.3633 | 5.24 | 29.94 | 6.9867 | 883.1333 | 52.2167 | 7.9433
2019-02-18 15:45:00 | 3.88 | 204.0767 | 4.4667 | 224.2567 | 5.8367 | 24.4233 | 5.49 | 28.1167 | 7.0367 | 883 | 51.42 | 10.0533
2019-02-18 16:00:00 | 4.36 | 217.7833 | 5.02 | 239.3233 | 7.49 | 7.4767 | 7.13 | 13.9433 | 7.3833 | 883 | 50.3867 | 14.0533
2019-02-18 16:15:00 | 4.5667 | 224.4733 | 5.2667 | 246.66 | 7.7933 | 18.2567 | 7.39 | 31.12 | 7.12 | 883 | 51.54 | 12.844
2019-02-18 16:30:00 | 4.348 | 39.338 | 5.014 | 43.218 | 7.728 | 13.544 | 7.34 | 33.072 | 6.93 | 883 | 52.22 | 11.3427
2019-02-18 16:45:00 | 4.2167 | 96.5467 | 4.85 | 106.1 | 7.6833 | 19.11 | 7.5233 | 24.2967 | 6.77 | 883 | 52.4267 | 13.3767
2019-02-18 17:00:00 | 4.2433 | 300.52 | 4.8767 | 330.2333 | 7.8233 | 20.0367 | 7.6033 | 21.5233 | 6.2367 | 883 | 54.3933 | 13.522
2019-02-18 17:15:00 | 4 | 123.9433 | 4.6 | 136.1933 | 7.2133 | 17.77 | 7.0133 | 28.0167 | 5.6333 | 883 | 56.4267 | 13.3627
2019-02-18 17:30:00 | 3.69 | 299.07 | 4.245 | 328.65 | 6.77 | 16.225 | 6.72 | 31.435 | 5.26 | 883 | 58.28 | 14.627
2019-02-18 17:45:00 | 3.6667 | 297.42 | 4.2267 | 326.8333 | 6.8367 | 18.72 | 6.86 | 21.5033 | 4.49 | 883 | 60.7733 | 16.954
2019-02-18 18:00:00 | 3.7733 | 93.7733 | 4.34 | 103.0333 | 7.19 | 13.6933 | 7.0667 | 22.9033 | 3.8367 | 882.1333 | 62.92 | 18.0493
2019-02-18 18:15:00 | 3.9167 | 90.0633 | 4.51 | 98.97 | 7.27 | 13.0433 | 7.1233 | 21.2933 | 3.23 | 882 | 65.01 | 19.1013
2019-02-18 18:30:00 | 3.91 | 5.5433 | 4.5033 | 6.09 | 7.2347 | 12.53 | 6.95 | 18.2267 | 2.7367 | 882 | 67.1233 | 19.3653
2019-02-18 18:45:00 | 3.9933 | 30.6933 | 4.6 | 33.72 | 7.2367 | 16.5967 | 6.93 | 16.62 | 2.24 | 882 | 69.09 | 19.3893
2019-02-18 19:00:00 | 3.84 | 30.8267 | 4.42 | 33.8667 | 6.9967 | 13.61 | 6.75 | 24.42 | 1.9 | 882 | 70.4567 | 20.8993
2019-02-18 19:15:00 | 4.1467 | 112.84 | 4.7767 | 123.9933 | 7.3233 | 12.7167 | 7.1133 | 21.7933 | 1.67 | 882 | 71.4167 | 23.644
2019-02-18 19:30:00 | 3.86 | 291.7467 | 4.4433 | 320.6 | 7.128 | 15.0433 | 7.1333 | 21.16 | 1.3567 | 882 | 73.11 | 24.868
2019-02-18 19:45:00 | 4.3267 | 12.2833 | 4.9767 | 13.4967 | 7.1433 | 8.84 | 6.8233 | 16.5233 | 1.29 | 882 | 73.568 | 23.6
2019-02-18 20:00:00 | 4.14 | 36.51 | 4.7633 | 40.11 | 6.9833 | 9.3267 | 6.8167 | 21.99 | 1.17 | 882 | 74.0587 | 23.928
2019-02-18 20:15:00 | 3.7267 | 218.02 | 4.2967 | 239.58 | 6.4267 | 21.75 | 6.5167 | 16.69 | 0.83333 | 882 | 75.74 | 23.0307
2019-02-18 20:30:00 | 3.6067 | 6.4333 | 4.15 | 7.06 | 6.2733 | 245.1033 | 6.15 | 15.29 | 0.78667 | 882.8667 | 75.884 | 21.528
2019-02-18 20:45:00 | 3.8433 | 31.1733 | 4.4167 | 34.2533 | 6.3733 | 233.2067 | 6.0367 | 4.15 | 0.59667 | 883 | 76.7867 | 19.56
2019-02-18 21:00:00 | 3.89 | 201.8133 | 4.47 | 221.7667 | 5.66 | 4.4333 | 5.6633 | 5.4167 | 0.66333 | 883 | 76.5333 | 16.6153
2019-02-18 21:15:00 | 3.6067 | 21.0333 | 4.1533 | 23.1133 | 5.3333 | 353.2667 | 5.1033 | 37.5367 | 0.46333 | 883 | 77.3933 | 13.0533
2019-02-18 21:30:00 | 3.2467 | 19.3133 | 3.7333 | 21.2133 | 5.88 | 118.7533 | 5.5367 | 29.0833 | 0.14333 | 883.8667 | 78.8733 | 11.046
2019-02-18 21:45:00 | 3.2213 | 9.1653 | 3.7067 | 10.0647 | 5.518 | 209.2107 | 5.1893 | 22.4893 | -0.13533 | 884 | 80.1373 | 11.376
2019-02-18 22:00:00 | 3.4 | 15.7533 | 3.9133 | 17.3033 | 5.7767 | 19.78 | 5.34 | 6.7 | -0.16333 | 884 | 80.68 | 12.4487
2019-02-18 22:15:00 | 3.54 | 309.28 | 4.0833 | 339.8667 | 5.86 | 236.16 | 5.4867 | 9.8167 | -0.01 | 884 | 80.17 | 14.192
2019-02-18 22:30:00 | 3.74 | 155.38 | 4.3033 | 170.7333 | 5.8 | 121.2267 | 5.68 | 12.2167 | 0.05 | 884 | 79.9 | 17.6233
2019-02-18 22:45:00 | 4.2 | 209.5733 | 4.83 | 230.2967 | 6.1867 | 233.2233 | 6.0467 | 16.7867 | 0.046667 | 884 | 79.7467 | 21.2027
2019-02-18 23:00:00 | 4.48 | 22.9533 | 5.1567 | 25.2167 | 6.8067 | 4.1433 | 6.7867 | 19.9467 | -0.06 | 884 | 80.0867 | 22.6853
2019-02-18 23:15:00 | 4.47 | 1.6167 | 5.1433 | 1.7667 | 6.28 | 22.6567 | 6.6 | 12.0633 | -0.17667 | 884 | 80.4 | 24.2067
2019-02-18 23:30:00 | 4.6233 | 3.87 | 5.3167 | 4.2533 | 6.82 | 226.3833 | 6.4333 | 9.13 | -0.22333 | 884 | 80.62 | 23.564
2019-02-18 23:45:00 | 4.3733 | 108.98 | 5.04 | 119.7533 | 7.5333 | 355 | 7.1 | 10.7467 | -0.25 | 884 | 81 | 21.334