## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-19 00:00:00 | 4.24 | 298.8133 | 4.88 | 328.3667 | 7.52 | 120.36 | 7.3333 | 7.8133 | -0.26333 | 884 | 81.2 | 20.73
2019-02-19 00:15:00 | 3.8933 | 179.72 | 4.48 | 197.4933 | 6.5433 | 225.7667 | 6.3833 | 125.6467 | -0.27 | 884 | 81.3 | 17.7853
2019-02-19 00:30:00 | 4.2733 | 14.4333 | 4.9267 | 15.8533 | 6.79 | 217.9667 | 6.5033 | 124.12 | -0.29 | 884 | 81.4333 | 16.456
2019-02-19 00:45:00 | 4.22 | 323.32 | 4.85 | 355.3 | 6.55 | 356.4 | 6.29 | 0.2 | -0.3 | 884 | 81.47 | 14.383
2019-02-19 01:00:00 | 4.2533 | 245.46 | 4.9033 | 269.7333 | 6.48 | 239.09 | 6.0367 | 241.6667 | -0.31 | 884 | 81.3133 | 15.1187
2019-02-19 01:15:00 | 4.54 | 116.1567 | 5.2267 | 127.6467 | 6.6567 | 228.3967 | 6.6733 | 17.8167 | -0.36667 | 884 | 81.3533 | 17.352
2019-02-19 01:30:00 | 4.462 | 120.6233 | 5.14 | 132.5467 | 6.85 | 4.2767 | 6.8467 | 12.3833 | -0.42667 | 884 | 81.7333 | 19.012
2019-02-19 01:45:00 | 4.3833 | 7.49 | 5.0433 | 8.22 | 6.6467 | 114.2467 | 6.4333 | 10.2233 | -0.51667 | 884 | 82.5 | 20.676
2019-02-19 02:00:00 | 4.3833 | 6.01 | 5.0433 | 6.6 | 6.6067 | 347.3 | 6.1933 | 19.37 | -0.55 | 884 | 82.6133 | 23.192
2019-02-19 02:15:00 | 4.3067 | 21.07 | 4.9533 | 23.1433 | 6.6367 | 8.7667 | 6.2633 | 9.46 | -0.58 | 884 | 82.7 | 19.3413
2019-02-19 02:30:00 | 4.4867 | 19.41 | 5.1667 | 21.3233 | 6.7833 | 15.48 | 6.5833 | 241.0667 | -0.56 | 884 | 82.52 | 21.8753
2019-02-19 02:45:00 | 4.42 | 26.4267 | 5.0933 | 29.04 | 7.0367 | 115.2467 | 6.8 | 125.0733 | -0.56333 | 884 | 82.4533 | 20.7233
2019-02-19 03:00:00 | 4.5133 | 221.3133 | 5.1933 | 243.1933 | 6.47 | 117.34 | 6.1 | 123.1133 | -0.54333 | 884 | 82.3933 | 18.2067
2019-02-19 03:15:00 | 4.5267 | 20.5267 | 5.21 | 22.5433 | 6.9567 | 8.5 | 6.7467 | 8.11 | -0.55667 | 884 | 82.3533 | 20.3293
2019-02-19 03:30:00 | 4.5467 | 232.3 | 5.23 | 255.27 | 6.7633 | 227.9 | 6.3667 | 10.67 | -0.57667 | 884 | 82.6867 | 19.8347
2019-02-19 03:45:00 | 4.3 | 306.4867 | 4.9467 | 336.8 | 7.0433 | 240.0367 | 6.6467 | 116.6667 | -0.57333 | 884 | 82.9333 | 19.294
2019-02-19 04:00:00 | 4.3667 | 124.5867 | 5.02 | 136.9 | 6.5167 | 16.8767 | 6.3067 | 124.3533 | -0.59333 | 884 | 82.82 | 19.348
2019-02-19 04:15:00 | 4.2533 | 169.54 | 4.8967 | 186.3067 | 6.3133 | 238.7867 | 6.0367 | 19.0033 | -0.61333 | 884 | 83.2667 | 20.2867
2019-02-19 04:30:00 | 4.2533 | 12.0067 | 4.8967 | 13.1867 | 6.2333 | 242.6533 | 5.9167 | 15.29 | -0.64 | 883.1333 | 83.62 | 17.9107
2019-02-19 04:45:00 | 4.22 | 42.1033 | 4.8567 | 46.2567 | 6.02 | 347.6667 | 5.8333 | 2.4667 | -0.67 | 883 | 83.8867 | 16.4393
2019-02-19 05:00:00 | 4.0933 | 222.53 | 4.7167 | 244.5367 | 5.8067 | 137.1 | 5.6533 | 10.88 | -0.70333 | 883 | 84.3333 | 12.6567
2019-02-19 05:15:00 | 4.1467 | 105.63 | 4.77 | 116.0733 | 6.0733 | 0.47333 | 5.7833 | 22.8767 | -0.68333 | 883 | 84.4 | 11.012
2019-02-19 05:30:00 | 4.0733 | 107.9167 | 4.6967 | 118.5867 | 6.1533 | 235.7067 | 5.7833 | 20.41 | -0.65 | 883 | 84.62 | 15.0493
2019-02-19 05:45:00 | 3.8533 | 118.958 | 4.4407 | 130.7113 | 6.652 | 27.1567 | 6.4693 | 218.2807 | -0.64 | 883 | 84.9867 | 18.0567
2019-02-19 06:00:00 | 4.35 | 114.1333 | 5.0133 | 125.4067 | 7.0867 | 12.4867 | 6.9333 | 144.0833 | -0.62 | 883 | 85.0667 | 22.9213
2019-02-19 06:15:00 | 4.5933 | 162.6 | 5.28 | 178.67 | 7.7467 | 16.0167 | 7.5267 | 16.0867 | -0.6 | 883 | 84.8 | 25.378
2019-02-19 06:30:00 | 4.8133 | 35.4333 | 5.5333 | 38.93 | 7.9867 | 19.3033 | 7.5133 | 17.14 | -0.62 | 883 | 84.5333 | 24.5467
2019-02-19 06:45:00 | 4.3933 | 195.9833 | 5.0533 | 215.3633 | 7.1733 | 14.1967 | 6.7767 | 21.11 | -0.62 | 883 | 84.4133 | 21.5907
2019-02-19 07:00:00 | 4.0933 | 212.8567 | 4.7067 | 233.8967 | 6.46 | 5.7833 | 6.3367 | 9.85 | -0.60667 | 883 | 84.48 | 19.0907
2019-02-19 07:15:00 | 4.31 | 191.85 | 4.9633 | 210.8167 | 6.66 | 117.9333 | 6.42 | 18.2133 | -0.58 | 883 | 84.4 | 18.76
2019-02-19 07:30:00 | 4.3087 | 168.626 | 4.9527 | 185.3033 | 6.5387 | 170.9587 | 6.1293 | 10.0733 | -0.576 | 883.8667 | 84.6333 | 20.1787
2019-02-19 07:45:00 | 4.7533 | 25.7633 | 5.4633 | 28.3133 | 7.03 | 15.5467 | 6.72 | 232.25 | -0.66 | 884 | 85.8 | 20.9913
2019-02-19 08:00:00 | 4.6533 | 217.87 | 5.35 | 239.42 | 7.2767 | 242.04 | 6.9067 | 9.8033 | -0.68 | 884 | 86.2 | 23.5153
2019-02-19 08:15:00 | 4.8733 | 117.84 | 5.6033 | 129.4933 | 7.3633 | 15 | 7.0867 | 20.5967 | -0.65333 | 884 | 86.1 | 25.0407
2019-02-19 08:30:00 | 4.84 | 130.64 | 5.5767 | 143.5533 | 7.6767 | 10.18 | 7.4333 | 33.57 | -0.62667 | 884 | 86.32 | 23.166
2019-02-19 08:45:00 | 4.7 | 227.26 | 5.41 | 249.7333 | 7.2467 | 6.0967 | 7.1533 | 12.7633 | -0.61 | 884 | 86.4533 | 24.4267
2019-02-19 09:00:00 | 4.8533 | 235.8133 | 5.5833 | 259.1333 | 7.5 | 238.89 | 7.0733 | 11.2233 | -0.59667 | 884 | 86.7867 | 25.9647
2019-02-19 09:15:00 | 4.9067 | 15.7133 | 5.6433 | 17.2567 | 7.5333 | 124.7867 | 7.072 | 13.95 | -0.54 | 884 | 87.1 | 21.9753
2019-02-19 09:30:00 | 4.36 | 215.6733 | 5.0167 | 237.0033 | 6.6 | 129.3133 | 6.2167 | 20.8433 | -0.46667 | 884.8667 | 87.1867 | 17.3147
2019-02-19 09:45:00 | 3.9133 | 317.71 | 4.5033 | 349.1333 | 5.9533 | 34.6733 | 5.5167 | 120.5067 | -0.37333 | 885 | 87.1467 | 15.2947
2019-02-19 10:00:00 | 3.7267 | 106.9967 | 4.2833 | 117.58 | 6.1667 | 10.56 | 5.97 | 120.54 | -0.26 | 885 | 86.9933 | 13.1907
2019-02-19 10:15:00 | 3.8267 | 204.4033 | 4.4067 | 224.6167 | 5.6067 | 356.6 | 5.3667 | 7.2867 | -0.17333 | 885 | 86.4 | 10.446
2019-02-19 10:30:00 | 3.9733 | 214.41 | 4.5667 | 235.6167 | 5.5133 | 136.72 | 5.32 | 8.78 | -0.10667 | 885 | 86.2867 | 9.632
2019-02-19 10:45:00 | 4.1867 | 315.2933 | 4.8167 | 346.4667 | 5.8267 | 19.0067 | 5.5567 | 10.7733 | 0.09 | 885 | 85.4333 | 7.6953
2019-02-19 11:00:00 | 3.9 | 311.7133 | 4.4833 | 342.5333 | 5.46 | 7.6867 | 5.05 | 14.0133 | 0.15667 | 885 | 85.08 | 4.8807
2019-02-19 11:15:00 | 3.78 | 27.56 | 4.3467 | 30.28 | 5.04 | 17.89 | 4.3667 | 9.2767 | 0.31333 | 885 | 84.5333 | 2.122
2019-02-19 11:30:00 | 3.4733 | 24.96 | 4 | 27.4267 | 4.56 | 10.2967 | 4.1467 | 20.7433 | 0.44 | 885.8667 | 84.2667 | 1.0653
2019-02-19 11:45:00 | 3.4067 | 14.9467 | 3.9133 | 16.42 | 4.6867 | 24.8767 | 4.32 | 3.68 | 0.63333 | 886 | 83.5 | 0.15267
2019-02-19 12:00:00 | 3.1067 | 115.0333 | 3.5733 | 126.4067 | 4.3933 | 19.4967 | 3.86 | 15 | 0.80667 | 886 | 83.08 | 0.15133
2019-02-19 12:15:00 | 2.9433 | 9.5067 | 3.3833 | 10.4333 | 4.0967 | 19.43 | 3.6467 | 4.7333 | 1.18 | 886 | 81.7667 | 0
2019-02-19 12:30:00 | 2.5967 | 11.68 | 2.99 | 12.8333 | 3.5167 | 8.79 | 2.9933 | 7.8467 | 1.2267 | 886 | 81.32 | 0
2019-02-19 12:45:00 | 2.23 | 315.41 | 2.5667 | 346.6 | 2.9133 | 11.4 | 2.5233 | 12.1767 | 1.3033 | 886 | 81 | 0
2019-02-19 13:00:00 | 2.09 | 300.0033 | 2.4067 | 329.6667 | 2.36 | 243.2533 | 1.9967 | 11.5967 | 1.37 | 886 | 80.8 | 0
2019-02-19 13:15:00 | 2.06 | 7.6367 | 2.3833 | 8.3933 | 2.2433 | 124.18 | 1.9967 | 355.0333 | 1.39 | 886 | 80.7667 | 0
2019-02-19 13:30:00 | 1.9667 | 218.7233 | 2.2633 | 240.3467 | 2.1633 | 347.2 | 2.0967 | 343.6333 | 1.5967 | 885.1333 | 80.3667 | 0
2019-02-19 13:45:00 | 2.1567 | 106.8333 | 2.49 | 117.4 | 2.3633 | 137.06 | 2.0933 | 117.5133 | 1.6633 | 885 | 80.4 | 0
2019-02-19 14:00:00 | 2.11 | 136.2667 | 2.43 | 149.7333 | 2.5167 | 126.86 | 2.1133 | 117.66 | 1.9233 | 885 | 79.8 | 0
2019-02-19 14:15:00 | 2.2467 | 7.0833 | 2.5933 | 7.7733 | 2.6067 | 20.0533 | 2.2667 | 117.7067 | 2.0933 | 885 | 79.4267 | 0
2019-02-19 14:30:00 | 2.26 | 210.5633 | 2.6067 | 231.38 | 2.68 | 14.9133 | 2.44 | 339.0667 | 2.1933 | 885 | 79.1733 | 0
2019-02-19 14:45:00 | 2.0267 | 18.2567 | 2.3367 | 20.0633 | 2.33 | 18.5133 | 2.12 | 120.72 | 2.19 | 884.4667 | 79.3567 | 0
2019-02-19 15:00:00 | 1.8867 | 216.9433 | 2.1833 | 238.39 | 2.25 | 13.62 | 2.06 | 352.6667 | 2.3567 | 884 | 79.01 | 0
2019-02-19 15:15:00 | 1.98 | 75.1 | 2.28 | 82.524 | 2.228 | 14.656 | 1.956 | 79.428 | 2.508 | 884 | 78.458 | 0
2019-02-19 15:30:00 | 1.9733 | 113.8033 | 2.2833 | 125.06 | 2.7133 | 18.56 | 2.2567 | 8.31 | 2.9033 | 884 | 77.6293 | 0
2019-02-19 15:45:00 | 2.2233 | 32.02 | 2.5633 | 35.19 | 3.1533 | 16.4133 | 2.4133 | 22.3333 | 3.23 | 884 | 76.5867 | 0
2019-02-19 16:00:00 | 2.25 | 15.112 | 2.59 | 16.6067 | 3.2867 | 11.1467 | 2.64 | 3.12 | 3.3233 | 884 | 76.52 | 0
2019-02-19 16:15:00 | 2.1867 | 15.5967 | 2.5133 | 17.1367 | 2.97 | 12.49 | 2.4867 | 10.1667 | 3.2433 | 884 | 76.9333 | 0
2019-02-19 16:30:00 | 2.0867 | 207.8433 | 2.4 | 228.39 | 2.99 | 10.6433 | 2.4667 | 44.52 | 3.11 | 884 | 77.6 | 0
2019-02-19 16:45:00 | 2.4033 | 225.64 | 2.76 | 247.9567 | 3.7367 | 17.4467 | 3.0967 | 14.9833 | 3.1233 | 884 | 78.01 | 0
2019-02-19 17:00:00 | 2.67 | 223.82 | 3.0667 | 245.9567 | 3.9433 | 8.4 | 3.6167 | 15.9367 | 3.0967 | 884 | 78.262 | 0.17
2019-02-19 17:15:00 | 2.56 | 310.9833 | 2.9433 | 341.7333 | 4.4433 | 18.0867 | 4.21 | 15.5667 | 3.3067 | 884 | 77.88 | 1.1147
2019-02-19 17:30:00 | 2.4667 | 247.4567 | 2.8433 | 271.9333 | 4.5833 | 13.0933 | 4.3433 | 16.1333 | 3.3133 | 884 | 77.7267 | 2.4747
2019-02-19 17:45:00 | 2.6267 | 119.1533 | 3.0233 | 130.9267 | 4.9433 | 9.02 | 4.71 | 17.3 | 3.26 | 884 | 78.38 | 4.9173
2019-02-19 18:00:00 | 2.82 | 259.9267 | 3.2433 | 285.6333 | 5.0967 | 8.4867 | 4.83 | 17.7533 | 3.1733 | 884 | 78.5347 | 5.1867
2019-02-19 18:15:00 | 2.6867 | 321.72 | 3.09 | 353.5333 | 5.03 | 16.83 | 4.84 | 16.44 | 2.97 | 884 | 78.9867 | 5.72
2019-02-19 18:30:00 | 2.54 | 316.6333 | 2.9233 | 347.9333 | 4.47 | 19.3567 | 4.3133 | 20.7867 | 2.83 | 884 | 79.234 | 4.872
2019-02-19 18:45:00 | 2.54 | 304.2567 | 2.92 | 334.3333 | 4.47 | 5.2867 | 4.2767 | 13.8967 | 2.7033 | 884 | 79.49 | 5.506
2019-02-19 19:00:00 | 2.78 | 302.6767 | 3.2 | 332.6 | 4.63 | 10.8267 | 4.5633 | 7.1033 | 2.6633 | 884.2 | 79.4167 | 9.606
2019-02-19 19:15:00 | 3.2267 | 108.4433 | 3.71 | 119.16 | 5.5367 | 27.8767 | 5.39 | 134.7267 | 2.58 | 885 | 79.76 | 11.192
2019-02-19 19:30:00 | 2.94 | 109.49 | 3.39 | 120.3133 | 5.5833 | 239.83 | 5.39 | 129.2133 | 2.5067 | 885 | 80.1333 | 12.5787
2019-02-19 19:45:00 | 3.02 | 13.35 | 3.4733 | 14.6633 | 5.23 | 129.7533 | 5.2133 | 7.4733 | 2.5233 | 885 | 79.83 | 14.9893
2019-02-19 20:00:00 | 3.3333 | 25.8833 | 3.8333 | 28.4367 | 5.6433 | 151.1933 | 5.64 | 17.0733 | 2.55 | 885 | 79.5633 | 14.574
2019-02-19 20:15:00 | 3.56 | 73.17 | 4.0933 | 80.4 | 5.9167 | 41.3033 | 5.95 | 13.59 | 2.5767 | 885 | 79.05 | 17.066
2019-02-19 20:30:00 | 3.5533 | 92.2367 | 4.0867 | 101.3533 | 5.8833 | 236.21 | 5.81 | 6.03 | 2.5967 | 885 | 78.6067 | 18.9827
2019-02-19 20:45:00 | 3.5 | 23.1233 | 4.0233 | 25.4133 | 5.9433 | 341.6 | 5.7033 | 10.7033 | 2.5933 | 885.5333 | 78.448 | 19.8607
2019-02-19 21:00:00 | 3.3933 | 11.97 | 3.9033 | 13.1533 | 5.87 | 347.0667 | 5.85 | 16.1033 | 2.5667 | 886 | 78.686 | 20.4793
2019-02-19 21:15:00 | 3.4733 | 28.7833 | 4 | 31.6233 | 6.2667 | 348.2333 | 5.9633 | 119.3 | 2.5533 | 886 | 78.6853 | 21.97
2019-02-19 21:30:00 | 3.4333 | 214.09 | 3.9533 | 235.2633 | 6.32 | 130.9867 | 6.33 | 125.22 | 2.52 | 886 | 78.728 | 21.9587
2019-02-19 21:45:00 | 3.56 | 275.04 | 4.0933 | 302.2333 | 6.62 | 235.5 | 6.38 | 8.05 | 2.4933 | 886 | 78.9347 | 21.6173
2019-02-19 22:00:00 | 3.72 | 73.8933 | 4.28 | 81.2 | 6.98 | 238.1667 | 6.9133 | 11.2967 | 2.48 | 886 | 79.104 | 21.24
2019-02-19 22:15:00 | 3.98 | 183.86 | 4.5833 | 202.0333 | 7.1133 | 118.65 | 6.9733 | 14.4433 | 2.482 | 886.5333 | 79.0633 | 22.874
2019-02-19 22:30:00 | 4.2333 | 104.18 | 4.8833 | 114.48 | 7.24 | 17.4033 | 7.02 | 13.0967 | 2.4867 | 887 | 79.198 | 22.6013
2019-02-19 22:45:00 | 4.16 | 90.5733 | 4.7833 | 99.5333 | 7.5167 | 20.1833 | 7.1967 | 14.1167 | 2.4033 | 887 | 79.7067 | 22.506
2019-02-19 23:00:00 | 4.1067 | 93.54 | 4.7233 | 102.7933 | 6.9567 | 15.09 | 6.71 | 237.4433 | 2.3433 | 887 | 80 | 24.29
2019-02-19 23:15:00 | 3.86 | 103.5467 | 4.4433 | 113.78 | 6.5967 | 14.0767 | 6.5 | 14.24 | 2.3267 | 887 | 80.12 | 24.816
2019-02-19 23:30:00 | 3.6733 | 111.5733 | 4.23 | 122.6067 | 6.63 | 15.6967 | 6.6 | 19.28 | 2.2867 | 887 | 80.4333 | 23.6927
2019-02-19 23:45:00 | 3.56 | 232.2833 | 4.1033 | 255.2567 | 5.4367 | 246.29 | 5.35 | 26.57 | 2.3533 | 887 | 79.4533 | 23.6487