## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-20 00:00:00 | 3.56 | 214.0233 | 4.0967 | 235.19 | 5.9967 | 252.3567 | 5.9233 | 40.45 | 2.34 | 887 | 79.46 | 24.25
2019-02-20 00:15:00 | 3.5573 | 243.8787 | 4.102 | 267.9933 | 6.0673 | 346.5067 | 5.8707 | 12.3053 | 2.3173 | 887 | 79.4393 | 23.4913
2019-02-20 00:30:00 | 3.5467 | 65.64 | 4.09 | 72.1333 | 6.51 | 346.3333 | 6.3067 | 4.3933 | 2.36 | 887 | 78.9067 | 22.586
2019-02-20 00:45:00 | 3.5933 | 23.0767 | 4.1367 | 25.3567 | 6.2333 | 352.6 | 6.29 | 7.1267 | 2.3167 | 887 | 79.43 | 23.7093
2019-02-20 01:00:00 | 3.42 | 21.2433 | 3.9433 | 23.3433 | 6.16 | 351.3467 | 5.912 | 8.0067 | 2.2367 | 887 | 80.0967 | 26.9587
2019-02-20 01:15:00 | 3.9667 | 14.8 | 4.5767 | 16.2567 | 6.8 | 253.1 | 6.3367 | 10.9167 | 2.18 | 887 | 80.5667 | 32.802
2019-02-20 01:30:00 | 4.3933 | 223.34 | 5.0567 | 245.4233 | 7.9333 | 119.0667 | 7.9167 | 4.3633 | 2.14 | 887 | 80.5667 | 36.8867
2019-02-20 01:45:00 | 4.79 | 17.26 | 5.51 | 18.97 | 8.2 | 0.15 | 7.84 | 16.66 | 2.13 | 887 | 80.2 | 34.537
2019-02-20 02:00:00 | 4.7133 | 189.6867 | 5.4333 | 208.4467 | 7.5633 | 125.9867 | 7.6367 | 11.5167 | 2.1267 | 887 | 80.1333 | 34.3673
2019-02-20 02:15:00 | 4.6933 | 106.6833 | 5.3967 | 117.2267 | 7.12 | 15.6 | 6.9167 | 41.7233 | 2.0767 | 887 | 80.5 | 35.0753
2019-02-20 02:30:00 | 4.9467 | 110.2767 | 5.6967 | 121.1867 | 7.16 | 23.74 | 6.9033 | 242.21 | 2.1033 | 886.1333 | 80.4133 | 34.934
2019-02-20 02:45:00 | 4.9 | 15.4667 | 5.6367 | 16.9967 | 7.72 | 2.96 | 7.6733 | 19.0567 | 2.1 | 886 | 80.3333 | 35.2367
2019-02-20 03:00:00 | 4.42 | 33.86 | 5.09 | 37.2033 | 7.1267 | 13.8267 | 7.16 | 7.8967 | 2.0867 | 886 | 80.0533 | 33.0193
2019-02-20 03:15:00 | 3.89 | 134.9133 | 4.4733 | 148.2467 | 6.8867 | 127.24 | 6.9133 | 22.0533 | 2.03 | 886 | 80.3 | 32.9707
2019-02-20 03:30:00 | 3.8633 | 297.7 | 4.44 | 327.1333 | 6.84 | 125.4733 | 6.7333 | 19.56 | 1.9967 | 886 | 80.48 | 33.2387
2019-02-20 03:45:00 | 4.04 | 104.09 | 4.6467 | 114.3733 | 7.46 | 2.0767 | 7.4733 | 18.21 | 2 | 886 | 80.1233 | 34.4733
2019-02-20 04:00:00 | 4.26 | 108.19 | 4.9 | 118.88 | 7.8133 | 238.25 | 8.0133 | 8.35 | 2.02 | 886 | 79.69 | 33.392
2019-02-20 04:15:00 | 4.0587 | 301.818 | 4.6713 | 331.66 | 7.3847 | 309.3333 | 7.3033 | 12.9427 | 2.06 | 886 | 79.1913 | 34.7947
2019-02-20 04:30:00 | 4.22 | 109.6033 | 4.8633 | 120.4467 | 7.5067 | 1.3967 | 7.1433 | 6.0033 | 2.04 | 886 | 79.35 | 34.936
2019-02-20 04:45:00 | 4.1067 | 197.73 | 4.72 | 217.2833 | 7.3967 | 353.0667 | 7.4 | 126.9867 | 2.03 | 885.4667 | 79.16 | 35.382
2019-02-20 05:00:00 | 4.2333 | 176.13 | 4.8667 | 193.55 | 7.6833 | 356.6 | 7.2513 | 120.0333 | 2.0633 | 885 | 78.992 | 35.3233
2019-02-20 05:15:00 | 4.1133 | 146.1633 | 4.7433 | 160.6233 | 7.37 | 350.9 | 7.07 | 13.72 | 2.08 | 885 | 78.8567 | 35.5913
2019-02-20 05:30:00 | 4.3733 | 186.9967 | 5.03 | 205.49 | 7.5433 | 336.6333 | 7.2767 | 12.7467 | 2.0667 | 885 | 79.082 | 36.084
2019-02-20 05:45:00 | 4.3 | 29.42 | 4.95 | 32.32 | 7.74 | 251.8333 | 7.5933 | 121.9 | 2.0333 | 885 | 79.1567 | 35.186
2019-02-20 06:00:00 | 4.3067 | 36.1067 | 4.95 | 39.6667 | 7.5267 | 122.8733 | 7.5 | 306.3 | 2.06 | 885.8667 | 78.978 | 36.7607
2019-02-20 06:15:00 | 4.4033 | 236.11 | 5.0673 | 259.4533 | 7.6147 | 185.6413 | 7.4693 | 40.954 | 2.0667 | 886 | 79.0307 | 35.584
2019-02-20 06:30:00 | 4.25 | 278.2233 | 4.8833 | 305.7333 | 7.4067 | 231.6467 | 7.2333 | 14.1433 | 2.04 | 886 | 79.3633 | 34.7167
2019-02-20 06:45:00 | 4.4227 | 294.1587 | 5.0867 | 323.24 | 7.1887 | 27.9113 | 7.288 | 3.1347 | 2.0173 | 886 | 79.45 | 34.766
2019-02-20 07:00:00 | 4.0067 | 282.8867 | 4.6067 | 310.8667 | 7.0733 | 249.7633 | 6.93 | 5.21 | 2.01 | 886 | 79.3327 | 34.1527
2019-02-20 07:15:00 | 4.1933 | 227.65 | 4.83 | 250.1633 | 7.28 | 0.15 | 7.1833 | 0.69333 | 2.0567 | 886 | 78.84 | 34.5307
2019-02-20 07:30:00 | 4.1533 | 218.97 | 4.7767 | 240.63 | 7.1667 | 232.25 | 7.03 | 37.9667 | 2.0767 | 886.2 | 78.7553 | 35.142
2019-02-20 07:45:00 | 4.2667 | 216.0733 | 4.91 | 237.43 | 7.5067 | 118.0067 | 7.4 | 9.5633 | 2.0867 | 887 | 78.57 | 34.1193
2019-02-20 08:00:00 | 4.2267 | 216.98 | 4.8767 | 238.43 | 7.1467 | 348.9667 | 6.96 | 12.7367 | 2.1 | 887 | 78.5547 | 35.086
2019-02-20 08:15:00 | 4.34 | 323.2033 | 4.99 | 355.1667 | 7.2367 | 336.1 | 6.95 | 16.83 | 2.1167 | 887 | 78.676 | 34.5267
2019-02-20 08:30:00 | 4.24 | 297.67 | 4.8833 | 327.1 | 7.0767 | 121.6067 | 6.85 | 15.7167 | 2.112 | 887 | 78.792 | 36.6187
2019-02-20 08:45:00 | 4.184 | 213.6047 | 4.81 | 234.7213 | 7.5007 | 193.2427 | 7.252 | 5.058 | 2.162 | 887 | 78.886 | 36.938
2019-02-20 09:00:00 | 4.3567 | 32.02 | 5.02 | 35.18 | 7.7733 | 236.4033 | 7.5033 | 0.44 | 2.3433 | 887.8667 | 77.9333 | 37.376
2019-02-20 09:15:00 | 4.4133 | 105.33 | 5.09 | 115.74 | 7.6567 | 116.3933 | 7.4433 | 6.88 | 2.5033 | 888 | 77.3033 | 37.1853
2019-02-20 09:30:00 | 4.3733 | 104.27 | 5.0433 | 114.5733 | 7.45 | 345.9667 | 7.0033 | 14.6867 | 2.57 | 888 | 77.022 | 38.4087
2019-02-20 09:45:00 | 4.98 | 11.35 | 5.73 | 12.46 | 7.8 | 337.5 | 7.52 | 203.4 | 2.6 | 888 | 76.67 | 38.58
2019-02-20 10:00:00 | 4.9867 | 16.0333 | 5.74 | 17.61 | 7.8667 | 10.93 | 7.978 | 9.3967 | 2.7267 | 888.8667 | 76.368 | 36.2433
2019-02-20 10:15:00 | 4.9267 | 75.5467 | 5.6667 | 83.0133 | 7.6 | 15.2033 | 7.6067 | 9.3667 | 2.8433 | 889 | 75.88 | 36.178
2019-02-20 10:30:00 | 4.8067 | 236.58 | 5.54 | 259.9667 | 7.7267 | 12.0567 | 7.88 | 16.3733 | 2.9433 | 889 | 76.0033 | 32.332
2019-02-20 10:45:00 | 4.5767 | 112.9467 | 5.2633 | 124.1133 | 7.74 | 9.3533 | 7.96 | 16.0167 | 3.0767 | 889 | 75.6633 | 31.3773
2019-02-20 11:00:00 | 4.57 | 318.96 | 5.2567 | 350.5 | 7.6933 | 12.6933 | 7.84 | 19.5833 | 3.1967 | 889 | 75.13 | 29.944
2019-02-20 11:15:00 | 4.2133 | 230.3567 | 4.85 | 253.1333 | 7.31 | 16.7733 | 7.43 | 16.3733 | 3.4067 | 889 | 74.3567 | 28.2793
2019-02-20 11:30:00 | 4 | 238.7233 | 4.61 | 262.3333 | 7.0633 | 13.2733 | 7.0967 | 14.4933 | 3.6867 | 889 | 73.3033 | 26.134
2019-02-20 11:45:00 | 4.28 | 198.94 | 4.9267 | 218.6 | 7.25 | 13.8733 | 7.0533 | 10.48 | 3.78 | 889 | 72.5833 | 24.334
2019-02-20 12:00:00 | 4.2933 | 299.4533 | 4.9467 | 329.0667 | 7.27 | 11.36 | 7.14 | 16.1267 | 3.9867 | 889.8667 | 71.9033 | 24.698
2019-02-20 12:15:00 | 4.12 | 34.7833 | 4.7467 | 38.2133 | 7.6733 | 14.48 | 7.6667 | 20.8867 | 4.3867 | 890 | 71.2933 | 26.0293
2019-02-20 12:30:00 | 4.38 | 2.91 | 5.04 | 3.1933 | 7.9467 | 16.16 | 7.96 | 19.78 | 4.7733 | 889.1333 | 69.96 | 23.868
2019-02-20 12:45:00 | 4.1733 | 99.39 | 4.8067 | 109.2067 | 7.7333 | 13.0733 | 7.6567 | 25.68 | 5.36 | 889 | 67.7267 | 22.304
2019-02-20 13:00:00 | 4.2267 | 130.8967 | 4.8667 | 143.84 | 7.6933 | 17.6267 | 7.608 | 26.2333 | 5.5667 | 889 | 66.5467 | 21.1347
2019-02-20 13:15:00 | 4.0667 | 310.29 | 4.68 | 340.9667 | 7.6 | 6.0467 | 7.25 | 21.5633 | 5.84 | 889 | 65.4367 | 16.394
2019-02-20 13:30:00 | 3.9333 | 293.3633 | 4.5267 | 322.3667 | 7.2333 | 16.1467 | 7.0633 | 21.2167 | 6.2933 | 889 | 63.5033 | 13.4013
2019-02-20 13:45:00 | 4.0333 | 222.12 | 4.64 | 244.0833 | 7.1867 | 9.58 | 6.9 | 15.78 | 6.5567 | 889 | 62.1033 | 11.544
2019-02-20 14:00:00 | 4.1067 | 37.44 | 4.7333 | 41.13 | 6.84 | 12.7067 | 6.32 | 23.7067 | 6.35 | 889 | 62.73 | 11.2307
2019-02-20 14:15:00 | 3.96 | 20.02 | 4.55 | 22 | 6.99 | 17.75 | 6.53 | 26.09 | 6.09 | 889 | 63.88 | 9.055
2019-02-20 14:30:00 | 3.69 | 178.58 | 4.24 | 196.235 | 6.295 | 10.865 | 6.015 | 16.225 | 6.28 | 889 | 63.555 | 8.613
2019-02-20 14:45:00 | 3.4733 | 108.6267 | 3.9967 | 119.3667 | 6.0767 | 19.16 | 5.76 | 30.0167 | 6.3133 | 888.4667 | 63.3167 | 6.2287
2019-02-20 15:00:00 | 3.2933 | 215.22 | 3.79 | 236.5 | 5.3967 | 14.3333 | 5.1733 | 23.5833 | 6.3133 | 888 | 63.588 | 6.032
2019-02-20 15:15:00 | 3.3667 | 42.45 | 3.8733 | 46.6467 | 5.63 | 20.1567 | 5.2147 | 22.1733 | 6.4067 | 888 | 63.21 | 6.96
2019-02-20 15:30:00 | 3.5867 | 204.55 | 4.1333 | 224.78 | 5.9767 | 16.3167 | 5.6967 | 24.8 | 6.44 | 888 | 63.2907 | 8.056
2019-02-20 15:45:00 | 3.44 | 105.29 | 3.9567 | 115.7 | 6.2167 | 7.6933 | 6.0367 | 22.3667 | 6.5267 | 888 | 62.9233 | 8.2687
2019-02-20 16:00:00 | 3.18 | 102.6233 | 3.6567 | 112.7667 | 6.0967 | 15.76 | 6.1567 | 18.2533 | 6.5 | 888 | 63.016 | 8.556
2019-02-20 16:15:00 | 3.4733 | 229.6967 | 4.0033 | 252.4 | 6.4467 | 13.3733 | 6.3567 | 19.5333 | 6.3667 | 888 | 63.262 | 10.1613
2019-02-20 16:30:00 | 3.5533 | 300.97 | 4.09 | 330.7333 | 6.6467 | 11.5533 | 6.49 | 19.9667 | 6.4067 | 888 | 63.7333 | 11.964
2019-02-20 16:45:00 | 3.64 | 231.338 | 4.188 | 254.206 | 7.002 | 9.766 | 7.034 | 31.752 | 6.396 | 888 | 64.068 | 15.2773
2019-02-20 17:00:00 | 3.86 | 27.47 | 4.44 | 30.1833 | 7.31 | 35.23 | 7.37 | 23.9 | 6.2733 | 888 | 64.524 | 18.4333
2019-02-20 17:15:00 | 3.82 | 298.64 | 4.3933 | 328.1667 | 7.2033 | 21.0633 | 7.5367 | 33.5033 | 6.0133 | 888 | 65.6467 | 21.7667
2019-02-20 17:30:00 | 4 | 122.0933 | 4.6067 | 134.16 | 7.4567 | 21.3233 | 7.7167 | 35.8233 | 5.8333 | 888 | 66.4533 | 28.156
2019-02-20 17:45:00 | 4.42 | 293.4467 | 5.0867 | 322.4667 | 8.18 | 20.18 | 8.4767 | 35.45 | 5.6433 | 888 | 67.21 | 31.2947
2019-02-20 18:00:00 | 4.6133 | 306.06 | 5.3067 | 336.3333 | 8.6133 | 22.1333 | 9.0767 | 25.8033 | 5.5433 | 888 | 67.91 | 32.4533
2019-02-20 18:15:00 | 4.7067 | 111.09 | 5.42 | 122.0733 | 8.9367 | 16.1467 | 9.18 | 26.4733 | 5.36 | 888 | 68.7 | 33.364
2019-02-20 18:30:00 | 4.91 | 289.7 | 5.66 | 318.35 | 9.26 | 22.385 | 9.595 | 30.315 | 5.2 | 888 | 69.355 | 34.329
2019-02-20 18:45:00 | 4.8133 | 88.09 | 5.5367 | 96.7933 | 9.0433 | 17.0867 | 9.4467 | 30.1333 | 5.06 | 888 | 69.5807 | 34.4073
2019-02-20 19:00:00 | 4.6 | 240.5433 | 5.3033 | 264.3333 | 8.4833 | 14.5267 | 9.0067 | 27.7333 | 5.04 | 888.8667 | 69.0933 | 36.318
2019-02-20 19:15:00 | 5 | 246.9567 | 5.75 | 271.3667 | 9.4733 | 15.7833 | 9.79 | 28.22 | 4.9167 | 888.4667 | 69.7667 | 37.0487
2019-02-20 19:30:00 | 4.86 | 225.41 | 5.5967 | 247.7 | 9.12 | 15.9767 | 9.55 | 19.6067 | 4.83 | 888.8667 | 69.684 | 37.9067
2019-02-20 19:45:00 | 5.0533 | 230.7467 | 5.8133 | 253.5667 | 9.5633 | 27.9667 | 9.9867 | 24.7933 | 4.7567 | 889 | 69.3433 | 38.8327
2019-02-20 20:00:00 | 5.0067 | 251.9267 | 5.76 | 276.8333 | 9.3567 | 11.6067 | 9.8267 | 20.42 | 4.7433 | 889 | 68.1633 | 40.8933
2019-02-20 20:15:00 | 5.58 | 132.84 | 6.4233 | 145.9733 | 10.1867 | 20.8167 | 10.16 | 25.3067 | 4.702 | 889 | 67.21 | 40.1573
2019-02-20 20:30:00 | 5.22 | 312.3133 | 6.01 | 343.2 | 9.7067 | 6.1967 | 9.46 | 29.62 | 4.6 | 889.2 | 67.0153 | 40.4767
2019-02-20 20:45:00 | 5.32 | 38.938 | 6.1227 | 42.7893 | 9.3653 | 13.128 | 9.09 | 11.3247 | 4.5167 | 890 | 66.7167 | 42.6547
2019-02-20 21:00:00 | 5.41 | 34.34 | 6.2267 | 37.7367 | 9.73 | 12.55 | 9.4067 | 32.2733 | 4.4667 | 890 | 66.3833 | 43.522
2019-02-20 21:15:00 | 5.5633 | 320.93 | 6.4 | 352.6667 | 10.32 | 17.3633 | 10.2467 | 23.1967 | 4.4 | 890 | 66.6033 | 45.282
2019-02-20 21:30:00 | 5.7767 | 119.77 | 6.6533 | 131.6133 | 10.5467 | 14.7567 | 10.34 | 18.9967 | 4.4 | 890 | 66.2033 | 46.19
2019-02-20 21:45:00 | 5.89 | 35.7367 | 6.78 | 39.27 | 10.4333 | 23.0067 | 10.14 | 26.2467 | 4.4033 | 890 | 65.98 | 45.27
2019-02-20 22:00:00 | 5.7567 | 218.2033 | 6.6267 | 239.7833 | 10.1267 | 23.02 | 9.62 | 8.06 | 4.392 | 890.8667 | 65.9667 | 44.1033
2019-02-20 22:15:00 | 5.8067 | 314.9033 | 6.69 | 346.0333 | 9.88 | 11.8467 | 9.6367 | 29.8267 | 4.33 | 891 | 66.55 | 46.4473
2019-02-20 22:30:00 | 6.335 | 292.985 | 7.29 | 321.95 | 10.07 | 20.78 | 9.615 | 55.51 | 4.33 | 891 | 66.494 | 46.285
2019-02-20 22:45:00 | 6.16 | 270.7 | 7.0933 | 297.4667 | 10.7533 | 12.2533 | 10.15 | 19.64 | 4.2467 | 891 | 67.37 | 45.782
2019-02-20 23:00:00 | 5.5933 | 151.1933 | 6.4333 | 166.1333 | 10.3933 | 12.9867 | 10.11 | 21.3133 | 4.14 | 891.2 | 68.29 | 45.752
2019-02-20 23:15:00 | 5.4267 | 124.4333 | 6.25 | 136.7333 | 9.9567 | 10.9033 | 9.8233 | 11.8433 | 4.07 | 892 | 68.93 | 46.5727
2019-02-20 23:30:00 | 5.4 | 165.0867 | 6.2233 | 181.4 | 10.11 | 15.1033 | 9.97 | 21.8767 | 4.0033 | 892 | 69.7767 | 48.0927
2019-02-20 23:45:00 | 5.57 | 38.35 | 6.42 | 42.14 | 9.87 | 17.51 | 9.56 | 19.33 | 3.99 | 892 | 70.048 | 47.865