## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-21 00:00:00 | 5.5653 | 24.242 | 6.4013 | 26.6353 | 10.2273 | 10.3393 | 10.0813 | 20.0113 | 3.9527 | 891.8 | 70.6633 | 48.1253
2019-02-21 00:15:00 | 5.3533 | 52.5233 | 6.1533 | 57.7067 | 9.4867 | 14.3467 | 9.37 | 17.2567 | 3.9167 | 891 | 70.87 | 46.7787
2019-02-21 00:30:00 | 5.2467 | 45.19 | 6.04 | 49.6533 | 9.8267 | 14.1733 | 9.63 | 18.9433 | 3.85 | 891 | 71.41 | 48.0007
2019-02-21 00:45:00 | 5.2267 | 20.3333 | 6.02 | 22.34 | 9.69 | 8.4467 | 9.4933 | 21.9367 | 3.78 | 891 | 71.7233 | 48.594
2019-02-21 01:00:00 | 5.3867 | 231.18 | 6.2067 | 254.0467 | 10.0433 | 13.7133 | 9.7067 | 15.47 | 3.7067 | 891 | 72.15 | 48.398
2019-02-21 01:15:00 | 5.2767 | 161.2267 | 6.07 | 177.1667 | 9.7933 | 16.9133 | 9.7233 | 20.3533 | 3.6913 | 891 | 71.7367 | 48.7487
2019-02-21 01:30:00 | 5.39 | 269.5133 | 6.1967 | 296.1667 | 9.9067 | 16.5733 | 9.9167 | 15.4467 | 3.6933 | 891 | 71.42 | 49.3347
2019-02-21 01:45:00 | 6.0267 | 159.07 | 6.9367 | 174.8 | 10.59 | 12.0767 | 10.1467 | 15.7733 | 3.67 | 891 | 71.2893 | 49.0447
2019-02-21 02:00:00 | 5.82 | 315.9567 | 6.6967 | 347.2 | 10.3433 | 10.9633 | 10.0267 | 21.7867 | 3.6567 | 891 | 71.156 | 48.656
2019-02-21 02:15:00 | 5.85 | 215.6833 | 6.73 | 237.0067 | 10.3833 | 17.1067 | 10.0833 | 19.9433 | 3.6333 | 891 | 71.06 | 48.0873
2019-02-21 02:30:00 | 5.9233 | 31.95 | 6.81 | 35.1 | 10.7233 | 13.6667 | 10.55 | 17.19 | 3.5867 | 891 | 71.18 | 46.61
2019-02-21 02:45:00 | 5.4867 | 177.6067 | 6.3133 | 195.1667 | 10.1367 | 11.17 | 10.1933 | 20.9867 | 3.5367 | 891 | 71.1853 | 44.3973
2019-02-21 03:00:00 | 5.4733 | 316.9533 | 6.3 | 348.3 | 10.1767 | 14.5433 | 10.1267 | 22.6733 | 3.51 | 890.1333 | 71.2513 | 43.4847
2019-02-21 03:15:00 | 5.54 | 38.9367 | 6.37 | 42.7833 | 10.2867 | 13.1967 | 10.15 | 21.7933 | 3.4533 | 890 | 71.56 | 41.496
2019-02-21 03:30:00 | 5.4267 | 172.9567 | 6.25 | 190.0633 | 9.7333 | 20.09 | 9.3033 | 15.8067 | 3.4467 | 890 | 71.2533 | 42.3893
2019-02-21 03:45:00 | 5.65 | 13.3433 | 6.5 | 14.6633 | 9.9233 | 7.2333 | 9.3833 | 18.5367 | 3.42 | 890 | 71.0707 | 43.6867
2019-02-21 04:00:00 | 5.5967 | 11.4567 | 6.4467 | 12.59 | 9.99 | 15.16 | 9.91 | 20.3567 | 3.38 | 890 | 71.1367 | 43.4213
2019-02-21 04:15:00 | 5.2 | 154.4833 | 5.9867 | 169.75 | 9.6967 | 17.4467 | 9.78 | 26.3533 | 3.2533 | 890 | 71.39 | 42.88
2019-02-21 04:30:00 | 5.26 | 192.3967 | 6.0467 | 211.4167 | 9.9033 | 16.9733 | 10.2533 | 28.06 | 3.18 | 889.8 | 71.0827 | 45.164
2019-02-21 04:45:00 | 5.8267 | 199.7967 | 6.7067 | 219.5533 | 10.5267 | 20.4133 | 10.1333 | 36.6833 | 3.1933 | 889 | 69.7167 | 45.5993
2019-02-21 05:00:00 | 5.6133 | 203.2033 | 6.4667 | 223.2867 | 10.3067 | 18.5467 | 10.1 | 23.6433 | 3.1867 | 889 | 69.246 | 46.4453
2019-02-21 05:15:00 | 5.38 | 300.5767 | 6.1867 | 330.3 | 9.9267 | 13.4833 | 9.98 | 19.77 | 3.1633 | 889 | 68.79 | 46.3007
2019-02-21 05:30:00 | 5.28 | 87.9367 | 6.0733 | 96.6333 | 9.7267 | 23.8567 | 9.7467 | 15.2967 | 3.13 | 889 | 68.7767 | 46.2933
2019-02-21 05:45:00 | 5.4067 | 142.43 | 6.22 | 156.52 | 10.1233 | 19.6433 | 10.0467 | 10.87 | 3.0167 | 889 | 69.4333 | 47.3947
2019-02-21 06:00:00 | 6.1467 | 72.7233 | 7.0667 | 79.92 | 11.23 | 13.7767 | 11.0867 | 12.3833 | 3.0033 | 889 | 69.0667 | 49.0167
2019-02-21 06:15:00 | 6.8 | 318.2367 | 7.82 | 349.7 | 12.0767 | 15.3733 | 11.6767 | 19.84 | 2.9867 | 889 | 68.79 | 49.4133
2019-02-21 06:30:00 | 6.92 | 127.8833 | 7.9667 | 140.5333 | 11.85 | 9.08 | 11.39 | 30.4133 | 2.9733 | 889 | 68.6893 | 48.374
2019-02-21 06:45:00 | 6.7 | 34.6333 | 7.71 | 38.0567 | 11.3833 | 25.1767 | 10.9033 | 36.57 | 2.9433 | 889 | 68.4567 | 47.1927
2019-02-21 07:00:00 | 6.8867 | 200.22 | 7.93 | 220.01 | 11.3967 | 15.7367 | 11.03 | 36.2767 | 2.9233 | 889.2 | 68.0633 | 45.8347
2019-02-21 07:15:00 | 6.77 | 295.117 | 7.801 | 324.29 | 11.605 | 12.483 | 10.934 | 19.171 | 2.929 | 890 | 67.764 | 44.998
2019-02-21 07:30:00 | 6.3267 | 106.08 | 7.2867 | 116.5667 | 10.5533 | 25.8233 | 10.0733 | 13.26 | 2.9067 | 890 | 67.898 | 45.282
2019-02-21 07:45:00 | 6.18 | 178.86 | 7.11 | 196.55 | 10.48 | 5.86 | 9.69 | 19.6067 | 2.8933 | 890 | 67.7673 | 46.7
2019-02-21 08:00:00 | 6.6 | 106.9667 | 7.5967 | 117.55 | 11.16 | 14.36 | 10.69 | 13.2 | 2.9 | 890.2 | 67.4813 | 47.5773
2019-02-21 08:15:00 | 6.8467 | 99.6013 | 7.8753 | 109.442 | 11.2467 | 18.3733 | 10.836 | 5.344 | 2.976 | 891 | 66.7807 | 47.8267
2019-02-21 08:30:00 | 6.868 | 324.662 | 7.908 | 356.76 | 11.444 | 15.586 | 11.052 | 21.948 | 3.024 | 891 | 66.6 | 47.4693
2019-02-21 08:45:00 | 6.5433 | 54.3633 | 7.5333 | 59.74 | 11.1333 | 15.6067 | 10.6267 | 22.1467 | 3.0567 | 891 | 66.7867 | 47.8193
2019-02-21 09:00:00 | 6.7033 | 31.4833 | 7.7067 | 34.5933 | 11.3867 | 14.0533 | 11.0733 | 17.8867 | 3.15 | 891 | 66.3733 | 47.6587
2019-02-21 09:15:00 | 6.4733 | 50.7233 | 7.4433 | 55.7333 | 10.87 | 28.0967 | 10.782 | 15.5233 | 3.2967 | 891 | 65.9833 | 46.8213
2019-02-21 09:30:00 | 6.458 | 148.7567 | 7.428 | 163.4667 | 10.8233 | 12.79 | 10.4333 | 10.95 | 3.43 | 891.8667 | 65.6367 | 43.754
2019-02-21 09:45:00 | 6.06 | 302.4833 | 6.98 | 332.4 | 10.45 | 8.6333 | 10.0067 | 16.7267 | 3.7867 | 892 | 64.87 | 42.9993
2019-02-21 10:00:00 | 5.96 | 93.1367 | 6.8667 | 102.3467 | 9.53 | 11.7133 | 8.8933 | 22.6733 | 4.1333 | 892 | 63.7967 | 39.678
2019-02-21 10:15:00 | 5.6193 | 171.0833 | 6.4673 | 188.0013 | 8.8753 | 14.994 | 8.3227 | 15.1487 | 4.366 | 892 | 63.5167 | 37.532
2019-02-21 10:30:00 | 5.688 | 204.1633 | 6.5467 | 224.3467 | 9.6433 | 21.77 | 9.02 | 13.7967 | 5.1233 | 892 | 61.59 | 34.876
2019-02-21 10:45:00 | 5.34 | 42.8167 | 6.1433 | 47.0433 | 9.53 | 9.52 | 9.1833 | 14.3067 | 6.0333 | 892 | 58.8933 | 30.934
2019-02-21 11:00:00 | 5.2133 | 19.0433 | 6.0033 | 20.9233 | 8.83 | 13.0067 | 8.55 | 13.4667 | 6.5667 | 892.8667 | 57.26 | 29.568
2019-02-21 11:15:00 | 5.22 | 10.81 | 6.01 | 11.8733 | 9.0533 | 17.1833 | 8.75 | 23.0433 | 7.1067 | 893 | 55.5667 | 29.1973
2019-02-21 11:30:00 | 5.1973 | 219.83 | 5.9807 | 241.56 | 9.2533 | 9.5967 | 9.0367 | 20.2567 | 7.6 | 893 | 54.3 | 26.9473
2019-02-21 11:45:00 | 5.2933 | 8.7733 | 6.09 | 9.6267 | 9.2167 | 122.2867 | 8.97 | 18.1907 | 7.94 | 893 | 53.65 | 25.1753
2019-02-21 12:00:00 | 5.64 | 4.2533 | 6.49 | 4.6667 | 9.5367 | 120.86 | 9.1167 | 18.3467 | 8.2733 | 893 | 52.5833 | 24.2253
2019-02-21 12:15:00 | 5.4533 | 181.8333 | 6.2733 | 199.8067 | 9.1867 | 12.0567 | 8.9733 | 18.52 | 7.92 | 893 | 53.5667 | 19.1087
2019-02-21 12:30:00 | 4.6733 | 6.0867 | 5.3733 | 6.68 | 8.1667 | 14.2967 | 7.7467 | 18.8733 | 8.1133 | 893 | 53.58 | 13.348
2019-02-21 12:45:00 | 4.5967 | 134.24 | 5.2967 | 147.5067 | 7.25 | 12.4633 | 6.6567 | 8.38 | 9.3633 | 893 | 50.08 | 11.6347
2019-02-21 13:00:00 | 4.4633 | 112.2733 | 5.1367 | 123.3733 | 6.8567 | 11.7967 | 6.29 | 14.52 | 8.8433 | 892.8 | 50.86 | 9.768
2019-02-21 13:15:00 | 4.56 | 221.3833 | 5.2433 | 243.2733 | 6.76 | 22.6567 | 6.4133 | 10.62 | 9.0533 | 892 | 50.774 | 10.248
2019-02-21 13:30:00 | 4.3733 | 217.4367 | 5.0367 | 238.94 | 6.8533 | 26.2833 | 6.7667 | 32.58 | 9.6867 | 892 | 48.3567 | 10.98
2019-02-21 13:45:00 | 4.5333 | 220.6233 | 5.22 | 242.4367 | 7.07 | 16.6967 | 6.7033 | 26.52 | 10.41 | 892 | 46.4867 | 7.436
2019-02-21 14:00:00 | 3.9533 | 219.41 | 4.5533 | 241.1033 | 6.0433 | 18.2367 | 5.6967 | 26.08 | 10.61 | 892.6667 | 46.0933 | 4.532
2019-02-21 14:15:00 | 3.32 | 109.7467 | 3.82 | 120.5933 | 4.9067 | 15.7967 | 4.2767 | 31.57 | 10.8733 | 892 | 45.46 | 4.6773
2019-02-21 14:30:00 | 3.28 | 317.2067 | 3.78 | 348.5667 | 5.1733 | 30.2767 | 4.39 | 44.9833 | 11.8733 | 892 | 43.0367 | 3.51
2019-02-21 14:45:00 | 3.4133 | 26.37 | 3.9267 | 28.97 | 4.96 | 21.6467 | 4.7467 | 23.8567 | 11.9467 | 892 | 42.58 | 3.1693
2019-02-21 15:00:00 | 3.48 | 28.05 | 4.0067 | 30.8167 | 5.02 | 5.1867 | 4.68 | 11.69 | 11.4867 | 892 | 43.56 | 3.1307
2019-02-21 15:15:00 | 3.1333 | 309.7133 | 3.61 | 340.3333 | 4.7233 | 18.7133 | 4.5233 | 30.1433 | 12.1533 | 891.4667 | 41.97 | 2.842
2019-02-21 15:30:00 | 3.05 | 164.815 | 3.515 | 181.105 | 4.555 | 16.66 | 4.215 | 29.005 | 12.22 | 891 | 41.555 | 2.702
2019-02-21 15:45:00 | 2.3367 | 103.8067 | 2.6867 | 114.0733 | 3.8767 | 15.1233 | 3.1433 | 23.2133 | 12.2033 | 891 | 40.86 | 1.9027
2019-02-21 16:00:00 | 2.4367 | 100.4333 | 2.8 | 110.36 | 3.9767 | 23.0633 | 3.37 | 46.56 | 12.4567 | 891 | 40.0667 | 1.894
2019-02-21 16:15:00 | 2.4067 | 55.9267 | 2.7767 | 61.4533 | 4.2567 | 26.9533 | 3.8267 | 24.7733 | 12.0533 | 891 | 40.84 | 1.632
2019-02-21 16:30:00 | 2.42 | 62.9 | 2.7833 | 69.1133 | 4.05 | 23.0933 | 3.76 | 23.0667 | 12.06 | 890.8 | 41.2533 | 1.0247
2019-02-21 16:45:00 | 2.0333 | 112.3333 | 2.3533 | 123.4333 | 3.0433 | 2.3667 | 2.6867 | 16.7567 | 12.2 | 890 | 40.7733 | 0.01
2019-02-21 17:00:00 | 1.9867 | 312.3733 | 2.2867 | 343.2667 | 3.05 | 6.8667 | 2.7533 | 13.1633 | 11.7933 | 890 | 41.8133 | 0.50333
2019-02-21 17:15:00 | 2.2133 | 51.9067 | 2.5467 | 57.03 | 3.56 | 11.1033 | 3.2267 | 26.6167 | 11.55 | 890 | 42.8367 | 0.12533
2019-02-21 17:30:00 | 2.1467 | 51 | 2.4667 | 56.0367 | 4.0933 | 13.8233 | 3.6467 | 13.17 | 11.426 | 890 | 43.7367 | 0.398
2019-02-21 17:45:00 | 2.2833 | 171.9533 | 2.6333 | 188.9573 | 4.398 | 20.6193 | 4.1993 | 26.3753 | 10.6193 | 890 | 46.2927 | 1.532
2019-02-21 18:00:00 | 2.6267 | 97.78 | 3.03 | 107.4467 | 5 | 16.2 | 5.05 | 22.9733 | 9.8733 | 890 | 48.9967 | 4.186
2019-02-21 18:15:00 | 2.66 | 224.6867 | 3.0567 | 246.9 | 5.0633 | 13.95 | 5.1533 | 24.4933 | 9.22 | 889.4667 | 51.7633 | 3.412
2019-02-21 18:30:00 | 2.28 | 182.0333 | 2.63 | 200.0333 | 4.37 | 20.0433 | 4.56 | 15.2267 | 8.78 | 889.6667 | 52.6967 | 3.9493
2019-02-21 18:45:00 | 2.5573 | 223.3387 | 2.946 | 245.4133 | 5.0227 | 20.052 | 5.0933 | 22.914 | 8.1767 | 889 | 54.902 | 8.6347
2019-02-21 19:00:00 | 3.0667 | 115.3667 | 3.5267 | 126.7667 | 5.8967 | 19.48 | 5.6867 | 16.2733 | 7.66 | 889 | 56.99 | 12.838
2019-02-21 19:15:00 | 3.6933 | 191.6567 | 4.25 | 210.6 | 6.7667 | 21.1267 | 6.6333 | 21.79 | 7.1667 | 889 | 59.0167 | 16.3273
2019-02-21 19:30:00 | 3.595 | 193.75 | 4.135 | 212.905 | 6.385 | 19.175 | 6.335 | 23.245 | 6.995 | 889 | 59.57 | 17.363
2019-02-21 19:45:00 | 3.8093 | 38.6833 | 4.38 | 42.502 | 6.3207 | 3.0707 | 6.2053 | 10.4633 | 6.7747 | 889 | 60.2687 | 22.0067
2019-02-21 20:00:00 | 3.9733 | 208.9633 | 4.58 | 229.62 | 6.4 | 11.0267 | 6.3167 | 13.5167 | 6.5433 | 889 | 60.99 | 23.4287
2019-02-21 20:15:00 | 4.5533 | 99.4433 | 5.24 | 109.2733 | 6.7 | 348.7667 | 6.4233 | 23.9233 | 6.35 | 889 | 61.7007 | 24.906
2019-02-21 20:30:00 | 4.66 | 95.15 | 5.3733 | 104.5533 | 7.1533 | 129.2333 | 7.17 | 18.6833 | 6.0233 | 889.8667 | 62.94 | 28.234
2019-02-21 20:45:00 | 4.6733 | 241.8513 | 5.3747 | 265.768 | 7.2913 | 16.1167 | 7.2813 | 10.536 | 5.7227 | 890 | 64.106 | 33.0273
2019-02-21 21:00:00 | 5.1333 | 218.97 | 5.9067 | 240.6267 | 7.9267 | 11.8267 | 7.93 | 19.4833 | 5.52 | 890 | 64.7867 | 32.8033
2019-02-21 21:15:00 | 4.9433 | 6.76 | 5.6867 | 7.43 | 7.0533 | 17.98 | 6.9 | 24.05 | 5.3433 | 890 | 65.4133 | 28.4327
2019-02-21 21:30:00 | 4.7167 | 10.5933 | 5.42 | 11.6433 | 6.8067 | 3.52 | 6.4 | 11.15 | 5.0367 | 890 | 66.6533 | 22.5327
2019-02-21 21:45:00 | 3.9867 | 142.4733 | 4.59 | 156.5533 | 6.19 | 18.6467 | 6.0367 | 10.02 | 4.66 | 890 | 68.2367 | 18.1247
2019-02-21 22:00:00 | 3.6 | 127.7133 | 4.15 | 140.34 | 6.03 | 237.2933 | 5.65 | 9.5133 | 4.3267 | 890 | 69.7567 | 17.7313
2019-02-21 22:15:00 | 3.46 | 288.66 | 3.98 | 317.2 | 5.95 | 238.3533 | 5.53 | 0.26333 | 4 | 890 | 71.1733 | 17.7467
2019-02-21 22:30:00 | 3.4333 | 138.3067 | 3.9533 | 151.9733 | 6.31 | 6.3533 | 5.9767 | 1.17 | 3.7667 | 890 | 72.2 | 19.0747
2019-02-21 22:45:00 | 3.67 | 213.1567 | 4.22 | 234.2367 | 6.1167 | 42.4767 | 5.7033 | 27.4667 | 3.7233 | 890 | 72.3933 | 18.2233
2019-02-21 23:00:00 | 4.11 | 4.79 | 4.7267 | 5.2633 | 6.13 | 239.45 | 5.7767 | 10.78 | 3.7833 | 890 | 72.06 | 16.694
2019-02-21 23:15:00 | 3.86 | 215.6767 | 4.44 | 236.9967 | 6.2967 | 22.8533 | 5.88 | 4.89 | 3.5333 | 890 | 72.9667 | 14.2867
2019-02-21 23:30:00 | 3.96 | 218.4633 | 4.5533 | 240.0633 | 6.4767 | 19.5467 | 6.0467 | 7.9033 | 3.42 | 890 | 73.5067 | 14.334
2019-02-21 23:45:00 | 4.3833 | 302.1167 | 5.0467 | 332 | 6.4233 | 7.6367 | 6.1367 | 13.3033 | 3.46 | 890 | 73.19 | 13.1773