## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-22 00:00:00 | 4.6233 | 315.35 | 5.3133 | 346.5333 | 6.4233 | 79.1167 | 5.8833 | 9.6433 | 3.4733 | 890 | 72.9433 | 12.0773
2019-02-22 00:15:00 | 4.63 | 99.67 | 5.3233 | 109.52 | 6.61 | 352.4 | 6.46 | 13.8633 | 3.2633 | 890 | 73.69 | 12.2193
2019-02-22 00:30:00 | 4.83 | 306.4567 | 5.5633 | 336.7667 | 6.5567 | 353.8 | 6.22 | 3.31 | 3.23 | 890 | 73.7767 | 9.532
2019-02-22 00:45:00 | 4.6867 | 218.4733 | 5.39 | 240.0767 | 6.4233 | 4.14 | 5.96 | 4.2 | 3.19 | 890 | 73.854 | 7.696
2019-02-22 01:00:00 | 4.74 | 220.3533 | 5.4567 | 242.1433 | 6.39 | 118.8667 | 6.0867 | 11.66 | 3.13 | 889.8 | 74.156 | 8.3467
2019-02-22 01:15:00 | 4.3567 | 214.69 | 5.02 | 235.9133 | 6.3133 | 350.1667 | 5.8967 | 1.2667 | 3.04 | 889 | 74.4587 | 6.9387
2019-02-22 01:30:00 | 4.3833 | 19.0567 | 5.0467 | 20.94 | 6.12 | 119.0667 | 5.97 | 7.64 | 3 | 889 | 74.8367 | 8.844
2019-02-22 01:45:00 | 4.3933 | 212.44 | 5.0567 | 233.44 | 5.85 | 116.3333 | 5.85 | 8.4367 | 2.9433 | 889 | 75.28 | 8.916
2019-02-22 02:00:00 | 4.4933 | 19.7267 | 5.17 | 21.6667 | 5.89 | 117.42 | 5.9033 | 5.9833 | 2.8833 | 889 | 75.5667 | 7.6447
2019-02-22 02:15:00 | 4.3287 | 324.87 | 4.9867 | 357 | 5.9133 | 237.5467 | 5.6967 | 7.3767 | 2.81 | 889 | 76.0033 | 6.154
2019-02-22 02:30:00 | 4.5067 | 323.4833 | 5.1867 | 355.4667 | 5.7933 | 1.8133 | 5.7033 | 10.6367 | 2.7433 | 889 | 76.45 | 7.132
2019-02-22 02:45:00 | 4.6867 | 306.1667 | 5.3933 | 336.4333 | 5.95 | 5.76 | 5.77 | 9.9233 | 2.64 | 889 | 76.806 | 6.7653
2019-02-22 03:00:00 | 4.8133 | 94.7067 | 5.54 | 104.0667 | 6.1567 | 4.62 | 6.0033 | 233.5033 | 2.5667 | 889 | 77.2367 | 7.802
2019-02-22 03:15:00 | 4.7067 | 12.3667 | 5.4233 | 13.5833 | 6.02 | 4.58 | 5.8867 | 11.32 | 2.5467 | 889 | 77.506 | 8.398
2019-02-22 03:30:00 | 4.6133 | 219.7467 | 5.3033 | 241.4767 | 6.16 | 18.1867 | 6.0867 | 7.5867 | 2.4733 | 889 | 77.98 | 7.3993
2019-02-22 03:45:00 | 4.56 | 192.3867 | 5.2433 | 211.4033 | 5.8833 | 121.0133 | 5.93 | 128.2867 | 2.41 | 888.4667 | 78.47 | 9.016
2019-02-22 04:00:00 | 4.3467 | 221.2067 | 4.9967 | 243.07 | 6.2633 | 118.6933 | 5.9567 | 120.5867 | 2.3967 | 888 | 78.61 | 8.53
2019-02-22 04:15:00 | 4.39 | 223.68 | 5.05 | 245.8 | 6.1967 | 246.2333 | 6.1 | 14.58 | 2.4133 | 888 | 78.69 | 7.4627
2019-02-22 04:30:00 | 4.1567 | 239.82 | 4.79 | 263.5333 | 6.0433 | 19.9467 | 5.8333 | 8.1267 | 2.4667 | 888 | 78.804 | 4.4247
2019-02-22 04:45:00 | 4.5267 | 5.99 | 5.2133 | 6.5767 | 5.77 | 120.2667 | 5.5733 | 5.9933 | 2.4767 | 888 | 78.65 | 4.3213
2019-02-22 05:00:00 | 4.8533 | 214.83 | 5.58 | 236.0633 | 6.0633 | 119.0667 | 5.74 | 39.92 | 2.4167 | 888 | 79.1167 | 5.624
2019-02-22 05:15:00 | 4.8267 | 3.1267 | 5.56 | 3.4333 | 6.1667 | 239.09 | 5.862 | 22.98 | 2.31 | 888 | 79.8733 | 4.9
2019-02-22 05:30:00 | 4.58 | 6.42 | 5.2733 | 7.0467 | 5.6933 | 3.81 | 5.78 | 29.66 | 2.3167 | 888 | 79.982 | 6.7707
2019-02-22 05:45:00 | 4.5533 | 217.33 | 5.2367 | 238.8133 | 5.65 | 7.1467 | 5.9 | 9.6067 | 2.2833 | 888 | 80.2 | 6.8713
2019-02-22 06:00:00 | 4.7733 | 9.1633 | 5.4967 | 10.0667 | 5.95 | 8.6067 | 5.96 | 14.2133 | 2.23 | 888 | 80.5333 | 6.558
2019-02-22 06:15:00 | 4.62 | 209.6533 | 5.31 | 230.3833 | 5.6 | 113.08 | 5.78 | 15.2333 | 2.22 | 888 | 80.8 | 8.02
2019-02-22 06:30:00 | 4.7133 | 4.6333 | 5.4167 | 5.09 | 5.7067 | 124.7733 | 5.84 | 15.64 | 2.2333 | 888 | 80.9067 | 8.0333
2019-02-22 06:45:00 | 4.4867 | 125.4067 | 5.1633 | 137.8067 | 5.9667 | 120.6067 | 5.79 | 9.2867 | 2.21 | 888 | 81.4333 | 8.1773
2019-02-22 07:00:00 | 4.84 | 278.9133 | 5.57 | 306.5 | 6.1133 | 340.9667 | 5.8567 | 9.06 | 2.1767 | 888 | 81.8333 | 8.4627
2019-02-22 07:15:00 | 4.7867 | 9.01 | 5.5133 | 9.89 | 5.8133 | 119.2867 | 5.76 | 15.8733 | 2.1433 | 888 | 82.2 | 9.1273
2019-02-22 07:30:00 | 5.0333 | 21.11 | 5.7933 | 23.19 | 6.3867 | 130.2 | 6.1113 | 3.7267 | 2.1433 | 888 | 82.42 | 12.0993
2019-02-22 07:45:00 | 5.0267 | 108.7533 | 5.78 | 119.5067 | 6.41 | 238.1933 | 6.0933 | 14.4967 | 2.1467 | 888 | 82.6533 | 12.4853
2019-02-22 08:00:00 | 4.8467 | 7.8533 | 5.5733 | 8.6267 | 6.65 | 3.4067 | 6.4667 | 10.6567 | 2.14 | 888 | 83.0333 | 13.868
2019-02-22 08:15:00 | 4.7513 | 180.1087 | 5.474 | 197.922 | 7.254 | 2.3413 | 7.0307 | 99.6253 | 2.162 | 888 | 83.1 | 13.2393
2019-02-22 08:30:00 | 4.8567 | 1.5333 | 5.5933 | 1.6767 | 7.012 | 8.9767 | 6.7667 | 96.3 | 2.1767 | 888 | 83.0133 | 13.0893
2019-02-22 08:45:00 | 4.6527 | 38.642 | 5.3633 | 42.4547 | 6.766 | 13.492 | 6.458 | 7.9487 | 2.3367 | 888 | 82.5933 | 13.006
2019-02-22 09:00:00 | 4.82 | 203.1167 | 5.5467 | 223.2 | 6.8067 | 11.7667 | 6.3 | 21.2467 | 2.4967 | 888 | 82.1 | 12.516
2019-02-22 09:15:00 | 4.68 | 38.3633 | 5.3867 | 42.15 | 6.75 | 1.4067 | 6.6167 | 15.99 | 2.6967 | 888 | 81.6 | 13.2467
2019-02-22 09:30:00 | 5.0533 | 18.4233 | 5.8133 | 20.2367 | 6.9567 | 8.78 | 6.5167 | 17.4633 | 2.77 | 888.2 | 81.4867 | 13.2747
2019-02-22 09:45:00 | 4.9933 | 20.3833 | 5.7433 | 22.39 | 7.1133 | 14.1033 | 6.6333 | 13.95 | 2.9167 | 889 | 81.4 | 13.0433
2019-02-22 10:00:00 | 4.8933 | 52.6433 | 5.63 | 57.85 | 6.8667 | 19.99 | 6.5733 | 16.25 | 2.9967 | 889 | 81.2867 | 11.89
2019-02-22 10:15:00 | 4.69 | 219.2467 | 5.4 | 240.93 | 7.2133 | 18.6267 | 6.92 | 16.9333 | 3.27 | 889 | 80.3167 | 15.4493
2019-02-22 10:30:00 | 4.888 | 213.7267 | 5.62 | 234.8633 | 7.5333 | 14.9 | 7.06 | 13.8333 | 3.4633 | 889 | 79.5367 | 18.65
2019-02-22 10:45:00 | 4.5967 | 104.6633 | 5.2867 | 115.0067 | 7.33 | 21.63 | 7.0733 | 8.8367 | 3.6467 | 889.5333 | 79.0393 | 17.0673
2019-02-22 11:00:00 | 4.89 | 299.0967 | 5.62 | 328.6667 | 7.23 | 6.6167 | 6.84 | 17.33 | 4.1733 | 890 | 77.1933 | 15.554
2019-02-22 11:15:00 | 4.58 | 17.1267 | 5.27 | 18.82 | 6.8033 | 10.81 | 6.33 | 18.7567 | 4.7767 | 890 | 74.8667 | 14.3393
2019-02-22 11:30:00 | 4.74 | 8.2333 | 5.4633 | 9.0467 | 7.05 | 16.5967 | 6.4967 | 23.8767 | 4.93 | 890 | 74.054 | 12.7547
2019-02-22 11:45:00 | 4.36 | 176.52 | 5.02 | 193.98 | 6.9233 | 11.7433 | 6.77 | 21.3167 | 5.2533 | 890 | 73.0833 | 10.2887
2019-02-22 12:00:00 | 4.1867 | 6.2867 | 4.8133 | 6.9 | 6.2367 | 21.67 | 5.8433 | 27.0767 | 5.3 | 889.8 | 72.8033 | 8.8507
2019-02-22 12:15:00 | 3.8333 | 304.07 | 4.41 | 334.1333 | 5.34 | 17.67 | 4.8067 | 241.7967 | 5.2367 | 889 | 73.3767 | 10.3633
2019-02-22 12:30:00 | 3.96 | 112.37 | 4.55 | 123.4733 | 5.7467 | 12.4833 | 5.0133 | 18.13 | 5.8367 | 889 | 71.8833 | 10.5973
2019-02-22 12:45:00 | 4.2833 | 19.5633 | 4.9367 | 21.4867 | 6.2567 | 21.26 | 5.42 | 10.4567 | 6.168 | 889 | 70.4333 | 10.4413
2019-02-22 13:00:00 | 4.29 | 23.01 | 4.9367 | 25.28 | 6.0833 | 18.78 | 5.66 | 50.8967 | 6.3033 | 889 | 69.5867 | 11.2807
2019-02-22 13:15:00 | 4.35 | 300.082 | 5.0113 | 329.7607 | 6.36 | 19.3153 | 6.032 | 9.48 | 6.3627 | 889 | 69.5173 | 10.82
2019-02-22 13:30:00 | 4.72 | 108.35 | 5.4267 | 119.06 | 7.13 | 16.1033 | 6.7 | 8.5067 | 7.2167 | 889 | 66.8367 | 10.6453
2019-02-22 13:45:00 | 4.9 | 106.04 | 5.64 | 116.52 | 6.942 | 9.9167 | 6.6333 | 7.3533 | 7.53 | 888.4667 | 65.85 | 9.6073
2019-02-22 14:00:00 | 4.58 | 103.4 | 5.2733 | 113.62 | 6.4133 | 8.43 | 6.06 | 18.58 | 7.9167 | 888 | 64.814 | 6.2973
2019-02-22 14:15:00 | 4.0467 | 9.87 | 4.65 | 10.8333 | 6.1333 | 18.9867 | 5.6267 | 27.47 | 8.4067 | 888 | 63.15 | 5.94
2019-02-22 14:30:00 | 4.3133 | 11.97 | 4.97 | 13.1533 | 6.5733 | 16.4267 | 6.0667 | 23.69 | 8.54 | 888 | 62.9033 | 7.748
2019-02-22 14:45:00 | 4.62 | 305.3733 | 5.3133 | 335.5667 | 7.1867 | 18.6333 | 6.8167 | 24.1367 | 8.6267 | 888 | 62.7473 | 10.2967
2019-02-22 15:00:00 | 4.74 | 98.0867 | 5.46 | 107.78 | 7.5467 | 11.6467 | 7.15 | 25.5167 | 9.3133 | 888 | 60.4967 | 11.648
2019-02-22 15:15:00 | 4.99 | 113.2667 | 5.7467 | 124.46 | 8.3833 | 19.1967 | 7.9633 | 25.09 | 10.3467 | 888 | 56.9633 | 14.9187
2019-02-22 15:30:00 | 5.4833 | 318.0467 | 6.3067 | 349.5 | 8.81 | 20.1233 | 8.53 | 24.2433 | 10.3867 | 888.2 | 56.3167 | 20.1367
2019-02-22 15:45:00 | 5.1667 | 137.59 | 5.9567 | 151.1867 | 8.6433 | 22.9067 | 8.25 | 20.5133 | 9.9267 | 889 | 56.9653 | 22.366
2019-02-22 16:00:00 | 4.44 | 318.8967 | 5.11 | 350.4333 | 8.1167 | 13.1733 | 7.8567 | 26.5067 | 8.6267 | 889 | 60.9933 | 24.148
2019-02-22 16:15:00 | 4.3833 | 117.61 | 5.05 | 129.2333 | 8.1233 | 45.91 | 7.82 | 22.9167 | 7.8633 | 888.4667 | 63.84 | 25.7707
2019-02-22 16:30:00 | 4.5233 | 103.2967 | 5.21 | 113.5133 | 8.2967 | 18.19 | 8.0533 | 19.27 | 7.3367 | 888 | 65.5733 | 23.2727
2019-02-22 16:45:00 | 4.14 | 77.22 | 4.7633 | 84.8533 | 7.7267 | 8.44 | 7.5133 | 20.4833 | 6.94 | 888 | 67.01 | 22.33
2019-02-22 17:00:00 | 3.82 | 86.2467 | 4.4033 | 94.7667 | 7.2 | 16.3533 | 7.1467 | 17.0367 | 6.78 | 887.8 | 67.63 | 26.136
2019-02-22 17:15:00 | 4.2867 | 258.1733 | 4.9367 | 283.7 | 7.84 | 16.2933 | 7.6167 | 13.58 | 6.68 | 887 | 68.04 | 32.448
2019-02-22 17:30:00 | 4.8867 | 162.3733 | 5.6233 | 178.4333 | 8.8133 | 19.3067 | 9.0167 | 27.78 | 6.6 | 887 | 68.3067 | 35.264
2019-02-22 17:45:00 | 5.16 | 184.5267 | 5.94 | 202.7767 | 9.24 | 251.7533 | 9.02 | 32.5333 | 6.4467 | 887 | 68.6433 | 40.0753
2019-02-22 18:00:00 | 5.68 | 218.1333 | 6.5467 | 239.71 | 9.76 | 247.9533 | 9.58 | 23.0333 | 6.3333 | 887 | 68.928 | 42.7507
2019-02-22 18:15:00 | 6.0733 | 115.0733 | 6.9867 | 126.4467 | 10.38 | 12.9367 | 10.12 | 17.04 | 6.2833 | 887 | 68.8933 | 43.564
2019-02-22 18:30:00 | 6.0733 | 216.28 | 6.9867 | 237.6667 | 9.3533 | 10.7833 | 8.98 | 24.12 | 6.17 | 887.2 | 68.956 | 43.9033
2019-02-22 18:45:00 | 5.8333 | 215.13 | 6.7067 | 236.41 | 9.5367 | 12.95 | 9.4533 | 18.83 | 6.1 | 888 | 69.12 | 45.0947
2019-02-22 19:00:00 | 6.28 | 37.9633 | 7.22 | 41.7167 | 10.9633 | 20.0033 | 10.56 | 16.37 | 6.06 | 888 | 69.0913 | 46.8133
2019-02-22 19:15:00 | 6.2933 | 229.2 | 7.25 | 251.8667 | 10.93 | 15.18 | 10.79 | 17.31 | 6.0033 | 888 | 68.9307 | 48.2427
2019-02-22 19:30:00 | 6.4027 | 304.136 | 7.374 | 334.2 | 11.098 | 20.2413 | 10.61 | 16.3433 | 5.9647 | 888 | 68.772 | 48.076
2019-02-22 19:45:00 | 6.1067 | 72.7733 | 7.0233 | 79.96 | 11.0767 | 14.69 | 11.1767 | 19.41 | 5.95 | 888 | 68.6367 | 49.2473
2019-02-22 20:00:00 | 6.12 | 103.8133 | 7.0367 | 114.0733 | 11.17 | 13.1633 | 11.11 | 16.17 | 5.9167 | 888 | 68.74 | 48.934
2019-02-22 20:15:00 | 6.09 | 241.7567 | 7 | 265.6667 | 10.65 | 10.09 | 10.56 | 21.9833 | 5.95 | 888 | 68.33 | 48.686
2019-02-22 20:30:00 | 5.6167 | 253.2833 | 6.46 | 278.3333 | 10.3033 | 7.21 | 10.22 | 13.7633 | 5.89 | 888.2 | 68.8207 | 47.8233
2019-02-22 20:45:00 | 5.8167 | 108.7367 | 6.7 | 119.4833 | 10.6567 | 9.58 | 10.6133 | 26.71 | 5.8967 | 889 | 68.69 | 51.2913
2019-02-22 21:00:00 | 6.25 | 70.15 | 7.1867 | 77.0833 | 11.57 | 9.9867 | 11.58 | 20.97 | 5.9233 | 889 | 68.45 | 50.6867
2019-02-22 21:15:00 | 6.7133 | 157.0133 | 7.7233 | 172.5433 | 11.9513 | 15.3967 | 11.69 | 16.1733 | 6.0167 | 889 | 67.54 | 48.4167
2019-02-22 21:30:00 | 6.2867 | 224.3533 | 7.23 | 246.5433 | 11.3267 | 12.23 | 11.2633 | 20.06 | 6.05 | 889 | 67.218 | 46.264
2019-02-22 21:45:00 | 6.2233 | 123.5967 | 7.1567 | 135.81 | 11.154 | 18.1867 | 11.1327 | 21.01 | 6.038 | 889.5333 | 67.1833 | 47.9627
2019-02-22 22:00:00 | 6.2233 | 53.57 | 7.1567 | 58.8633 | 11.47 | 10.02 | 11.326 | 23.4633 | 5.94 | 889.1333 | 67.6327 | 50.8547
2019-02-22 22:15:00 | 6.512 | 135.6307 | 7.488 | 149.0413 | 12.0747 | 14.4053 | 12.342 | 23.5287 | 5.9693 | 889 | 67.1353 | 49.5953
2019-02-22 22:30:00 | 6.5247 | 203.1167 | 7.5067 | 223.2 | 11.81 | 21.6467 | 12.0833 | 26.25 | 6 | 889 | 67.11 | 51.5067
2019-02-22 22:45:00 | 6.02 | 86.9633 | 6.93 | 95.56 | 11.1867 | 18.1667 | 11.5667 | 25.42 | 5.8733 | 889.5333 | 67.9767 | 50.814
2019-02-22 23:00:00 | 6.1933 | 236.4767 | 7.1233 | 259.8667 | 11.6 | 12.02 | 11.8 | 22.6667 | 5.7933 | 890 | 68.116 | 52.0513
2019-02-22 23:15:00 | 6.1333 | 202.24 | 7.06 | 222.2333 | 11.3167 | 14.3033 | 11.9833 | 18.63 | 5.71 | 889.4667 | 68.6767 | 51.3527
2019-02-22 23:30:00 | 6.5467 | 223.8933 | 7.5333 | 246.0333 | 11.7833 | 9.0033 | 11.87 | 23.6367 | 5.768 | 889 | 68.45 | 50.05
2019-02-22 23:45:00 | 6.7533 | 70.7833 | 7.7767 | 77.7733 | 11.8767 | 14.6433 | 11.7467 | 23.7333 | 5.85 | 889 | 68.04 | 51.988