## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-23 00:00:00 | 7.0733 | 109.9967 | 8.1433 | 120.8667 | 12.1567 | 16.47 | 11.92 | 12.3667 | 5.8833 | 889.8667 | 67.968 | 51.8
2019-02-23 00:15:00 | 7.2467 | 241.7067 | 8.3367 | 265.6 | 12.41 | 14.97 | 12.3733 | 18.9433 | 5.9233 | 890 | 67.73 | 51.258
2019-02-23 00:30:00 | 7.4733 | 136.7467 | 8.61 | 150.2667 | 12.6233 | 14.21 | 12.2333 | 9.43 | 5.85 | 890 | 68.056 | 53.618
2019-02-23 00:45:00 | 6.91 | 301.7833 | 7.9467 | 331.6333 | 11.6167 | 14.43 | 10.8467 | 128.1267 | 5.75 | 890 | 68.7 | 50.8867
2019-02-23 01:00:00 | 6.23 | 315.4367 | 7.1667 | 346.6333 | 10.8233 | 13.4367 | 10.5 | 21.06 | 5.6947 | 890 | 69.0173 | 48.64
2019-02-23 01:15:00 | 5.7867 | 62.7133 | 6.6633 | 68.91 | 10.8113 | 13.6567 | 11.0433 | 17.37 | 5.6067 | 890 | 69.42 | 48.7807
2019-02-23 01:30:00 | 5.9933 | 129.4467 | 6.9033 | 142.25 | 10.74 | 12.25 | 11.168 | 19.45 | 5.6133 | 890 | 69.32 | 49.466
2019-02-23 01:45:00 | 6.34 | 137.47 | 7.3 | 151.0667 | 11.2767 | 12.6867 | 11.39 | 22.3167 | 5.6533 | 890 | 69.0927 | 48.698
2019-02-23 02:00:00 | 6.34 | 143.5367 | 7.3 | 157.7333 | 11.13 | 8.2933 | 11.23 | 21.1967 | 5.7 | 889.1333 | 68.836 | 49.1147
2019-02-23 02:15:00 | 6.4407 | 15.4073 | 7.4187 | 16.9253 | 11.0527 | 12.1807 | 10.948 | 22.7813 | 5.772 | 889 | 68.262 | 47.6073
2019-02-23 02:30:00 | 5.7933 | 44.3567 | 6.6667 | 48.7367 | 10.5033 | 16.5933 | 10.62 | 25.5033 | 5.79 | 889 | 68.072 | 44.91
2019-02-23 02:45:00 | 5.5533 | 162.422 | 6.3867 | 178.484 | 10.1327 | 17.434 | 10.1467 | 21.988 | 5.744 | 889 | 68.1787 | 45.5393
2019-02-23 03:00:00 | 5.34 | 193.5033 | 6.1467 | 212.6333 | 9.5567 | 19.2033 | 9.7933 | 26.4533 | 5.7267 | 889 | 68.2733 | 43.8033
2019-02-23 03:15:00 | 5.2 | 233.5733 | 5.9867 | 256.6667 | 9.4967 | 18.2167 | 9.59 | 18.8233 | 5.7447 | 889 | 68.3 | 44.618
2019-02-23 03:30:00 | 5.28 | 117.24 | 6.08 | 128.82 | 9.7033 | 18.91 | 9.7767 | 24.9967 | 5.6933 | 888.8 | 68.3467 | 48.128
2019-02-23 03:45:00 | 5.3867 | 180.1533 | 6.1967 | 197.9667 | 10.12 | 14.2767 | 10.0667 | 21.7867 | 5.62 | 888 | 68.4713 | 46.7013
2019-02-23 04:00:00 | 5.354 | 164.056 | 6.164 | 180.28 | 9.888 | 5.062 | 9.896 | 22.074 | 5.652 | 888 | 68.078 | 45.5187
2019-02-23 04:15:00 | 5.57 | 310.0333 | 6.41 | 340.7 | 10.2333 | 0.47 | 9.93 | 12.0933 | 5.6033 | 888 | 67.9333 | 45.6513
2019-02-23 04:30:00 | 5.0033 | 310.64 | 5.7633 | 341.3667 | 9.5267 | 5.2233 | 9.7367 | 25.8133 | 5.57 | 888 | 67.624 | 43.4607
2019-02-23 04:45:00 | 4.8733 | 96.7267 | 5.6033 | 106.2933 | 9.1533 | 15.1933 | 9.3467 | 19.0933 | 5.56 | 888 | 67.1267 | 42.4753
2019-02-23 05:00:00 | 4.9 | 67.3733 | 5.6433 | 74.0333 | 9.0467 | 14.9467 | 9.4533 | 28.9667 | 5.58 | 888 | 66.8467 | 39.178
2019-02-23 05:15:00 | 4.5033 | 110.3933 | 5.1833 | 121.3 | 8.4467 | 17.1367 | 8.4933 | 25.0233 | 5.5067 | 888 | 66.9173 | 33.486
2019-02-23 05:30:00 | 4.3367 | 59.88 | 4.99 | 65.7933 | 7.2667 | 22.8233 | 7.2067 | 24.83 | 5.5533 | 888 | 66.2267 | 30.2953
2019-02-23 05:45:00 | 4.2033 | 23.85 | 4.8333 | 26.2067 | 6.8933 | 10.0367 | 6.8367 | 10.37 | 5.57 | 888 | 66.1033 | 31.534
2019-02-23 06:00:00 | 4.35 | 29.4433 | 5.0133 | 32.3533 | 7.3333 | 228.2433 | 7.0967 | 241.3767 | 5.55 | 888 | 66.0033 | 31.8767
2019-02-23 06:15:00 | 4.0533 | 122.4733 | 4.6633 | 134.5867 | 7.2067 | 14.7333 | 7.3667 | 35.18 | 5.4833 | 888 | 66.0393 | 29.5967
2019-02-23 06:30:00 | 3.6 | 226.92 | 4.15 | 249.3667 | 6.7133 | 11.3067 | 7.2333 | 31.1133 | 5.4233 | 888 | 65.892 | 27.23
2019-02-23 06:45:00 | 3.5867 | 139.86 | 4.1233 | 153.69 | 6.5333 | 14.96 | 6.95 | 30.0933 | 5.4567 | 888 | 64.54 | 22.9627
2019-02-23 07:00:00 | 3.4867 | 24.22 | 4.0167 | 26.6167 | 6.0067 | 4.62 | 5.9167 | 20.6533 | 5.45 | 888 | 63.8667 | 18.784
2019-02-23 07:15:00 | 3.0867 | 80.0467 | 3.5467 | 87.9533 | 5.5233 | 44.53 | 5.36 | 9.6533 | 5.4033 | 888.5333 | 64.16 | 16.9813
2019-02-23 07:30:00 | 3.04 | 87.54 | 3.4933 | 96.1933 | 5.6833 | 8.6967 | 5.44 | 12.2333 | 5.3433 | 889 | 64.5847 | 17.546
2019-02-23 07:45:00 | 3.1167 | 9.72 | 3.5833 | 10.6833 | 5.7767 | 7.6367 | 5.82 | 12.2367 | 5.2833 | 889 | 64.7113 | 17.1927
2019-02-23 08:00:00 | 3.2633 | 167.24 | 3.7633 | 183.7833 | 5.85 | 15.2433 | 5.9267 | 239.27 | 5.2767 | 889 | 64.548 | 14.6913
2019-02-23 08:15:00 | 3.3667 | 159.2867 | 3.8733 | 175.0333 | 5.77 | 12.34 | 5.7233 | 9.1867 | 5.23 | 889 | 64.7233 | 14.1067
2019-02-23 08:30:00 | 3.64 | 319.5 | 4.1867 | 351.1 | 5.97 | 24.0933 | 5.6767 | 59.1533 | 5.2387 | 889 | 64.588 | 12.2627
2019-02-23 08:45:00 | 3.4533 | 6.4933 | 3.97 | 7.1367 | 5.2067 | 10.9133 | 5.2367 | 37.17 | 5.2133 | 889.5333 | 65.7267 | 10.3947
2019-02-23 09:00:00 | 3.24 | 194.72 | 3.7233 | 213.9767 | 5.3067 | 16.2267 | 5.39 | 22.9033 | 5.1133 | 890 | 67.4867 | 9.3687
2019-02-23 09:15:00 | 3.3133 | 13.5333 | 3.8133 | 14.87 | 5.6267 | 135.1267 | 5.42 | 241.31 | 4.95 | 890 | 69.84 | 10.8707
2019-02-23 09:30:00 | 3.38 | 11.78 | 3.8933 | 12.9367 | 5.5067 | 352.6667 | 5.1667 | 14.8033 | 4.8967 | 890 | 70.06 | 12.056
2019-02-23 09:45:00 | 3.5333 | 19.5733 | 4.07 | 21.51 | 5.5333 | 7.4433 | 5.5167 | 31.99 | 5.12 | 890 | 67.1933 | 11.532
2019-02-23 10:00:00 | 3.3333 | 186.4467 | 3.8433 | 204.89 | 5.7333 | 241.87 | 5.4633 | 26.7167 | 5.1333 | 890 | 67.38 | 11.5527
2019-02-23 10:15:00 | 3.1467 | 20.1567 | 3.6167 | 22.14 | 5.1433 | 234.5367 | 4.84 | 15.3933 | 5.15 | 890.5333 | 67.7233 | 11.094
2019-02-23 10:30:00 | 3.5067 | 7.5967 | 4.0367 | 8.34 | 5.97 | 3.7633 | 5.7 | 16.74 | 5.1547 | 891 | 67.6233 | 11.164
2019-02-23 10:45:00 | 3.3667 | 116.7733 | 3.8833 | 128.3133 | 5.4533 | 8.1033 | 5.4067 | 28.4367 | 5.2467 | 891 | 66.99 | 11.366
2019-02-23 11:00:00 | 3.2733 | 110.3467 | 3.77 | 121.26 | 5.5 | 10.99 | 5.56 | 15.45 | 5.28 | 891 | 67.6967 | 10.888
2019-02-23 11:15:00 | 3.42 | 133.6033 | 3.9367 | 146.8067 | 5.8367 | 16.9633 | 5.7 | 25.9033 | 5.3047 | 891 | 67.7967 | 10.702
2019-02-23 11:30:00 | 3.3 | 321.6567 | 3.7967 | 353.4667 | 5.53 | 19.1367 | 5.4533 | 18.35 | 5.3533 | 891 | 67.952 | 11.2473
2019-02-23 11:45:00 | 3.52 | 5.6167 | 4.05 | 6.17 | 6 | 8.64 | 5.86 | 16.2367 | 5.4167 | 891 | 67.2567 | 8.5327
2019-02-23 12:00:00 | 3.3667 | 17.0033 | 3.87 | 18.6833 | 5.9933 | 21.06 | 5.7 | 27.39 | 5.3767 | 891 | 67.456 | 8.41
2019-02-23 12:15:00 | 3.0133 | 308.5567 | 3.4633 | 339.0667 | 5.6333 | 19.2467 | 5.52 | 26.17 | 5.14 | 891 | 70.9967 | 5.55
2019-02-23 12:30:00 | 2.9867 | 203.8367 | 3.4433 | 224 | 5.62 | 15.5133 | 5.44 | 14.8167 | 4.9333 | 890.1333 | 75.5233 | 5.404
2019-02-23 12:45:00 | 2.9133 | 129.22 | 3.35 | 142 | 5.4333 | 23.52 | 5.22 | 12.8967 | 4.6967 | 890 | 77.1367 | 4.7733
2019-02-23 13:00:00 | 2.5333 | 305.4333 | 2.9167 | 335.6333 | 4.8333 | 13.2933 | 4.82 | 17.5967 | 4.5233 | 890 | 78.93 | 4.266
2019-02-23 13:15:00 | 2.4133 | 217.1133 | 2.7833 | 238.5833 | 4.4133 | 23.4133 | 4.2433 | 23.5867 | 4.39 | 890 | 82.0333 | 3.8167
2019-02-23 13:30:00 | 2.5733 | 22.58 | 2.97 | 24.8033 | 4.44 | 12.6933 | 4.21 | 21.76 | 4.428 | 890 | 82.3667 | 5.284
2019-02-23 13:45:00 | 2.9733 | 22.1733 | 3.4233 | 24.36 | 5.0633 | 20.9467 | 4.66 | 22.3367 | 4.36 | 890 | 84.3 | 8.248
2019-02-23 14:00:00 | 3.1467 | 32.5667 | 3.6167 | 35.7867 | 5.2433 | 20.2333 | 4.7867 | 17.55 | 4.3 | 889.8 | 85.28 | 7.8553
2019-02-23 14:15:00 | 3.1733 | 37.6233 | 3.6467 | 41.3467 | 4.84 | 6.81 | 4.6833 | 10.1067 | 4.1433 | 889 | 85.8667 | 6.4993
2019-02-23 14:30:00 | 3.0267 | 212.6767 | 3.48 | 233.7133 | 4.4267 | 228.2967 | 4.31 | 8.8733 | 4.0633 | 889 | 87.2667 | 4.902
2019-02-23 14:45:00 | 2.7433 | 120.57 | 3.16 | 132.4867 | 4.16 | 4.5733 | 4.1133 | 14.6267 | 4.09 | 889 | 87 | 2.866
2019-02-23 15:00:00 | 3.1767 | 106.7433 | 3.6533 | 117.2933 | 4.0533 | 231.0533 | 4.06 | 4.28 | 4.2833 | 888.8 | 84.8 | 2.9853
2019-02-23 15:15:00 | 2.88 | 5.2433 | 3.3167 | 5.7567 | 3.5967 | 238.4567 | 3.6767 | 10.36 | 4.6233 | 888 | 82.8333 | 3.744
2019-02-23 15:30:00 | 2.9467 | 215.6233 | 3.39 | 236.95 | 3.8833 | 16.5233 | 3.95 | 17.1867 | 4.6967 | 888 | 81.9 | 3.9453
2019-02-23 15:45:00 | 3 | 68.1033 | 3.45 | 74.83 | 4.75 | 5.58 | 4.6067 | 19.8267 | 4.7967 | 888 | 81.0333 | 2.558
2019-02-23 16:00:00 | 3.0867 | 51.3967 | 3.5567 | 56.4767 | 4.6167 | 2.3867 | 4.4 | 14.3133 | 4.8233 | 888 | 80.5667 | 4.3667
2019-02-23 16:15:00 | 2.9133 | 35.7813 | 3.348 | 39.316 | 4.6193 | 214.2 | 4.3913 | 216.29 | 4.9527 | 888 | 80.3133 | 2.2153
2019-02-23 16:30:00 | 2.7833 | 24.1667 | 3.21 | 26.5533 | 4.28 | 1.15 | 3.98 | 6.84 | 5.3133 | 888 | 79.04 | 1.55
2019-02-23 16:45:00 | 2.71 | 0.45 | 3.1167 | 0.48667 | 4.1833 | 29.0667 | 3.7733 | 28.4467 | 5.6233 | 888 | 77.36 | 2.6753
2019-02-23 17:00:00 | 2.99 | 32.5833 | 3.4367 | 35.8 | 4.95 | 25.5 | 4.32 | 17.68 | 5.7567 | 888 | 76.7333 | 3.7427
2019-02-23 17:15:00 | 3.0233 | 212.53 | 3.4733 | 233.55 | 4.4533 | 18.8667 | 4.1133 | 17.7267 | 5.56 | 888 | 76.88 | 3.358
2019-02-23 17:30:00 | 2.6367 | 195.97 | 3.0333 | 215.35 | 4.44 | 15.5 | 4.3067 | 28.5867 | 5.7867 | 888 | 76.1833 | 3
2019-02-23 17:45:00 | 2.7167 | 208.5567 | 3.1267 | 229.1867 | 4.24 | 240.7133 | 4.1 | 3.08 | 5.7 | 888 | 75.858 | 2.2127
2019-02-23 18:00:00 | 2.4033 | 222.3967 | 2.7667 | 244.3867 | 3.2133 | 6.9933 | 3.34 | 6.7267 | 5.38 | 888 | 76.58 | 0
2019-02-23 18:15:00 | 1.5233 | 8.4133 | 1.7533 | 9.24 | 2.4933 | 123.4067 | 2.7267 | 5.0267 | 5.2933 | 888 | 76.9733 | 0
2019-02-23 18:30:00 | 1.1433 | 214.1 | 1.32 | 235.2667 | 1.9467 | 354.3667 | 2.18 | 7.1333 | 5.3 | 888 | 76.872 | 0
2019-02-23 18:45:00 | 1.59 | 318.6467 | 1.8333 | 350.1667 | 2.3233 | 344.7 | 2.4733 | 0.24 | 5.1667 | 888 | 77.9133 | 0
2019-02-23 19:00:00 | 1.8567 | 321.62 | 2.1333 | 353.4333 | 2.4967 | 344.2333 | 2.6733 | 0.27333 | 5.04 | 888 | 78.6667 | 0
2019-02-23 19:15:00 | 1.53 | 319.32 | 1.76 | 350.9 | 2.6967 | 343.1 | 2.49 | 3.1767 | 4.9767 | 888 | 79.13 | 0
2019-02-23 19:30:00 | 1.348 | 317.6127 | 1.564 | 349.02 | 2.192 | 353.84 | 2.368 | 3.764 | 5.008 | 888 | 78.756 | 0
2019-02-23 19:45:00 | 1.5967 | 302.8233 | 1.8467 | 332.7667 | 2.54 | 336.6 | 2.4867 | 351.0333 | 5.1167 | 888 | 77.47 | 0
2019-02-23 20:00:00 | 1.49 | 307.9833 | 1.72 | 338.4333 | 2.1467 | 336.6667 | 2.4667 | 347.6333 | 5.11 | 888 | 77.6887 | 0
2019-02-23 20:15:00 | 1.64 | 308.0667 | 1.89 | 338.5333 | 2.4067 | 345.4333 | 2.7033 | 348.2 | 5.0033 | 888 | 79.1667 | 0
2019-02-23 20:30:00 | 1.0867 | 105.2133 | 1.2567 | 115.62 | 1.7933 | 118.1333 | 2.3767 | 346.2667 | 4.8233 | 888.8667 | 81.5333 | 0
2019-02-23 20:45:00 | 1.76 | 207.3733 | 2.0367 | 227.88 | 2.1933 | 326.9667 | 2.23 | 328.3 | 4.9567 | 889 | 79.73 | 0
2019-02-23 21:00:00 | 1 | 214.2333 | 1.15 | 235.4133 | 1.6133 | 333.3667 | 1.9567 | 303.7133 | 5.01 | 889 | 79.7967 | 0
2019-02-23 21:15:00 | 0.182 | 230.7407 | 0.214 | 253.56 | 0.34733 | 253.1667 | 0.93733 | 252.42 | 4.9147 | 889 | 80.4867 | 0
2019-02-23 21:30:00 | 0.06 | 286.1633 | 0.066667 | 314.4667 | 0.08 | 264.9333 | 0.12667 | 309.6 | 4.73 | 889 | 83.6667 | 0
2019-02-23 21:45:00 | 0.77867 | 310.3633 | 0.906 | 341.0533 | 1.2593 | 232.6133 | 1.254 | 344.5 | 4.304 | 889 | 88.12 | 0
2019-02-23 22:00:00 | 2.1267 | 103.5733 | 2.4533 | 113.8133 | 3.11 | 226.5133 | 3.54 | 341.0333 | 4.0233 | 889 | 91.0333 | 1.296
2019-02-23 22:15:00 | 2.2433 | 313.0067 | 2.58 | 343.9667 | 4.0267 | 227.3167 | 4.0167 | 242.4033 | 3.73 | 889 | 94.2333 | 0.80267
2019-02-23 22:30:00 | 2.8167 | 313.1933 | 3.2467 | 344.1667 | 3.9333 | 2.61 | 3.7367 | 15.3433 | 3.71 | 889 | 94.8333 | 1.002
2019-02-23 22:45:00 | 2.6767 | 316.8033 | 3.0767 | 348.1333 | 3.68 | 5.94 | 3.74 | 13.47 | 3.8767 | 889 | 93.4667 | 1.5493
2019-02-23 23:00:00 | 2.3833 | 321.7767 | 2.7367 | 353.6 | 3.7267 | 5.9733 | 4.04 | 19.91 | 3.97 | 889 | 92.5333 | 2.6
2019-02-23 23:15:00 | 2.3133 | 104.0267 | 2.66 | 114.3133 | 4.14 | 8.6233 | 4.36 | 22.4533 | 3.8233 | 889 | 93.8 | 1.9493
2019-02-23 23:30:00 | 2.16 | 95.8733 | 2.4867 | 105.3467 | 3.5067 | 21.2033 | 3.7 | 38.2267 | 3.87 | 889 | 92.8467 | 2.252
2019-02-23 23:45:00 | 2.3333 | 305.4267 | 2.6833 | 335.6333 | 3.8633 | 25.4133 | 4.0833 | 25.55 | 3.93 | 889 | 91.8 | 1.848