## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-24 00:00:00 | 2.13 | 295.93 | 2.45 | 325.2 | 3.475 | 12.84 | 3.78 | 26.56 | 3.917 | 889 | 91.7 | 0.7
2019-02-24 00:15:00 | 1.8667 | 302.8433 | 2.1467 | 332.8 | 3.2133 | 14.5167 | 3.5467 | 30.25 | 3.8267 | 889 | 92.1333 | 0.86267
2019-02-24 00:30:00 | 2.02 | 302.7233 | 2.32 | 332.6667 | 3.6667 | 14.55 | 3.62 | 18.4833 | 3.74 | 889 | 92.42 | 1.0173
2019-02-24 00:45:00 | 2.3233 | 117.6067 | 2.6767 | 129.2333 | 3.5267 | 12.9733 | 3.31 | 11.15 | 3.8767 | 889 | 91.3667 | 0.332
2019-02-24 01:00:00 | 1.9967 | 301.98 | 2.2967 | 331.8333 | 3.5067 | 14.0267 | 3.2033 | 13.7967 | 3.7433 | 889 | 91.9667 | 1.4307
2019-02-24 01:15:00 | 1.908 | 315.5033 | 2.1967 | 346.7 | 3.21 | 5.1027 | 3.1933 | 11.344 | 3.67 | 889 | 92.28 | 0.52533
2019-02-24 01:30:00 | 1.74 | 106.7767 | 2.01 | 117.3333 | 3.0167 | 14.0733 | 2.8467 | 12.7933 | 3.5967 | 889 | 92.4333 | 0.29333
2019-02-24 01:45:00 | 2.14 | 106.32 | 2.4633 | 116.8333 | 2.8233 | 26.2333 | 2.6933 | 12.0267 | 3.6233 | 889 | 92.1333 | 0
2019-02-24 02:00:00 | 2.0933 | 312.7333 | 2.4167 | 343.6667 | 2.77 | 5.8067 | 2.64 | 20.3 | 3.55 | 889 | 92.2667 | 0
2019-02-24 02:15:00 | 2.24 | 111.7 | 2.5767 | 122.74 | 3.0067 | 238.4833 | 2.74 | 4.1633 | 3.5733 | 889 | 92.0667 | 0
2019-02-24 02:30:00 | 2.26 | 319.0467 | 2.5967 | 350.6 | 2.8467 | 4.0567 | 2.5467 | 14.8033 | 3.5067 | 888.1333 | 92.3333 | 0.15143
2019-02-24 02:45:00 | 2.6467 | 108.3967 | 3.0467 | 119.1133 | 3.9033 | 238.5333 | 3.9633 | 4.6733 | 3.1533 | 888 | 93.5667 | 2.4253
2019-02-24 03:00:00 | 3.1267 | 312.4367 | 3.6067 | 343.3333 | 4.4167 | 1.7 | 4.49 | 4.64 | 2.9333 | 888 | 95.1 | 2.608
2019-02-24 03:15:00 | 3.26 | 317.24 | 3.75 | 348.6 | 4.56 | 3.96 | 4.32 | 0.49 | 3 | 888 | 95.43 | 3.603
2019-02-24 03:30:00 | 3.2033 | 324.726 | 3.6933 | 356.84 | 5.0133 | 10.1867 | 4.5667 | 8.4567 | 2.99 | 888 | 96.1867 | 5.9113
2019-02-24 03:45:00 | 2.74 | 108.1367 | 3.1567 | 118.8267 | 4.8033 | 7.0067 | 4.9467 | 11.3867 | 2.9667 | 888 | 97.2667 | 5.4127
2019-02-24 04:00:00 | 2.9867 | 320.39 | 3.4367 | 352.0667 | 5.41 | 7.88 | 5.1133 | 7.7 | 3.0133 | 888 | 97.6 | 5.0133
2019-02-24 04:15:00 | 3.0933 | 323.4433 | 3.5567 | 355.4333 | 5.2533 | 16.9933 | 5.0267 | 9.5533 | 3.08 | 888 | 97.4 | 4.934
2019-02-24 04:30:00 | 3.08 | 322.41 | 3.5433 | 354.3 | 5.0467 | 8.8867 | 4.7733 | 9.84 | 3.16 | 888 | 97.18 | 4.228
2019-02-24 04:45:00 | 3.144 | 222.0133 | 3.6213 | 243.9667 | 4.2753 | 123.0893 | 4.3633 | 16.306 | 3.2567 | 888 | 96.1467 | 5.598
2019-02-24 05:00:00 | 3.1467 | 7.7833 | 3.62 | 8.5467 | 4.45 | 125.88 | 4.59 | 19.4633 | 3.31 | 888 | 95.2 | 6.5347
2019-02-24 05:15:00 | 3.4233 | 120.2433 | 3.94 | 132.1267 | 4.4467 | 10.83 | 4.69 | 23.4867 | 3.3767 | 888 | 94.4333 | 6.66
2019-02-24 05:30:00 | 3.77 | 128.0833 | 4.3333 | 140.7533 | 4.6667 | 6.8433 | 4.6967 | 12.1533 | 3.49 | 888 | 93.1 | 7.1053
2019-02-24 05:45:00 | 3.33 | 311.74 | 3.8267 | 342.5667 | 4.0133 | 239.0033 | 4.1267 | 16.1567 | 3.4647 | 888 | 92.6667 | 5.146
2019-02-24 06:00:00 | 3.37 | 315.08 | 3.88 | 346.2333 | 4.0133 | 10.7033 | 4.0267 | 12.9967 | 3.3333 | 887.1333 | 93.8 | 4.7093
2019-02-24 06:15:00 | 3.6333 | 282.2533 | 4.1867 | 310.1667 | 4.4467 | 12.73 | 4.23 | 8.92 | 3.33 | 887 | 93.8333 | 4.4573
2019-02-24 06:30:00 | 3.4 | 103.9267 | 3.9067 | 114.2 | 4.46 | 15.5167 | 4.49 | 7.2 | 3.3167 | 887.8667 | 94.1 | 3.9967
2019-02-24 06:45:00 | 3.2333 | 206.5167 | 3.7233 | 226.94 | 4.49 | 4.72 | 4.53 | 14.5133 | 3.3933 | 888 | 93.1 | 4.3173
2019-02-24 07:00:00 | 3.1067 | 21.67 | 3.57 | 23.8 | 4.7633 | 3.0467 | 4.75 | 15.6467 | 3.42 | 887.8 | 92.6333 | 3.3127
2019-02-24 07:15:00 | 3.1267 | 215.2367 | 3.6 | 236.52 | 4.1733 | 11.9967 | 4.08 | 236.1567 | 3.4567 | 887.5333 | 92 | 3.822
2019-02-24 07:30:00 | 3.06 | 212.2033 | 3.52 | 233.1867 | 4.14 | 7.33 | 4.1333 | 4.8433 | 3.4233 | 887.8 | 92.3133 | 4.2233
2019-02-24 07:45:00 | 3.2267 | 213.7333 | 3.71 | 234.8667 | 4.49 | 7.1533 | 4.54 | 126.6733 | 3.3267 | 887.5333 | 92.9667 | 2.754
2019-02-24 08:00:00 | 3.6 | 105.6467 | 4.1367 | 116.0933 | 4.41 | 5.64 | 4.4267 | 124.0467 | 3.4333 | 888 | 91.9667 | 1.9487
2019-02-24 08:15:00 | 3.74 | 315.6867 | 4.31 | 346.9 | 4.2967 | 1.7933 | 4.2233 | 3.8233 | 3.51 | 888 | 91.1667 | 1.6813
2019-02-24 08:30:00 | 3.74 | 321.6267 | 4.3033 | 353.4333 | 4.312 | 1.7933 | 4.39 | 13.75 | 3.6033 | 888 | 89.9667 | 1.4567
2019-02-24 08:45:00 | 3.6967 | 106.4733 | 4.25 | 117 | 4.13 | 13.3667 | 4.31 | 15.9533 | 3.7167 | 888 | 88.6 | 1.5247
2019-02-24 09:00:00 | 4.03 | 306.2733 | 4.6433 | 336.5667 | 4.4433 | 2.7467 | 4.47 | 239.9467 | 3.6967 | 888 | 88.8667 | 1.9387
2019-02-24 09:15:00 | 3.8733 | 319.9867 | 4.4633 | 351.6333 | 4.38 | 5.79 | 4.8667 | 8.3567 | 3.67 | 888.5333 | 89.7 | 1.796
2019-02-24 09:30:00 | 3.46 | 317.08 | 3.9833 | 348.4333 | 4.0133 | 4.85 | 4.3933 | 13.9033 | 3.7033 | 889 | 89.7667 | 0.21133
2019-02-24 09:45:00 | 3.4867 | 324.69 | 4.01 | 356.8 | 3.8633 | 234.4867 | 3.82 | 17.2133 | 3.7533 | 889 | 89.5333 | 0
2019-02-24 10:00:00 | 2.9333 | 321.4773 | 3.3767 | 353.26 | 3.6767 | 4.7333 | 3.4733 | 13.36 | 3.78 | 889 | 89.9333 | 0
2019-02-24 10:15:00 | 2.34 | 5.2833 | 2.7 | 5.8067 | 3.29 | 13.4867 | 3.07 | 4.88 | 3.88 | 889 | 89.9467 | 0
2019-02-24 10:30:00 | 2.16 | 12.5033 | 2.4867 | 13.7333 | 2.9167 | 2.76 | 2.9167 | 9.8533 | 3.9867 | 889 | 89.6133 | 0
2019-02-24 10:45:00 | 2.17 | 0.11 | 2.4967 | 0.11667 | 2.5967 | 4.1 | 2.69 | 8.7833 | 4.04 | 889 | 88.6667 | 0
2019-02-24 11:00:00 | 2.35 | 0.05 | 2.7033 | 0.05 | 2.67 | 1.4733 | 2.7767 | 14.67 | 4.18 | 889 | 87.6 | 0
2019-02-24 11:15:00 | 2.38 | 4.3133 | 2.7367 | 4.73 | 2.87 | 8.8467 | 3.17 | 13.4533 | 4.2333 | 889 | 87.7 | 0
2019-02-24 11:30:00 | 2.4333 | 218.44 | 2.7967 | 240.03 | 2.9767 | 12.8667 | 3.37 | 10.4067 | 4.16 | 889 | 88.7667 | 0
2019-02-24 11:45:00 | 2.7 | 105.5633 | 3.11 | 116 | 3.2067 | 7.8567 | 3.5767 | 8.1733 | 4.3567 | 889 | 88.1333 | 0
2019-02-24 12:00:00 | 2.5 | 123.3567 | 2.8833 | 135.5533 | 3.0667 | 7.7567 | 3.35 | 17.96 | 4.63 | 889 | 86.6667 | 0
2019-02-24 12:15:00 | 2.3667 | 112.51 | 2.7333 | 123.64 | 3.2267 | 15.5633 | 3.5367 | 12.4767 | 4.9867 | 889 | 85 | 0
2019-02-24 12:30:00 | 2.0933 | 118.2967 | 2.4067 | 129.9933 | 2.8867 | 18.1233 | 3.13 | 9.2967 | 5.3 | 888.8 | 84.4 | 0
2019-02-24 12:45:00 | 2.5033 | 17.2467 | 2.8833 | 18.95 | 3.11 | 14.8533 | 3.09 | 4.8267 | 5.46 | 888 | 82.7667 | 0
2019-02-24 13:00:00 | 2.33 | 25.2733 | 2.6767 | 27.77 | 3.4833 | 18.74 | 3.29 | 2.8067 | 5.6067 | 888 | 82.9667 | 0
2019-02-24 13:15:00 | 2.34 | 119.6133 | 2.6967 | 131.4333 | 3.7267 | 1.5033 | 3.6167 | 9.38 | 5.84 | 888 | 80.6333 | 0.053333
2019-02-24 13:30:00 | 2.4467 | 106.9667 | 2.8167 | 117.54 | 3.6667 | 3.3967 | 3.73 | 16.3 | 5.8733 | 888 | 81.0333 | 0
2019-02-24 13:45:00 | 2.3433 | 25.9167 | 2.6967 | 28.4667 | 3.5367 | 8.85 | 3.68 | 11.32 | 5.94 | 888 | 81.1667 | 0
2019-02-24 14:00:00 | 2.3233 | 0.11 | 2.67 | 0.11333 | 3.41 | 13.81 | 3.14 | 9.78 | 6 | 888 | 80.88 | 0
2019-02-24 14:15:00 | 2.0733 | 14.7667 | 2.39 | 16.2267 | 2.5133 | 221.6467 | 2.5467 | 219.95 | 6.13 | 888 | 81.0333 | 0
2019-02-24 14:30:00 | 2.18 | 121.5933 | 2.5167 | 133.62 | 2.6733 | 4.4333 | 2.76 | 1.9767 | 6.07 | 888 | 81.7 | 0
2019-02-24 14:45:00 | 2.0747 | 48.2527 | 2.3847 | 53.0227 | 3.2427 | 17.2913 | 2.9693 | 263.0067 | 6.59 | 888 | 79.76 | 0
2019-02-24 15:00:00 | 1.92 | 58.7933 | 2.2167 | 64.6067 | 2.9833 | 16.26 | 2.6767 | 4.25 | 6.5167 | 888 | 80.0027 | 0
2019-02-24 15:15:00 | 1.5587 | 115.4267 | 1.798 | 126.8347 | 2.718 | 13.5913 | 2.4047 | 11.728 | 6.4413 | 887.4667 | 80.3133 | 0
2019-02-24 15:30:00 | 1.76 | 294.7933 | 2.03 | 323.9333 | 3.21 | 14.1767 | 3.0033 | 24.56 | 6.44 | 887 | 79.6867 | 0
2019-02-24 15:45:00 | 1.72 | 311.1067 | 1.9767 | 341.8667 | 3.058 | 17.3767 | 2.7467 | 20.6133 | 6.3333 | 887 | 78.56 | 0
2019-02-24 16:00:00 | 1.5333 | 116.6 | 1.7633 | 128.1333 | 2.38 | 8.8967 | 2.46 | 21.5533 | 6.1733 | 887 | 78.842 | 0
2019-02-24 16:15:00 | 1.8533 | 13.96 | 2.1333 | 15.3333 | 2.8533 | 348.1 | 2.94 | 346.7333 | 6.3333 | 887 | 78.2167 | 0
2019-02-24 16:30:00 | 1.844 | 6.134 | 2.12 | 6.732 | 3.066 | 136.16 | 3.12 | 354.88 | 6.6 | 887 | 77.194 | 0.53667
2019-02-24 16:45:00 | 2.2567 | 114.1867 | 2.6 | 125.4733 | 3.66 | 356.2 | 3.75 | 231.8733 | 6.5767 | 887 | 77.0727 | 1.1513
2019-02-24 17:00:00 | 1.8367 | 269.22 | 2.1133 | 295.8333 | 3.56 | 118.3667 | 3.7033 | 0.23333 | 6.79 | 887 | 77.1567 | 0.27067
2019-02-24 17:15:00 | 2.0667 | 24.65 | 2.3767 | 27.0867 | 3.3967 | 119.6667 | 3.39 | 3.68 | 6.5667 | 887 | 77.5227 | 0
2019-02-24 17:30:00 | 1.18 | 225.7433 | 1.3567 | 248.06 | 2.2167 | 356.3667 | 2.1967 | 13.68 | 6.4333 | 887 | 78.73 | 0
2019-02-24 17:45:00 | 1.0967 | 220.9433 | 1.2667 | 242.7933 | 1.5367 | 349.5667 | 1.55 | 351.4333 | 6.3533 | 887 | 78.9407 | 0
2019-02-24 18:00:00 | 0.87667 | 219.1233 | 1.0067 | 240.7933 | 1.4967 | 119.42 | 1.7567 | 356.7 | 6.34 | 887 | 79.48 | 0
2019-02-24 18:15:00 | 0.25333 | 312.23 | 0.29 | 343.1 | 0.5 | 0.15 | 1.0933 | 350.6 | 6.2633 | 887 | 80.1333 | 0
2019-02-24 18:30:00 | 0.45 | 312.23 | 0.525 | 343.1 | 0.9 | 8.195 | 0.87 | 184.02 | 6.125 | 887 | 80.5 | 0
2019-02-24 18:45:00 | 1.25 | 312.23 | 1.4367 | 343.1 | 2.49 | 7.64 | 2.3433 | 9.83 | 5.87 | 887 | 81.1 | 0.93667
2019-02-24 19:00:00 | 2.0367 | 112.5833 | 2.35 | 123.7067 | 3.9633 | 238.0467 | 3.8433 | 38.3033 | 5.6833 | 887 | 82.1 | 2.69
2019-02-24 19:15:00 | 1.6833 | 277.49 | 1.9467 | 304.9333 | 3.29 | 4.9133 | 3.5333 | 36.97 | 5.57 | 887 | 82.5333 | 1.8427
2019-02-24 19:30:00 | 1.5633 | 323.5367 | 1.8 | 355.5333 | 2.9833 | 2.6933 | 3.2467 | 4.8367 | 5.5167 | 887 | 82.9333 | 0.532
2019-02-24 19:45:00 | 1.34 | 310.2833 | 1.54 | 340.9667 | 2.6567 | 351.7333 | 2.8167 | 349.1667 | 5.43 | 887.5333 | 83.7667 | 1.4273
2019-02-24 20:00:00 | 1.8867 | 232.4567 | 2.1733 | 255.4333 | 3.75 | 354.0667 | 4.0567 | 352.3667 | 5.3567 | 888 | 84.1 | 8.0827
2019-02-24 20:15:00 | 2.3267 | 191.86 | 2.6733 | 210.8333 | 4.5467 | 348.1 | 4.68 | 344.6333 | 5.4367 | 888 | 83.9467 | 8.2953
2019-02-24 20:30:00 | 2.2733 | 262.9 | 2.6133 | 288.9 | 4.4667 | 119.06 | 4.4533 | 120.66 | 5.3833 | 888 | 84.52 | 6.3633
2019-02-24 20:45:00 | 2.5 | 232.5633 | 2.8767 | 255.5567 | 4.3667 | 120.2667 | 4.3867 | 11.6167 | 5.368 | 888 | 84.48 | 6.448
2019-02-24 21:00:00 | 2.7467 | 25.5767 | 3.17 | 28.0967 | 4.96 | 125.0133 | 5.0667 | 17.2433 | 5.4433 | 888 | 83.5 | 5.8473
2019-02-24 21:15:00 | 2.5633 | 312.0167 | 2.9467 | 342.8667 | 4.89 | 17.1067 | 4.9533 | 23.7833 | 5.3667 | 888 | 84.1 | 8.6087
2019-02-24 21:30:00 | 2.6567 | 307.2233 | 3.06 | 337.6 | 4.85 | 13.9933 | 4.8 | 12.0433 | 5.3133 | 888.2 | 84.5 | 9.218
2019-02-24 21:45:00 | 2.8133 | 226.5567 | 3.2333 | 248.9533 | 4.54 | 8.1333 | 4.59 | 4.3633 | 5.4533 | 889 | 83.5 | 10.4627
2019-02-24 22:00:00 | 2.92 | 11.4967 | 3.36 | 12.6333 | 4.9333 | 9.3933 | 5.1567 | 15.7433 | 5.5133 | 889 | 83.3933 | 12.8353
2019-02-24 22:15:00 | 2.96 | 4.45 | 3.4 | 4.89 | 5.15 | 3.99 | 5.39 | 11.67 | 5.45 | 889 | 84.1 | 17.52
2019-02-24 22:30:00 | 3.2533 | 8.6867 | 3.7533 | 9.5433 | 5.2167 | 0.15 | 5.59 | 10.1867 | 5.4433 | 889 | 83.9667 | 14.9567
2019-02-24 22:45:00 | 3.3367 | 109.43 | 3.8433 | 120.2533 | 5.2367 | 4.1867 | 5.32 | 121.8467 | 5.57 | 889 | 82.7 | 16.6933
2019-02-24 23:00:00 | 3.4033 | 110.3967 | 3.91 | 121.3067 | 5.83 | 2.5933 | 5.8333 | 121.3867 | 5.55 | 889 | 82.4333 | 19.61
2019-02-24 23:15:00 | 3.7667 | 196.8367 | 4.33 | 216.2967 | 6.1633 | 5.8267 | 6.2267 | 12.3 | 5.46 | 889 | 82.5 | 22.384
2019-02-24 23:30:00 | 3.7733 | 202.8433 | 4.3433 | 222.8967 | 6.5833 | 7.0933 | 6.92 | 12.0067 | 5.4533 | 888.3333 | 82.8333 | 17.7287
2019-02-24 23:45:00 | 3.42 | 228.3 | 3.9333 | 250.87 | 6.0933 | 3.1433 | 6.1233 | 17.39 | 5.3133 | 889 | 85.4667 | 17.1253