## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-25 00:00:00 | 3.78 | 24.26 | 4.36 | 26.6567 | 6.3067 | 9.5167 | 6.2967 | 9.1033 | 5.222 | 889 | 86.22 | 19.484
2019-02-25 00:15:00 | 3.9467 | 314.7433 | 4.55 | 345.8667 | 6.4067 | 13.15 | 6.57 | 20.9067 | 5.2153 | 889 | 86.1 | 20.4653
2019-02-25 00:30:00 | 3.7733 | 312.6167 | 4.35 | 343.5333 | 6.4933 | 12.71 | 6.6147 | 20.9733 | 5.0133 | 888.8 | 86.9 | 21.962
2019-02-25 00:45:00 | 3.46 | 319.7467 | 3.9833 | 351.3667 | 6.1967 | 15.95 | 6.39 | 18.84 | 4.72 | 888 | 87.6 | 26.9207
2019-02-25 01:00:00 | 3.66 | 115.88 | 4.21 | 127.34 | 6.79 | 10.7033 | 6.9033 | 13.9733 | 4.5067 | 888 | 88.1333 | 23.4987
2019-02-25 01:15:00 | 3.3633 | 118.9133 | 3.8633 | 130.6733 | 5.87 | 4.1667 | 6.03 | 14.1233 | 4.4633 | 888 | 88 | 14.4707
2019-02-25 01:30:00 | 3.07 | 311.0133 | 3.53 | 341.7667 | 5.0833 | 29.5867 | 5.0633 | 2.01 | 4.51 | 888 | 88 | 19.712
2019-02-25 01:45:00 | 3.492 | 9.978 | 4.0247 | 10.96 | 5.7587 | 94.912 | 5.8367 | 8.3773 | 4.434 | 887.4667 | 87.6867 | 22.7613
2019-02-25 02:00:00 | 3.9667 | 11.3333 | 4.56 | 12.4467 | 6.82 | 349.1333 | 6.6333 | 7.98 | 4.3867 | 887.2 | 87.8 | 26.6847
2019-02-25 02:15:00 | 4.1533 | 297.69 | 4.78 | 327.1333 | 6.8267 | 353.5 | 6.9533 | 9.1467 | 4.6867 | 888 | 86.0667 | 30.5287
2019-02-25 02:30:00 | 4.46 | 228.8433 | 5.1333 | 251.4667 | 7.4 | 119.8267 | 7.8733 | 11.1733 | 4.8333 | 888 | 84.7333 | 29.0147
2019-02-25 02:45:00 | 4 | 210.5933 | 4.6033 | 231.4067 | 6.89 | 5.7267 | 7.36 | 124.1 | 4.6633 | 887.4667 | 86.1333 | 29.2773
2019-02-25 03:00:00 | 4.0733 | 203.3733 | 4.6967 | 223.4733 | 6.4033 | 6.9867 | 6.7533 | 125.98 | 4.49 | 887.6667 | 87.2 | 27.654
2019-02-25 03:15:00 | 3.8133 | 213.9167 | 4.3833 | 235.07 | 6.1733 | 9.1133 | 6.54 | 9.8567 | 4.5133 | 887 | 86.6333 | 17.6493
2019-02-25 03:30:00 | 3.5467 | 7.2833 | 4.0833 | 8.0033 | 5.2867 | 9.6933 | 5.5133 | 9.0967 | 4.6667 | 887 | 85.3 | 11.3073
2019-02-25 03:45:00 | 2.8633 | 189.9867 | 3.296 | 208.77 | 4.52 | 216.912 | 4.9247 | 17.0907 | 4.626 | 887 | 85.5867 | 7.1747
2019-02-25 04:00:00 | 3.06 | 226.9267 | 3.5267 | 249.3633 | 4.2667 | 240.25 | 4.68 | 11.01 | 4.6733 | 887.2 | 84.7667 | 9.3287
2019-02-25 04:15:00 | 3.1533 | 217.91 | 3.6333 | 239.46 | 4.6733 | 14.9667 | 5.2267 | 20.7667 | 4.7167 | 887.4667 | 84.3667 | 11.47
2019-02-25 04:30:00 | 3.46 | 210.15 | 3.98 | 230.9267 | 5.2667 | 10.1333 | 5.5067 | 19.5667 | 4.53 | 887 | 85.3667 | 11.5273
2019-02-25 04:45:00 | 3.3967 | 282.5033 | 3.9033 | 310.4333 | 4.9133 | 14.6567 | 5.44 | 19.0967 | 4.65 | 887 | 84.6667 | 13.6493
2019-02-25 05:00:00 | 3.38 | 308.116 | 3.892 | 338.58 | 4.446 | 215.912 | 5.062 | 19.468 | 4.524 | 887 | 85.74 | 14.12
2019-02-25 05:15:00 | 3.4933 | 110.9767 | 4.02 | 121.9533 | 5.11 | 15.1967 | 5.6267 | 22.69 | 4.31 | 886.4667 | 86.8333 | 11.714
2019-02-25 05:30:00 | 4.1733 | 120.8967 | 4.8133 | 132.8467 | 5.8967 | 5.1833 | 6.2867 | 20.87 | 4.39 | 886 | 85.7 | 9.4233
2019-02-25 05:45:00 | 3.62 | 184.3733 | 4.1767 | 202.6067 | 5.5533 | 10.31 | 5.9133 | 19.3933 | 4.42 | 886 | 85.0333 | 8.1033
2019-02-25 06:00:00 | 3.5133 | 219.7533 | 4.0433 | 241.4733 | 4.76 | 236.2033 | 5.0267 | 14.7267 | 4.46 | 886 | 84.6333 | 5.8027
2019-02-25 06:15:00 | 3.3967 | 216.5733 | 3.9033 | 237.9933 | 4.16 | 14.8867 | 4.48 | 19.3067 | 4.74 | 886 | 82.5667 | 2.144
2019-02-25 06:30:00 | 3.2033 | 206.6933 | 3.6833 | 227.1267 | 3.7533 | 241.5533 | 4.16 | 13.18 | 4.6667 | 886 | 82.9667 | 1.2307
2019-02-25 06:45:00 | 3.0333 | 2.43 | 3.4867 | 2.67 | 3.8067 | 2.1067 | 4.37 | 13.9867 | 4.6 | 886 | 83.4333 | 0.25933
2019-02-25 07:00:00 | 2.9107 | 171.5087 | 3.3493 | 188.474 | 3.9853 | 9.7733 | 4.098 | 17.604 | 4.5093 | 886 | 83.94 | 0
2019-02-25 07:15:00 | 2.368 | 79.326 | 2.72 | 87.16 | 3.346 | 12.206 | 3.098 | 16.944 | 4.176 | 886 | 85.48 | 0
2019-02-25 07:30:00 | 2.62 | 324.87 | 3.0133 | 357 | 3.4033 | 15.7433 | 3.3767 | 22.3067 | 3.9667 | 886 | 86.6 | 0
2019-02-25 07:45:00 | 2.1333 | 309.7433 | 2.4533 | 340.3667 | 3.09 | 22.0333 | 3.07 | 28.9867 | 3.6633 | 886 | 88.3667 | 0
2019-02-25 08:00:00 | 2.0933 | 306.89 | 2.4067 | 337.2333 | 2.7367 | 11.04 | 2.8167 | 26.5867 | 3.75 | 886 | 87.9 | 0
2019-02-25 08:15:00 | 2.0267 | 107.21 | 2.3367 | 117.8133 | 2.87 | 9.9233 | 3.0333 | 22.57 | 3.9067 | 886.5333 | 87.52 | 0
2019-02-25 08:30:00 | 2.56 | 315.8367 | 2.95 | 347.0667 | 3.2967 | 12.71 | 3.0067 | 19.3233 | 4.0533 | 887 | 87.1667 | 0
2019-02-25 08:45:00 | 1.9733 | 324.87 | 2.27 | 357 | 2.7633 | 12.7267 | 3.0033 | 5.76 | 4.3233 | 887 | 86.2667 | 0
2019-02-25 09:00:00 | 1.8333 | 111.51 | 2.1167 | 122.5333 | 2.5967 | 19.34 | 2.89 | 25.4533 | 4.6033 | 887.8667 | 85.5333 | 0
2019-02-25 09:15:00 | 2.3267 | 320.5033 | 2.6767 | 352.2 | 3.0133 | 17.9967 | 2.9067 | 29.8 | 5.0633 | 888 | 83.0333 | 0
2019-02-25 09:30:00 | 2.44 | 113.8167 | 2.8033 | 125.0667 | 3.0733 | 19.3233 | 3.2 | 25.5467 | 5.11 | 888 | 82.7 | 0
2019-02-25 09:45:00 | 2.1333 | 318.1433 | 2.46 | 349.6 | 2.6833 | 123.2 | 2.5767 | 18.55 | 5.27 | 888 | 82.18 | 0
2019-02-25 10:00:00 | 2.2067 | 277.97 | 2.54 | 305.4667 | 2.5833 | 347.8 | 2.05 | 0.73 | 5.57 | 888 | 79.74 | 0
2019-02-25 10:15:00 | 1.6867 | 204.38 | 1.94 | 224.59 | 1.97 | 238.73 | 1.4867 | 5.2667 | 6.11 | 888.5333 | 76.53 | 0
2019-02-25 10:30:00 | 1.9333 | 7.0533 | 2.2267 | 7.75 | 2.3767 | 21.19 | 1.9933 | 4.8133 | 6.33 | 889 | 75.0567 | 0
2019-02-25 10:45:00 | 0.99333 | 52.0167 | 1.1467 | 57.16 | 1.4233 | 67.76 | 1.0967 | 76.2333 | 6.6133 | 889 | 73.7167 | 0
2019-02-25 11:00:00 | 0.99333 | 52.0167 | 1.1467 | 57.16 | 1.4233 | 67.76 | 1.0967 | 76.2333 | 6.6133 | 889 | 73.7167 | 0
2019-02-25 11:15:00 | 0.99333 | 52.0167 | 1.1467 | 57.16 | 1.4233 | 67.76 | 1.0967 | 76.2333 | 6.6133 | 889 | 73.7167 | 0
2019-02-25 11:30:00 | 0.90667 | 140.0467 | 1.05 | 153.9 | 1.0867 | 142 | 0.82 | 173.9333 | 6.4033 | 889 | 81.4 | 0
2019-02-25 11:45:00 | 1.5467 | 149.6727 | 1.79 | 164.4733 | 1.79 | 170.5 | 1.4933 | 183.0333 | 6.49 | 889 | 78.2367 | 0
2019-02-25 12:00:00 | 1.8867 | 157.5 | 2.17 | 173.0667 | 2.0567 | 192.4333 | 1.9933 | 200.9 | 6.47 | 889 | 78.09 | 0.132
2019-02-25 12:15:00 | 2.4033 | 162.0767 | 2.7633 | 178.1 | 2.6433 | 199.9333 | 2.7 | 215.3667 | 6.6167 | 888.4667 | 77.9333 | 0.57667
2019-02-25 12:30:00 | 2.5633 | 177.1233 | 2.95 | 194.6333 | 2.83 | 185.8667 | 2.84 | 196.2333 | 7.0567 | 888 | 75.1067 | 0.362
2019-02-25 12:45:00 | 2.4867 | 164.0433 | 2.86 | 180.2667 | 2.78 | 174.0667 | 2.6933 | 196.4333 | 7.0833 | 888 | 74.6267 | 0
2019-02-25 13:00:00 | 1.7533 | 181.0967 | 2.0267 | 199 | 2.0267 | 199.6 | 1.98 | 196.6333 | 7.17 | 887.8 | 75.0067 | 0
2019-02-25 13:15:00 | 2.4367 | 159.1333 | 2.8067 | 174.8667 | 2.74 | 220.9 | 2.7567 | 192.5667 | 7.29 | 887 | 74.548 | 0
2019-02-25 13:30:00 | 2.235 | 183.015 | 2.57 | 201.1 | 2.735 | 201.4 | 2.91 | 213.6 | 7.37 | 887 | 74.06 | 0
2019-02-25 13:45:00 | 2.18 | 153.89 | 2.52 | 169.1 | 2.8 | 211.2 | 2.9 | 213 | 7.45 | 887 | 74.101 | 0
2019-02-25 14:00:00 | 2.18 | 153.89 | 2.52 | 169.1 | 2.8 | 211.2 | 2.9 | 213 | 7.45 | 887 | 74.101 | 0
2019-02-25 14:15:00 | 2.1433 | 173.96 | 2.4667 | 191.1667 | 2.8833 | 227.0333 | 2.9967 | 227.4 | 7.182 | 886 | 75.282 | 0
2019-02-25 14:30:00 | 1.695 | 162.03 | 1.955 | 178.05 | 2.3 | 213.15 | 2.465 | 219.15 | 7.21 | 886 | 75.48 | 0
2019-02-25 14:45:00 | 1.695 | 162.03 | 1.955 | 178.05 | 2.3 | 213.15 | 2.465 | 219.15 | 7.21 | 886 | 75.48 | 0
2019-02-25 15:00:00 | 1.695 | 162.03 | 1.955 | 178.05 | 2.3 | 213.15 | 2.465 | 219.15 | 7.21 | 886 | 75.48 | 0
2019-02-25 15:15:00 | 1.714 | 157.38 | 1.984 | 172.94 | 2.3 | 216.12 | 2.344 | 233.26 | 7.228 | 886 | 76.254 | 0.846
2019-02-25 15:30:00 | 1.714 | 157.38 | 1.984 | 172.94 | 2.3 | 216.12 | 2.344 | 233.26 | 7.228 | 886 | 76.254 | 0.846
2019-02-25 15:45:00 | 1.0533 | 171.0233 | 1.21 | 187.9333 | 1.4167 | 186.3333 | 1.4167 | 199.9333 | 7.0667 | 886 | 77.8067 | 1.5993
2019-02-25 16:00:00 | 1.2 | 161.5033 | 1.39 | 177.4667 | 1.5633 | 208.4667 | 1.79 | 231.5333 | 6.9867 | 886 | 78.4533 | 1.2113
2019-02-25 16:15:00 | 0.37333 | 153.18 | 0.43 | 168.3333 | 0.63333 | 233.7667 | 1.3733 | 212.7 | 6.9667 | 885.4667 | 78.3 | 0.43333
2019-02-25 16:30:00 | 0.34667 | 159.4933 | 0.41 | 175.2667 | 0.67333 | 241.9667 | 1.4267 | 207.5667 | 7.08 | 885 | 77.958 | 0
2019-02-25 16:45:00 | 0.54667 | 178.1467 | 0.63 | 195.7667 | 0.97 | 228.8 | 1.59 | 219.4 | 7.39 | 885 | 75.5567 | 0
2019-02-25 17:00:00 | 0.54667 | 178.1467 | 0.63 | 195.7667 | 0.97 | 228.8 | 1.59 | 219.4 | 7.39 | 885 | 75.5567 | 0
2019-02-25 17:15:00 | 0.4 | 280.4333 | 0.45667 | 308.1667 | 0.66333 | 15.3 | 0.39333 | 185.7967 | 7.6933 | 885 | 74.4033 | 0
2019-02-25 17:30:00 | 0.28 | 313.5 | 0.32333 | 344.5 | 0.31667 | 18.22 | 0.13333 | 217.3967 | 7.4467 | 885 | 75.5567 | 0
2019-02-25 17:45:00 | 0.39667 | 209.23 | 0.45667 | 229.9133 | 0.56667 | 225.94 | 0.12333 | 159.4867 | 7.18 | 885 | 76.4133 | 0
2019-02-25 18:00:00 | 1.0633 | 1.8633 | 1.23 | 2.04 | 1.44 | 14.0867 | 0.42333 | 8.0867 | 6.96 | 885.8667 | 77.3133 | 0
2019-02-25 18:15:00 | 1.5267 | 217.28 | 1.7667 | 238.7667 | 2.36 | 12.7567 | 1.94 | 10.3567 | 6.8133 | 886 | 77.9933 | 0
2019-02-25 18:30:00 | 1.8333 | 15.96 | 2.12 | 17.5333 | 3.14 | 15.9967 | 2.9067 | 21.8833 | 6.74 | 885.8 | 78.4933 | 0
2019-02-25 18:45:00 | 1.88 | 105.8967 | 2.1733 | 116.3733 | 2.98 | 3.7 | 2.9133 | 11.5067 | 6.6667 | 885.5333 | 78.724 | 0
2019-02-25 19:00:00 | 1.9333 | 314.8567 | 2.2267 | 346 | 2.98 | 235.4 | 3.1533 | 23.5533 | 6.5667 | 885.1333 | 78.942 | 0.64067
2019-02-25 19:15:00 | 2.19 | 9.6433 | 2.5233 | 10.6 | 3.8867 | 15.11 | 3.7033 | 17.11 | 6.46 | 885 | 78.9633 | 2.0247
2019-02-25 19:30:00 | 2.2033 | 215.5167 | 2.53 | 236.8267 | 3.7533 | 9.63 | 3.65 | 21.5367 | 6.3667 | 885.2 | 78.898 | 0.994
2019-02-25 19:45:00 | 1.86 | 107.4667 | 2.1533 | 118.1 | 3.5533 | 0.29333 | 3.4233 | 13.62 | 6.3087 | 886 | 78.9673 | 1.254
2019-02-25 20:00:00 | 2 | 308.74 | 2.3067 | 339.2667 | 3.6067 | 3.5667 | 3.7233 | 14.04 | 6.218 | 886 | 79.06 | 1.424
2019-02-25 20:15:00 | 1.8533 | 303.1933 | 2.1433 | 333.1667 | 3.3867 | 13.9733 | 3.742 | 25.7 | 6.2233 | 886 | 78.6213 | 1.284
2019-02-25 20:30:00 | 1.9467 | 107.4467 | 2.25 | 118.0667 | 3.1867 | 14.3 | 3.38 | 31.1133 | 6.2767 | 886 | 77.89 | 2.5093
2019-02-25 20:45:00 | 2.19 | 197.31 | 2.5167 | 216.8267 | 4.1967 | 7.7133 | 4.03 | 3.56 | 6.2267 | 886 | 78.08 | 4.6533
2019-02-25 21:00:00 | 2.4833 | 25.6833 | 2.8567 | 28.2267 | 4.19 | 12.7933 | 4.15 | 16.22 | 6.2067 | 886 | 77.6387 | 4.1613
2019-02-25 21:15:00 | 2.4467 | 309.5833 | 2.82 | 340.2 | 3.7267 | 240.14 | 3.9133 | 5.9533 | 6.43 | 886 | 76 | 5.0967
2019-02-25 21:30:00 | 2.4333 | 122.8767 | 2.8067 | 135.02 | 4.0733 | 241.8733 | 4.36 | 11.5933 | 6.39 | 886 | 76.27 | 5.1853
2019-02-25 21:45:00 | 2.6667 | 321.3267 | 3.08 | 353.1 | 4.6633 | 237.41 | 4.7767 | 12.16 | 6.36 | 886 | 76.2667 | 7.3727
2019-02-25 22:00:00 | 3.0267 | 118.66 | 3.4933 | 130.3933 | 4.8367 | 4.4433 | 5.1033 | 13.0533 | 6.3133 | 886 | 76.38 | 11.7667
2019-02-25 22:15:00 | 3.22 | 117.79 | 3.7033 | 129.4333 | 4.96 | 1.22 | 4.9167 | 8.7867 | 6.3233 | 886 | 76.4293 | 11.574
2019-02-25 22:30:00 | 3.1933 | 110.9833 | 3.6767 | 121.96 | 4.6667 | 232.52 | 4.8633 | 14.3 | 6.2367 | 886 | 77.0067 | 10.3733
2019-02-25 22:45:00 | 2.7867 | 219.91 | 3.2133 | 241.6567 | 4.27 | 5.4633 | 4.6267 | 13.8133 | 6.18 | 886 | 77.49 | 10.56
2019-02-25 23:00:00 | 2.7467 | 221.1833 | 3.16 | 243.0567 | 4.35 | 3.5833 | 4.4733 | 16.18 | 6.0467 | 886 | 78.7933 | 10.8207
2019-02-25 23:15:00 | 2.76 | 204.7233 | 3.18 | 224.9667 | 4.4133 | 232.4433 | 4.56 | 8.7467 | 5.9733 | 886 | 79.4533 | 11.8293
2019-02-25 23:30:00 | 3.0267 | 184.0367 | 3.4867 | 202.2333 | 4.9 | 6.8767 | 5.0133 | 13.4133 | 6.02 | 886 | 79.18 | 12.7667
2019-02-25 23:45:00 | 3.1267 | 215.5167 | 3.5967 | 236.8233 | 5.18 | 237.3667 | 5.0533 | 16.5467 | 5.89 | 886 | 80.5333 | 16.612