## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-26 00:00:00 | 3.368 | 194.95 | 3.872 | 214.228 | 5.486 | 12.722 | 5.488 | 16.98 | 5.824 | 886 | 81.12 | 20.6513
2019-02-26 00:15:00 | 3.5267 | 222.48 | 4.06 | 244.48 | 5.7133 | 124.32 | 5.7333 | 4.6667 | 5.7067 | 885.4667 | 82.0333 | 23.072
2019-02-26 00:30:00 | 3.7333 | 7.7533 | 4.2933 | 8.5133 | 6.1467 | 128.06 | 6.1 | 11.0533 | 5.62 | 885 | 82.1667 | 27.7787
2019-02-26 00:45:00 | 3.9133 | 216.3967 | 4.5 | 237.7933 | 6.92 | 12.8333 | 7.15 | 18.1233 | 5.4133 | 885 | 84.3333 | 29.5627
2019-02-26 01:00:00 | 3.9933 | 37.3033 | 4.6 | 40.9933 | 6.78 | 17.0467 | 6.69 | 13.21 | 5.1667 | 885 | 86.8 | 29.6267
2019-02-26 01:15:00 | 4.2633 | 205.0733 | 4.9067 | 225.3467 | 6.95 | 12.92 | 6.8733 | 12.9433 | 5.1333 | 885 | 87 | 28.2607
2019-02-26 01:30:00 | 3.7567 | 27.3533 | 4.32 | 30.0467 | 6.6833 | 12.34 | 6.7 | 19.1033 | 4.8733 | 885 | 89.6 | 28.7627
2019-02-26 01:45:00 | 3.6 | 104.87 | 4.1467 | 115.24 | 6.7533 | 15.58 | 6.8467 | 21.3367 | 4.6467 | 885 | 91.9 | 30.2267
2019-02-26 02:00:00 | 3.78 | 281.6167 | 4.3533 | 309.4667 | 7.0467 | 15.0333 | 7.1467 | 15.89 | 4.4333 | 885 | 94.0333 | 29.404
2019-02-26 02:15:00 | 3.6967 | 52.6667 | 4.2533 | 57.8633 | 6.92 | 14.9133 | 7.2067 | 13.9333 | 4.2433 | 885 | 95.8 | 30.814
2019-02-26 02:30:00 | 3.6367 | 37.6333 | 4.18 | 41.3433 | 6.6933 | 242.76 | 7.1867 | 15.96 | 4.1033 | 885 | 97 | 32.334
2019-02-26 02:45:00 | 4.0567 | 216.3067 | 4.6767 | 237.7 | 7.4867 | 20.5333 | 7.8667 | 29.06 | 4.0167 | 885 | 97.9333 | 32.4667
2019-02-26 03:00:00 | 3.9967 | 75.7133 | 4.61 | 83.1933 | 6.96 | 18.5733 | 7.4933 | 17.4333 | 3.9367 | 884.1333 | 98.4 | 31.9113
2019-02-26 03:15:00 | 4.4067 | 204.4733 | 5.0733 | 224.69 | 6.8067 | 181.73 | 6.9133 | 4.3867 | 3.8667 | 884 | 98.8667 | 31.554
2019-02-26 03:30:00 | 4.8333 | 24.8667 | 5.56 | 27.3233 | 6.96 | 3.83 | 6.98 | 238.3133 | 3.8133 | 884 | 99.1333 | 31.956
2019-02-26 03:45:00 | 4.3967 | 310.43 | 5.0667 | 341.1333 | 6.88 | 9.81 | 6.9833 | 20.4633 | 3.74 | 884 | 99.5 | 35.2227
2019-02-26 04:00:00 | 4.51 | 130.25 | 5.1933 | 143.1267 | 6.7333 | 8.4767 | 7.0433 | 33.2833 | 3.68 | 884 | 99.8333 | 35.8707
2019-02-26 04:15:00 | 4.4367 | 11.91 | 5.1067 | 13.0833 | 7.6067 | 15.4767 | 7.7767 | 20.1867 | 3.59 | 884 | 99.9533 | 36.7607
2019-02-26 04:30:00 | 4.5433 | 8.1367 | 5.2267 | 8.93 | 7.2933 | 11.2233 | 7.6633 | 18.3533 | 3.55 | 884 | 100 | 38.5713
2019-02-26 04:45:00 | 4.74 | 173.21 | 5.4567 | 190.3333 | 8.5933 | 14.6767 | 8.7867 | 25.1633 | 3.5 | 884 | 100 | 36.5327
2019-02-26 05:00:00 | 4.2733 | 306.31 | 4.9233 | 336.6 | 7.96 | 16.3033 | 8.1667 | 23.6367 | 3.4667 | 883.8 | 100 | 36.876
2019-02-26 05:15:00 | 4.5933 | 53.2933 | 5.28 | 58.5667 | 7.9233 | 11.5767 | 8.0967 | 23.7367 | 3.4767 | 883 | 100 | 37.2373
2019-02-26 05:30:00 | 4.678 | 17.218 | 5.382 | 18.916 | 7.716 | 10.97 | 7.892 | 17.51 | 3.478 | 883 | 100 | 37.268
2019-02-26 05:45:00 | 4.9633 | 304.18 | 5.7067 | 334.2667 | 7.99 | 13.3367 | 8.17 | 20.63 | 3.4333 | 883.5333 | 100 | 37.256
2019-02-26 06:00:00 | 5.03 | 102.34 | 5.7867 | 112.4533 | 7.8233 | 8.73 | 8.03 | 20.9833 | 3.4067 | 884 | 100 | 38.4913
2019-02-26 06:15:00 | 5.0667 | 55.46 | 5.8267 | 60.9433 | 8.2133 | 5.8367 | 8.4633 | 15.6333 | 3.3667 | 884 | 100 | 36.976
2019-02-26 06:30:00 | 5.1867 | 5.26 | 5.9733 | 5.7833 | 9.06 | 16.99 | 8.95 | 18.6333 | 3.358 | 884 | 100 | 38.434
2019-02-26 06:45:00 | 5.2333 | 58.87 | 6.0233 | 64.6867 | 9.4067 | 16.4333 | 9.3067 | 24.9833 | 3.3133 | 884 | 100 | 39.2093
2019-02-26 07:00:00 | 5.1267 | 237.7233 | 5.9033 | 261.2333 | 9.2867 | 16.8333 | 9.2133 | 22.4367 | 3.2867 | 884 | 100 | 40.0213
2019-02-26 07:15:00 | 5.06 | 79.48 | 5.82 | 87.34 | 9.2067 | 19.8233 | 9.03 | 25.3167 | 3.26 | 884 | 100 | 42.52
2019-02-26 07:30:00 | 5.04 | 207.1133 | 5.7933 | 227.6 | 9.4867 | 14.1167 | 9.4167 | 21.59 | 3.26 | 884 | 100 | 44.0273
2019-02-26 07:45:00 | 4.9553 | 217.2807 | 5.698 | 238.76 | 9.36 | 8.6393 | 9.3713 | 18.9907 | 3.2247 | 884 | 100 | 44.3987
2019-02-26 08:00:00 | 5.03 | 81.6 | 5.7867 | 89.6667 | 9.3713 | 17.1 | 9.4433 | 22.7 | 3.19 | 884.2 | 100 | 46.1407
2019-02-26 08:15:00 | 5.8033 | 109.12 | 6.68 | 119.9067 | 10.1233 | 15.73 | 9.7167 | 14.4267 | 3.1333 | 885 | 100 | 47.2833
2019-02-26 08:30:00 | 5.7233 | 317.9933 | 6.5867 | 349.4333 | 10.07 | 17.69 | 9.8633 | 18.4667 | 3.1067 | 885 | 100 | 47.024
2019-02-26 08:45:00 | 5.4 | 107.8667 | 6.2067 | 118.5267 | 9.5467 | 12.3967 | 9.68 | 23.1267 | 3.08 | 885 | 100 | 46.7833
2019-02-26 09:00:00 | 5.632 | 139.786 | 6.478 | 153.608 | 10.042 | 5.75 | 10.03 | 15.81 | 3.0593 | 885 | 100 | 47.4507
2019-02-26 09:15:00 | 5.73 | 26.6167 | 6.5933 | 29.25 | 10.22 | 12.6967 | 10.15 | 18.41 | 3.07 | 885.5333 | 100 | 47.818
2019-02-26 09:30:00 | 5.9167 | 18.1833 | 6.8067 | 19.9767 | 10.6173 | 15.9567 | 10.73 | 21.7167 | 3.088 | 886 | 100 | 47.9927
2019-02-26 09:45:00 | 6.14 | 42.2133 | 7.06 | 46.38 | 10.8733 | 12.8367 | 10.86 | 16.6533 | 3.1433 | 886 | 100 | 48.0553
2019-02-26 10:00:00 | 6.14 | 92 | 7.066 | 101.1 | 10.74 | 9.95 | 10.94 | 29.82 | 3.11 | 886 | 100 | 48.388
2019-02-26 10:15:00 | 6.14 | 92 | 7.066 | 101.1 | 10.74 | 9.95 | 10.94 | 29.82 | 3.11 | 886 | 100 | 48.388
2019-02-26 10:30:00 | 6.14 | 92 | 7.066 | 101.1 | 10.74 | 9.95 | 10.94 | 29.82 | 3.11 | 886 | 100 | 48.388
2019-02-26 10:45:00 | 5.64 | 69.4967 | 6.4933 | 76.3733 | 10.3167 | 9.6133 | 10.2 | 17.4867 | 3.41 | 886.5333 | 100 | 48.3473
2019-02-26 11:00:00 | 6.26 | 47.45 | 7.2 | 52.14 | 10.452 | 9.8267 | 10.3067 | 12.1533 | 3.39 | 887 | 100 | 50.286
2019-02-26 11:15:00 | 6.6867 | 48.25 | 7.69 | 53.02 | 11.4033 | 22.6667 | 11.0733 | 17.97 | 3.45 | 886.4667 | 100 | 49.6873
2019-02-26 11:30:00 | 6.51 | 68.435 | 7.49 | 75.2 | 11.355 | 9.73 | 11.275 | 11.975 | 3.55 | 886.8 | 100 | 47.702
2019-02-26 11:45:00 | 6.51 | 68.435 | 7.49 | 75.2 | 11.355 | 9.73 | 11.275 | 11.975 | 3.55 | 886.8 | 100 | 47.702
2019-02-26 12:00:00 | 6.51 | 68.435 | 7.49 | 75.2 | 11.355 | 9.73 | 11.275 | 11.975 | 3.55 | 886.8 | 100 | 47.702
2019-02-26 12:15:00 | 6.4533 | 65.9233 | 7.4267 | 72.44 | 11.1167 | 17.2833 | 11.0547 | 4.3433 | 4.1367 | 886.4667 | 100 | 44.3987
2019-02-26 12:30:00 | 6.2933 | 57.8633 | 7.2467 | 63.5867 | 11.1167 | 13.1167 | 11.2833 | 10.8967 | 4.2767 | 886 | 99.8 | 45.0473
2019-02-26 12:45:00 | 5.9867 | 267.7233 | 6.89 | 294.2 | 10.9407 | 9.1767 | 11.21 | 19.6567 | 4.8867 | 886 | 97.6667 | 39.7147
2019-02-26 13:00:00 | 5.6667 | 203.4767 | 6.5167 | 223.6 | 10.3433 | 16.8167 | 10.43 | 24.2633 | 6.18 | 886 | 95.6 | 34.4
2019-02-26 13:15:00 | 5.9 | 289.1467 | 6.79 | 317.7333 | 10.34 | 12.9333 | 10.05 | 13.2167 | 7.84 | 886 | 89.7333 | 36.5653
2019-02-26 13:30:00 | 5.74 | 270.4 | 6.6033 | 297.1333 | 10.1333 | 15.2867 | 9.9433 | 16.5033 | 8.1333 | 886.2 | 85.9333 | 36.2313
2019-02-26 13:45:00 | 5.5467 | 283.98 | 6.3833 | 312.0667 | 9.8333 | 15.3533 | 9.5333 | 21.06 | 8.75 | 887 | 81.6967 | 38.0727
2019-02-26 14:00:00 | 6.1267 | 94.5 | 7.05 | 103.8467 | 10.7867 | 12.7933 | 10.36 | 22.1933 | 9.0433 | 886.1333 | 78.0633 | 44.1
2019-02-26 14:15:00 | 6.8467 | 77.018 | 7.8727 | 84.634 | 12.2647 | 12.0367 | 11.8413 | 15.8533 | 9.142 | 886 | 75.7067 | 43.7947
2019-02-26 14:30:00 | 6.495 | 138.645 | 7.475 | 152.355 | 11.875 | 12.575 | 11.745 | 19.965 | 8.765 | 886 | 75.9 | 47.987
2019-02-26 14:45:00 | 6.495 | 138.645 | 7.475 | 152.355 | 11.875 | 12.575 | 11.745 | 19.965 | 8.765 | 886 | 75.9 | 47.987
2019-02-26 15:00:00 | 7.0267 | 215.9067 | 8.0767 | 237.25 | 12.0133 | 27.6467 | 11.88 | 22.9033 | 8.6267 | 886 | 72.0567 | 41.902
2019-02-26 15:15:00 | 6.08 | 41.23 | 6.99 | 45.3033 | 10.5533 | 18.3567 | 10.58 | 28.9867 | 8.1067 | 886 | 72.5467 | 38.528
2019-02-26 15:30:00 | 5.98 | 37.9367 | 6.8767 | 41.69 | 10.4533 | 17.4033 | 10.3333 | 17.6133 | 8.34 | 885.3333 | 71.56 | 36.8313
2019-02-26 15:45:00 | 5.5 | 113.7333 | 6.3367 | 124.9733 | 9.2533 | 24.49 | 9.0867 | 39.9167 | 8.3687 | 886 | 70.34 | 34.268
2019-02-26 16:00:00 | 5.7267 | 303.42 | 6.59 | 333.4333 | 9.7267 | 25.01 | 9.26 | 33.8767 | 8.3933 | 886 | 70.1533 | 36.4407
2019-02-26 16:15:00 | 5.1467 | 51.4567 | 5.9267 | 56.5467 | 8.7 | 23.32 | 7.71 | 34.9633 | 9.2133 | 886 | 66.89 | 39.7733
2019-02-26 16:30:00 | 5.84 | 23.5767 | 6.72 | 25.9 | 9.84 | 19.6533 | 8.75 | 35.07 | 8.96 | 886 | 67.07 | 44.554
2019-02-26 16:45:00 | 5.3133 | 301.3367 | 6.12 | 331.1333 | 8.97 | 19.7967 | 8.16 | 32.4433 | 8.68 | 886 | 67.02 | 45.0993
2019-02-26 17:00:00 | 5.8133 | 86.9167 | 6.7 | 95.5 | 9.8567 | 33.41 | 9.862 | 35.2167 | 8.6467 | 886 | 66.6073 | 43.656
2019-02-26 17:15:00 | 5.6933 | 105.8967 | 6.5533 | 116.3667 | 10.08 | 26.15 | 10.05 | 24.1667 | 8.2933 | 886 | 67.7567 | 45.1507
2019-02-26 17:30:00 | 5.68 | 300.7833 | 6.5333 | 330.5333 | 10.2 | 25.73 | 10.55 | 32.4267 | 7.9333 | 886 | 69.33 | 44.2313
2019-02-26 17:45:00 | 5.67 | 207.4167 | 6.52 | 227.9333 | 9.77 | 28.0167 | 10.1167 | 32 | 6.8567 | 886 | 72.8033 | 46.2427
2019-02-26 18:00:00 | 5.6833 | 240.7833 | 6.54 | 264.6 | 9.8833 | 23.7967 | 10.0167 | 19.14 | 6.4767 | 885.1333 | 73.9033 | 48.0247
2019-02-26 18:15:00 | 5.38 | 287.5053 | 6.2 | 315.94 | 9.7533 | 10.2993 | 9.614 | 22.68 | 6.174 | 885 | 75.4627 | 47.036
2019-02-26 18:30:00 | 5.4087 | 292.38 | 6.2267 | 321.3 | 9.71 | 11.9167 | 9.7367 | 27.51 | 5.8733 | 885 | 77.1633 | 45.562
2019-02-26 18:45:00 | 5.49 | 283.57 | 6.3133 | 311.6 | 9.86 | 26.1967 | 10.34 | 25.1267 | 5.5633 | 885 | 78.0507 | 48.4533
2019-02-26 19:00:00 | 5.9167 | 166.05 | 6.8067 | 182.4667 | 10.7133 | 19.8567 | 11.3067 | 31.2733 | 5.2433 | 885 | 79.52 | 47.7593
2019-02-26 19:15:00 | 5.76 | 230.4233 | 6.6267 | 253.2033 | 10.3667 | 15.22 | 10.9133 | 30.9233 | 4.99 | 884.4667 | 79.5427 | 45.6613
2019-02-26 19:30:00 | 5.64 | 232.6567 | 6.4867 | 255.67 | 10.2733 | 18.3333 | 11.0067 | 34.3433 | 4.8833 | 884.2 | 79.5967 | 42.792
2019-02-26 19:45:00 | 5.3333 | 277.7367 | 6.1333 | 305.2 | 9.9767 | 25.42 | 10.5533 | 29.67 | 4.65 | 885 | 80.6333 | 40.956
2019-02-26 20:00:00 | 5.2533 | 72.81 | 6.0533 | 80.0067 | 9.77 | 10.98 | 10.5867 | 32.5567 | 4.612 | 885 | 80.9667 | 36.76
2019-02-26 20:15:00 | 4.88 | 278.8033 | 5.6167 | 306.3667 | 9.2033 | 8.13 | 9.9567 | 29.3433 | 4.6013 | 885 | 81.1667 | 40.704
2019-02-26 20:30:00 | 5.38 | 278.8033 | 6.1967 | 306.3667 | 10.0767 | 17.03 | 10.53 | 27.35 | 4.5433 | 885.2 | 81.1667 | 46.908
2019-02-26 20:45:00 | 5.8453 | 232.198 | 6.7307 | 255.156 | 10.8433 | 18.582 | 11.432 | 22.92 | 4.5727 | 886 | 80.1527 | 48.9753
2019-02-26 21:00:00 | 5.71 | 154.3733 | 6.57 | 169.6367 | 10.67 | 23.7233 | 11.5033 | 30.39 | 4.45 | 886 | 80.3333 | 44.7867
2019-02-26 21:15:00 | 4.9467 | 225.8667 | 5.6933 | 248.2 | 9.2633 | 12.29 | 10.1633 | 29.4333 | 4.5 | 886 | 78.9667 | 37.4687
2019-02-26 21:30:00 | 4.2 | 258.44 | 4.8333 | 284 | 7.8767 | 15.8567 | 8.4767 | 31.5733 | 4.4933 | 886 | 78.43 | 33.3267
2019-02-26 21:45:00 | 3.9467 | 140.3833 | 4.54 | 154.2667 | 7.0267 | 11.2133 | 6.8267 | 26.1333 | 4.5047 | 886 | 78.1533 | 32.986
2019-02-26 22:00:00 | 3.9333 | 287.75 | 4.52 | 316.2 | 6.68 | 12.3267 | 6.7533 | 33.1733 | 4.4867 | 886 | 78.4033 | 33.0867
2019-02-26 22:15:00 | 4.4167 | 87.2347 | 5.088 | 95.8553 | 7.794 | 13.5793 | 7.6613 | 27.7773 | 4.4147 | 886 | 79.06 | 29.9887
2019-02-26 22:30:00 | 4.3733 | 312.0433 | 5.0333 | 342.9 | 7.6333 | 26.27 | 7.5267 | 16.4633 | 4.38 | 886 | 79.2813 | 34.0567
2019-02-26 22:45:00 | 5.0267 | 264.6067 | 5.78 | 290.7667 | 8.98 | 11.01 | 8.9767 | 26.8467 | 4.3587 | 886 | 79.8067 | 29.67
2019-02-26 23:00:00 | 4.5 | 260.42 | 5.1733 | 286.1667 | 7.52 | 19.7833 | 7.45 | 8.8333 | 4.35 | 886.8667 | 80.4667 | 30.838
2019-02-26 23:15:00 | 4.69 | 222.07 | 5.4 | 244.0333 | 8.48 | 27.2667 | 8.2533 | 21.3267 | 4.3167 | 887 | 81.7 | 30.53
2019-02-26 23:30:00 | 3.9967 | 237.67 | 4.5933 | 261.1667 | 7.5067 | 14.3 | 7.4667 | 16.1867 | 4.1567 | 887 | 84.4333 | 26.4667
2019-02-26 23:45:00 | 3.64 | 223.4633 | 4.1867 | 245.5533 | 6.9167 | 13.8 | 6.8767 | 24.6 | 3.77 | 887 | 89.5333 | 26.9473