## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-27 00:00:00 | 3.9533 | 184.1433 | 4.5467 | 202.3533 | 7.55 | 15.0467 | 7.55 | 21.2267 | 3.4433 | 887 | 92.8 | 26.752
2019-02-27 00:15:00 | 4.4 | 188.8267 | 5.0633 | 207.5 | 7.8 | 3.9033 | 7.93 | 9.89 | 3.4133 | 887 | 92.0333 | 30.198
2019-02-27 00:30:00 | 4.8667 | 157.16 | 5.6033 | 172.7 | 8.4867 | 19.53 | 8.3633 | 23.31 | 3.32 | 887 | 93.1667 | 33.0767
2019-02-27 00:45:00 | 4.78 | 115.7833 | 5.5 | 127.22 | 8.5767 | 25.0233 | 8.44 | 37.89 | 3.0733 | 887 | 95.3667 | 33.3253
2019-02-27 01:00:00 | 4.36 | 221.8633 | 5.02 | 243.8 | 8.1567 | 11.55 | 8.4 | 24.4967 | 2.8933 | 887 | 97.1667 | 35.726
2019-02-27 01:15:00 | 4.14 | 112.5733 | 4.7767 | 123.7067 | 7.9767 | 19.9367 | 8.1267 | 23.02 | 2.7433 | 887 | 98.4667 | 34.69
2019-02-27 01:30:00 | 4.1733 | 272.8267 | 4.8033 | 299.8 | 7.5567 | 8.73 | 7.78 | 15.7133 | 2.63 | 886.8 | 99 | 35.7047
2019-02-27 01:45:00 | 4.5567 | 211.87 | 5.24 | 232.8167 | 7.72 | 18.5633 | 7.6967 | 22.4467 | 2.5233 | 886 | 99.4667 | 34.1227
2019-02-27 02:00:00 | 4.57 | 214.6567 | 5.2533 | 235.8833 | 7.5867 | 18.03 | 7.5967 | 21.38 | 2.47 | 886 | 99.62 | 34.4567
2019-02-27 02:15:00 | 4.6867 | 307.9233 | 5.3867 | 338.3667 | 7.94 | 14.5 | 7.9533 | 12.1833 | 2.4033 | 886 | 99.7533 | 34.9353
2019-02-27 02:30:00 | 4.7133 | 308.17 | 5.42 | 338.6333 | 7.5267 | 243.2533 | 7.36 | 12.8767 | 2.3967 | 886 | 99.9067 | 36.4613
2019-02-27 02:45:00 | 4.4633 | 83.7533 | 5.13 | 92.0333 | 7.68 | 126.4933 | 7.62 | 14.7533 | 2.3967 | 886 | 100 | 37.5053
2019-02-27 03:00:00 | 4.6767 | 288.4067 | 5.3767 | 316.9333 | 7.7533 | 132.7533 | 7.6867 | 8.58 | 2.3967 | 886 | 100 | 38.1207
2019-02-27 03:15:00 | 5.02 | 199.9667 | 5.77 | 219.7433 | 8.15 | 13.6367 | 7.8533 | 15.5667 | 2.3633 | 886 | 100 | 39.064
2019-02-27 03:30:00 | 4.678 | 37.3733 | 5.39 | 41.0633 | 7.95 | 16.9633 | 7.6133 | 14.06 | 2.3367 | 886 | 100 | 38.0587
2019-02-27 03:45:00 | 4.6067 | 184.83 | 5.3033 | 203.1033 | 7.6933 | 15.8467 | 7.8533 | 19.56 | 2.3133 | 886 | 100 | 38.68
2019-02-27 04:00:00 | 4.06 | 155.1633 | 4.67 | 170.5033 | 7.1467 | 12.4733 | 7.3133 | 18.6333 | 2.2933 | 885.1333 | 100 | 34.4947
2019-02-27 04:15:00 | 4.784 | 26.66 | 5.504 | 29.284 | 8.346 | 95.588 | 8.454 | 21.306 | 2.278 | 885 | 100 | 38.3333
2019-02-27 04:30:00 | 5.1467 | 154.2467 | 5.9267 | 169.5 | 9.4633 | 131 | 9.6633 | 22.8367 | 2.2767 | 885 | 100 | 41.9393
2019-02-27 04:45:00 | 5.1033 | 149.9067 | 5.87 | 164.7333 | 9.5267 | 11.7567 | 10.0467 | 23.1067 | 2.2667 | 885 | 100 | 46.2467
2019-02-27 05:00:00 | 5.4233 | 46.7 | 6.2367 | 51.32 | 10.2933 | 7.6033 | 10.48 | 20.6467 | 2.22 | 885 | 100 | 47.9773
2019-02-27 05:15:00 | 5.34 | 113.2167 | 6.15 | 124.4067 | 10.19 | 16.8167 | 10.34 | 18.22 | 2.1767 | 885 | 100 | 48.98
2019-02-27 05:30:00 | 5.424 | 273.978 | 6.246 | 301.06 | 10.098 | 16.786 | 10.1887 | 26.12 | 2.134 | 884.8 | 100 | 48.9433
2019-02-27 05:45:00 | 6.52 | 126.2567 | 7.5 | 138.74 | 10.9267 | 10.1133 | 10.8 | 13.9467 | 2.1147 | 884 | 100 | 49.368
2019-02-27 06:00:00 | 6.2933 | 129.15 | 7.2467 | 141.92 | 10.0067 | 229.28 | 10.34 | 239.9 | 2.1633 | 884 | 100 | 48.9973
2019-02-27 06:15:00 | 5.9933 | 18.04 | 6.9 | 19.8167 | 9.4333 | 16.0933 | 9.4233 | 5.87 | 2.17 | 884 | 99.8 | 46.986
2019-02-27 06:30:00 | 5.93 | 30.426 | 6.8213 | 33.4333 | 9.504 | 14.04 | 9.4767 | 14.514 | 2.116 | 884 | 99.1667 | 47.9213
2019-02-27 06:45:00 | 6.1467 | 135.5433 | 7.0667 | 148.9467 | 10.0767 | 21.13 | 9.62 | 18.9567 | 2.0533 | 884.5333 | 98.5 | 48.7207
2019-02-27 07:00:00 | 6.72 | 105.7633 | 7.7333 | 116.22 | 11.3633 | 13.93 | 11.3 | 20.45 | 2.0933 | 885 | 98.1467 | 50.802
2019-02-27 07:15:00 | 6.2933 | 6.04 | 7.24 | 6.63 | 11.1467 | 8.85 | 11.09 | 4.87 | 2.0533 | 885 | 97.7667 | 49.592
2019-02-27 07:30:00 | 6.0333 | 205.1733 | 6.94 | 225.4567 | 11.0133 | 9.3367 | 11.07 | 12.87 | 1.9867 | 885 | 98.2333 | 49.6367
2019-02-27 07:45:00 | 6.5667 | 45.65 | 7.5533 | 50.16 | 11.3233 | 17.73 | 11.3113 | 16.77 | 1.9567 | 885 | 97.8 | 49.992
2019-02-27 08:00:00 | 6.6333 | 84.2033 | 7.6267 | 92.5333 | 11.848 | 14.3567 | 11.8267 | 16.77 | 2.0367 | 885 | 96.8 | 50.216
2019-02-27 08:15:00 | 6.2267 | 120.15 | 7.1633 | 132.03 | 11.2333 | 11.9 | 11.2267 | 21.9667 | 2.13 | 885 | 96.3867 | 49.9693
2019-02-27 08:30:00 | 6.3267 | 157.83 | 7.2833 | 173.43 | 11.2 | 11.1067 | 11.2 | 21.82 | 2.69 | 885.2 | 95.1667 | 46.9153
2019-02-27 08:45:00 | 5.9833 | 140.4467 | 6.8933 | 154.33 | 10.1567 | 7.9167 | 9.8967 | 10.76 | 3.6233 | 886 | 92.2 | 42.332
2019-02-27 09:00:00 | 5.9433 | 104.2867 | 6.8467 | 114.5967 | 10.4567 | 3.2433 | 10.1033 | 6.6067 | 4.4033 | 886.2 | 88.6 | 41.9967
2019-02-27 09:15:00 | 5.94 | 9.4733 | 6.8367 | 10.41 | 10.4067 | 14.87 | 10.15 | 20.3267 | 4.6433 | 887 | 86.2667 | 39.078
2019-02-27 09:30:00 | 5.68 | 2.5133 | 6.53 | 2.7567 | 9.8267 | 17.35 | 9.59 | 14.8333 | 5.1967 | 887 | 84.8667 | 36.2393
2019-02-27 09:45:00 | 6.13 | 318.0267 | 7.05 | 349.4667 | 10.5167 | 29.4433 | 10.25 | 21.08 | 6.1467 | 887 | 80.2667 | 38.0267
2019-02-27 10:00:00 | 6.276 | 130.266 | 7.222 | 143.14 | 10.912 | 18.446 | 10.46 | 22.836 | 6.584 | 887.8667 | 78.348 | 36.014
2019-02-27 10:15:00 | 5.9933 | 167.0467 | 6.9 | 183.5667 | 10.3667 | 18.6933 | 10.0033 | 14.4567 | 7.2167 | 888 | 76.1367 | 29.0807
2019-02-27 10:30:00 | 5.7 | 270.1133 | 6.56 | 296.8333 | 9.8067 | 20.1933 | 9.3433 | 19.95 | 7.352 | 888 | 75.1967 | 29.9093
2019-02-27 10:45:00 | 5.6267 | 286.7167 | 6.4667 | 315.0667 | 9.59 | 13.1667 | 9.2533 | 11.9733 | 7.79 | 888 | 72.79 | 26.3607
2019-02-27 11:00:00 | 5.34 | 104.0433 | 6.1467 | 114.3267 | 9.3633 | 16.5733 | 9.16 | 20.5467 | 8.5233 | 888 | 70.21 | 27.0727
2019-02-27 11:15:00 | 5.2233 | 269.0333 | 6.02 | 295.6333 | 9.0767 | 21.7567 | 8.8967 | 25.9633 | 8.43 | 888 | 69.4267 | 24.6207
2019-02-27 11:30:00 | 5.05 | 104.9 | 5.8133 | 115.2733 | 8.77 | 9.41 | 8.5367 | 29.2367 | 8.5413 | 888 | 68.9 | 25.1333
2019-02-27 11:45:00 | 5.3533 | 248.1933 | 6.1633 | 272.7333 | 9.5867 | 11.3167 | 9.2633 | 128.4533 | 9.0467 | 888 | 66.65 | 25.1827
2019-02-27 12:00:00 | 5.42 | 267.9667 | 6.2367 | 294.4667 | 9.48 | 12.8567 | 9.3767 | 134.2867 | 9.18 | 888 | 65.65 | 26.128
2019-02-27 12:15:00 | 5.5467 | 219.0167 | 6.3767 | 240.6667 | 9.6167 | 12.55 | 9.4333 | 22.34 | 9.57 | 888 | 63.67 | 27.1573
2019-02-27 12:30:00 | 5.4667 | 88.41 | 6.2967 | 97.1533 | 9.672 | 11.1433 | 9.382 | 22.7267 | 9.7433 | 887.8 | 62.2767 | 26.718
2019-02-27 12:45:00 | 5.396 | 22.4347 | 6.2087 | 24.6553 | 9.5193 | 5.9673 | 9.1573 | 26.584 | 10.228 | 887 | 60.682 | 21.3687
2019-02-27 13:00:00 | 5.2733 | 32.14 | 6.07 | 35.3167 | 8.8033 | 8.9567 | 8.5533 | 30.04 | 10.46 | 887 | 59.67 | 20.7987
2019-02-27 13:15:00 | 5 | 114.1833 | 5.75 | 125.4667 | 7.9767 | 15.71 | 7.52 | 22.8833 | 10.3067 | 887 | 59 | 19.132
2019-02-27 13:30:00 | 4.78 | 307.2767 | 5.5033 | 337.6667 | 7.6567 | 15.8833 | 7.2533 | 25.5433 | 10.54 | 887 | 57.74 | 17.4133
2019-02-27 13:45:00 | 4.68 | 120.7933 | 5.3967 | 132.7267 | 7.2667 | 9.4433 | 6.7967 | 22.3567 | 10.7767 | 887 | 56.4033 | 17.4447
2019-02-27 14:00:00 | 4.4933 | 300.7067 | 5.1833 | 330.4333 | 7.0667 | 16.25 | 6.6767 | 21.87 | 11.2433 | 887 | 53.9633 | 13.6627
2019-02-27 14:15:00 | 4.1 | 24.4767 | 4.7167 | 26.8933 | 6.66 | 25.1133 | 6.33 | 28.91 | 10.48 | 887 | 55.2533 | 9.9753
2019-02-27 14:30:00 | 4.3933 | 210.8367 | 5.0567 | 231.68 | 6.7733 | 10.7933 | 6.39 | 26.9967 | 11.2667 | 887 | 52.9067 | 8.5687
2019-02-27 14:45:00 | 4.07 | 16.94 | 4.69 | 18.6167 | 6.3667 | 21.49 | 6.1767 | 29.7533 | 11.7467 | 887 | 50.8033 | 8.7733
2019-02-27 15:00:00 | 3.5233 | 19.5533 | 4.0567 | 21.4833 | 5.9133 | 26.37 | 5.4567 | 27.24 | 10.5933 | 887 | 53.97 | 10.1613
2019-02-27 15:15:00 | 3.37 | 29.4067 | 3.8767 | 32.3067 | 5.7233 | 15.9133 | 5.7567 | 29.03 | 9.9933 | 886.4667 | 56.2533 | 10.7933
2019-02-27 15:30:00 | 3.89 | 224.5667 | 4.4767 | 246.7667 | 6.8633 | 19.6867 | 6.91 | 30.49 | 9.9533 | 886 | 57 | 14.4327
2019-02-27 15:45:00 | 3.9933 | 114.74 | 4.59 | 126.08 | 6.95 | 12.62 | 6.5633 | 26.2133 | 10.26 | 886 | 56.52 | 14.986
2019-02-27 16:00:00 | 4.0733 | 108.3467 | 4.6833 | 119.0533 | 7.3433 | 10.9533 | 7.15 | 19.9467 | 10.58 | 886 | 55.1867 | 11.62
2019-02-27 16:15:00 | 3.7733 | 24.6667 | 4.35 | 27.1067 | 6.6467 | 19.6033 | 6.6767 | 26.4633 | 11.3067 | 886 | 52.62 | 10.84
2019-02-27 16:30:00 | 3.8133 | 13.0533 | 4.3967 | 14.34 | 6.78 | 29.83 | 6.59 | 29.45 | 10.28 | 886 | 54.6467 | 9.4493
2019-02-27 16:45:00 | 3.66 | 295.3867 | 4.2067 | 324.6 | 6.5467 | 16.7933 | 6.41 | 29.08 | 9.7 | 885.4667 | 56.3767 | 4.9807
2019-02-27 17:00:00 | 3.116 | 136.608 | 3.582 | 150.112 | 5.836 | 22.486 | 5.706 | 29.024 | 9.512 | 885.2 | 57.318 | 3.2267
2019-02-27 17:15:00 | 2.67 | 116.2267 | 3.07 | 127.7133 | 5.1433 | 14.5 | 4.92 | 18.84 | 9.18 | 886 | 58.6667 | 3.712
2019-02-27 17:30:00 | 2.7433 | 145.24 | 3.1633 | 159.6 | 5.0233 | 10.6467 | 4.7133 | 15.1467 | 8.9067 | 885.1333 | 59.86 | 3.5213
2019-02-27 17:45:00 | 2.8267 | 278.22 | 3.25 | 305.7333 | 5.2133 | 23.9333 | 5.2633 | 29.7267 | 8.6433 | 885 | 61.3 | 5.932
2019-02-27 18:00:00 | 3 | 236.912 | 3.448 | 260.34 | 5.82 | 15.306 | 5.82 | 32.066 | 8.374 | 885.6667 | 63.24 | 9.1713
2019-02-27 18:15:00 | 3.1133 | 257.9567 | 3.5833 | 283.4667 | 5.9033 | 13.3267 | 6.0867 | 29.63 | 7.99 | 885 | 64.26 | 11.754
2019-02-27 18:30:00 | 3.3 | 117.23 | 3.7967 | 128.82 | 6.0633 | 24.1 | 6.3067 | 37.5233 | 7.7767 | 885.2 | 64.532 | 15.3693
2019-02-27 18:45:00 | 3.7333 | 233.57 | 4.3 | 256.6667 | 7.1567 | 23.3233 | 7.4233 | 31.5 | 7.5667 | 885.4667 | 66.2033 | 18.6487
2019-02-27 19:00:00 | 3.8 | 221.3167 | 4.38 | 243.2 | 7.37 | 131.9967 | 7.6833 | 34.14 | 7.3467 | 885 | 67.2767 | 17.9527
2019-02-27 19:15:00 | 3.7 | 213.16 | 4.26 | 234.2333 | 7.0633 | 14.7733 | 7.23 | 30.2033 | 7.07 | 885.5333 | 68.22 | 17.3787
2019-02-27 19:30:00 | 3.4067 | 87.24 | 3.92 | 95.8667 | 6.49 | 235.7133 | 7.1033 | 27.6433 | 6.9633 | 886 | 68.5067 | 16.2673
2019-02-27 19:45:00 | 3.712 | 58.3887 | 4.2707 | 64.156 | 6.8913 | 64.4467 | 7.1507 | 20.288 | 6.7933 | 886 | 69.4513 | 20.1853
2019-02-27 20:00:00 | 4.4867 | 169.6833 | 5.16 | 186.4667 | 7.9233 | 11.4467 | 7.9133 | 17.38 | 6.72 | 886 | 69.42 | 19.976
2019-02-27 20:15:00 | 4.1333 | 236.9467 | 4.7667 | 260.38 | 7.5133 | 15.6633 | 7.47 | 21.92 | 6.54 | 886 | 70.0333 | 23.1847
2019-02-27 20:30:00 | 4.7533 | 27.3933 | 5.4667 | 30.1 | 8.74 | 16.5033 | 8.5433 | 24.0067 | 6.38 | 886 | 70.84 | 27.7873
2019-02-27 20:45:00 | 5.4 | 303.5233 | 6.22 | 333.5333 | 9.4333 | 25.78 | 9.1533 | 18.4567 | 6.31 | 886.5333 | 71.0967 | 27.2787
2019-02-27 21:00:00 | 5.12 | 117.5833 | 5.8933 | 129.2067 | 9.4533 | 20.0867 | 9.34 | 14.7433 | 6.2347 | 887 | 71.9633 | 29.0793
2019-02-27 21:15:00 | 4.7967 | 7.1533 | 5.52 | 7.8533 | 8.6367 | 10.8867 | 8.7167 | 24.43 | 6.1233 | 887 | 72.71 | 29.982
2019-02-27 21:30:00 | 4.21 | 201.5867 | 4.8533 | 221.5133 | 7.81 | 9.2667 | 8.3167 | 39.8967 | 6.01 | 887 | 73.6433 | 30.1833
2019-02-27 21:45:00 | 4.32 | 199.4367 | 4.97 | 219.15 | 8.1267 | 16.7833 | 8.29 | 21.26 | 5.8333 | 887 | 74.5067 | 23.0947
2019-02-27 22:00:00 | 3.7533 | 104.6633 | 4.3167 | 115.0167 | 7.2 | 18.21 | 7.1033 | 16.5467 | 5.7533 | 887 | 74.6267 | 15.8233
2019-02-27 22:15:00 | 3.4133 | 203.6467 | 3.9367 | 223.7733 | 5.5433 | 14.9133 | 5.2533 | 15.85 | 5.7 | 887 | 74.634 | 14.9367
2019-02-27 22:30:00 | 3.4067 | 18.58 | 3.9233 | 20.4133 | 5.43 | 235.44 | 5.0867 | 22.4967 | 5.7067 | 887 | 74.47 | 11.5447
2019-02-27 22:45:00 | 2.9267 | 0.12333 | 3.3633 | 0.13 | 4.9633 | 21.3333 | 4.7467 | 25.1933 | 5.5933 | 887 | 75.51 | 5.638
2019-02-27 23:00:00 | 1.7133 | 208.95 | 1.97 | 229.6167 | 3.0967 | 7.36 | 3.0733 | 13.26 | 5.5267 | 887 | 75.7007 | 0
2019-02-27 23:15:00 | 1.4133 | 215.6233 | 1.6233 | 236.95 | 2.5 | 17.98 | 2.35 | 23.6067 | 5.2867 | 887 | 76.2373 | 1.0607
2019-02-27 23:30:00 | 2.4667 | 19.1967 | 2.8367 | 21.09 | 4.7467 | 233.7067 | 4.43 | 6.86 | 4.8133 | 887 | 78.3767 | 3.4367
2019-02-27 23:45:00 | 2.614 | 122.996 | 3.0047 | 135.1553 | 3.9107 | 39.772 | 3.9707 | 20.084 | 4.5967 | 887 | 79.6607 | 2.7387