## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-28 00:00:00 | 2.4267 | 124.2167 | 2.8 | 136.4933 | 4.1933 | 8.5367 | 4.17 | 16.0233 | 4.26 | 887 | 81.3333 | 1.058
2019-02-28 00:15:00 | 2.81 | 305.0067 | 3.23 | 335.1667 | 3.78 | 10.2267 | 3.7333 | 5.9 | 4.33 | 887 | 80.6667 | 2.4253
2019-02-28 00:30:00 | 2.604 | 310.906 | 3.002 | 341.64 | 4.41 | 8.316 | 4.308 | 5.038 | 4.168 | 887 | 81.4 | 5.0793
2019-02-28 00:45:00 | 2.5533 | 289.29 | 2.9333 | 317.9 | 4.5433 | 6.83 | 4.78 | 13.1433 | 3.86 | 886.4667 | 82.5333 | 9.2213
2019-02-28 01:00:00 | 2.5933 | 301.9167 | 2.98 | 331.7667 | 4.9433 | 17.09 | 4.9467 | 28.75 | 3.6133 | 886 | 83.8 | 8.6933
2019-02-28 01:15:00 | 2.7067 | 214.81 | 3.1233 | 236.0433 | 4.7567 | 14.4967 | 4.8533 | 23.64 | 3.69 | 886 | 83.6 | 9.7547
2019-02-28 01:30:00 | 2.8133 | 9.41 | 3.2433 | 10.3367 | 4.6033 | 10.4767 | 4.8933 | 23.4133 | 3.95 | 886 | 82.4 | 10.774
2019-02-28 01:45:00 | 2.95 | 7.13 | 3.3933 | 7.83 | 4.9767 | 5.1533 | 5.1567 | 19.06 | 4.1267 | 886 | 82.0467 | 10.5613
2019-02-28 02:00:00 | 2.8033 | 216.5967 | 3.22 | 238.0167 | 4.5633 | 5.8333 | 4.67 | 14.0333 | 4.1733 | 886 | 82.1333 | 7.67
2019-02-28 02:15:00 | 2.82 | 108.0467 | 3.2433 | 118.7267 | 5.01 | 238.2 | 4.7867 | 12.86 | 4.1533 | 886 | 82.3333 | 6.2773
2019-02-28 02:30:00 | 2.4867 | 126.42 | 2.8633 | 138.9267 | 4.63 | 7.68 | 4.6733 | 10.04 | 4.1067 | 886 | 82.62 | 7.2947
2019-02-28 02:45:00 | 2.8833 | 229.5167 | 3.3267 | 252.2167 | 4.9533 | 236.63 | 5.0333 | 121.7067 | 4.0333 | 885.4667 | 83.2 | 6.93
2019-02-28 03:00:00 | 2.6433 | 200.59 | 3.04 | 220.4167 | 4.9 | 238.2967 | 4.8933 | 120.4733 | 3.96 | 885 | 83.6667 | 6.9787
2019-02-28 03:15:00 | 2.5633 | 28.5333 | 2.9467 | 31.3567 | 4.54 | 239.9967 | 4.31 | 9.76 | 3.8867 | 885 | 84.2 | 6.2193
2019-02-28 03:30:00 | 2.6233 | 19.0533 | 3.02 | 20.93 | 4.4533 | 238.5233 | 4.2967 | 11.9533 | 3.8333 | 885 | 84.4867 | 7.3473
2019-02-28 03:45:00 | 2.78 | 315.942 | 3.2 | 347.1867 | 4.396 | 11.618 | 4.292 | 11.354 | 3.7593 | 885 | 84.8 | 5.5307
2019-02-28 04:00:00 | 2.86 | 323.72 | 3.3 | 355.7333 | 4.13 | 233.6533 | 3.9967 | 17.1667 | 3.7233 | 885 | 84.8867 | 4.5907
2019-02-28 04:15:00 | 2.492 | 214.8007 | 2.8727 | 236.04 | 4.2787 | 165.3653 | 4.048 | 8.2387 | 3.6807 | 884.4667 | 85.4333 | 3.5287
2019-02-28 04:30:00 | 2.52 | 29.9767 | 2.9033 | 32.94 | 4.0467 | 352.6667 | 3.9067 | 2.2733 | 3.67 | 884.8667 | 85.4333 | 4.938
2019-02-28 04:45:00 | 2.6967 | 225.5 | 3.1033 | 247.7933 | 4.58 | 121.2867 | 4.5167 | 11.76 | 3.7033 | 884.4667 | 85.1 | 9.5733
2019-02-28 05:00:00 | 2.962 | 73.8547 | 3.406 | 81.1507 | 4.94 | 340.58 | 4.9247 | 14.6373 | 3.658 | 884 | 85.2267 | 6.2073
2019-02-28 05:15:00 | 3.0533 | 202.94 | 3.5167 | 223.0133 | 5.2633 | 354.8667 | 5.1167 | 10.14 | 3.57 | 884 | 85.8333 | 5.9373
2019-02-28 05:30:00 | 3.0133 | 16.4267 | 3.4767 | 18.0467 | 5.0767 | 355.54 | 5.0367 | 6.1867 | 3.53 | 884 | 86.1 | 4.282
2019-02-28 05:45:00 | 2.94 | 227.06 | 3.3867 | 249.5133 | 5.1833 | 4.28 | 5.0867 | 9.1767 | 3.61 | 884 | 85.6 | 5.12
2019-02-28 06:00:00 | 2.9133 | 206.0667 | 3.3533 | 226.4467 | 5.0633 | 3.4667 | 5.1533 | 3.5833 | 3.6767 | 884 | 85.1333 | 7.1987
2019-02-28 06:15:00 | 3.2133 | 15.96 | 3.6967 | 17.5333 | 5.1613 | 7.7833 | 5.17 | 9.9733 | 3.7533 | 884 | 84.5 | 8.5073
2019-02-28 06:30:00 | 3.2267 | 18.5467 | 3.7167 | 20.3733 | 5.57 | 19.7967 | 5.69 | 24.4133 | 3.72 | 884 | 84.7667 | 9.6573
2019-02-28 06:45:00 | 3.1 | 5.4033 | 3.5633 | 5.9333 | 5.4267 | 14.2533 | 5.7467 | 17.7667 | 3.61 | 884 | 85.5 | 7.2307
2019-02-28 07:00:00 | 3.0733 | 11.39 | 3.5367 | 12.52 | 4.9067 | 22.1 | 5.14 | 18.06 | 3.5567 | 884 | 85.9 | 3.388
2019-02-28 07:15:00 | 2.51 | 309.6133 | 2.8867 | 340.2333 | 3.97 | 237.4467 | 4.0867 | 6.0933 | 3.5867 | 884 | 85.6 | 1.1867
2019-02-28 07:30:00 | 2.5033 | 93.1267 | 2.88 | 102.3333 | 3.7033 | 1.8 | 3.68 | 238.1867 | 3.64 | 884.8667 | 85.2867 | 1.2233
2019-02-28 07:45:00 | 2.6933 | 2.9867 | 3.1 | 3.2833 | 3.6667 | 7.1367 | 3.5853 | 4.49 | 3.73 | 884.4667 | 84.7 | 1.8313
2019-02-28 08:00:00 | 2.94 | 13.3933 | 3.38 | 14.7167 | 3.9267 | 43.97 | 3.77 | 13.7633 | 3.7767 | 884 | 84.32 | 2.5033
2019-02-28 08:15:00 | 3.3167 | 5.6633 | 3.8133 | 6.2167 | 4.34 | 238.8333 | 4.15 | 9.3233 | 3.68 | 884 | 85.4667 | 2.7093
2019-02-28 08:30:00 | 3.0567 | 15.3633 | 3.5133 | 16.87 | 4.0467 | 21.8533 | 4.0033 | 16.1633 | 3.62 | 884.2 | 86.2667 | 2.7907
2019-02-28 08:45:00 | 3.23 | 9.8333 | 3.7267 | 10.8033 | 4.24 | 9.6067 | 4.3067 | 17.64 | 3.62 | 885 | 86.4 | 3.452
2019-02-28 09:00:00 | 3.35 | 6.7667 | 3.8533 | 7.4367 | 4.4867 | 238.7533 | 4.2333 | 7.38 | 3.68 | 885 | 86.2933 | 3.7747
2019-02-28 09:15:00 | 3.1933 | 26.2573 | 3.6727 | 28.8473 | 4.8327 | 274.2667 | 4.572 | 12.6127 | 3.768 | 885 | 86.4533 | 5.7287
2019-02-28 09:30:00 | 3.23 | 11.68 | 3.7133 | 12.8333 | 5.56 | 19.8567 | 5.3733 | 17.0033 | 3.8167 | 885 | 86.6 | 6.896
2019-02-28 09:45:00 | 3.656 | 301.852 | 4.202 | 331.7 | 5.808 | 2.726 | 5.7413 | 13.8667 | 3.8387 | 885 | 86.6267 | 8.672
2019-02-28 10:00:00 | 3.6733 | 307.3667 | 4.2233 | 337.7667 | 6.1633 | 5.7067 | 6.08 | 11.98 | 3.78 | 885 | 87.2 | 10.136
2019-02-28 10:15:00 | 4.1333 | 104.7833 | 4.7567 | 115.14 | 5.7367 | 5.1467 | 5.8933 | 10.28 | 3.7267 | 885 | 87.4533 | 9.71
2019-02-28 10:30:00 | 4.5667 | 115.75 | 5.25 | 127.2 | 6.61 | 240 | 6.46 | 3.32 | 3.7333 | 885 | 87.3867 | 14.194
2019-02-28 10:45:00 | 4.0767 | 20.6467 | 4.6867 | 22.6867 | 6.7333 | 1.8667 | 6.6787 | 12.2733 | 3.89 | 885 | 86.9667 | 13.6607
2019-02-28 11:00:00 | 3.65 | 201.7933 | 4.1933 | 221.7533 | 6.68 | 234.8333 | 6.4567 | 12.48 | 4.09 | 885 | 86.0333 | 10.4047
2019-02-28 11:15:00 | 3.7767 | 195.8133 | 4.3433 | 215.1733 | 6.1667 | 236.05 | 5.87 | 126.6467 | 4.0833 | 885 | 85.7667 | 10.368
2019-02-28 11:30:00 | 3.7167 | 215.2267 | 4.2767 | 236.5067 | 5.9133 | 1.41 | 5.8033 | 119.0133 | 4.1833 | 885 | 85.5667 | 10.0467
2019-02-28 11:45:00 | 3.76 | 313.2033 | 4.3233 | 344.1667 | 6.1 | 6.2333 | 5.9067 | 12.92 | 4.5567 | 885 | 84.2 | 13.2447
2019-02-28 12:00:00 | 4.0667 | 311.6833 | 4.6767 | 342.5 | 6.6133 | 10.4333 | 6.46 | 18.2733 | 4.85 | 885 | 82.8 | 13.8887
2019-02-28 12:15:00 | 4.3033 | 97.8367 | 4.95 | 107.5 | 6.6967 | 16.64 | 6.2233 | 11.1133 | 5.0767 | 885 | 81.5333 | 11.0753
2019-02-28 12:30:00 | 4.1433 | 297.6967 | 4.77 | 327.1333 | 6.8033 | 19.4133 | 6.2367 | 25.3133 | 5.15 | 885 | 81.22 | 12.1807
2019-02-28 12:45:00 | 4.02 | 115.0433 | 4.62 | 126.42 | 6.8967 | 14.6633 | 6.4267 | 15.8233 | 5.21 | 885 | 80.8667 | 8.3893
2019-02-28 13:00:00 | 3.5133 | 263.3367 | 4.0467 | 289.3667 | 5.8567 | 23.6633 | 5.1867 | 22.47 | 5.21 | 885 | 80.7333 | 5.248
2019-02-28 13:15:00 | 3.06 | 187.74 | 3.52 | 206.3 | 5.3833 | 19.37 | 5.1333 | 19.52 | 5.37 | 885 | 80.6867 | 4.9427
2019-02-28 13:30:00 | 2.9 | 183.9133 | 3.3333 | 202.1 | 5.2633 | 17.5233 | 5.0133 | 16.84 | 5.55 | 884.1333 | 80.2667 | 4.5033
2019-02-28 13:45:00 | 3.0533 | 32.9567 | 3.51 | 36.2067 | 5.23 | 19.47 | 4.9367 | 14.93 | 5.73 | 884 | 79.3433 | 4.908
2019-02-28 14:00:00 | 3.1267 | 215.7367 | 3.5967 | 237.0733 | 5.15 | 8.5633 | 4.6567 | 18.2833 | 5.69 | 884 | 79.3967 | 4.7927
2019-02-28 14:15:00 | 3.1133 | 16.66 | 3.5833 | 18.3033 | 5.1733 | 26.56 | 4.5867 | 18.48 | 5.7533 | 884 | 78.9133 | 5.756
2019-02-28 14:30:00 | 3.4467 | 11.66 | 3.9633 | 12.81 | 5.7467 | 20.7867 | 5.32 | 20.7667 | 5.78 | 883.1333 | 78.9933 | 8.9133
2019-02-28 14:45:00 | 3.7967 | 105.33 | 4.3733 | 115.74 | 6.1567 | 17.13 | 5.8533 | 13.3133 | 5.84 | 883 | 78.8467 | 11.404
2019-02-28 15:00:00 | 3.89 | 300.8233 | 4.48 | 330.5667 | 6.49 | 25.5567 | 6.1067 | 36.1867 | 5.84 | 883 | 78.96 | 9.4133
2019-02-28 15:15:00 | 3.64 | 16.69 | 4.19 | 18.3333 | 5.8567 | 16.4633 | 5.4767 | 17.5733 | 5.7967 | 883 | 79.45 | 9.0773
2019-02-28 15:30:00 | 3.8133 | 220.6567 | 4.3833 | 242.48 | 6.2233 | 22.43 | 5.8367 | 23.6333 | 5.7567 | 882.8 | 79.758 | 9.198
2019-02-28 15:45:00 | 3.4233 | 288.11 | 3.9333 | 316.6 | 5.8933 | 49.04 | 5.6133 | 10.4233 | 5.62 | 882 | 80.4 | 8.4807
2019-02-28 16:00:00 | 3.33 | 95.7033 | 3.8267 | 105.1667 | 5.5667 | 23.12 | 5.2933 | 10.8767 | 5.5267 | 882.2 | 80.8667 | 8.6027
2019-02-28 16:15:00 | 3.2667 | 298.36 | 3.76 | 327.8667 | 5.4733 | 2.6867 | 5.2333 | 1.8533 | 5.47 | 883 | 81.2667 | 8.87
2019-02-28 16:30:00 | 3.6333 | 304.8 | 4.18 | 334.9333 | 5.9333 | 9.28 | 5.78 | 5.3867 | 5.4433 | 883 | 81.42 | 10.3473
2019-02-28 16:45:00 | 3.68 | 135.63 | 4.2433 | 149.0467 | 6.4433 | 14.9467 | 6.1333 | 18.98 | 5.44 | 883 | 81.8 | 13.8447
2019-02-28 17:00:00 | 3.9267 | 203.6233 | 4.5233 | 223.7667 | 7.3033 | 13.54 | 7.0133 | 17.2733 | 5.5 | 883 | 81.7133 | 15.6147
2019-02-28 17:15:00 | 4.14 | 5.4367 | 4.7733 | 5.9633 | 7.3033 | 16.7967 | 6.98 | 22.0967 | 5.3833 | 883 | 81.9 | 14.6207
2019-02-28 17:30:00 | 4.1667 | 200.59 | 4.7933 | 220.4167 | 7.5967 | 19.23 | 7.34 | 22.05 | 5.35 | 883 | 81.8333 | 18.2987
2019-02-28 17:45:00 | 4.2367 | 6.9233 | 4.87 | 7.6 | 7.47 | 14.34 | 7.2933 | 30.84 | 5.3353 | 883 | 81.6 | 22.2867
2019-02-28 18:00:00 | 4.2367 | 37.43 | 4.8767 | 41.1267 | 7.7633 | 10.4467 | 7.5067 | 21.7933 | 5.2533 | 883 | 81.7067 | 23.8353
2019-02-28 18:15:00 | 4.32 | 317.68 | 4.97 | 349.1 | 7.32 | 9.19 | 6.93 | 20.8233 | 5.13 | 883 | 81.8467 | 23.086
2019-02-28 18:30:00 | 3.92 | 101.6067 | 4.51 | 111.6533 | 6.52 | 23.8633 | 6.0767 | 23.1233 | 5.0567 | 883 | 82.2667 | 24.2293
2019-02-28 18:45:00 | 4.1933 | 185.3033 | 4.8233 | 203.62 | 7.25 | 16.9767 | 6.96 | 17.3067 | 4.9733 | 883 | 82.7667 | 21.1313
2019-02-28 19:00:00 | 3.68 | 171.41 | 4.23 | 188.3533 | 6.5967 | 18.97 | 6.4733 | 19.8 | 4.9067 | 883 | 83.1 | 21.782
2019-02-28 19:15:00 | 3.8067 | 28.8233 | 4.3833 | 31.6633 | 6.5 | 26.2533 | 5.95 | 30.1133 | 4.83 | 883 | 83.5333 | 25.208
2019-02-28 19:30:00 | 4.06 | 210.83 | 4.67 | 231.6833 | 6.9933 | 19.6733 | 6.7233 | 24.2467 | 4.812 | 883 | 83.5333 | 26.7493
2019-02-28 19:45:00 | 4.52 | 88.62 | 5.2033 | 97.38 | 7.1933 | 34.8767 | 7 | 22.6333 | 4.8013 | 883 | 83.5533 | 26.4487
2019-02-28 20:00:00 | 4.3733 | 98.3067 | 5.0367 | 108.02 | 6.8133 | 25.9233 | 6.6533 | 14.12 | 4.812 | 883 | 83.2 | 22.3473
2019-02-28 20:15:00 | 4.1633 | 13.15 | 4.7867 | 14.4467 | 6.54 | 250.75 | 6.4333 | 24.63 | 4.8133 | 883 | 82.92 | 26.5473
2019-02-28 20:30:00 | 4.3367 | 6.4767 | 4.9933 | 7.1133 | 6.92 | 33.5833 | 6.8067 | 236.9833 | 4.82 | 883 | 82.48 | 30.8867
2019-02-28 20:45:00 | 4.8933 | 284.1067 | 5.64 | 312.2 | 8.12 | 10.6767 | 7.8467 | 19.18 | 4.8133 | 883 | 81.8667 | 29.0167
2019-02-28 21:00:00 | 4.76 | 128.4933 | 5.4867 | 141.1933 | 8.2047 | 15.7633 | 8.0533 | 11.2667 | 4.8267 | 883.2 | 81.2 | 31.952
2019-02-28 21:15:00 | 4.7013 | 305.496 | 5.4093 | 335.7133 | 8.2367 | 17.9133 | 8.1107 | 13.3953 | 4.8 | 884 | 80.8133 | 33.2567
2019-02-28 21:30:00 | 4.6333 | 131.89 | 5.3433 | 144.9333 | 8.24 | 13.6633 | 7.88 | 24.0467 | 4.7867 | 884 | 80.32 | 30.5253
2019-02-28 21:45:00 | 4.1033 | 318.2 | 4.7233 | 349.6667 | 6.7533 | 9.77 | 6.5167 | 241.94 | 4.7733 | 884 | 80 | 30.0627
2019-02-28 22:00:00 | 4.3033 | 115.9 | 4.95 | 127.3533 | 6.8867 | 243.1433 | 6.7433 | 17.3733 | 4.7733 | 884 | 79.66 | 30.7087
2019-02-28 22:15:00 | 4.6507 | 6.0047 | 5.3527 | 6.588 | 7.182 | 9.9493 | 7.1033 | 19.476 | 4.7987 | 884 | 78.93 | 30.614
2019-02-28 22:30:00 | 4.7867 | 31.03 | 5.5167 | 34.0867 | 7.75 | 18.5467 | 7.35 | 10.7267 | 4.78 | 884 | 78.842 | 30.916
2019-02-28 22:45:00 | 4.6333 | 314.57 | 5.34 | 345.6667 | 7.67 | 19.61 | 7.4 | 26.45 | 4.7313 | 884 | 79.66 | 30.8007
2019-02-28 23:00:00 | 4.1667 | 104.9967 | 4.7933 | 115.3733 | 7.4633 | 24.8167 | 7.1733 | 9.49 | 4.4733 | 884 | 83.0667 | 30.868
2019-02-28 23:15:00 | 4.6667 | 298.22 | 5.37 | 327.7 | 7.2667 | 30.16 | 7.0633 | 12.2567 | 3.89 | 884 | 89.8667 | 32.1113
2019-02-28 23:30:00 | 4.6613 | 305.432 | 5.366 | 335.64 | 7.4973 | 206.54 | 7.194 | 7.6647 | 3.558 | 884 | 92.9733 | 35.7847
2019-02-28 23:45:00 | 4.6533 | 59.08 | 5.3533 | 64.9233 | 7.922 | 13.1033 | 7.8133 | 6.83 | 3.2533 | 884 | 96.2333 | 37.118