## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-01 00:00:00 | 4.6333 | 14.8067 | 5.3333 | 16.27 | 7.3 | 11.3167 | 7.5667 | 6.17 | 3.16 | 884 | 97.2333 | 37.8753
2019-03-01 00:15:00 | 5.0267 | 59.2867 | 5.7833 | 65.14 | 8.17 | 123.4467 | 7.77 | 19.2767 | 3.0467 | 884 | 98.2667 | 36.398
2019-03-01 00:30:00 | 4.9933 | 83.7267 | 5.7433 | 92.0067 | 8.3167 | 120.5133 | 7.9033 | 13.5033 | 2.9733 | 884 | 98.8667 | 36.3407
2019-03-01 00:45:00 | 5.3067 | 114.4333 | 6.1033 | 125.75 | 7.7267 | 341.4 | 7.48 | 15.11 | 2.8433 | 884 | 99.3667 | 36.4193
2019-03-01 01:00:00 | 5.534 | 194.516 | 6.368 | 213.74 | 8.116 | 151.554 | 7.856 | 17.246 | 2.668 | 884 | 99.62 | 34.3967
2019-03-01 01:15:00 | 5.2367 | 257.2067 | 6.0233 | 282.6333 | 8.1 | 238.0633 | 7.81 | 16.5067 | 2.4967 | 884 | 99.7533 | 36.7993
2019-03-01 01:30:00 | 5.03 | 93.6333 | 5.7833 | 102.8867 | 8.7867 | 0.23 | 8.43 | 13.5067 | 2.4167 | 884 | 99.9067 | 39.7933
2019-03-01 01:45:00 | 5.6267 | 292.23 | 6.4733 | 321.1333 | 8.9567 | 116.1933 | 8.74 | 22.5267 | 2.25 | 884 | 100 | 41.602
2019-03-01 02:00:00 | 6.1467 | 94.6033 | 7.08 | 103.9533 | 9.6233 | 117.1133 | 9.4133 | 15.1467 | 2.0967 | 884 | 100 | 42.2513
2019-03-01 02:15:00 | 5.7467 | 99.5967 | 6.62 | 109.44 | 9.39 | 11.45 | 8.9667 | 23.36 | 1.9367 | 884 | 100 | 41.6893
2019-03-01 02:30:00 | 5.5 | 310.49 | 6.3267 | 341.2 | 9.33 | 5.9033 | 9.1067 | 21.12 | 1.8767 | 884 | 100 | 40.5413
2019-03-01 02:45:00 | 5.6033 | 212.0033 | 6.45 | 232.9567 | 9.6367 | 9.67 | 9.2513 | 17.0533 | 1.87 | 883.4667 | 100 | 41.7453
2019-03-01 03:00:00 | 5.4433 | 211.93 | 6.2633 | 232.89 | 9.19 | 10.21 | 8.9333 | 15.1733 | 1.8167 | 883 | 100 | 40.8493
2019-03-01 03:15:00 | 5.61 | 297.4567 | 6.4533 | 326.8667 | 8.9667 | 14.3867 | 8.83 | 10.24 | 1.7567 | 883 | 100 | 39.3887
2019-03-01 03:30:00 | 5.69 | 306.2567 | 6.54 | 336.5333 | 9.3133 | 18.5067 | 9.0367 | 18.0733 | 1.69 | 883 | 100 | 42.8067
2019-03-01 03:45:00 | 6.35 | 280.1667 | 7.31 | 307.8667 | 9.37 | 14.5333 | 9.25 | 15.0633 | 1.6967 | 883 | 100 | 43.0273
2019-03-01 04:00:00 | 5.8633 | 270.7 | 6.75 | 297.4667 | 9.29 | 11.2533 | 9.15 | 10.9167 | 1.73 | 883 | 100 | 40.2833
2019-03-01 04:15:00 | 5.71 | 91.04 | 6.57 | 100.0467 | 9.0833 | 7.3067 | 8.8567 | 17.3033 | 1.6967 | 883 | 100 | 40.7567
2019-03-01 04:30:00 | 5.4967 | 278 | 6.33 | 305.5 | 8.9833 | 16.6933 | 8.4567 | 5.5967 | 1.6833 | 883 | 100 | 40.102
2019-03-01 04:45:00 | 5.7567 | 8.47 | 6.6233 | 9.3 | 9.0733 | 24.6167 | 8.7633 | 14.2967 | 1.61 | 883 | 100 | 41.2873
2019-03-01 05:00:00 | 5.8767 | 7.95 | 6.7633 | 8.7333 | 8.3733 | 12.4033 | 8.2633 | 11.13 | 1.55 | 882.8 | 100 | 41.6087
2019-03-01 05:15:00 | 5.35 | 7.35 | 6.15 | 8.07 | 8.07 | 13.0633 | 8.06 | 8.8533 | 1.55 | 882 | 100 | 42.2207
2019-03-01 05:30:00 | 5.5947 | 7.4233 | 6.4433 | 8.15 | 7.8033 | 239.0233 | 7.8 | 10.7 | 1.5767 | 882 | 100 | 42.964
2019-03-01 05:45:00 | 5.4667 | 304.3467 | 6.2833 | 334.4333 | 8.89 | 120.54 | 8.56 | 7.59 | 1.65 | 882 | 100 | 42.478
2019-03-01 06:00:00 | 5.2267 | 96.1333 | 6.0167 | 105.64 | 9.2033 | 119.0667 | 8.9 | 4.5567 | 1.6967 | 882.8667 | 100 | 43.6847
2019-03-01 06:15:00 | 5.57 | 213.9367 | 6.4133 | 235.0967 | 8.35 | 115.2 | 8.1233 | 9.9633 | 1.7033 | 883 | 100 | 42.8387
2019-03-01 06:30:00 | 5.6633 | 5.7433 | 6.5133 | 6.31 | 8.1367 | 347.1333 | 7.87 | 10.73 | 1.6833 | 883 | 100 | 43.4107
2019-03-01 06:45:00 | 6.1467 | 219.23 | 7.07 | 240.9067 | 8.73 | 128.5333 | 8.2833 | 12.59 | 1.6567 | 882.4667 | 100 | 45.032
2019-03-01 07:00:00 | 5.7267 | 216.4433 | 6.5967 | 237.84 | 8.93 | 124.2867 | 8.43 | 6.0567 | 1.67 | 882.8667 | 100 | 44.0867
2019-03-01 07:15:00 | 5.5133 | 212.7933 | 6.34 | 233.8367 | 9.2633 | 353.2 | 9.03 | 10.3467 | 1.7233 | 883 | 100 | 42.6413
2019-03-01 07:30:00 | 5.2133 | 204.54 | 5.9933 | 224.77 | 8.5967 | 123.1667 | 8.5033 | 7.9933 | 1.77 | 883 | 100 | 41.9527
2019-03-01 07:45:00 | 5.36 | 109.2033 | 6.1733 | 120.0067 | 8.4 | 347.2 | 8.0533 | 21.6133 | 1.77 | 883 | 100 | 40.8493
2019-03-01 08:00:00 | 5.4533 | 322.6233 | 6.2733 | 354.5333 | 8.5533 | 355.0667 | 7.98 | 17.6533 | 1.7633 | 883 | 100 | 40.4773
2019-03-01 08:15:00 | 5.3527 | 47.7367 | 6.1587 | 52.4507 | 9.2187 | 2.9467 | 8.956 | 14.31 | 1.8353 | 883 | 100 | 40.1487
2019-03-01 08:30:00 | 5.1167 | 89.66 | 5.892 | 98.52 | 8.56 | 20.4933 | 8.64 | 16.8167 | 1.8767 | 883 | 100 | 39.492
2019-03-01 08:45:00 | 5.64 | 124.7 | 6.49 | 137.0267 | 9.3233 | 13.2433 | 9.2767 | 16.2433 | 1.8733 | 883.5333 | 100 | 41.1647
2019-03-01 09:00:00 | 5.9533 | 118.7333 | 6.8567 | 130.4733 | 9.5967 | 9.9033 | 9.6767 | 18.71 | 1.8733 | 884 | 100 | 42.1053
2019-03-01 09:15:00 | 5.7867 | 196.38 | 6.6667 | 215.8033 | 10.0067 | 11.2067 | 9.93 | 18.2933 | 1.9033 | 884 | 100 | 42.812
2019-03-01 09:30:00 | 5.9867 | 213.8 | 6.8867 | 234.9367 | 9.7133 | 9.76 | 9.3233 | 11.6467 | 1.93 | 884 | 100 | 42.3333
2019-03-01 09:45:00 | 6.14 | 108.2367 | 7.06 | 118.94 | 9.2467 | 11.85 | 9.1133 | 10.4167 | 2.0033 | 884 | 100 | 40.712
2019-03-01 10:00:00 | 6.0467 | 199.33 | 6.9533 | 219.0333 | 8.78 | 8.9767 | 8.6267 | 8.7367 | 2.03 | 884 | 100 | 39.9787
2019-03-01 10:15:00 | 5.68 | 40.3627 | 6.5313 | 44.3547 | 8.5147 | 122.3707 | 8.342 | 15.1167 | 2.1127 | 884 | 100 | 38.0213
2019-03-01 10:30:00 | 5.26 | 13.12 | 6.0567 | 14.42 | 8.62 | 121.0067 | 8.4833 | 10.7033 | 2.21 | 884 | 100 | 37.5947
2019-03-01 10:45:00 | 4.9467 | 260.6067 | 5.6867 | 286.3667 | 8.8 | 116.9533 | 8.6967 | 8.4133 | 2.3167 | 884 | 100 | 38.6127
2019-03-01 11:00:00 | 4.9 | 111.5133 | 5.6333 | 122.5333 | 8.742 | 125.2867 | 8.6833 | 7.4933 | 2.3567 | 884 | 100 | 38.71
2019-03-01 11:15:00 | 4.97 | 50.8667 | 5.7233 | 55.9 | 8.8233 | 236.4733 | 8.23 | 243.0067 | 2.45 | 884 | 100 | 38.6453
2019-03-01 11:30:00 | 5.0853 | 14.5333 | 5.8567 | 15.9733 | 8.3433 | 240.6733 | 8.1567 | 8.2733 | 2.55 | 884 | 100 | 35.0573
2019-03-01 11:45:00 | 5.2967 | 37.7933 | 6.0967 | 41.5233 | 7.54 | 13.42 | 7.4933 | 15.42 | 2.3567 | 884 | 100 | 35.0693
2019-03-01 12:00:00 | 5.1767 | 43.14 | 5.95 | 47.41 | 8.6 | 11.2467 | 8.3867 | 12.3267 | 2.4433 | 884 | 100 | 34.664
2019-03-01 12:15:00 | 5.1707 | 110.002 | 5.9487 | 120.8687 | 8.2207 | 12.7353 | 8.1087 | 21.8287 | 2.5553 | 884 | 100 | 36.3473
2019-03-01 12:30:00 | 5.26 | 311.3767 | 6.06 | 342.1667 | 8.33 | 23.11 | 8.1267 | 17.8567 | 2.6467 | 884 | 100 | 35.526
2019-03-01 12:45:00 | 5.05 | 13.1033 | 5.8133 | 14.4033 | 7.8967 | 21.5967 | 7.7733 | 33.2033 | 2.5667 | 884 | 100 | 34.9
2019-03-01 13:00:00 | 5.1167 | 170.2833 | 5.9 | 187.1167 | 7.97 | 12.73 | 7.72 | 26.1167 | 2.6 | 883.8 | 100 | 36.226
2019-03-01 13:15:00 | 5.14 | 0 | 5.91 | 0 | 8.31 | 1.95 | 8.23 | 19.34 | 2.65 | 883 | 100 | 36.5107
2019-03-01 13:30:00 | 4.848 | 8.5093 | 5.586 | 9.3453 | 7.862 | 14.8793 | 7.782 | 8.592 | 2.6873 | 883 | 100 | 34.268
2019-03-01 13:45:00 | 4.4667 | 3.2267 | 5.1367 | 3.5433 | 6.95 | 9.1433 | 6.8733 | 16.4267 | 2.7667 | 883 | 100 | 35.5187
2019-03-01 14:00:00 | 4.7 | 201.32 | 5.4167 | 221.23 | 7.0967 | 6.5367 | 6.96 | 16.0667 | 2.82 | 883 | 100 | 35.4913
2019-03-01 14:15:00 | 4.5 | 289.94 | 5.1767 | 318.6 | 7.5267 | 236.6 | 7.1533 | 9.4933 | 2.8667 | 882.4667 | 100 | 35.0513
2019-03-01 14:30:00 | 4.5533 | 80.18 | 5.2367 | 88.1 | 8.0267 | 236.9333 | 7.8133 | 4.6733 | 2.9 | 882 | 100 | 36.79
2019-03-01 14:45:00 | 4.52 | 109.17 | 5.2067 | 119.96 | 7.9033 | 350.7667 | 7.5667 | 27.3267 | 2.96 | 882 | 100 | 37.5827
2019-03-01 15:00:00 | 4.78 | 101.5233 | 5.5067 | 111.56 | 8.0567 | 348.9 | 7.9 | 17.6667 | 2.92 | 882 | 100 | 36.7673
2019-03-01 15:15:00 | 4.6867 | 20.3733 | 5.39 | 22.3867 | 8.16 | 20.3633 | 7.9233 | 18.4067 | 2.9333 | 882 | 100 | 36.4807
2019-03-01 15:30:00 | 4.74 | 53.7267 | 5.4567 | 59.0267 | 8.2933 | 16.0833 | 8.03 | 21.1467 | 2.96 | 882 | 100 | 35.822
2019-03-01 15:45:00 | 4.82 | 101.9333 | 5.55 | 112.0133 | 8.3567 | 11.0833 | 8.08 | 18.9067 | 2.9667 | 882 | 100 | 37.274
2019-03-01 16:00:00 | 4.9 | 123.8133 | 5.6433 | 136.0533 | 8.5233 | 12.6033 | 8.4267 | 15.0467 | 3.0267 | 882 | 100 | 38.236
2019-03-01 16:15:00 | 4.82 | 38.0133 | 5.5533 | 41.7633 | 8.5433 | 19.84 | 8.5733 | 18.5467 | 3.09 | 882 | 100 | 41.3633
2019-03-01 16:30:00 | 5.2733 | 145.7333 | 6.0733 | 160.1367 | 9.3833 | 15.28 | 9.4867 | 14.98 | 3.1233 | 882 | 100 | 41.826
2019-03-01 16:45:00 | 5.38 | 110.9567 | 6.1867 | 121.9333 | 9.68 | 20.43 | 9.8067 | 22.8267 | 3.1033 | 882 | 100 | 44.6807
2019-03-01 17:00:00 | 5.94 | 228.5367 | 6.8333 | 251.1333 | 10.2 | 12.2567 | 10.28 | 17.7867 | 3.1167 | 882 | 100 | 45.7593
2019-03-01 17:15:00 | 5.7933 | 12.1067 | 6.6633 | 13.3033 | 9.7333 | 16.4233 | 9.8933 | 14.62 | 3.1467 | 882 | 100 | 46.8413
2019-03-01 17:30:00 | 6.0333 | 29.0867 | 6.9367 | 31.9633 | 9.5733 | 5.2833 | 9.8667 | 6.2067 | 3.1067 | 882 | 100 | 46.9533
2019-03-01 17:45:00 | 5.4667 | 37.25 | 6.29 | 40.9333 | 9.49 | 17.3067 | 9.35 | 17.2867 | 3.09 | 882 | 100 | 44.8767
2019-03-01 18:00:00 | 5.312 | 67.184 | 6.11 | 73.816 | 9.19 | 20.546 | 9.1 | 24.872 | 3.122 | 882 | 100 | 45.2533
2019-03-01 18:15:00 | 5.14 | 308.0767 | 5.92 | 338.5333 | 8.5033 | 6.3233 | 8.2733 | 22.2967 | 3.1433 | 882 | 100 | 44.976
2019-03-01 18:30:00 | 4.88 | 119.2433 | 5.6133 | 131.0267 | 7.1167 | 15.4033 | 7.0667 | 4.5433 | 3.15 | 882 | 100 | 44.792
2019-03-01 18:45:00 | 5.2067 | 208.9133 | 5.9867 | 229.5733 | 8.85 | 14.4467 | 8.6433 | 18.76 | 3.15 | 882 | 100 | 43.926
2019-03-01 19:00:00 | 5.4267 | 1.6667 | 6.24 | 1.8333 | 9.0947 | 16.8467 | 9.1833 | 18.68 | 3.1453 | 882 | 100 | 45.9333
2019-03-01 19:15:00 | 5.75 | 307.68 | 6.61 | 338.1 | 9.81 | 16.88 | 10.18 | 31.3 | 3.12 | 882 | 100 | 48.844
2019-03-01 19:30:00 | 6.2453 | 257.7867 | 7.182 | 283.278 | 10.37 | 8.0813 | 10.9567 | 19.1233 | 3.0653 | 882 | 100 | 51.936
2019-03-01 19:45:00 | 7.0867 | 205.17 | 8.1567 | 225.4633 | 12.2167 | 13.3633 | 12.1067 | 20.57 | 3.0333 | 882 | 100 | 53.6167
2019-03-01 20:00:00 | 7.38 | 51.13 | 8.4967 | 56.1833 | 12.7233 | 7.6833 | 12.56 | 10.61 | 3 | 882 | 100 | 53.85
2019-03-01 20:15:00 | 6.7433 | 243.8 | 7.7533 | 267.9 | 11.1133 | 20.1067 | 11.05 | 13.15 | 2.9833 | 882.5333 | 100 | 52.0367
2019-03-01 20:30:00 | 6.2167 | 108.2533 | 7.1467 | 118.96 | 10.1333 | 13.62 | 9.6967 | 17.0567 | 2.99 | 883 | 100 | 51.74
2019-03-01 20:45:00 | 6.5267 | 122.9 | 7.5133 | 135.0467 | 11.29 | 15.1367 | 11.0567 | 10.5867 | 2.9367 | 883 | 100 | 52.9247
2019-03-01 21:00:00 | 7.2467 | 149.5 | 8.34 | 164.28 | 12.0967 | 7.5633 | 12.0033 | 14.58 | 2.8967 | 883 | 100 | 53.0547
2019-03-01 21:15:00 | 7.0433 | 247.6167 | 8.1 | 272.1 | 12.09 | 12.6333 | 11.68 | 5.9067 | 2.9 | 883 | 100 | 53.308
2019-03-01 21:30:00 | 6.8127 | 121.886 | 7.8427 | 133.9427 | 11.8087 | 14.2773 | 11.8973 | 11.6613 | 2.8893 | 883 | 100 | 53.7167
2019-03-01 21:45:00 | 6.36 | 132.96 | 7.3167 | 146.1067 | 11.13 | 6.4633 | 11.32 | 18.8867 | 2.8733 | 883 | 100 | 52.0487
2019-03-01 22:00:00 | 6.46 | 207.6333 | 7.43 | 228.1667 | 11.7367 | 8.47 | 11.9713 | 20.1533 | 2.8467 | 883 | 100 | 53.54
2019-03-01 22:15:00 | 6.8933 | 143.5067 | 7.93 | 157.7 | 12.2333 | 5.4367 | 12.5367 | 21.9333 | 2.8333 | 883 | 100 | 53.3993
2019-03-01 22:30:00 | 6.7933 | 141.2133 | 7.8233 | 155.1667 | 11.8467 | 6.01 | 12.21 | 21.2667 | 2.8667 | 883 | 100 | 53.5227
2019-03-01 22:45:00 | 6.5633 | 114.04 | 7.5467 | 125.32 | 11.92 | 14.3633 | 12.06 | 18.49 | 2.8767 | 883 | 99.9 | 53.144
2019-03-01 23:00:00 | 6.5033 | 206.0867 | 7.4867 | 226.4667 | 11.7733 | 15.2567 | 11.9067 | 20.49 | 2.9233 | 883 | 98.9667 | 53.4967
2019-03-01 23:15:00 | 6.5 | 221.7767 | 7.4733 | 243.7 | 11.9233 | 16.89 | 12.3567 | 24.8033 | 2.9367 | 883 | 97.8667 | 54.3747
2019-03-01 23:30:00 | 6.3467 | 155.8833 | 7.3 | 171.3 | 12.01 | 16.3967 | 12.29 | 21.4767 | 2.8967 | 883.2 | 97.62 | 54.622
2019-03-01 23:45:00 | 6.48 | 312.2833 | 7.4533 | 343.1667 | 12.1167 | 11.5033 | 12.2767 | 22.28 | 2.8767 | 884 | 97.5467 | 56.4393