## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-02 00:00:00 | 6.5133 | 251.9833 | 7.4867 | 276.9 | 12.27 | 14.89 | 12.6233 | 21.9067 | 2.8767 | 883.1333 | 97.32 | 56.2093
2019-03-02 00:15:00 | 6.41 | 113.18 | 7.38 | 124.3733 | 12.13 | 13.3967 | 12.1733 | 23.8767 | 2.94 | 883 | 96.3 | 54.8753
2019-03-02 00:30:00 | 6.69 | 215.8933 | 7.6933 | 237.2333 | 12.4127 | 11.0567 | 12.4067 | 21.25 | 3.0067 | 883 | 95.5667 | 54.9627
2019-03-02 00:45:00 | 7.6933 | 39.5333 | 8.85 | 43.44 | 13.3767 | 11.2 | 13.24 | 7.27 | 3.11 | 883 | 94.2333 | 55.598
2019-03-02 01:00:00 | 7.842 | 212.9133 | 9.03 | 233.9733 | 13.99 | 10.9867 | 13.7333 | 17.39 | 3.1367 | 883 | 93.7 | 56.82
2019-03-02 01:15:00 | 7.8313 | 108.18 | 9.0133 | 118.88 | 13.62 | 9.3233 | 13.3067 | 12.9867 | 3.1167 | 883 | 93.72 | 56.6453
2019-03-02 01:30:00 | 7.5333 | 102.3067 | 8.6733 | 112.4267 | 12.98 | 12.7633 | 12.82 | 14.84 | 3.1233 | 883 | 93.48 | 54.2833
2019-03-02 01:45:00 | 7.028 | 134.222 | 8.082 | 147.4893 | 12.4853 | 14.406 | 12.4767 | 20.5087 | 3.0947 | 883 | 93.4533 | 53.8653
2019-03-02 02:00:00 | 6.94 | 41.68 | 7.99 | 45.8 | 12.4667 | 15.6367 | 12.3133 | 23.3733 | 3.06 | 883 | 93.72 | 52.6087
2019-03-02 02:15:00 | 6.4933 | 97.78 | 7.4667 | 107.4467 | 11.8367 | 14.9733 | 11.67 | 18.9067 | 2.9967 | 883 | 94.3 | 49.2293
2019-03-02 02:30:00 | 5.9733 | 294.6 | 6.8667 | 323.7333 | 10.7167 | 15.8467 | 11.0167 | 27.08 | 2.9633 | 883 | 94.4333 | 48.224
2019-03-02 02:45:00 | 5.5467 | 84.9567 | 6.38 | 93.3533 | 10.24 | 20.16 | 10.6733 | 35.44 | 2.88 | 883 | 95.3 | 47.6087
2019-03-02 03:00:00 | 5.44 | 216.3567 | 6.2667 | 237.7533 | 9.9467 | 19.2733 | 10.4133 | 31.3533 | 2.8267 | 883 | 95.8333 | 46.75
2019-03-02 03:15:00 | 5.19 | 298.03 | 5.9733 | 327.5 | 9.4867 | 21.55 | 9.8667 | 23.11 | 2.78 | 883 | 96.2 | 46.8607
2019-03-02 03:30:00 | 5.4833 | 129.5567 | 6.3067 | 142.36 | 10.1067 | 15.03 | 10.3467 | 24.0033 | 2.8 | 883 | 96.0867 | 44.6107
2019-03-02 03:45:00 | 5.64 | 127.68 | 6.4933 | 140.3067 | 10.54 | 12.96 | 10.8033 | 25.9033 | 2.8733 | 883 | 95.2333 | 44.4673
2019-03-02 04:00:00 | 5.3133 | 43.9667 | 6.1067 | 48.3067 | 10.0467 | 15.26 | 10.1367 | 29.1833 | 2.9 | 883 | 94.9 | 41.0327
2019-03-02 04:15:00 | 5.0433 | 269.3567 | 5.81 | 296 | 9.15 | 17.3167 | 9.5367 | 25.568 | 2.9 | 883 | 94.7467 | 39.4727
2019-03-02 04:30:00 | 4.9833 | 300.49 | 5.73 | 330.2 | 9.2767 | 14.35 | 9.41 | 22.1533 | 2.88 | 883 | 94.7 | 41.1347
2019-03-02 04:45:00 | 5.8167 | 112.9 | 6.69 | 124.06 | 10.7133 | 13.1533 | 10.62 | 22.72 | 2.8167 | 883 | 95.1667 | 42.878
2019-03-02 05:00:00 | 5.7367 | 309.7933 | 6.5967 | 340.4333 | 10.8533 | 15.4067 | 11.04 | 24.18 | 2.75 | 882.8 | 95.3667 | 43.7733
2019-03-02 05:15:00 | 5.9133 | 27.3967 | 6.8 | 30.0967 | 11.0333 | 20.7633 | 11.0267 | 21.6333 | 2.6867 | 882 | 95.6333 | 43.3553
2019-03-02 05:30:00 | 5.82 | 218.13 | 6.7 | 239.7033 | 10.8867 | 10.5833 | 10.8533 | 18.5067 | 2.6067 | 882 | 95.9 | 46.1547
2019-03-02 05:45:00 | 5.9867 | 129.48 | 6.8933 | 142.28 | 11.1733 | 18.7 | 11.28 | 19.6567 | 2.5733 | 882 | 95.3 | 45.612
2019-03-02 06:00:00 | 5.6533 | 93.82 | 6.5067 | 103.0867 | 10.5333 | 13.88 | 10.6933 | 20.29 | 2.5267 | 882 | 95.5 | 45.0247
2019-03-02 06:15:00 | 6.0567 | 213.6667 | 6.9733 | 234.79 | 10.6267 | 9.9233 | 10.5533 | 20.93 | 2.55 | 882 | 94.7333 | 47.71
2019-03-02 06:30:00 | 6.4967 | 12.5933 | 7.4867 | 13.8433 | 11.2267 | 2.09 | 11.08 | 12.1367 | 2.47 | 882 | 94.8667 | 48.104
2019-03-02 06:45:00 | 6.7907 | 264.61 | 7.822 | 290.7667 | 11.3967 | 17.6433 | 10.9367 | 16.75 | 2.4833 | 882 | 94.5 | 47.3527
2019-03-02 07:00:00 | 6.9467 | 74.9367 | 7.9933 | 82.34 | 11.95 | 7.6233 | 11.55 | 15.0167 | 2.4833 | 882 | 94.08 | 48.5353
2019-03-02 07:15:00 | 6.888 | 38.6167 | 7.9213 | 42.4267 | 12.03 | 22.1033 | 11.6867 | 30.77 | 2.43 | 882 | 93.9533 | 49.1307
2019-03-02 07:30:00 | 6.31 | 135.7833 | 7.2633 | 149.2 | 11.55 | 17.0767 | 11.7733 | 29.1967 | 2.3033 | 882.2 | 94.4867 | 46.9133
2019-03-02 07:45:00 | 5.7733 | 297.3533 | 6.6433 | 326.7667 | 10.79 | 9.78 | 11.0167 | 22.7133 | 2.1167 | 883 | 95.3 | 42.122
2019-03-02 08:00:00 | 5.9267 | 307.86 | 6.8233 | 338.3 | 10.8807 | 15.1333 | 10.9767 | 20.3467 | 2.2433 | 883 | 94.6333 | 44.3933
2019-03-02 08:15:00 | 5.5133 | 103.3 | 6.3433 | 113.5133 | 10.2933 | 9.58 | 10.1967 | 13.85 | 2.5067 | 883 | 93.8 | 44.5473
2019-03-02 08:30:00 | 5.3 | 301.3133 | 6.1033 | 331.1 | 9.6467 | 11.4333 | 9.41 | 19.8967 | 3.4 | 883.2 | 91.3333 | 40.3987
2019-03-02 08:45:00 | 4.74 | 35.5833 | 5.4667 | 39.1 | 8.8033 | 10.1433 | 9.1333 | 24.83 | 3.8467 | 884 | 90.0333 | 35.882
2019-03-02 09:00:00 | 4.7133 | 17.5967 | 5.4267 | 19.3267 | 8.71 | 11.4233 | 8.7267 | 18.29 | 4.2 | 884.2 | 89.2333 | 27.1593
2019-03-02 09:15:00 | 4.5733 | 195.6167 | 5.26 | 214.9667 | 8.2033 | 17.4033 | 8.0633 | 23.4233 | 4.37 | 885 | 88.3333 | 24.5373
2019-03-02 09:30:00 | 4.4067 | 266.73 | 5.0733 | 293.1 | 7.6633 | 13.37 | 7.2767 | 10.79 | 4.71 | 885 | 86.2667 | 23.9947
2019-03-02 09:45:00 | 4.4567 | 182.4267 | 5.1233 | 200.4567 | 7.63 | 11.4267 | 7.31 | 16.17 | 5.4133 | 885 | 83.8 | 25.68
2019-03-02 10:00:00 | 4.5567 | 192.4333 | 5.2367 | 211.4567 | 8.1567 | 18.0133 | 7.9433 | 22.0567 | 6.4 | 885 | 80.42 | 26.8453
2019-03-02 10:15:00 | 4.7467 | 178.7433 | 5.4567 | 196.4133 | 8.4167 | 12.6133 | 8.24 | 24.1233 | 7.5333 | 885.5333 | 76.4067 | 29.286
2019-03-02 10:30:00 | 5.12 | 174.4967 | 5.89 | 191.7467 | 8.77 | 16.9533 | 8.72 | 27.8767 | 7.2067 | 886 | 77 | 28.274
2019-03-02 10:45:00 | 5.28 | 140.12 | 6.0767 | 153.9733 | 9.49 | 8.5067 | 9.29 | 18.6367 | 7.5333 | 886 | 75.2567 | 31.8
2019-03-02 11:00:00 | 5.4533 | 267.4867 | 6.27 | 293.9333 | 9.6033 | 17.9933 | 9.4633 | 24.4367 | 7.6933 | 886 | 74.6567 | 33.3407
2019-03-02 11:15:00 | 5.4867 | 107.9 | 6.3067 | 118.5667 | 9.3767 | 16.0133 | 9.57 | 32.69 | 8.3233 | 886 | 71.34 | 34.7147
2019-03-02 11:30:00 | 5.3333 | 101.7133 | 6.1333 | 111.7733 | 8.8367 | 16.9333 | 8.8167 | 29.77 | 8.23 | 886 | 71.514 | 32.0513
2019-03-02 11:45:00 | 5.46 | 97.16 | 6.2833 | 106.7667 | 8.76 | 30.93 | 8.1967 | 24.1067 | 8.25 | 886 | 70.6033 | 31.328
2019-03-02 12:00:00 | 5.444 | 295.8547 | 6.2687 | 325.1133 | 8.9327 | 27.4607 | 8.1673 | 23.404 | 8.3393 | 886 | 68.8793 | 29.556
2019-03-02 12:15:00 | 5.42 | 100.3367 | 6.2333 | 110.26 | 8.75 | 21.3867 | 7.96 | 25.81 | 8.6767 | 886 | 66.9967 | 31.6513
2019-03-02 12:30:00 | 4.9 | 117.85 | 5.6467 | 129.5067 | 8.15 | 10.48 | 7.7467 | 35.21 | 8.87 | 886 | 64.9433 | 30.952
2019-03-02 12:45:00 | 4.76 | 302.9433 | 5.4833 | 332.9 | 7.76 | 17.0733 | 7.182 | 16.12 | 8.4333 | 886 | 65.1667 | 28.1487
2019-03-02 13:00:00 | 4.7867 | 295.6633 | 5.5033 | 324.9 | 7.6867 | 15.5467 | 7.02 | 32.2267 | 8.88 | 886 | 64.24 | 28.158
2019-03-02 13:15:00 | 5.4133 | 230.87 | 6.2333 | 253.7033 | 8.7067 | 20.5 | 8.4333 | 21.6933 | 9.4267 | 885.4667 | 61.9033 | 34.556
2019-03-02 13:30:00 | 5.8 | 181.9167 | 6.68 | 199.9033 | 9.6333 | 13.0133 | 9.3733 | 19.1533 | 9.82 | 885 | 60.4433 | 23.92
2019-03-02 13:45:00 | 4.9833 | 157.13 | 5.74 | 172.6667 | 8.3333 | 21.2233 | 7.94 | 21.5767 | 9.96 | 885 | 59.4333 | 21.7993
2019-03-02 14:00:00 | 4.8033 | 84.1833 | 5.5333 | 92.5067 | 7.8333 | 10.0433 | 7.5 | 25.53 | 10.018 | 885.2 | 58.88 | 18.182
2019-03-02 14:15:00 | 4.8333 | 19.0633 | 5.5733 | 20.95 | 7.8467 | 25.3467 | 7.4867 | 23.3033 | 9.958 | 885.4667 | 58.83 | 20.4593
2019-03-02 14:30:00 | 4.6267 | 7.8633 | 5.3267 | 8.6367 | 7.6067 | 31.0333 | 6.7267 | 31.7633 | 9.8933 | 885 | 59.09 | 22.212
2019-03-02 14:45:00 | 4.5267 | 316.8933 | 5.21 | 348.2333 | 7.46 | 31.56 | 6.96 | 34.17 | 10.4433 | 885 | 57.1833 | 26.2933
2019-03-02 15:00:00 | 4.78 | 318.4667 | 5.51 | 349.9667 | 7.8933 | 36.2733 | 7.1867 | 32.63 | 10.7567 | 885 | 55.6767 | 25.012
2019-03-02 15:15:00 | 4.8467 | 197.4433 | 5.5867 | 216.9667 | 8.01 | 29.9533 | 7.388 | 22.3333 | 9.84 | 885 | 57.7 | 28.228
2019-03-02 15:30:00 | 4.42 | 301.25 | 5.0933 | 331.0333 | 7.63 | 20.38 | 6.85 | 28.5867 | 8.92 | 885 | 60.5733 | 21.8533
2019-03-02 15:45:00 | 4.5467 | 299.3 | 5.2333 | 328.9 | 7.9767 | 10.4067 | 7.7733 | 26.38 | 8.65 | 885 | 61.6633 | 25.4907
2019-03-02 16:00:00 | 5.0533 | 118.1867 | 5.82 | 129.8733 | 8.8633 | 15.22 | 8.3333 | 35.4667 | 9.5367 | 884.1333 | 59.05 | 28.4527
2019-03-02 16:15:00 | 5.3 | 26.3967 | 6.1067 | 29 | 8.9967 | 14.8833 | 8.96 | 25.1867 | 9.75 | 884 | 58.1407 | 27.9667
2019-03-02 16:30:00 | 4.7867 | 27.5633 | 5.5067 | 30.28 | 8.41 | 21.6567 | 8.4667 | 23.8067 | 10.09 | 884.8667 | 57.45 | 26.916
2019-03-02 16:45:00 | 4.5 | 124.94 | 5.1733 | 137.2867 | 8.02 | 14.4433 | 7.73 | 40.6033 | 9.5533 | 885 | 59.2367 | 31.2493
2019-03-02 17:00:00 | 4.6467 | 19.34 | 5.3467 | 21.2467 | 7.9533 | 19.53 | 7.7433 | 32.03 | 9.52 | 885 | 59.1833 | 34.152
2019-03-02 17:15:00 | 4.4533 | 31.87 | 5.1367 | 35.0233 | 7.5 | 23.02 | 7.18 | 27.4833 | 9.4367 | 885 | 59.24 | 36.134
2019-03-02 17:30:00 | 5.2733 | 39.43 | 6.0767 | 43.33 | 9.0733 | 34.7867 | 8.8133 | 29.27 | 9.11 | 885 | 60.34 | 35.3553
2019-03-02 17:45:00 | 5.2533 | 139.45 | 6.0433 | 153.2333 | 9.5033 | 26.08 | 9.29 | 28.18 | 8.07 | 885 | 64.48 | 32.2273
2019-03-02 18:00:00 | 4.8333 | 112.2167 | 5.5567 | 123.3067 | 8.8367 | 23.5267 | 8.7967 | 29.6067 | 7.79 | 884.1333 | 65.8133 | 29.4473
2019-03-02 18:15:00 | 4.64 | 230.4433 | 5.3367 | 253.2333 | 8.2467 | 15.4567 | 7.8733 | 28.4467 | 7.7967 | 884 | 66.324 | 25.9107
2019-03-02 18:30:00 | 4.24 | 187.43 | 4.8767 | 205.9667 | 7.64 | 13.5633 | 7.7333 | 14.8333 | 7.75 | 884 | 66.788 | 33.3573
2019-03-02 18:45:00 | 4.8667 | 108.7667 | 5.6 | 119.52 | 8.7167 | 15.8733 | 8.4167 | 17.6533 | 7.61 | 884 | 66.708 | 31.966
2019-03-02 19:00:00 | 4.9133 | 123.7467 | 5.66 | 135.9867 | 8.97 | 6.7867 | 8.77 | 13.4067 | 7.2767 | 884 | 67.5873 | 22.7753
2019-03-02 19:15:00 | 4.708 | 269.2133 | 5.42 | 295.8307 | 8.1807 | 23.292 | 7.822 | 10.186 | 6.8507 | 884 | 68.5173 | 24.4273
2019-03-02 19:30:00 | 4.26 | 119.3 | 4.9067 | 131.0933 | 7.9167 | 18.1267 | 7.71 | 21.17 | 6.3667 | 884.2 | 70.3333 | 20.2
2019-03-02 19:45:00 | 3.74 | 83.6367 | 4.3 | 91.9033 | 6.8267 | 5.6433 | 6.66 | 21.23 | 6.2 | 885 | 71.1533 | 15.0853
2019-03-02 20:00:00 | 3.24 | 192.8367 | 3.7267 | 211.9033 | 6.1733 | 14.3967 | 6 | 29.2033 | 5.9733 | 884.3333 | 71.9467 | 19.3413
2019-03-02 20:15:00 | 3.5167 | 129.81 | 4.0467 | 142.6467 | 6.28 | 235.4267 | 5.9533 | 3.3067 | 5.6567 | 885 | 72.9233 | 20.1587
2019-03-02 20:30:00 | 3.3767 | 312.0433 | 3.8867 | 342.9 | 6.1667 | 3.3533 | 6.08 | 13.26 | 5.8367 | 885 | 72.352 | 18.1547
2019-03-02 20:45:00 | 3.76 | 305.22 | 4.3267 | 335.4 | 6.54 | 7.4567 | 6.3833 | 15.82 | 5.9467 | 885 | 72.3467 | 26.7613
2019-03-02 21:00:00 | 3.9067 | 107.5333 | 4.4933 | 118.16 | 7 | 15.4967 | 6.9233 | 22.86 | 5.9733 | 885 | 72.6067 | 28.3467
2019-03-02 21:15:00 | 4.024 | 13.5287 | 4.6313 | 14.856 | 6.5733 | 20.7747 | 6.544 | 6.9013 | 5.83 | 885 | 73.36 | 24.1053
2019-03-02 21:30:00 | 3.8933 | 157.56 | 4.48 | 173.1433 | 6.8167 | 239.16 | 6.5367 | 7.3533 | 5.8347 | 885 | 73.4507 | 26.464
2019-03-02 21:45:00 | 3.6833 | 245.37 | 4.24 | 269.6333 | 6.5867 | 347.6 | 6.3167 | 5.7567 | 5.8967 | 885 | 73.3767 | 24.71
2019-03-02 22:00:00 | 4.23 | 123.8967 | 4.8733 | 136.1467 | 6.6733 | 353.4667 | 6.29 | 15.0167 | 5.8567 | 885 | 73.972 | 25.0367
2019-03-02 22:15:00 | 3.8 | 21.24 | 4.3767 | 23.3367 | 6.4167 | 129.5533 | 6.31 | 7.8633 | 5.7767 | 885 | 74.5533 | 21.0573
2019-03-02 22:30:00 | 3.7267 | 193.1333 | 4.2833 | 212.23 | 6.4567 | 356.9 | 6.1967 | 8.5967 | 5.7233 | 885 | 74.9267 | 25.03
2019-03-02 22:45:00 | 4.1653 | 16.2693 | 4.7893 | 17.866 | 7.022 | 244.624 | 6.7693 | 6.0247 | 5.7207 | 885.5333 | 75.1753 | 30.7547
2019-03-02 23:00:00 | 4.6467 | 201.6433 | 5.3433 | 221.5733 | 7.5933 | 17.1567 | 7.5833 | 21.2767 | 5.5933 | 886 | 76.6733 | 30.7167
2019-03-02 23:15:00 | 4.4333 | 9.3933 | 5.1067 | 10.3167 | 6.5533 | 7.7067 | 6.6267 | 20.0067 | 5.5633 | 885.4667 | 76.3933 | 24.5007
2019-03-02 23:30:00 | 3.84 | 196.3067 | 4.4267 | 215.7233 | 6.52 | 6.1333 | 6.3067 | 12.8867 | 5.592 | 885 | 76.02 | 19.5213
2019-03-02 23:45:00 | 3.4373 | 17.668 | 3.9647 | 19.406 | 5.9547 | 354.16 | 5.776 | 20.3473 | 5.6267 | 885 | 75.6533 | 15.2827