## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-03 00:00:00 | 3.4333 | 4.5467 | 3.95 | 4.9967 | 5.7033 | 121.4933 | 5.5167 | 9.6367 | 5.672 | 885 | 75.2 | 12.7507
2019-03-03 00:15:00 | 3.44 | 200.4567 | 3.96 | 220.2833 | 5.2433 | 11.57 | 5.3633 | 11.61 | 5.62 | 885 | 75.4833 | 7.1347
2019-03-03 00:30:00 | 3.4333 | 8.83 | 3.9533 | 9.6967 | 4.9567 | 7.19 | 4.97 | 13.2633 | 5.5733 | 885 | 75.78 | 2.6767
2019-03-03 00:45:00 | 2.7233 | 216.61 | 3.13 | 238.0333 | 4.3833 | 3.7633 | 4.4133 | 9.5 | 5.5433 | 885 | 75.93 | 2.074
2019-03-03 01:00:00 | 2.7967 | 211.6367 | 3.2167 | 232.5667 | 4.4433 | 10.7967 | 4.56 | 13.68 | 5.5433 | 885 | 75.7833 | 4.734
2019-03-03 01:15:00 | 3.1067 | 135.2167 | 3.5767 | 148.5867 | 5.21 | 7.7167 | 5.23 | 13.4967 | 5.4533 | 885 | 76.6433 | 5.34
2019-03-03 01:30:00 | 2.8133 | 278.8967 | 3.2367 | 306.4667 | 4.97 | 16.99 | 5.1567 | 10.97 | 5.3333 | 885 | 77.71 | 4.4433
2019-03-03 01:45:00 | 2.646 | 260.126 | 3.0413 | 285.8533 | 4.23 | 23.264 | 4.418 | 26.128 | 5.2767 | 885 | 77.73 | 0.898
2019-03-03 02:00:00 | 2.09 | 238.5467 | 2.41 | 262.1333 | 3.33 | 22.73 | 3.63 | 29.1533 | 5.2533 | 885 | 77.7767 | 0
2019-03-03 02:15:00 | 2.3033 | 31.9413 | 2.652 | 35.0913 | 3.072 | 129.4693 | 3.0173 | 19.5853 | 5.3747 | 885 | 76.4113 | 0
2019-03-03 02:30:00 | 2.24 | 146.4573 | 2.576 | 160.9427 | 2.78 | 191.8 | 2.478 | 18.206 | 5.46 | 884.1333 | 75.648 | 0
2019-03-03 02:45:00 | 1.6933 | 319.41 | 1.9567 | 351 | 2.0233 | 12.8267 | 1.4 | 28.6433 | 5.42 | 884 | 75.7467 | 0
2019-03-03 03:00:00 | 0.66667 | 315.0433 | 0.77667 | 346.2 | 0.84333 | 109.76 | 0.74 | 128.57 | 5.4933 | 884 | 74.7067 | 0
2019-03-03 03:15:00 | 1.3733 | 165.5567 | 1.58 | 181.9333 | 2.1933 | 196.2 | 2.2433 | 191.1333 | 5.5767 | 884 | 74.59 | 0
2019-03-03 03:30:00 | 1.76 | 173.63 | 2.0267 | 190.8 | 2.6533 | 203.2667 | 2.6833 | 200.6667 | 5.3833 | 884 | 76.7833 | 0.69067
2019-03-03 03:45:00 | 2.1533 | 176.88 | 2.4867 | 194.3667 | 2.8267 | 186.7333 | 3.1867 | 195.6 | 5.29 | 884 | 77.76 | 0.87
2019-03-03 04:00:00 | 2.7133 | 169.72 | 3.12 | 186.5 | 3.3 | 188.5333 | 3.5933 | 202.36 | 5.4033 | 884 | 77.38 | 0.832
2019-03-03 04:15:00 | 2.7067 | 160.0067 | 3.11 | 175.8333 | 3.3067 | 174.6667 | 3.7467 | 177.8333 | 5.4233 | 884 | 78.2 | 0.029333
2019-03-03 04:30:00 | 2.824 | 160.7973 | 3.246 | 176.7 | 3.364 | 167.6667 | 3.8413 | 166.7533 | 5.45 | 884 | 78.8387 | 0
2019-03-03 04:45:00 | 2.0833 | 167.8033 | 2.4033 | 184.4 | 2.8333 | 177.6333 | 3.2367 | 181.7333 | 5.3533 | 884 | 81.1333 | 0
2019-03-03 05:00:00 | 2.4433 | 161.9167 | 2.81 | 177.9333 | 3.1933 | 173.5667 | 3.6167 | 173.3333 | 5.3533 | 883.1333 | 82.7333 | 0.292
2019-03-03 05:15:00 | 2.5933 | 160.4633 | 2.9867 | 176.3333 | 3.1833 | 183.9 | 3.5833 | 177.8333 | 5.33 | 883 | 84 | 0.27667
2019-03-03 05:30:00 | 2.4067 | 162.5833 | 2.7733 | 178.6667 | 2.9433 | 181.2333 | 3.51 | 181.8333 | 5.29 | 883 | 84.4 | 0
2019-03-03 05:45:00 | 2.4933 | 161.34 | 2.8667 | 177.3 | 3.04 | 179.6 | 3.5667 | 179.3 | 5.23 | 883 | 85.3333 | 0.17533
2019-03-03 06:00:00 | 2.5733 | 143.32 | 2.96 | 157.5 | 3.2333 | 178.7333 | 3.68 | 176.3667 | 5.1833 | 883 | 86.6667 | 0.26267
2019-03-03 06:15:00 | 2.27 | 164.5067 | 2.6133 | 180.7667 | 2.8233 | 185.4 | 3.0267 | 179.1333 | 5.1167 | 883 | 87.3333 | 0.027333
2019-03-03 06:30:00 | 2.47 | 162.8067 | 2.84 | 178.9 | 3.0433 | 181.7333 | 3.1333 | 177.8667 | 5.108 | 883 | 87.8667 | 0.28267
2019-03-03 06:45:00 | 2.5467 | 153.6967 | 2.9333 | 168.9 | 3.1933 | 182.2667 | 3.3167 | 188.2667 | 5.0733 | 883 | 88.8667 | 0.416
2019-03-03 07:00:00 | 2.3733 | 134.47 | 2.7333 | 147.7667 | 3.0667 | 191.4667 | 3.0633 | 195.2 | 5.058 | 883 | 89.8667 | 0
2019-03-03 07:15:00 | 1.7767 | 155.3033 | 2.0533 | 170.6667 | 2.22 | 173.1333 | 2.4967 | 183.6333 | 5.0967 | 883 | 91 | 0
2019-03-03 07:30:00 | 1.2633 | 165.8033 | 1.46 | 182.2 | 1.92 | 169.4 | 2.2033 | 176.9 | 5.07 | 883 | 91.6667 | 0
2019-03-03 07:45:00 | 1.5767 | 161.6167 | 1.82 | 177.6 | 2.3367 | 188.2667 | 2.6133 | 182 | 5.06 | 883 | 92.4333 | 0
2019-03-03 08:00:00 | 2.1433 | 152.7633 | 2.4667 | 167.8667 | 2.89 | 177.6667 | 3.0533 | 181.8 | 5.1733 | 883 | 92.9 | 0
2019-03-03 08:15:00 | 2.1 | 155.5453 | 2.4167 | 170.9267 | 2.7133 | 176.6333 | 3.1867 | 183.9 | 5.2733 | 883.5333 | 93.3 | 0
2019-03-03 08:30:00 | 2.1733 | 151.48 | 2.51 | 166.4667 | 2.6933 | 186.3 | 3.1267 | 194.7667 | 5.3133 | 884 | 92.7 | 0
2019-03-03 08:45:00 | 2.5133 | 163.41 | 2.89 | 179.5667 | 2.9967 | 192.8667 | 3.17 | 192.5333 | 5.3967 | 884 | 92.9333 | 0
2019-03-03 09:00:00 | 2.3533 | 167.7233 | 2.71 | 184.3 | 2.7033 | 167.6 | 2.8967 | 194 | 5.47 | 884 | 93.4667 | 0
2019-03-03 09:15:00 | 2.44 | 149.8533 | 2.8133 | 164.6667 | 2.65 | 174.9333 | 2.82 | 197.0867 | 5.5267 | 884 | 93.1667 | 0.002
2019-03-03 09:30:00 | 2.42 | 163.38 | 2.7867 | 179.5333 | 2.79 | 180.0667 | 2.9333 | 192.0667 | 5.6267 | 884 | 92.6333 | 0.11467
2019-03-03 09:45:00 | 2.5967 | 159.86 | 2.9933 | 175.6667 | 3.0667 | 201.9667 | 3.2133 | 198.5333 | 5.87 | 884.5333 | 91.7333 | 0.45533
2019-03-03 10:00:00 | 2.73 | 164.4667 | 3.14 | 180.7333 | 3.14 | 197.9 | 3.3667 | 204.4667 | 5.95 | 885 | 91.9333 | 0.40267
2019-03-03 10:15:00 | 2.98 | 165.8633 | 3.43 | 182.2667 | 3.4567 | 187.9333 | 3.5167 | 191.7 | 5.9567 | 885 | 92.3 | 0.55933
2019-03-03 10:30:00 | 2.82 | 162.1033 | 3.2433 | 178.1333 | 3.1433 | 193.6 | 3.29 | 195.48 | 6.15 | 885 | 91.9667 | 0.51467
2019-03-03 10:45:00 | 2.7333 | 155.25 | 3.1433 | 170.6 | 3.1633 | 185.9333 | 3.17 | 189.6 | 6.1733 | 885 | 92.3333 | 1.212
2019-03-03 11:00:00 | 2.5733 | 156.89 | 2.9633 | 172.4 | 2.9833 | 184 | 3.01 | 159.8667 | 6.0733 | 885 | 92.8667 | 1.8393
2019-03-03 11:15:00 | 2.9853 | 155.8533 | 3.4307 | 171.26 | 3.4053 | 184.7867 | 3.4687 | 193.0933 | 6.0227 | 885 | 93.2667 | 2.924
2019-03-03 11:30:00 | 2.9747 | 159.7193 | 3.418 | 175.5133 | 3.3233 | 179.4733 | 3.708 | 189.8 | 5.878 | 885 | 94.3333 | 2.3713
2019-03-03 11:45:00 | 2.88 | 150.3367 | 3.31 | 165.2 | 3.3 | 192.6 | 3.5153 | 210.7333 | 5.8667 | 885 | 94.8 | 3.034
2019-03-03 12:00:00 | 2.6933 | 145.3633 | 3.1033 | 159.7333 | 3.14 | 183 | 3.1267 | 180 | 5.96 | 885 | 94.58 | 3.0247
2019-03-03 12:15:00 | 3.0733 | 140.6333 | 3.5433 | 154.5333 | 3.4633 | 190.7 | 3.4467 | 209.9667 | 6.08 | 885 | 94.0333 | 2.1673
2019-03-03 12:30:00 | 2.584 | 123.578 | 2.97 | 135.8 | 3.098 | 191.64 | 3.306 | 187.82 | 6.202 | 884.1333 | 93.72 | 3.2167
2019-03-03 12:45:00 | 2.3733 | 167.0867 | 2.73 | 183.6 | 2.7333 | 188.4667 | 2.71 | 201.7 | 6.25 | 884 | 93.3333 | 3.4507
2019-03-03 13:00:00 | 2.2267 | 159.2533 | 2.57 | 175 | 2.8 | 182.4 | 2.8233 | 198.5 | 6.3567 | 884 | 92.8 | 3.4507
2019-03-03 13:15:00 | 2.6767 | 139.3633 | 3.08 | 153.1333 | 3.16 | 130.0333 | 3.1033 | 183.5 | 6.4367 | 884 | 92.3333 | 3.0593
2019-03-03 13:30:00 | 3.13 | 141.8433 | 3.6 | 155.8667 | 3.6533 | 183.0333 | 3.4833 | 186.7667 | 6.53 | 884 | 92.0667 | 3.0047
2019-03-03 13:45:00 | 3.3967 | 131.26 | 3.9033 | 144.2333 | 4.02 | 176 | 3.8267 | 189.9 | 6.66 | 884 | 91.6667 | 3.228
2019-03-03 14:00:00 | 2.89 | 155.2733 | 3.33 | 170.6333 | 3.3733 | 196.2 | 3.4533 | 217.5667 | 6.8267 | 883.1333 | 91.1333 | 2.98
2019-03-03 14:15:00 | 2.76 | 160.41 | 3.1733 | 176.2667 | 3.2467 | 179.7667 | 3.58 | 185.4667 | 6.92 | 883 | 90.7133 | 2.8987
2019-03-03 14:30:00 | 3.5867 | 142.9367 | 4.1333 | 157.0667 | 4.2133 | 176.0333 | 4.06 | 181.9333 | 7.0533 | 883 | 90 | 3.6673
2019-03-03 14:45:00 | 2.88 | 137.1667 | 3.3167 | 150.7333 | 3.3833 | 204.5 | 3.2 | 222.6333 | 7.1467 | 883 | 89.4 | 2.812
2019-03-03 15:00:00 | 2.44 | 134.3733 | 2.81 | 147.6667 | 2.9767 | 197.3 | 3.02 | 226.1 | 7.22 | 882.1333 | 89.18 | 1.8373
2019-03-03 15:15:00 | 2.52 | 186.49 | 2.9 | 204.9333 | 3.09 | 195.2333 | 3.28 | 204.6333 | 7.35 | 882 | 88.8467 | 2.14
2019-03-03 15:30:00 | 2.64 | 175.09 | 3.0333 | 192.4 | 3.27 | 214.1 | 3.3 | 203.6333 | 7.3967 | 882 | 88.5333 | 1.9447
2019-03-03 15:45:00 | 2.3767 | 152.79 | 2.73 | 167.9 | 2.9367 | 214.7467 | 3.1967 | 210.7667 | 7.4967 | 882 | 88.1333 | 2.0793
2019-03-03 16:00:00 | 2.59 | 154.5567 | 2.9767 | 169.8333 | 3.25 | 215.3 | 3.09 | 208.5667 | 7.5433 | 882 | 88 | 1.9367
2019-03-03 16:15:00 | 2.7333 | 190.16 | 3.14 | 208.9667 | 3.5433 | 210.4333 | 3.6233 | 204.8333 | 7.4967 | 882 | 88.12 | 1.824
2019-03-03 16:30:00 | 2.4467 | 174.3867 | 2.8133 | 191.6333 | 3.1033 | 219.2333 | 3.19 | 205.7 | 7.4167 | 882 | 88.5 | 1.4467
2019-03-03 16:45:00 | 1.7333 | 171.66 | 1.9967 | 188.6333 | 2.4267 | 211.6333 | 2.5 | 198.4667 | 7.47 | 882 | 88.8 | 1.1793
2019-03-03 17:00:00 | 1.7733 | 192.6467 | 2.05 | 211.7 | 2.5067 | 222.5 | 2.5533 | 211.4667 | 7.6167 | 882 | 88.2667 | 1.1287
2019-03-03 17:15:00 | 1.4067 | 177.9667 | 1.62 | 195.5667 | 1.9067 | 199.6333 | 2.0167 | 202.9 | 7.668 | 882 | 87.7 | 1.938
2019-03-03 17:30:00 | 1.5867 | 181.9067 | 1.8267 | 199.9 | 2.2667 | 209.6333 | 2.4167 | 199.9 | 7.69 | 882 | 87.9867 | 2.636
2019-03-03 17:45:00 | 1.3733 | 177.2667 | 1.5767 | 194.8 | 2.0467 | 212.8667 | 2.2147 | 208.7667 | 7.6467 | 882 | 88.0467 | 2.026
2019-03-03 18:00:00 | 1.48 | 171.4533 | 1.7033 | 188.4 | 2.2067 | 204.1333 | 2.3633 | 199.8333 | 7.56 | 882 | 88.6 | 1.874
2019-03-03 18:15:00 | 1.96 | 171.9267 | 2.2633 | 188.9333 | 2.6533 | 185.9333 | 2.8867 | 181.7 | 7.5 | 882 | 88.8533 | 1.8767
2019-03-03 18:30:00 | 2.3467 | 160.52 | 2.7033 | 176.4 | 2.96 | 179.8667 | 3.3667 | 176.2333 | 7.56 | 882 | 88.0333 | 1.2853
2019-03-03 18:45:00 | 2.2933 | 155.4967 | 2.64 | 170.8667 | 2.9667 | 177.8133 | 3.63 | 169.8067 | 7.5367 | 882 | 87.9333 | 1.0627
2019-03-03 19:00:00 | 2.4133 | 150.7633 | 2.78 | 165.6667 | 3.1267 | 179.6333 | 3.75 | 172.2333 | 7.3967 | 882 | 88.5333 | 0.99067
2019-03-03 19:15:00 | 1.78 | 166.3467 | 2.0433 | 182.8 | 2.4933 | 177.0333 | 3.1133 | 170.4067 | 7.5667 | 882 | 87.4667 | 0.75533
2019-03-03 19:30:00 | 1.36 | 165.44 | 1.5633 | 181.8 | 2.0867 | 162.5667 | 2.6133 | 178.2333 | 7.7133 | 882 | 86.58 | 0.48333
2019-03-03 19:45:00 | 1.42 | 168.26 | 1.64 | 184.9 | 2.2967 | 183.6 | 2.6533 | 170.0667 | 7.7333 | 882 | 86.4467 | 0.34133
2019-03-03 20:00:00 | 1.6333 | 173.54 | 1.8867 | 190.7 | 2.3167 | 187.4 | 2.5067 | 185.4 | 7.78 | 882 | 86.0467 | 0.16133
2019-03-03 20:15:00 | 1.69 | 166.5667 | 1.9467 | 183.0333 | 2.52 | 183.7667 | 2.9733 | 181.3333 | 7.7533 | 882 | 86.0133 | 0.22533
2019-03-03 20:30:00 | 1.2833 | 161.04 | 1.48 | 176.9667 | 2.1067 | 183.5667 | 2.58 | 175.6667 | 7.6867 | 882 | 86.28 | 0.39467
2019-03-03 20:45:00 | 1.5467 | 171.33 | 1.79 | 188.2667 | 2.35 | 206.3 | 2.5567 | 203.1667 | 7.81 | 882 | 85.7 | 0.43267
2019-03-03 21:00:00 | 1.16 | 207.1767 | 1.3367 | 227.6667 | 1.7767 | 223.3667 | 1.79 | 195.7 | 7.87 | 882 | 85.3667 | 0.48733
2019-03-03 21:15:00 | 0.97333 | 171.05 | 1.12 | 187.9667 | 1.6867 | 200 | 1.6867 | 198.5333 | 7.8367 | 882 | 85.7667 | 0.46333
2019-03-03 21:30:00 | 0.80667 | 184.77 | 0.92667 | 203.0333 | 1.5067 | 201.2 | 1.36 | 201.5333 | 7.808 | 882.8667 | 86.1 | 0.212
2019-03-03 21:45:00 | 0.33333 | 222.14 | 0.38667 | 244.1 | 0.65333 | 201.8 | 0.55 | 201.0467 | 7.7713 | 883 | 86.1533 | 0
2019-03-03 22:00:00 | 0.033333 | 222.0533 | 0.04 | 244.0133 | 0.06 | 201.8867 | 0.03 | 201 | 7.7067 | 883 | 86.22 | 0
2019-03-03 22:15:00 | 0 | 279.73 | 0 | 307.4 | 0 | 201.9 | 0 | 201 | 7.6667 | 883 | 86.6933 | 0
2019-03-03 22:30:00 | 0.06 | 303.2347 | 0.08 | 333.22 | 0 | 201.8133 | 0.53333 | 173 | 7.7533 | 883 | 86 | 0
2019-03-03 22:45:00 | 0.91667 | 312.388 | 1.06 | 343.28 | 0.88667 | 5.0567 | 0 | 159 | 7.44 | 883 | 88.1333 | 0
2019-03-03 23:00:00 | 0.73 | 311.6533 | 0.84667 | 342.4667 | 0.81333 | 0.97 | 0 | 159 | 7.4467 | 883 | 88.0667 | 0
2019-03-03 23:15:00 | 0.74333 | 311.93 | 0.86 | 342.7667 | 0.77333 | 0.97 | 0.11333 | 159 | 7.42 | 883 | 88.3 | 0
2019-03-03 23:30:00 | 1.2167 | 306.822 | 1.4 | 337.16 | 1.42 | 238.0567 | 0.46667 | 159 | 7.4467 | 883 | 88.0133 | 0
2019-03-03 23:45:00 | 1.6467 | 308.5167 | 1.8933 | 339.0333 | 2.51 | 14.0067 | 2.1967 | 7.96 | 7.3733 | 883 | 88.3 | 0