## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-04 00:00:00 | 2.46 | 316.29 | 2.8333 | 347.5667 | 3.29 | 237.04 | 3.1033 | 10.8733 | 7.1933 | 883 | 89.4333 | 0.016
2019-03-04 00:15:00 | 2.7333 | 211.4133 | 3.1433 | 232.3167 | 3.97 | 11.3933 | 3.6767 | 12.8667 | 7.07 | 882.4667 | 90.0667 | 0.304
2019-03-04 00:30:00 | 2.5867 | 217.66 | 2.9767 | 239.1833 | 3.7433 | 20.0533 | 3.5967 | 10.1 | 7.0727 | 882 | 90.2 | 0
2019-03-04 00:45:00 | 2.78 | 319.67 | 3.2 | 351.28 | 3.51 | 5.71 | 3.6367 | 12.31 | 7.03 | 882 | 90.3867 | 0
2019-03-04 01:00:00 | 2.2333 | 316.9867 | 2.5667 | 348.3333 | 3.6033 | 15.27 | 3.4167 | 8.0633 | 7.01 | 882 | 90.68 | 0
2019-03-04 01:15:00 | 2.18 | 0.31333 | 2.5067 | 0.34 | 3.03 | 11.9667 | 3.1267 | 32.5533 | 7.0933 | 882 | 90.2 | 0
2019-03-04 01:30:00 | 1.7867 | 215.5733 | 2.0533 | 236.8933 | 2.91 | 3.6933 | 3.26 | 10.2133 | 7.08 | 882 | 90.2 | 0
2019-03-04 01:45:00 | 1.6967 | 314.71 | 1.95 | 345.8333 | 2.8767 | 13.0633 | 2.9133 | 14.9333 | 6.9967 | 882 | 90.7 | 0
2019-03-04 02:00:00 | 2.1367 | 320.0567 | 2.4633 | 351.7 | 3.5367 | 21.9833 | 3.1 | 24.58 | 6.91 | 882 | 91.2333 | 1.4553
2019-03-04 02:15:00 | 2.6267 | 14.6367 | 3.03 | 16.0833 | 4.58 | 18.7733 | 4.81 | 25.8367 | 6.5833 | 881.4667 | 92.5667 | 7.0473
2019-03-04 02:30:00 | 2.9733 | 219.39 | 3.4167 | 241.0833 | 5.0133 | 6.6333 | 4.9767 | 21.1633 | 6.25 | 881 | 93.7667 | 7.6427
2019-03-04 02:45:00 | 2.6933 | 18.5367 | 3.0967 | 20.3633 | 4.78 | 4.86 | 4.8113 | 18.6033 | 5.8333 | 881 | 94.62 | 5.986
2019-03-04 03:00:00 | 3.26 | 0.89 | 3.75 | 0.97667 | 4.8467 | 9.0933 | 4.82 | 7.0433 | 5.8333 | 880.8 | 95.3333 | 4.272
2019-03-04 03:15:00 | 3.2733 | 324.78 | 3.7633 | 356.9 | 4.29 | 16.44 | 4.57 | 13.6867 | 6.3367 | 880 | 93.4 | 3.9367
2019-03-04 03:30:00 | 3.0467 | 301.6347 | 3.5033 | 331.4667 | 4.5367 | 11.8 | 4.8433 | 15.2067 | 6.4967 | 880 | 92.8 | 2.5667
2019-03-04 03:45:00 | 2.6033 | 17.3733 | 3 | 19.08 | 4.5333 | 2.4967 | 4.7033 | 16.49 | 6.5933 | 880 | 92.3 | 1.6267
2019-03-04 04:00:00 | 2.2767 | 18.6 | 2.62 | 20.4267 | 3.9 | 11.41 | 4.0967 | 12.8033 | 6.54 | 880 | 92.3867 | 5.4367
2019-03-04 04:15:00 | 2.94 | 212.66 | 3.39 | 233.69 | 5.0767 | 8.7733 | 5.3433 | 19.7 | 6.36 | 880 | 92.8 | 15.2273
2019-03-04 04:30:00 | 2.9267 | 13.9467 | 3.37 | 15.3167 | 5.6633 | 13.5867 | 5.9567 | 21.1067 | 5.9533 | 880 | 94.4667 | 17.4087
2019-03-04 04:45:00 | 3.4333 | 117.44 | 3.95 | 129.0533 | 5.7967 | 12.36 | 6.3067 | 13.6333 | 5.88 | 879.4667 | 95.3667 | 15.5727
2019-03-04 05:00:00 | 3.1267 | 298.96 | 3.5967 | 328.52 | 5.4033 | 11.5333 | 5.56 | 17.2667 | 6.0067 | 879 | 94.7667 | 11.418
2019-03-04 05:15:00 | 2.5033 | 113.2667 | 2.88 | 124.4667 | 3.9867 | 2.4067 | 4.2133 | 3.4 | 6.0433 | 879 | 94.4467 | 9.9207
2019-03-04 05:30:00 | 2.3833 | 294.7533 | 2.7467 | 323.9 | 3.9133 | 7.5667 | 4.2333 | 14.8267 | 6.1033 | 879 | 93.6667 | 9.8113
2019-03-04 05:45:00 | 2.8 | 217.7967 | 3.22 | 239.3367 | 4.3233 | 346.1 | 4.21 | 9.58 | 6.24 | 879 | 92.3667 | 6.554
2019-03-04 06:00:00 | 2.56 | 15.6633 | 2.9467 | 17.21 | 3.9367 | 349.3467 | 4.0167 | 15.6 | 6.28 | 879.8667 | 91.1667 | 7.9833
2019-03-04 06:15:00 | 2.44 | 16.1033 | 2.81 | 17.69 | 3.56 | 233.7433 | 3.6233 | 8.9067 | 6.32 | 880 | 89.5 | 7.7133
2019-03-04 06:30:00 | 2.6933 | 8.0033 | 3.1033 | 8.79 | 3.82 | 238.6767 | 4.1767 | 11.3733 | 6.3113 | 880 | 89.1667 | 10.3853
2019-03-04 06:45:00 | 3.0967 | 0.41333 | 3.5633 | 0.44667 | 4.8333 | 13.6867 | 4.88 | 13.1467 | 6.2267 | 880 | 89.8333 | 13.502
2019-03-04 07:00:00 | 3.1967 | 20.5933 | 3.6767 | 22.6267 | 5.5267 | 228.9467 | 5.3067 | 5.56 | 6.12 | 880 | 90.5667 | 20.0673
2019-03-04 07:15:00 | 4.3933 | 111.97 | 5.0567 | 123.0467 | 6.52 | 338.9667 | 6.5967 | 124.8667 | 6.08 | 880 | 89.7333 | 31.6073
2019-03-04 07:30:00 | 5.1133 | 302.96 | 5.89 | 332.92 | 7.58 | 122.6133 | 7.85 | 131.8533 | 6.1553 | 880 | 89.0667 | 34.8327
2019-03-04 07:45:00 | 5.04 | 192.63 | 5.7967 | 211.6733 | 8.0367 | 11.9333 | 8.28 | 17.31 | 6.29 | 880 | 88.2 | 37.566
2019-03-04 08:00:00 | 4.7867 | 207.49 | 5.5033 | 228.0067 | 7.89 | 230.6267 | 7.9933 | 14.9233 | 6.3233 | 880 | 88.18 | 35.142
2019-03-04 08:15:00 | 4.95 | 105.3467 | 5.6933 | 115.76 | 7.5567 | 222.1267 | 7.7633 | 13.0733 | 6.3247 | 880 | 88.1533 | 34.164
2019-03-04 08:30:00 | 4.8767 | 103.62 | 5.6133 | 113.8667 | 7.4833 | 10.82 | 7.67 | 14.5 | 6.3 | 880.2 | 88.2 | 37.4413
2019-03-04 08:45:00 | 4.9733 | 227.8933 | 5.72 | 250.4367 | 7.6133 | 15.5467 | 7.8533 | 16.74 | 6.2953 | 881 | 88.32 | 39.6847
2019-03-04 09:00:00 | 5.1533 | 213.22 | 5.9267 | 234.3033 | 8.0733 | 9.6133 | 8.38 | 23.34 | 6.3313 | 881 | 88.3667 | 41.2793
2019-03-04 09:15:00 | 4.9633 | 318.4967 | 5.71 | 350 | 8.0933 | 7.67 | 8.1553 | 15.9767 | 6.33 | 881 | 88.5 | 40.1887
2019-03-04 09:30:00 | 5.166 | 311.594 | 5.9433 | 342.4133 | 8.2013 | 182.486 | 8.2587 | 199.3487 | 6.382 | 881 | 88.0333 | 41.1293
2019-03-04 09:45:00 | 5.13 | 296.0033 | 5.9067 | 325.2667 | 8.8867 | 0.15 | 9.0133 | 243.86 | 6.5267 | 881 | 87.5 | 40.192
2019-03-04 10:00:00 | 4.9033 | 102.4233 | 5.6467 | 112.54 | 8.1133 | 8.3833 | 8.2467 | 15.6133 | 6.5467 | 881 | 87.4333 | 40.5153
2019-03-04 10:15:00 | 5.38 | 105.31 | 6.1933 | 115.72 | 8.71 | 233.69 | 8.9667 | 32.3133 | 6.47 | 881.5333 | 88 | 40.8787
2019-03-04 10:30:00 | 5.292 | 135.002 | 6.09 | 148.358 | 8.964 | 14.616 | 9.298 | 20.364 | 6.4593 | 882 | 87.9333 | 40.5607
2019-03-04 10:45:00 | 5.2133 | 164.38 | 5.9967 | 180.6333 | 9.51 | 10.9267 | 9.8667 | 21.3033 | 6.51 | 882 | 87.9667 | 39.9107
2019-03-04 11:00:00 | 5.1067 | 92.4267 | 5.8767 | 101.56 | 9.608 | 12.5133 | 9.7733 | 20.4567 | 6.4253 | 882 | 89.4333 | 37.8427
2019-03-04 11:15:00 | 5.03 | 167.2667 | 5.7933 | 183.8 | 9.2133 | 11.0867 | 9.2033 | 17.7867 | 6.2033 | 882 | 92.3 | 38.8207
2019-03-04 11:30:00 | 5.01 | 318.5667 | 5.7733 | 350.0667 | 8.7 | 9.4067 | 8.61 | 20.5067 | 6.0967 | 882 | 92.92 | 39.028
2019-03-04 11:45:00 | 4.9367 | 64.13 | 5.68 | 70.47 | 8.2867 | 12.82 | 8.2933 | 28.89 | 5.99 | 882 | 93.9 | 37.8973
2019-03-04 12:00:00 | 5.052 | 202.75 | 5.82 | 222.8033 | 8.62 | 14.02 | 8.6 | 23.4767 | 6.0613 | 882 | 93.7867 | 39.416
2019-03-04 12:15:00 | 5.2367 | 196.2333 | 6.02 | 215.6333 | 8.9767 | 19.3 | 8.3667 | 6.1667 | 6.1967 | 881.4667 | 93.0333 | 41.1127
2019-03-04 12:30:00 | 5.1367 | 223.3533 | 5.9067 | 245.4333 | 8.4367 | 11.7933 | 8.0267 | 9.7533 | 6.1367 | 881 | 93.3 | 46.0553
2019-03-04 12:45:00 | 5.1733 | 39.62 | 5.9533 | 43.53 | 8.6533 | 15.1 | 8.4167 | 5.04 | 6.0667 | 881 | 94.2333 | 47.5307
2019-03-04 13:00:00 | 5.2533 | 14.94 | 6.0533 | 16.41 | 8.6267 | 24.44 | 8.33 | 8.4333 | 6.08 | 881 | 94.2333 | 47.6487
2019-03-04 13:15:00 | 5.9 | 37.43 | 6.7933 | 41.13 | 9.5633 | 10.9233 | 9.1133 | 6.8667 | 6.1867 | 881 | 93.8467 | 50.0007
2019-03-04 13:30:00 | 5.9 | 20.91 | 6.7933 | 22.97 | 9.8567 | 8.0567 | 9.4067 | 10.4133 | 6.3933 | 881 | 92.8667 | 49.6447
2019-03-04 13:45:00 | 6.32 | 5.07 | 7.2767 | 5.5667 | 10.1633 | 12.6533 | 10.09 | 19.46 | 6.6133 | 881 | 91.1 | 51.4153
2019-03-04 14:00:00 | 6.32 | 216.2167 | 7.2767 | 237.6 | 10.4233 | 10.9533 | 10.1367 | 10.7533 | 6.72 | 880.8 | 90.1667 | 51.6973
2019-03-04 14:15:00 | 6.6867 | 190.38 | 7.6867 | 209.2067 | 11.3867 | 13.1167 | 11.0867 | 20.57 | 6.7773 | 880 | 89.8 | 52.5293
2019-03-04 14:30:00 | 6.6933 | 178.0133 | 7.7067 | 195.6067 | 11.3667 | 12.1433 | 11.0067 | 13.47 | 6.84 | 880 | 89.38 | 54.0527
2019-03-04 14:45:00 | 6.97 | 30.3533 | 8.0267 | 33.35 | 12.1033 | 4.91 | 11.8233 | 9.23 | 6.8433 | 880 | 88.8333 | 54.08
2019-03-04 15:00:00 | 6.9167 | 8.34 | 7.9533 | 9.1633 | 12.2033 | 6.7433 | 12.11 | 10.8167 | 6.852 | 880 | 88.3 | 53.9293
2019-03-04 15:15:00 | 7.0867 | 104.5033 | 8.16 | 114.8333 | 12.2293 | 12.8333 | 11.7633 | 15.23 | 6.9267 | 880 | 87.5333 | 53.9747
2019-03-04 15:30:00 | 7.0267 | 37.2567 | 8.08 | 40.94 | 12.2133 | 16.98 | 11.8433 | 11.39 | 6.9933 | 880 | 86.8667 | 52.7827
2019-03-04 15:45:00 | 7.1253 | 238.6413 | 8.1953 | 262.2387 | 11.6107 | 15.8853 | 10.81 | 22.8307 | 7.066 | 880 | 85.9933 | 50.678
2019-03-04 16:00:00 | 6.8367 | 215.6533 | 7.8667 | 236.9733 | 11.5633 | 29.2667 | 10.8147 | 6.1967 | 7.1433 | 880 | 85.5667 | 51.6667
2019-03-04 16:15:00 | 6.9233 | 113.8867 | 7.96 | 125.1467 | 11.74 | 15.11 | 11.2733 | 17.2167 | 7.3033 | 880 | 85 | 52.272
2019-03-04 16:30:00 | 6.988 | 302.6067 | 8.04 | 332.5333 | 11.8267 | 9.0433 | 11.6533 | 15.19 | 7.45 | 880 | 84.2667 | 53.9367
2019-03-04 16:45:00 | 6.9967 | 21.9867 | 8.05 | 24.1567 | 12.3567 | 3.93 | 12.24 | 9.6067 | 7.5933 | 880 | 83.5 | 53.65
2019-03-04 17:00:00 | 6.6767 | 228.6733 | 7.6833 | 251.29 | 12.45 | 6.9967 | 12.4267 | 17.5333 | 7.7 | 880 | 83.28 | 53.1727
2019-03-04 17:15:00 | 7.01 | 229.6 | 8.0633 | 252.3 | 12.664 | 10.43 | 12.5633 | 20.13 | 7.75 | 880 | 82.5 | 53.0247
2019-03-04 17:30:00 | 6.5567 | 240.7533 | 7.55 | 264.5667 | 12.1867 | 11.2233 | 12.2567 | 20.6167 | 7.7787 | 880 | 82.28 | 50.1367
2019-03-04 17:45:00 | 6.0667 | 33.6467 | 6.9733 | 36.9667 | 11.2567 | 16.2533 | 11.3567 | 18.83 | 7.7667 | 880 | 82.2 | 48.78
2019-03-04 18:00:00 | 6.36 | 205.4867 | 7.3133 | 225.8 | 11.69 | 21.3333 | 11.8033 | 19.2167 | 7.758 | 880 | 82.0667 | 50.2687
2019-03-04 18:15:00 | 6.4567 | 118.97 | 7.4233 | 130.7333 | 11.87 | 7.6367 | 12.01 | 20.92 | 7.71 | 880 | 81.9467 | 49.1327
2019-03-04 18:30:00 | 6.2833 | 286.1433 | 7.2233 | 314.4333 | 11.6967 | 8.8967 | 11.75 | 15.4867 | 7.6633 | 880 | 81.92 | 49.432
2019-03-04 18:45:00 | 5.9933 | 201.7733 | 6.89 | 221.7333 | 11.22 | 12.4833 | 11.4267 | 27.8333 | 7.6 | 880 | 82.1333 | 47.0687
2019-03-04 19:00:00 | 5.7133 | 80.8333 | 6.57 | 88.82 | 10.5533 | 14.0567 | 10.7733 | 24.5533 | 7.5933 | 880 | 81.8667 | 44.016
2019-03-04 19:15:00 | 5.3933 | 144.7267 | 6.21 | 159.0333 | 9.89 | 7.4733 | 10.09 | 17.8733 | 7.5947 | 880.5333 | 81.7333 | 45.596
2019-03-04 19:30:00 | 5.576 | 190.204 | 6.412 | 209.02 | 10.038 | 3.356 | 9.7927 | 21.478 | 7.6227 | 881 | 81.48 | 46.9973
2019-03-04 19:45:00 | 6.0733 | 291.41 | 6.9867 | 320.2333 | 10.7967 | 11.3767 | 10.7633 | 13.1067 | 7.5733 | 881 | 81.8 | 47.7867
2019-03-04 20:00:00 | 5.9733 | 303.7367 | 6.8733 | 333.7667 | 11.0567 | 10.75 | 11.05 | 17.9533 | 7.54 | 881 | 82 | 47.9547
2019-03-04 20:15:00 | 6.08 | 312.14 | 6.9967 | 343 | 11.4967 | 13.5033 | 11.6767 | 15.7233 | 7.53 | 881 | 82.1 | 52.318
2019-03-04 20:30:00 | 6.2733 | 116.9333 | 7.2233 | 128.4933 | 11.4167 | 7.0233 | 11.2633 | 15.79 | 7.45 | 881 | 82.7667 | 51.7347
2019-03-04 20:45:00 | 5.66 | 135.5733 | 6.5133 | 148.9733 | 10.6033 | 12.29 | 10.3767 | 25.23 | 7.3333 | 881 | 83.6667 | 50.9627
2019-03-04 21:00:00 | 5.5467 | 191.4533 | 6.38 | 210.3733 | 10.11 | 6.7633 | 9.9033 | 29.77 | 7.2733 | 881 | 83.8667 | 46.562
2019-03-04 21:15:00 | 5.39 | 267.88 | 6.21 | 294.3667 | 9.4033 | 16.1 | 9.21 | 20.0767 | 7.3333 | 881 | 83.3 | 41.8933
2019-03-04 21:30:00 | 5.2033 | 310.8267 | 5.9833 | 341.5667 | 8.85 | 20.1333 | 8.6633 | 21.05 | 7.3733 | 881.8667 | 82.9 | 41.7853
2019-03-04 21:45:00 | 5.2333 | 307.7 | 6.0267 | 338.1333 | 8.8667 | 13.4933 | 8.8133 | 15.8733 | 7.36 | 882 | 82.8533 | 44.6293
2019-03-04 22:00:00 | 5.8267 | 133.96 | 6.7133 | 147.2067 | 10.46 | 6.5067 | 10.2533 | 16.6467 | 7.336 | 882 | 82.88 | 45.08
2019-03-04 22:15:00 | 5.7467 | 215.5267 | 6.6067 | 236.8333 | 10.2333 | 14.46 | 10.3033 | 22.29 | 7.37 | 882 | 82.2667 | 44.9473
2019-03-04 22:30:00 | 5.5867 | 39.1067 | 6.4333 | 42.9733 | 10.2267 | 11.0733 | 10.27 | 18.9833 | 7.3347 | 882 | 82.6 | 44.8573
2019-03-04 22:45:00 | 5.4287 | 128.5967 | 6.25 | 141.32 | 10.0967 | 16.74 | 10.2567 | 18.79 | 7.2467 | 882 | 83.2 | 44.2407
2019-03-04 23:00:00 | 5.1533 | 156.5233 | 5.9233 | 172 | 9.5167 | 15.9933 | 9.8233 | 22.71 | 7.18 | 882 | 83.5333 | 40.548
2019-03-04 23:15:00 | 4.92 | 148.88 | 5.66 | 163.6067 | 9.3333 | 19.4433 | 9.55 | 26.47 | 7.12 | 882 | 83.9333 | 40.7847
2019-03-04 23:30:00 | 5.32 | 125.4933 | 6.1267 | 137.9067 | 10.1133 | 16.8833 | 10.3633 | 27.9967 | 7.1887 | 882 | 83.4 | 41.902
2019-03-04 23:45:00 | 5.2267 | 301.0933 | 6.0133 | 330.8667 | 9.9167 | 19.9567 | 10.2367 | 22.4033 | 7.24 | 882 | 83.1 | 44.976