## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-05 00:00:00 | 5.94 | 129.64 | 6.8333 | 142.4533 | 11.1367 | 14.09 | 11.2833 | 21.6233 | 7.24 | 882 | 83.1667 | 45.3013
2019-03-05 00:15:00 | 5.5733 | 203.31 | 6.41 | 223.4067 | 10.4333 | 11.94 | 10.49 | 15.3667 | 7.2867 | 882 | 82.98 | 44.95
2019-03-05 00:30:00 | 5.1067 | 34.8567 | 5.8767 | 38.3 | 9.4867 | 8.3067 | 9.51 | 21.2667 | 7.34 | 882 | 82.6667 | 44.198
2019-03-05 00:45:00 | 4.81 | 32.7 | 5.5333 | 35.9333 | 9 | 12.11 | 9.0467 | 19.4133 | 7.2267 | 882 | 83.3 | 44.7
2019-03-05 01:00:00 | 4.95 | 201.7467 | 5.6933 | 221.7 | 9.0467 | 12.19 | 8.9867 | 16.2533 | 7.2267 | 882 | 83.3667 | 42.332
2019-03-05 01:15:00 | 5.0733 | 191.1367 | 5.84 | 210.0333 | 9.1933 | 14.0667 | 9.0967 | 21.5633 | 7.2867 | 882 | 83.0333 | 46.2853
2019-03-05 01:30:00 | 4.92 | 212.37 | 5.6667 | 233.3667 | 8.7733 | 9.72 | 8.65 | 15.2367 | 7.2867 | 882 | 83.2333 | 44.992
2019-03-05 01:45:00 | 4.9133 | 21.1467 | 5.6533 | 23.2367 | 8.5867 | 10.1767 | 8.5267 | 22.3733 | 7.25 | 882 | 83.6 | 46.59
2019-03-05 02:00:00 | 5.1067 | 211.8333 | 5.88 | 232.77 | 9.2267 | 18.61 | 9.6133 | 26.1333 | 7.2187 | 882 | 83.9333 | 44.7913
2019-03-05 02:15:00 | 4.8233 | 298.7267 | 5.5533 | 328.2667 | 9.1533 | 17.0033 | 9.3967 | 23.5933 | 7.07 | 882 | 84.9 | 41.89
2019-03-05 02:30:00 | 4.7167 | 100.84 | 5.4333 | 110.8067 | 8.8733 | 17.41 | 9.4633 | 29.82 | 7.0593 | 882 | 84.9867 | 41.7847
2019-03-05 02:45:00 | 4.9533 | 178.8133 | 5.7 | 196.5 | 9.2533 | 21.0167 | 9.4967 | 27.75 | 7.1267 | 882 | 84.7 | 44.842
2019-03-05 03:00:00 | 4.8867 | 144.1133 | 5.6267 | 158.3667 | 9.1733 | 21.6033 | 9.29 | 25.61 | 7.138 | 882 | 84.8067 | 43.194
2019-03-05 03:15:00 | 4.5267 | 175.1433 | 5.2033 | 192.4667 | 8.6933 | 15.4867 | 8.76 | 25.99 | 7.0833 | 882 | 85.3 | 40.8433
2019-03-05 03:30:00 | 4.66 | 95.3167 | 5.3567 | 104.7333 | 8.8067 | 15.5867 | 8.5867 | 27.01 | 7.1167 | 882 | 85.1 | 37.564
2019-03-05 03:45:00 | 4.6533 | 9.4633 | 5.3533 | 10.3933 | 8.2933 | 12.61 | 8.1733 | 17.21 | 7.2 | 882 | 84.68 | 32.2893
2019-03-05 04:00:00 | 4.5867 | 33.39 | 5.2733 | 36.6867 | 8.1733 | 8.3967 | 7.96 | 18.1833 | 7.24 | 882 | 84.32 | 30.7233
2019-03-05 04:15:00 | 4.1033 | 109.24 | 4.7267 | 120.04 | 7.3267 | 15.96 | 7.4367 | 22.7267 | 7.198 | 882 | 84.5333 | 29.2113
2019-03-05 04:30:00 | 4.01 | 112.36 | 4.6133 | 123.46 | 6.882 | 10.72 | 6.97 | 19.3867 | 7.138 | 882 | 84.8 | 40.5
2019-03-05 04:45:00 | 4.4533 | 22.49 | 5.1267 | 24.7133 | 7.64 | 10.83 | 7.5067 | 16.57 | 7.1733 | 882 | 84.5 | 44.6527
2019-03-05 05:00:00 | 4.3533 | 3.1433 | 5.0067 | 3.4467 | 8.1133 | 11.1167 | 8.1333 | 17.01 | 6.8933 | 882 | 86.0333 | 45.3007
2019-03-05 05:15:00 | 4.5067 | 186.4833 | 5.1833 | 204.93 | 7.91 | 9.9767 | 7.8033 | 14.8533 | 6.8133 | 882 | 86.6667 | 46.292
2019-03-05 05:30:00 | 4.46 | 201.29 | 5.13 | 221.1967 | 7.9767 | 241.3633 | 7.7767 | 124.6133 | 6.9067 | 882 | 86.18 | 45.1747
2019-03-05 05:45:00 | 4.54 | 196.1433 | 5.2233 | 215.5333 | 7.9767 | 18.78 | 7.79 | 10.3433 | 7.0767 | 882 | 85.1 | 43.278
2019-03-05 06:00:00 | 4.7 | 300.6033 | 5.4167 | 330.3333 | 8.0967 | 250.3867 | 7.73 | 9.13 | 7.1567 | 882 | 84.52 | 44.5827
2019-03-05 06:15:00 | 5.1533 | 214.62 | 5.9333 | 235.8467 | 8.15 | 4.4667 | 8.0433 | 18.3033 | 7.1433 | 882 | 84.8467 | 45.1547
2019-03-05 06:30:00 | 4.7067 | 23.8533 | 5.4267 | 26.2067 | 7.95 | 14.0133 | 7.9967 | 8.4433 | 6.9833 | 882 | 85.8 | 45.9167
2019-03-05 06:45:00 | 4.9533 | 206.1867 | 5.6933 | 226.5767 | 8.2267 | 10.02 | 8.2233 | 33.0067 | 6.88 | 882 | 86.4333 | 45.8167
2019-03-05 07:00:00 | 4.94 | 181.98 | 5.68 | 199.9767 | 8.16 | 7.0733 | 8.0633 | 165.1667 | 6.9867 | 882.8667 | 85.7667 | 44.6587
2019-03-05 07:15:00 | 4.7933 | 115.13 | 5.5267 | 126.52 | 8.0733 | 6.3467 | 7.8833 | 13.4867 | 7.07 | 883 | 85.3 | 45.7707
2019-03-05 07:30:00 | 4.62 | 308.5833 | 5.32 | 339.1 | 8.08 | 9.28 | 7.952 | 14.3667 | 7.0433 | 883 | 85.32 | 47.3033
2019-03-05 07:45:00 | 4.8533 | 32.4067 | 5.59 | 35.6033 | 8.5833 | 14.76 | 8.39 | 17.34 | 6.9767 | 883.5333 | 85.9333 | 49.346
2019-03-05 08:00:00 | 4.9533 | 13.8467 | 5.71 | 15.21 | 8.9367 | 14.18 | 8.95 | 12.1 | 6.9433 | 884 | 86.42 | 51.668
2019-03-05 08:15:00 | 5.3133 | 298.9433 | 6.1167 | 328.5 | 9.1067 | 6.9633 | 9.05 | 15.76 | 7.1133 | 884 | 85.7667 | 52.3133
2019-03-05 08:30:00 | 5.5067 | 134.2767 | 6.33 | 147.5533 | 9.7933 | 10.6767 | 9.7567 | 18.9533 | 7.3467 | 884 | 84.8333 | 50.366
2019-03-05 08:45:00 | 5.5267 | 16.87 | 6.3667 | 18.5367 | 9.99 | 15.2667 | 9.9367 | 14.2033 | 7.6233 | 884.5333 | 84.4333 | 50.4527
2019-03-05 09:00:00 | 5.4667 | 185.63 | 6.2933 | 203.99 | 10.2367 | 7.6333 | 10.4567 | 20.1367 | 8.09 | 885 | 83.1667 | 50.1567
2019-03-05 09:15:00 | 5.58 | 246.2433 | 6.4267 | 270.6 | 10.4433 | 8.2267 | 10.4833 | 20.4067 | 8.46 | 885 | 81.7333 | 49.2853
2019-03-05 09:30:00 | 5.2533 | 140.7433 | 6.04 | 154.6667 | 9.8567 | 17.6133 | 9.7633 | 20.78 | 8.5553 | 885.8667 | 80.8667 | 48.1113
2019-03-05 09:45:00 | 5.28 | 4.1967 | 6.08 | 4.6067 | 9.6267 | 8.8267 | 9.6367 | 19.55 | 8.7733 | 886 | 79.5767 | 49.724
2019-03-05 10:00:00 | 5.6667 | 220.5967 | 6.5267 | 242.4133 | 10.1067 | 7.4933 | 10.0967 | 19.9167 | 9.18 | 886 | 76.6967 | 48.122
2019-03-05 10:15:00 | 5.3467 | 33.9067 | 6.15 | 37.2533 | 9.8767 | 10.9533 | 10.04 | 16.4467 | 9.74 | 886 | 74.91 | 44.0013
2019-03-05 10:30:00 | 4.9067 | 196.82 | 5.65 | 216.2867 | 9.39 | 10.7933 | 9.7333 | 18.0667 | 10.2733 | 886.8667 | 73.9193 | 34.214
2019-03-05 10:45:00 | 4.7 | 289.1733 | 5.4133 | 317.7667 | 8.6767 | 5.7233 | 8.74 | 26.6133 | 10.6267 | 887 | 70.8267 | 25.9753
2019-03-05 11:00:00 | 4.1267 | 232.5133 | 4.7533 | 255.5 | 7.83 | 13.2433 | 8.12 | 27.9533 | 10.94 | 887 | 69.1933 | 22.088
2019-03-05 11:15:00 | 3.9267 | 10.61 | 4.52 | 11.66 | 6.8567 | 19.22 | 6.9333 | 22.3333 | 11.2633 | 887.5333 | 65.99 | 17.6473
2019-03-05 11:30:00 | 3.7933 | 217.19 | 4.3667 | 238.6733 | 6.0433 | 7.7933 | 6.26 | 17.1333 | 11.37 | 888 | 65.35 | 15.6607
2019-03-05 11:45:00 | 3.9467 | 171.8433 | 4.5467 | 188.84 | 6.8367 | 6.4467 | 6.79 | 23.4033 | 12.9833 | 888 | 60.32 | 15.5367
2019-03-05 12:00:00 | 4.12 | 15.9233 | 4.74 | 17.4867 | 7.19 | 10.1867 | 7.5033 | 24.33 | 14.0833 | 888 | 55.4 | 20.106
2019-03-05 12:15:00 | 4.9067 | 264.1833 | 5.65 | 290.3 | 8.6433 | 14.8967 | 9.08 | 24.5267 | 14.9733 | 888 | 49.6867 | 19.6827
2019-03-05 12:30:00 | 5.16 | 233.85 | 5.93 | 256.9667 | 8.9633 | 14.93 | 9.2267 | 26.7 | 14.8133 | 888 | 48.52 | 20.3427
2019-03-05 12:45:00 | 4.9933 | 186.438 | 5.7533 | 204.8667 | 8.7467 | 13.32 | 8.6233 | 26.6233 | 15.3333 | 888 | 46.2467 | 21.9613
2019-03-05 13:00:00 | 5.3267 | 216.9267 | 6.1333 | 238.38 | 9.1533 | 22.3133 | 9.2233 | 25.8967 | 15.4067 | 888 | 45.6867 | 25.8673
2019-03-05 13:15:00 | 5.4867 | 194.9167 | 6.3133 | 214.1933 | 9.4433 | 14.35 | 9.54 | 20.91 | 16.2433 | 888 | 42.4567 | 29.8693
2019-03-05 13:30:00 | 5.8733 | 26.35 | 6.7533 | 28.9533 | 9.79 | 14.1233 | 9.58 | 14.0567 | 15.41 | 888 | 42.45 | 27.208
2019-03-05 13:45:00 | 5.49 | 95.18 | 6.31 | 104.5867 | 9.2533 | 18.3 | 9.1967 | 29.7033 | 16.61 | 888 | 40.35 | 26.9693
2019-03-05 14:00:00 | 5.0187 | 113.1733 | 5.7787 | 124.3667 | 8.6267 | 18.7333 | 8.43 | 20.81 | 16.254 | 888 | 40.3833 | 19.81
2019-03-05 14:15:00 | 5.3833 | 51.76 | 6.2 | 56.8767 | 8.8667 | 24.32 | 8.67 | 32.6 | 17.33 | 888 | 38.3167 | 25.39
2019-03-05 14:30:00 | 5.7767 | 36.3467 | 6.64 | 39.9433 | 9.8267 | 24.32 | 9.6967 | 18.3133 | 17.8367 | 888 | 35.21 | 26.1767
2019-03-05 14:45:00 | 5.64 | 259.6633 | 6.49 | 285.3333 | 9.6633 | 17.39 | 9.5867 | 23.0633 | 16.1167 | 888 | 36.7 | 24.5713
2019-03-05 15:00:00 | 5.2933 | 308.8633 | 6.09 | 339.4 | 9.1433 | 6.1767 | 8.9267 | 13.8967 | 16.3633 | 887.1333 | 36.5067 | 20.6707
2019-03-05 15:15:00 | 4.3733 | 229.3233 | 5.03 | 252.0033 | 7.0733 | 24.2967 | 6.3267 | 30.02 | 17.9067 | 887 | 33.9533 | 16.4453
2019-03-05 15:30:00 | 3.8867 | 225.75 | 4.47 | 248.07 | 6.3267 | 35.7833 | 6.0333 | 27.6067 | 17.6267 | 887 | 34.1733 | 14.7127
2019-03-05 15:45:00 | 3.7133 | 100.24 | 4.27 | 110.1467 | 6.3333 | 18.23 | 6.0133 | 35.7267 | 16.7967 | 887 | 35.6167 | 14.686
2019-03-05 16:00:00 | 4.3533 | 183.9467 | 5.01 | 202.1333 | 7.0267 | 12.19 | 6.9533 | 24.68 | 17.5833 | 887 | 34.1633 | 12.6373
2019-03-05 16:15:00 | 3.02 | 78.8333 | 3.48 | 86.63 | 4.88 | 17.99 | 5.53 | 10.7933 | 16.5533 | 887 | 36.13 | 15.3347
2019-03-05 16:30:00 | 3.18 | 96.3133 | 3.66 | 105.83 | 5.4267 | 31.7767 | 5.1633 | 32.3533 | 15.9733 | 887 | 38.0433 | 13.6247
2019-03-05 16:45:00 | 3.35 | 50.7867 | 3.8567 | 55.8 | 5.75 | 11.7667 | 5.0867 | 20.45 | 16.1433 | 887 | 38.2567 | 9.928
2019-03-05 17:00:00 | 2.8033 | 233.14 | 3.2233 | 256.2 | 4.8233 | 20.7933 | 4.5733 | 22.4633 | 16.0367 | 887 | 38.6233 | 7.866
2019-03-05 17:15:00 | 3.19 | 2.44 | 3.6667 | 2.67 | 5.6067 | 42.6567 | 5.09 | 25.0333 | 16.0167 | 887 | 38.9167 | 9.0107
2019-03-05 17:30:00 | 3.07 | 109.7067 | 3.5333 | 120.55 | 5.36 | 13.7433 | 5.1833 | 37.5933 | 15.83 | 887 | 39.19 | 18.7273
2019-03-05 17:45:00 | 4.4767 | 133.4413 | 5.1607 | 146.632 | 7.8107 | 21.7493 | 7.216 | 34.4633 | 15.5173 | 887 | 38.91 | 26.4507
2019-03-05 18:00:00 | 3.6 | 300.0867 | 4.15 | 329.7667 | 6.1033 | 32.27 | 5.4733 | 31.6633 | 14.99 | 887 | 38.3867 | 24.1307
2019-03-05 18:15:00 | 2.4433 | 82.2733 | 2.8167 | 90.4133 | 4.3933 | 31.0433 | 4.1367 | 26.02 | 14.6433 | 887 | 39.24 | 22.08
2019-03-05 18:30:00 | 2.07 | 199.6133 | 2.3833 | 219.3467 | 3.7467 | 32.13 | 3.7967 | 24.6733 | 14.3567 | 887 | 39.6533 | 16.1493
2019-03-05 18:45:00 | 1.84 | 95.25 | 2.13 | 104.6667 | 3.1333 | 82.41 | 2.4633 | 80.1133 | 13.9867 | 887 | 40.9867 | 19.208
2019-03-05 19:00:00 | 1.62 | 71.8167 | 1.8767 | 78.9133 | 2.9867 | 71.2567 | 2.5367 | 76.2267 | 13.74 | 887 | 42.4 | 19.1353
2019-03-05 19:15:00 | 2.46 | 33.266 | 2.838 | 36.548 | 3.86 | 80.642 | 3.466 | 72.32 | 13.552 | 887 | 43.242 | 15.4853
2019-03-05 19:30:00 | 2.3533 | 91.5767 | 2.71 | 100.6333 | 3.5533 | 79.5367 | 3.6033 | 92.7333 | 13.4933 | 887 | 43.6033 | 12.4893
2019-03-05 19:45:00 | 2.16 | 42.1133 | 2.4867 | 46.2733 | 3.7267 | 77.6933 | 3.3767 | 87.2667 | 13.3633 | 887 | 44.64 | 11.454
2019-03-05 20:00:00 | 2.224 | 80.376 | 2.562 | 88.316 | 4.04 | 78.276 | 4.552 | 91.24 | 13.154 | 887 | 45.59 | 9.894
2019-03-05 20:15:00 | 2.6467 | 77.7467 | 3.0533 | 85.4333 | 4.2433 | 103.9667 | 5.9267 | 94.7 | 13.0633 | 887 | 43.1567 | 6.3087
2019-03-05 20:30:00 | 3.4467 | 90.6667 | 3.9667 | 99.6333 | 4.5967 | 107.5 | 5.48 | 104.2333 | 13.4233 | 887 | 38.5967 | 4.12
2019-03-05 20:45:00 | 3.5533 | 132.5867 | 4.0867 | 145.7 | 4.6067 | 227.0333 | 4.6867 | 214.9667 | 13.1733 | 887 | 45.12 | 5.8973
2019-03-05 21:00:00 | 3.26 | 182.4667 | 3.76 | 200.5 | 4.1533 | 203.8333 | 4.1333 | 218.7667 | 12.7267 | 887.8667 | 55.3667 | 3.5053
2019-03-05 21:15:00 | 2.1467 | 175.7933 | 2.4667 | 193.1667 | 2.9467 | 222.8333 | 3.1133 | 216.4 | 12.41 | 888 | 57.8967 | 3.4647
2019-03-05 21:30:00 | 2.16 | 161.6533 | 2.48 | 177.6333 | 2.94 | 202.3667 | 2.9867 | 203.0667 | 12.0367 | 888 | 59.9233 | 3.144
2019-03-05 21:45:00 | 2.3467 | 169.8967 | 2.6967 | 186.7 | 3.2333 | 207.5 | 3.4167 | 224.6 | 11.6933 | 888 | 61.7333 | 2.3547
2019-03-05 22:00:00 | 2.18 | 175.7833 | 2.5033 | 193.1667 | 3.3933 | 245.1 | 3.6967 | 238.9333 | 11.4667 | 888 | 64.8867 | 3.9107
2019-03-05 22:15:00 | 2.12 | 175.42 | 2.45 | 192.7667 | 3.3133 | 226.5 | 3.59 | 222.7 | 11.15 | 888 | 68.3033 | 6.0973
2019-03-05 22:30:00 | 2.2267 | 188.9467 | 2.57 | 207.6333 | 3.3867 | 226.6333 | 3.9167 | 236.9 | 11.1633 | 888 | 68.57 | 5.5407
2019-03-05 22:45:00 | 2.2667 | 187.2867 | 2.6033 | 205.8 | 3.41 | 223.0667 | 3.68 | 229.3667 | 11.2007 | 888 | 68.25 | 4.344
2019-03-05 23:00:00 | 1.8667 | 171.0267 | 2.1433 | 187.9333 | 3.1233 | 206.9333 | 3.5067 | 225.7667 | 11.0853 | 888 | 69.0187 | 3.6927
2019-03-05 23:15:00 | 1.46 | 195.4733 | 1.69 | 214.8 | 2.56 | 216.6333 | 2.96 | 226.6333 | 10.88 | 888 | 70.2267 | 3.522
2019-03-05 23:30:00 | 1.942 | 223.736 | 2.236 | 245.86 | 3.114 | 222.6 | 3.27 | 241.54 | 10.924 | 888.8667 | 70.27 | 2.592
2019-03-05 23:45:00 | 2.28 | 167.1067 | 2.6233 | 183.6333 | 3.1 | 202.0667 | 3.2933 | 212 | 10.77 | 889 | 71.3467 | 3.1867