## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-06 00:00:00 | 1.976 | 185.834 | 2.276 | 204.2 | 2.948 | 210.98 | 3.006 | 208.52 | 10.636 | 889 | 72.444 | 3.2653
2019-03-06 00:15:00 | 1.4333 | 181.46 | 1.6533 | 199.4 | 2.52 | 223.9 | 2.6933 | 216.0667 | 10.51 | 889 | 72.7833 | 1.4533
2019-03-06 00:30:00 | 0.66 | 222.72 | 0.76667 | 244.7333 | 1.2333 | 222.9667 | 1.52 | 240.2 | 10.472 | 889 | 72.0833 | 0.23267
2019-03-06 00:45:00 | 0.95333 | 178.27 | 1.1 | 195.9 | 1.7933 | 215.4667 | 1.8633 | 219.2667 | 10.5033 | 889 | 71.946 | 0
2019-03-06 01:00:00 | 1.12 | 179.9847 | 1.3 | 197.7733 | 1.9467 | 198.2667 | 1.93 | 204.1333 | 10.554 | 889 | 71.828 | 0
2019-03-06 01:15:00 | 2.0067 | 169.02 | 2.31 | 185.7333 | 2.4167 | 190.2333 | 2.5667 | 197.7667 | 10.5453 | 889 | 71.6133 | 0.93533
2019-03-06 01:30:00 | 2.48 | 164.5933 | 2.8567 | 180.8667 | 3.2833 | 188.7667 | 3.28 | 192.7667 | 10.25 | 889 | 73.18 | 2.4533
2019-03-06 01:45:00 | 2.6267 | 161.2333 | 3.0333 | 177.1667 | 3.3767 | 188.1333 | 3.7767 | 198.7 | 9.65 | 889 | 75.83 | 3.9573
2019-03-06 02:00:00 | 2.3067 | 177.18 | 2.66 | 194.7 | 2.7833 | 187.2 | 3.0433 | 184.3 | 9.5833 | 889 | 75.37 | 4.6527
2019-03-06 02:15:00 | 2.9833 | 158.0967 | 3.44 | 173.7333 | 3.4733 | 188.5333 | 3.4733 | 199.5667 | 9.5867 | 889 | 74.2 | 5.4787
2019-03-06 02:30:00 | 3.21 | 159.9833 | 3.6933 | 175.8 | 3.8933 | 190.8667 | 3.9533 | 205.9 | 9.5133 | 889 | 74.08 | 6.4807
2019-03-06 02:45:00 | 2.9067 | 159.89 | 3.3433 | 175.7 | 3.6333 | 188.3 | 3.5567 | 221.4667 | 9.25 | 889 | 75.1333 | 5.438
2019-03-06 03:00:00 | 2.3 | 142.1167 | 2.6433 | 156.1667 | 3.12 | 182.2333 | 3.0967 | 207.4 | 9.1167 | 889 | 75.8867 | 2.5693
2019-03-06 03:15:00 | 1.9013 | 156.2153 | 2.1853 | 171.6667 | 2.702 | 172.3333 | 2.6113 | 196.9533 | 9.06 | 889 | 76.3833 | 1.2933
2019-03-06 03:30:00 | 1.29 | 151.1467 | 1.4833 | 166.1 | 2.29 | 165.8333 | 2.11 | 183.7 | 9.1153 | 888.1333 | 76.6833 | 0.62467
2019-03-06 03:45:00 | 1.12 | 157.79 | 1.2967 | 173.4 | 2.1067 | 170 | 2.0467 | 176.5 | 9.3267 | 888 | 76.27 | 0.22
2019-03-06 04:00:00 | 1.1333 | 169.5213 | 1.31 | 186.2867 | 1.9667 | 171.5333 | 2.0133 | 171.4333 | 9.3867 | 888 | 76.074 | 0
2019-03-06 04:15:00 | 1.02 | 180.084 | 1.1767 | 197.8933 | 1.7633 | 178.6667 | 1.82 | 173.8 | 9.382 | 888 | 76.0387 | 0
2019-03-06 04:30:00 | 0.78667 | 183.76 | 0.91 | 201.9333 | 1.51 | 179.14 | 1.6 | 168.7333 | 9.3667 | 888 | 76.03 | 0
2019-03-06 04:45:00 | 0.67667 | 173.63 | 0.78 | 190.8 | 1.3533 | 170.7 | 1.58 | 165.3467 | 9.3213 | 888 | 76.0767 | 0
2019-03-06 05:00:00 | 0.33 | 159.27 | 0.38667 | 175.02 | 0.23333 | 170.7 | 0.49333 | 165.3 | 8.9967 | 888 | 77.19 | 0
2019-03-06 05:15:00 | 1.1167 | 15.5567 | 1.2933 | 17.0833 | 0.68333 | 68.4833 | 0.28667 | 119.61 | 8.3833 | 888 | 77.848 | 0
2019-03-06 05:30:00 | 2.1967 | 0.47667 | 2.5267 | 0.51667 | 2.6167 | 11.57 | 2.1467 | 17.1233 | 7.7167 | 887.8 | 79.1433 | 0
2019-03-06 05:45:00 | 2.8867 | 312.5 | 3.3233 | 343.4 | 3.6733 | 12.16 | 3.6467 | 30.2133 | 7.52 | 887 | 80.5 | 0.15533
2019-03-06 06:00:00 | 3.1067 | 316.74 | 3.5767 | 348.0667 | 4.1 | 15.2067 | 4.4267 | 29.9733 | 7.3693 | 887 | 81.4333 | 2.1373
2019-03-06 06:15:00 | 2.7867 | 320.78 | 3.21 | 352.5 | 4.3 | 17.4433 | 4.8167 | 22.82 | 7.1467 | 887 | 82.9 | 2.6913
2019-03-06 06:30:00 | 2.96 | 320.6913 | 3.41 | 352.4067 | 4.0133 | 4.09 | 4.0033 | 7.92 | 7.1267 | 887 | 82.5 | 3.7733
2019-03-06 06:45:00 | 2.91 | 307.6167 | 3.3533 | 338.0333 | 4.4467 | 2.8367 | 4.4633 | 5.48 | 6.89 | 887 | 83.1667 | 3.9833
2019-03-06 07:00:00 | 3.3167 | 307.1367 | 3.8133 | 337.5 | 4.32 | 238.05 | 4.3033 | 2.6267 | 6.8967 | 887 | 82.9 | 3.9793
2019-03-06 07:15:00 | 3.52 | 188.5567 | 4.0533 | 207.1933 | 4.74 | 2.6267 | 4.3733 | 239.17 | 6.8633 | 887 | 82.4 | 5.5813
2019-03-06 07:30:00 | 3.7267 | 217.85 | 4.2867 | 239.3933 | 5.14 | 2.4333 | 5.08 | 3.93 | 6.7633 | 887 | 82.98 | 7.4467
2019-03-06 07:45:00 | 3.36 | 122.31 | 3.8667 | 134.4 | 4.9967 | 4.4667 | 5.0533 | 144.17 | 6.6467 | 887 | 84.8333 | 7.3513
2019-03-06 08:00:00 | 3.3 | 111.1567 | 3.7933 | 122.1467 | 5.128 | 7.3067 | 5.2067 | 236.7033 | 6.6933 | 887.2 | 85.48 | 9.45
2019-03-06 08:15:00 | 3.33 | 218.1067 | 3.83 | 239.67 | 5.3 | 1.57 | 5.34 | 13.3767 | 6.6833 | 888 | 85.6467 | 15.4213
2019-03-06 08:30:00 | 3.5367 | 34.9 | 4.0767 | 38.3433 | 5.9733 | 4.8167 | 6.4467 | 12.5167 | 6.5833 | 888 | 86.4 | 18.2093
2019-03-06 08:45:00 | 4.2333 | 317.4433 | 4.8767 | 348.8333 | 6.3967 | 127.7533 | 6.7567 | 21.4267 | 6.9067 | 888 | 85.7667 | 22.1827
2019-03-06 09:00:00 | 4.18 | 141.0033 | 4.8033 | 154.9467 | 6.5033 | 353.8333 | 6.6633 | 243.46 | 7.44 | 888 | 84.5667 | 25.4513
2019-03-06 09:15:00 | 4.5133 | 316.5367 | 5.19 | 347.8333 | 7.3 | 119.98 | 7.6 | 13.5867 | 8.3133 | 888.5333 | 80.6667 | 27.4247
2019-03-06 09:30:00 | 4.8387 | 151.9273 | 5.5713 | 166.9453 | 7.7467 | 168.0493 | 8.1253 | 17.168 | 8.132 | 889 | 81.3733 | 23.2833
2019-03-06 09:45:00 | 4.4 | 15.62 | 5.06 | 17.1667 | 7.18 | 6.7233 | 7.1667 | 11.4933 | 8.1133 | 889 | 81.6667 | 16.7793
2019-03-06 10:00:00 | 4.64 | 204.9333 | 5.34 | 225.2 | 7.1933 | 13.9233 | 7.2467 | 13.0133 | 8.2733 | 889.8667 | 81.3333 | 15.3733
2019-03-06 10:15:00 | 4.58 | 124.9 | 5.27 | 137.2467 | 7.4567 | 4.8033 | 7.5333 | 6.5533 | 8.8433 | 890 | 80.29 | 15.37
2019-03-06 10:30:00 | 4.5913 | 320.84 | 5.2833 | 352.5667 | 7.1033 | 0.95 | 7.1667 | 5.9867 | 8.8567 | 890 | 80.2233 | 15.2047
2019-03-06 10:45:00 | 4.2467 | 26.3867 | 4.8933 | 28.9933 | 6.7167 | 3.3867 | 6.8733 | 12.2767 | 9.1367 | 890 | 79.03 | 16.674
2019-03-06 11:00:00 | 4.0467 | 4 | 4.6533 | 4.3933 | 7.0367 | 5.4133 | 7.2933 | 17.2033 | 9.5033 | 890 | 78.06 | 14.1553
2019-03-06 11:15:00 | 3.9333 | 93.3333 | 4.53 | 102.56 | 6.6067 | 11.1733 | 6.7567 | 8.7733 | 9.51 | 890 | 77.7953 | 11.6353
2019-03-06 11:30:00 | 3.7867 | 271.3333 | 4.3633 | 298.1667 | 6.56 | 10.2533 | 6.71 | 13.0733 | 9.27 | 890 | 78.91 | 9.5593
2019-03-06 11:45:00 | 3.52 | 312.4033 | 4.0467 | 343.3 | 6.34 | 11.91 | 6.3833 | 18.3467 | 9.1867 | 890 | 79.3833 | 7.6727
2019-03-06 12:00:00 | 3.46 | 110.6233 | 3.98 | 121.56 | 6.16 | 14.0967 | 6.0833 | 17.7133 | 9.5467 | 890 | 78.17 | 3.8853
2019-03-06 12:15:00 | 3.164 | 12.7173 | 3.6433 | 13.9633 | 5.0313 | 24.232 | 4.5893 | 8.602 | 9.5947 | 890 | 77.9607 | 0.20067
2019-03-06 12:30:00 | 2.11 | 7.02 | 2.4333 | 7.7167 | 3.42 | 20.8267 | 3.3167 | 21.8267 | 9.5933 | 890 | 78.5633 | 0
2019-03-06 12:45:00 | 1.3587 | 107.0573 | 1.5653 | 117.6413 | 2.212 | 14.258 | 2.288 | 24.5407 | 9.752 | 890 | 78.8667 | 0
2019-03-06 13:00:00 | 1.2467 | 130.6 | 1.44 | 143.5067 | 1.7533 | 224.29 | 1.64 | 208.79 | 10.04 | 890 | 78.8333 | 0
2019-03-06 13:15:00 | 1.9267 | 113.0333 | 2.2167 | 124.2133 | 2.1733 | 324.0667 | 2.05 | 321.8333 | 10.3733 | 890 | 77.42 | 0.446
2019-03-06 13:30:00 | 1.1733 | 104.9867 | 1.35 | 115.3667 | 1.3933 | 119.3667 | 1.47 | 206.7667 | 11.3467 | 890 | 74.4267 | 0.46333
2019-03-06 13:45:00 | 2.51 | 151.8833 | 2.8867 | 166.9 | 2.81 | 160.3 | 3.1333 | 162.4667 | 12.1833 | 890 | 65.2133 | 1.8933
2019-03-06 14:00:00 | 3.9367 | 131.5033 | 4.5267 | 144.5 | 4.49 | 156.8333 | 4.5533 | 177.3333 | 12.2233 | 890 | 60.8667 | 6.3107
2019-03-06 14:15:00 | 4.46 | 154.24 | 5.1267 | 169.5 | 5.1633 | 170.7333 | 5.4767 | 169.3667 | 11.6467 | 890 | 60.7867 | 4.9207
2019-03-06 14:30:00 | 3.7533 | 149.1727 | 4.3267 | 163.9267 | 4.4033 | 165.8667 | 4.4767 | 181.1 | 12.1667 | 889.8 | 58.06 | 3.4927
2019-03-06 14:45:00 | 3.9533 | 152.8767 | 4.55 | 168 | 4.5267 | 180.2 | 4.8067 | 187.7 | 12.14 | 889 | 58.2633 | 5.924
2019-03-06 15:00:00 | 4.14 | 166.11 | 4.7633 | 182.5333 | 4.9667 | 188.16 | 5.3933 | 178.5667 | 11.54 | 889 | 61.1033 | 8.7307
2019-03-06 15:15:00 | 4.0467 | 136.99 | 4.6633 | 150.5333 | 4.98 | 183.2333 | 4.95 | 174.2667 | 10.4433 | 889 | 69.2367 | 5.58
2019-03-06 15:30:00 | 3.2067 | 159.7433 | 3.6967 | 175.5333 | 3.9067 | 201.1667 | 4.1767 | 189.3333 | 9.97 | 888.1333 | 72.53 | 4.5447
2019-03-06 15:45:00 | 3.8 | 188.7333 | 4.3767 | 207.4 | 4.6067 | 184.4667 | 4.86 | 183.4 | 9.8033 | 888 | 74.6 | 5.5707
2019-03-06 16:00:00 | 3.3667 | 137.2867 | 3.8767 | 150.8667 | 3.9333 | 200.1333 | 4.1 | 191.8667 | 9.85 | 888 | 74.3727 | 3.1687
2019-03-06 16:15:00 | 3.1133 | 207.52 | 3.5833 | 228.0333 | 3.9467 | 224.5333 | 4.29 | 223.9 | 9.84 | 888 | 76.3633 | 2.7087
2019-03-06 16:30:00 | 2.5067 | 175.1733 | 2.89 | 192.5 | 3.3067 | 224.7333 | 3.8167 | 228.9 | 9.88 | 888 | 76.002 | 2.142
2019-03-06 16:45:00 | 2.3733 | 166.72 | 2.7267 | 183.2 | 3.0867 | 213.6667 | 3.15 | 226.2 | 9.7967 | 888 | 74.8367 | 0.93067
2019-03-06 17:00:00 | 1.8667 | 152.28 | 2.1467 | 167.3333 | 2.6467 | 207.6 | 2.63 | 210.6 | 9.4767 | 888 | 77.4833 | 0.26333
2019-03-06 17:15:00 | 1.6033 | 181.9433 | 1.8433 | 199.9333 | 2.56 | 214.8 | 2.6267 | 224.5333 | 9.11 | 888 | 83.2667 | 0
2019-03-06 17:30:00 | 0.84333 | 185.0967 | 0.97667 | 203.4 | 1.6533 | 238.6 | 1.88 | 243.5333 | 9.1833 | 888 | 83.0667 | 0
2019-03-06 17:45:00 | 0.46 | 182.03 | 0.53333 | 200.0333 | 0.91 | 237.8667 | 1.4467 | 246.5333 | 9.3033 | 888 | 81.3333 | 0
2019-03-06 18:00:00 | 0.42 | 181.75 | 0.48667 | 199.72 | 0.83667 | 233 | 1.2467 | 236.1333 | 9.2633 | 888 | 79.8333 | 0
2019-03-06 18:15:00 | 0.42667 | 178.4 | 0.49333 | 196.0333 | 0.83667 | 188.1 | 0.94 | 206.5 | 8.97 | 888 | 81.8 | 0
2019-03-06 18:30:00 | 0.64 | 171.52 | 0.73333 | 188.48 | 1.2367 | 183.28 | 1.4133 | 196.14 | 8.83 | 888 | 82.0867 | 0.064
2019-03-06 18:45:00 | 1.3533 | 172.4433 | 1.5567 | 189.5 | 2.08 | 208.2333 | 2.2167 | 200.1333 | 8.83 | 888 | 81.6133 | 0.436
2019-03-06 19:00:00 | 1.9 | 174.8167 | 2.1833 | 192.1 | 2.6667 | 214.2333 | 2.63 | 202.0667 | 8.912 | 888 | 78.7467 | 2.0253
2019-03-06 19:15:00 | 1.47 | 174.6 | 1.6933 | 191.8667 | 2.47 | 201.3333 | 2.5867 | 202.5333 | 8.9667 | 888 | 77.5833 | 2.0587
2019-03-06 19:30:00 | 1.41 | 171.3933 | 1.6333 | 188.3333 | 2.27 | 200.4 | 2.4533 | 186.3333 | 8.9 | 888 | 78.2167 | 1.9953
2019-03-06 19:45:00 | 2.1533 | 142.6 | 2.4867 | 156.7 | 2.7833 | 158.6 | 3.0467 | 169 | 8.9167 | 888 | 78.2267 | 1.6833
2019-03-06 20:00:00 | 2.0667 | 148.9067 | 2.38 | 163.6333 | 2.9033 | 149.4 | 3.1667 | 164.8 | 8.8433 | 888 | 79.8467 | 3.34
2019-03-06 20:15:00 | 2.2967 | 159.95 | 2.64 | 175.7667 | 3.1767 | 166.2667 | 3.69 | 168.2333 | 8.66 | 888 | 82.7667 | 4.676
2019-03-06 20:30:00 | 2.3967 | 161.5833 | 2.7533 | 177.5667 | 3.25 | 169.42 | 3.8033 | 177.9 | 8.6333 | 888 | 80.68 | 1.5
2019-03-06 20:45:00 | 1.1867 | 207.03 | 1.3633 | 227.5 | 1.7567 | 218.3667 | 1.79 | 227.3667 | 8.58 | 888 | 80.0433 | 0
2019-03-06 21:00:00 | 1.7467 | 309.01 | 2.01 | 339.5667 | 2.2433 | 346.1 | 1.9767 | 130.2 | 8.44 | 888 | 80.5 | 0
2019-03-06 21:15:00 | 1.88 | 323.48 | 2.17 | 355.4667 | 2.4833 | 13.16 | 2.2867 | 17.5067 | 8.26 | 888 | 82.7 | 0
2019-03-06 21:30:00 | 1.98 | 316.44 | 2.2767 | 347.7333 | 2.67 | 7.5867 | 2.48 | 16.6133 | 8.16 | 888.8667 | 85.1667 | 0
2019-03-06 21:45:00 | 2.14 | 196.062 | 2.458 | 215.4493 | 3.1007 | 9.7333 | 2.9027 | 17.1967 | 8.0107 | 889 | 87.5667 | 0
2019-03-06 22:00:00 | 2.38 | 114.29 | 2.7367 | 125.5933 | 3.2167 | 8.3667 | 2.8133 | 16.07 | 7.96 | 889 | 89.9 | 0
2019-03-06 22:15:00 | 2.1467 | 206.83 | 2.47 | 227.2833 | 3.26 | 18.7733 | 3.2067 | 19.5167 | 7.8267 | 889 | 92.5667 | 0
2019-03-06 22:30:00 | 2.4667 | 2.59 | 2.8433 | 2.8367 | 3.7333 | 14.4933 | 3.4667 | 13.97 | 7.6533 | 889 | 94.7667 | 0.025333
2019-03-06 22:45:00 | 2.88 | 209.3633 | 3.3133 | 230.06 | 3.8067 | 7.8 | 3.5867 | 9.0633 | 7.6 | 889 | 95 | 0
2019-03-06 23:00:00 | 2.64 | 6.4833 | 3.04 | 7.1133 | 3.5067 | 17.3133 | 3.1267 | 13.5367 | 7.618 | 889 | 94 | 0
2019-03-06 23:15:00 | 2.0467 | 8.37 | 2.3667 | 9.19 | 3.2 | 15.0533 | 2.44 | 17.6367 | 7.5533 | 889 | 95.2333 | 0
2019-03-06 23:30:00 | 2.5267 | 207.93 | 2.9133 | 228.4833 | 3.9467 | 14.9533 | 3.62 | 8.17 | 7.3667 | 889 | 96.8333 | 0.94333
2019-03-06 23:45:00 | 2.6633 | 219.7353 | 3.0633 | 241.4567 | 4.6433 | 15.1433 | 4.6333 | 23.2767 | 7.2533 | 889 | 97.9667 | 2.61