## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-07 00:00:00 | 2.7833 | 200.9867 | 3.2033 | 220.85 | 5.13 | 15.7767 | 5 | 23.4567 | 7.14 | 889 | 98.5667 | 2.7007
2019-03-07 00:15:00 | 2.99 | 4.9767 | 3.4367 | 5.4633 | 4.5233 | 19.8433 | 4.6567 | 24.07 | 7.1047 | 889 | 99.1 | 2.8347
2019-03-07 00:30:00 | 3.07 | 7.5167 | 3.53 | 8.25 | 4.75 | 21.95 | 4.8367 | 28.4167 | 7.0713 | 889 | 99.4333 | 3.56
2019-03-07 00:45:00 | 3.0833 | 220.5133 | 3.5433 | 242.3167 | 4.9033 | 15.7267 | 4.9567 | 18.7733 | 7.0547 | 889 | 99.5 | 2.9667
2019-03-07 01:00:00 | 3.0833 | 9.7067 | 3.5433 | 10.6567 | 4.65 | 17.98 | 4.4833 | 18.9333 | 7.0453 | 889 | 99.5867 | 2.4253
2019-03-07 01:15:00 | 2.6533 | 106.0167 | 3.0533 | 116.5 | 4.02 | 12.2067 | 4.0067 | 15.84 | 7.0213 | 889 | 99.6 | 0.172
2019-03-07 01:30:00 | 2.3 | 296.7167 | 2.6533 | 326.0667 | 3.4333 | 15.8867 | 2.9667 | 29.6667 | 6.9567 | 889 | 99.7067 | 0
2019-03-07 01:45:00 | 2.0187 | 95.6907 | 2.334 | 105.144 | 3.1947 | 16.5153 | 2.9767 | 24.0433 | 6.8547 | 889 | 99.8 | 0
2019-03-07 02:00:00 | 1.7 | 290.5733 | 1.9567 | 319.3 | 2.9233 | 19.5533 | 3.4067 | 21.14 | 6.8067 | 889 | 99.8 | 0.36533
2019-03-07 02:15:00 | 1.3867 | 314.2867 | 1.6 | 345.3667 | 2.5867 | 6.8233 | 3.1433 | 12.7067 | 6.7333 | 889 | 99.8533 | 0.097333
2019-03-07 02:30:00 | 1.2067 | 310.5267 | 1.4 | 341.2333 | 2.3933 | 10.9433 | 2.89 | 21.2067 | 6.6867 | 888.1333 | 99.9867 | 0.21571
2019-03-07 02:45:00 | 1.1533 | 307.23 | 1.3267 | 337.6 | 2.1267 | 6.57 | 2.6067 | 10.7967 | 6.6733 | 888 | 100 | 0
2019-03-07 03:00:00 | 0.90667 | 315.14 | 1.04 | 346.3 | 1.6667 | 6.2767 | 2.62 | 17.8967 | 6.66 | 888 | 100 | 0
2019-03-07 03:15:00 | 1.4733 | 317.2567 | 1.6967 | 348.6333 | 2.57 | 10.6667 | 3.05 | 18.2367 | 6.66 | 888 | 100 | 0.43667
2019-03-07 03:30:00 | 1.6267 | 106.4567 | 1.8767 | 116.9867 | 2.7433 | 12.68 | 2.7567 | 17.6833 | 6.662 | 888 | 100 | 0.464
2019-03-07 03:45:00 | 1.6533 | 115.6167 | 1.9067 | 127.04 | 2.9467 | 15.4033 | 2.6267 | 4.28 | 6.68 | 888 | 100 | 1.0387
2019-03-07 04:00:00 | 1.8 | 215.4033 | 2.0667 | 236.7 | 2.7667 | 16.1633 | 2.6533 | 7.5867 | 6.6907 | 888 | 100 | 0.612
2019-03-07 04:15:00 | 1.9733 | 209.5633 | 2.2767 | 230.2867 | 3.04 | 4.49 | 2.8833 | 11.3767 | 6.6567 | 888 | 100 | 0.48933
2019-03-07 04:30:00 | 1.58 | 6.1033 | 1.83 | 6.7067 | 2.62 | 15.9833 | 2.7233 | 14.17 | 6.61 | 888 | 100 | 0.31133
2019-03-07 04:45:00 | 1.78 | 227.19 | 2.0467 | 249.6567 | 3.2167 | 23.41 | 3.2 | 25.5667 | 6.58 | 888 | 100 | 0.49733
2019-03-07 05:00:00 | 1.5 | 17.55 | 1.72 | 19.2767 | 2.97 | 17.17 | 2.98 | 19.6333 | 6.5867 | 888 | 100 | 0.23133
2019-03-07 05:15:00 | 1.6533 | 96.4433 | 1.9133 | 105.98 | 3.18 | 19.2267 | 3.01 | 19.12 | 6.5233 | 888 | 100 | 0.30933
2019-03-07 05:30:00 | 1.5133 | 92.5233 | 1.7533 | 101.6667 | 2.8667 | 16.18 | 2.8633 | 10.5467 | 6.4567 | 887.1333 | 100 | 0.57267
2019-03-07 05:45:00 | 1.5367 | 316.4067 | 1.7667 | 347.7 | 2.61 | 10.7433 | 2.58 | 37.5467 | 6.32 | 887.5333 | 100 | 0.57933
2019-03-07 06:00:00 | 1.5233 | 309.1867 | 1.7533 | 339.7667 | 1.8767 | 10.89 | 1.96 | 24.4 | 6.1933 | 887.1333 | 100 | 0.756
2019-03-07 06:15:00 | 1.58 | 204.34 | 1.8267 | 224.5433 | 2.4933 | 14.6 | 2.29 | 21.84 | 6.13 | 887 | 100 | 0.54133
2019-03-07 06:30:00 | 1.26 | 5.7867 | 1.46 | 6.3567 | 1.8533 | 11.5533 | 1.6033 | 243.1867 | 6.19 | 887.2 | 100 | 0.09
2019-03-07 06:45:00 | 1.2467 | 295.3667 | 1.44 | 324.5667 | 1.8533 | 12.7133 | 1.7333 | 8.7533 | 6.18 | 888 | 100 | 0.29267
2019-03-07 07:00:00 | 0.3 | 114.6467 | 0.34667 | 125.9867 | 0.48667 | 225.1933 | 0.4 | 9.8533 | 6.1667 | 888 | 100 | 1.026
2019-03-07 07:15:00 | 0.30667 | 205.8367 | 0.36333 | 226.1967 | 0.10333 | 23.6033 | 0.093333 | 56.2 | 6.0767 | 888 | 100 | 0.87333
2019-03-07 07:30:00 | 0.06 | 1.2433 | 0.07 | 1.3633 | 0.056667 | 23.83 | 0.033333 | 272.0333 | 6.03 | 888 | 100 | 0.97867
2019-03-07 07:45:00 | 0.006667 | 101.0133 | 0.006667 | 111 | 0 | 41.6033 | 0 | 0.73 | 5.9733 | 888 | 100 | 2.352
2019-03-07 08:00:00 | 0.24 | 315.74 | 0.27333 | 346.9667 | 0.08 | 252.93 | 0 | 0.43667 | 5.9733 | 888 | 100 | 1.85
2019-03-07 08:15:00 | 0.46 | 314.98 | 0.53333 | 346.1333 | 0.19333 | 324.1 | 0.27667 | 280.5 | 6.05 | 888 | 100 | 2.2427
2019-03-07 08:30:00 | 0.6 | 299.3333 | 0.69333 | 328.9333 | 0.50667 | 279.4333 | 0.73667 | 256.0333 | 6.028 | 888 | 100 | 3
2019-03-07 08:45:00 | 0.62667 | 147.0333 | 0.71667 | 161.5667 | 1.1 | 214.0667 | 1.5433 | 228.3333 | 5.98 | 888 | 100 | 3.3487
2019-03-07 09:00:00 | 0.39333 | 146.9667 | 0.45 | 161.5 | 0.68667 | 210.7333 | 1.2033 | 229.4 | 5.96 | 888.8667 | 100 | 4.4547
2019-03-07 09:15:00 | 0.82333 | 164.68 | 0.95333 | 180.9667 | 1.1433 | 174.5667 | 1.8133 | 191.8333 | 6.0433 | 889 | 100 | 3.9793
2019-03-07 09:30:00 | 1.4633 | 163.5867 | 1.68 | 179.7667 | 2.2167 | 221.7 | 2.7333 | 226.2333 | 6.09 | 889 | 100 | 2.4847
2019-03-07 09:45:00 | 1.18 | 178.0067 | 1.37 | 195.6 | 1.52 | 212.6333 | 2.2367 | 211.0333 | 6.12 | 889 | 100 | 0.86067
2019-03-07 10:00:00 | 0.50667 | 168.3533 | 0.59 | 185 | 0.64 | 222.3 | 1.1167 | 235.7 | 6.28 | 889.2 | 100 | 0.55133
2019-03-07 10:15:00 | 0.043333 | 160.8267 | 0.053333 | 176.7333 | 0.016667 | 232.9333 | 0.25 | 227.5333 | 6.55 | 890 | 100 | 0.626
2019-03-07 10:30:00 | 0.22333 | 136.9333 | 0.26 | 150.4667 | 0.09 | 177.8667 | 0.35 | 196.1333 | 6.5033 | 890 | 100 | 1.1353
2019-03-07 10:45:00 | 1.5133 | 164.7733 | 1.75 | 181.0667 | 1.6 | 177.5667 | 1.8867 | 185.3667 | 6.4267 | 890 | 100 | 3.5613
2019-03-07 11:00:00 | 1.52 | 167.1467 | 1.75 | 183.6667 | 1.6467 | 193.1 | 2.12 | 204.0333 | 6.42 | 890 | 100 | 3.24
2019-03-07 11:15:00 | 1.6133 | 162.2367 | 1.8667 | 178.2667 | 2.3433 | 205 | 2.8533 | 226.9667 | 6.4367 | 890 | 100 | 4.5013
2019-03-07 11:30:00 | 2.3333 | 177.15 | 2.6867 | 194.6667 | 2.97 | 221.4 | 3.28 | 213.7667 | 6.3233 | 890 | 100 | 13.2547
2019-03-07 11:45:00 | 3.2267 | 120.3367 | 3.7133 | 132.2333 | 3.9467 | 189.9667 | 4.48 | 179.7667 | 6.08 | 890 | 100 | 14.1947
2019-03-07 12:00:00 | 3.36 | 185.3767 | 3.86 | 203.7 | 4.0067 | 175.4333 | 4.86 | 183.1 | 5.7933 | 890 | 100 | 8.9473
2019-03-07 12:15:00 | 2.6533 | 175.1467 | 3.0533 | 192.4667 | 2.8967 | 193.7333 | 3.3533 | 177.6667 | 5.7233 | 890 | 100 | 7.2147
2019-03-07 12:30:00 | 2.0867 | 162.0467 | 2.4067 | 178.0667 | 2.27 | 200.6667 | 2.6133 | 186 | 5.79 | 889.1333 | 99.8 | 5.8113
2019-03-07 12:45:00 | 0.48 | 195.95 | 0.55667 | 215.3333 | 0.57 | 199.6333 | 0.96 | 176.4333 | 5.89 | 889 | 99 | 6.3047
2019-03-07 13:00:00 | 0.88667 | 157.9167 | 1.03 | 173.5333 | 1.0567 | 178.7667 | 1.52 | 202.1667 | 5.91 | 889 | 99.2 | 7.136
2019-03-07 13:15:00 | 1.31 | 175.5133 | 1.51 | 192.8667 | 1.5967 | 211.7 | 1.9667 | 214.1333 | 6.0133 | 889 | 99.3533 | 5.944
2019-03-07 13:30:00 | 2.0367 | 165.9267 | 2.35 | 182.3333 | 2.51 | 204.3 | 3.0733 | 195.8 | 6.0533 | 889 | 99.6667 | 4.298
2019-03-07 13:45:00 | 2.1433 | 179.79 | 2.4633 | 197.5667 | 2.86 | 208.3333 | 3.12 | 209.1 | 6.1367 | 889 | 100 | 4.7273
2019-03-07 14:00:00 | 2.3833 | 184.59 | 2.7433 | 202.8333 | 3.0133 | 227.6 | 3.14 | 187.5667 | 6.17 | 888.1333 | 100 | 6.612
2019-03-07 14:15:00 | 2.85 | 183.52 | 3.2833 | 201.6667 | 3.4167 | 204.9 | 3.8967 | 210.9333 | 5.9933 | 888 | 100 | 13.8727
2019-03-07 14:30:00 | 3.3567 | 163.2 | 3.87 | 179.3333 | 4.17 | 216.3 | 4.1167 | 201.9333 | 5.8867 | 888 | 100 | 9.8473
2019-03-07 14:45:00 | 3.5 | 185.4367 | 4.0267 | 203.7667 | 4.44 | 219.1933 | 4.39 | 211.3 | 5.7767 | 888 | 100 | 5.8613
2019-03-07 15:00:00 | 3.06 | 193.3767 | 3.5267 | 212.5 | 3.8 | 223.9333 | 4.05 | 217.8333 | 5.7033 | 887.1333 | 100 | 6.2613
2019-03-07 15:15:00 | 3.1933 | 172.78 | 3.68 | 189.8667 | 3.9933 | 213.4333 | 4.2033 | 225.7667 | 5.7167 | 887 | 100 | 6.5573
2019-03-07 15:30:00 | 2.9533 | 192.6133 | 3.3933 | 211.6667 | 3.7267 | 220.2333 | 3.8633 | 200.7667 | 5.73 | 887 | 100 | 5.5293
2019-03-07 15:45:00 | 2.7467 | 162.59 | 3.1667 | 178.6667 | 3.5 | 211.9333 | 3.6467 | 210.9 | 5.7267 | 887 | 100 | 5.4647
2019-03-07 16:00:00 | 2.8067 | 177.7567 | 3.2333 | 195.3333 | 3.7 | 207.2667 | 3.84 | 204.1 | 5.6867 | 887 | 100 | 6.3227
2019-03-07 16:15:00 | 2.36 | 168.2667 | 2.7167 | 184.9 | 3.23 | 217.7667 | 3.5233 | 203.3 | 5.6853 | 886.4667 | 100 | 4.1353
2019-03-07 16:30:00 | 2.1133 | 167.24 | 2.43 | 183.7667 | 2.79 | 215.9 | 2.8567 | 195.5 | 5.7033 | 886 | 100 | 3.7833
2019-03-07 16:45:00 | 2.0467 | 175.15 | 2.35 | 192.4667 | 2.7067 | 192.5 | 2.7733 | 204.6333 | 5.7467 | 886 | 100 | 5.0447
2019-03-07 17:00:00 | 1.8867 | 156.3433 | 2.17 | 171.8 | 2.32 | 216.9 | 2.92 | 203.0333 | 5.7 | 886 | 100 | 5.822
2019-03-07 17:15:00 | 2.18 | 177.1467 | 2.5067 | 194.6667 | 2.9533 | 217.6333 | 3.02 | 202.0333 | 5.6733 | 886 | 100 | 8.544
2019-03-07 17:30:00 | 3.02 | 158.5267 | 3.4733 | 174.2 | 3.7867 | 222.9667 | 3.8533 | 198.9667 | 5.6333 | 886 | 100 | 10.364
2019-03-07 17:45:00 | 2.9867 | 163.3167 | 3.44 | 179.4667 | 3.84 | 199.7667 | 4.2733 | 218.7667 | 5.5533 | 886 | 100 | 14.606
2019-03-07 18:00:00 | 2.9467 | 167.034 | 3.3933 | 183.54 | 3.8 | 219.0333 | 4.3267 | 221.7667 | 5.4733 | 886 | 100 | 11.9827
2019-03-07 18:15:00 | 3.5433 | 174.57 | 4.0833 | 191.8333 | 4.3533 | 209.2 | 4.89 | 218 | 5.38 | 886 | 100 | 9.418
2019-03-07 18:30:00 | 3.11 | 185.79 | 3.5767 | 204.1667 | 3.8667 | 217.0667 | 4.4833 | 209.3333 | 5.34 | 886 | 100 | 6.4373
2019-03-07 18:45:00 | 2.3733 | 152.98 | 2.7433 | 168.1 | 2.8667 | 183.5 | 3.85 | 166.3667 | 5.3067 | 886 | 100 | 4.2373
2019-03-07 19:00:00 | 2.3 | 169.5133 | 2.6567 | 186.28 | 2.6333 | 205.9 | 3.1767 | 172.4333 | 5.2333 | 886 | 100 | 2.1487
2019-03-07 19:15:00 | 1.46 | 177.0867 | 1.6867 | 194.6 | 1.87 | 217.6 | 1.9967 | 201.8667 | 5.22 | 886 | 100 | 3.108
2019-03-07 19:30:00 | 1.8467 | 169.38 | 2.1333 | 186.1333 | 2.45 | 223.7333 | 2.59 | 224.2 | 5.16 | 886 | 100 | 3.4227
2019-03-07 19:45:00 | 1.3867 | 175.91 | 1.6 | 193.3 | 2.02 | 209.3667 | 2.3133 | 200.2667 | 5.09 | 886 | 100 | 2.2067
2019-03-07 20:00:00 | 0.90667 | 176.6367 | 1.0467 | 194.1 | 1.2733 | 224.4333 | 1.22 | 219.8 | 5.0613 | 886 | 100 | 1.862
2019-03-07 20:15:00 | 0.9 | 191.8933 | 1.0333 | 210.8667 | 1.4833 | 216.9333 | 1.6367 | 222.5333 | 5.0333 | 886.5333 | 100 | 1.9553
2019-03-07 20:30:00 | 1.38 | 201.54 | 1.5933 | 221.4667 | 2.2967 | 218.8 | 2.1833 | 231.2 | 5.0067 | 887 | 100 | 3.6247
2019-03-07 20:45:00 | 1.9467 | 165.1467 | 2.2467 | 181.4667 | 2.9767 | 234.0333 | 3.1167 | 221.0667 | 4.9933 | 887 | 100 | 4.274
2019-03-07 21:00:00 | 2.1467 | 187.7733 | 2.4733 | 206.3333 | 3.2833 | 229.4333 | 2.8233 | 230.4 | 4.96 | 887 | 100 | 4.0173
2019-03-07 21:15:00 | 1.764 | 179.194 | 2.038 | 196.92 | 2.786 | 242.04 | 2.302 | 227.1 | 4.916 | 887 | 100 | 4.4727
2019-03-07 21:30:00 | 1.46 | 165.0167 | 1.69 | 181.3333 | 2.2033 | 223.6 | 2.35 | 202.9 | 4.9 | 887 | 100 | 3.9813
2019-03-07 21:45:00 | 0.51333 | 190.0167 | 0.59333 | 208.8 | 0.60333 | 180.6667 | 1.0267 | 179.5 | 4.92 | 887.5333 | 100 | 5.6373
2019-03-07 22:00:00 | 1.04 | 170.1833 | 1.2 | 187 | 1.2833 | 185 | 1.8667 | 179.7667 | 4.8867 | 887.3333 | 100 | 4.5413
2019-03-07 22:15:00 | 1.7433 | 172.8467 | 2.01 | 189.9333 | 2.21 | 186.6 | 2.6467 | 174 | 4.88 | 888 | 100 | 3.1027
2019-03-07 22:30:00 | 2.3033 | 170.6533 | 2.65 | 187.5333 | 2.5967 | 197 | 3.1333 | 185.4667 | 4.838 | 888 | 100 | 3.7333
2019-03-07 22:45:00 | 2.1467 | 145.36 | 2.47 | 159.7333 | 2.4933 | 175.7333 | 3.41 | 167 | 4.7933 | 887.4667 | 100 | 3.872
2019-03-07 23:00:00 | 2.2467 | 172.6067 | 2.59 | 189.6667 | 2.7267 | 176.2667 | 3.568 | 172.2 | 4.7733 | 887 | 100 | 3.7693
2019-03-07 23:15:00 | 2.8467 | 149.48 | 3.2733 | 164.2667 | 3.2833 | 186.2 | 3.6767 | 173.7667 | 4.7433 | 887 | 100 | 4.1973
2019-03-07 23:30:00 | 1.9533 | 154.7067 | 2.2467 | 170 | 2.3767 | 175.4 | 3.27 | 173.44 | 4.7367 | 887 | 100 | 5.826
2019-03-07 23:45:00 | 1.7333 | 158.92 | 2.0033 | 174.6333 | 2.06 | 177.1333 | 2.7167 | 179.2667 | 4.7 | 887 | 100 | 6.0193