## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-10 00:00:00 | 3.1833 | 154.04 | 3.66 | 169.2667 | 3.88 | 162.3333 | 4.6867 | 172.3333 | 9.7 | 887 | 73.9333 | 4.1353
2019-03-10 00:15:00 | 3.0333 | 157.31 | 3.5 | 172.8667 | 3.64 | 178.4333 | 4.24 | 178.5333 | 9.6233 | 887 | 74.3753 | 5.39
2019-03-10 00:30:00 | 2.9 | 165.3167 | 3.3333 | 181.6667 | 3.5267 | 178.6333 | 4.0867 | 172 | 9.5233 | 887 | 74.82 | 6.0227
2019-03-10 00:45:00 | 2.9033 | 161.1333 | 3.3433 | 177.0667 | 3.5033 | 172.9667 | 4.2333 | 183.9667 | 9.27 | 887 | 76.0667 | 6.9367
2019-03-10 01:00:00 | 2.8233 | 167.5667 | 3.2433 | 184.1333 | 3.4233 | 173.6333 | 4.2867 | 187.6333 | 9.1633 | 887 | 76.8133 | 6.368
2019-03-10 01:15:00 | 2.7267 | 178.3933 | 3.1433 | 196.0333 | 3.3967 | 184.7 | 4.1333 | 165 | 8.87 | 887 | 78.3433 | 5.116
2019-03-10 01:30:00 | 2.7667 | 161.7067 | 3.1833 | 177.7 | 3.47 | 174.9 | 4.26 | 162.9333 | 8.59 | 887 | 79.5967 | 3.6
2019-03-10 01:45:00 | 2.7667 | 166.1033 | 3.1833 | 182.5333 | 3.5567 | 187.9333 | 4.2567 | 165.1 | 8.27 | 887 | 81.2 | 3.0193
2019-03-10 02:00:00 | 2.7933 | 153.85 | 3.2233 | 169.0667 | 3.6233 | 183.7333 | 4.7033 | 169.36 | 8.37 | 887 | 81.2 | 1.702
2019-03-10 02:15:00 | 2.2533 | 140.5033 | 2.6 | 154.4 | 3.1167 | 164.5667 | 4.13 | 171.7 | 8.46 | 887 | 80.8 | 1.128
2019-03-10 02:30:00 | 1.84 | 163.3833 | 2.12 | 179.5333 | 2.4433 | 173.9667 | 3.09 | 162.5667 | 8.442 | 887 | 81.02 | 1.2133
2019-03-10 02:45:00 | 2.39 | 174 | 2.75 | 191.2 | 2.9067 | 187.4 | 3.4467 | 186.1 | 8.46 | 886.4667 | 81.0467 | 2.5407
2019-03-10 03:00:00 | 2.75 | 155.5467 | 3.17 | 170.9333 | 3.5 | 186.8667 | 4.2267 | 179.9 | 8.282 | 886 | 81.7133 | 3.0387
2019-03-10 03:15:00 | 2.78 | 156.0433 | 3.2 | 171.4667 | 3.5333 | 179.7333 | 4.25 | 173.1 | 8.1233 | 886 | 82.2333 | 2.968
2019-03-10 03:30:00 | 2.62 | 171.09 | 3.0133 | 188 | 3.38 | 173.2667 | 4.17 | 169.7667 | 7.8033 | 886 | 83.6333 | 2.816
2019-03-10 03:45:00 | 2.77 | 160.8967 | 3.1833 | 176.8 | 3.4933 | 176.5333 | 4.4133 | 182.9 | 7.6733 | 886 | 84.2333 | 4.9973
2019-03-10 04:00:00 | 3.1567 | 158.83 | 3.63 | 174.5333 | 3.76 | 194.9333 | 4.1933 | 195.7667 | 7.5 | 886 | 84.9667 | 7.1767
2019-03-10 04:15:00 | 3.2533 | 143.6 | 3.75 | 157.8 | 3.84 | 179.8 | 4.4367 | 206.8333 | 6.8433 | 886 | 88.7333 | 6.196
2019-03-10 04:30:00 | 3.1733 | 174.54 | 3.6567 | 191.8 | 3.8933 | 183.8667 | 4.7233 | 181.8333 | 6.6233 | 885.8 | 90.9333 | 5.436
2019-03-10 04:45:00 | 3.1933 | 157.2167 | 3.68 | 172.7667 | 3.81 | 187.2333 | 4.3 | 170.3667 | 6.4633 | 885 | 91.7 | 4.93
2019-03-10 05:00:00 | 3.38 | 163.6567 | 3.8867 | 179.8333 | 3.9567 | 173.3 | 4.7 | 178.7 | 6.2033 | 885 | 92.9667 | 5.1433
2019-03-10 05:15:00 | 3.43 | 168.5733 | 3.95 | 185.2333 | 4.0667 | 180.6 | 4.9567 | 191.6667 | 6.0467 | 885 | 94.8 | 7.396
2019-03-10 05:30:00 | 3.2167 | 167.1067 | 3.71 | 183.6333 | 3.9267 | 184.6 | 4.9033 | 195.2667 | 6.1333 | 885.8667 | 94.4867 | 9.6167
2019-03-10 05:45:00 | 3.45 | 150.37 | 3.9633 | 165.2333 | 4.1 | 186 | 4.9333 | 189.4667 | 6.2167 | 886 | 92.9 | 8.4033
2019-03-10 06:00:00 | 3.4967 | 162.01 | 4.0233 | 178.0333 | 4.1847 | 194 | 4.9533 | 186.8667 | 6.09 | 886 | 93.4333 | 6.086
2019-03-10 06:15:00 | 3.03 | 178.52 | 3.4867 | 196.1667 | 3.7033 | 182.2667 | 4.2233 | 185 | 6.1367 | 886 | 93.4333 | 4.002
2019-03-10 06:30:00 | 2.89 | 165.4067 | 3.3333 | 181.7667 | 3.61 | 173.2 | 3.9433 | 181.7067 | 6.2367 | 886 | 93.4333 | 1.96
2019-03-10 06:45:00 | 2.1533 | 155.37 | 2.4733 | 170.7333 | 2.7467 | 191.3333 | 3.0733 | 169.1333 | 6.4633 | 886 | 92.9667 | 0.066
2019-03-10 07:00:00 | 1.8667 | 160.4033 | 2.1533 | 176.2667 | 2.4733 | 177.8 | 3.0667 | 168.0667 | 6.61 | 886.8667 | 92.8333 | 0
2019-03-10 07:15:00 | 2.21 | 149.36 | 2.5467 | 164.1333 | 2.9533 | 165.9667 | 3.24 | 169.4 | 6.69 | 887 | 93.3333 | 0
2019-03-10 07:30:00 | 0.85 | 167.8133 | 0.98667 | 184.4 | 1.28 | 193.5667 | 1.7867 | 188.7333 | 6.69 | 887 | 93.6 | 0
2019-03-10 07:45:00 | 0.006667 | 161.63 | 0.006667 | 177.6 | 0.013333 | 179.3 | 0.42 | 174.8 | 6.4867 | 887 | 94.2667 | 0
2019-03-10 08:00:00 | 0.04 | 251.2833 | 0.046667 | 276.1333 | 0.006667 | 179.3 | 0 | 196.4 | 6.3333 | 887 | 95.0667 | 0
2019-03-10 08:15:00 | 1.2 | 317.4433 | 1.3933 | 348.8333 | 1.2533 | 237.9833 | 1.0633 | 79.1033 | 6.7067 | 887 | 94.6467 | 0
2019-03-10 08:30:00 | 1.76 | 314.7767 | 2.0267 | 345.9 | 1.9333 | 235.25 | 1.8367 | 33.9167 | 6.8933 | 887.8667 | 93.0667 | 0
2019-03-10 08:45:00 | 1.88 | 305.98 | 2.16 | 336.2333 | 2.27 | 344.1 | 2.0033 | 354.2667 | 7.4333 | 888 | 91.3667 | 0
2019-03-10 09:00:00 | 1.8267 | 297.2333 | 2.1 | 326.6333 | 2.2167 | 344.7 | 2.0967 | 354.2667 | 7.9933 | 888.2 | 89.0333 | 0
2019-03-10 09:15:00 | 2.22 | 14.03 | 2.55 | 15.4167 | 2.4667 | 233.1333 | 2.3533 | 344.3333 | 7.1733 | 889 | 90.6 | 0
2019-03-10 09:30:00 | 2.852 | 7.97 | 3.278 | 8.752 | 3.336 | 16.476 | 2.682 | 143.754 | 6.538 | 889.8667 | 93.88 | 0
2019-03-10 09:45:00 | 2.5833 | 5.4933 | 2.9733 | 6.03 | 2.85 | 12.7733 | 2.91 | 348.4667 | 6.8533 | 890 | 92.7333 | 0
2019-03-10 10:00:00 | 2.4767 | 10.2733 | 2.8533 | 11.2833 | 2.5633 | 5.4667 | 2.85 | 352.3333 | 7.0667 | 890 | 91.7333 | 0
2019-03-10 10:15:00 | 2.4833 | 12.5367 | 2.8533 | 13.7733 | 2.7633 | 23.5667 | 2.7067 | 5.6767 | 7.6467 | 890 | 89.5 | 0
2019-03-10 10:30:00 | 2.4433 | 6.1767 | 2.8133 | 6.7733 | 2.71 | 17.6333 | 2.3267 | 11.1167 | 8.0867 | 890.2 | 87.5 | 0
2019-03-10 10:45:00 | 1.92 | 9.9867 | 2.21 | 10.97 | 1.9833 | 11.1967 | 1.0267 | 1.46 | 9.0333 | 891 | 83.1333 | 0
2019-03-10 11:00:00 | 1.4867 | 108.2 | 1.7167 | 118.9033 | 1.49 | 125.5167 | 0.41333 | 142.7533 | 10 | 891 | 79.8133 | 0
2019-03-10 11:15:00 | 1.9947 | 148.7033 | 2.302 | 163.4067 | 2.2067 | 169.0467 | 1.918 | 163.8667 | 10.8133 | 891 | 77.826 | 0
2019-03-10 11:30:00 | 2.3667 | 150.15 | 2.7267 | 165 | 2.5533 | 168 | 2.41 | 158.4 | 10.8067 | 891 | 78.258 | 0
2019-03-10 11:45:00 | 2.7767 | 154.74 | 3.2 | 170.0333 | 3.0267 | 156.7 | 2.6533 | 163.9667 | 11.03 | 891 | 76.29 | 0
2019-03-10 12:00:00 | 2.9367 | 161.1067 | 3.38 | 177.0333 | 3.1267 | 176.9 | 2.6333 | 176.9 | 11.1407 | 891 | 75.2833 | 0
2019-03-10 12:15:00 | 3.52 | 129.4933 | 4.0567 | 142.3 | 3.8533 | 171.8667 | 3.5133 | 180.8333 | 11.61 | 891 | 74.02 | 0
2019-03-10 12:30:00 | 3.42 | 155.8867 | 3.93 | 171.3 | 3.7733 | 175.7333 | 3.54 | 189.1 | 11.9567 | 891 | 72.0533 | 0
2019-03-10 12:45:00 | 3.58 | 141.93 | 4.1233 | 155.9667 | 4.04 | 176.9333 | 3.7733 | 167.9 | 12.3233 | 891 | 69.2933 | 0.14867
2019-03-10 13:00:00 | 3.8867 | 116.0967 | 4.4767 | 127.5667 | 4.3867 | 164.2667 | 4.1467 | 157.7 | 12.7833 | 890.8 | 67.5533 | 0.28867
2019-03-10 13:15:00 | 3.4467 | 167.81 | 3.9667 | 184.4 | 4 | 160.9667 | 3.9133 | 168.1667 | 13.14 | 890 | 63.68 | 0.032667
2019-03-10 13:30:00 | 3.0867 | 127.8367 | 3.5533 | 140.4667 | 3.6533 | 150.9 | 3.5333 | 158.7 | 13.3733 | 890 | 62.1133 | 0.18643
2019-03-10 13:45:00 | 3.4033 | 115.06 | 3.92 | 126.4333 | 4.0467 | 161.5333 | 4.0433 | 175.8 | 13.65 | 890 | 60.67 | 0
2019-03-10 14:00:00 | 2.2833 | 163.8933 | 2.6267 | 180.1 | 2.68 | 161.4 | 2.7967 | 181.6667 | 13.6033 | 890 | 59.884 | 0
2019-03-10 14:15:00 | 1.1467 | 139.9567 | 1.3233 | 153.8 | 1.31 | 85.56 | 1.39 | 34.8667 | 14.2833 | 890 | 57.7733 | 0
2019-03-10 14:30:00 | 1.1933 | 42.4633 | 1.3833 | 46.66 | 1.5433 | 80.28 | 1.3633 | 29.9067 | 14.8833 | 889.8 | 52.92 | 0
2019-03-10 14:45:00 | 1.7933 | 214.91 | 2.0633 | 236.1633 | 2.24 | 24.19 | 1.8867 | 35.2067 | 15.6667 | 889 | 46.87 | 0
2019-03-10 15:00:00 | 1.356 | 190.264 | 1.572 | 209.076 | 1.858 | 36.204 | 1.684 | 34.574 | 16.048 | 889 | 44.936 | 0.21533
2019-03-10 15:15:00 | 1.0067 | 222.96 | 1.16 | 245 | 1.4367 | 332.7 | 1.57 | 218.26 | 16.85 | 889 | 42.53 | 0.33467
2019-03-10 15:30:00 | 1.7 | 126.86 | 1.96 | 139.4 | 2.0167 | 252.8333 | 1.9433 | 125.5267 | 16.4233 | 889 | 46.7427 | 0
2019-03-10 15:45:00 | 2.4233 | 114.64 | 2.79 | 125.9667 | 2.8633 | 201.8 | 3.0667 | 256.5667 | 16.3293 | 889 | 51.0967 | 0.112
2019-03-10 16:00:00 | 2.3233 | 134.8933 | 2.67 | 148.2333 | 2.6633 | 200.7333 | 2.7733 | 231.9667 | 16.1967 | 889 | 50.1433 | 0.32
2019-03-10 16:15:00 | 1.4067 | 178.61 | 1.63 | 196.2667 | 1.6367 | 9.27 | 1.6933 | 26.8967 | 16.6567 | 889 | 44.1867 | 0.494
2019-03-10 16:30:00 | 1.18 | 142.63 | 1.37 | 156.7333 | 1.5433 | 100.57 | 1.56 | 123.6033 | 17.0833 | 889 | 42.26 | 0.35933
2019-03-10 16:45:00 | 3.02 | 168.0267 | 3.4733 | 184.6333 | 3.48 | 187.8 | 3.2633 | 178.7 | 16.06 | 889 | 49.45 | 0.076667
2019-03-10 17:00:00 | 1.56 | 182.94 | 1.7933 | 201.0333 | 1.8867 | 203.4 | 1.8233 | 228.5 | 15.8867 | 888.8 | 49.5967 | 0.26533
2019-03-10 17:15:00 | 0.996 | 169.5773 | 1.1453 | 186.3467 | 1.238 | 167.9933 | 1.1593 | 175.6067 | 16.3 | 888 | 48.79 | 0.46067
2019-03-10 17:30:00 | 1.6667 | 156.31 | 1.9167 | 171.7667 | 2.0433 | 196.7 | 2.0167 | 201.8 | 15.8353 | 888 | 49.8713 | 0.494
2019-03-10 17:45:00 | 1.54 | 154.6467 | 1.7767 | 169.9333 | 1.8667 | 174.3333 | 1.72 | 191.2333 | 15.4327 | 888 | 51.37 | 1.68
2019-03-10 18:00:00 | 0.79333 | 254.08 | 0.92333 | 279.2 | 1.24 | 73.4067 | 1.62 | 113.3733 | 15.07 | 888 | 52.7167 | 1.6633
2019-03-10 18:15:00 | 0.95667 | 306.5533 | 1.1 | 336.8667 | 1.8333 | 23.82 | 2.1733 | 30.9933 | 15.1367 | 888 | 49.2867 | 2.6133
2019-03-10 18:30:00 | 0.93667 | 315.4667 | 1.0867 | 346.6667 | 1.5867 | 34.3867 | 2.0067 | 36.76 | 15.0833 | 888 | 49.1667 | 5.3207
2019-03-10 18:45:00 | 1.7467 | 19.9433 | 2.0133 | 21.91 | 3.1067 | 14.17 | 3.5233 | 40.6333 | 14.62 | 888 | 49.49 | 10.2373
2019-03-10 19:00:00 | 2.4333 | 30.29 | 2.8 | 33.2833 | 4.5 | 28.75 | 4.61 | 36.2133 | 14.32 | 888 | 48.03 | 17.418
2019-03-10 19:15:00 | 3.43 | 64.0333 | 3.9433 | 70.3667 | 6.41 | 27.86 | 5.9 | 36.0633 | 13.7633 | 888 | 46.87 | 15.064
2019-03-10 19:30:00 | 3.2167 | 264.7867 | 3.6967 | 290.9667 | 5.99 | 28.3133 | 5.3067 | 26.4567 | 13.5767 | 888 | 44.8567 | 11.874
2019-03-10 19:45:00 | 3.0233 | 302.12 | 3.4733 | 332 | 5.81 | 23.5567 | 5.73 | 28.3 | 13.4067 | 888 | 44.4267 | 8.6313
2019-03-10 20:00:00 | 2.89 | 217.6133 | 3.3333 | 239.1333 | 5.5567 | 16.59 | 5.41 | 26.2733 | 13.16 | 888 | 45.3533 | 10.7207
2019-03-10 20:15:00 | 2.8667 | 28.05 | 3.2967 | 30.8167 | 5.5433 | 11.3833 | 5.2033 | 31.8233 | 12.92 | 888.5333 | 46.2467 | 17.276
2019-03-10 20:30:00 | 3.42 | 215.0167 | 3.9367 | 236.2833 | 6.41 | 37.71 | 6.0967 | 30.9767 | 12.98 | 889 | 45.4533 | 14.6207
2019-03-10 20:45:00 | 2.9233 | 263.3067 | 3.36 | 289.3333 | 5.7667 | 27.3 | 6.07 | 30.1933 | 12.938 | 889 | 44.76 | 10.914
2019-03-10 21:00:00 | 3.1367 | 98.28 | 3.6133 | 107.9867 | 6.1067 | 15.54 | 5.97 | 27.02 | 12.7267 | 889 | 45.3027 | 12.5273
2019-03-10 21:15:00 | 3.08 | 10.1367 | 3.54 | 11.13 | 5.7133 | 23.24 | 5.89 | 29.05 | 12.71 | 889 | 45.18 | 14.4787
2019-03-10 21:30:00 | 3.08 | 157.69 | 3.5467 | 173.2833 | 5.9133 | 19.58 | 6.0967 | 26.8967 | 12.526 | 889 | 45.9867 | 10.826
2019-03-10 21:45:00 | 3.09 | 161.2533 | 3.5567 | 177.2 | 6.0267 | 18.9933 | 5.9967 | 35.6267 | 12.24 | 889.5333 | 46.5267 | 9.3313
2019-03-10 22:00:00 | 2.77 | 37.26 | 3.1833 | 40.94 | 5.4933 | 19.6533 | 5.63 | 35.9667 | 12.1487 | 890 | 46.9133 | 7.776
2019-03-10 22:15:00 | 2.4533 | 90.0167 | 2.8233 | 98.9067 | 4.8967 | 20.4033 | 5.13 | 27.8633 | 11.8567 | 890 | 47.91 | 6.3853
2019-03-10 22:30:00 | 2.1133 | 235.8767 | 2.43 | 259.2 | 4.2033 | 25.0233 | 4.4233 | 32.03 | 11.89 | 890 | 47.4047 | 4.4067
2019-03-10 22:45:00 | 2.1533 | 235.6067 | 2.48 | 258.9 | 4.2767 | 22.0433 | 4.6733 | 32.51 | 11.9967 | 890 | 46.7067 | 5.782
2019-03-10 23:00:00 | 2.2867 | 108.58 | 2.64 | 119.3133 | 4.5033 | 16.7233 | 5.16 | 23.8567 | 11.67 | 890 | 48.2667 | 9.7107
2019-03-10 23:15:00 | 2.4067 | 212.2567 | 2.77 | 233.25 | 4.38 | 10.63 | 5.3967 | 22.9867 | 11.3467 | 890 | 50.1733 | 8.3087
2019-03-10 23:30:00 | 1.9067 | 18.2233 | 2.19 | 20.03 | 3.6733 | 16.4033 | 3.9433 | 12.4533 | 11.244 | 890 | 49.9467 | 7.2307
2019-03-10 23:45:00 | 2.1233 | 293.7833 | 2.4467 | 322.8333 | 4.0533 | 22.3167 | 4.6667 | 36.0167 | 11.0567 | 890 | 50.7333 | 5.8973