## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-11 00:00:00 | 2.0967 | 297.0033 | 2.4133 | 326.3667 | 4.0933 | 15.4167 | 4.2733 | 22.8767 | 10.91 | 890 | 50.6 | 4.9567
2019-03-11 00:15:00 | 2.0867 | 114.7567 | 2.4067 | 126.0933 | 3.8033 | 13.8433 | 4.1967 | 22.0533 | 10.6933 | 890 | 50.9933 | 6.0493
2019-03-11 00:30:00 | 1.9933 | 105.93 | 2.2933 | 116.4 | 3.9033 | 19.3167 | 4.6833 | 25.01 | 10.4067 | 890 | 52.1533 | 5.5293
2019-03-11 00:45:00 | 2.1933 | 318.86 | 2.5267 | 350.4 | 4.2867 | 21.3967 | 4.5333 | 30.44 | 10.1767 | 890 | 52.74 | 6.1213
2019-03-11 01:00:00 | 2.5133 | 296.656 | 2.8933 | 325.9933 | 4.7733 | 21.77 | 4.88 | 28.3 | 10.3633 | 889.1333 | 51.8067 | 5.6893
2019-03-11 01:15:00 | 2.22 | 306.16 | 2.5633 | 336.4333 | 4.2133 | 24.0467 | 4.5933 | 40.0733 | 10.0933 | 889 | 52.9633 | 4.9067
2019-03-11 01:30:00 | 2.38 | 317.56 | 2.7433 | 348.9667 | 4.16 | 19.8 | 4.3733 | 31.7733 | 10.04 | 889 | 53.712 | 5.7087
2019-03-11 01:45:00 | 2.4867 | 305.6733 | 2.8633 | 335.9 | 4.292 | 14.85 | 4.2967 | 32.7567 | 9.9633 | 889 | 54.3793 | 5.616
2019-03-11 02:00:00 | 2.6733 | 288.6867 | 3.0767 | 317.2333 | 4.6433 | 18.55 | 4.7567 | 16.3833 | 9.75 | 889 | 56.2167 | 4.9447
2019-03-11 02:15:00 | 2.82 | 108.96 | 3.25 | 119.7333 | 4.7033 | 12.4133 | 5.13 | 18.9 | 9.74 | 889 | 56.91 | 3.6427
2019-03-11 02:30:00 | 2.5533 | 309.08 | 2.9433 | 339.6333 | 4.75 | 12.72 | 5.2347 | 18.8333 | 9.4867 | 889 | 58.1967 | 2.4233
2019-03-11 02:45:00 | 2.6773 | 198.56 | 3.0773 | 218.1867 | 4.3047 | 9.1207 | 4.9767 | 17.1353 | 9.1967 | 889 | 59.488 | 3.0293
2019-03-11 03:00:00 | 2.7967 | 208.69 | 3.2267 | 229.3267 | 4.33 | 13.3967 | 4.9733 | 20.5233 | 9.1567 | 889 | 59.1033 | 4.4227
2019-03-11 03:15:00 | 2.56 | 213.5033 | 2.9467 | 234.6167 | 4.4767 | 14.8 | 5.0967 | 19.5067 | 9.04 | 889 | 59.5567 | 3.748
2019-03-11 03:30:00 | 2.8067 | 215.3233 | 3.2333 | 236.6167 | 4.692 | 15.9667 | 4.6233 | 16.5867 | 8.938 | 888.8 | 60.67 | 3.16
2019-03-11 03:45:00 | 2.9167 | 217.4887 | 3.3567 | 238.9933 | 4.9733 | 27.52 | 4.54 | 28.1033 | 8.79 | 888 | 61.63 | 5.172
2019-03-11 04:00:00 | 3.3367 | 2.2333 | 3.8367 | 2.4467 | 4.9 | 15.6867 | 5.1867 | 24.1167 | 8.7567 | 888 | 61.35 | 8.8773
2019-03-11 04:15:00 | 3.4533 | 11.5067 | 3.97 | 12.6433 | 5.4333 | 17.4233 | 5.7367 | 25.4233 | 8.7533 | 888 | 62.3967 | 9.4167
2019-03-11 04:30:00 | 3.12 | 23.2333 | 3.5833 | 25.53 | 5.418 | 10.0967 | 6.0167 | 27.29 | 8.642 | 888 | 63.17 | 9.9113
2019-03-11 04:45:00 | 3.3233 | 306.8567 | 3.8233 | 337.2 | 5.2267 | 12.5967 | 5.6633 | 19.7067 | 8.69 | 888 | 63.01 | 10.9753
2019-03-11 05:00:00 | 3.4033 | 94.29 | 3.9167 | 103.6133 | 5.7133 | 14.6233 | 6.01 | 15.54 | 8.568 | 888 | 63.5467 | 12.722
2019-03-11 05:15:00 | 3.6633 | 2.6733 | 4.22 | 2.9333 | 6.08 | 2.9867 | 6.4267 | 13.7 | 8.4967 | 888 | 64.2033 | 15.086
2019-03-11 05:30:00 | 3.6633 | 205.8067 | 4.22 | 226.16 | 6.26 | 7.0333 | 6.6467 | 15.1867 | 8.4033 | 888 | 64.9433 | 14.5467
2019-03-11 05:45:00 | 3.8667 | 82.9667 | 4.4467 | 91.1733 | 6.3833 | 15.39 | 6.7967 | 4.85 | 8.3767 | 888 | 65.6933 | 17.5633
2019-03-11 06:00:00 | 3.82 | 87.3467 | 4.3933 | 95.9867 | 5.9767 | 10.6433 | 6.7367 | 14.7033 | 8.2633 | 888 | 66.0533 | 17.8973
2019-03-11 06:15:00 | 3.3933 | 292.08 | 3.9133 | 320.9667 | 6.2367 | 10.6633 | 6.8333 | 18.2967 | 7.76 | 888 | 68.7933 | 13.004
2019-03-11 06:30:00 | 3.3933 | 125.8 | 3.9133 | 138.24 | 5.67 | 8.9767 | 6.3133 | 15.3167 | 7.7733 | 888 | 67.06 | 8.612
2019-03-11 06:45:00 | 3.4967 | 308.14 | 4.0233 | 338.6 | 5.4367 | 12.1867 | 5.71 | 10.6 | 7.8247 | 888 | 65.9733 | 8.0667
2019-03-11 07:00:00 | 3.3 | 129.7 | 3.798 | 142.514 | 5.78 | 12.178 | 5.694 | 8.19 | 7.5953 | 888 | 68.01 | 8.5873
2019-03-11 07:15:00 | 3.22 | 95.1933 | 3.7033 | 104.6 | 5.76 | 10.5 | 5.8267 | 14.6233 | 7.21 | 888 | 70.72 | 11.206
2019-03-11 07:30:00 | 3.18 | 310.8267 | 3.6567 | 341.5667 | 5.5933 | 9.6867 | 5.9933 | 19.0033 | 7.1167 | 888 | 70.24 | 12.1473
2019-03-11 07:45:00 | 3.3433 | 310.7767 | 3.8467 | 341.5 | 6.18 | 17.77 | 5.7633 | 18.4833 | 6.69 | 888 | 71.3933 | 14.124
2019-03-11 08:00:00 | 3.53 | 306.47 | 4.06 | 336.7667 | 6.24 | 15.6433 | 6.0633 | 20.01 | 6.7253 | 888 | 70.8 | 17.602
2019-03-11 08:15:00 | 4.0667 | 294.97 | 4.6767 | 324.1333 | 6.5533 | 14.2267 | 6.1033 | 11.4567 | 7.0833 | 888 | 70.76 | 19.5767
2019-03-11 08:30:00 | 4.2267 | 94.3833 | 4.8633 | 103.7133 | 6.1133 | 12.8333 | 5.9833 | 11.49 | 7.3233 | 888 | 70.7787 | 16.176
2019-03-11 08:45:00 | 3.9 | 22.59 | 4.4867 | 24.82 | 5.7567 | 131.0133 | 6.1033 | 20.8867 | 7.7233 | 888 | 70.2333 | 13.53
2019-03-11 09:00:00 | 3.8467 | 199.03 | 4.4333 | 218.7133 | 6.03 | 122.7467 | 6.3767 | 14.4533 | 8.5367 | 888.8667 | 67.4267 | 9.1207
2019-03-11 09:15:00 | 3.33 | 116.8467 | 3.83 | 128.3933 | 5.6867 | 10.2933 | 5.9933 | 83.7667 | 10.1567 | 889.5333 | 61.68 | 6.5533
2019-03-11 09:30:00 | 3.37 | 302.1533 | 3.8833 | 332.0333 | 5.1733 | 11.0533 | 5.38 | 88.8667 | 9.6833 | 890 | 62.7407 | 4.0653
2019-03-11 09:45:00 | 3.5267 | 205.7633 | 4.0533 | 226.1133 | 4.6467 | 49.8367 | 5.1 | 20.2733 | 9.65 | 890 | 62.8733 | 0.91467
2019-03-11 10:00:00 | 3.3333 | 3.0833 | 3.8333 | 3.3867 | 4 | 12.6767 | 4.14 | 19.16 | 9.9567 | 890.8667 | 58.78 | 0
2019-03-11 10:15:00 | 3.0067 | 216.5967 | 3.4567 | 238.0167 | 3.5333 | 12.6 | 3.52 | 17.35 | 10.45 | 891 | 54.1667 | 0
2019-03-11 10:30:00 | 2.5267 | 7.0367 | 2.9033 | 7.73 | 3.18 | 24.5533 | 2.7667 | 18.3367 | 11.1967 | 891 | 53.8267 | 0
2019-03-11 10:45:00 | 1.24 | 62.6233 | 1.43 | 68.8133 | 1.24 | 60.2933 | 0.84667 | 61.36 | 12.1433 | 891 | 49.87 | 0
2019-03-11 11:00:00 | 2.2067 | 151.4833 | 2.55 | 166.4667 | 2.4 | 137.3667 | 2.26 | 139.0667 | 12.93 | 891 | 51.2567 | 0
2019-03-11 11:15:00 | 2.9467 | 163.2267 | 3.4 | 179.3667 | 3.1767 | 143.9333 | 2.89 | 185.5 | 13.1 | 891 | 53.2 | 0.082
2019-03-11 11:30:00 | 3.4933 | 170.2 | 4.02 | 187.0333 | 3.7167 | 175.2 | 3.59 | 193.3 | 12.9733 | 890.8 | 55.5133 | 1.818
2019-03-11 11:45:00 | 3.2267 | 153.3967 | 3.72 | 168.5667 | 3.5533 | 163.9 | 3.3333 | 177.1667 | 13.3733 | 890 | 53.3867 | 2.6027
2019-03-11 12:00:00 | 3.4 | 159.6433 | 3.92 | 175.4333 | 3.8267 | 173.5667 | 3.44 | 180.3667 | 14.1 | 890 | 46.72 | 4.224
2019-03-11 12:15:00 | 3.8233 | 114.73 | 4.3967 | 126.0667 | 4.4633 | 155.2333 | 4.3633 | 160.4667 | 14.85 | 890 | 40.5467 | 6.5793
2019-03-11 12:30:00 | 4.2033 | 123.3367 | 4.8367 | 135.5333 | 4.8967 | 152.8333 | 5.29 | 147.2 | 15.01 | 890 | 38.518 | 8.0413
2019-03-11 12:45:00 | 4.2667 | 133.6267 | 4.9067 | 146.8333 | 4.97 | 167.5667 | 5.1133 | 162.8 | 15.22 | 889.4667 | 39.0867 | 9.6867
2019-03-11 13:00:00 | 4.3067 | 166.3867 | 4.9533 | 182.8333 | 5.0433 | 176.5667 | 5.4067 | 194.1333 | 15.358 | 889 | 37.8267 | 8.828
2019-03-11 13:15:00 | 4.2133 | 120.1833 | 4.8467 | 132.0667 | 5.0033 | 192.7 | 5.28 | 178.6 | 16.0067 | 889 | 37.2153 | 9.6313
2019-03-11 13:30:00 | 4.0267 | 162.0367 | 4.64 | 178.0667 | 4.89 | 170.8333 | 5.0867 | 157.8667 | 15.9933 | 889 | 36.9867 | 8.2027
2019-03-11 13:45:00 | 4.2267 | 130.5667 | 4.86 | 143.4667 | 4.9233 | 162.7 | 5.1533 | 178.3 | 16.0367 | 889 | 37.2733 | 5.4913
2019-03-11 14:00:00 | 4.3333 | 123.34 | 4.9933 | 135.5333 | 5.1233 | 159.9667 | 5.1133 | 155.8333 | 16.3833 | 888.8 | 36.74 | 4.4847
2019-03-11 14:15:00 | 3.5633 | 105.3533 | 4.0933 | 115.7667 | 4.3033 | 161.4333 | 4.72 | 179.0667 | 16.9633 | 888 | 35.0567 | 4.7673
2019-03-11 14:30:00 | 3.53 | 129.8667 | 4.06 | 142.7 | 4.3433 | 139.6333 | 4.5133 | 166.1333 | 16.9567 | 888 | 34.1967 | 6.4147
2019-03-11 14:45:00 | 3.7167 | 139.54 | 4.2767 | 153.3333 | 4.47 | 147.0333 | 5 | 149 | 17.3267 | 888 | 33.2767 | 5.2773
2019-03-11 15:00:00 | 3.13 | 155.92 | 3.6033 | 171.3333 | 3.6367 | 174.3667 | 3.7333 | 143.9333 | 17.2067 | 888 | 32.8233 | 4.7647
2019-03-11 15:15:00 | 3.28 | 151.0333 | 3.7767 | 165.9667 | 3.8167 | 185.7333 | 4.2067 | 180.6 | 17.51 | 888 | 32.4967 | 8.1953
2019-03-11 15:30:00 | 3.5533 | 152.2467 | 4.0833 | 167.3 | 4.4033 | 202.0667 | 4.7467 | 229.3333 | 17.63 | 888 | 32.39 | 7.0907
2019-03-11 15:45:00 | 2.8533 | 153.8267 | 3.28 | 169.0333 | 3.5867 | 253.0333 | 4.0333 | 223.3667 | 17.89 | 888 | 31.97 | 6.808
2019-03-11 16:00:00 | 3.06 | 140.9 | 3.52 | 154.8333 | 3.5867 | 244.7 | 3.8267 | 214.5667 | 17.7033 | 888 | 32.51 | 6.25
2019-03-11 16:15:00 | 3.08 | 169.6367 | 3.5533 | 186.4 | 4.11 | 223.2667 | 4.6267 | 238.7333 | 17.8333 | 888 | 33.1567 | 4.9153
2019-03-11 16:30:00 | 3.08 | 156.95 | 3.5533 | 172.4667 | 3.83 | 215.4667 | 4.0333 | 241.1333 | 17.7733 | 888 | 34.1367 | 4.0487
2019-03-11 16:45:00 | 2.9947 | 182.8707 | 3.446 | 200.96 | 3.9233 | 230.84 | 4.0987 | 216.2733 | 17.9127 | 888 | 33.8867 | 3.6073
2019-03-11 17:00:00 | 2.9533 | 181.4633 | 3.4033 | 199.4 | 3.7433 | 221.4333 | 3.91 | 228.8667 | 17.5933 | 888 | 34.3633 | 3.196
2019-03-11 17:15:00 | 2.0533 | 181.8833 | 2.3633 | 199.8667 | 2.7933 | 235.0667 | 3.18 | 240.7333 | 17.29 | 888 | 35.33 | 4.018
2019-03-11 17:30:00 | 2.78 | 174.1167 | 3.21 | 191.3333 | 3.66 | 225.6667 | 3.6533 | 228.7333 | 17.09 | 888 | 36.9433 | 2.664
2019-03-11 17:45:00 | 2.4133 | 176.7267 | 2.7767 | 194.2 | 3.1 | 216.9667 | 3.36 | 213.1 | 16.7133 | 887.4667 | 38.54 | 2.2893
2019-03-11 18:00:00 | 2.4333 | 170.7133 | 2.7967 | 187.6 | 3.1467 | 236.2333 | 3.3 | 228.9667 | 16.28 | 887 | 40.7467 | 2.3867
2019-03-11 18:15:00 | 2.1267 | 193.59 | 2.4433 | 212.7333 | 2.9333 | 219.6667 | 2.95 | 223.0333 | 15.59 | 887 | 43.7833 | 3.162
2019-03-11 18:30:00 | 2.56 | 172.9633 | 2.95 | 190.0667 | 3.4067 | 231 | 3.5833 | 238.7667 | 15.21 | 887 | 45.9833 | 3.364
2019-03-11 18:45:00 | 2.6467 | 168.0767 | 3.0533 | 184.7 | 3.68 | 225.0333 | 3.9733 | 231.5667 | 14.8133 | 887 | 47.8267 | 3.678
2019-03-11 19:00:00 | 2.98 | 170.0833 | 3.4333 | 186.9 | 4.22 | 229.3667 | 4.5933 | 235.4333 | 14.6533 | 887 | 48.3333 | 4.4807
2019-03-11 19:15:00 | 2.8333 | 195.71 | 3.2667 | 215.0667 | 4.0133 | 233.7 | 4.18 | 239.9333 | 14.4567 | 887 | 48.92 | 1.99
2019-03-11 19:30:00 | 2.3133 | 182.2433 | 2.6667 | 200.2667 | 3.7333 | 236.5 | 3.8267 | 233.6 | 14.35 | 887 | 49.1933 | 0
2019-03-11 19:45:00 | 1.24 | 238.5767 | 1.4233 | 262.1667 | 2.0367 | 265.6 | 2.2567 | 273.4333 | 14.1733 | 887 | 49.3133 | 0
2019-03-11 20:00:00 | 1.52 | 132.89 | 1.7567 | 146.0267 | 2.81 | 321.1333 | 2.69 | 330.3667 | 13.9133 | 887 | 49.8133 | 0
2019-03-11 20:15:00 | 1.8533 | 62.9367 | 2.14 | 69.16 | 3.7 | 330.6333 | 3.5033 | 341.8 | 13.2833 | 887 | 49.4233 | 0
2019-03-11 20:30:00 | 1.3867 | 238.1833 | 1.5933 | 261.7333 | 2.7467 | 335.2333 | 2.4633 | 341.8 | 13.1233 | 887 | 48.65 | 0
2019-03-11 20:45:00 | 0.91333 | 291.33 | 1.0567 | 320.1333 | 1.58 | 225.6467 | 1.5533 | 339.2 | 13.23 | 887 | 48.12 | 0
2019-03-11 21:00:00 | 0.96 | 313.0367 | 1.1033 | 344 | 1.3533 | 228.0467 | 1.2267 | 113.4733 | 13.53 | 887 | 47.4273 | 0
2019-03-11 21:15:00 | 2.13 | 310.74 | 2.4533 | 341.4667 | 3.29 | 16.61 | 2.91 | 19.68 | 13.1467 | 887.5333 | 49.97 | 0
2019-03-11 21:30:00 | 2.6567 | 317.3533 | 3.0533 | 348.7333 | 3.7833 | 21.47 | 3.8633 | 23.5667 | 12.66 | 888 | 51.7167 | 0
2019-03-11 21:45:00 | 2.2533 | 103.0667 | 2.5933 | 113.2533 | 3.33 | 13.0767 | 3.0933 | 29.1033 | 12.6267 | 888 | 50.81 | 0
2019-03-11 22:00:00 | 2.2533 | 311.2 | 2.5933 | 341.9667 | 3.2033 | 11.6367 | 2.5867 | 14.89 | 12.5 | 888 | 50.96 | 0
2019-03-11 22:15:00 | 2.6433 | 105.9733 | 3.0433 | 116.4533 | 3.6767 | 3.2367 | 3.3933 | 16.22 | 12.5533 | 888 | 50.8833 | 0
2019-03-11 22:30:00 | 2.7433 | 319.372 | 3.1553 | 350.96 | 4.1633 | 12.818 | 4.176 | 18.22 | 12.6 | 888 | 51.126 | 0.566
2019-03-11 22:45:00 | 2.1533 | 14.7533 | 2.4867 | 16.2133 | 3.98 | 16.0933 | 4.0233 | 19.79 | 11.7567 | 888 | 54.31 | 0.71
2019-03-11 23:00:00 | 1.9533 | 205.36 | 2.2467 | 225.6733 | 3.0733 | 15.04 | 3.1567 | 12.4633 | 11.7633 | 888.2 | 53.8167 | 0
2019-03-11 23:15:00 | 1.7933 | 309.444 | 2.0767 | 340.0467 | 2.4033 | 356.9 | 2.5967 | 31.8367 | 12.0433 | 889 | 51.6933 | 0
2019-03-11 23:30:00 | 2.24 | 319.3833 | 2.5833 | 350.9667 | 2.7633 | 125.9667 | 2.7433 | 17.8633 | 12.2633 | 889 | 51.16 | 0
2019-03-11 23:45:00 | 3.0867 | 317.9567 | 3.56 | 349.4 | 3.8867 | 14.81 | 3.7833 | 23.8933 | 11.62 | 889 | 56.2967 | 1.612