## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-12 00:00:00 | 3.1267 | 296.1167 | 3.5933 | 325.4 | 3.9 | 13.21 | 4.23 | 23.7333 | 10.9467 | 889 | 60.11 | 6.1207
2019-03-12 00:15:00 | 3.0733 | 293.5933 | 3.5367 | 322.6333 | 4.8767 | 15.2233 | 5.6967 | 29.9533 | 10.5067 | 888.4667 | 61.89 | 9.448
2019-03-12 00:30:00 | 3.0733 | 107.14 | 3.5367 | 117.7267 | 4.3567 | 11.63 | 5.3633 | 30.104 | 10.5 | 888 | 61.87 | 11.4847
2019-03-12 00:45:00 | 3.2267 | 191.6533 | 3.72 | 210.5967 | 4.4867 | 32.48 | 4.89 | 37.48 | 10.39 | 888 | 62.6833 | 11.8107
2019-03-12 01:00:00 | 2.9333 | 10.2 | 3.3733 | 11.21 | 4.8067 | 251.2933 | 4.6767 | 26.28 | 10.0727 | 888 | 64.2633 | 9.7207
2019-03-12 01:15:00 | 2.7333 | 283.86 | 3.1467 | 311.9333 | 4.6667 | 238.6133 | 4.9867 | 2.2033 | 9.73 | 888 | 65.9333 | 10.062
2019-03-12 01:30:00 | 2.9733 | 293.9933 | 3.4267 | 323.0667 | 5.0267 | 7.6133 | 5.28 | 237.5767 | 9.6033 | 887.1333 | 66.226 | 11.1533
2019-03-12 01:45:00 | 2.9 | 291.3267 | 3.3333 | 320.1333 | 5.44 | 8.3333 | 5.4267 | 9.4233 | 9.3833 | 887 | 66.314 | 10.5993
2019-03-12 02:00:00 | 2.9133 | 319.8933 | 3.3533 | 351.5333 | 5.62 | 3.3533 | 6.02 | 8.1433 | 9.15 | 887 | 66.8333 | 9.936
2019-03-12 02:15:00 | 3.1867 | 4.9567 | 3.66 | 5.44 | 5.5833 | 4.9633 | 5.98 | 19.5933 | 8.9967 | 887 | 67.1633 | 10.8947
2019-03-12 02:30:00 | 3.36 | 209.41 | 3.86 | 230.1067 | 5.45 | 16.0167 | 5.3333 | 19.8667 | 9.0767 | 887 | 66.386 | 10.4533
2019-03-12 02:45:00 | 3.4333 | 117.81 | 3.9533 | 129.46 | 6.1567 | 21.14 | 5.5467 | 30.5033 | 8.6933 | 887 | 68.15 | 10.244
2019-03-12 03:00:00 | 3.04 | 316.29 | 3.5 | 347.5667 | 5.7633 | 19.2267 | 5.8467 | 25.2567 | 8.5933 | 887 | 67.5973 | 9.5687
2019-03-12 03:15:00 | 2.9 | 289.2933 | 3.3367 | 317.9 | 5.17 | 16.63 | 5.5467 | 22.9333 | 8.4233 | 887 | 67.48 | 9.532
2019-03-12 03:30:00 | 3.2933 | 318.1667 | 3.79 | 349.6333 | 5.01 | 16.89 | 5.26 | 19.66 | 8.5367 | 886.1333 | 67.3293 | 11.0873
2019-03-12 03:45:00 | 3.2333 | 9.6767 | 3.72 | 10.6333 | 5.6533 | 18.3567 | 5.7433 | 19.4033 | 8.4367 | 886 | 68.4167 | 12.2127
2019-03-12 04:00:00 | 3.3667 | 110.1967 | 3.88 | 121.0867 | 6.06 | 18.9433 | 6.4833 | 16.3367 | 8.1567 | 886 | 69.9833 | 13.8913
2019-03-12 04:15:00 | 3.62 | 118.47 | 4.1633 | 130.1867 | 6.8367 | 17.1967 | 6.9067 | 20.9033 | 7.8733 | 886 | 72.4567 | 12.9813
2019-03-12 04:30:00 | 3.6667 | 306.0033 | 4.2233 | 336.2667 | 6.91 | 11.6233 | 6.9533 | 20.4367 | 7.5467 | 886 | 73.99 | 11.3987
2019-03-12 04:45:00 | 3.71 | 108.8933 | 4.27 | 119.6567 | 6.6433 | 16.0267 | 6.63 | 19.8233 | 7.7 | 885.4667 | 72.73 | 13.386
2019-03-12 05:00:00 | 3.8967 | 27.4867 | 4.4833 | 30.1967 | 6.6233 | 12.3 | 6.6947 | 12.97 | 7.8667 | 885 | 71.65 | 15.3827
2019-03-12 05:15:00 | 4.34 | 302.19 | 5 | 332.0667 | 6.3 | 21.2233 | 6.6967 | 9.8967 | 7.9233 | 885 | 70.9267 | 14.7327
2019-03-12 05:30:00 | 4.2867 | 111.0233 | 4.94 | 121.9933 | 5.982 | 4.9433 | 6.5367 | 17.0767 | 7.71 | 885 | 72.0267 | 14.2307
2019-03-12 05:45:00 | 4.2467 | 219.2433 | 4.8867 | 240.9167 | 6.2367 | 19.44 | 6.4967 | 24.0167 | 7.5733 | 885 | 73.3367 | 11.4207
2019-03-12 06:00:00 | 4.2067 | 201.0433 | 4.8533 | 220.9167 | 6.4767 | 11.82 | 6.47 | 7.45 | 7.64 | 885 | 73.688 | 10.2953
2019-03-12 06:15:00 | 3.46 | 11.2733 | 3.98 | 12.38 | 6.0067 | 9.7933 | 6.1333 | 18.9667 | 7.1033 | 885 | 75.7667 | 8.3307
2019-03-12 06:30:00 | 3.58 | 2.9333 | 4.12 | 3.22 | 5.96 | 12.7733 | 6.22 | 18.0267 | 6.8633 | 885 | 76.82 | 9.3047
2019-03-12 06:45:00 | 4.0953 | 10.914 | 4.716 | 11.9873 | 5.876 | 10.248 | 6.1207 | 14.962 | 7.0853 | 885 | 75.956 | 10.018
2019-03-12 07:00:00 | 4.1567 | 216.17 | 4.78 | 237.55 | 5.8667 | 7.88 | 5.952 | 12.5433 | 7.1 | 885 | 74.8 | 9.6333
2019-03-12 07:15:00 | 4.4267 | 106.9233 | 5.0967 | 117.5 | 5.5033 | 232.5833 | 5.7267 | 11.2833 | 7.1567 | 885 | 72.6433 | 9.6107
2019-03-12 07:30:00 | 4.12 | 215.2233 | 4.7433 | 236.5 | 5.3767 | 5.7233 | 5.8333 | 16.3433 | 6.9633 | 885 | 73.97 | 10.998
2019-03-12 07:45:00 | 4.4867 | 125.4933 | 5.1667 | 137.9067 | 5.7933 | 10.4433 | 6.3833 | 12.09 | 6.86 | 885.5333 | 76.5533 | 12.5053
2019-03-12 08:00:00 | 4.5667 | 105.7467 | 5.2533 | 116.2 | 6.3 | 4.07 | 6.8633 | 12.9033 | 6.882 | 886 | 77.098 | 12.558
2019-03-12 08:15:00 | 4.866 | 321.942 | 5.6 | 353.7733 | 6.758 | 9.212 | 6.9373 | 10.2667 | 7.238 | 886 | 72.68 | 11.0013
2019-03-12 08:30:00 | 4.6333 | 309.9767 | 5.33 | 340.6333 | 6.3867 | 11.9567 | 6.1533 | 10.6133 | 7.1333 | 886.8667 | 72.13 | 9.0347
2019-03-12 08:45:00 | 4.7667 | 108.5367 | 5.49 | 119.2667 | 6.13 | 6.8967 | 6.1367 | 10.0267 | 7.4933 | 887 | 71.3333 | 9.7653
2019-03-12 09:00:00 | 4.8533 | 112.15 | 5.5833 | 123.24 | 6.2633 | 9.5567 | 6.5033 | 11.06 | 8.0533 | 887 | 71.1 | 13.1567
2019-03-12 09:15:00 | 5.14 | 211.4667 | 5.91 | 232.3767 | 7.08 | 5.4433 | 7.4267 | 4.88 | 8.29 | 887.5333 | 70.39 | 13.5467
2019-03-12 09:30:00 | 4.9467 | 8.8533 | 5.69 | 9.7167 | 6.6533 | 7.5167 | 7.36 | 12.14 | 8.3547 | 888 | 68.9167 | 9.152
2019-03-12 09:45:00 | 4.7267 | 116.0033 | 5.4433 | 127.4667 | 6.5867 | 4.05 | 7.2533 | 10.9967 | 8.77 | 888 | 67.3967 | 9.6607
2019-03-12 10:00:00 | 4.6467 | 300.2367 | 5.3433 | 329.9333 | 6.56 | 0.81 | 6.9933 | 12.1633 | 9.2367 | 888 | 64.49 | 9.0267
2019-03-12 10:15:00 | 4.6467 | 21.06 | 5.3433 | 23.1367 | 6.5467 | 3.4233 | 7.0467 | 10.9567 | 9.9767 | 888 | 61.5767 | 7.8687
2019-03-12 10:30:00 | 4.8667 | 210.58 | 5.5967 | 231.41 | 6.6733 | 1.6233 | 7.0333 | 12.1033 | 10.2767 | 888.2 | 59.9767 | 7.182
2019-03-12 10:45:00 | 4.6 | 271.0033 | 5.2933 | 297.8 | 5.87 | 13.1433 | 6.0567 | 14.52 | 10.69 | 889 | 58.3633 | 2.55
2019-03-12 11:00:00 | 4.1933 | 162.8367 | 4.8333 | 178.9333 | 4.93 | 10.6433 | 4.67 | 16.3133 | 10.85 | 889 | 56.4767 | 0
2019-03-12 11:15:00 | 2.91 | 108.9167 | 3.3467 | 119.6867 | 3.3867 | 123.14 | 3.1433 | 117.2267 | 11.42 | 889 | 54.64 | 0
2019-03-12 11:30:00 | 1.69 | 123.3233 | 1.9533 | 135.5133 | 2.12 | 348.3333 | 2.1033 | 348 | 12.14 | 889 | 52.9933 | 0
2019-03-12 11:45:00 | 1.2667 | 143.2667 | 1.46 | 157.4333 | 1.61 | 151.4333 | 1.5433 | 178.2667 | 13.03 | 889 | 51.77 | 0
2019-03-12 12:00:00 | 1.4333 | 152.6733 | 1.6467 | 167.7667 | 1.7233 | 140.5 | 1.6633 | 165.4 | 13.67 | 889 | 51.77 | 0
2019-03-12 12:15:00 | 2.2 | 152.9467 | 2.54 | 168.0667 | 2.3767 | 179.6333 | 2.08 | 150.8333 | 14.2333 | 889 | 49.5967 | 0
2019-03-12 12:30:00 | 2.7933 | 160.5933 | 3.2133 | 176.4667 | 3.15 | 157.7667 | 2.9333 | 178.7 | 14.52 | 889 | 49.2367 | 0.53733
2019-03-12 12:45:00 | 3.6 | 146.79 | 4.14 | 161.3 | 3.8867 | 185.5667 | 3.7033 | 172.7667 | 14.92 | 889 | 49.64 | 1.032
2019-03-12 13:00:00 | 3.88 | 151.7633 | 4.4733 | 166.7667 | 4.3333 | 172.7667 | 3.9967 | 172.6333 | 15.2533 | 888.1333 | 47.9533 | 2.262
2019-03-12 13:15:00 | 4.26 | 131.98 | 4.91 | 145.0333 | 4.7333 | 169.4333 | 4.3733 | 190.6667 | 15.77 | 888 | 46.2333 | 3.5627
2019-03-12 13:30:00 | 3.9067 | 176.8733 | 4.49 | 194.3667 | 4.4267 | 170.7 | 4.6267 | 166.8 | 16.1233 | 888 | 44.96 | 4.2807
2019-03-12 13:45:00 | 4.1967 | 138.3867 | 4.8367 | 152.0667 | 4.9967 | 151 | 4.72 | 155.2667 | 16.9533 | 887.4667 | 42.5933 | 5.57
2019-03-12 14:00:00 | 4.17 | 158.1 | 4.8033 | 173.7333 | 4.7833 | 159.7333 | 4.98 | 184.5333 | 16.8867 | 887.6667 | 43.0267 | 4.3207
2019-03-12 14:15:00 | 3.88 | 139.5733 | 4.46 | 153.3667 | 4.4467 | 156.8667 | 4.44 | 180.7667 | 17.08 | 887 | 43.62 | 5.616
2019-03-12 14:30:00 | 4.44 | 114.8733 | 5.1067 | 126.2333 | 5.2867 | 176 | 5.2667 | 180.5 | 17.04 | 887 | 44.1467 | 7.0047
2019-03-12 14:45:00 | 5.3733 | 151.61 | 6.1767 | 166.6 | 6.1933 | 171.1333 | 6.2267 | 181.3 | 17.2167 | 887 | 44.0267 | 10.904
2019-03-12 15:00:00 | 5.4533 | 151.85 | 6.2767 | 166.8667 | 6.24 | 171.6667 | 6.2667 | 168.8333 | 16.5833 | 886.8 | 45.5467 | 9.0813
2019-03-12 15:15:00 | 4.578 | 169.2893 | 5.2713 | 186.0333 | 5.3013 | 171.6667 | 5.3793 | 174.4267 | 15.9987 | 886 | 47.148 | 7.3227
2019-03-12 15:30:00 | 3.57 | 179.5467 | 4.1033 | 197.3 | 4.3467 | 169.3333 | 4.5633 | 180.8 | 15.8733 | 886 | 47.58 | 6.594
2019-03-12 15:45:00 | 3.7967 | 169.9633 | 4.3767 | 186.7667 | 4.4567 | 179.0667 | 4.7367 | 180.8 | 15.67 | 886 | 48.2367 | 8.0267
2019-03-12 16:00:00 | 3.85 | 134.7767 | 4.43 | 148.1 | 4.5833 | 177.6 | 4.5167 | 165.6 | 15.7253 | 885.1333 | 48.5767 | 8.0253
2019-03-12 16:15:00 | 4.3367 | 135.9633 | 4.9867 | 149.4 | 5.0533 | 162.9 | 5.4867 | 166.1333 | 15.7033 | 885 | 48.6067 | 8.1493
2019-03-12 16:30:00 | 3.9967 | 162.17 | 4.6067 | 178.2 | 4.74 | 151.1 | 4.82 | 157.2667 | 15.756 | 885 | 48.6333 | 9.278
2019-03-12 16:45:00 | 3.3733 | 139.5633 | 3.8833 | 153.3667 | 4.0467 | 156.9667 | 4.0067 | 170 | 15.5767 | 885 | 49.5533 | 9.2187
2019-03-12 17:00:00 | 3.0667 | 157.9433 | 3.5233 | 173.5667 | 3.6467 | 199.7667 | 3.82 | 215.6667 | 15.41 | 885 | 50.14 | 6.3433
2019-03-12 17:15:00 | 3.2233 | 131.23 | 3.7067 | 144.2 | 3.6933 | 173.2 | 3.67 | 193.7 | 15.2733 | 885 | 50.3333 | 5.5973
2019-03-12 17:30:00 | 2.9167 | 167.6967 | 3.3533 | 184.2667 | 3.5733 | 194.6667 | 3.8767 | 192.5067 | 15.1333 | 885 | 51.0233 | 7.454
2019-03-12 17:45:00 | 2.78 | 183.1533 | 3.2 | 201.2667 | 3.5567 | 205.4 | 3.6233 | 207.5 | 14.9433 | 885 | 52.0433 | 6.4947
2019-03-12 18:00:00 | 2.7467 | 164.4667 | 3.16 | 180.7333 | 3.4367 | 193.4 | 3.6167 | 203.1667 | 14.8167 | 885 | 52.5967 | 7.528
2019-03-12 18:15:00 | 3.42 | 177.7233 | 3.9333 | 195.3 | 4.1067 | 150.8667 | 4.43 | 176.2667 | 14.6933 | 885 | 52.46 | 8.2767
2019-03-12 18:30:00 | 3.4867 | 154.01 | 4.0133 | 169.2333 | 4.3 | 178.8 | 4.6567 | 184 | 14.6 | 885 | 52.22 | 10.096
2019-03-12 18:45:00 | 3.1 | 171.9567 | 3.5633 | 188.9667 | 3.7167 | 185.2 | 3.97 | 202.4667 | 14.48 | 885.5333 | 52.118 | 12.3867
2019-03-12 19:00:00 | 3.42 | 157.5233 | 3.9367 | 173.1 | 4.0967 | 185.6667 | 4.6033 | 190.4 | 14.32 | 886 | 52.258 | 12.1367
2019-03-12 19:15:00 | 4.02 | 171.96 | 4.6233 | 188.9667 | 4.7567 | 186.1 | 5.0967 | 208.9667 | 14.1933 | 886 | 52.512 | 15.6753
2019-03-12 19:30:00 | 3.6667 | 160.4333 | 4.2167 | 176.3 | 4.51 | 185.1667 | 4.97 | 194.7 | 14 | 886 | 53.8567 | 16.2413
2019-03-12 19:45:00 | 3.4233 | 159.8333 | 3.94 | 175.6333 | 4.2133 | 200.1 | 4.4233 | 192.4667 | 13.7133 | 886 | 55.9033 | 17.664
2019-03-12 20:00:00 | 3.77 | 151.82 | 4.3467 | 166.8333 | 4.66 | 199.1 | 4.75 | 209.2667 | 13.4933 | 886 | 57.2567 | 19.7347
2019-03-12 20:15:00 | 4.2533 | 194.35 | 4.8933 | 213.5667 | 5.46 | 210.0333 | 5.2433 | 208.8 | 13.2133 | 886 | 58.8467 | 18.9587
2019-03-12 20:30:00 | 3.2533 | 173.5367 | 3.7467 | 190.7 | 4.06 | 215.0333 | 4.11 | 175.1333 | 13.0733 | 886.8667 | 59.7067 | 17.656
2019-03-12 20:45:00 | 3.88 | 177.4473 | 4.4647 | 195 | 4.8407 | 198.4333 | 5.332 | 186.3267 | 12.912 | 887 | 61.02 | 16.9347
2019-03-12 21:00:00 | 3.9867 | 172.4833 | 4.59 | 189.5333 | 4.95 | 197.3 | 5.3733 | 197.2667 | 12.7767 | 887 | 62.2 | 13.722
2019-03-12 21:15:00 | 3.2633 | 170.14 | 3.7633 | 186.9667 | 4.03 | 218.1 | 4.6 | 208.3333 | 12.66 | 887 | 63.4067 | 11.366
2019-03-12 21:30:00 | 3.2233 | 150.7933 | 3.7167 | 165.7 | 3.8767 | 203.7667 | 4.2067 | 200.4 | 12.5827 | 887 | 64.0933 | 8.9693
2019-03-12 21:45:00 | 2.9167 | 176.82 | 3.35 | 194.3 | 3.6467 | 211.9333 | 3.9667 | 201.4 | 12.4567 | 887 | 64.9967 | 7.3353
2019-03-12 22:00:00 | 2.8233 | 198.0533 | 3.2433 | 217.6333 | 3.64 | 220.6 | 3.6867 | 219.4 | 12.31 | 887 | 66.09 | 6.2353
2019-03-12 22:15:00 | 3.2033 | 164.0833 | 3.6833 | 180.3 | 4.42 | 214.6 | 4.8133 | 216.1333 | 12.1967 | 887 | 67.21 | 6.5593
2019-03-12 22:30:00 | 2.9767 | 167.9567 | 3.43 | 184.5667 | 4.1733 | 216.2667 | 4.5733 | 208.5333 | 12.0967 | 887.8667 | 67.8167 | 4.0527
2019-03-12 22:45:00 | 2.76 | 164.4367 | 3.17 | 180.7 | 3.7433 | 218.6 | 3.8933 | 218.3 | 12.0533 | 888 | 67.8387 | 2.4967
2019-03-12 23:00:00 | 2.18 | 174.5167 | 2.5167 | 191.7667 | 2.95 | 207.96 | 2.9267 | 205.1667 | 12.096 | 887.8 | 67.614 | 1.336
2019-03-12 23:15:00 | 1.3 | 164.22 | 1.5033 | 180.4667 | 2.1167 | 194.8333 | 2.3133 | 184.3667 | 11.8467 | 887 | 68.7833 | 0.36067
2019-03-12 23:30:00 | 1.6133 | 172.6533 | 1.8633 | 189.7333 | 2.4233 | 210.1667 | 2.6867 | 216.9 | 11.74 | 887.2 | 69.24 | 0.44667
2019-03-12 23:45:00 | 2.0967 | 190.6533 | 2.41 | 209.5 | 3.4533 | 224.5667 | 3.26 | 217.1667 | 11.74 | 888 | 69.5567 | 0.69467