## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-13 00:00:00 | 2.0233 | 190.2267 | 2.3233 | 209.0333 | 3.3333 | 221.8333 | 3.12 | 205.3 | 11.8467 | 888 | 69.2033 | 1.0233
2019-03-13 00:15:00 | 1.756 | 177.1667 | 2.0207 | 194.6867 | 3.162 | 223.1533 | 3.0147 | 222.12 | 11.7327 | 888 | 69.7987 | 0.454
2019-03-13 00:30:00 | 1.74 | 193.5967 | 2.0033 | 212.7333 | 3.1833 | 232.1667 | 3.1933 | 231.1333 | 11.656 | 888 | 70.226 | 0.37067
2019-03-13 00:45:00 | 1.8427 | 183.0453 | 2.1313 | 201.1533 | 3.1913 | 234.5733 | 3.3187 | 234.7533 | 11.71 | 888 | 70.08 | 1.3033
2019-03-13 01:00:00 | 2.22 | 170.9067 | 2.5667 | 187.8 | 3.45 | 225.5667 | 3.5033 | 227.3333 | 11.6607 | 887.8 | 70.4087 | 0.71
2019-03-13 01:15:00 | 1.0933 | 167.8933 | 1.26 | 184.5 | 1.8467 | 186.8667 | 1.95 | 187.3 | 11.6467 | 887 | 70.3833 | 0
2019-03-13 01:30:00 | 1.2067 | 164.1933 | 1.3933 | 180.4333 | 1.7867 | 156.6667 | 1.9167 | 161.9667 | 11.58 | 887 | 70.552 | 0
2019-03-13 01:45:00 | 0.4 | 175.99 | 0.47 | 193.4 | 0.79 | 181 | 1.1533 | 184.4 | 11.5947 | 887 | 70.4493 | 0
2019-03-13 02:00:00 | 0.68 | 211.85 | 0.79 | 232.8 | 1.3567 | 221.0667 | 1.2067 | 219.8667 | 11.5833 | 887 | 70.6267 | 0
2019-03-13 02:15:00 | 0.66 | 229.6867 | 0.76333 | 252.4 | 1.3 | 239.4333 | 1.01 | 225.2667 | 11.5433 | 887 | 71.15 | 0
2019-03-13 02:30:00 | 0.06 | 284.8933 | 0.07 | 313.0667 | 0.11333 | 232.9667 | 0.09 | 219 | 11.61 | 887 | 71.3907 | 0
2019-03-13 02:45:00 | 0.36 | 308.7933 | 0.41333 | 339.3333 | 0.45667 | 271.0667 | 0.30667 | 261.1667 | 11.5267 | 887 | 72.9933 | 0
2019-03-13 03:00:00 | 1.84 | 302.42 | 2.1133 | 332.3333 | 2.25 | 339 | 1.92 | 350.4333 | 11.1867 | 887 | 76.34 | 0
2019-03-13 03:15:00 | 1.3933 | 320.81 | 1.6033 | 352.5333 | 2.5433 | 6.4033 | 2.5867 | 7.6033 | 10.4933 | 887 | 82.7667 | 0
2019-03-13 03:30:00 | 1.3733 | 317.3433 | 1.59 | 348.7333 | 2.1633 | 12.5433 | 2.3 | 29.51 | 10.2133 | 886.8 | 82.9667 | 0
2019-03-13 03:45:00 | 1.2133 | 316.89 | 1.4067 | 348.2333 | 1.62 | 13.1633 | 1.74 | 52.0267 | 10.1067 | 886 | 83.4 | 0
2019-03-13 04:00:00 | 0.52 | 302.27 | 0.6 | 332.1667 | 0.74667 | 17.0967 | 1.1133 | 43.68 | 10.06 | 886 | 83.7333 | 0
2019-03-13 04:15:00 | 1.3467 | 308.8333 | 1.5567 | 339.3667 | 1.58 | 15.7733 | 1.8033 | 33.08 | 9.9933 | 886 | 85 | 0
2019-03-13 04:30:00 | 1.4867 | 311.98 | 1.7167 | 342.8333 | 2 | 4.1 | 1.83 | 9.8867 | 9.8733 | 886 | 86.0667 | 0
2019-03-13 04:45:00 | 1.6333 | 312.4027 | 1.88 | 343.2933 | 2.3133 | 1.4933 | 2.4433 | 9.82 | 9.6767 | 886 | 87.8 | 0
2019-03-13 05:00:00 | 2.0533 | 319.38 | 2.36 | 350.9667 | 2.7933 | 5.0067 | 3.0167 | 3.4667 | 9.45 | 886 | 89.4667 | 0
2019-03-13 05:15:00 | 1.9867 | 217.1867 | 2.2933 | 238.6633 | 3.2867 | 8.6633 | 3.2933 | 5.0233 | 9.1633 | 886 | 92.1333 | 0
2019-03-13 05:30:00 | 1.8067 | 192.44 | 2.0867 | 211.4633 | 3.12 | 14.3033 | 3.2 | 19.6767 | 8.9167 | 886 | 94.1333 | 0.94667
2019-03-13 05:45:00 | 2.2087 | 290.7553 | 2.5453 | 319.5 | 3.3513 | 8.8133 | 3.772 | 24.0293 | 8.7767 | 886 | 95.4733 | 2.542
2019-03-13 06:00:00 | 2.0933 | 297.1467 | 2.4067 | 326.5333 | 3.542 | 7.8833 | 4.1533 | 17.6633 | 8.7213 | 886 | 96.2 | 4.0293
2019-03-13 06:15:00 | 2.4867 | 103.8967 | 2.8633 | 114.1667 | 3.7567 | 5.9033 | 3.9733 | 20.7067 | 8.718 | 886 | 96.5333 | 5.036
2019-03-13 06:30:00 | 2.1133 | 103.8367 | 2.43 | 114.1 | 3.5167 | 14.2967 | 3.88 | 19.8133 | 8.74 | 886 | 96.6667 | 6.156
2019-03-13 06:45:00 | 2.7733 | 116.9667 | 3.19 | 128.5267 | 4.0633 | 11.9 | 4.3267 | 122.88 | 8.7347 | 886 | 97.1 | 7.0327
2019-03-13 07:00:00 | 2.82 | 136.4 | 3.2433 | 149.8933 | 4.5767 | 7.4867 | 4.7333 | 353.5 | 8.7367 | 886 | 97.28 | 10.4527
2019-03-13 07:15:00 | 3.16 | 174.24 | 3.6333 | 191.4667 | 5.1267 | 25.95 | 5.43 | 15.46 | 8.6667 | 886 | 97.9 | 13.2913
2019-03-13 07:30:00 | 3.44 | 10.3933 | 3.96 | 11.4133 | 5.1933 | 7.0033 | 5.7367 | 22.6267 | 8.7067 | 886.2 | 97.9667 | 15.0993
2019-03-13 07:45:00 | 3.4493 | 89.968 | 3.98 | 98.856 | 5.5133 | 23.0153 | 5.734 | 104.652 | 8.7067 | 887 | 98.0867 | 17.258
2019-03-13 08:00:00 | 3.6933 | 271.8567 | 4.2533 | 298.7333 | 5.1767 | 239.36 | 5.5 | 130.7933 | 8.66 | 887 | 98.7667 | 15.9447
2019-03-13 08:15:00 | 3.0533 | 285.01 | 3.5133 | 313.2 | 5.3633 | 220.75 | 5.54 | 2.0567 | 8.6653 | 887 | 99.1667 | 13.456
2019-03-13 08:30:00 | 2.9533 | 128.6833 | 3.3933 | 141.4 | 5.3967 | 235.95 | 5.6467 | 236.9433 | 8.6967 | 887 | 99.4333 | 15.2207
2019-03-13 08:45:00 | 3.04 | 52.2133 | 3.51 | 57.3767 | 5.14 | 1.2667 | 5.8967 | 31.8833 | 8.7967 | 887 | 99.62 | 18.6127
2019-03-13 09:00:00 | 3.1333 | 18.6533 | 3.6033 | 20.49 | 4.82 | 6.06 | 5.3567 | 10.0633 | 8.8167 | 887.2 | 99.82 | 23.6367
2019-03-13 09:15:00 | 3.3067 | 182.0833 | 3.81 | 200.0833 | 5.37 | 8.8767 | 5.6867 | 120.1733 | 8.78 | 888 | 99.9533 | 27.312
2019-03-13 09:30:00 | 3.74 | 6.7567 | 4.3033 | 7.4233 | 5.69 | 10.3833 | 6.16 | 127.5 | 8.7733 | 888 | 100 | 26.6533
2019-03-13 09:45:00 | 4.2333 | 121.2667 | 4.88 | 133.2533 | 7.2033 | 21.64 | 7.68 | 25.0433 | 8.86 | 888 | 100 | 31.1153
2019-03-13 10:00:00 | 4.4267 | 102.7067 | 5.1 | 112.86 | 7.9433 | 14.5733 | 8.38 | 18.7967 | 8.94 | 888 | 100 | 31.982
2019-03-13 10:15:00 | 4.1 | 146.4 | 4.7133 | 160.8733 | 7.77 | 6.5333 | 8.0167 | 18.4467 | 9.0633 | 888 | 100 | 29.834
2019-03-13 10:30:00 | 3.94 | 315.9867 | 4.5267 | 347.2333 | 7.41 | 11.44 | 7.53 | 22.664 | 9.1033 | 888.2 | 100 | 30.7053
2019-03-13 10:45:00 | 4.16 | 218.1167 | 4.7967 | 239.6867 | 7.4667 | 241.7567 | 7.5933 | 17.2533 | 9.07 | 889 | 100 | 29.978
2019-03-13 11:00:00 | 4.08 | 8.7767 | 4.6967 | 9.64 | 7.5133 | 13.0967 | 7.8333 | 22.6 | 9.1253 | 889 | 100 | 30.416
2019-03-13 11:15:00 | 4.1567 | 3.0533 | 4.7833 | 3.3467 | 7.62 | 15.2 | 7.9133 | 24.1333 | 9.25 | 889 | 100 | 32.2013
2019-03-13 11:30:00 | 4.09 | 217.78 | 4.7033 | 239.3133 | 7.6933 | 17.7667 | 8.0467 | 16.9867 | 9.3813 | 889 | 100 | 32.2073
2019-03-13 11:45:00 | 4.1033 | 316.84 | 4.72 | 348.1733 | 7.6467 | 12.6093 | 7.8607 | 17.4767 | 9.596 | 889 | 100 | 34.8013
2019-03-13 12:00:00 | 4.2833 | 320.1133 | 4.9267 | 351.7667 | 8.0067 | 13.5333 | 8.01 | 26.4967 | 9.75 | 889 | 100 | 36.4947
2019-03-13 12:15:00 | 4.62 | 9.69 | 5.3133 | 10.6367 | 8.6 | 15.3067 | 8.4967 | 25.2567 | 9.5867 | 889 | 100 | 40.724
2019-03-13 12:30:00 | 5.0067 | 4.4367 | 5.7533 | 4.87 | 9.2467 | 18.4333 | 8.87 | 23.6367 | 9.5 | 889 | 100 | 42.0433
2019-03-13 12:45:00 | 5.1867 | 217.98 | 5.9633 | 239.5367 | 9.4133 | 13.5333 | 9.2633 | 22.7867 | 9.2833 | 889 | 100 | 43.2393
2019-03-13 13:00:00 | 5.4133 | 35.8067 | 6.23 | 39.3367 | 9.72 | 14.7133 | 9.4433 | 24.44 | 9.0967 | 889 | 99.96 | 46.66
2019-03-13 13:15:00 | 5.8333 | 307.9767 | 6.72 | 338.4333 | 10.69 | 16.75 | 10.59 | 23.29 | 9.16 | 889 | 98.6 | 44.94
2019-03-13 13:30:00 | 5.82 | 236.0967 | 6.7067 | 259.4333 | 10.81 | 17.59 | 10.37 | 22.0567 | 9.0533 | 889 | 97.8 | 46.8553
2019-03-13 13:45:00 | 5.72 | 280.9 | 6.58 | 308.6667 | 10.4133 | 19.9533 | 10.5367 | 27.02 | 8.9533 | 889 | 96.6667 | 51.712
2019-03-13 14:00:00 | 6.4067 | 134.7133 | 7.3733 | 148.0333 | 11.1533 | 22.6133 | 11.27 | 30.5867 | 8.8933 | 889 | 92.8667 | 52.0127
2019-03-13 14:15:00 | 6.3067 | 221.6767 | 7.2533 | 243.5967 | 10.92 | 16.6033 | 10.7 | 26.7233 | 8.6167 | 889 | 88.7667 | 52.0267
2019-03-13 14:30:00 | 6.3067 | 115.9367 | 7.2533 | 127.3967 | 11.1933 | 14.9167 | 11.4333 | 29.9033 | 8.4167 | 889 | 88.3 | 53.2273
2019-03-13 14:45:00 | 7.7633 | 224.1433 | 8.93 | 246.3 | 13.5733 | 23.02 | 13.81 | 32.44 | 8.29 | 889 | 88.9333 | 53.698
2019-03-13 15:00:00 | 8.3633 | 42.6567 | 9.6233 | 46.8667 | 14.9333 | 17.4467 | 15.1433 | 31.1733 | 8.19 | 888.1333 | 89 | 56.974
2019-03-13 15:15:00 | 9.2733 | 90.71 | 10.6667 | 99.68 | 16.5933 | 17.01 | 16.3867 | 25.96 | 8.17 | 888 | 87.6667 | 58.2527
2019-03-13 15:30:00 | 9.2 | 219.8233 | 10.5867 | 241.5667 | 16.0733 | 14.11 | 16.0733 | 23.7067 | 8.1593 | 888 | 86.7333 | 55.4713
2019-03-13 15:45:00 | 9.86 | 161.3133 | 11.3433 | 177.2667 | 17.42 | 8.9533 | 16.8867 | 17.37 | 7.9 | 888 | 87.2 | 52.9247
2019-03-13 16:00:00 | 10.22 | 205.12 | 11.7567 | 225.4 | 18.02 | 16.1667 | 17.824 | 20.43 | 7.4467 | 888.2 | 89.2 | 51.2973
2019-03-13 16:15:00 | 10.37 | 306.1633 | 11.93 | 336.4333 | 18.41 | 15.9767 | 17.9833 | 26.4133 | 7.17 | 889 | 89.3333 | 51.7193
2019-03-13 16:30:00 | 10.35 | 313.4967 | 11.9033 | 344.5 | 18.31 | 12.2633 | 18.4967 | 22.4067 | 7.1833 | 889 | 87.2 | 51.306
2019-03-13 16:45:00 | 11.2567 | 113.3067 | 12.95 | 124.5067 | 19.9267 | 6.3 | 19.5267 | 21.0267 | 7.09 | 889 | 84.7 | 50.938
2019-03-13 17:00:00 | 10.75 | 275.7 | 12.37 | 302.9667 | 19.1067 | 9.88 | 18.8133 | 30.9133 | 7.0567 | 889.2 | 83.3667 | 50.5393
2019-03-13 17:15:00 | 9.8067 | 273.9367 | 11.2767 | 301.0333 | 17.1233 | 15.99 | 17.5633 | 29.6167 | 6.98 | 890 | 83.4 | 48.484
2019-03-13 17:30:00 | 9.2533 | 317.2567 | 10.6433 | 348.6333 | 15.874 | 25.67 | 16.5633 | 39.6167 | 6.9333 | 890 | 82.4 | 48.0433
2019-03-13 17:45:00 | 9.4 | 211.1833 | 10.82 | 232.0667 | 15.8533 | 27.48 | 16.69 | 35.93 | 6.9147 | 890.5333 | 81.2333 | 46.9147
2019-03-13 18:00:00 | 9.36 | 302.8567 | 10.7733 | 332.8 | 16.2867 | 22.96 | 16.3967 | 30.3567 | 6.908 | 891 | 81.1667 | 48.298
2019-03-13 18:15:00 | 8.9 | 288.7133 | 10.2467 | 317.2667 | 15.4867 | 9.6033 | 15.5367 | 24.78 | 6.89 | 891.5333 | 80.9667 | 56.6973
2019-03-13 18:30:00 | 9.1133 | 117.44 | 10.4933 | 129.0467 | 16.1533 | 16.51 | 16.3033 | 25.4133 | 6.85 | 892 | 81.3 | 60.4467
2019-03-13 18:45:00 | 7.9733 | 308.8267 | 9.1733 | 339.3667 | 13.7467 | 11.8467 | 14.21 | 33.15 | 6.8213 | 892 | 80.4633 | 58.7227
2019-03-13 19:00:00 | 8.2133 | 114.4533 | 9.4533 | 125.7733 | 14.08 | 12.8 | 14.67 | 34.27 | 6.7633 | 892 | 79.2167 | 58.7947
2019-03-13 19:15:00 | 8 | 98.0367 | 9.2067 | 107.7267 | 13.3933 | 38.2567 | 13.6267 | 35.8633 | 6.6833 | 892 | 78.77 | 59.986
2019-03-13 19:30:00 | 8.6867 | 124.85 | 9.9867 | 137.2 | 15.3267 | 27.0367 | 15.26 | 27.8033 | 6.49 | 892 | 79.1187 | 60.0307
2019-03-13 19:45:00 | 7.9433 | 286.3433 | 9.14 | 314.6667 | 14.2567 | 16.4733 | 14.4433 | 30.2067 | 6.3033 | 892 | 79.4167 | 60.918
2019-03-13 20:00:00 | 7.9833 | 137.29 | 9.1867 | 150.8667 | 14.1767 | 18.8533 | 14.51 | 23.8333 | 6.2567 | 892 | 78.9967 | 60.4953
2019-03-13 20:15:00 | 8.17 | 129.6767 | 9.3967 | 142.5 | 14.88 | 17.84 | 14.9967 | 18.3633 | 6.2467 | 892 | 78.49 | 59.602
2019-03-13 20:30:00 | 7.7967 | 251.3233 | 8.97 | 276.1667 | 14.1667 | 15.9467 | 14.3767 | 16.8033 | 6.2667 | 892.2 | 77.8113 | 59.3067
2019-03-13 20:45:00 | 8.17 | 28.57 | 9.4067 | 31.39 | 14.7867 | 16.57 | 15.3767 | 28.16 | 6.2367 | 893 | 77.7267 | 55.1367
2019-03-13 21:00:00 | 7.57 | 209.6167 | 8.7067 | 230.35 | 13.64 | 12.2233 | 14.3567 | 26.2333 | 6.2767 | 893 | 76.8733 | 51.146
2019-03-13 21:15:00 | 7.3933 | 177.2033 | 8.5067 | 194.7333 | 13.4567 | 21.1167 | 13.96 | 25.6667 | 6.4933 | 893 | 74.79 | 50.376
2019-03-13 21:30:00 | 6.3 | 220.2167 | 7.2467 | 242 | 11.4033 | 19.5567 | 12.02 | 26.7667 | 6.5267 | 893.8667 | 74.3167 | 49.7033
2019-03-13 21:45:00 | 6.3567 | 111.4767 | 7.32 | 122.5 | 11.5667 | 14.8167 | 11.96 | 20.59 | 6.37 | 894 | 75.25 | 54.2967
2019-03-13 22:00:00 | 6.7367 | 180.2767 | 7.7467 | 198.1 | 12.2733 | 15.2233 | 12.8867 | 22.6967 | 6.31 | 894 | 75.45 | 56.3393
2019-03-13 22:15:00 | 6.7233 | 169.0133 | 7.73 | 185.7333 | 12.0267 | 9.36 | 12.5567 | 22.0633 | 6.64 | 894 | 72.72 | 51.1573
2019-03-13 22:30:00 | 6.3767 | 176.12 | 7.3367 | 193.5333 | 11.42 | 18.3267 | 11.6233 | 18.4367 | 6.8133 | 894.2 | 71.2333 | 45.426
2019-03-13 22:45:00 | 5.2933 | 202.7033 | 6.0933 | 222.74 | 10.04 | 17.05 | 10.7967 | 29.18 | 6.4467 | 895 | 73.8733 | 43.4293
2019-03-13 23:00:00 | 5.4867 | 16.5567 | 6.3133 | 18.1933 | 10.22 | 16.6567 | 10.8967 | 25.0933 | 6.3133 | 895 | 74.2333 | 41.846
2019-03-13 23:15:00 | 5.36 | 32.1333 | 6.1667 | 35.31 | 9.9567 | 14.37 | 10.12 | 20.8333 | 6.22 | 895 | 74.2593 | 40.1473
2019-03-13 23:30:00 | 5.3 | 214.4733 | 6.1067 | 235.67 | 9.67 | 14.55 | 9.72 | 10.78 | 6.06 | 895 | 75.2133 | 40.44
2019-03-13 23:45:00 | 5.11 | 268.7333 | 5.88 | 295.3 | 9.2 | 9.0333 | 9.2433 | 20.9833 | 5.96 | 895 | 76.31 | 39.534