## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-14 00:00:00 | 5.3367 | 149.4533 | 6.14 | 164.2333 | 9.64 | 7.3467 | 9.93 | 20.73 | 5.8733 | 894.8 | 76.8367 | 39.8513
2019-03-14 00:15:00 | 4.81 | 5.96 | 5.53 | 6.54 | 9.25 | 16.59 | 9.85 | 19.11 | 5.74 | 894 | 77.46 | 41.151
2019-03-14 00:30:00 | 4.78 | 12.77 | 5.51 | 14.03 | 8.86 | 19.09 | 9.53 | 18.19 | 5.72 | 894 | 77.42 | 42.875
2019-03-14 00:45:00 | 4.81 | 38.68 | 5.53 | 42.51 | 8.77 | 22.32 | 9.17 | 16.63 | 5.74 | 894 | 76.77 | 39.28
2019-03-14 01:00:00 | 4.52 | 313.4 | 5.2 | 344.4 | 8.53 | 11.87 | 8.98 | 15.32 | 5.55 | 894 | 77.78 | 33.62
2019-03-14 01:15:00 | 4.52 | 313.4 | 5.2 | 344.4 | 8.53 | 11.87 | 8.98 | 15.32 | 5.55 | 894 | 77.78 | 33.62
2019-03-14 01:30:00 | 3.2433 | 295.3333 | 3.74 | 324.5333 | 6.0633 | 6.53 | 7 | 20.94 | 5.1233 | 894 | 80.32 | 17.5827
2019-03-14 01:45:00 | 3.31 | 216.9067 | 3.8067 | 238.3533 | 5.65 | 9.2567 | 6.3467 | 26.11 | 5.2033 | 894 | 79.85 | 19.9953
2019-03-14 02:00:00 | 3.4367 | 214.54 | 3.9533 | 235.7533 | 5.6767 | 2.5433 | 6.3467 | 24.9433 | 5.188 | 894 | 79.9313 | 20.0653
2019-03-14 02:15:00 | 3.3367 | 310.05 | 3.84 | 340.7 | 6.1467 | 7.5133 | 6.77 | 15.6133 | 5.1267 | 894 | 79.8473 | 21.6047
2019-03-14 02:30:00 | 3.8633 | 118.2767 | 4.4533 | 129.96 | 6.52 | 6.1867 | 7.1767 | 18.58 | 5.3067 | 894 | 79.0027 | 22.7667
2019-03-14 02:45:00 | 3.67 | 196.45 | 4.2267 | 215.8733 | 6.16 | 230.41 | 6.8367 | 20.4933 | 5.3187 | 894 | 79.1527 | 22.8653
2019-03-14 03:00:00 | 3.6033 | 209.3767 | 4.1467 | 230.0733 | 6.2267 | 15.7567 | 7.17 | 20.72 | 5.05 | 894 | 80.6667 | 20.744
2019-03-14 03:15:00 | 3.532 | 85.952 | 4.06 | 94.452 | 5.58 | 11.842 | 6.23 | 5.872 | 5.126 | 894 | 80.14 | 26.7573
2019-03-14 03:30:00 | 3.68 | 318.72 | 4.2333 | 350.2333 | 6.2067 | 12.5433 | 7.0633 | 20.5533 | 5.0033 | 894 | 80.7 | 31.04
2019-03-14 03:45:00 | 4.2933 | 36.2467 | 4.94 | 39.8267 | 7.0667 | 127.6867 | 7.6767 | 21.13 | 5.04 | 894 | 80.6333 | 32.28
2019-03-14 04:00:00 | 4.2 | 194.8933 | 4.8333 | 214.1667 | 7.4133 | 122.92 | 8.09 | 14.2767 | 4.8133 | 893.1333 | 81.5667 | 39.858
2019-03-14 04:15:00 | 4.5333 | 22.7 | 5.2233 | 24.94 | 8.11 | 0.15 | 9.0367 | 10.28 | 4.63 | 893 | 82.1667 | 37.542
2019-03-14 04:30:00 | 4.26 | 29.9333 | 4.91 | 32.8867 | 7.9233 | 236.1833 | 8.7767 | 9.0933 | 4.7633 | 893 | 81.2333 | 41.7693
2019-03-14 04:45:00 | 4.96 | 171.6967 | 5.7167 | 188.6767 | 8.6233 | 238.2733 | 9.1067 | 7.36 | 4.91 | 893 | 80.4233 | 45.9607
2019-03-14 05:00:00 | 5.48 | 217.9833 | 6.3033 | 239.5433 | 9.17 | 0.90667 | 9.68 | 8.9 | 5.0833 | 893 | 79.73 | 50.7933
2019-03-14 05:15:00 | 5.8667 | 208.8633 | 6.75 | 229.5067 | 9.2 | 12.6033 | 9.6767 | 11.6233 | 4.6367 | 893 | 82.5 | 49.5593
2019-03-14 05:30:00 | 5.5467 | 61.8033 | 6.3787 | 67.9067 | 8.54 | 7.7233 | 8.67 | 12.2767 | 4.3367 | 893 | 84.1 | 50.46
2019-03-14 05:45:00 | 5.6333 | 276.3333 | 6.49 | 303.6667 | 8.7867 | 22.1233 | 8.85 | 21.7233 | 4.44 | 893 | 83.5667 | 51.4207
2019-03-14 06:00:00 | 5.7267 | 302.24 | 6.59 | 332.1333 | 10.0333 | 15.9433 | 9.99 | 9.9367 | 4.4133 | 893 | 83.7667 | 52.8533
2019-03-14 06:15:00 | 5.7267 | 309.8633 | 6.5933 | 340.5 | 10.4833 | 12.1933 | 10.6033 | 14.31 | 4.3367 | 893 | 84.1 | 51.654
2019-03-14 06:30:00 | 5.3 | 296.9967 | 6.0933 | 326.3667 | 9.5367 | 8.9333 | 9.9367 | 14.81 | 4.2233 | 893 | 84.7 | 44.9513
2019-03-14 06:45:00 | 4.7647 | 321.12 | 5.4893 | 352.8733 | 8.0093 | 37.9947 | 8.532 | 28.3593 | 4.0753 | 893 | 85.4533 | 47.6273
2019-03-14 07:00:00 | 4.92 | 116.9567 | 5.6667 | 128.52 | 7.97 | 36.15 | 8.3567 | 248.4933 | 4.16 | 893 | 84.9667 | 44.95
2019-03-14 07:15:00 | 4.7333 | 126.7933 | 5.44 | 139.32 | 7.7033 | 237.1567 | 7.6933 | 19.65 | 4.1347 | 893 | 84.7667 | 44.1227
2019-03-14 07:30:00 | 5.2333 | 258.18 | 6.02 | 283.7 | 8.5033 | 2.6233 | 8.18 | 4.2633 | 3.85 | 893 | 86.7667 | 41.762
2019-03-14 07:45:00 | 5.32 | 196.2533 | 6.1133 | 215.6667 | 8.4667 | 8.5967 | 8.29 | 12.5367 | 3.78 | 893 | 87.8 | 42.1227
2019-03-14 08:00:00 | 5.1933 | 5.6733 | 5.9733 | 6.2267 | 8.54 | 3.9433 | 8.4433 | 6.0167 | 4.2067 | 893.2 | 86.5333 | 47.292
2019-03-14 08:15:00 | 5.4067 | 296.3867 | 6.2233 | 325.7 | 8.8633 | 238.7233 | 9.1567 | 11.3633 | 4.7933 | 894 | 83.5333 | 50.3467
2019-03-14 08:30:00 | 5.4267 | 304.4667 | 6.2433 | 334.5667 | 9.3967 | 1.2833 | 10.01 | 9.63 | 5.4333 | 894 | 81.8 | 47.8973
2019-03-14 08:45:00 | 5.9067 | 8.34 | 6.7933 | 9.16 | 9.4433 | 6.9467 | 9.84 | 8.7833 | 5.8367 | 894.5333 | 79.5267 | 44.93
2019-03-14 09:00:00 | 5.82 | 22.2933 | 6.6933 | 24.4933 | 9.4833 | 5.54 | 9.98 | 16.3833 | 6.3433 | 895 | 77.1133 | 46.3787
2019-03-14 09:15:00 | 6.2267 | 110.66 | 7.1633 | 121.6 | 9.8467 | 28.3133 | 10.61 | 7.1067 | 6.6367 | 895 | 75.9967 | 47.7107
2019-03-14 09:30:00 | 6.1733 | 322.61 | 7.1033 | 354.52 | 9.6333 | 27.1467 | 9.95 | 10.48 | 6.8567 | 895.2 | 75.5767 | 48.5253
2019-03-14 09:45:00 | 6.0267 | 224.4707 | 6.9333 | 246.6667 | 9.2267 | 8.36 | 9.42 | 4.4867 | 7.38 | 896 | 73.1833 | 47.2867
2019-03-14 10:00:00 | 5.6533 | 197.8133 | 6.5067 | 217.3733 | 8.5 | 7.5333 | 8.74 | 14.62 | 7.5133 | 896 | 73.0433 | 41.5513
2019-03-14 10:15:00 | 5.2467 | 12.3733 | 6.0433 | 13.6 | 7.51 | 10.2433 | 7.5067 | 4.4267 | 7.92 | 896 | 71.68 | 29.3573
2019-03-14 10:30:00 | 5.0067 | 217.2267 | 5.77 | 238.7133 | 7.3567 | 11.7033 | 7.1333 | 7.7467 | 8.104 | 896 | 69.9933 | 25.4887
2019-03-14 10:45:00 | 4.5733 | 9.4367 | 5.2567 | 10.3633 | 6.6 | 12.11 | 6.7067 | 13.8567 | 8.5667 | 896.5333 | 68.63 | 28.2513
2019-03-14 11:00:00 | 4.7267 | 46.9033 | 5.4367 | 51.5433 | 7.1 | 5.9967 | 7.0333 | 2.25 | 9.04 | 897 | 66.1433 | 26.9373
2019-03-14 11:15:00 | 4.9 | 211.3567 | 5.6367 | 232.2567 | 7.3347 | 2.73 | 7.012 | 11.8967 | 9.9567 | 897 | 61.7367 | 20.9953
2019-03-14 11:30:00 | 4.32 | 211.3567 | 4.97 | 232.2567 | 6.93 | 14.1433 | 6.33 | 20.5633 | 10.3833 | 897 | 60.39 | 18.1873
2019-03-14 11:45:00 | 4.48 | 17.1033 | 5.15 | 18.7867 | 6.2167 | 18.61 | 5.9767 | 8.83 | 10.4533 | 897 | 59.45 | 16.0713
2019-03-14 12:00:00 | 4.1067 | 12.97 | 4.7233 | 14.2467 | 5.5367 | 19.1433 | 5.37 | 17.53 | 10.8667 | 896.8 | 57.8433 | 13.352
2019-03-14 12:15:00 | 4.3 | 309.44 | 4.9467 | 340.0333 | 6.7233 | 20.2467 | 6.3833 | 14.89 | 12.4 | 896 | 52.8933 | 14.5633
2019-03-14 12:30:00 | 4.824 | 146.508 | 5.55 | 161 | 7.51 | 9.452 | 7.236 | 26.792 | 13.096 | 896 | 48.006 | 15.928
2019-03-14 12:45:00 | 4.7333 | 149.24 | 5.4433 | 164 | 7.9433 | 15.99 | 7.59 | 13.1 | 13.4533 | 896 | 45.46 | 16.0607
2019-03-14 13:00:00 | 4.8067 | 314.1933 | 5.53 | 345.2667 | 8.2433 | 20.67 | 7.8853 | 25.6533 | 13.3333 | 896 | 44.6933 | 17.36
2019-03-14 13:15:00 | 4.77 | 144.24 | 5.4833 | 158.4967 | 8.2067 | 12.08 | 8.1367 | 18.5333 | 13.83 | 896 | 42.9533 | 17.1347
2019-03-14 13:30:00 | 5.15 | 19.0333 | 5.9233 | 20.9033 | 8.1933 | 24.88 | 8.0233 | 13.6067 | 14.67 | 895.1333 | 41.3067 | 18.0333
2019-03-14 13:45:00 | 4.8067 | 304.16 | 5.5367 | 334.2333 | 7.6567 | 20.0333 | 7.54 | 21.3033 | 15.45 | 895 | 38.6033 | 13.782
2019-03-14 14:00:00 | 4.6267 | 119.1933 | 5.33 | 130.98 | 7.2767 | 25.8 | 6.94 | 34.8167 | 15.7567 | 895 | 37.6967 | 11.0787
2019-03-14 14:15:00 | 4.13 | 63.46 | 4.7567 | 69.7367 | 6.0233 | 15.6733 | 5.7267 | 46.56 | 15.9 | 895 | 36.2267 | 7.89
2019-03-14 14:30:00 | 4.11 | 27.0333 | 4.7233 | 29.6967 | 5.93 | 15.5733 | 5.6533 | 27.5267 | 16.4133 | 895 | 34.4733 | 6.2633
2019-03-14 14:45:00 | 3.5367 | 52.4367 | 4.07 | 57.62 | 4.7533 | 12.6067 | 4.4833 | 34.5367 | 16.04 | 895 | 32.8267 | 3.484
2019-03-14 15:00:00 | 3.4633 | 20.8167 | 3.99 | 22.8733 | 4.7933 | 13.74 | 4.4833 | 31.3433 | 15.8067 | 895 | 32.6333 | 2.7867
2019-03-14 15:15:00 | 3.5133 | 125.4767 | 4.0433 | 137.8733 | 5.1333 | 15.5667 | 4.7133 | 24.68 | 16.5633 | 895 | 31.3933 | 3.682
2019-03-14 15:30:00 | 3.4933 | 151.2833 | 4.0233 | 166.24 | 5.1067 | 14.74 | 4.778 | 24.9867 | 16.6833 | 895 | 30.9667 | 3.526
2019-03-14 15:45:00 | 3.6367 | 224.3733 | 4.18 | 246.56 | 5.5133 | 21.1367 | 5.18 | 15.99 | 17.29 | 895 | 28.2767 | 5.6147
2019-03-14 16:00:00 | 3.8167 | 183.6067 | 4.3867 | 201.76 | 5.92 | 17.07 | 5.4733 | 21.85 | 17.47 | 895 | 26.0633 | 6.8227
2019-03-14 16:15:00 | 4.04 | 15.0867 | 4.6533 | 16.5767 | 6.2633 | 20.88 | 5.8167 | 18.2233 | 17.58 | 895 | 23.35 | 6.99
2019-03-14 16:30:00 | 3.6067 | 193.1533 | 4.1467 | 212.2567 | 5.6633 | 37.4133 | 5.19 | 32.1367 | 17.1867 | 895 | 22.5567 | 7.6613
2019-03-14 16:45:00 | 3.8067 | 271.21 | 4.3833 | 298.0333 | 6.0267 | 7.6033 | 5.7533 | 244.3433 | 17.2833 | 895 | 23.0467 | 9.1673
2019-03-14 17:00:00 | 3.7533 | 264.8433 | 4.3233 | 291.0333 | 6.5133 | 14.23 | 6.1933 | 29.0633 | 17.172 | 895 | 21.06 | 9.2367
2019-03-14 17:15:00 | 3.2667 | 221.1667 | 3.7633 | 243.0333 | 5.8833 | 17.7767 | 5.9 | 25.9967 | 17.1633 | 895 | 21.1533 | 7.9113
2019-03-14 17:30:00 | 3.28 | 125.26 | 3.7767 | 137.6467 | 5.8433 | 5.8433 | 5.8667 | 6.4167 | 16.9967 | 895 | 22.4 | 10.2747
2019-03-14 17:45:00 | 3.4833 | 78.7733 | 4.0067 | 86.5633 | 6.4167 | 11.8967 | 6.25 | 24.0367 | 16.0667 | 895 | 23.35 | 11.7887
2019-03-14 18:00:00 | 3.7633 | 36.9067 | 4.3267 | 40.5567 | 7.15 | 19.5433 | 7.3033 | 27.49 | 15.74 | 894.8 | 23.89 | 13.0087
2019-03-14 18:15:00 | 3.88 | 138.54 | 4.4667 | 152.2333 | 7.39 | 15.16 | 7.42 | 25.7167 | 14.84 | 894 | 25.6467 | 12.768
2019-03-14 18:30:00 | 3.4933 | 174.8733 | 4.0133 | 192.1667 | 6.81 | 15.62 | 7.0893 | 27.29 | 14.2533 | 894 | 27.5333 | 11.5273
2019-03-14 18:45:00 | 3.6433 | 202.3267 | 4.19 | 222.3333 | 6.63 | 13.9033 | 6.76 | 27.12 | 13.8633 | 894 | 26.9733 | 9.8867
2019-03-14 19:00:00 | 3.37 | 204.0267 | 3.8767 | 224.2 | 6.3167 | 26.1833 | 6.14 | 29.6133 | 13.51 | 894 | 26.3867 | 9.7607
2019-03-14 19:15:00 | 2.9567 | 123.4833 | 3.4067 | 135.6933 | 5.75 | 14.9033 | 5.5933 | 27.4967 | 12.9733 | 894 | 25.11 | 10.6253
2019-03-14 19:30:00 | 3.17 | 318.2567 | 3.6467 | 349.7333 | 5.9433 | 9.6567 | 5.9333 | 15.05 | 12.6667 | 894 | 24.8633 | 14.756
2019-03-14 19:45:00 | 3.13 | 221.7333 | 3.6033 | 243.6667 | 5.4267 | 7.37 | 5.63 | 13.8067 | 12.7033 | 894 | 24.65 | 17.218
2019-03-14 20:00:00 | 3.41 | 44.6333 | 3.93 | 49.04 | 6.0733 | 10.2233 | 6.21 | 18.2 | 12.6167 | 894 | 24.8227 | 16.028
2019-03-14 20:15:00 | 3.5333 | 47.71 | 4.07 | 52.4233 | 6.46 | 10.73 | 6.5433 | 15.4733 | 12.2133 | 894 | 25.4733 | 15.7133
2019-03-14 20:30:00 | 3.3067 | 2.97 | 3.81 | 3.2567 | 5.5667 | 49.4767 | 5.6367 | 14.8467 | 12.3 | 894 | 25.7467 | 15.6907
2019-03-14 20:45:00 | 2.9567 | 195.0333 | 3.3967 | 214.32 | 5.47 | 238.4233 | 5.0933 | 3.4 | 11.8967 | 894 | 27.1733 | 15.744
2019-03-14 21:00:00 | 2.8433 | 25.02 | 3.27 | 27.4867 | 5.4167 | 7.7633 | 5.0067 | 13.0133 | 11.3567 | 894 | 29.52 | 17.0647
2019-03-14 21:15:00 | 3.1033 | 316.72 | 3.5733 | 348.0333 | 5.5067 | 13.6133 | 5.63 | 22.1 | 11.17 | 894 | 30.3267 | 14.8647
2019-03-14 21:30:00 | 3.0367 | 117.34 | 3.4933 | 128.9467 | 5.6333 | 7.94 | 5.7633 | 18.16 | 11.0567 | 894.2 | 30.9733 | 13.4567
2019-03-14 21:45:00 | 3.2533 | 18.6267 | 3.74 | 20.4667 | 5.5533 | 10.13 | 5.65 | 20.6 | 11.1767 | 895 | 30.98 | 13.8893
2019-03-14 22:00:00 | 3.3333 | 20.3533 | 3.8333 | 22.3667 | 5.9467 | 10.1767 | 5.97 | 17.78 | 11.212 | 895 | 31.1867 | 12.6533
2019-03-14 22:15:00 | 3.14 | 310.4433 | 3.6133 | 341.1333 | 5.8467 | 13.7267 | 6.1867 | 20.2367 | 10.97 | 895 | 32.4667 | 9.9633
2019-03-14 22:30:00 | 2.9667 | 324.276 | 3.4133 | 356.34 | 5.2867 | 15.6867 | 5.6667 | 15.1967 | 10.73 | 895 | 33.4133 | 6.3033
2019-03-14 22:45:00 | 2.8567 | 96.0733 | 3.2833 | 105.5667 | 4.8333 | 10.86 | 5.3533 | 16.2633 | 10.9867 | 895 | 33.4167 | 5.0007
2019-03-14 23:00:00 | 2.6767 | 302.2467 | 3.0767 | 332.1333 | 4.6 | 12.7067 | 4.92 | 13.0033 | 10.4733 | 895 | 34.75 | 4.1787
2019-03-14 23:15:00 | 2.3533 | 4.4267 | 2.7067 | 4.8567 | 4.3867 | 9.3533 | 4.96 | 13.46 | 10.0733 | 895 | 36.12 | 4.4553
2019-03-14 23:30:00 | 2.4067 | 192.7 | 2.7733 | 211.7567 | 4.64 | 8.4467 | 4.898 | 12.42 | 9.5267 | 895 | 38.1667 | 4.8927
2019-03-14 23:45:00 | 2.7967 | 180.6633 | 3.22 | 198.53 | 4.9267 | 10.05 | 5.1967 | 15.6167 | 9.2567 | 895 | 40.1767 | 5.1147