## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-15 00:00:00 | 2.8833 | 202.0167 | 3.32 | 221.9967 | 4.8933 | 8.77 | 5.37 | 18.81 | 9.39 | 895 | 41.01 | 5.8193
2019-03-15 00:15:00 | 2.7 | 214.9333 | 3.1067 | 236.1867 | 4.8533 | 10.7667 | 5.42 | 23.17 | 9.2433 | 895 | 42.9467 | 6.502
2019-03-15 00:30:00 | 2.8 | 217.7333 | 3.22 | 239.2533 | 4.6467 | 15.0267 | 4.96 | 17.4833 | 9.152 | 895 | 44.0667 | 6.5147
2019-03-15 00:45:00 | 2.9733 | 110.7967 | 3.4233 | 121.7533 | 4.0533 | 238 | 4.3467 | 11.2067 | 9.3867 | 895 | 43.7633 | 8.6533
2019-03-15 01:00:00 | 3.0933 | 121.9967 | 3.5633 | 134.0533 | 4.6333 | 184.0667 | 5.1 | 12.0333 | 9.22 | 895 | 44.7633 | 11.1587
2019-03-15 01:15:00 | 3.2867 | 16.0767 | 3.7867 | 17.67 | 5.3167 | 234.36 | 5.56 | 13.3367 | 9.3967 | 895 | 43.4233 | 11.0753
2019-03-15 01:30:00 | 3.08 | 11.9033 | 3.5467 | 13.0833 | 5.2433 | 233.36 | 5.5867 | 13.2367 | 9.0967 | 895 | 45.3433 | 9.0207
2019-03-15 01:45:00 | 2.9733 | 207.48 | 3.4233 | 228.0033 | 5.1033 | 3.8033 | 5.3433 | 9.2333 | 8.89 | 895 | 47.25 | 6.9727
2019-03-15 02:00:00 | 3.08 | 201.1133 | 3.5433 | 221.0033 | 5.03 | 6.1367 | 5.4967 | 12.9267 | 8.9833 | 895 | 46.3433 | 7.7753
2019-03-15 02:15:00 | 3.2133 | 211.75 | 3.6933 | 232.68 | 5.31 | 238.4833 | 5.3933 | 7.5067 | 8.7867 | 895 | 45.64 | 9.5747
2019-03-15 02:30:00 | 3.38 | 220.4167 | 3.8867 | 242.2133 | 5.4567 | 7.29 | 5.7067 | 12.6733 | 8.8133 | 895 | 45.918 | 11.7613
2019-03-15 02:45:00 | 3.6733 | 212.6667 | 4.23 | 233.6933 | 5.78 | 12.3167 | 6.29 | 19.08 | 8.7367 | 895 | 47.0667 | 12.4907
2019-03-15 03:00:00 | 4.32 | 0.26667 | 4.97 | 0.29333 | 5.8133 | 13.6767 | 5.948 | 9.6133 | 8.8233 | 895 | 46.0333 | 13.7753
2019-03-15 03:15:00 | 3.68 | 305.7 | 4.23 | 335.9333 | 5.7667 | 7.65 | 6.0867 | 20.6733 | 8.7833 | 895 | 46.2933 | 15.102
2019-03-15 03:30:00 | 3.5067 | 304.0733 | 4.03 | 334.1333 | 6.4067 | 13.13 | 6.4933 | 20.24 | 8.3233 | 894.8 | 48.24 | 19.4893
2019-03-15 03:45:00 | 4.26 | 174.9833 | 4.91 | 192.28 | 6.7 | 341.0667 | 6.6233 | 1.5433 | 8.2333 | 894 | 49.1653 | 23.5727
2019-03-15 04:00:00 | 4.1 | 20.95 | 4.7167 | 23.02 | 6.4 | 110.4733 | 6.4433 | 6.6967 | 8.1667 | 894 | 50.3467 | 21.5547
2019-03-15 04:15:00 | 3.8667 | 111.1733 | 4.4433 | 122.16 | 6.0433 | 236.5967 | 6.3033 | 10.3133 | 7.9233 | 894 | 52.6633 | 16.1027
2019-03-15 04:30:00 | 4.0533 | 263.6067 | 4.6633 | 289.6667 | 6.2833 | 232.93 | 6.2033 | 18.1067 | 7.93 | 894 | 53.0233 | 11.2847
2019-03-15 04:45:00 | 3.2633 | 307.9133 | 3.7633 | 338.3667 | 5.8167 | 9.9233 | 6.1967 | 23.6367 | 7.7367 | 894 | 53.8867 | 10.732
2019-03-15 05:00:00 | 3.16 | 307.946 | 3.636 | 338.4 | 5.518 | 13.278 | 5.926 | 21.416 | 7.532 | 894 | 54.524 | 5.676
2019-03-15 05:15:00 | 2.6467 | 202.8967 | 3.0433 | 222.9633 | 4.8067 | 10.23 | 5.12 | 15.1233 | 7.27 | 894 | 55.76 | 3.1833
2019-03-15 05:30:00 | 2.84 | 2.0567 | 3.27 | 2.2567 | 4.4333 | 2.71 | 5.0267 | 5.9833 | 7.27 | 894 | 56.188 | 2.3313
2019-03-15 05:45:00 | 3.0467 | 107.8733 | 3.5067 | 118.5333 | 4.36 | 7.4867 | 4.6233 | 10.7467 | 7.3133 | 894 | 56.1 | 1.6633
2019-03-15 06:00:00 | 2.4067 | 109.6267 | 2.7733 | 120.46 | 3.8333 | 22 | 4.3167 | 16.8267 | 7.2467 | 894 | 56.8453 | 5.6647
2019-03-15 06:15:00 | 3.1833 | 10.8567 | 3.6633 | 11.92 | 4.9133 | 14.25 | 5.4533 | 17.38 | 7.15 | 894 | 57.82 | 8.332
2019-03-15 06:30:00 | 3.6767 | 18.4433 | 4.23 | 20.2533 | 5.26 | 16.65 | 5.6333 | 17.9667 | 7.232 | 894 | 58.0247 | 8.5307
2019-03-15 06:45:00 | 3.8933 | 311.13 | 4.4767 | 341.9 | 5.36 | 11.42 | 5.6933 | 16.26 | 7.34 | 894 | 57.7867 | 6.7187
2019-03-15 07:00:00 | 3.92 | 313.69 | 4.5167 | 344.7 | 5.0333 | 15.8933 | 5.4733 | 24.74 | 7.42 | 894 | 57.48 | 8.99
2019-03-15 07:15:00 | 4.0167 | 105.4833 | 4.6167 | 115.9067 | 5.3267 | 121.82 | 5.39 | 10.2133 | 7.19 | 894 | 59.16 | 10.2247
2019-03-15 07:30:00 | 4.3967 | 316.8033 | 5.0567 | 348.1333 | 5.3733 | 119.3533 | 5.5367 | 59.9933 | 7.17 | 894 | 59.6667 | 6.576
2019-03-15 07:45:00 | 4.168 | 196.9767 | 4.79 | 216.46 | 5.0967 | 51.8 | 5.13 | 6.05 | 7.4167 | 894.5333 | 58.48 | 3.7487
2019-03-15 08:00:00 | 4.0233 | 202.8633 | 4.6367 | 222.9267 | 4.6033 | 10.3933 | 5.0567 | 20.4967 | 7.3767 | 895 | 58.81 | 6.7867
2019-03-15 08:15:00 | 3.82 | 212.6133 | 4.4033 | 233.64 | 5.1567 | 3.8567 | 5.78 | 10.2467 | 7.0933 | 895 | 61.5167 | 9.396
2019-03-15 08:30:00 | 3.4867 | 196.6 | 4.01 | 216.04 | 5.77 | 6.0633 | 6.182 | 10.6533 | 7.0467 | 895 | 62.49 | 7.9253
2019-03-15 08:45:00 | 3.33 | 219.5333 | 3.8333 | 241.24 | 5.6133 | 4.7533 | 6.11 | 11.43 | 7.3467 | 895 | 60.94 | 8.994
2019-03-15 09:00:00 | 3.73 | 204.4933 | 4.2933 | 224.7067 | 5.8867 | 7.5533 | 6.67 | 20.6233 | 7.5933 | 895.8667 | 60.6667 | 7.7447
2019-03-15 09:15:00 | 3.55 | 323.6267 | 4.08 | 355.6333 | 5.7 | 12.1167 | 6.6133 | 21.3067 | 7.8033 | 896 | 60.6933 | 4.6647
2019-03-15 09:30:00 | 3.6167 | 108.26 | 4.16 | 118.9667 | 5.5667 | 9.7833 | 5.42 | 12.0533 | 8.0167 | 896 | 59.78 | 3.248
2019-03-15 09:45:00 | 4.0467 | 216.4533 | 4.66 | 237.86 | 5.2167 | 10.47 | 5.38 | 14.3467 | 8.41 | 896 | 58.81 | 5.388
2019-03-15 10:00:00 | 3.9867 | 2.0933 | 4.5867 | 2.2933 | 5.37 | 4.25 | 5.6733 | 9.42 | 9.0567 | 896.8667 | 57.862 | 1.078
2019-03-15 10:15:00 | 3.5267 | 215.56 | 4.0567 | 236.8733 | 4.13 | 10.5033 | 4.5267 | 14.5833 | 9.4 | 897 | 56.7633 | 0
2019-03-15 10:30:00 | 3.1733 | 6.14 | 3.65 | 6.74 | 3.65 | 15.67 | 3.54 | 16.3833 | 9.3933 | 897 | 56.7433 | 0
2019-03-15 10:45:00 | 1.85 | 67.48 | 2.13 | 74.1467 | 2.13 | 66.3867 | 1.5833 | 291.5667 | 9.6313 | 897 | 55.9353 | 0
2019-03-15 11:00:00 | 1.692 | 159.476 | 1.96 | 175.24 | 1.892 | 167.1 | 1.55 | 162.18 | 10.048 | 897 | 56.516 | 0
2019-03-15 11:15:00 | 2.5933 | 160.9 | 2.9833 | 176.8 | 2.85 | 163.1333 | 2.55 | 176.8333 | 10.9067 | 897 | 54.8167 | 0
2019-03-15 11:30:00 | 2.6333 | 147.1267 | 3.0367 | 161.6667 | 2.8833 | 196.0667 | 2.8633 | 198.5667 | 11.2 | 897 | 49.1633 | 0
2019-03-15 11:45:00 | 3.2267 | 151.3333 | 3.71 | 166.3 | 3.5267 | 183.7667 | 3.6233 | 194.7667 | 11.0833 | 897 | 44.2533 | 0
2019-03-15 12:00:00 | 2.98 | 140.1067 | 3.4367 | 153.9667 | 3.2133 | 170.9667 | 3.11 | 196.4333 | 11.45 | 897 | 43.6467 | 1.592
2019-03-15 12:15:00 | 3.7333 | 153.34 | 4.2967 | 168.5 | 4.1467 | 202.3 | 4.1 | 189.7667 | 12.5 | 897 | 42.5367 | 3.67
2019-03-15 12:30:00 | 4.3 | 149.26 | 4.9567 | 164.0133 | 4.88 | 182.3 | 5.06 | 174.5667 | 13.0267 | 897 | 42.07 | 3.5487
2019-03-15 12:45:00 | 4.1933 | 141.8433 | 4.8267 | 155.8667 | 4.8567 | 162.4333 | 4.6167 | 175.8 | 13.35 | 897 | 41.3633 | 4.97
2019-03-15 13:00:00 | 4.5 | 149.19 | 5.18 | 163.9333 | 5.2433 | 154.6333 | 5.2433 | 183.2667 | 13.5433 | 897 | 41.15 | 4.5607
2019-03-15 13:15:00 | 4.0467 | 140.63 | 4.6533 | 154.5333 | 4.7533 | 150.8667 | 4.88 | 155.9 | 13.3433 | 897 | 41.84 | 4.5533
2019-03-15 13:30:00 | 4.1533 | 146.2033 | 4.7733 | 160.6667 | 4.9933 | 169.1333 | 5.1467 | 173.9667 | 13.5033 | 896.1333 | 42.18 | 5.8967
2019-03-15 13:45:00 | 3.7133 | 171.7867 | 4.2667 | 188.7667 | 4.3267 | 205.7333 | 4.42 | 203.4 | 13.5933 | 896 | 42.3347 | 6.3353
2019-03-15 14:00:00 | 3.24 | 143.5067 | 3.7267 | 157.7 | 3.9133 | 195.4 | 4.0067 | 188.0667 | 13.88 | 895.8 | 42.7933 | 9.026
2019-03-15 14:15:00 | 3.2733 | 140.9333 | 3.77 | 154.8667 | 4.0933 | 182.3667 | 4.26 | 232.6333 | 13.94 | 895 | 43.4033 | 12.084
2019-03-15 14:30:00 | 3.8933 | 106.8333 | 4.4833 | 117.4 | 4.7 | 156.9667 | 4.4867 | 202.6333 | 13.9 | 895 | 43.7967 | 12.4227
2019-03-15 14:45:00 | 3.4133 | 163.1033 | 3.9267 | 179.2333 | 4.22 | 219.6667 | 4.63 | 213.5 | 13.6767 | 895 | 44.76 | 11.892
2019-03-15 15:00:00 | 3.44 | 164.99 | 3.96 | 181.3 | 4.6 | 225.6 | 5.09 | 219.3 | 13.85 | 894.4 | 44.712 | 11.002
2019-03-15 15:15:00 | 2.8933 | 204.5033 | 3.33 | 224.7333 | 3.8633 | 228 | 4.3633 | 211.4 | 13.5367 | 894 | 47.1967 | 12.8367
2019-03-15 15:30:00 | 3.6733 | 182.49 | 4.2233 | 200.5333 | 4.6633 | 220.6 | 4.9633 | 228.2 | 13.3433 | 894 | 49.71 | 13.9527
2019-03-15 15:45:00 | 3.2567 | 189.6767 | 3.7467 | 208.4333 | 4.2667 | 225 | 4.6133 | 210.1 | 13.25 | 893.2 | 51.9667 | 17.4547
2019-03-15 16:00:00 | 3.39 | 209.7633 | 3.9 | 230.5 | 4.4067 | 229.2667 | 4.9867 | 217.6333 | 13.2053 | 893 | 53.3733 | 18.924
2019-03-15 16:15:00 | 4.5467 | 141.6 | 5.2333 | 155.6 | 5.5067 | 169.8333 | 6.03 | 179.2667 | 12.94 | 893 | 55.58 | 19.052
2019-03-15 16:30:00 | 4.0267 | 159.9867 | 4.6333 | 175.8 | 5.04 | 207.5 | 5.31 | 209.6667 | 12.82 | 893 | 56.4667 | 26.314
2019-03-15 16:45:00 | 4.4067 | 193.3133 | 5.08 | 212.4333 | 5.8733 | 225 | 6.37 | 227.4667 | 12.6027 | 893 | 56.3433 | 26.878
2019-03-15 17:00:00 | 3.852 | 179.544 | 4.436 | 197.3 | 5.044 | 222.16 | 5.564 | 226.2 | 12.542 | 893 | 57.31 | 28.282
2019-03-15 17:15:00 | 3.4333 | 192.3833 | 3.9533 | 211.4 | 4.5133 | 231.2333 | 4.8367 | 222.8667 | 12.23 | 892.8667 | 59.7067 | 28.1233
2019-03-15 17:30:00 | 2.84 | 179.9967 | 3.2733 | 197.8 | 3.8533 | 224.3667 | 4.4833 | 214.4 | 12.03 | 892 | 61.3667 | 29.058
2019-03-15 17:45:00 | 2.9267 | 165.8933 | 3.3667 | 182.3 | 3.9467 | 239.6667 | 4.55 | 237.2133 | 11.7233 | 892 | 63.29 | 26.4227
2019-03-15 18:00:00 | 3.8467 | 177 | 4.4267 | 194.5 | 4.9533 | 228 | 5.6033 | 232.1 | 11.5167 | 892 | 64.1167 | 15.1767
2019-03-15 18:15:00 | 3.48 | 189.4933 | 4.0067 | 208.2333 | 4.6867 | 216.2 | 4.8667 | 224.8 | 11.3467 | 892 | 65.4333 | 10.396
2019-03-15 18:30:00 | 3.42 | 170.4467 | 3.94 | 187.3 | 4.6067 | 207.5333 | 4.7933 | 222.1333 | 11.24 | 892 | 66.0333 | 9.402
2019-03-15 18:45:00 | 3.56 | 210.58 | 4.0967 | 231.4 | 4.65 | 227.5 | 4.7533 | 218.3933 | 11.09 | 892 | 66.8867 | 11.022
2019-03-15 19:00:00 | 3.6133 | 182.5533 | 4.1633 | 200.6 | 4.8367 | 222.3 | 5.1467 | 218.6333 | 10.9367 | 892 | 67.6333 | 12.1133
2019-03-15 19:15:00 | 3.3233 | 179.3073 | 3.8233 | 197.04 | 4.3333 | 228.3333 | 4.3333 | 226.7667 | 10.7967 | 892 | 68.31 | 11.1367
2019-03-15 19:30:00 | 2.67 | 178.0367 | 3.07 | 195.6333 | 3.4333 | 218.3333 | 3.24 | 230.1667 | 10.71 | 892 | 68.5687 | 9.1827
2019-03-15 19:45:00 | 2.7893 | 186.954 | 3.2127 | 205.4333 | 3.636 | 214.5133 | 3.7893 | 235.1667 | 10.6107 | 892 | 69.2113 | 6.6053
2019-03-15 20:00:00 | 2.6333 | 187.7167 | 3.03 | 206.2667 | 3.49 | 225.7 | 3.86 | 214.8333 | 10.5133 | 892 | 70.0533 | 5.612
2019-03-15 20:15:00 | 2.42 | 145.84 | 2.78 | 160.2667 | 3.1467 | 223.4667 | 3.14 | 191.8667 | 10.35 | 892 | 71.0567 | 5.03
2019-03-15 20:30:00 | 2.4733 | 150.2733 | 2.8533 | 165.1333 | 3.24 | 216.8667 | 3.1733 | 226.7333 | 10.2433 | 892 | 71.8367 | 5.3667
2019-03-15 20:45:00 | 2.4033 | 177.5733 | 2.76 | 195.1333 | 3.0933 | 228.4667 | 3.2 | 200.7 | 10.14 | 892 | 72.74 | 5.4067
2019-03-15 21:00:00 | 2.3633 | 172.06 | 2.7267 | 189.0667 | 3.02 | 208.5333 | 2.9667 | 196.3 | 10.0707 | 892 | 73.3 | 1.9007
2019-03-15 21:15:00 | 1.86 | 158.5267 | 2.1433 | 174.2 | 2.59 | 178.3667 | 2.3533 | 187.8667 | 9.9733 | 892 | 74.0333 | 0.46467
2019-03-15 21:30:00 | 2.0133 | 154.04 | 2.3167 | 169.2667 | 2.7433 | 185.9667 | 2.6067 | 193.9333 | 9.9067 | 892.4667 | 74.56 | 0.025
2019-03-15 21:45:00 | 1.2333 | 179.8467 | 1.4233 | 197.6333 | 1.9667 | 199.1667 | 2.18 | 212.7333 | 9.8967 | 893 | 74.7833 | 0.002667
2019-03-15 22:00:00 | 1.06 | 181.2467 | 1.2233 | 199.1667 | 1.9267 | 204.0333 | 2.1333 | 211.1333 | 9.8233 | 893 | 75.3233 | 0
2019-03-15 22:15:00 | 1.0333 | 167.1733 | 1.19 | 183.7 | 1.74 | 195.8 | 1.87 | 204.4 | 9.78 | 893 | 75.7353 | 0
2019-03-15 22:30:00 | 1.2867 | 148.9733 | 1.49 | 163.7 | 1.9067 | 176.9333 | 2.0567 | 186.1333 | 9.7867 | 892.5333 | 75.812 | 0
2019-03-15 22:45:00 | 1.7467 | 158.5533 | 2.0133 | 174.2333 | 2.38 | 175.1333 | 2.4067 | 185.5333 | 9.62 | 892 | 76.4767 | 0
2019-03-15 23:00:00 | 2.196 | 165.6507 | 2.5227 | 182.0333 | 3.0173 | 194.3333 | 3.0613 | 208.4 | 9.6187 | 892 | 76.6593 | 0.85667
2019-03-15 23:15:00 | 1.98 | 167.9567 | 2.28 | 184.5667 | 3.11 | 210.8667 | 3.3333 | 219.6667 | 9.5387 | 892.8 | 77.7267 | 0.54867
2019-03-15 23:30:00 | 1.7067 | 170.6833 | 1.9733 | 187.5667 | 2.49 | 214.7333 | 2.68 | 220.2 | 9.5833 | 893 | 77.77 | 0
2019-03-15 23:45:00 | 1.68 | 153.9767 | 1.9367 | 169.2 | 2.3933 | 205.3 | 2.55 | 214.6133 | 9.5553 | 892.8667 | 78.39 | 0