## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-16 00:00:00 | 1.6329 | 160.9593 | 1.8836 | 176.8714 | 2.3064 | 180.0214 | 2.3914 | 187.2857 | 9.4086 | 892 | 79.1643 | 0
2019-03-16 00:15:00 | 0.76667 | 154.89 | 0.88333 | 170.2 | 1.5167 | 180.4133 | 1.8233 | 179.3 | 9.25 | 892 | 79.4153 | 0
2019-03-16 00:30:00 | 0.34667 | 154.15 | 0.41 | 169.4 | 0.69 | 180.5 | 0.93 | 182.9 | 9.33 | 892 | 79.3433 | 0
2019-03-16 00:45:00 | 0.44 | 161.0167 | 0.50667 | 176.9333 | 0.86667 | 180.5133 | 0.89 | 183.1 | 9.5067 | 892 | 78.3767 | 0.39933
2019-03-16 01:00:00 | 0.92 | 166.29 | 1.0533 | 182.7333 | 1.4333 | 192.8 | 1.5233 | 196.9667 | 9.48 | 892 | 78.7033 | 0.023333
2019-03-16 01:15:00 | 1.2133 | 153.28 | 1.4 | 168.4333 | 1.9733 | 184.8533 | 1.9667 | 187.9667 | 9.3133 | 892 | 79.77 | 0
2019-03-16 01:30:00 | 0.63333 | 134.96 | 0.73333 | 148.3 | 1.2333 | 168.3667 | 1.2533 | 176.8333 | 9.26 | 892 | 79.6633 | 0.000667
2019-03-16 01:45:00 | 1.18 | 159.43 | 1.3567 | 175.2 | 1.8633 | 179.2667 | 2.0067 | 175 | 9.23 | 892 | 79.8433 | 0.23
2019-03-16 02:00:00 | 1.42 | 170.47 | 1.63 | 187.3333 | 2.1167 | 186.2 | 2.2867 | 174.3067 | 9.2367 | 892 | 79.9293 | 0.29933
2019-03-16 02:15:00 | 1.5867 | 177.0567 | 1.8267 | 194.5667 | 2.2667 | 192.3 | 2.38 | 186.8333 | 9.2633 | 892 | 79.572 | 0.71067
2019-03-16 02:30:00 | 2.0867 | 160.07 | 2.4133 | 175.9 | 2.7067 | 189.2333 | 2.8267 | 180.1 | 9.1633 | 891.5333 | 79.8833 | 1.282
2019-03-16 02:45:00 | 2.1133 | 174.1167 | 2.43 | 191.3333 | 2.7833 | 205.8 | 3.2167 | 195.4333 | 9.0967 | 891 | 80.07 | 1.9413
2019-03-16 03:00:00 | 2.4133 | 179.51 | 2.7767 | 197.2667 | 3.0233 | 213.4 | 3.3567 | 199.3 | 9.1767 | 891 | 79.4967 | 3.3607
2019-03-16 03:15:00 | 3.0533 | 180.4267 | 3.51 | 198.2667 | 4.1733 | 201.1 | 4.1867 | 205.2 | 9.0767 | 891 | 80.0853 | 4.5573
2019-03-16 03:30:00 | 2.46 | 174.536 | 2.83 | 191.8 | 3.362 | 210.48 | 3.338 | 208.4 | 9.132 | 891 | 79.78 | 1.6833
2019-03-16 03:45:00 | 1.5033 | 173.9967 | 1.7367 | 191.2 | 2.4467 | 218.3667 | 2.2933 | 221 | 9.09 | 891 | 79.8353 | 1.1773
2019-03-16 04:00:00 | 1.3967 | 176.4233 | 1.61 | 193.8667 | 2.3133 | 206.6333 | 2.3733 | 206.1333 | 9.01 | 891 | 80.29 | 1.4693
2019-03-16 04:15:00 | 2.34 | 173.2733 | 2.6933 | 190.4 | 3.4633 | 207.3333 | 3.4967 | 213.2333 | 8.8733 | 891 | 81.1333 | 2.5867
2019-03-16 04:30:00 | 2.7867 | 175.1467 | 3.2067 | 192.4667 | 4.0833 | 205.6667 | 4.0833 | 211.1133 | 8.7933 | 891 | 81.5333 | 1.3787
2019-03-16 04:45:00 | 1.73 | 157.9533 | 1.99 | 173.5667 | 2.33 | 201.1333 | 2.7067 | 208.3667 | 8.73 | 890.8667 | 82.0867 | 0.86267
2019-03-16 05:00:00 | 2.09 | 165.5333 | 2.41 | 181.9 | 2.7567 | 187.8467 | 2.84 | 204.8333 | 8.43 | 890 | 83.9333 | 0.57
2019-03-16 05:15:00 | 2.6333 | 161.4733 | 3.0267 | 177.4333 | 3.2167 | 184.4667 | 3.0667 | 191.6333 | 8.3687 | 890 | 84.3667 | 0.77133
2019-03-16 05:30:00 | 2.9373 | 167.2027 | 3.3853 | 183.74 | 3.63 | 180.86 | 3.4293 | 188.7933 | 8.3493 | 890 | 84.3467 | 1.85
2019-03-16 05:45:00 | 3.6167 | 158.22 | 4.1567 | 173.8667 | 4.3067 | 181.7 | 4.61 | 188.0267 | 8.308 | 890 | 84.6533 | 2.976
2019-03-16 06:00:00 | 3.5233 | 152.8933 | 4.05 | 168 | 4.1133 | 183.0333 | 4.6567 | 185.5667 | 8.17 | 890 | 86.0333 | 3.5627
2019-03-16 06:15:00 | 2.98 | 154.0733 | 3.43 | 169.3 | 3.4833 | 187.1333 | 3.7633 | 183.0333 | 8.0267 | 890 | 87.5667 | 3.8653
2019-03-16 06:30:00 | 3.1733 | 151.7467 | 3.65 | 166.7467 | 3.75 | 191.7333 | 4.3567 | 187.1667 | 7.8867 | 890 | 88.7667 | 3.052
2019-03-16 06:45:00 | 2.8467 | 156.2293 | 3.2733 | 171.6733 | 3.3833 | 183.1 | 3.76 | 189.0333 | 7.6533 | 890 | 90.4 | 1.404
2019-03-16 07:00:00 | 3.0933 | 142.7567 | 3.5533 | 156.8667 | 3.63 | 189.2333 | 4.1 | 194.4333 | 7.6333 | 890.4667 | 91.2 | 0.88133
2019-03-16 07:15:00 | 2.92 | 148.8167 | 3.3633 | 163.5333 | 3.5433 | 185.3333 | 3.72 | 189 | 7.64 | 891 | 91.6667 | 0.66
2019-03-16 07:30:00 | 2.7347 | 157.5873 | 3.15 | 173.1733 | 3.258 | 192.1467 | 3.4573 | 191.0667 | 7.568 | 891 | 92.32 | 0.972
2019-03-16 07:45:00 | 3 | 153.91 | 3.4567 | 169.1333 | 3.63 | 184.5333 | 3.74 | 191.9 | 7.5013 | 891 | 93.3 | 1.0713
2019-03-16 08:00:00 | 2.76 | 157.49 | 3.1767 | 173.0667 | 3.29 | 186.0933 | 3.4133 | 193.6333 | 7.55 | 891 | 93.5 | 0.79667
2019-03-16 08:15:00 | 2.68 | 141.93 | 3.08 | 155.9667 | 3.19 | 176.6 | 3.26 | 178.8333 | 7.6233 | 891 | 93.5 | 0.118
2019-03-16 08:30:00 | 2.3 | 144.3567 | 2.6533 | 158.6333 | 2.7967 | 173.2667 | 2.8667 | 179.5667 | 7.6767 | 891.4667 | 93.5467 | 0
2019-03-16 08:45:00 | 3.0267 | 159.61 | 3.4833 | 175.4 | 3.4633 | 177.3333 | 3.5433 | 174.1 | 7.7967 | 892 | 93.2667 | 0
2019-03-16 09:00:00 | 2.7467 | 152.5167 | 3.1633 | 167.6 | 3.15 | 185.7333 | 3.5433 | 180.9667 | 7.91 | 892 | 92.8 | 0
2019-03-16 09:15:00 | 2.6533 | 142.1467 | 3.05 | 156.2 | 3.1767 | 178.1 | 3.3667 | 183.2667 | 8.1833 | 892.1333 | 91.6 | 0
2019-03-16 09:30:00 | 2.1867 | 164.7667 | 2.5167 | 181.0667 | 2.71 | 192.5 | 2.72 | 185.6667 | 8.61 | 893 | 90.0667 | 0
2019-03-16 09:45:00 | 2 | 145.1233 | 2.31 | 159.4667 | 2.3467 | 195.2333 | 2.38 | 187.8667 | 9.05 | 893 | 87 | 0
2019-03-16 10:00:00 | 2.02 | 150.09 | 2.3367 | 164.9333 | 2.2533 | 200.0333 | 2.2533 | 171.8 | 9.6033 | 893 | 84.2667 | 0
2019-03-16 10:15:00 | 2.4733 | 137.6 | 2.85 | 151.2 | 2.8667 | 187.7333 | 2.7367 | 170.3333 | 10.5667 | 893.8 | 79.9867 | 0
2019-03-16 10:30:00 | 2.5533 | 153.0667 | 2.9367 | 168.2 | 2.8933 | 176.9333 | 2.61 | 193.2 | 10.46 | 894 | 79.46 | 0
2019-03-16 10:45:00 | 2.8467 | 148.1867 | 3.2733 | 162.8333 | 3.4233 | 183.9 | 3.3633 | 188.4 | 10.5833 | 894 | 78.7887 | 0
2019-03-16 11:00:00 | 2.9933 | 132.6467 | 3.44 | 145.7667 | 3.5167 | 164.2333 | 3.4833 | 186.8 | 10.6633 | 894 | 77.4367 | 0
2019-03-16 11:15:00 | 3.0973 | 125.5033 | 3.5667 | 137.9067 | 3.79 | 157.5267 | 3.4753 | 168.7267 | 11.032 | 894 | 75.2833 | 0
2019-03-16 11:30:00 | 3.3333 | 136.08 | 3.8433 | 149.5333 | 3.8267 | 158.7667 | 3.5533 | 169.8 | 11.1567 | 894 | 74.05 | 0
2019-03-16 11:45:00 | 3.0833 | 137.8 | 3.5467 | 151.4333 | 3.61 | 157.9667 | 3.5367 | 164.3333 | 11.6267 | 894 | 71.8967 | 0
2019-03-16 12:00:00 | 2.63 | 172.6333 | 3.0267 | 189.7 | 3.0767 | 182.7667 | 2.9033 | 237 | 12.0667 | 894 | 70.09 | 0
2019-03-16 12:15:00 | 2.6333 | 145.1233 | 3.0333 | 159.4667 | 3.17 | 163.8667 | 3.2767 | 160.7 | 12.3667 | 894 | 67.5433 | 0
2019-03-16 12:30:00 | 3.1267 | 160.6433 | 3.5933 | 176.5333 | 3.63 | 177 | 3.7433 | 148.2333 | 12.8067 | 894 | 64.5967 | 0
2019-03-16 12:45:00 | 3.1 | 142.6567 | 3.57 | 156.7667 | 3.73 | 132.3667 | 3.8333 | 144.1333 | 12.82 | 893.2 | 61.8067 | 0.29
2019-03-16 13:00:00 | 3.2 | 116.09 | 3.69 | 127.5667 | 3.69 | 142.3 | 3.62 | 149.3333 | 12.9 | 893 | 60.7 | 1.0773
2019-03-16 13:15:00 | 3.3933 | 132.9913 | 3.908 | 146.14 | 4.004 | 149.1133 | 4.1947 | 158.5333 | 13.314 | 893 | 59.2393 | 0.41133
2019-03-16 13:30:00 | 3.06 | 136.75 | 3.5233 | 150.2667 | 3.6833 | 169.4 | 3.9933 | 182.4667 | 13.67 | 893 | 59.5867 | 0.41733
2019-03-16 13:45:00 | 3.12 | 157.2167 | 3.5933 | 172.7667 | 3.8467 | 160.1333 | 4.1633 | 170.2333 | 14.1667 | 893 | 57.8467 | 1.4407
2019-03-16 14:00:00 | 4.04 | 131.8567 | 4.6467 | 144.9 | 4.8267 | 143.8 | 5.0233 | 146.9667 | 13.6267 | 893 | 59.3 | 2.282
2019-03-16 14:15:00 | 3.5867 | 119.95 | 4.1333 | 131.8 | 4.4167 | 172.3 | 4.6 | 175.8 | 13.8167 | 892.2 | 59.0067 | 2.8207
2019-03-16 14:30:00 | 2.96 | 126.6233 | 3.4 | 139.1333 | 3.83 | 184.4333 | 4.1867 | 182.0667 | 13.3967 | 892 | 60.3267 | 3.1013
2019-03-16 14:45:00 | 3.4267 | 134.01 | 3.9367 | 147.2667 | 4.08 | 182.2667 | 4.0233 | 191.9667 | 13.0433 | 891.8667 | 61.7533 | 3.2907
2019-03-16 15:00:00 | 2.6933 | 138.5633 | 3.0967 | 152.2667 | 3.3333 | 213.6 | 3.2233 | 227.4333 | 13.1967 | 891 | 61.6467 | 3.0233
2019-03-16 15:15:00 | 2.6133 | 191.46 | 3.0067 | 210.4 | 3.41 | 238.4667 | 3.6367 | 248.5333 | 13.77 | 891 | 60.11 | 2.3673
2019-03-16 15:30:00 | 3.4333 | 146.2667 | 3.9533 | 160.7333 | 4.2567 | 200.2667 | 4.3167 | 191.2667 | 13.71 | 891 | 59.3867 | 1.328
2019-03-16 15:45:00 | 3.45 | 149.2467 | 3.9733 | 164 | 4.0733 | 187.1667 | 4.1667 | 174.3 | 13.7567 | 891 | 58.75 | 2.6807
2019-03-16 16:00:00 | 3.3633 | 161.0067 | 3.8667 | 176.9333 | 3.92 | 181.8533 | 4.16 | 178.5 | 13.7367 | 891 | 58.35 | 4.8373
2019-03-16 16:15:00 | 4.3 | 150.0667 | 4.9467 | 164.9 | 4.9433 | 172.4 | 5.1267 | 175.2 | 14.0367 | 891 | 57.2047 | 4.4933
2019-03-16 16:30:00 | 4.34 | 149.2067 | 4.9933 | 163.9667 | 5.1167 | 158.0667 | 5.1133 | 170.3333 | 14.05 | 891 | 57.2533 | 3.6707
2019-03-16 16:45:00 | 3.96 | 156.9233 | 4.5533 | 172.4333 | 4.75 | 156.0667 | 4.4933 | 185.9667 | 14.0247 | 891 | 57.1747 | 2.244
2019-03-16 17:00:00 | 3.4133 | 152.1233 | 3.9333 | 167.1667 | 4.1367 | 187 | 3.8533 | 193.7667 | 14.0333 | 891 | 57.3433 | 4.0347
2019-03-16 17:15:00 | 4.11 | 154.5533 | 4.73 | 169.8333 | 5.1533 | 172.7 | 4.7667 | 174.9 | 13.89 | 891 | 57.5893 | 5.0333
2019-03-16 17:30:00 | 3.3233 | 141.6267 | 3.8233 | 155.6333 | 4.0667 | 180.2333 | 4.0333 | 163.0333 | 13.65 | 891 | 58.24 | 4.6547
2019-03-16 17:45:00 | 3.4867 | 169.5933 | 4.0167 | 186.3667 | 4.0667 | 174.9667 | 4.2533 | 192.3667 | 13.41 | 891 | 58.8947 | 4.6613
2019-03-16 18:00:00 | 2.9267 | 138.96 | 3.3767 | 152.7 | 3.5 | 194.7667 | 3.9 | 197.9667 | 13.3433 | 891 | 59.23 | 6.48
2019-03-16 18:15:00 | 4.0167 | 105.4133 | 4.6267 | 115.8333 | 4.9933 | 151.6 | 4.9767 | 179.5 | 13.13 | 890.8667 | 60.7267 | 6.6053
2019-03-16 18:30:00 | 4.1633 | 123.1867 | 4.8 | 135.3667 | 5.28 | 145.6667 | 5.0567 | 167.2333 | 12.91 | 890 | 61.7867 | 6.2053
2019-03-16 18:45:00 | 3.7 | 134.51 | 4.2567 | 147.8 | 4.5867 | 153.3333 | 4.82 | 165.4667 | 12.6567 | 890 | 63.1667 | 4.82
2019-03-16 19:00:00 | 3.7933 | 132.5033 | 4.3633 | 145.6 | 4.7867 | 152.7333 | 4.8867 | 160.8933 | 12.4767 | 890 | 64.2867 | 4.4747
2019-03-16 19:15:00 | 3.4 | 132.7433 | 3.9167 | 145.8667 | 4.2033 | 171.3 | 4.51 | 166.2667 | 12.29 | 890 | 65.28 | 4.358
2019-03-16 19:30:00 | 3.16 | 134.8633 | 3.63 | 148.2 | 3.85 | 165.5 | 4.1833 | 169.8667 | 12.0967 | 890 | 66.2733 | 5.578
2019-03-16 19:45:00 | 2.98 | 162.1 | 3.4333 | 178.1333 | 3.5733 | 187.7333 | 4.0967 | 181.4667 | 11.8373 | 890 | 67.78 | 7.4893
2019-03-16 20:00:00 | 2.988 | 182.168 | 3.438 | 200.18 | 3.564 | 202.92 | 3.992 | 175.78 | 11.8293 | 890 | 68.1067 | 6.246
2019-03-16 20:15:00 | 3.0167 | 145.5533 | 3.4733 | 159.9333 | 3.69 | 172.1 | 3.97 | 199.8 | 11.71 | 890.1333 | 68.9633 | 5.8173
2019-03-16 20:30:00 | 3.1033 | 165.2667 | 3.5667 | 181.6 | 3.7833 | 193.1 | 4.21 | 197.0667 | 11.7253 | 891 | 68.5967 | 5.6247
2019-03-16 20:45:00 | 2.7533 | 150.3667 | 3.17 | 165.2333 | 3.3533 | 182.9 | 3.7533 | 181.3667 | 11.5113 | 891 | 69.6133 | 4.3707
2019-03-16 21:00:00 | 2.42 | 155.04 | 2.7833 | 170.3667 | 3.02 | 184.1 | 3.52 | 194.4333 | 11.4733 | 891 | 69.46 | 2.8033
2019-03-16 21:15:00 | 2.1533 | 147.6667 | 2.4833 | 162.2667 | 2.8067 | 188.9 | 3.26 | 192.1333 | 11.2933 | 891 | 70.4667 | 3.1093
2019-03-16 21:30:00 | 2.24 | 153.6133 | 2.5767 | 168.8 | 2.76 | 187.3 | 3.0467 | 188.9333 | 11.2 | 891 | 71.2333 | 4.1593
2019-03-16 21:45:00 | 2.8133 | 162.5867 | 3.2333 | 178.6667 | 3.4867 | 198.4667 | 3.8733 | 194.4667 | 11.31 | 891 | 70.2967 | 3.5527
2019-03-16 22:00:00 | 2.4 | 156.76 | 2.7667 | 172.2667 | 3.1333 | 215.9333 | 3.46 | 206.4667 | 11.25 | 891 | 70.5033 | 0.862
2019-03-16 22:15:00 | 1.86 | 179.13 | 2.1433 | 196.8333 | 2.65 | 206.3 | 2.7 | 214.2 | 11.0967 | 891 | 71.6 | 0.274
2019-03-16 22:30:00 | 1.9267 | 134.3567 | 2.23 | 147.6333 | 2.7233 | 189.9667 | 2.9133 | 196.4 | 10.9767 | 891 | 72.2267 | 0.85133
2019-03-16 22:45:00 | 2.5633 | 160.4433 | 2.9467 | 176.3 | 3.2067 | 190.06 | 3.6267 | 194.7 | 10.9233 | 891 | 72.7753 | 2.3
2019-03-16 23:00:00 | 3.0033 | 161.9567 | 3.4533 | 177.9667 | 3.7133 | 186.9333 | 4.1 | 195.7 | 10.93 | 891 | 72.9867 | 4.066
2019-03-16 23:15:00 | 3.1987 | 174.7587 | 3.6787 | 192.0333 | 3.7607 | 191.4933 | 4.2093 | 192.0467 | 10.8613 | 891 | 73.6527 | 4.744
2019-03-16 23:30:00 | 3.16 | 163.3533 | 3.6367 | 179.5 | 3.7867 | 186.9 | 4.2333 | 205.9333 | 10.61 | 891 | 75 | 4.6727
2019-03-16 23:45:00 | 2.96 | 156.2533 | 3.4033 | 171.7 | 3.5133 | 184.2667 | 3.8267 | 178.4 | 10.3767 | 891 | 76.5133 | 3.41