## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-18 00:00:00 | 0.36714 | 209.82 | 0.42857 | 230.5714 | 0.68571 | 212.3214 | 0.60929 | 208.3429 | 8.6436 | 890 | 93.4923 | 0.025714
2019-03-18 00:15:00 | 0 | 201.4133 | 0 | 221.3333 | 0 | 204.7 | 0 | 208.3867 | 8.58 | 890 | 94.1333 | 0
2019-03-18 00:30:00 | 0 | 191.1 | 0 | 210 | 0 | 199.5 | 0 | 208.3 | 8.2467 | 890 | 95.0667 | 0
2019-03-18 00:45:00 | 0.08 | 235.62 | 0.093333 | 258.9133 | 0 | 199.5 | 0 | 208.4667 | 7.9333 | 889.2 | 96.6 | 0
2019-03-18 01:00:00 | 0.7 | 324.562 | 0.81333 | 356.6467 | 0.28 | 199.5 | 0 | 208.8 | 7.76 | 889 | 97.8 | 0
2019-03-18 01:15:00 | 1.8833 | 319.4467 | 2.1667 | 351.0333 | 2.3 | 11.3067 | 0.15 | 202.4633 | 7.4633 | 889 | 99.3 | 0
2019-03-18 01:30:00 | 2.0967 | 317.458 | 2.4133 | 348.8533 | 2.4533 | 14.9693 | 0.42333 | 0.58333 | 7.3033 | 889 | 99.8333 | 0
2019-03-18 01:45:00 | 1.6733 | 307.4367 | 1.9233 | 337.8333 | 1.8067 | 13.9233 | 0.006667 | 0.54 | 7.11 | 889 | 99.8867 | 0
2019-03-18 02:00:00 | 1.0333 | 313.9833 | 1.1967 | 345.0333 | 0.76 | 7.91 | 0 | 0.54 | 7.0253 | 889 | 99.7533 | 0
2019-03-18 02:15:00 | 0.41667 | 302.49 | 0.48 | 332.4 | 0.26 | 209.5467 | 0.03 | 162.8 | 7.1533 | 888.8667 | 99.7933 | 0
2019-03-18 02:30:00 | 1.21 | 313.8367 | 1.3933 | 344.8667 | 1.28 | 13.88 | 0.03 | 44.7627 | 7.1267 | 888 | 99.8533 | 0
2019-03-18 02:45:00 | 1.9367 | 310.4067 | 2.2233 | 341.1 | 2.0267 | 19.8933 | 0.27667 | 42.2407 | 6.9133 | 888 | 99.72 | 0
2019-03-18 03:00:00 | 1.1167 | 305.9733 | 1.29 | 336.2333 | 0.68 | 8.98 | 0.01 | 37.3193 | 6.8933 | 888 | 99.7467 | 0
2019-03-18 03:15:00 | 1.0333 | 306.5767 | 1.1933 | 336.9 | 0.66 | 122.8133 | 0 | 37.33 | 7.1067 | 888 | 99.5533 | 0
2019-03-18 03:30:00 | 1.6933 | 319.0167 | 1.96 | 350.5667 | 1.7667 | 355.9 | 0.11333 | 22.4633 | 7.02 | 888 | 99.1533 | 0
2019-03-18 03:45:00 | 1.78 | 323.4533 | 2.05 | 355.4467 | 1.68 | 119.0333 | 0 | 3.7 | 6.7067 | 888 | 99.8 | 0
2019-03-18 04:00:00 | 2.02 | 319.57 | 2.33 | 351.1667 | 1.94 | 147.14 | 0 | 3.7 | 6.5067 | 888 | 100 | 0
2019-03-18 04:15:00 | 2.4 | 313.6167 | 2.7633 | 344.6333 | 2.3933 | 30.1533 | 0.58667 | 120.9467 | 6.29 | 887.8667 | 100 | 0
2019-03-18 04:30:00 | 2.84 | 315.1367 | 3.2767 | 346.3 | 3.3267 | 10.3733 | 2.1467 | 122.3933 | 6.1853 | 887 | 100 | 0
2019-03-18 04:45:00 | 3.12 | 99.8633 | 3.5933 | 109.7333 | 3.64 | 11.5433 | 2.4867 | 13.0333 | 5.8233 | 887 | 100 | 0
2019-03-18 05:00:00 | 2.9467 | 314.77 | 3.3867 | 345.9 | 3.5333 | 6.6433 | 3.32 | 17.2533 | 5.6633 | 887 | 100 | 0
2019-03-18 05:15:00 | 3.0733 | 115.9633 | 3.54 | 127.4333 | 3.72 | 3.7133 | 4.0167 | 26.1667 | 5.4967 | 887 | 100 | 0
2019-03-18 05:30:00 | 3.3933 | 324.03 | 3.9067 | 356.0667 | 4.08 | 3.0333 | 4.4167 | 17.74 | 5.5367 | 887 | 100 | 1.1213
2019-03-18 05:45:00 | 3.9333 | 312.59 | 4.5367 | 343.5 | 4.38 | 210.1333 | 4.62 | 12.9667 | 5.75 | 887 | 100 | 0.78667
2019-03-18 06:00:00 | 3.46 | 105.75 | 3.9833 | 116.2067 | 3.9867 | 6.9733 | 4.4133 | 23.6667 | 5.7367 | 887 | 100 | 0.252
2019-03-18 06:15:00 | 3.1633 | 105.52 | 3.6333 | 115.9467 | 3.3833 | 6.0167 | 3.8933 | 20.5767 | 5.66 | 887 | 100 | 0
2019-03-18 06:30:00 | 3.07 | 319.5067 | 3.5267 | 351.1 | 3.1767 | 237.9833 | 3.5267 | 22.0033 | 5.6533 | 887.4667 | 100 | 0
2019-03-18 06:45:00 | 2.8333 | 311.0067 | 3.26 | 341.7667 | 3.0067 | 134.4 | 3.1133 | 32.21 | 5.4933 | 888 | 100 | 0
2019-03-18 07:00:00 | 3.02 | 108.4133 | 3.4733 | 119.14 | 3.3533 | 138.96 | 3.3467 | 17.2567 | 5.46 | 888 | 100 | 0
2019-03-18 07:15:00 | 3.0533 | 219.09 | 3.5133 | 240.7533 | 3.39 | 239.0667 | 3.6767 | 8.4567 | 5.4553 | 888 | 100 | 0
2019-03-18 07:30:00 | 2.82 | 7.6967 | 3.24 | 8.4467 | 3.13 | 3.3733 | 3.1033 | 12.1833 | 5.4533 | 888 | 100 | 0
2019-03-18 07:45:00 | 2.58 | 219.2967 | 2.9767 | 240.9833 | 3.0633 | 7.5567 | 3.08 | 11.5133 | 5.4 | 888 | 100 | 0
2019-03-18 08:00:00 | 2.5933 | 16.23 | 2.9833 | 17.83 | 3.0033 | 13.33 | 3.78 | 16.8267 | 5.4133 | 888 | 100 | 0
2019-03-18 08:15:00 | 3.2133 | 5.92 | 3.6967 | 6.5033 | 3.7267 | 127.4333 | 3.8467 | 22.7867 | 5.4013 | 888 | 100 | 0
2019-03-18 08:30:00 | 3.5867 | 8.5867 | 4.1367 | 9.4367 | 4.24 | 130.16 | 4.22 | 9.3 | 5.4433 | 888 | 100 | 1.2633
2019-03-18 08:45:00 | 3.58 | 1.5567 | 4.1233 | 1.7033 | 4.1367 | 5.3033 | 4.2033 | 21.7267 | 5.54 | 888.8 | 100 | 2.0153
2019-03-18 09:00:00 | 3.6 | 7.4167 | 4.1433 | 8.1367 | 3.9033 | 0.43667 | 4.2633 | 24.6133 | 5.6333 | 889 | 100 | 0.73333
2019-03-18 09:15:00 | 3.24 | 4.0267 | 3.73 | 4.42 | 3.68 | 4.15 | 4.0567 | 18.68 | 6.1267 | 889 | 100 | 0
2019-03-18 09:30:00 | 3.0467 | 220.5133 | 3.5167 | 242.32 | 3.3733 | 2.11 | 3.8633 | 24.2533 | 6.5 | 889 | 100 | 0
2019-03-18 09:45:00 | 1.5467 | 206.22 | 1.7867 | 226.6067 | 1.5867 | 123.2 | 2.0433 | 20.1167 | 6.86 | 889.8 | 100 | 0
2019-03-18 10:00:00 | 0.053333 | 204.94 | 0.066667 | 225.2067 | 0.046667 | 118.3 | 0.17 | 204.9633 | 7.6467 | 890 | 100 | 0
2019-03-18 10:15:00 | 0.30667 | 50.3333 | 0.36667 | 55.3067 | 0.17 | 63.9867 | 0.063333 | 68.8667 | 7.7567 | 890.1333 | 100 | 0
2019-03-18 10:30:00 | 0.38 | 139.96 | 0.44 | 153.8 | 0.28333 | 207 | 0.056667 | 152.3667 | 7.4633 | 891 | 100 | 0
2019-03-18 10:45:00 | 0.97333 | 161.3533 | 1.12 | 177.3 | 0.9 | 152.3333 | 0.53 | 145.3667 | 7.72 | 890.2 | 100 | 0
2019-03-18 11:00:00 | 0.74 | 163.2867 | 0.86 | 179.4333 | 0.84667 | 155.6 | 0.17 | 132.0333 | 8.0533 | 890 | 100 | 0
2019-03-18 11:15:00 | 1.48 | 153.4667 | 1.7067 | 168.6333 | 1.4133 | 179.7 | 0.91 | 190.4333 | 8.6 | 890 | 100 | 0
2019-03-18 11:30:00 | 2.6867 | 140.7267 | 3.0933 | 154.6333 | 2.78 | 196.1667 | 2.3833 | 230.3 | 8.8867 | 890 | 99.4 | 0
2019-03-18 11:45:00 | 3.12 | 164.2533 | 3.5933 | 180.5 | 3.4167 | 211.3333 | 3.16 | 227.1 | 8.21 | 890 | 99.3667 | 0
2019-03-18 12:00:00 | 3.3467 | 144.42 | 3.8533 | 158.7 | 3.5633 | 196.6667 | 3.5 | 212.6333 | 8.1033 | 890 | 99.9 | 0.10533
2019-03-18 12:15:00 | 2.78 | 141.4233 | 3.1967 | 155.4 | 3.0033 | 193.5 | 2.93 | 201.3 | 8.6667 | 889.8667 | 99.2533 | 0
2019-03-18 12:30:00 | 2.4733 | 150.4567 | 2.8567 | 165.3333 | 2.4833 | 205.7667 | 2.8767 | 198.5 | 9.1267 | 889 | 97.4333 | 0
2019-03-18 12:45:00 | 3.7867 | 151.5833 | 4.3567 | 166.5667 | 4.02 | 209.3 | 3.8367 | 217.0667 | 10.6267 | 889 | 91.9 | 2.2
2019-03-18 13:00:00 | 3.96 | 137.242 | 4.55 | 150.8067 | 4.2267 | 183.14 | 3.9687 | 209.4933 | 11.2 | 889 | 88.3 | 4.766
2019-03-18 13:15:00 | 4.0867 | 146.3933 | 4.7 | 160.8667 | 4.6333 | 170.1667 | 4.4867 | 187.1333 | 11.9733 | 889 | 81.2667 | 6.8087
2019-03-18 13:30:00 | 3.96 | 163.0733 | 4.5533 | 179.2 | 4.5533 | 206.3667 | 4.7733 | 232.2667 | 12.52 | 889 | 76.0267 | 6.4267
2019-03-18 13:45:00 | 3.63 | 136.398 | 4.17 | 149.88 | 4.362 | 228.34 | 4.438 | 237.04 | 13.12 | 889 | 71.008 | 2.728
2019-03-18 14:00:00 | 3.3367 | 135.9633 | 3.8367 | 149.4 | 3.8167 | 182.9667 | 3.99 | 196.9333 | 13.3467 | 888.5333 | 70.82 | 5.0573
2019-03-18 14:15:00 | 4.0867 | 113.6667 | 4.7133 | 124.9 | 4.61 | 174.3667 | 4.72 | 214.4333 | 13.8 | 888 | 66.7333 | 4.8127
2019-03-18 14:30:00 | 3.54 | 150.8467 | 4.0733 | 165.7667 | 4.07 | 186.5 | 3.8867 | 182.7 | 13.8307 | 888 | 64.2467 | 4.4087
2019-03-18 14:45:00 | 3.68 | 116.9133 | 4.2367 | 128.4667 | 4.3133 | 158.5667 | 4.5 | 183.2 | 14.3767 | 888 | 65.0133 | 3.774
2019-03-18 15:00:00 | 3.6027 | 134.568 | 4.1487 | 147.8667 | 4.2153 | 164.46 | 4.408 | 175.8 | 14.4647 | 888 | 64.4187 | 4.7807
2019-03-18 15:15:00 | 3.79 | 158.4 | 4.3667 | 174.0667 | 4.7133 | 175.8667 | 4.8233 | 184.9 | 14.92 | 887.2 | 66.0267 | 8.6667
2019-03-18 15:30:00 | 4.0633 | 153.98 | 4.6867 | 169.2 | 4.9067 | 178.4667 | 5.2367 | 182.9667 | 14.6867 | 887 | 67.0667 | 9.5027
2019-03-18 15:45:00 | 4.26 | 163.7367 | 4.9 | 179.9333 | 5.0833 | 180.8333 | 5.14 | 189.68 | 14.1967 | 887 | 68.9233 | 6.776
2019-03-18 16:00:00 | 3.7333 | 174.1167 | 4.3 | 191.3333 | 4.5347 | 177.0333 | 4.8067 | 180.4333 | 14.2833 | 886.5333 | 68.5033 | 11.8273
2019-03-18 16:15:00 | 4.74 | 137.8767 | 5.4533 | 151.5 | 5.5833 | 185.7667 | 5.6233 | 182.2 | 14.43 | 886 | 66.63 | 18.6547
2019-03-18 16:30:00 | 5.34 | 147.7033 | 6.1467 | 162.3 | 6.3767 | 181.2533 | 6.6233 | 185 | 14.0633 | 886 | 67.5567 | 16.0973
2019-03-18 16:45:00 | 4.54 | 152.3433 | 5.2233 | 167.4 | 5.4733 | 187.8 | 5.7633 | 189.6333 | 13.8367 | 886 | 68.8567 | 14.6627
2019-03-18 17:00:00 | 4.18 | 149.4967 | 4.81 | 164.2667 | 4.9333 | 168.2 | 5.1633 | 195.5667 | 13.89 | 885.5333 | 68.5633 | 20.0067
2019-03-18 17:15:00 | 4.3933 | 155.4633 | 5.06 | 170.8333 | 5.1967 | 185.9667 | 5.5433 | 188.8 | 13.6433 | 885 | 67.82 | 18.188
2019-03-18 17:30:00 | 4.5533 | 144.4167 | 5.24 | 158.7 | 5.3367 | 177.1 | 5.5367 | 182.2667 | 13.5947 | 885 | 67.9133 | 15.6847
2019-03-18 17:45:00 | 3.23 | 147.9733 | 3.7133 | 162.6 | 3.9467 | 201.5 | 4.1733 | 202.0333 | 13.612 | 885 | 68.25 | 15.0393
2019-03-18 18:00:00 | 3.2433 | 138.2667 | 3.7333 | 151.9333 | 3.8933 | 187.5 | 4.3067 | 192.4333 | 13.5833 | 885 | 68.5033 | 16.1907
2019-03-18 18:15:00 | 3.5067 | 150 | 4.03 | 164.8333 | 4.3567 | 180.6667 | 4.7567 | 185.0333 | 13.3667 | 885 | 69.6133 | 14.7187
2019-03-18 18:30:00 | 3.0733 | 165.5867 | 3.53 | 181.9667 | 3.77 | 187.8667 | 4.4367 | 189.64 | 13.0933 | 885 | 70.6933 | 17.0967
2019-03-18 18:45:00 | 3.6467 | 157.16 | 4.1967 | 172.7 | 4.4933 | 193.5667 | 4.94 | 198.0667 | 12.8767 | 885 | 71.6333 | 16.914
2019-03-18 19:00:00 | 3.04 | 168.32 | 3.51 | 184.9667 | 3.72 | 177.1 | 4.0467 | 200.7333 | 12.7167 | 885 | 72.7 | 14.734
2019-03-18 19:15:00 | 3.04 | 139.9367 | 3.4933 | 153.7667 | 3.8533 | 182.8333 | 4.1033 | 193.6333 | 12.4933 | 884.8667 | 73.9133 | 13.3253
2019-03-18 19:30:00 | 2.6667 | 147.9433 | 3.0667 | 162.5667 | 3.4 | 179.9667 | 4.0433 | 205.9 | 12.3333 | 884 | 74.78 | 12.56
2019-03-18 19:45:00 | 3.0133 | 165.63 | 3.48 | 182 | 3.8 | 206.9333 | 4.4633 | 197.1 | 12.278 | 884 | 75.3567 | 11.074
2019-03-18 20:00:00 | 3.5733 | 184.9167 | 4.12 | 203.2 | 4.2533 | 208.8 | 4.8167 | 196.6333 | 12.18 | 884 | 76.1633 | 9.7233
2019-03-18 20:15:00 | 3.2567 | 151.6133 | 3.7533 | 166.6 | 4.1833 | 205.0333 | 4.42 | 211.8 | 12.028 | 884 | 77.082 | 11.8487
2019-03-18 20:30:00 | 3.9967 | 178.4867 | 4.5933 | 196.1333 | 5.29 | 218.5667 | 5.16 | 213.6667 | 11.6433 | 884 | 79.29 | 11.2547
2019-03-18 20:45:00 | 3.696 | 170.846 | 4.25 | 187.74 | 4.914 | 223.84 | 4.888 | 225.48 | 11.714 | 884 | 78.864 | 10.152
2019-03-18 21:00:00 | 3.3067 | 169.8367 | 3.8167 | 186.6333 | 4.4033 | 223.2 | 4.5667 | 223.0667 | 11.55 | 884 | 79.4733 | 7.7673
2019-03-18 21:15:00 | 2.536 | 178.7947 | 2.922 | 196.48 | 3.4013 | 205.8667 | 3.2113 | 205.6933 | 11.5027 | 884 | 79.7767 | 6.1753
2019-03-18 21:30:00 | 2.2067 | 194.23 | 2.5467 | 213.4333 | 3.0633 | 217.1333 | 3.25 | 200.4 | 11.46 | 884 | 79.9533 | 5.2187
2019-03-18 21:45:00 | 2.2487 | 178.7847 | 2.588 | 196.46 | 3.1293 | 212.42 | 3.1867 | 208.5867 | 11.388 | 884 | 80.1227 | 3.5147
2019-03-18 22:00:00 | 1.5333 | 174.0567 | 1.77 | 191.2667 | 2.41 | 199.4 | 2.9067 | 197.3 | 11.2967 | 884 | 80.37 | 3.152
2019-03-18 22:15:00 | 1.5033 | 159.23 | 1.7267 | 174.9667 | 2.3867 | 178.9 | 2.5867 | 187.3 | 11.0533 | 884 | 81.6333 | 1.678
2019-03-18 22:30:00 | 1.43 | 130.53 | 1.6533 | 143.4333 | 2.3867 | 181.4333 | 2.5733 | 188.7667 | 10.7933 | 884 | 82.7667 | 0.81067
2019-03-18 22:45:00 | 1.6867 | 165.5 | 1.95 | 181.8667 | 2.6433 | 178 | 2.72 | 185 | 10.7967 | 884 | 82.2667 | 1.04
2019-03-18 23:00:00 | 1.58 | 171.2667 | 1.8167 | 188.2 | 2.3167 | 178.3333 | 2.1867 | 193.7333 | 10.8833 | 884 | 81.5333 | 1.262
2019-03-18 23:15:00 | 2.13 | 169.5733 | 2.4467 | 186.3333 | 2.52 | 193.3667 | 2.6733 | 196.7333 | 11.0333 | 884 | 80.7133 | 1.0607
2019-03-18 23:30:00 | 2.1833 | 166.0533 | 2.5133 | 182.4667 | 2.7133 | 188.7667 | 3.3867 | 187.6667 | 10.9907 | 884 | 80.8467 | 0.57933
2019-03-18 23:45:00 | 2.2 | 149.7 | 2.5333 | 164.5 | 2.9 | 185.7 | 3.55 | 191.2333 | 10.99 | 884 | 80.8867 | 1.612