## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-19 00:00:00 | 2.5771 | 145.4257 | 2.97 | 159.8 | 3.2957 | 172.8643 | 3.7693 | 197.85 | 10.9693 | 884 | 80.75 | 1.6743
2019-03-19 00:15:00 | 1.54 | 153.2467 | 1.7767 | 168.4 | 2.2167 | 205.3667 | 2.7933 | 198.7667 | 10.7927 | 883.8667 | 80.9333 | 0.46133
2019-03-19 00:30:00 | 1.3533 | 173.4533 | 1.5633 | 190.6 | 1.8567 | 194.2333 | 2.28 | 194.5 | 10.8193 | 883 | 80.5533 | 0.846
2019-03-19 00:45:00 | 1.54 | 172.8367 | 1.7767 | 189.9333 | 2.22 | 201.6 | 2.8533 | 205.8333 | 10.6833 | 883 | 81.3 | 1.2227
2019-03-19 01:00:00 | 1.5333 | 166.23 | 1.7767 | 182.6667 | 2.3267 | 202.0667 | 2.84 | 204.7667 | 10.5633 | 883 | 81.9667 | 1.5467
2019-03-19 01:15:00 | 1.6433 | 155.2167 | 1.9 | 170.5667 | 2.4 | 190.6333 | 2.6733 | 205.1867 | 10.3733 | 882.2 | 82.9333 | 3.008
2019-03-19 01:30:00 | 1.914 | 162.438 | 2.2053 | 178.5 | 2.5667 | 188.98 | 2.772 | 211.74 | 10.2013 | 882 | 83.6133 | 3.9333
2019-03-19 01:45:00 | 2.1133 | 165.3167 | 2.4267 | 181.6667 | 2.8333 | 195 | 3.29 | 211.0667 | 10.1867 | 882 | 83.92 | 4.1
2019-03-19 02:00:00 | 2.36 | 148.45 | 2.72 | 163.1333 | 2.9533 | 190.8667 | 3.0767 | 210.4 | 10.2 | 882 | 84.1 | 2.6527
2019-03-19 02:15:00 | 2.2933 | 160.556 | 2.6353 | 176.4267 | 2.8913 | 181.78 | 3.0287 | 191.6667 | 10.188 | 882 | 84.3067 | 1.6973
2019-03-19 02:30:00 | 2.0433 | 162.5267 | 2.35 | 178.6 | 2.8267 | 179.1333 | 2.95 | 189.6667 | 10.08 | 882 | 84.7333 | 2.0353
2019-03-19 02:45:00 | 1.82 | 148.2667 | 2.1067 | 162.9333 | 2.37 | 180.8333 | 2.8633 | 203.3 | 10.1 | 881.8667 | 84.7333 | 1.212
2019-03-19 03:00:00 | 0.94 | 165.9267 | 1.0933 | 182.3333 | 1.43 | 176.7 | 1.8167 | 176.5667 | 10.0907 | 881 | 84.8 | 0.742
2019-03-19 03:15:00 | 0.13333 | 145.8373 | 0.15667 | 160.26 | 0.26 | 149.6867 | 0.21333 | 154.8 | 9.8667 | 880.8667 | 85.5333 | 1.142
2019-03-19 03:30:00 | 0.073333 | 97.82 | 0.083333 | 107.5 | 0.12667 | 144.4667 | 0.60667 | 133.7333 | 10.04 | 880 | 84.5333 | 1.808
2019-03-19 03:45:00 | 0.68333 | 123.2433 | 0.8 | 135.4333 | 1.2867 | 158.4667 | 1.4733 | 162.2333 | 10.1933 | 880 | 83.8867 | 2.7
2019-03-19 04:00:00 | 1.5633 | 172.0233 | 1.8067 | 189.0333 | 2.2 | 187.4 | 2.1867 | 197.9 | 10.2 | 879.5333 | 83.6667 | 3.832
2019-03-19 04:15:00 | 2.5533 | 164.5333 | 2.94 | 180.8 | 3.14 | 203.1667 | 3.5233 | 201.8667 | 10.1227 | 879 | 83.48 | 5.0547
2019-03-19 04:30:00 | 3.02 | 166.0533 | 3.48 | 182.4667 | 3.6267 | 188.9667 | 4.1767 | 182.9333 | 10.1 | 879 | 82.9 | 7.1407
2019-03-19 04:45:00 | 3.1467 | 144.3667 | 3.6233 | 158.6333 | 3.7767 | 194.8 | 4.0133 | 189.3 | 9.9233 | 879 | 83.4333 | 6.2207
2019-03-19 05:00:00 | 3 | 159.5867 | 3.4567 | 175.3667 | 3.6033 | 186.0667 | 3.7 | 186.5667 | 9.7033 | 879 | 84.7667 | 6.4947
2019-03-19 05:15:00 | 2.58 | 159.7433 | 2.9667 | 175.5333 | 3.1233 | 183.0667 | 3.1633 | 186.1667 | 9.31 | 879 | 87.3 | 8.3
2019-03-19 05:30:00 | 2.3933 | 163.1433 | 2.7533 | 179.2667 | 2.79 | 194.5333 | 3.0367 | 196.9667 | 9.17 | 879 | 88.2333 | 7.426
2019-03-19 05:45:00 | 2.4 | 159.6833 | 2.76 | 175.4667 | 3 | 191.5333 | 3.2933 | 187.4667 | 9.1 | 879 | 88.9 | 7.838
2019-03-19 06:00:00 | 2.0733 | 157.9167 | 2.3933 | 173.5333 | 2.6 | 190.7333 | 2.9733 | 209.1333 | 9.1133 | 879 | 88.9 | 9.722
2019-03-19 06:15:00 | 2.3467 | 163.8067 | 2.7 | 180 | 2.9233 | 211.5 | 3.5553 | 208.8 | 9.1633 | 879 | 88.8667 | 11.0167
2019-03-19 06:30:00 | 2.5733 | 170.78 | 2.9667 | 187.6667 | 3.29 | 197.1 | 4.1467 | 202.2667 | 9.3633 | 878.5333 | 87.7333 | 8.7207
2019-03-19 06:45:00 | 1.7033 | 155.25 | 1.9733 | 170.6 | 2.35 | 212.1667 | 2.78 | 231.3333 | 9.25 | 878 | 88.3667 | 8.464
2019-03-19 07:00:00 | 1.2967 | 155.6233 | 1.5 | 171 | 2.0167 | 212.4333 | 2.6733 | 220.94 | 9.1767 | 878 | 88.8333 | 8.44
2019-03-19 07:15:00 | 1.5533 | 169.9233 | 1.7967 | 186.7333 | 2.29 | 207.2333 | 2.7033 | 230.8 | 9.13 | 878.1333 | 89.1667 | 9.4307
2019-03-19 07:30:00 | 2.02 | 175.2633 | 2.33 | 192.6 | 3.09 | 235.0333 | 3.5567 | 229.7333 | 9.19 | 879 | 89.3 | 9.1393
2019-03-19 07:45:00 | 2.1867 | 152.1233 | 2.5167 | 167.1667 | 3.0867 | 200.7333 | 3.6 | 219.2 | 9.1967 | 879 | 89.3867 | 5.502
2019-03-19 08:00:00 | 2.3067 | 152.3033 | 2.6567 | 167.3667 | 2.9667 | 191.2 | 2.8133 | 205.6 | 9.1167 | 879 | 90.2333 | 5.05
2019-03-19 08:15:00 | 2.7467 | 159.56 | 3.1567 | 175.3333 | 3.5733 | 185.1667 | 3.88 | 194.6667 | 9.0367 | 879 | 91 | 6.4547
2019-03-19 08:30:00 | 2.66 | 160.52 | 3.07 | 176.4 | 3.3667 | 207.6333 | 4.02 | 198.7333 | 9.19 | 879 | 90.2667 | 7.2713
2019-03-19 08:45:00 | 2.1667 | 153.2487 | 2.4973 | 168.4 | 2.8627 | 182.9733 | 3.1793 | 197.0333 | 9.1973 | 879 | 90.3733 | 5.9287
2019-03-19 09:00:00 | 1.9667 | 149.01 | 2.26 | 163.7333 | 2.54 | 173.3333 | 2.9633 | 200.7 | 9.1933 | 879 | 90.7533 | 5.0453
2019-03-19 09:15:00 | 1.5333 | 154.1667 | 1.77 | 169.4 | 2.0433 | 179.7667 | 2.5133 | 192.4667 | 9.29 | 879 | 90.8 | 4.9307
2019-03-19 09:30:00 | 1.4133 | 153.0667 | 1.63 | 168.2 | 2.27 | 202.5 | 2.9333 | 196.5333 | 9.37 | 879 | 90.7333 | 4.9487
2019-03-19 09:45:00 | 1.59 | 159.688 | 1.8333 | 175.4867 | 2.38 | 191.2667 | 2.8067 | 189.8333 | 9.5933 | 879 | 89.8 | 3.9733
2019-03-19 10:00:00 | 1.4433 | 158.83 | 1.66 | 174.5333 | 1.96 | 186.5333 | 2.2133 | 194.5 | 9.82 | 879 | 88.6667 | 3.336
2019-03-19 10:15:00 | 0.96667 | 153.12 | 1.1167 | 168.2667 | 1.34 | 186.82 | 1.9467 | 200.6733 | 9.96 | 879 | 87.7 | 3.2713
2019-03-19 10:30:00 | 0.6 | 149.2867 | 0.69 | 164.0467 | 1.1733 | 186.5333 | 1.6733 | 194.5 | 10.0933 | 879 | 87.4533 | 2.502
2019-03-19 10:45:00 | 0.62667 | 162.17 | 0.72667 | 178.2 | 1.1533 | 176.0133 | 1.32 | 184.0133 | 10.3 | 879 | 87.3133 | 2.042
2019-03-19 11:00:00 | 0.7 | 163.87 | 0.80667 | 180.0667 | 0.97333 | 177.2333 | 0.96667 | 205.3667 | 10.4467 | 879 | 86.6667 | 1.6733
2019-03-19 11:15:00 | 0.76 | 146.63 | 0.87 | 161.1333 | 0.84667 | 177.8 | 0.84667 | 210.1867 | 10.4747 | 879 | 85.9867 | 1.106
2019-03-19 11:30:00 | 0.24667 | 141.3567 | 0.28333 | 155.3333 | 0.43333 | 177.7533 | 0.44 | 181.7667 | 10.51 | 878.5333 | 85.9467 | 0.542
2019-03-19 11:45:00 | 0.54 | 134.9707 | 0.62667 | 148.3133 | 0.78 | 159.2 | 0.95 | 160.7 | 10.63 | 878 | 85.7867 | 0
2019-03-19 12:00:00 | 0.52 | 149.36 | 0.6 | 164.1333 | 0.74 | 159.2467 | 1.0033 | 160.6533 | 10.67 | 878 | 85.7667 | 0.004667
2019-03-19 12:15:00 | 0 | 156.448 | 0 | 171.92 | 0 | 159.3 | 0.066667 | 161.8133 | 10.7367 | 878 | 85.0133 | 0.14933
2019-03-19 12:30:00 | 0 | 143.75 | 0.006667 | 157.9667 | 0 | 159.3 | 0.066667 | 217.1667 | 10.79 | 878 | 85.2333 | 0
2019-03-19 12:45:00 | 0 | 93.4867 | 0 | 102.7267 | 0 | 131.9 | 0.03 | 168.5233 | 10.8767 | 877.8667 | 85 | 0
2019-03-19 13:00:00 | 0.006667 | 40.74 | 0.006667 | 44.76 | 0 | 43.6867 | 0.003333 | 40.3607 | 10.89 | 877 | 84.7333 | 0
2019-03-19 13:15:00 | 0.086667 | 35.74 | 0.1 | 39.2733 | 0.12667 | 46.91 | 0.24 | 128.6427 | 10.9067 | 877 | 85.2 | 0
2019-03-19 13:30:00 | 0.026667 | 88.9733 | 0.026667 | 97.7667 | 0.006667 | 65.6433 | 0.006667 | 174.2667 | 10.8753 | 877 | 85.9333 | 0
2019-03-19 13:45:00 | 0.027333 | 285.6047 | 0.030667 | 313.8467 | 0.034667 | 30.5107 | 0.063333 | 103.5333 | 11.074 | 877 | 86.02 | 0
2019-03-19 14:00:00 | 0.4 | 108.8533 | 0.46333 | 119.6133 | 0.61667 | 1.5167 | 0.53667 | 42.6 | 10.9967 | 877 | 85.5 | 0
2019-03-19 14:15:00 | 1.1933 | 135.1333 | 1.37 | 148.5 | 1.6 | 2.71 | 1.5733 | 1.31 | 10.9 | 876.2 | 87.2 | 0
2019-03-19 14:30:00 | 1.9667 | 321.9267 | 2.27 | 353.7667 | 2.1667 | 0.15 | 2.08 | 236.7033 | 10.96 | 876 | 87.0467 | 0
2019-03-19 14:45:00 | 2.2667 | 117.9233 | 2.6133 | 129.58 | 2.48 | 128.82 | 2.36 | 352.3 | 11.0467 | 875.8667 | 87.1533 | 0
2019-03-19 15:00:00 | 2.2533 | 316.83 | 2.5933 | 348.1667 | 2.5133 | 128.46 | 2.5867 | 351.5 | 11.04 | 875 | 87.2 | 0
2019-03-19 15:15:00 | 2.4233 | 107.4933 | 2.7967 | 118.1267 | 2.7733 | 4.2167 | 2.7933 | 118.96 | 11.2333 | 875 | 86.8 | 0
2019-03-19 15:30:00 | 2.666 | 314.338 | 3.07 | 345.42 | 3 | 8.69 | 2.898 | 142.734 | 11.464 | 875 | 85.82 | 0
2019-03-19 15:45:00 | 2.7533 | 116.5033 | 3.1733 | 128.02 | 3.24 | 12.49 | 3.2133 | 115.9933 | 11.7267 | 875 | 84.4 | 0
2019-03-19 16:00:00 | 2.6867 | 112.67 | 3.0933 | 123.8133 | 3.7067 | 19.4433 | 3.3467 | 351.9 | 12.7 | 875 | 81.4 | 0
2019-03-19 16:15:00 | 2.8533 | 25.3067 | 3.29 | 27.81 | 3.9433 | 13.3833 | 3.4133 | 13.32 | 12.9733 | 875 | 79.58 | 0
2019-03-19 16:30:00 | 2.68 | 12.56 | 3.09 | 13.7967 | 4.0367 | 11.5833 | 3.54 | 7.8267 | 12.8333 | 875 | 79.5267 | 0.40867
2019-03-19 16:45:00 | 2.9033 | 196.3767 | 3.34 | 215.7933 | 4.51 | 8.67 | 4.2567 | 22.19 | 12.88 | 874.8667 | 78.2767 | 0.95733
2019-03-19 17:00:00 | 2.8367 | 217.0033 | 3.26 | 238.46 | 4.7833 | 11.5833 | 4.53 | 16.71 | 12.74 | 874 | 78.574 | 1.6407
2019-03-19 17:15:00 | 2.7167 | 167.0867 | 3.1333 | 183.6 | 4.94 | 9.26 | 4.7767 | 22.0533 | 12.7733 | 874 | 78.4233 | 2.7413
2019-03-19 17:30:00 | 2.7167 | 291.8067 | 3.1333 | 320.6667 | 5.1733 | 10.3 | 5.0633 | 18.78 | 12.5733 | 874 | 79.2633 | 5.4853
2019-03-19 17:45:00 | 3.1867 | 10.7633 | 3.6633 | 11.8167 | 6.2133 | 14 | 5.98 | 14.39 | 12.35 | 874 | 80.9333 | 8.4247
2019-03-19 18:00:00 | 3.3267 | 165.5833 | 3.8233 | 181.9567 | 6.2933 | 9.0267 | 6.2933 | 20.4967 | 12.1767 | 874 | 81.4667 | 9.25
2019-03-19 18:15:00 | 3.4867 | 305.3667 | 4.0067 | 335.5667 | 6.4567 | 21.7967 | 6.2133 | 23.7667 | 11.9667 | 874 | 82.4 | 11.0267
2019-03-19 18:30:00 | 3.62 | 308.46 | 4.16 | 338.9667 | 6.4167 | 27.1433 | 6.1067 | 38.7867 | 11.8133 | 874 | 82.9333 | 12.4233
2019-03-19 18:45:00 | 3.8133 | 22.13 | 4.3933 | 24.31 | 6.4733 | 355.9 | 6.2733 | 11.77 | 11.5667 | 874 | 83.7667 | 12.526
2019-03-19 19:00:00 | 3.5667 | 216.3633 | 4.1 | 237.7567 | 5.6733 | 337.2333 | 5.5867 | 11.51 | 11.4533 | 874 | 84.3 | 14.508
2019-03-19 19:15:00 | 3.4233 | 18.69 | 3.94 | 20.5267 | 6.36 | 16.6733 | 6.3767 | 13.1733 | 11.2467 | 874 | 85.3667 | 19.2713
2019-03-19 19:30:00 | 3.65 | 187.532 | 4.202 | 206.076 | 7.016 | 13.498 | 6.784 | 19.65 | 10.902 | 874 | 86.94 | 20.1773
2019-03-19 19:45:00 | 3.5333 | 94.1767 | 4.07 | 103.4867 | 6.14 | 10.55 | 6.2867 | 19.3267 | 10.6433 | 874 | 87.6667 | 21.6587
2019-03-19 20:00:00 | 3.82 | 303.03 | 4.3967 | 333 | 5.8667 | 231.2367 | 6.0333 | 14.9867 | 10.8367 | 874 | 86.5333 | 21.2293
2019-03-19 20:15:00 | 4.14 | 33.1433 | 4.76 | 36.4133 | 6.9067 | 331.8 | 6.4533 | 6.55 | 10.7333 | 874 | 87 | 25.1513
2019-03-19 20:30:00 | 4.1507 | 179.53 | 4.7707 | 197.2787 | 7.5227 | 152.12 | 7.2153 | 8.4273 | 10.6667 | 874 | 87.6 | 29.4167
2019-03-19 20:45:00 | 4.1253 | 309.6013 | 4.75 | 340.22 | 7.2793 | 328.7033 | 7.0693 | 14.47 | 10.7227 | 874 | 87.3333 | 29.0293
2019-03-19 21:00:00 | 4.1667 | 294.36 | 4.7967 | 323.4667 | 6.8533 | 122.0933 | 6.76 | 20.3033 | 10.7667 | 874 | 86.9333 | 32.5387
2019-03-19 21:15:00 | 4.69 | 75.7867 | 5.4 | 83.27 | 8.08 | 10.1667 | 8.2033 | 13.9833 | 10.64 | 874 | 87.5667 | 38.2387
2019-03-19 21:30:00 | 4.7767 | 228.4133 | 5.4933 | 251.0033 | 8.7333 | 10.2533 | 8.9367 | 10.6633 | 10.5267 | 874.4667 | 88.3 | 43.05
2019-03-19 21:45:00 | 5.4233 | 23.66 | 6.2367 | 25.9933 | 9.6967 | 13.1767 | 9.7933 | 18.9633 | 10.4793 | 875 | 88.52 | 48.2793
2019-03-19 22:00:00 | 6.09 | 117.0867 | 7.0033 | 128.6533 | 10.8767 | 21.6033 | 11.0533 | 17.5367 | 10.4253 | 875 | 88.6533 | 54.358
2019-03-19 22:15:00 | 6.8667 | 209.78 | 7.9 | 230.53 | 11.4167 | 8.11 | 11.03 | 17.3267 | 10.67 | 875.1333 | 86.7 | 52.432
2019-03-19 22:30:00 | 5.84 | 7.4 | 6.72 | 8.13 | 9.6233 | 8.3233 | 9.3833 | 10.02 | 10.7407 | 876 | 86.3667 | 44.4747
2019-03-19 22:45:00 | 5.1733 | 12.1633 | 5.9633 | 13.3533 | 9.0967 | 9.72 | 8.9933 | 20.3167 | 10.6467 | 876.8 | 86.9333 | 50.286
2019-03-19 23:00:00 | 6.12 | 23.3967 | 7.0433 | 25.7067 | 11.15 | 17.66 | 10.8467 | 17.6433 | 10.5847 | 877 | 87.1533 | 52.8613
2019-03-19 23:15:00 | 6.16 | 297.9367 | 7.09 | 327.4 | 11.29 | 10 | 11.8433 | 16.9767 | 10.7233 | 876.2 | 86.1667 | 51.1073
2019-03-19 23:30:00 | 5.48 | 104.3167 | 6.3033 | 114.6267 | 9.8967 | 19.64 | 10.83 | 32.11 | 10.85 | 876 | 84.9667 | 50.7767
2019-03-19 23:45:00 | 5.6667 | 210.35 | 6.5167 | 231.15 | 9.41 | 41.7333 | 9.1633 | 52.31 | 11.2467 | 875.2 | 81.6833 | 42.432