## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-20 00:00:00 | 5.7879 | 49.31 | 6.6571 | 54.1779 | 9.8436 | 35.805 | 9.5593 | 39.6371 | 11.7514 | 874.7273 | 78.2309 | 37.0236
2019-03-20 00:15:00 | 5.4533 | 134.94 | 6.28 | 148.2833 | 9.25 | 121.0967 | 9.68 | 13.9233 | 11.5933 | 874.8 | 79.0233 | 43.8687
2019-03-20 00:30:00 | 6.3467 | 200.9533 | 7.3 | 220.8167 | 11.1433 | 20.89 | 11.26 | 20.9233 | 11.2267 | 875 | 81.0333 | 46.5573
2019-03-20 00:45:00 | 6.5433 | 215.79 | 7.5367 | 237.1333 | 10.9933 | 6.5967 | 10.9733 | 14.6133 | 11.0967 | 875 | 81.7333 | 37.138
2019-03-20 01:00:00 | 6.3033 | 269.5433 | 7.25 | 296.2 | 10.04 | 2.97 | 9.82 | 19.3467 | 11.13 | 875 | 81.6467 | 26.0693
2019-03-20 01:15:00 | 5.16 | 70.6333 | 5.9367 | 77.62 | 8.77 | 228.93 | 8.92 | 238.24 | 11.1333 | 875.8 | 81.2667 | 23.4487
2019-03-20 01:30:00 | 4.8667 | 233.4133 | 5.5967 | 256.5 | 8.99 | 15.5967 | 9.02 | 13.7333 | 10.9067 | 876 | 82.2 | 26.708
2019-03-20 01:45:00 | 4.5733 | 164.7533 | 5.27 | 181.0467 | 8.72 | 17.0933 | 8.5267 | 12.2167 | 10.5033 | 876 | 84.4 | 26.2473
2019-03-20 02:00:00 | 3.9667 | 0.14 | 4.5633 | 0.14667 | 7.6933 | 15.1 | 7.6333 | 21.6833 | 10.23 | 876 | 85.8667 | 22.6787
2019-03-20 02:15:00 | 3.8467 | 189.6133 | 4.42 | 208.3667 | 7.31 | 11.2233 | 7.5447 | 24.39 | 10.1493 | 875.2 | 86.3 | 18.714
2019-03-20 02:30:00 | 4.104 | 186.718 | 4.716 | 205.18 | 7.852 | 5.968 | 8.11 | 23.322 | 10.1293 | 875 | 86.2533 | 24.7013
2019-03-20 02:45:00 | 4.7267 | 62.8367 | 5.44 | 69.0467 | 8.9367 | 16.3133 | 9.0533 | 23.7267 | 10.1133 | 875 | 86.5 | 34.97
2019-03-20 03:00:00 | 4.78 | 78.19 | 5.5 | 85.92 | 8.6967 | 9.1133 | 9 | 16.4533 | 10.1867 | 875 | 86.5 | 32.8887
2019-03-20 03:15:00 | 4.34 | 11.7433 | 5 | 12.8967 | 7.92 | 17.44 | 8.01 | 18.92 | 9.8633 | 875 | 88.1 | 24.534
2019-03-20 03:30:00 | 4.1933 | 205.13 | 4.8267 | 225.4033 | 7.2 | 12.8667 | 7.37 | 8.5467 | 9.65 | 875 | 89.4333 | 25.17
2019-03-20 03:45:00 | 4.08 | 17.78 | 4.6933 | 19.53 | 7.4433 | 8.8167 | 7.6133 | 9.8833 | 9.46 | 875 | 90.4 | 25.96
2019-03-20 04:00:00 | 3.9333 | 21.1267 | 4.5333 | 23.21 | 7.49 | 15.0767 | 7.8133 | 19.95 | 9.1333 | 875 | 91.8667 | 28.74
2019-03-20 04:15:00 | 4.2533 | 214.1733 | 4.8933 | 235.3533 | 8.0333 | 12.1033 | 7.97 | 20.19 | 8.8167 | 875 | 93.2 | 26.778
2019-03-20 04:30:00 | 4.0867 | 17.3133 | 4.7 | 19.0267 | 7.0267 | 5.83 | 7.2033 | 13.01 | 9.1233 | 875 | 92.1333 | 17.3847
2019-03-20 04:45:00 | 3.62 | 112.04 | 4.17 | 123.1133 | 6.0933 | 230.6733 | 6.4033 | 18.87 | 9.0413 | 875 | 92.3 | 20.6307
2019-03-20 05:00:00 | 3.5533 | 133.56 | 4.0833 | 146.76 | 6.1267 | 11.3 | 6.3833 | 9.0433 | 8.97 | 875 | 92.7 | 20.4453
2019-03-20 05:15:00 | 3.64 | 194.2333 | 4.19 | 213.4367 | 6.7533 | 17.9267 | 7.13 | 23.0167 | 8.69 | 875.8 | 93.8333 | 18.304
2019-03-20 05:30:00 | 3.5333 | 216.1267 | 4.07 | 237.5033 | 6.5267 | 16.6333 | 6.8833 | 16.8233 | 8.6433 | 876 | 93.9667 | 15.7487
2019-03-20 05:45:00 | 3.08 | 291.5933 | 3.54 | 320.4333 | 5.65 | 8.7367 | 6.2633 | 20.4467 | 8.4567 | 876 | 94.6667 | 10.5453
2019-03-20 06:00:00 | 3.24 | 138.3067 | 3.7333 | 151.9867 | 5.9433 | 8.6433 | 6.5167 | 20.6467 | 8.3167 | 876 | 95.4667 | 7.9273
2019-03-20 06:15:00 | 2.6233 | 306.0633 | 3.02 | 336.3333 | 4.9533 | 6.37 | 5.6133 | 17.4833 | 8.1767 | 876 | 96.1333 | 3.812
2019-03-20 06:30:00 | 2.0433 | 288.5367 | 2.3533 | 317.0667 | 3.36 | 13.5233 | 3.88 | 28.57 | 8.2033 | 876 | 96.4467 | 3.322
2019-03-20 06:45:00 | 2.6033 | 323.7467 | 2.9933 | 355.7667 | 3.9 | 14.9667 | 4.0033 | 20.4567 | 8.3733 | 876 | 95.7667 | 6.8267
2019-03-20 07:00:00 | 2.51 | 317.0733 | 2.8933 | 348.4333 | 4.4933 | 20.2467 | 4.73 | 19.5367 | 8.1867 | 876.4667 | 95.8333 | 8.9887
2019-03-20 07:15:00 | 2.6467 | 299.1833 | 3.0567 | 328.7667 | 4.69 | 12.68 | 5.4333 | 16.6467 | 7.8733 | 877 | 97.0333 | 11.838
2019-03-20 07:30:00 | 2.8333 | 311.19 | 3.2633 | 341.9667 | 5.2033 | 5.48 | 6.0067 | 18.1533 | 7.7 | 876.5333 | 97.7 | 13.044
2019-03-20 07:45:00 | 3.13 | 101.8433 | 3.6067 | 111.9067 | 5.66 | 12.9033 | 5.7367 | 11.8533 | 8.1367 | 876.8 | 97.9667 | 13.412
2019-03-20 08:00:00 | 3.0433 | 304.85 | 3.5 | 335 | 5.3733 | 13.8433 | 5.73 | 16.4067 | 8.6833 | 877 | 96.3 | 14.0107
2019-03-20 08:15:00 | 3.7333 | 15.8133 | 4.2967 | 17.3767 | 5.32 | 12.6867 | 5.7233 | 24.0367 | 9.0667 | 877.8 | 94.2333 | 17.1933
2019-03-20 08:30:00 | 3.8533 | 5.3467 | 4.4367 | 5.87 | 5.56 | 7.82 | 5.67 | 21.75 | 9.4533 | 878 | 93.0333 | 19.504
2019-03-20 08:45:00 | 3.974 | 235.9087 | 4.5727 | 259.228 | 5.984 | 3.802 | 6.4633 | 16.2467 | 10.2907 | 878.8 | 89.4 | 21.5253
2019-03-20 09:00:00 | 4.5267 | 189.0333 | 5.21 | 207.7267 | 7.0333 | 6.97 | 7.64 | 17.2933 | 10.9867 | 879 | 86.7667 | 19.0453
2019-03-20 09:15:00 | 3.9767 | 296.17 | 4.5767 | 325.4667 | 6.72 | 6.9367 | 7.3967 | 12.0567 | 12.2267 | 879.1333 | 81.9667 | 12.1113
2019-03-20 09:30:00 | 3.5367 | 120.0567 | 4.07 | 131.9267 | 5.2467 | 15.9433 | 5.6767 | 9.4967 | 11.9667 | 880 | 81.9 | 13.2053
2019-03-20 09:45:00 | 3.5567 | 213.8167 | 4.0933 | 234.96 | 5.29 | 14.4267 | 5.6133 | 10.9333 | 11.6767 | 880 | 83.4 | 5.14
2019-03-20 10:00:00 | 2.8367 | 220.0633 | 3.26 | 241.8267 | 4.0167 | 17.3733 | 4.0467 | 9.5733 | 12.5433 | 880.4667 | 79.3 | 4.958
2019-03-20 10:15:00 | 3.0467 | 21.2367 | 3.5167 | 23.3333 | 3.94 | 133.52 | 4.3333 | 4.1567 | 12.8 | 881 | 78.16 | 3.166
2019-03-20 10:30:00 | 3.06 | 214.4767 | 3.5233 | 235.6933 | 3.8667 | 120.9467 | 4.3333 | 55.9767 | 13.24 | 881 | 76.4467 | 0.23867
2019-03-20 10:45:00 | 3.14 | 14.3767 | 3.61 | 15.7967 | 3.6933 | 235.4033 | 3.85 | 17.8567 | 14.2067 | 881 | 70.9133 | 0
2019-03-20 11:00:00 | 2.8333 | 18.6233 | 3.2567 | 20.4633 | 3.76 | 8.0033 | 3.4833 | 15.5033 | 15.5733 | 881 | 65.9867 | 0
2019-03-20 11:15:00 | 3.0967 | 316.2533 | 3.5667 | 347.5333 | 4.6833 | 19.0533 | 4.19 | 15.9433 | 16.7767 | 881.8 | 61.5667 | 2.6427
2019-03-20 11:30:00 | 4.19 | 109.6667 | 4.8267 | 120.5133 | 6.01 | 12.7133 | 5.8433 | 19.57 | 16.3567 | 881.5333 | 61.94 | 7.5747
2019-03-20 11:45:00 | 4.5 | 313.56 | 5.1867 | 344.5667 | 6.65 | 12.5633 | 6.3333 | 11.5933 | 17.16 | 881 | 59.3833 | 8.542
2019-03-20 12:00:00 | 4.3933 | 117.98 | 5.0533 | 129.64 | 6.45 | 10.23 | 6.3 | 14.9267 | 17.4133 | 881 | 57.2033 | 8.4847
2019-03-20 12:15:00 | 4.2727 | 24.614 | 4.9153 | 27.0387 | 6.2907 | 9.7987 | 6.2353 | 27.542 | 18.0787 | 881 | 53.2893 | 5.2107
2019-03-20 12:30:00 | 4.2933 | 5.93 | 4.95 | 6.5167 | 5.7133 | 6.8167 | 5.6767 | 17.71 | 18.41 | 881 | 50.4067 | 4.566
2019-03-20 12:45:00 | 3.9733 | 106.5833 | 4.57 | 117.12 | 5.11 | 5.09 | 5.1133 | 9.9467 | 18.5367 | 881 | 48.7333 | 2.178
2019-03-20 13:00:00 | 3.4533 | 104.5833 | 3.97 | 114.9133 | 4.5767 | 12.49 | 4.36 | 14.9333 | 19.31 | 881 | 46.4 | 0
2019-03-20 13:15:00 | 2.5433 | 0.93333 | 2.93 | 1.02 | 2.7733 | 20.85 | 2.4033 | 136.54 | 19.18 | 881 | 45.2267 | 0
2019-03-20 13:30:00 | 1.9967 | 3.7667 | 2.3033 | 4.1267 | 2.52 | 13.2833 | 2.43 | 344.7 | 19.6933 | 881 | 44.0133 | 0
2019-03-20 13:45:00 | 2.2333 | 14.1667 | 2.57 | 15.56 | 2.74 | 19.5333 | 2.4967 | 216.34 | 20.4067 | 881 | 41.9633 | 0
2019-03-20 14:00:00 | 1.5933 | 226.54 | 1.8367 | 248.94 | 2 | 23.68 | 2.0233 | 46.5867 | 21.1933 | 881 | 40.27 | 0.644
2019-03-20 14:15:00 | 2.04 | 131.1567 | 2.3533 | 144.1333 | 2.34 | 141.1 | 2.3167 | 167.0667 | 21.4067 | 881 | 39.6033 | 2.2627
2019-03-20 14:30:00 | 2.4933 | 159.8633 | 2.8667 | 175.6667 | 3.0267 | 162.9667 | 3.1967 | 146.3333 | 21.6067 | 881 | 38.73 | 3.6033
2019-03-20 14:45:00 | 3.86 | 150.9967 | 4.44 | 165.9333 | 4.6233 | 159.4333 | 4.7933 | 163.0333 | 21.21 | 880.8667 | 40.08 | 3.0627
2019-03-20 15:00:00 | 3.4067 | 166.35 | 3.92 | 182.8 | 3.9033 | 174.5667 | 4.1733 | 153.84 | 21.3433 | 880 | 39.7267 | 2.486
2019-03-20 15:15:00 | 3.0733 | 146.3633 | 3.5467 | 160.8333 | 3.54 | 189.7 | 3.6267 | 185.6333 | 21.29 | 880 | 40.21 | 1.8887
2019-03-20 15:30:00 | 3.4333 | 147.9967 | 3.9533 | 162.6333 | 4.0467 | 192.8333 | 4.2467 | 178.3667 | 21.5033 | 880 | 40.2233 | 2.2073
2019-03-20 15:45:00 | 2.46 | 159.17 | 2.8333 | 174.9 | 3.0233 | 191.3667 | 3.1933 | 232.9667 | 21.4433 | 880 | 39.74 | 3.332
2019-03-20 16:00:00 | 2.6867 | 121.25 | 3.0867 | 133.2333 | 3.25 | 201.3 | 3.2133 | 240.4333 | 21.13 | 880 | 40.1733 | 1.3913
2019-03-20 16:15:00 | 3.32 | 174.0933 | 3.8167 | 191.3 | 4.42 | 249.2333 | 4.3533 | 230.7333 | 20.8353 | 879.8667 | 40.6767 | 1.5853
2019-03-20 16:30:00 | 3.28 | 174.9333 | 3.77 | 192.2333 | 4.0133 | 219.0333 | 4.2667 | 221 | 20.4467 | 879 | 41.1833 | 1.4247
2019-03-20 16:45:00 | 2.52 | 168.5367 | 2.9 | 185.2 | 3.2967 | 231.8333 | 3.33 | 231.9333 | 20.53 | 879 | 41.462 | 0.025333
2019-03-20 17:00:00 | 1.92 | 170.11 | 2.2133 | 186.9333 | 2.39 | 213.7 | 2.6633 | 227.0667 | 20.51 | 879 | 42.0767 | 0
2019-03-20 17:15:00 | 2.0967 | 177.2367 | 2.41 | 194.7667 | 2.7667 | 213.7 | 3.0033 | 221.5 | 20.794 | 879 | 42.7613 | 0
2019-03-20 17:30:00 | 2.01 | 147.9367 | 2.31 | 162.5667 | 2.66 | 200.9667 | 2.73 | 170.7 | 20.96 | 879 | 42.6167 | 0
2019-03-20 17:45:00 | 1.8267 | 180.3933 | 2.1033 | 198.2333 | 2.4433 | 210.9 | 2.67 | 194.3 | 20.6333 | 879 | 43.0867 | 0
2019-03-20 18:00:00 | 1.4067 | 149.4 | 1.6233 | 164.1667 | 1.9967 | 187.1667 | 2.1433 | 177.9667 | 20.3667 | 879 | 43.9667 | 0
2019-03-20 18:15:00 | 0.92 | 146.9767 | 1.0667 | 161.5 | 1.5367 | 161.2 | 1.59 | 173.6 | 20.2513 | 879 | 44.7433 | 0
2019-03-20 18:30:00 | 0.30667 | 160.0167 | 0.35333 | 175.8333 | 0.51 | 199.3333 | 0.49 | 204.9333 | 20.07 | 879 | 45.4167 | 0
2019-03-20 18:45:00 | 0.20333 | 132.98 | 0.23667 | 146.1333 | 0.39 | 216.3 | 0.55 | 203.9467 | 19.9273 | 879 | 45.61 | 0
2019-03-20 19:00:00 | 0.95 | 170.5333 | 1.0967 | 187.4 | 1.4967 | 190.7667 | 1.5033 | 189.8667 | 19.7433 | 879 | 46.2767 | 0
2019-03-20 19:15:00 | 2.0867 | 156.86 | 2.4033 | 172.3667 | 2.5767 | 185.1 | 2.4687 | 187.9667 | 19.38 | 879 | 46.6233 | 0
2019-03-20 19:30:00 | 1.9533 | 169.5333 | 2.2567 | 186.3 | 2.53 | 186.7467 | 2.5067 | 188.4533 | 19.28 | 879 | 46.3433 | 0
2019-03-20 19:45:00 | 1.96 | 153.3433 | 2.2633 | 168.5 | 2.5833 | 174.6333 | 2.5267 | 178.1 | 19.03 | 879 | 46.6767 | 0
2019-03-20 20:00:00 | 1.8933 | 145.0833 | 2.1767 | 159.4333 | 2.5167 | 168.1667 | 2.6933 | 170.2333 | 18.8567 | 879 | 47.3767 | 0
2019-03-20 20:15:00 | 2.1667 | 173.7867 | 2.4967 | 190.9667 | 2.6967 | 178.6333 | 2.8433 | 190.2 | 18.818 | 879 | 47.9667 | 0
2019-03-20 20:30:00 | 1.9667 | 170.08 | 2.2633 | 186.9 | 2.6233 | 180.3667 | 2.7833 | 179.8 | 18.7533 | 879.4667 | 48.5267 | 0
2019-03-20 20:45:00 | 1.2867 | 160.4733 | 1.4833 | 176.3333 | 2.0533 | 166.2667 | 2.27 | 168.94 | 18.4633 | 879.2 | 50.7 | 0
2019-03-20 21:00:00 | 1.3733 | 170 | 1.5833 | 186.8 | 1.8733 | 167.6 | 1.9967 | 169.2467 | 18.5033 | 879.4667 | 52.7133 | 0
2019-03-20 21:15:00 | 1.83 | 305.8373 | 2.104 | 336.08 | 3.0467 | 24.8047 | 3.1873 | 29.5667 | 17.9893 | 880 | 53.6273 | 3.964
2019-03-20 21:30:00 | 3.5 | 319.1933 | 4.0233 | 350.7667 | 6.6267 | 19.51 | 7.5067 | 23.42 | 16.6333 | 880 | 57.7233 | 30.3227
2019-03-20 21:45:00 | 5.2347 | 246.374 | 6.022 | 270.7307 | 9.494 | 21.744 | 10.094 | 30.2907 | 16.1993 | 880 | 57.9693 | 45.702
2019-03-20 22:00:00 | 5.4867 | 196.0333 | 6.3067 | 215.4133 | 10.3633 | 19.7067 | 10.8233 | 27.0267 | 16.0133 | 880 | 56.8533 | 46.5987
2019-03-20 22:15:00 | 5.76 | 305.9767 | 6.6233 | 336.2333 | 10.8267 | 20.7967 | 11.5533 | 24.5233 | 15.954 | 880 | 54.8267 | 47.6473
2019-03-20 22:30:00 | 6.16 | 301.25 | 7.0833 | 331.0333 | 11.4533 | 20.45 | 12.0333 | 25.1833 | 15.924 | 880.4667 | 53.0333 | 48.5007
2019-03-20 22:45:00 | 6.9933 | 189.6233 | 8.0467 | 208.3667 | 12.62 | 12.7667 | 12.7573 | 16.9767 | 15.7933 | 881 | 49.55 | 51.1853
2019-03-20 23:00:00 | 7.5 | 230.99 | 8.6267 | 253.8333 | 13.6067 | 10.7067 | 13.6333 | 15.65 | 15.806 | 881 | 44.4033 | 54.856
2019-03-20 23:15:00 | 9.1467 | 31.4433 | 10.5167 | 34.5467 | 16.2767 | 12.7333 | 16.35 | 18.12 | 15.62 | 881 | 38.3633 | 56.2953
2019-03-20 23:30:00 | 9.7467 | 46.4033 | 11.21 | 50.9933 | 17.0633 | 10.58 | 17.15 | 21.1867 | 15.5867 | 881 | 34.4033 | 57.2693
2019-03-20 23:45:00 | 10.76 | 120.5933 | 12.3733 | 132.52 | 19.1233 | 8.2267 | 19.12 | 23.21 | 15.37 | 881 | 32.01 | 57.3647