## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-21 00:00:00 | 11.11 | 259.3786 | 12.7771 | 285.0214 | 19.1364 | 18.3514 | 18.8829 | 20.2343 | 15.2579 | 881 | 29.7993 | 58.9821
2019-03-21 00:15:00 | 10.7153 | 298.13 | 12.33 | 327.6 | 18.7433 | 9.3533 | 18.7567 | 22.45 | 14.8767 | 881 | 29.224 | 58.0433
2019-03-21 00:30:00 | 11.06 | 255.8367 | 12.7233 | 281.1333 | 19.3567 | 25.2 | 19.53 | 29.27 | 14.4833 | 881 | 29.56 | 54.4167
2019-03-21 00:45:00 | 11.8467 | 40.64 | 13.6267 | 44.6533 | 21.0933 | 6.5433 | 20.9233 | 14.1333 | 14.0433 | 881 | 29.9033 | 53.37
2019-03-21 01:00:00 | 12.46 | 230.14 | 14.3333 | 252.9 | 22.18 | 10.4033 | 21.7167 | 16.32 | 13.63 | 881 | 31.25 | 53.8073
2019-03-21 01:15:00 | 12.89 | 231.3833 | 14.8233 | 254.2667 | 22.4667 | 11.8133 | 22.2267 | 29.5733 | 13.2333 | 881 | 33.1133 | 51.856
2019-03-21 01:30:00 | 12.9713 | 47.6847 | 14.9247 | 52.4 | 22.6853 | 13.6747 | 22.08 | 27.5813 | 12.8613 | 881 | 35.0347 | 50.7347
2019-03-21 01:45:00 | 13.1467 | 114.7667 | 15.13 | 126.1133 | 22.9167 | 13.93 | 22.1667 | 23.28 | 12.3667 | 881 | 37.8 | 50.7427
2019-03-21 02:00:00 | 12.9867 | 309.8667 | 14.9433 | 340.5 | 22.67 | 12.7633 | 22.2733 | 16.0067 | 12 | 880.5333 | 39.54 | 49.7707
2019-03-21 02:15:00 | 13.3967 | 256.3733 | 15.4167 | 281.7333 | 23.2333 | 13.8633 | 22.87 | 17.28 | 11.68 | 880 | 41.1 | 47.47
2019-03-21 02:30:00 | 13.2433 | 130.6733 | 15.23 | 143.6 | 22.9133 | 11.1567 | 22.5367 | 17.1 | 11.44 | 880 | 42.1867 | 46.568
2019-03-21 02:45:00 | 13.1633 | 257.8933 | 15.1467 | 283.4 | 22.35 | 4.88 | 22.1367 | 8.6267 | 11.1467 | 880 | 43.6467 | 46.2173
2019-03-21 03:00:00 | 13.1433 | 117.4533 | 15.1133 | 129.0667 | 22.8633 | 7.1333 | 22.4433 | 14.64 | 10.9333 | 880 | 44.8867 | 46.2233
2019-03-21 03:15:00 | 12.6733 | 290.1433 | 14.5733 | 318.8333 | 22.0167 | 15.04 | 21.7067 | 17.3833 | 10.6667 | 880 | 46.61 | 45.8713
2019-03-21 03:30:00 | 12.7133 | 191.2567 | 14.62 | 210.1667 | 22.0967 | 20.42 | 21.7267 | 18.4167 | 10.46 | 880 | 48.17 | 46.3293
2019-03-21 03:45:00 | 11.98 | 183.36 | 13.7767 | 201.49 | 20.8167 | 10.14 | 20.7933 | 27.8167 | 10.1667 | 880.6667 | 50.1533 | 42.6613
2019-03-21 04:00:00 | 11.94 | 222.86 | 13.73 | 244.89 | 21.0033 | 18.6133 | 20.9133 | 22.2767 | 9.8867 | 880 | 52.06 | 40.694
2019-03-21 04:15:00 | 11.2667 | 59.95 | 12.97 | 65.8733 | 19.8167 | 11.6267 | 19.8333 | 26.8767 | 9.5867 | 880 | 53.9067 | 40.8173
2019-03-21 04:30:00 | 11.3067 | 265.9633 | 13.0033 | 292.2667 | 19.6833 | 21.4 | 20.0533 | 30.0367 | 9.3333 | 880 | 55.1467 | 46.478
2019-03-21 04:45:00 | 11.858 | 184.006 | 13.64 | 202.2 | 20.63 | 17.56 | 20.602 | 24.97 | 9.01 | 880 | 56.376 | 44.5247
2019-03-21 05:00:00 | 11.7167 | 298.0633 | 13.4733 | 327.5333 | 20.2567 | 12.7467 | 20.5633 | 29.5633 | 8.73 | 880 | 57.4333 | 43.8493
2019-03-21 05:15:00 | 11.7067 | 257.0467 | 13.4633 | 282.4667 | 20.5867 | 5.7267 | 20.56 | 33.7267 | 8.4333 | 880.1333 | 58.4133 | 42.9307
2019-03-21 05:30:00 | 11.5667 | 262.5667 | 13.3033 | 288.5333 | 20.1333 | 14.56 | 20.3133 | 37.0533 | 8.2067 | 881 | 59.18 | 40.9193
2019-03-21 05:45:00 | 11.3867 | 191.31 | 13.1 | 210.23 | 19.55 | 24.4133 | 20.1933 | 35.9233 | 7.9567 | 881 | 60.0067 | 42.5887
2019-03-21 06:00:00 | 11.72 | 204.5967 | 13.48 | 224.83 | 20.0633 | 21.54 | 20.6067 | 23.8433 | 7.7967 | 881 | 60.46 | 44.028
2019-03-21 06:15:00 | 11.4867 | 149.65 | 13.2067 | 164.4467 | 19.6333 | 27.62 | 20.4433 | 28.8567 | 7.59 | 881 | 61.29 | 43.0453
2019-03-21 06:30:00 | 11.1733 | 319.35 | 12.8533 | 350.9333 | 19.5 | 10.8 | 19.8033 | 29.2433 | 7.4633 | 881 | 61.7033 | 41.3573
2019-03-21 06:45:00 | 11.42 | 90.5933 | 13.14 | 99.5533 | 20.0167 | 5.6033 | 20.1567 | 24.9733 | 7.3367 | 881 | 61.9387 | 40.2807
2019-03-21 07:00:00 | 11.9667 | 196.74 | 13.7733 | 216.2 | 21.07 | 9.6367 | 20.8967 | 20.4467 | 7.2433 | 881 | 62.3967 | 40.7107
2019-03-21 07:15:00 | 12.1467 | 35.6867 | 13.9767 | 39.2133 | 21.7867 | 15.4333 | 21.72 | 24.3667 | 7.0867 | 881 | 63.3267 | 40.06
2019-03-21 07:30:00 | 11.9267 | 50 | 13.7167 | 54.94 | 20.9333 | 12.26 | 20.7267 | 19.02 | 6.9333 | 881 | 64.3867 | 41.1733
2019-03-21 07:45:00 | 11.3533 | 141.5233 | 13.0533 | 155.52 | 19.62 | 9.98 | 19.7167 | 25.5933 | 6.7067 | 881.8 | 65.7167 | 47.822
2019-03-21 08:00:00 | 11.0733 | 169.07 | 12.74 | 185.7867 | 19.6667 | 8.1467 | 19.7767 | 26.3733 | 6.2733 | 882 | 70.53 | 59.1247
2019-03-21 08:15:00 | 10.3067 | 184.5033 | 11.8567 | 202.74 | 17.996 | 18.5033 | 18.3567 | 37.13 | 5.58 | 882 | 77.5433 | 59.3833
2019-03-21 08:30:00 | 10.5133 | 225.93 | 12.0967 | 248.2733 | 18.1233 | 21.83 | 18.7833 | 35.4567 | 5.2333 | 882 | 80.83 | 58.3053
2019-03-21 08:45:00 | 11.0233 | 256.84 | 12.6767 | 282.2333 | 18.7167 | 23.3367 | 19.2733 | 38.6733 | 5.24 | 882.8 | 79.82 | 59.108
2019-03-21 09:00:00 | 11.1233 | 239.66 | 12.7967 | 263.3667 | 18.8967 | 33.03 | 19.5733 | 31.5067 | 5.58 | 883 | 75.6733 | 59.6973
2019-03-21 09:15:00 | 10.8167 | 290.9367 | 12.4467 | 319.7 | 18.5573 | 22.2833 | 19.52 | 38.2433 | 6.1467 | 883 | 69.8933 | 59.8647
2019-03-21 09:30:00 | 10.55 | 300.89 | 12.14 | 330.6333 | 18.04 | 21.7167 | 18.7867 | 35.65 | 6.4667 | 883.4667 | 67.06 | 59.8713
2019-03-21 09:45:00 | 10.7533 | 83.3 | 12.3767 | 91.5367 | 18.51 | 10.21 | 19.0567 | 37.0133 | 6.8167 | 884 | 64.1067 | 58.7827
2019-03-21 10:00:00 | 10.8733 | 122.6733 | 12.51 | 134.8033 | 18.73 | 22.4833 | 19.1633 | 34.1933 | 7.0367 | 884 | 61.5933 | 60.1033
2019-03-21 10:15:00 | 10.6267 | 269.0567 | 12.2333 | 295.6667 | 18.22 | 31.88 | 19.0367 | 27.1 | 7.2567 | 884 | 59.28 | 59.564
2019-03-21 10:30:00 | 10.8333 | 258.0233 | 12.46 | 283.5333 | 18.6333 | 22.82 | 19.156 | 13.3333 | 7.4967 | 884 | 57.2733 | 60.614
2019-03-21 10:45:00 | 10.89 | 110.9233 | 12.5333 | 121.88 | 18.53 | 19.2767 | 19.1267 | 40.94 | 7.8567 | 884.8 | 54.4633 | 59.236
2019-03-21 11:00:00 | 10.4967 | 132.2833 | 12.08 | 145.3533 | 17.75 | 13.3233 | 18.44 | 27.26 | 8.1833 | 885 | 52.6167 | 58.8747
2019-03-21 11:15:00 | 10.6867 | 171.6667 | 12.3 | 188.63 | 18.3367 | 15.8867 | 18.91 | 32.67 | 8.67 | 885 | 50.45 | 60.958
2019-03-21 11:30:00 | 10.34 | 212.18 | 11.9 | 233.1633 | 17.59 | 23.78 | 18.4853 | 35.03 | 8.8967 | 885 | 48.8633 | 61.072
2019-03-21 11:45:00 | 10.6867 | 175.6413 | 12.2927 | 193.0133 | 17.98 | 17.0267 | 18.7607 | 30.0827 | 8.8147 | 885 | 48.042 | 61.4
2019-03-21 12:00:00 | 10.4733 | 120.78 | 12.0467 | 132.72 | 17.59 | 22.5667 | 18.3567 | 35.19 | 8.9467 | 885 | 47.6233 | 61.0473
2019-03-21 12:15:00 | 10.1233 | 185.0367 | 11.64 | 203.3333 | 17.2533 | 20.4533 | 17.44 | 30.0333 | 9.1667 | 885 | 47.01 | 59.934
2019-03-21 12:30:00 | 10.51 | 29.69 | 12.0867 | 32.6267 | 18.3133 | 19.82 | 18.2533 | 27.8267 | 9.22 | 885 | 47.13 | 60.0327
2019-03-21 12:45:00 | 10.78 | 132.1367 | 12.4033 | 145.2033 | 19.0567 | 10.0733 | 19.1767 | 17.6433 | 9.74 | 885 | 46.4467 | 59.132
2019-03-21 13:00:00 | 10.72 | 19.9033 | 12.3367 | 21.87 | 19.0033 | 12.9733 | 19.17 | 17.5433 | 10.1133 | 885 | 45.8733 | 58.12
2019-03-21 13:15:00 | 11.1833 | 303.4 | 12.8733 | 333.4 | 20.0833 | 8.0367 | 19.98 | 23.1033 | 10.8033 | 885 | 45.11 | 56.2007
2019-03-21 13:30:00 | 11.2767 | 202.26 | 12.9733 | 222.2667 | 20.2633 | 11.83 | 19.9467 | 21.5633 | 10.9967 | 885 | 45.19 | 56.9593
2019-03-21 13:45:00 | 9.9133 | 93.2633 | 11.41 | 102.4867 | 17.5967 | 15.0667 | 17.21 | 22.5433 | 10.4867 | 885 | 46.84 | 57.4473
2019-03-21 14:00:00 | 9.2933 | 88.0567 | 10.6967 | 96.7667 | 16.0233 | 19.0733 | 16.0167 | 31.4513 | 10.1933 | 885 | 47.88 | 57.6967
2019-03-21 14:15:00 | 9.5 | 288.6473 | 10.936 | 317.1867 | 16.1267 | 23.076 | 16.412 | 32.7953 | 10.1733 | 884.8667 | 49.1413 | 59.8473
2019-03-21 14:30:00 | 9.14 | 299.03 | 10.52 | 328.6 | 15.66 | 10.37 | 15.7433 | 21.7133 | 10.2433 | 884 | 49.88 | 59.0113
2019-03-21 14:45:00 | 8.1633 | 270.9667 | 9.3867 | 297.7667 | 14.01 | 29.2667 | 14.5127 | 33.84 | 10.2733 | 884 | 50.52 | 57.766
2019-03-21 15:00:00 | 7.6633 | 115.8933 | 8.82 | 127.3533 | 13.0567 | 25.1 | 13.57 | 35.5133 | 10.1507 | 884 | 51.3333 | 56.864
2019-03-21 15:15:00 | 7.3833 | 51.61 | 8.4933 | 56.7067 | 12.9067 | 9.51 | 12.91 | 23.87 | 10.2367 | 884 | 52.3233 | 57.3587
2019-03-21 15:30:00 | 7.5367 | 231.0433 | 8.6667 | 253.8867 | 13.1067 | 15.0033 | 13.4233 | 24.4833 | 10.3367 | 884 | 52.79 | 56.252
2019-03-21 15:45:00 | 6.9533 | 133.37 | 7.9933 | 146.5533 | 11.8767 | 14.41 | 12.2033 | 29.06 | 10.7133 | 884 | 52.8413 | 53.0173
2019-03-21 16:00:00 | 6.8667 | 153.61 | 7.9 | 168.8 | 11.73 | 9.1567 | 11.97 | 33.5667 | 10.76 | 884 | 53.2433 | 55.094
2019-03-21 16:15:00 | 7.58 | 274.6733 | 8.7133 | 301.8333 | 12.6933 | 26.7667 | 12.82 | 30.6 | 10.774 | 884 | 54.038 | 53.462
2019-03-21 16:30:00 | 7.8533 | 96.3333 | 9.0333 | 105.86 | 13.0933 | 47.1867 | 12.9867 | 37.62 | 10.8033 | 884 | 54.2067 | 54.3773
2019-03-21 16:45:00 | 7.2133 | 108.15 | 8.3 | 118.8467 | 12.1067 | 37.8967 | 12.58 | 37.67 | 10.722 | 884 | 54.5107 | 54.9973
2019-03-21 17:00:00 | 7.0667 | 300.0367 | 8.1267 | 329.7 | 11.7467 | 22.6833 | 12.0267 | 39.0633 | 10.7333 | 884 | 54.62 | 53.6593
2019-03-21 17:15:00 | 7.49 | 132.8967 | 8.6233 | 146.0267 | 12.52 | 35.1633 | 12.6633 | 45.03 | 10.9633 | 884 | 53.88 | 53.4967
2019-03-21 17:30:00 | 6.7967 | 308.4033 | 7.8233 | 338.9 | 11.38 | 32.7633 | 12.01 | 35.47 | 11.01 | 884 | 53.8 | 54.4453
2019-03-21 17:45:00 | 6.9667 | 202.1267 | 8.0233 | 222.1067 | 11.81 | 31.9267 | 11.9233 | 41.1367 | 10.58 | 884 | 54.7 | 56.2433
2019-03-21 18:00:00 | 6.86 | 211.28 | 7.9033 | 232.1733 | 11.39 | 38.54 | 11.4967 | 26.91 | 10.3867 | 884 | 55.28 | 56.6947
2019-03-21 18:15:00 | 7.5067 | 312.6133 | 8.6333 | 343.5333 | 12.6333 | 32.9 | 12.63 | 37.89 | 10.2333 | 884.1333 | 56.1133 | 56.4107
2019-03-21 18:30:00 | 6.52 | 127.86 | 7.5067 | 140.5067 | 11.14 | 40.6133 | 11.6433 | 36.6767 | 10.1067 | 885 | 57 | 56.1493
2019-03-21 18:45:00 | 6.7333 | 134.1067 | 7.7533 | 147.3667 | 11.4533 | 29.2533 | 11.91 | 24.4167 | 9.8433 | 885 | 58.5 | 55.4913
2019-03-21 19:00:00 | 7.1267 | 293.6 | 8.2067 | 322.6333 | 12.1333 | 27.5867 | 12.43 | 35.9233 | 9.61 | 885 | 59.58 | 56.8093
2019-03-21 19:15:00 | 7.6233 | 86.5333 | 8.7767 | 95.0867 | 12.8267 | 25.5967 | 13.7733 | 34.7967 | 9.3667 | 885 | 60.73 | 58.0827
2019-03-21 19:30:00 | 7.35 | 208.4667 | 8.4567 | 229.0867 | 12.5733 | 25.99 | 13.98 | 37.7167 | 9.2333 | 885 | 61.7433 | 57.7693
2019-03-21 19:45:00 | 7.5733 | 34.1333 | 8.7133 | 37.4967 | 12.9 | 27.1767 | 13.7033 | 35.3933 | 9.07 | 885 | 62.93 | 59.162
2019-03-21 20:00:00 | 7.8 | 223.1933 | 8.9733 | 245.2633 | 13.3 | 32.61 | 14.0833 | 36.58 | 8.9433 | 885 | 63.4433 | 58.4853
2019-03-21 20:15:00 | 7.3 | 322.2633 | 8.4 | 354.1333 | 12.5267 | 23.2833 | 13.3733 | 22.9967 | 8.78 | 885.1333 | 63.5467 | 55.6267
2019-03-21 20:30:00 | 7.5533 | 126.5833 | 8.6933 | 139.0933 | 12.8067 | 29.2167 | 13.4133 | 34.1967 | 8.6867 | 886 | 63.3533 | 56.2147
2019-03-21 20:45:00 | 7.3 | 218.3633 | 8.41 | 239.9567 | 12.5267 | 26.8767 | 12.62 | 32.9167 | 8.6253 | 886 | 63.84 | 56.526
2019-03-21 21:00:00 | 7.78 | 115.6567 | 8.9567 | 127.09 | 13.6933 | 14.1167 | 13.7467 | 23.8833 | 8.4967 | 886 | 64.7533 | 55.2353
2019-03-21 21:15:00 | 8.73 | 210.49 | 10.0433 | 231.3 | 15.3633 | 11.46 | 15.3433 | 23.9967 | 8.5 | 886 | 64.43 | 54.7187
2019-03-21 21:30:00 | 7.95 | 182.7567 | 9.15 | 200.8333 | 14.05 | 20.2133 | 14.1367 | 24.87 | 8.46 | 886.4667 | 64.69 | 56.0993
2019-03-21 21:45:00 | 8.0867 | 219.4733 | 9.3 | 241.1733 | 14.08 | 20.08 | 14.6067 | 28.0167 | 8.4567 | 887 | 64.818 | 57.6507
2019-03-21 22:00:00 | 7.7533 | 206.9067 | 8.9267 | 227.3733 | 13.64 | 24.8667 | 14.14 | 28.99 | 8.41 | 887 | 65.0733 | 56.4113
2019-03-21 22:15:00 | 7.39 | 298.9467 | 8.4967 | 328.5 | 13.1467 | 14.82 | 14.0433 | 28.24 | 8.3233 | 887 | 65.7033 | 57.1
2019-03-21 22:30:00 | 6.67 | 162.74 | 7.67 | 178.8333 | 12.02 | 10.0533 | 12.73 | 24.2533 | 8.25 | 887 | 66.3633 | 56.354
2019-03-21 22:45:00 | 6.7633 | 43.5733 | 7.78 | 47.88 | 12.0167 | 22.24 | 12.7167 | 22.53 | 8.1987 | 887 | 67.1433 | 57.242
2019-03-21 23:00:00 | 6.8567 | 67.6 | 7.8933 | 74.2867 | 12.25 | 22.7467 | 12.7767 | 31.01 | 8.1633 | 887 | 67.77 | 57.9947
2019-03-21 23:15:00 | 7.8 | 136.2067 | 8.9833 | 149.6733 | 14.0533 | 21.34 | 14.5667 | 24.41 | 8.1067 | 887 | 68.6233 | 57.8533
2019-03-21 23:30:00 | 7.8867 | 286.8333 | 9.0767 | 315.2 | 14.24 | 10.4 | 14.6067 | 19.5633 | 8.06 | 887 | 69.2833 | 57.4867
2019-03-21 23:45:00 | 8.7487 | 18.1267 | 10.0587 | 19.9133 | 15.55 | 18.4333 | 15.8667 | 32.8067 | 7.9813 | 887 | 69.972 | 56.386