## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-22 00:00:00 | 7.9879 | 192.9243 | 9.195 | 212 | 14.0357 | 16.2914 | 14.8086 | 30.2764 | 7.9943 | 887 | 69.7529 | 53.645
2019-03-22 00:15:00 | 7.8467 | 210.5767 | 9.0233 | 231.4 | 13.8733 | 31.92 | 14.5533 | 39.98 | 7.96 | 887 | 69.9433 | 55.1947
2019-03-22 00:30:00 | 8.16 | 97.8633 | 9.39 | 107.5333 | 14.3667 | 30.4933 | 14.9933 | 34.7467 | 7.92 | 887 | 70.186 | 56.2653
2019-03-22 00:45:00 | 7.94 | 302.98 | 9.1333 | 332.9333 | 13.92 | 31.84 | 14.9933 | 29.4567 | 7.8467 | 887 | 70.54 | 56.582
2019-03-22 01:00:00 | 7.66 | 305.7133 | 8.8153 | 335.9333 | 13.1533 | 24.4467 | 14.4933 | 33.83 | 7.8 | 887 | 70.82 | 56.2647
2019-03-22 01:15:00 | 7.6433 | 111.09 | 8.79 | 122.0733 | 13.4367 | 22.8867 | 13.8467 | 33.4467 | 7.7233 | 887 | 71.3567 | 56.9193
2019-03-22 01:30:00 | 7.2433 | 317.5567 | 8.33 | 348.9667 | 12.7567 | 27.72 | 13.5467 | 31.26 | 7.6853 | 887 | 71.35 | 58.1413
2019-03-22 01:45:00 | 8.6667 | 123.6667 | 9.9667 | 135.9 | 14.79 | 22.0167 | 14.7267 | 36.68 | 7.6733 | 886.8667 | 70.7233 | 58.3133
2019-03-22 02:00:00 | 9.3067 | 303.22 | 10.7067 | 333.2 | 15.8233 | 20.4767 | 15.6333 | 39.02 | 7.6467 | 886 | 70.31 | 58.5047
2019-03-22 02:15:00 | 9.32 | 10.3133 | 10.73 | 11.32 | 16.1067 | 21.6 | 15.9067 | 35.6527 | 7.57 | 886 | 70.24 | 57.532
2019-03-22 02:30:00 | 8.18 | 3.88 | 9.41 | 4.2533 | 14.5533 | 21.0333 | 14.5667 | 27.7067 | 7.3967 | 886 | 71.3667 | 57.6187
2019-03-22 02:45:00 | 8.3667 | 74.08 | 9.6267 | 81.4067 | 14.63 | 18.73 | 14.47 | 24.4 | 7.2433 | 886 | 72.0833 | 55.7087
2019-03-22 03:00:00 | 7.66 | 29.7067 | 8.82 | 32.6333 | 13.4633 | 27.29 | 13.8433 | 34.5667 | 7.17 | 886 | 72.47 | 56.5653
2019-03-22 03:15:00 | 6.9567 | 116.2633 | 7.9967 | 127.76 | 12.3367 | 19.4167 | 12.55 | 28.2667 | 7.06 | 886 | 72.8133 | 56.0733
2019-03-22 03:30:00 | 7.67 | 165.8033 | 8.8233 | 182.2 | 13.6033 | 19.43 | 13.53 | 23 | 7.0133 | 886 | 72.74 | 56.4607
2019-03-22 03:45:00 | 7.99 | 124.3133 | 9.1933 | 136.6067 | 13.8767 | 22.9367 | 13.6867 | 25.8767 | 6.9367 | 886 | 72.4733 | 57.0107
2019-03-22 04:00:00 | 8.13 | 127.4 | 9.3533 | 139.9933 | 14.1233 | 19.5833 | 14.1333 | 23.5233 | 6.8833 | 886 | 72.4253 | 56.726
2019-03-22 04:15:00 | 8.72 | 262.3 | 10.0433 | 288.2333 | 15.24 | 30.4133 | 15.2367 | 27.8167 | 6.8533 | 886 | 71.6867 | 58.2567
2019-03-22 04:30:00 | 8.5333 | 284.0733 | 9.8233 | 312.1667 | 15.2 | 24.92 | 15.47 | 29.9033 | 6.8067 | 886 | 71.14 | 57.8693
2019-03-22 04:45:00 | 8.78 | 309.2233 | 10.0967 | 339.8 | 15.9167 | 14.28 | 16.0333 | 21.1267 | 6.73 | 886 | 71.1767 | 57.0413
2019-03-22 05:00:00 | 8.46 | 289.6967 | 9.73 | 318.3333 | 15.1567 | 9.5 | 15.2867 | 24.2867 | 6.7033 | 886 | 70.7967 | 56.6067
2019-03-22 05:15:00 | 8.05 | 310.5267 | 9.2533 | 341.2333 | 14.5033 | 18.8633 | 14.7967 | 23.6367 | 6.65 | 886 | 70.8313 | 55.1607
2019-03-22 05:30:00 | 7.5033 | 129.4267 | 8.6333 | 142.22 | 13.8167 | 21.5367 | 14.15 | 28.0167 | 6.6007 | 886 | 70.6567 | 54.796
2019-03-22 05:45:00 | 7.16 | 107.6567 | 8.24 | 118.2993 | 13.062 | 16.5767 | 13.066 | 24.574 | 6.5713 | 886 | 70.2747 | 55.2347
2019-03-22 06:00:00 | 7.26 | 272.7267 | 8.35 | 299.7 | 13.4133 | 10.8067 | 13.38 | 21.8533 | 6.5367 | 886 | 70.51 | 57.6413
2019-03-22 06:15:00 | 7.2133 | 102.44 | 8.3 | 112.5667 | 13.3533 | 13.6967 | 13.4467 | 25.2167 | 6.4633 | 886 | 71.14 | 56.4393
2019-03-22 06:30:00 | 6.9667 | 94.8733 | 8.0133 | 104.2467 | 12.7133 | 13.4233 | 12.78 | 25.0367 | 6.4167 | 886 | 71.52 | 56.582
2019-03-22 06:45:00 | 7.0267 | 276.62 | 8.08 | 303.9667 | 12.9067 | 16.01 | 12.8 | 20.4833 | 6.3567 | 886 | 71.548 | 57.4727
2019-03-22 07:00:00 | 7.4267 | 205.5133 | 8.5467 | 225.8333 | 13.6333 | 3.87 | 13.5267 | 11.13 | 6.3347 | 886 | 71.4333 | 57.5747
2019-03-22 07:15:00 | 7.64 | 219.4 | 8.7867 | 241.1 | 13.9867 | 11.66 | 13.9533 | 18.13 | 6.29 | 886 | 71.5247 | 57.35
2019-03-22 07:30:00 | 7.6533 | 311.44 | 8.8133 | 342.2333 | 13.8267 | 10.04 | 13.6933 | 21.53 | 6.2367 | 886 | 72.0833 | 56.7147
2019-03-22 07:45:00 | 7.9667 | 28.2667 | 9.17 | 31.06 | 13.31 | 11.0533 | 12.6133 | 10.76 | 6.26 | 886.1333 | 71.7967 | 56.1593
2019-03-22 08:00:00 | 7.6067 | 1.12 | 8.7567 | 1.2267 | 12.91 | 23.0333 | 12.1733 | 15.4467 | 6.2847 | 887 | 71.71 | 56.0133
2019-03-22 08:15:00 | 7.7067 | 104.6467 | 8.8633 | 114.9933 | 13.4367 | 16.9367 | 13.07 | 20.3167 | 6.31 | 887 | 71.6233 | 55.966
2019-03-22 08:30:00 | 7.92 | 206.12 | 9.1167 | 226.5 | 13.7967 | 15.8833 | 13.5567 | 17.5767 | 6.29 | 887 | 71.77 | 56.836
2019-03-22 08:45:00 | 8.4067 | 240.46 | 9.67 | 264.2333 | 14.5567 | 4.5567 | 14.06 | 12.9233 | 6.3333 | 887 | 71.69 | 56.6353
2019-03-22 09:00:00 | 8.0067 | 34.9333 | 9.2233 | 38.3867 | 14.21 | 11.79 | 14.04 | 19.7633 | 6.3447 | 887 | 71.8373 | 56.7493
2019-03-22 09:15:00 | 7.6 | 20.66 | 8.7367 | 22.69 | 13.5667 | 6.7333 | 13.0567 | 18.46 | 6.378 | 887.8 | 72.1233 | 55.7007
2019-03-22 09:30:00 | 7.2933 | 203.12 | 8.3833 | 223.2033 | 13.1067 | 14.76 | 12.8233 | 10.9667 | 6.4533 | 888 | 72.0367 | 54.0107
2019-03-22 09:45:00 | 7.3433 | 102.73 | 8.45 | 112.8867 | 12.83 | 15.7367 | 12.4067 | 19.1233 | 6.5233 | 888 | 71.7767 | 54.4873
2019-03-22 10:00:00 | 7.5433 | 259.93 | 8.6767 | 285.6333 | 13.1633 | 8.1633 | 12.5933 | 18.9567 | 6.5967 | 888.4667 | 71.4673 | 55.9407
2019-03-22 10:15:00 | 7.5667 | 105.47 | 8.7067 | 115.8933 | 13.6333 | 13.47 | 13.5 | 20.4467 | 6.7133 | 889 | 71.3087 | 55.6173
2019-03-22 10:30:00 | 7.14 | 164.4767 | 8.2133 | 180.7333 | 12.8933 | 11.3967 | 12.7867 | 14.2 | 6.8733 | 889 | 70.9493 | 56.25
2019-03-22 10:45:00 | 7.4833 | 144.36 | 8.6067 | 158.6333 | 13.58 | 10.3433 | 13.3367 | 14.15 | 6.9433 | 889 | 70.4367 | 55.5393
2019-03-22 11:00:00 | 7.31 | 271.9467 | 8.4133 | 298.8333 | 13.24 | 14.8833 | 13.45 | 21.0767 | 7.1033 | 889 | 69.8767 | 55.088
2019-03-22 11:15:00 | 7.6567 | 298.69 | 8.8033 | 328.2333 | 13.4533 | 22.14 | 13.6827 | 29.6367 | 7.2733 | 889.1333 | 68.8667 | 55.7473
2019-03-22 11:30:00 | 7.9567 | 313.99 | 9.15 | 345.0333 | 13.9467 | 20.2267 | 13.9267 | 25.97 | 7.3667 | 890 | 67.58 | 56.5573
2019-03-22 11:45:00 | 7.7813 | 247.83 | 8.96 | 272.3333 | 14.0167 | 19.4633 | 13.8133 | 20.84 | 7.4533 | 890 | 66.9933 | 56.5
2019-03-22 12:00:00 | 7.5567 | 303.21 | 8.6933 | 333.2 | 13.4767 | 21.1367 | 13.32 | 26.56 | 7.5333 | 890 | 66.38 | 56.654
2019-03-22 12:15:00 | 7.5567 | 319.8733 | 8.69 | 351.5 | 13.5433 | 12.3867 | 13.4633 | 27.71 | 7.5387 | 890 | 65.7733 | 57.7127
2019-03-22 12:30:00 | 8.59 | 288.0267 | 9.8833 | 316.5 | 15.0833 | 27.6733 | 15.21 | 35.6233 | 7.51 | 890 | 64.6967 | 60.3733
2019-03-22 12:45:00 | 9.5467 | 212.1533 | 10.9833 | 233.1267 | 16.5933 | 23.3233 | 16.9233 | 31.66 | 7.4713 | 889.8667 | 62.7667 | 60.25
2019-03-22 13:00:00 | 9.68 | 220.7067 | 11.1367 | 242.5267 | 16.9 | 17.0367 | 17.0967 | 22.4 | 7.4847 | 889.4667 | 63.2467 | 59.6893
2019-03-22 13:15:00 | 9.8533 | 25 | 11.33 | 27.4667 | 17.1367 | 20.5533 | 17.4767 | 26.0033 | 7.41 | 889.2 | 63.906 | 60.4453
2019-03-22 13:30:00 | 9.3 | 210.92 | 10.6967 | 231.78 | 16.0433 | 16.5333 | 16.6767 | 24.5233 | 7.3433 | 889 | 64.3767 | 59.3173
2019-03-22 13:45:00 | 8.3733 | 305.04 | 9.6333 | 335.2 | 14.25 | 26.82 | 15.25 | 31.7367 | 7.2167 | 889.1333 | 64.05 | 58.784
2019-03-22 14:00:00 | 8.9793 | 168.708 | 10.334 | 185.3853 | 15.214 | 30.016 | 16.104 | 40.624 | 7.224 | 890 | 63.426 | 58.4047
2019-03-22 14:15:00 | 9.2167 | 23.4333 | 10.61 | 25.7467 | 15.3833 | 27.49 | 15.7867 | 31.2533 | 7.31 | 889.2 | 61.6633 | 56.7467
2019-03-22 14:30:00 | 9.07 | 21.3533 | 10.43 | 23.4667 | 15.13 | 22.3167 | 15.0933 | 42.9067 | 7.4367 | 889 | 59.75 | 55.7993
2019-03-22 14:45:00 | 8.5933 | 128.3867 | 9.89 | 141.08 | 14.35 | 30.2567 | 14.5933 | 33.78 | 7.6133 | 889 | 57.3167 | 54.762
2019-03-22 15:00:00 | 8.0133 | 308.7333 | 9.23 | 339.2667 | 13.57 | 31.2633 | 14.16 | 38.2067 | 7.8 | 889 | 56.0233 | 54.292
2019-03-22 15:15:00 | 7.5733 | 107.4 | 8.7067 | 118.0133 | 13.0767 | 26.36 | 13.5833 | 39.7 | 8.1333 | 888.8667 | 53.0567 | 54.0413
2019-03-22 15:30:00 | 7.72 | 311.582 | 8.88 | 342.4 | 13.146 | 19.408 | 13.462 | 43.064 | 8.386 | 888 | 50.23 | 52.5153
2019-03-22 15:45:00 | 7.2067 | 215.2267 | 8.29 | 236.5167 | 12.1833 | 13.15 | 12.4467 | 31.5367 | 8.61 | 888 | 46.26 | 48.2833
2019-03-22 16:00:00 | 6.7733 | 218.9867 | 7.79 | 240.65 | 11.71 | 16.99 | 11.92 | 24.2233 | 8.6653 | 888 | 45.7933 | 45.4767
2019-03-22 16:15:00 | 6.26 | 184.1967 | 7.21 | 202.4 | 11.3667 | 12.34 | 11.3967 | 31.3133 | 8.642 | 888 | 46.3533 | 44.89
2019-03-22 16:30:00 | 6.3533 | 316.39 | 7.31 | 347.6667 | 11.3533 | 16.9267 | 11.7033 | 26.8867 | 8.6667 | 888 | 45.7467 | 38.958
2019-03-22 16:45:00 | 5.93 | 230.8167 | 6.83 | 253.6433 | 10.53 | 23.4933 | 11.0033 | 24.61 | 8.82 | 888.8 | 43.4767 | 34.1513
2019-03-22 17:00:00 | 5.4233 | 240.2233 | 6.25 | 263.9767 | 9.4833 | 17.66 | 9.65 | 34.37 | 8.8467 | 889 | 43.8367 | 29.8667
2019-03-22 17:15:00 | 4.4267 | 307.1633 | 5.1 | 337.5333 | 8.0467 | 29.3533 | 7.88 | 25.5333 | 8.9667 | 889 | 42.5667 | 15.464
2019-03-22 17:30:00 | 3.1067 | 318.33 | 3.5733 | 349.8 | 5.7 | 12.0467 | 5.1533 | 16.02 | 9.02 | 889 | 43.2733 | 12.368
2019-03-22 17:45:00 | 2.82 | 13.46 | 3.2467 | 14.79 | 4.66 | 235.5867 | 4.34 | 9.8367 | 9.0533 | 889 | 42.8833 | 9.8913
2019-03-22 18:00:00 | 2.7933 | 117.18 | 3.2133 | 128.7633 | 4.66 | 24.7667 | 4.4333 | 30.47 | 9.0467 | 889 | 43.17 | 11.08
2019-03-22 18:15:00 | 2.684 | 201.4207 | 3.092 | 221.3333 | 4.8347 | 32.5767 | 3.7513 | 49.448 | 9.0653 | 889.1333 | 43.348 | 9.9773
2019-03-22 18:30:00 | 2.42 | 29.8967 | 2.7867 | 32.8467 | 4.7533 | 33.07 | 4.13 | 41.1967 | 8.9867 | 890 | 44.4367 | 10.6513
2019-03-22 18:45:00 | 2.5867 | 311.6133 | 2.9733 | 342.4333 | 5.1267 | 19.7867 | 5.0733 | 24.41 | 8.6833 | 890 | 46.4767 | 11.5753
2019-03-22 19:00:00 | 2.76 | 307.706 | 3.1733 | 336.4333 | 5.4733 | 13 | 5.4467 | 21.4767 | 8.4633 | 890 | 47.57 | 11.9973
2019-03-22 19:15:00 | 2.7867 | 126.8067 | 3.22 | 139.34 | 5.2987 | 8.03 | 5.44 | 17.4967 | 8.3267 | 890 | 48.3467 | 11.8553
2019-03-22 19:30:00 | 2.92 | 131.8 | 3.3733 | 144.8333 | 5.5367 | 6.51 | 5.5667 | 19.59 | 8.4 | 890 | 48.02 | 9.0327
2019-03-22 19:45:00 | 2.9 | 324.78 | 3.3467 | 356.9 | 5.3067 | 13.5167 | 5.3067 | 20.8367 | 8.44 | 890 | 46.38 | 5.5133
2019-03-22 20:00:00 | 2.728 | 323.2 | 3.142 | 355.1667 | 5.08 | 19.3833 | 4.9667 | 24.13 | 8.4133 | 890.4667 | 46.322 | 6.0927
2019-03-22 20:15:00 | 2.5667 | 29.93 | 2.95 | 32.88 | 4.61 | 7.34 | 4.67 | 21.2233 | 8.49 | 891 | 45.2133 | 9.9033
2019-03-22 20:30:00 | 2.9667 | 29.29 | 3.41 | 32.1867 | 5.5033 | 8.7867 | 5.4567 | 16.1633 | 8.43 | 891 | 45.8 | 16.6747
2019-03-22 20:45:00 | 3.83 | 213.8633 | 4.4033 | 235.0033 | 7.3133 | 16.53 | 7.6533 | 25.92 | 8.34 | 891 | 46.6833 | 24.6887
2019-03-22 21:00:00 | 3.85 | 161.93 | 4.43 | 177.9367 | 7.3733 | 16.8233 | 8.0133 | 29.68 | 8.3 | 891 | 46.8167 | 27.36
2019-03-22 21:15:00 | 3.95 | 300.1833 | 4.5433 | 329.8667 | 7.586 | 22.2333 | 8.4767 | 33.8967 | 8.18 | 891 | 47.4767 | 32.4547
2019-03-22 21:30:00 | 3.95 | 309.7633 | 4.5433 | 340.4 | 7.69 | 20.08 | 8.4433 | 21.4267 | 8.0333 | 891.4667 | 48.6167 | 33.8733
2019-03-22 21:45:00 | 4.4227 | 234.408 | 5.1013 | 257.5933 | 8.5853 | 7.736 | 9.026 | 20.0307 | 7.998 | 892 | 49.2107 | 38.044
2019-03-22 22:00:00 | 5.0133 | 91.3133 | 5.77 | 100.34 | 9.4633 | 6.0133 | 9.73 | 18.6567 | 7.93 | 892 | 49.982 | 37.978
2019-03-22 22:15:00 | 5.28 | 201.1 | 6.0733 | 220.9933 | 9.81 | 11.93 | 9.98 | 30.2167 | 7.9733 | 892 | 50.0947 | 27.43
2019-03-22 22:30:00 | 4.5733 | 165.3067 | 5.26 | 181.66 | 8.5567 | 18.5433 | 8.7067 | 25.3367 | 7.98 | 892 | 49.6933 | 22.0387
2019-03-22 22:45:00 | 4.0733 | 218.3533 | 4.6867 | 239.9333 | 7.6533 | 15.4833 | 7.5533 | 20.6033 | 8.0533 | 892.1333 | 49.3933 | 20.4913
2019-03-22 23:00:00 | 4.2067 | 20.9 | 4.8467 | 22.96 | 7.7867 | 17.3433 | 7.6267 | 24.5767 | 7.9133 | 893 | 50.68 | 25.7173
2019-03-22 23:15:00 | 4.3533 | 191.8533 | 5.0133 | 210.8267 | 8.3533 | 14.9433 | 8.7267 | 21.8967 | 7.7833 | 892.8667 | 51.7 | 32.474
2019-03-22 23:30:00 | 4.5933 | 165.8267 | 5.2867 | 182.2267 | 8.8 | 20.7167 | 9.0467 | 23.7767 | 7.6633 | 892 | 52.6133 | 30.1633
2019-03-22 23:45:00 | 4.3167 | 240.0967 | 4.9733 | 263.8333 | 8.1633 | 15.9833 | 8.7933 | 23.02 | 7.6493 | 892 | 52.548 | 31.9707