## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-23 00:00:00 | 4.4143 | 235.2893 | 5.0771 | 258.5571 | 8.315 | 11.8371 | 8.6821 | 26.0693 | 7.6279 | 892 | 52.9393 | 35.7207
2019-03-23 00:15:00 | 4.9667 | 139.8933 | 5.7133 | 153.7333 | 9.3467 | 13.8567 | 9.4567 | 15.8567 | 7.48 | 892 | 54.0567 | 35.8767
2019-03-23 00:30:00 | 4.7267 | 219.6733 | 5.4467 | 241.4 | 9.0733 | 13.89 | 9.29 | 17.8833 | 7.3133 | 892 | 55.1167 | 33.0413
2019-03-23 00:45:00 | 4.6467 | 232.72 | 5.3433 | 255.7333 | 8.8 | 6.8667 | 9.04 | 22.0567 | 7.2087 | 892.1333 | 55.7647 | 29.0073
2019-03-23 01:00:00 | 4.53 | 291.532 | 5.208 | 319.6 | 7.78 | 16.5467 | 7.5867 | 238.53 | 7.2047 | 893 | 55.7347 | 25.928
2019-03-23 01:15:00 | 4 | 104.4033 | 4.6 | 114.72 | 6.6 | 16.0067 | 6.5367 | 21.68 | 7.1887 | 893 | 55.8187 | 27.8147
2019-03-23 01:30:00 | 3.9733 | 132.0367 | 4.5733 | 145.0867 | 6.7733 | 5.2733 | 6.71 | 20.9533 | 7.14 | 893 | 56.04 | 29.9847
2019-03-23 01:45:00 | 3.86 | 219.1033 | 4.44 | 240.7733 | 6.3167 | 332.7667 | 6.0533 | 244.2933 | 7.0767 | 893 | 56.3093 | 30.0587
2019-03-23 02:00:00 | 3.5733 | 218.07 | 4.1133 | 239.64 | 6.1233 | 338.8333 | 6.2333 | 9.8933 | 7.0167 | 893 | 56.88 | 29.06
2019-03-23 02:15:00 | 3.37 | 208.95 | 3.8767 | 229.6067 | 5.77 | 223.58 | 5.5333 | 229.7367 | 6.86 | 893 | 58.0633 | 28.44
2019-03-23 02:30:00 | 3.5567 | 10.67 | 4.09 | 11.72 | 5.69 | 0.88 | 5.68 | 240.7367 | 6.82 | 893 | 58.7433 | 30.5
2019-03-23 02:45:00 | 4.12 | 80.7467 | 4.7433 | 88.7333 | 6.7067 | 237.2 | 6.27 | 4.1633 | 6.8267 | 893 | 59.3167 | 27.8427
2019-03-23 03:00:00 | 4.2667 | 259.3267 | 4.9033 | 284.9667 | 7.52 | 5.4467 | 7.21 | 11.51 | 6.7533 | 893 | 60.2833 | 28.912
2019-03-23 03:15:00 | 3.8067 | 62.1467 | 4.3867 | 68.2933 | 6.8767 | 229.9933 | 6.8633 | 26.2567 | 6.7233 | 893 | 60.7067 | 30.0567
2019-03-23 03:30:00 | 4.3667 | 168.2533 | 5.02 | 184.8933 | 7.13 | 240.5267 | 7.2567 | 19.6433 | 6.6167 | 893 | 61.76 | 27.5447
2019-03-23 03:45:00 | 4.4133 | 46.87 | 5.0733 | 51.5033 | 6.7567 | 125.3533 | 6.7667 | 18.5767 | 6.62 | 893 | 61.722 | 25.9927
2019-03-23 04:00:00 | 3.92 | 206.1767 | 4.5067 | 226.57 | 6.6233 | 349.2667 | 6.54 | 10.0033 | 6.4933 | 893 | 62.66 | 24.9813
2019-03-23 04:15:00 | 3.8167 | 216.57 | 4.39 | 237.9833 | 6.6467 | 121.8333 | 6.29 | 1.98 | 6.2567 | 892.2 | 63.9233 | 18.764
2019-03-23 04:30:00 | 3.7167 | 193.33 | 4.2767 | 212.45 | 6.6933 | 354.9933 | 6.2167 | 4.18 | 6.1967 | 892 | 64.49 | 16.95
2019-03-23 04:45:00 | 3.9133 | 218.7567 | 4.5033 | 240.39 | 6.8953 | 110.65 | 6.3433 | 4.54 | 6.13 | 892 | 64.47 | 22.8407
2019-03-23 05:00:00 | 4.1733 | 34.3633 | 4.8033 | 37.75 | 6.9333 | 237.9833 | 6.7033 | 9.5333 | 6.1967 | 892 | 64.0433 | 25.262
2019-03-23 05:15:00 | 4.63 | 19.5933 | 5.3233 | 21.53 | 6.67 | 235.2633 | 6.5433 | 17.8467 | 6.17 | 892 | 64.91 | 24.8573
2019-03-23 05:30:00 | 4.99 | 225.8533 | 5.7433 | 248.1767 | 6.7433 | 240.9967 | 6.7433 | 16.3267 | 6.0767 | 892 | 65.4567 | 24.2273
2019-03-23 05:45:00 | 4.56 | 68.5633 | 5.25 | 75.3333 | 8.0367 | 240.43 | 7.57 | 13.96 | 5.92 | 892.8 | 66.0833 | 30.8713
2019-03-23 06:00:00 | 4.5667 | 67.9967 | 5.25 | 74.7133 | 8.19 | 236.43 | 8.21 | 11.0733 | 5.8533 | 893 | 65.89 | 33.712
2019-03-23 06:15:00 | 5.2633 | 131.0467 | 6.0533 | 144.0067 | 8.3 | 17.52 | 8.5467 | 19.3467 | 5.9733 | 893 | 65.7947 | 34.374
2019-03-23 06:30:00 | 5.17 | 106.1933 | 5.96 | 116.6867 | 8.2467 | 12.5733 | 8.5867 | 14.6933 | 5.8467 | 893 | 66.83 | 29.476
2019-03-23 06:45:00 | 4.8867 | 8.0567 | 5.6233 | 8.85 | 7.6933 | 344.7667 | 7.7367 | 13.73 | 5.6933 | 893 | 67.2533 | 31.3373
2019-03-23 07:00:00 | 4.96 | 182.7367 | 5.7033 | 200.81 | 8.06 | 338.1667 | 7.7567 | 239.5233 | 5.4667 | 892.5333 | 68.2233 | 35.2073
2019-03-23 07:15:00 | 5.1367 | 12.7 | 5.9067 | 13.95 | 8.52 | 226.7267 | 8.14 | 124.8 | 5.2633 | 892.8 | 69.2567 | 33.1573
2019-03-23 07:30:00 | 4.8967 | 219.54 | 5.6267 | 241.2433 | 8.0867 | 1.5067 | 7.8267 | 120.4067 | 5.3233 | 893 | 69.25 | 28.4593
2019-03-23 07:45:00 | 4.5467 | 20.9633 | 5.2267 | 23.03 | 6.8167 | 349.9667 | 6.7367 | 3.76 | 5.49 | 893 | 68.7433 | 18.5193
2019-03-23 08:00:00 | 3.9507 | 190.7343 | 4.5457 | 209.5964 | 5.8207 | 348.9786 | 5.7293 | 16.3057 | 5.5679 | 893 | 68.7014 | 9.9033
2019-03-23 08:15:00 | 3.46 | 310.86 | 3.99 | 341.6 | 5.7067 | 13.49 | 6.1333 | 18.8633 | 5.86 | 893.8 | 67.994 | 8.654
2019-03-23 08:30:00 | 3.364 | 195.352 | 3.878 | 214.668 | 5.744 | 14.142 | 5.916 | 18.178 | 6.208 | 894 | 66.738 | 7.024
2019-03-23 08:45:00 | 2.7267 | 291.18 | 3.1467 | 319.9667 | 5 | 10.2767 | 5.1567 | 21.1967 | 6.9167 | 894.8 | 64.46 | 3.9587
2019-03-23 09:00:00 | 2.6867 | 321.4467 | 3.0933 | 353.2333 | 4.26 | 6.0167 | 4.3767 | 17.8767 | 7.2233 | 895 | 62.9133 | 2.0727
2019-03-23 09:15:00 | 2.2567 | 324.858 | 2.5967 | 356.9867 | 3.1533 | 13.36 | 3.4133 | 20.64 | 7.46 | 895.1333 | 61.4967 | 0.568
2019-03-23 09:30:00 | 2.7567 | 119.46 | 3.17 | 131.2667 | 3.3333 | 2.8867 | 3.7067 | 14.3333 | 7.8733 | 896 | 59.07 | 0
2019-03-23 09:45:00 | 2.62 | 293.33 | 3.01 | 322.3333 | 2.96 | 352.7667 | 2.8667 | 257.2667 | 8.33 | 896 | 57.4267 | 0
2019-03-23 10:00:00 | 2.2133 | 310.43 | 2.5433 | 341.1333 | 2.3733 | 121.6533 | 2.4933 | 257.5333 | 8.4633 | 896 | 57.7307 | 0
2019-03-23 10:15:00 | 1.7707 | 227.2573 | 2.042 | 229.2967 | 1.9267 | 338.7667 | 1.83 | 334.5 | 9.06 | 896.8 | 55.3533 | 0
2019-03-23 10:30:00 | 0.93333 | 222.19 | 1.0867 | 244.1633 | 1.16 | 122.16 | 1.0767 | 156.8267 | 9.3333 | 897 | 54.5467 | 0
2019-03-23 10:45:00 | 1.6333 | 165.3733 | 1.8767 | 181.7333 | 1.9533 | 174.6667 | 1.93 | 148.4667 | 10.57 | 897 | 51.88 | 0
2019-03-23 11:00:00 | 1.9533 | 159.98 | 2.2433 | 175.8 | 2.24 | 180.2667 | 2.1367 | 147.2 | 10.95 | 897 | 49.5533 | 0
2019-03-23 11:15:00 | 2.5333 | 161.2567 | 2.91 | 177.2 | 2.8867 | 188.4333 | 2.6367 | 159.4333 | 11.3467 | 897 | 48.3867 | 0
2019-03-23 11:30:00 | 2.8067 | 150.4567 | 3.2233 | 165.3333 | 3.28 | 207.3 | 3.0767 | 183.6333 | 11.66 | 897 | 46.8067 | 0
2019-03-23 11:45:00 | 2.9667 | 150.8467 | 3.4133 | 165.7667 | 3.46 | 182.4667 | 3.2867 | 186.0333 | 12.02 | 897 | 44.6 | 0
2019-03-23 12:00:00 | 3.6467 | 154.92 | 4.2067 | 170.2333 | 4.14 | 151.0667 | 4.0933 | 147.9667 | 11.86 | 897 | 44.72 | 0.33933
2019-03-23 12:15:00 | 3.5267 | 163.02 | 4.0633 | 179.1333 | 3.9667 | 144.6667 | 4.1633 | 160.4333 | 12.6967 | 896.8667 | 40.8567 | 1.376
2019-03-23 12:30:00 | 3.1067 | 152.82 | 3.5767 | 167.9333 | 3.52 | 187.0667 | 3.6233 | 172.8333 | 12.91 | 896 | 38.59 | 2.4507
2019-03-23 12:45:00 | 3.244 | 164.4007 | 3.7307 | 180.6533 | 3.7967 | 198.62 | 4.1887 | 198.12 | 13.2007 | 896 | 35.9313 | 4.108
2019-03-23 13:00:00 | 3.8467 | 144.5167 | 4.4267 | 158.8 | 4.41 | 197.1 | 4.6567 | 198.3333 | 13.2767 | 896 | 34.942 | 3.8433
2019-03-23 13:15:00 | 3.7867 | 161.04 | 4.3567 | 176.9667 | 4.43 | 208.1 | 4.02 | 234.4333 | 13.5067 | 895.2 | 34.7433 | 3.8807
2019-03-23 13:30:00 | 3.0533 | 182.16 | 3.5167 | 200.1667 | 3.7767 | 180.2333 | 3.8133 | 180.1 | 13.72 | 895 | 35.1867 | 5.0207
2019-03-23 13:45:00 | 4.3933 | 148.0267 | 5.0533 | 162.6667 | 5.13 | 188.6 | 5.28 | 186.4333 | 13.83 | 895 | 34.4867 | 4.3847
2019-03-23 14:00:00 | 3.8133 | 141.0467 | 4.3933 | 155 | 4.57 | 179.2667 | 4.8267 | 196.9667 | 13.4853 | 895 | 34.9933 | 2.97
2019-03-23 14:15:00 | 3.6067 | 158.4667 | 4.1567 | 174.1333 | 4.1533 | 138.3 | 4.6267 | 178.8667 | 13.84 | 894.2 | 34.0467 | 5.9987
2019-03-23 14:30:00 | 3.4067 | 149.7267 | 3.9167 | 164.5333 | 4.1933 | 209.2333 | 4.5933 | 201 | 14.2933 | 894 | 33.44 | 6.4133
2019-03-23 14:45:00 | 3.4333 | 153.9733 | 3.9467 | 169.2 | 3.9567 | 180 | 4.1467 | 197.7667 | 14.4567 | 894 | 34.0667 | 10.7687
2019-03-23 15:00:00 | 3.4987 | 152.2667 | 4.0213 | 167.32 | 4.1767 | 186.84 | 4.248 | 186.4467 | 14.2593 | 894 | 33.6453 | 9.6407
2019-03-23 15:15:00 | 3.7833 | 199.8633 | 4.3567 | 219.6333 | 4.4333 | 199.1 | 4.82 | 239.0667 | 13.9533 | 893.2 | 35.1633 | 17.7753
2019-03-23 15:30:00 | 4.2567 | 172.03 | 4.8967 | 189.0333 | 5.2 | 225.1667 | 5.56 | 233.3333 | 13.92 | 893 | 36.2967 | 13.3
2019-03-23 15:45:00 | 3.68 | 151.5467 | 4.2367 | 166.5333 | 5.0533 | 231.6333 | 5.62 | 246.1667 | 14.0273 | 893 | 36.1573 | 23.154
2019-03-23 16:00:00 | 4.78 | 166.2867 | 5.5033 | 182.7333 | 6.36 | 213.9 | 6.8733 | 230.1 | 13.75 | 893 | 38.3 | 21.904
2019-03-23 16:15:00 | 4.212 | 178.238 | 4.844 | 195.86 | 5.564 | 229.46 | 5.732 | 236.1 | 13.768 | 892.2 | 40.3167 | 20.0673
2019-03-23 16:30:00 | 4.9067 | 124.1567 | 5.64 | 136.4333 | 5.8533 | 165.2333 | 6.0067 | 171.5 | 13.4133 | 892 | 40.62 | 19.002
2019-03-23 16:45:00 | 4.9473 | 110.5007 | 5.6953 | 121.4267 | 5.8953 | 170.0333 | 5.9787 | 198.72 | 12.9733 | 892 | 41.7993 | 20.81
2019-03-23 17:00:00 | 4.78 | 124.2867 | 5.4967 | 136.5667 | 5.7733 | 153.2667 | 5.69 | 180.5333 | 12.7167 | 892 | 42.2133 | 21.1507
2019-03-23 17:15:00 | 4.4567 | 144.8733 | 5.1233 | 159.2 | 5.35 | 175.6333 | 5.61 | 185.6333 | 12.19 | 892 | 42.9333 | 21.0113
2019-03-23 17:30:00 | 4.1233 | 145.48 | 4.7433 | 159.8667 | 4.8367 | 182.9667 | 5.2967 | 178.3667 | 12.0233 | 891.5333 | 42.58 | 19.1633
2019-03-23 17:45:00 | 3.3433 | 158.34 | 3.8467 | 174 | 4.26 | 179.9667 | 4.2067 | 203.6 | 11.8467 | 891 | 42.92 | 17.4007
2019-03-23 18:00:00 | 3.51 | 175.3933 | 4.0333 | 192.7333 | 4.6467 | 230.9133 | 4.4067 | 228.6 | 11.6667 | 891 | 42.9533 | 19.3573
2019-03-23 18:15:00 | 4.0733 | 181.5167 | 4.6933 | 199.4667 | 5.2433 | 210.3667 | 5.81 | 220.3467 | 11.3333 | 891 | 43.5173 | 19.09
2019-03-23 18:30:00 | 4.6533 | 169.2633 | 5.36 | 186 | 5.9433 | 222.6333 | 6.2233 | 218.3 | 11.1533 | 891 | 43.72 | 20.8767
2019-03-23 18:45:00 | 4.4913 | 172.6527 | 5.17 | 190.5667 | 5.8333 | 225 | 5.7267 | 224.2667 | 10.9867 | 891 | 45.2867 | 22.1247
2019-03-23 19:00:00 | 4.5933 | 187.7367 | 5.2867 | 206.3 | 5.9 | 222.6 | 5.92 | 211.8667 | 10.7533 | 891 | 47.72 | 21.2313
2019-03-23 19:15:00 | 4.5027 | 174.8313 | 5.1853 | 192.12 | 5.5353 | 213.4 | 5.778 | 223.3867 | 10.5787 | 891 | 49.17 | 21.0093
2019-03-23 19:30:00 | 4.54 | 178.43 | 5.2333 | 196.0667 | 5.7933 | 215.9333 | 6.2967 | 218 | 10.4467 | 891 | 49.6967 | 23.9487
2019-03-23 19:45:00 | 4.28 | 170.3267 | 4.9347 | 187.8667 | 5.44 | 211.4 | 5.6033 | 219.1333 | 10.3033 | 891 | 50.19 | 24.1033
2019-03-23 20:00:00 | 4.38 | 159.1367 | 5.05 | 174.8667 | 5.6933 | 218.6 | 6.23 | 219.0667 | 10.15 | 891 | 50.93 | 18.5713
2019-03-23 20:15:00 | 3.7133 | 171.81 | 4.2667 | 188.8 | 4.6733 | 213.6667 | 4.9633 | 210.9 | 9.9833 | 891 | 51.1467 | 13.536
2019-03-23 20:30:00 | 3.3533 | 163.6833 | 3.8533 | 179.8667 | 4.2667 | 209.6667 | 4.6233 | 215.1133 | 9.93 | 891 | 50.8467 | 12.93
2019-03-23 20:45:00 | 3.6133 | 163.3213 | 4.16 | 180.2667 | 4.8933 | 204.7 | 5.1933 | 226.4333 | 9.7633 | 891 | 51.6013 | 15.7607
2019-03-23 21:00:00 | 3.6533 | 167.81 | 4.2067 | 184.4 | 4.7733 | 214.1667 | 5.08 | 228.9667 | 9.7367 | 891 | 51.9033 | 16.2353
2019-03-23 21:15:00 | 3.6867 | 179.4833 | 4.24 | 197.2333 | 4.7533 | 212.1333 | 5.2067 | 224.0667 | 9.7 | 891 | 52.0073 | 16.544
2019-03-23 21:30:00 | 4.18 | 179.3633 | 4.82 | 197.1 | 5.2133 | 212.4667 | 5.5533 | 219.2467 | 9.6 | 891.4667 | 52.2267 | 16.8627
2019-03-23 21:45:00 | 3.32 | 167.3567 | 3.82 | 183.9 | 4.0167 | 218.5667 | 4.2267 | 196.6333 | 9.4433 | 892 | 53.1867 | 15.646
2019-03-23 22:00:00 | 3.5533 | 173.61 | 4.0933 | 190.7667 | 4.27 | 199.4333 | 4.54 | 196.6333 | 9.3433 | 892 | 53.86 | 18.068
2019-03-23 22:15:00 | 3.532 | 160.884 | 4.0613 | 176.7933 | 4.234 | 176.5467 | 4.484 | 205.06 | 9.3107 | 892 | 53.7747 | 16.996
2019-03-23 22:30:00 | 3.532 | 156.24 | 4.062 | 171.68 | 4.216 | 168.58 | 4.686 | 175.7 | 9.164 | 892 | 54.316 | 17.64
2019-03-23 22:45:00 | 3.4467 | 163.5033 | 3.9667 | 179.6667 | 4.1167 | 193.1 | 4.58 | 185.8667 | 8.9987 | 892 | 55.5533 | 13.8727
2019-03-23 23:00:00 | 3.126 | 158.092 | 3.594 | 173.72 | 3.788 | 192 | 4.204 | 179.84 | 8.912 | 892 | 56.412 | 14.132
2019-03-23 23:15:00 | 3.5933 | 159.02 | 4.1333 | 174.7333 | 4.32 | 192.2 | 4.4667 | 180.7 | 8.7367 | 891.2 | 57.8867 | 15.448
2019-03-23 23:30:00 | 3.6467 | 153.0667 | 4.1933 | 168.2 | 4.4533 | 176.1333 | 4.8467 | 194.1 | 8.7653 | 891 | 57.5333 | 16.5807
2019-03-23 23:45:00 | 4.1667 | 166.6833 | 4.7933 | 183.1667 | 4.9933 | 170.5667 | 5.4967 | 173.5333 | 8.692 | 891 | 57.9133 | 11.9453