## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-24 00:00:00 | 3.4514 | 148.4786 | 3.9786 | 163.1571 | 4.2679 | 175.9857 | 4.5557 | 170.6857 | 8.4993 | 891.2 | 59.785 | 13.46
2019-03-24 00:15:00 | 3.82 | 138.02 | 4.3933 | 151.6667 | 4.4 | 176.7667 | 4.6133 | 185.1333 | 8.25 | 892 | 62.6433 | 16.942
2019-03-24 00:30:00 | 3.98 | 166.7867 | 4.58 | 183.2667 | 4.8533 | 202.7667 | 5.0867 | 205.3333 | 8.0367 | 891.5333 | 64.1833 | 15.578
2019-03-24 00:45:00 | 4.12 | 146.3967 | 4.7367 | 160.8667 | 4.8533 | 195.2 | 5.28 | 189.9667 | 7.9367 | 891 | 64.37 | 13.188
2019-03-24 01:00:00 | 4.3933 | 159.5033 | 5.0567 | 175.2667 | 5.0933 | 189.6667 | 5.3867 | 178.9 | 7.7567 | 891 | 65.4167 | 15.5853
2019-03-24 01:15:00 | 4.21 | 153.62 | 4.8433 | 168.8 | 5.25 | 192.9 | 5.5167 | 195.5 | 7.54 | 891 | 66.82 | 17.8507
2019-03-24 01:30:00 | 3.6233 | 175.1533 | 4.17 | 192.4667 | 4.55 | 214.0333 | 4.7967 | 195.5667 | 7.44 | 891 | 67.36 | 16.6953
2019-03-24 01:45:00 | 3.4 | 171.7533 | 3.91 | 188.7333 | 4.21 | 209.9 | 4.1367 | 212.6667 | 7.2433 | 891 | 68.5433 | 15.0667
2019-03-24 02:00:00 | 4.0133 | 186.7333 | 4.6167 | 205.2 | 4.9367 | 225.9667 | 4.75 | 217.4667 | 7.2233 | 891 | 68.7967 | 11.3167
2019-03-24 02:15:00 | 3.3967 | 165.1667 | 3.9033 | 181.5 | 4.11 | 216.04 | 4.0667 | 209.8533 | 7.08 | 891 | 69.6367 | 9.65
2019-03-24 02:30:00 | 3.0167 | 157.1 | 3.47 | 172.6333 | 3.4967 | 183.7333 | 3.5133 | 189.7667 | 6.9733 | 891 | 70.37 | 7.9813
2019-03-24 02:45:00 | 2.7333 | 162.9567 | 3.14 | 179.0667 | 3.2367 | 175.7333 | 3.4167 | 185.6667 | 6.8167 | 890.2 | 71.2633 | 6.9853
2019-03-24 03:00:00 | 2.8667 | 157.8633 | 3.2933 | 173.4667 | 3.35 | 185.4667 | 3.5433 | 188.0667 | 6.65 | 890 | 72.23 | 8.6533
2019-03-24 03:15:00 | 3.0233 | 168.3467 | 3.48 | 185 | 3.61 | 195.3333 | 3.86 | 196.5 | 6.53 | 890 | 72.95 | 9.0567
2019-03-24 03:30:00 | 2.99 | 176.1133 | 3.44 | 193.5333 | 3.8367 | 206.1333 | 3.8667 | 206.9667 | 6.4167 | 890 | 74.1433 | 9.83
2019-03-24 03:45:00 | 3.2967 | 162.6433 | 3.79 | 178.7333 | 4.3767 | 212.46 | 4.4867 | 215.2 | 6.418 | 889.8667 | 75.7033 | 8.952
2019-03-24 04:00:00 | 3.432 | 166.114 | 3.944 | 182.54 | 4.506 | 210.28 | 4.534 | 214.76 | 6.396 | 889 | 75.8487 | 8.316
2019-03-24 04:15:00 | 3.36 | 175.85 | 3.8667 | 193.2333 | 4.5033 | 203.7667 | 4.9033 | 210.7333 | 6.3133 | 889 | 76.7133 | 7.4073
2019-03-24 04:30:00 | 3.34 | 184.2233 | 3.8467 | 202.4333 | 4.4433 | 204.0333 | 4.7033 | 207.4 | 6.3333 | 889 | 77.1967 | 6.1267
2019-03-24 04:45:00 | 2.92 | 190.1067 | 3.36 | 208.9 | 3.9633 | 218.4 | 4.1767 | 212.8333 | 6.3267 | 889 | 78.4967 | 5.6687
2019-03-24 05:00:00 | 2.84 | 180.82 | 3.2733 | 198.7 | 3.73 | 217.8 | 3.6967 | 226.8333 | 6.2953 | 889 | 79.93 | 5.158
2019-03-24 05:15:00 | 2.7 | 167.36 | 3.1067 | 183.9 | 3.41 | 220.0333 | 3.5133 | 212.6667 | 6.2567 | 888.2 | 80.5 | 4.9833
2019-03-24 05:30:00 | 2.8467 | 167.8933 | 3.2733 | 184.5 | 3.5233 | 210.9667 | 3.7267 | 207.1333 | 6.1967 | 888 | 80.3 | 4.3527
2019-03-24 05:45:00 | 2.4533 | 171.9033 | 2.83 | 188.9 | 3.0867 | 210.5 | 3.0067 | 208.4 | 6.0833 | 888 | 81.3667 | 3.5253
2019-03-24 06:00:00 | 2.6533 | 165.4167 | 3.0567 | 181.7667 | 3.3067 | 200.7667 | 3.34 | 212.5333 | 6.01 | 888 | 81.9 | 4.246
2019-03-24 06:15:00 | 3.1467 | 149.5133 | 3.6167 | 164.3 | 3.96 | 210.8 | 3.9887 | 212.6667 | 5.9567 | 888 | 83.7 | 5.2693
2019-03-24 06:30:00 | 2.88 | 168.0867 | 3.31 | 184.7 | 3.5667 | 208.6 | 3.6333 | 208 | 5.91 | 888 | 84.7667 | 4.9573
2019-03-24 06:45:00 | 3.04 | 179.4867 | 3.5 | 197.2333 | 3.9533 | 215.6 | 4.1333 | 221.1667 | 5.8953 | 888 | 84.98 | 6.3487
2019-03-24 07:00:00 | 3.236 | 178.688 | 3.732 | 198.3667 | 4.2333 | 217.8667 | 4.5133 | 221.2333 | 5.9047 | 888 | 85.2667 | 5.7707
2019-03-24 07:15:00 | 2.8733 | 177.7667 | 3.32 | 195.3333 | 3.8933 | 210.4 | 3.8267 | 221.0667 | 5.8533 | 888 | 85.42 | 3.9273
2019-03-24 07:30:00 | 2.532 | 170.438 | 2.916 | 188 | 3.4867 | 216.4667 | 3.5933 | 226.4667 | 5.8133 | 888 | 85.8667 | 4.2487
2019-03-24 07:45:00 | 2.58 | 141.5433 | 2.9667 | 155.5333 | 3.53 | 218.1333 | 3.6967 | 228.0333 | 5.6767 | 888 | 87.5667 | 3.7813
2019-03-24 08:00:00 | 2.1933 | 172.35 | 2.5267 | 190.0667 | 2.97 | 222.8933 | 3.17 | 217.3667 | 5.5833 | 888 | 89.3667 | 1.482
2019-03-24 08:15:00 | 1.37 | 188.5833 | 1.58 | 207.2333 | 2.0267 | 255.2 | 2.1733 | 250.2667 | 5.59 | 888.1333 | 90.2667 | 0.5
2019-03-24 08:30:00 | 1.57 | 192.5967 | 1.8067 | 211.6333 | 2.18 | 227.5333 | 2.2067 | 246.8667 | 5.53 | 889 | 91.2667 | 0.030667
2019-03-24 08:45:00 | 1.8467 | 168.1767 | 2.1333 | 184.8 | 2.5133 | 222.8667 | 2.6067 | 242.5 | 5.4633 | 889 | 93.1333 | 0
2019-03-24 09:00:00 | 1.9467 | 160.0433 | 2.24 | 175.8667 | 2.6933 | 223.0667 | 2.78 | 231.4867 | 5.4253 | 889 | 94.8667 | 0
2019-03-24 09:15:00 | 1.6973 | 170.154 | 1.9587 | 186.9733 | 2.3393 | 224.4733 | 2.624 | 229.7733 | 5.5053 | 889 | 96.0533 | 0
2019-03-24 09:30:00 | 1.2733 | 201.63 | 1.4733 | 221.5667 | 2.01 | 239.5 | 2.17 | 238.5333 | 5.5533 | 889 | 96.2467 | 0
2019-03-24 09:45:00 | 1.6867 | 188.1633 | 1.94 | 206.7667 | 2.6167 | 242.1667 | 2.5567 | 241.5 | 5.4567 | 889.8 | 96.22 | 0
2019-03-24 10:00:00 | 1.7667 | 170.7567 | 2.0333 | 187.6333 | 2.37 | 239.6333 | 2.4967 | 238.6333 | 5.49 | 890 | 96.0667 | 0.022667
2019-03-24 10:15:00 | 1.5533 | 179.7333 | 1.7833 | 197.5 | 2.01 | 222.4667 | 2.0133 | 214.1667 | 5.8333 | 890 | 94.9667 | 0.048
2019-03-24 10:30:00 | 1.7667 | 164.68 | 2.03 | 180.9667 | 2.0367 | 209.9333 | 2.1067 | 204.2333 | 6.1667 | 890 | 93.1 | 0
2019-03-24 10:45:00 | 2.0033 | 154.3133 | 2.31 | 169.5667 | 2.3033 | 218 | 2.51 | 223.2667 | 6.5367 | 890 | 91.1333 | 0
2019-03-24 11:00:00 | 2.19 | 172.14 | 2.5167 | 189.1667 | 2.6033 | 220.8667 | 2.6433 | 219.6 | 6.4633 | 890 | 91.1333 | 0
2019-03-24 11:15:00 | 2.3367 | 173.9967 | 2.6867 | 191.2 | 2.94 | 228.6333 | 3.1367 | 232.0333 | 6.42 | 890 | 90.6667 | 0
2019-03-24 11:30:00 | 2.5233 | 159.07 | 2.9067 | 174.8 | 3.0333 | 227.8333 | 2.95 | 243.6333 | 6.4667 | 890 | 89.6667 | 0
2019-03-24 11:45:00 | 2.2533 | 176.45 | 2.5933 | 193.9 | 2.8733 | 208.7333 | 2.8367 | 220.1 | 6.5567 | 889.8667 | 89.1667 | 0
2019-03-24 12:00:00 | 1.9467 | 177.9633 | 2.24 | 195.5667 | 2.48 | 208.7333 | 2.4767 | 217.6333 | 6.8033 | 889 | 88.6333 | 0
2019-03-24 12:15:00 | 1.6733 | 160.28 | 1.92 | 176.1333 | 2.1833 | 207.6333 | 2.45 | 208.7333 | 6.8967 | 889 | 88.3333 | 0
2019-03-24 12:30:00 | 1.6733 | 135.8333 | 1.92 | 149.2667 | 2.3833 | 186.7 | 2.41 | 192.3333 | 7.1967 | 889 | 87.1333 | 0
2019-03-24 12:45:00 | 2.97 | 134.7533 | 3.4133 | 148.0667 | 3.6933 | 167.8 | 3.66 | 168.1333 | 7.09 | 889 | 87.3667 | 0
2019-03-24 13:00:00 | 2.3567 | 144.3933 | 2.72 | 158.6667 | 2.9533 | 154.7333 | 3.0267 | 168.2667 | 7.0967 | 888.5333 | 87.2333 | 0
2019-03-24 13:15:00 | 2.15 | 144.67 | 2.4767 | 158.9667 | 2.49 | 179.1667 | 2.5633 | 181.2 | 7.41 | 888 | 85.5333 | 0
2019-03-24 13:30:00 | 1.89 | 200.4167 | 2.1833 | 220.2333 | 2.27 | 200.4333 | 2.4967 | 220.9333 | 7.5967 | 888 | 84.9333 | 0
2019-03-24 13:45:00 | 1.4967 | 173.2633 | 1.72 | 190.4 | 1.7667 | 176.4333 | 2.26 | 213.2667 | 7.9433 | 888 | 83.3 | 0
2019-03-24 14:00:00 | 2.35 | 171.39 | 2.7 | 188.3333 | 2.9267 | 193.9 | 3.0867 | 236 | 7.97 | 888 | 82.7667 | 0
2019-03-24 14:15:00 | 1.68 | 176.73 | 1.93 | 194.2 | 2.12 | 237.7333 | 2.4467 | 238.5 | 8.0467 | 887.8667 | 81.06 | 0
2019-03-24 14:30:00 | 1.7733 | 170.29 | 2.0367 | 187.1333 | 2.2333 | 217.7333 | 2.4533 | 237.7667 | 8.2133 | 887 | 80.1933 | 0
2019-03-24 14:45:00 | 2.1267 | 161.56 | 2.4533 | 177.5333 | 2.5133 | 152.5 | 2.7533 | 162.5667 | 8.35 | 887 | 80.3 | 0
2019-03-24 15:00:00 | 2.748 | 162.088 | 3.166 | 178.12 | 3.226 | 147.22 | 3.246 | 166.74 | 8.236 | 887 | 80.52 | 0
2019-03-24 15:15:00 | 2.9133 | 136.344 | 3.3507 | 149.8267 | 3.314 | 158.1133 | 3.0133 | 174.9067 | 8.1767 | 887 | 80.3733 | 0
2019-03-24 15:30:00 | 2.5733 | 151.6067 | 2.9633 | 166.6 | 3.0233 | 169.3 | 2.9 | 179.3 | 8.2833 | 887 | 79.38 | 0
2019-03-24 15:45:00 | 2.2467 | 154.7367 | 2.582 | 170.04 | 2.47 | 171.72 | 2.4107 | 167.2733 | 8.656 | 887.1333 | 78.2393 | 0
2019-03-24 16:00:00 | 2.3 | 151.9367 | 2.6433 | 166.9667 | 2.7 | 177.6333 | 2.5267 | 187.5667 | 9.08 | 888 | 75.4667 | 0
2019-03-24 16:15:00 | 1.88 | 140.7267 | 2.17 | 154.6333 | 2.1767 | 191.6667 | 2.32 | 201.5 | 9.1533 | 888 | 74.882 | 0
2019-03-24 16:30:00 | 2.72 | 132.2867 | 3.1367 | 145.3667 | 3.2167 | 162.2667 | 3.1733 | 180.3667 | 9.2067 | 887.5333 | 74.4033 | 0.66
2019-03-24 16:45:00 | 3.7867 | 143.5227 | 4.3607 | 155.9667 | 4.3333 | 171.7333 | 4.2333 | 175.7333 | 9.28 | 887 | 73.1767 | 3.314
2019-03-24 17:00:00 | 3.2567 | 151.4533 | 3.7467 | 166.4333 | 3.7933 | 165.6 | 3.9133 | 177.0667 | 9.1733 | 886.5333 | 73.4573 | 0.45733
2019-03-24 17:15:00 | 2.09 | 247.7967 | 2.402 | 265.4667 | 2.8367 | 229.1 | 3.0233 | 194.8 | 9.6 | 886.8 | 70.16 | 0
2019-03-24 17:30:00 | 2.6133 | 172.4233 | 3.0067 | 189.4667 | 3.27 | 223.3667 | 3.2767 | 227.9333 | 9.9133 | 887 | 69.88 | 1.2513
2019-03-24 17:45:00 | 2.7013 | 179.5527 | 3.108 | 197.3 | 3.406 | 222.5667 | 3.6367 | 227.4933 | 9.448 | 887.8 | 71.5227 | 2.8773
2019-03-24 18:00:00 | 2.9133 | 161.2267 | 3.36 | 177.1667 | 3.57 | 226.8 | 3.6933 | 227.4333 | 9.1633 | 888 | 72.7733 | 2.8813
2019-03-24 18:15:00 | 2.8333 | 181.2167 | 3.26 | 199.1333 | 3.6133 | 237.4533 | 3.3567 | 188.3 | 8.81 | 887.8667 | 75.15 | 1.8027
2019-03-24 18:30:00 | 2.62 | 161.8033 | 3.02 | 177.8 | 3.44 | 221.2 | 3.31 | 207.7 | 8.6033 | 887 | 75.5113 | 1.6793
2019-03-24 18:45:00 | 2.88 | 173.2133 | 3.3133 | 190.3333 | 3.6533 | 209 | 3.7 | 208.9333 | 8.4 | 887 | 77.39 | 3.65
2019-03-24 19:00:00 | 2.78 | 157.0667 | 3.2 | 172.6 | 3.5467 | 193.2667 | 3.74 | 201.2 | 8.2333 | 887 | 79.0767 | 5.284
2019-03-24 19:15:00 | 2.676 | 161.1933 | 3.0767 | 177.14 | 3.2147 | 199.1733 | 3.5633 | 182.16 | 8.18 | 887 | 79.534 | 8.004
2019-03-24 19:30:00 | 2.7067 | 166.23 | 3.1133 | 182.6667 | 3.37 | 198.7333 | 3.72 | 179.8333 | 8.18 | 887 | 79.8367 | 3.426
2019-03-24 19:45:00 | 2.2967 | 163.65 | 2.64 | 179.8333 | 2.8767 | 191.8333 | 3.1467 | 194.9 | 8.138 | 887 | 80.8 | 2.1447
2019-03-24 20:00:00 | 2.2033 | 167.47 | 2.54 | 184.0333 | 2.7433 | 202.1667 | 2.9733 | 198.0333 | 7.9133 | 887 | 82.1333 | 2.35
2019-03-24 20:15:00 | 2.5733 | 163.95 | 2.9667 | 180.1667 | 3.22 | 196.8 | 3.4467 | 196.5667 | 7.6967 | 887.8 | 83.3333 | 4.2813
2019-03-24 20:30:00 | 3.0667 | 160.6767 | 3.5333 | 176.5667 | 3.98 | 195.6667 | 3.98 | 202.1667 | 7.4233 | 888 | 84.9333 | 5.0673
2019-03-24 20:45:00 | 3.0133 | 146.61 | 3.47 | 161.1 | 3.9067 | 200.7 | 4.1067 | 213.2 | 7.2033 | 888 | 86.2 | 6.6807
2019-03-24 21:00:00 | 2.94 | 149.8233 | 3.3833 | 164.6333 | 3.7467 | 205.5667 | 3.7267 | 217.1333 | 7.19 | 888 | 86.5533 | 6.4687
2019-03-24 21:15:00 | 3.1333 | 169.84 | 3.6067 | 186.6333 | 4.1433 | 215.2667 | 4.1433 | 220.8667 | 7.13 | 888 | 87.8333 | 7.3393
2019-03-24 21:30:00 | 3.06 | 171.0533 | 3.52 | 187.9667 | 3.9633 | 213.3333 | 3.6967 | 212.1333 | 7.1233 | 888 | 88.5 | 7.6327
2019-03-24 21:45:00 | 2.9933 | 175.0233 | 3.442 | 192.3333 | 3.6107 | 201.9333 | 3.738 | 201.5 | 7.138 | 888 | 88.38 | 8.2547
2019-03-24 22:00:00 | 3.0533 | 177.1433 | 3.51 | 194.6667 | 3.7867 | 205.2667 | 3.9767 | 201.7667 | 7.1447 | 888.4667 | 87.2667 | 4.7733
2019-03-24 22:15:00 | 2.63 | 174.6733 | 3.026 | 191.9467 | 3.3907 | 197.9867 | 3.5027 | 187.4867 | 6.9927 | 889 | 87.3667 | 2.722
2019-03-24 22:30:00 | 2.55 | 150.6633 | 2.93 | 165.5667 | 3.1467 | 183.3 | 3.47 | 185.4333 | 6.9033 | 889 | 87.5333 | 2.4367
2019-03-24 22:45:00 | 2.5767 | 160.5367 | 2.9733 | 176.4 | 3.0533 | 190.8 | 3.3633 | 180.7 | 6.8613 | 889 | 87.8467 | 2.754
2019-03-24 23:00:00 | 2.7367 | 136.93 | 3.1467 | 150.4667 | 3.3067 | 179.0667 | 3.4767 | 173.6333 | 6.87 | 889 | 88.1533 | 3.7967
2019-03-24 23:15:00 | 2.5667 | 151.676 | 2.9533 | 166.6733 | 3.0933 | 175.9 | 3.5033 | 184.9667 | 6.8907 | 889 | 88.0867 | 5.7527
2019-03-24 23:30:00 | 2.7867 | 154.2467 | 3.2067 | 169.5 | 3.3267 | 187.1667 | 3.7167 | 190.8333 | 6.9267 | 889 | 88.3333 | 9.468
2019-03-24 23:45:00 | 3.1733 | 161.3867 | 3.65 | 177.3333 | 3.95 | 189.8333 | 4.04 | 197.7933 | 6.8 | 889 | 89.3133 | 6.3453