## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-25 00:00:00 | 2.82 | 165.1114 | 3.2507 | 181.4357 | 3.3821 | 188.1429 | 3.7721 | 205.2786 | 6.8007 | 889 | 89.7077 | 6.4671
2019-03-25 00:15:00 | 2.74 | 163.25 | 3.1467 | 179.4 | 3.32 | 181 | 3.72 | 183.8333 | 6.6733 | 889 | 90.5333 | 6.786
2019-03-25 00:30:00 | 3.1467 | 150.8167 | 3.62 | 165.7333 | 3.7867 | 180.2 | 4.1933 | 186.1 | 6.5667 | 889 | 91.1333 | 7.2953
2019-03-25 00:45:00 | 2.58 | 156.1 | 2.97 | 171.5333 | 3.1267 | 187.3667 | 3.43 | 184.5333 | 6.5067 | 889 | 92.1333 | 4.954
2019-03-25 01:00:00 | 2.16 | 143.5467 | 2.49 | 157.7333 | 2.6067 | 173.8333 | 2.8967 | 192.7333 | 6.4133 | 889 | 92.9333 | 1.3013
2019-03-25 01:15:00 | 2.14 | 145.42 | 2.4633 | 159.8 | 2.63 | 174.9333 | 2.86 | 185.8333 | 6.3033 | 888.2 | 94.0333 | 1.834
2019-03-25 01:30:00 | 2.9133 | 166.5333 | 3.3633 | 183 | 3.47 | 188.7333 | 3.86 | 186.0333 | 6.2833 | 888 | 94.3 | 1.9007
2019-03-25 01:45:00 | 3.0467 | 155.5167 | 3.5033 | 170.9 | 3.62 | 187.04 | 3.87 | 184.0333 | 6.3567 | 888 | 94.1667 | 1.8613
2019-03-25 02:00:00 | 2.6467 | 162.3233 | 3.05 | 178.3667 | 3.1933 | 186.9 | 3.47 | 183.7667 | 6.3767 | 888 | 93.7667 | 1.5907
2019-03-25 02:15:00 | 1.94 | 155.01 | 2.23 | 170.3333 | 2.44 | 192.8667 | 2.7867 | 195.9 | 6.41 | 888 | 93.7 | 1.544
2019-03-25 02:30:00 | 1.9933 | 152.3433 | 2.29 | 167.4 | 2.4867 | 178.8667 | 2.9467 | 180.3667 | 6.4253 | 888 | 93.7 | 1.5593
2019-03-25 02:45:00 | 2.2053 | 150.202 | 2.542 | 164 | 2.8533 | 169.2 | 3.4867 | 178.9333 | 6.4667 | 888 | 93.2867 | 0.63667
2019-03-25 03:00:00 | 2.1333 | 141.9633 | 2.4533 | 156 | 2.6733 | 161.5333 | 3.2667 | 168.3333 | 6.5133 | 888 | 93.0667 | 0.62467
2019-03-25 03:15:00 | 1.7353 | 169.6233 | 2.0047 | 186.4 | 2.1833 | 182.9 | 2.9067 | 198.5333 | 6.4787 | 888 | 93.2 | 1.032
2019-03-25 03:30:00 | 2 | 150.21 | 2.3033 | 165.0667 | 2.5767 | 155.7667 | 2.9867 | 193.0667 | 6.45 | 888 | 93.1533 | 1.064
2019-03-25 03:45:00 | 2.7067 | 163.1633 | 3.1167 | 179.3 | 3.15 | 189.2667 | 3.81 | 194.6333 | 6.4333 | 888 | 93.0067 | 1.4907
2019-03-25 04:00:00 | 2.6133 | 151.6367 | 3.01 | 166.6333 | 3.0433 | 178.1333 | 3.6767 | 190.7667 | 6.3933 | 888 | 92.9 | 1.944
2019-03-25 04:15:00 | 2.4433 | 147.9247 | 2.8133 | 161.5667 | 3 | 185.3667 | 3.6567 | 178.5333 | 6.3813 | 888 | 92.5 | 1.392
2019-03-25 04:30:00 | 2.4833 | 169.84 | 2.8533 | 186.6333 | 3.0933 | 200.0333 | 3.4033 | 197.6667 | 6.3233 | 888 | 92.7 | 0.738
2019-03-25 04:45:00 | 1.8267 | 146.7 | 2.1 | 161.2 | 2.3533 | 186.4333 | 2.92 | 192.4333 | 6.21 | 887.2 | 93.2667 | 0.638
2019-03-25 05:00:00 | 2.1 | 156.8267 | 2.4133 | 172.3333 | 2.66 | 193.7667 | 3.1 | 189.3667 | 6.1233 | 887 | 93.8 | 1.33
2019-03-25 05:15:00 | 2.7667 | 170.6833 | 3.1833 | 187.5667 | 3.28 | 195.2 | 3.42 | 201.5333 | 6.0933 | 887 | 93.5667 | 0.59933
2019-03-25 05:30:00 | 2.82 | 149.7567 | 3.2433 | 164.5667 | 3.3067 | 177.4667 | 3.3133 | 186.2 | 6.1333 | 887 | 93.1667 | 0.758
2019-03-25 05:45:00 | 2.832 | 169.768 | 3.2593 | 186.5467 | 3.584 | 190.8467 | 3.716 | 193.1667 | 6.096 | 887 | 93.5867 | 0.726
2019-03-25 06:00:00 | 2.348 | 161.162 | 2.702 | 177.1 | 2.762 | 210.86 | 3.02 | 203.06 | 6.176 | 887 | 93.5 | 1.0453
2019-03-25 06:15:00 | 2.2867 | 189.4367 | 2.6333 | 208.1667 | 2.8433 | 191.6667 | 3.28 | 198.9 | 6.2067 | 887 | 93.5333 | 1.3213
2019-03-25 06:30:00 | 2.36 | 164.6167 | 2.7133 | 180.9 | 2.9567 | 187.8667 | 3.2933 | 200.2333 | 6.2867 | 887 | 93 | 0.77133
2019-03-25 06:45:00 | 2.0933 | 154.2133 | 2.41 | 169.4667 | 2.58 | 185.6667 | 2.9233 | 192.0333 | 6.1933 | 887 | 93.4667 | 0.51867
2019-03-25 07:00:00 | 2.4933 | 160.9533 | 2.8767 | 176.8667 | 2.94 | 181.2667 | 3.0233 | 194.7 | 6.1133 | 887 | 93.7333 | 0.90267
2019-03-25 07:15:00 | 2.6767 | 155.9733 | 3.0767 | 171.4 | 3.1367 | 195.4 | 3.25 | 192.1333 | 6.0813 | 887 | 93.7867 | 1.358
2019-03-25 07:30:00 | 2.7433 | 165.56 | 3.1567 | 181.9333 | 3.1433 | 184.4 | 3.2033 | 191.4667 | 6.09 | 887 | 93.9 | 1.3113
2019-03-25 07:45:00 | 2.5033 | 143.1767 | 2.8767 | 157.3333 | 3 | 181.8667 | 3.3433 | 184.5333 | 6.06 | 887.1333 | 94.2133 | 1.382
2019-03-25 08:00:00 | 2.61 | 153.3033 | 3.0033 | 168.4667 | 3.0733 | 176.3333 | 3.2433 | 181.4 | 6.1 | 888 | 94.3 | 1.1913
2019-03-25 08:15:00 | 2.36 | 165.41 | 2.7133 | 181.7667 | 2.9333 | 183 | 3.2667 | 184.0667 | 6.16 | 888 | 94.28 | 1.402
2019-03-25 08:30:00 | 2.44 | 170.2633 | 2.8067 | 187.1 | 2.9533 | 183.1333 | 3.2133 | 186.8667 | 6.2533 | 888 | 93.9 | 0.38267
2019-03-25 08:45:00 | 2.38 | 156.28 | 2.7467 | 171.7333 | 2.8633 | 178.5 | 3.1633 | 192.1 | 6.3233 | 888 | 93.82 | 0.30333
2019-03-25 09:00:00 | 2.2867 | 160.8933 | 2.6333 | 176.8 | 2.83 | 189.2333 | 3.1967 | 188.8333 | 6.27 | 888 | 94.4667 | 0.72067
2019-03-25 09:15:00 | 2.2333 | 148.4033 | 2.5667 | 163.0667 | 2.69 | 196.2 | 3.06 | 194.2667 | 6.3 | 888.1333 | 94.7667 | 1.7493
2019-03-25 09:30:00 | 2.62 | 152.83 | 3.0133 | 167.9333 | 3.0967 | 187.8 | 3.4533 | 190.4667 | 6.32 | 889 | 94.3 | 2.77
2019-03-25 09:45:00 | 2.4933 | 150.1833 | 2.8667 | 165.0333 | 2.9467 | 181.4333 | 3.3967 | 195.2333 | 6.2613 | 889 | 94.5333 | 2.28
2019-03-25 10:00:00 | 1.872 | 137.504 | 2.152 | 151.1 | 2.236 | 184.48 | 2.554 | 199.3 | 6.2653 | 889 | 94.8467 | 1.306
2019-03-25 10:15:00 | 1.8333 | 164.68 | 2.1133 | 180.9667 | 2.13 | 172.4 | 2.21 | 203.1667 | 6.32 | 889 | 95.0867 | 1.4193
2019-03-25 10:30:00 | 2.1533 | 151.64 | 2.48 | 166.6333 | 2.41 | 181.3333 | 2.3767 | 191.7 | 6.36 | 889 | 95.2 | 1.754
2019-03-25 10:45:00 | 2.26 | 149.9907 | 2.5967 | 164.8133 | 2.6267 | 181.6667 | 2.5833 | 198.9333 | 6.4533 | 889 | 95.5133 | 1.216
2019-03-25 11:00:00 | 2.4067 | 161.8333 | 2.77 | 177.8333 | 2.7667 | 212.4 | 2.83 | 201.9333 | 6.5333 | 889.4667 | 95.7333 | 0.75667
2019-03-25 11:15:00 | 2.3867 | 102.9633 | 2.7533 | 113.1333 | 2.72 | 180.2 | 2.5133 | 196.1 | 6.7033 | 890 | 96.1 | 0.256
2019-03-25 11:30:00 | 2.38 | 152.4033 | 2.74 | 167.4667 | 2.6933 | 165.2667 | 2.5867 | 180.0333 | 6.8433 | 890 | 95.5 | 0.072
2019-03-25 11:45:00 | 2.338 | 151.0787 | 2.6973 | 166.02 | 2.616 | 171.62 | 2.5807 | 190.1133 | 6.9507 | 889.2 | 94.6933 | 0
2019-03-25 12:00:00 | 2.0333 | 145.5167 | 2.3467 | 159.9 | 2.3067 | 193.7333 | 2.3933 | 205.0667 | 7.2 | 889 | 93.4667 | 0
2019-03-25 12:15:00 | 1.76 | 143.7627 | 2.028 | 157.98 | 2.0687 | 160.32 | 2.152 | 177.2267 | 7.546 | 889 | 91.3933 | 0
2019-03-25 12:30:00 | 1.3867 | 153.7 | 1.6 | 168.9 | 1.5033 | 163.1333 | 1.55 | 175.3333 | 7.9167 | 889 | 88.6333 | 0
2019-03-25 12:45:00 | 1.9167 | 145.69 | 2.2067 | 160.1 | 2.47 | 178.0333 | 2.5133 | 180.1267 | 8.17 | 889.8 | 86.9867 | 0
2019-03-25 13:00:00 | 2.79 | 141 | 3.212 | 154.94 | 3.412 | 171.52 | 3.398 | 171.96 | 8.068 | 889.5333 | 86.9 | 0.30467
2019-03-25 13:15:00 | 2.4533 | 145.2667 | 2.8267 | 159.6333 | 2.9533 | 163.1667 | 3.0733 | 183.4667 | 7.9887 | 889 | 86 | 0
2019-03-25 13:30:00 | 2.304 | 137.832 | 2.66 | 151.46 | 2.69 | 185.2 | 2.738 | 203.1 | 8.022 | 889 | 85.3 | 0
2019-03-25 13:45:00 | 2.0467 | 156.44 | 2.3567 | 171.9 | 2.3733 | 183.0667 | 2.61 | 183.6333 | 8.15 | 888.2 | 84.5 | 0
2019-03-25 14:00:00 | 1.6 | 149.82 | 1.85 | 164.6333 | 1.9533 | 169.6 | 2.0367 | 172.3 | 8.4167 | 888 | 83.5 | 0
2019-03-25 14:15:00 | 2.0567 | 179.1167 | 2.3633 | 196.8333 | 2.5833 | 224.0667 | 2.6067 | 224.4667 | 8.63 | 888 | 82.8333 | 0.10643
2019-03-25 14:30:00 | 2.5433 | 187.4367 | 2.93 | 205.9667 | 3.1767 | 196 | 3.2467 | 207.5333 | 8.73 | 888 | 82.1 | 0.028667
2019-03-25 14:45:00 | 2.89 | 141.14 | 3.32 | 155.1 | 3.4467 | 164.7333 | 3.4267 | 167.6 | 9.1133 | 888 | 81 | 0
2019-03-25 15:00:00 | 2.588 | 158.362 | 2.98 | 175.3 | 3.0267 | 170.7333 | 3.0667 | 188.4667 | 9.3133 | 888 | 80.02 | 0
2019-03-25 15:15:00 | 2.94 | 148.57 | 3.3833 | 163.2667 | 3.3267 | 176.6667 | 3.34 | 166.6333 | 9.1533 | 888 | 79.2567 | 0
2019-03-25 15:30:00 | 2.8333 | 155.3033 | 3.2633 | 170.6667 | 3.2667 | 169.6 | 3.32 | 149.4333 | 9.3 | 888 | 78.3567 | 0
2019-03-25 15:45:00 | 2.36 | 153.1633 | 2.72 | 168.3 | 2.7667 | 163 | 2.6667 | 181.8667 | 9.6667 | 887.8667 | 77.0167 | 0
2019-03-25 16:00:00 | 2.956 | 159.746 | 3.398 | 174.9 | 3.4733 | 166.34 | 3.34 | 181.5333 | 9.6467 | 887 | 76.7033 | 0
2019-03-25 16:15:00 | 2.4333 | 158.3733 | 2.8 | 174.0333 | 2.8833 | 180.8333 | 2.83 | 183.4333 | 9.6287 | 887 | 76.8787 | 0
2019-03-25 16:30:00 | 2.09 | 154.504 | 2.406 | 169.9667 | 2.5233 | 178.5667 | 2.41 | 190.4333 | 9.7733 | 887 | 76.67 | 0
2019-03-25 16:45:00 | 2.7933 | 147.9893 | 3.2133 | 162.62 | 3.2 | 167.5333 | 3.1467 | 202.9667 | 10.0267 | 887 | 75.8367 | 0
2019-03-25 17:00:00 | 2.6467 | 152.864 | 3.0467 | 170.4 | 3.1133 | 178.8667 | 3.1667 | 181.9667 | 9.8067 | 887 | 76.3833 | 0
2019-03-25 17:15:00 | 1.8787 | 161.7047 | 2.1647 | 177.6867 | 2.3773 | 216.2067 | 2.6773 | 205.9333 | 9.994 | 886.3333 | 76.1253 | 0
2019-03-25 17:30:00 | 1.46 | 147.2467 | 1.68 | 161.8 | 1.8933 | 167.4667 | 2.0167 | 176.8333 | 10.2167 | 887 | 74.72 | 0
2019-03-25 17:45:00 | 2.07 | 148.6 | 2.38 | 163.3 | 2.5867 | 168.1 | 2.6467 | 181.3667 | 10.1567 | 887 | 74.0467 | 0
2019-03-25 18:00:00 | 1.512 | 140.1067 | 1.738 | 153.9667 | 2.18 | 160.9667 | 2.3 | 167.3667 | 10.0567 | 887 | 74.4267 | 0
2019-03-25 18:15:00 | 1.3 | 188.8 | 1.5033 | 207.4667 | 2.27 | 214.1 | 2.2733 | 235.4667 | 9.7933 | 887 | 76.22 | 0
2019-03-25 18:30:00 | 0.64667 | 190.508 | 0.75 | 209.8667 | 1.25 | 237.7667 | 1.3667 | 240.2667 | 9.7 | 887 | 75.6267 | 0
2019-03-25 18:45:00 | 0.40667 | 192.94 | 0.47333 | 212.0133 | 0.77667 | 258.7333 | 1.2433 | 250.6 | 9.62 | 887 | 75.3907 | 0
2019-03-25 19:00:00 | 0.66 | 186.5867 | 0.76 | 205.0333 | 1.27 | 244.0667 | 1.5433 | 227.2667 | 9.4533 | 887 | 75.75 | 0
2019-03-25 19:15:00 | 0.43333 | 211.12 | 0.5 | 232 | 0.85 | 226.9867 | 1.04 | 243.9 | 9.3487 | 887 | 75.54 | 0
2019-03-25 19:30:00 | 0.48667 | 214.22 | 0.56667 | 235.4 | 0.97 | 247.4333 | 1.28 | 258.8333 | 9.2133 | 887 | 76.0933 | 0
2019-03-25 19:45:00 | 0.28 | 226.456 | 0.32 | 248.84 | 0.54667 | 259.5333 | 0.68333 | 269.6 | 8.7233 | 886.8667 | 78.18 | 0
2019-03-25 20:00:00 | 0 | 226.7273 | 0 | 249.1467 | 0 | 263.2467 | 0.31 | 276.2 | 8.3367 | 886.4667 | 79.86 | 0
2019-03-25 20:15:00 | 0.18333 | 226.7593 | 0.22667 | 249.1867 | 0.35 | 263.3 | 1.2367 | 272.6867 | 8.2067 | 887 | 80.7133 | 0
2019-03-25 20:30:00 | 0.71 | 246.8233 | 0.82667 | 271.2333 | 1.3833 | 260.7 | 1.6833 | 261.8 | 8.24 | 887 | 80.9333 | 0
2019-03-25 20:45:00 | 0.83467 | 273.83 | 0.962 | 300.9067 | 1.588 | 284.82 | 1.598 | 278.1467 | 8.504 | 887 | 79.8267 | 0
2019-03-25 21:00:00 | 0.68667 | 287.24 | 0.79333 | 315.6333 | 1.29 | 326.6 | 1.5933 | 332.5333 | 8.55 | 887.4667 | 79.3967 | 0
2019-03-25 21:15:00 | 0.93333 | 297.63 | 1.0733 | 327.0667 | 1.4867 | 330.6333 | 1.6333 | 330 | 8.62 | 888 | 79.3487 | 0
2019-03-25 21:30:00 | 1.46 | 101.65 | 1.6867 | 111.7 | 2.0733 | 341.9 | 2.3933 | 351.2667 | 8.5867 | 888 | 79.4727 | 0
2019-03-25 21:45:00 | 1.574 | 109.9113 | 1.816 | 120.7773 | 2.3573 | 71.3 | 3.0047 | 97.632 | 8.494 | 888 | 80.782 | 0
2019-03-25 22:00:00 | 1.8733 | 117.9467 | 2.16 | 129.6 | 2.5333 | 1.64 | 3.0233 | 31.2067 | 8.1667 | 888 | 83.3 | 0.002667
2019-03-25 22:15:00 | 2.1193 | 13.2647 | 2.4493 | 14.572 | 3.362 | 8.316 | 3.8647 | 22.758 | 8.0627 | 888 | 83.7933 | 3.3653
2019-03-25 22:30:00 | 2.3333 | 217.5767 | 2.6833 | 239.0867 | 3.9247 | 23.5367 | 4.6533 | 36.3767 | 7.8533 | 888 | 84.7 | 6.9207
2019-03-25 22:45:00 | 2.6867 | 102.0833 | 3.09 | 112.18 | 4.6533 | 13.6067 | 5.3533 | 31.6733 | 7.4633 | 888 | 86.5133 | 8.3273
2019-03-25 23:00:00 | 2.2333 | 294.81 | 2.57 | 323.9667 | 4.02 | 16.0533 | 5.0933 | 38.2733 | 7.4433 | 887.5333 | 86.8667 | 0.83133
2019-03-25 23:15:00 | 1.434 | 277.598 | 1.66 | 305.0467 | 2.4327 | 19.084 | 2.518 | 25.8393 | 7.6707 | 887.8 | 86.0267 | 0
2019-03-25 23:30:00 | 1.5933 | 309.2867 | 1.84 | 339.8667 | 2.1567 | 5.9333 | 2.2067 | 0.69667 | 8.18 | 888 | 83.6 | 0
2019-03-25 23:45:00 | 1.7867 | 314.99 | 2.0567 | 346.1333 | 2.4433 | 7.6 | 2.4933 | 11.1667 | 8.3033 | 888 | 82.9133 | 0