## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-26 00:00:00 | 2.1629 | 113.9464 | 2.4921 | 125.2107 | 3.3936 | 12.5457 | 3.4907 | 23.9871 | 8.1743 | 888 | 83.4 | 0
2019-03-26 00:15:00 | 1.4433 | 234.6667 | 1.67 | 257.8667 | 2.69 | 107.5933 | 2.9633 | 32.4567 | 7.9387 | 888 | 85.0667 | 0
2019-03-26 00:30:00 | 1.5633 | 301.2667 | 1.7967 | 331.0667 | 2.3567 | 109.4733 | 2.3833 | 28.03 | 7.99 | 887.5333 | 84.8 | 0.043333
2019-03-26 00:45:00 | 2.7427 | 174.118 | 3.1527 | 191.3347 | 4.5253 | 12.8413 | 4.5273 | 7.0707 | 7.774 | 887.1333 | 85.8733 | 4.518
2019-03-26 01:00:00 | 2.7667 | 290.2 | 3.1833 | 318.9 | 4.9233 | 8.8833 | 4.7367 | 2.0567 | 7.2733 | 888 | 88.6667 | 0.49667
2019-03-26 01:15:00 | 2.3427 | 8.19 | 2.696 | 8.9967 | 4.1407 | 7.9693 | 4.3627 | 17.4793 | 7.1087 | 887.8667 | 89.58 | 0.652
2019-03-26 01:30:00 | 2.8033 | 201.1967 | 3.2267 | 221.0833 | 4.1867 | 7.42 | 4.2467 | 15.5567 | 7.2 | 887 | 89.2667 | 3.5893
2019-03-26 01:45:00 | 2.9453 | 88.0147 | 3.3853 | 96.7133 | 4.5547 | 15.6553 | 4.848 | 20.528 | 7.432 | 887 | 87.72 | 6.3713
2019-03-26 02:00:00 | 3.0467 | 112.7 | 3.5 | 123.84 | 5.2333 | 18.82 | 5.5433 | 25.0167 | 7.35 | 887 | 87.8333 | 5.002
2019-03-26 02:15:00 | 3.5153 | 309.8553 | 4.0453 | 340.4933 | 4.7893 | 257.66 | 4.9253 | 24.952 | 7.3893 | 887 | 87.7333 | 2.2007
2019-03-26 02:30:00 | 3.2567 | 106.5833 | 3.7467 | 117.1267 | 4.29 | 15.4167 | 4.5233 | 26.0533 | 7.3967 | 887 | 87.4667 | 0.992
2019-03-26 02:45:00 | 3.1587 | 88.6727 | 3.6353 | 97.442 | 3.8227 | 23.376 | 4.3873 | 28.0067 | 7.364 | 887 | 87.76 | 0.78067
2019-03-26 03:00:00 | 3.2533 | 309.9467 | 3.7467 | 340.6 | 3.7567 | 32.0333 | 4.2933 | 17.1767 | 7.3733 | 887 | 87.6667 | 1.2387
2019-03-26 03:15:00 | 3.304 | 80.6207 | 3.8007 | 88.5933 | 3.798 | 13.9053 | 4.0153 | 23.3053 | 7.416 | 887 | 87.5533 | 0
2019-03-26 03:30:00 | 2.8267 | 310.0033 | 3.26 | 340.6667 | 3.64 | 23.12 | 3.6867 | 23.3867 | 7.5653 | 887 | 86.5533 | 0
2019-03-26 03:45:00 | 2.8067 | 212.6567 | 3.2267 | 233.6867 | 3.68 | 12.0933 | 3.8533 | 17.9467 | 7.2833 | 887 | 87.9667 | 0.22467
2019-03-26 04:00:00 | 3.0533 | 5.5367 | 3.5133 | 6.08 | 4.1067 | 11.48 | 4.2667 | 13.1 | 7.1633 | 887 | 88.5667 | 2.748
2019-03-26 04:15:00 | 3.6967 | 321.6633 | 4.2567 | 353.4667 | 4.5467 | 8.27 | 4.7267 | 11.0833 | 7.14 | 887 | 88.68 | 4.8687
2019-03-26 04:30:00 | 3.63 | 113.9433 | 4.1767 | 125.2067 | 5.0933 | 0.71667 | 5.2467 | 13.9833 | 6.9267 | 886.5333 | 89.4333 | 7.4333
2019-03-26 04:45:00 | 3.7333 | 9.52 | 4.3033 | 10.4533 | 5.7333 | 3.5333 | 5.7333 | 13.8633 | 6.4933 | 886 | 91.4 | 12.31
2019-03-26 05:00:00 | 3.7933 | 211.8667 | 4.3633 | 232.8067 | 5.8467 | 7.64 | 5.96 | 18.2233 | 6.3467 | 886 | 92 | 11.19
2019-03-26 05:15:00 | 3.64 | 5.5967 | 4.1973 | 6.146 | 5.7147 | 8.8473 | 5.7093 | 8.526 | 6.2307 | 886 | 92.4067 | 11.46
2019-03-26 05:30:00 | 3.6267 | 223.23 | 4.17 | 245.3033 | 5.81 | 47.2433 | 5.82 | 4.8667 | 6.15 | 886 | 92.8333 | 10.3373
2019-03-26 05:45:00 | 3.3787 | 105.1853 | 3.886 | 137.5333 | 5.2133 | 11.6567 | 5.7233 | 15.0367 | 6.49 | 886 | 91.4333 | 6.3107
2019-03-26 06:00:00 | 3.614 | 324.7067 | 4.156 | 356.8133 | 5.276 | 4.602 | 5.528 | 6.544 | 6.742 | 886 | 90.04 | 6.8507
2019-03-26 06:15:00 | 3.2987 | 310.4213 | 3.796 | 340.9667 | 5.7067 | 6.08 | 5.9667 | 8.48 | 6.852 | 886 | 89.7 | 5.5747
2019-03-26 06:30:00 | 3.2267 | 308.2733 | 3.7167 | 338.7667 | 5.3933 | 10.9267 | 5.6 | 14.9467 | 6.9967 | 886 | 89.1667 | 0.976
2019-03-26 06:45:00 | 3.5 | 214.35 | 4.03 | 235.55 | 4.75 | 14.95 | 4.4 | 14.9833 | 6.86 | 886.8 | 89.9333 | 0
2019-03-26 07:00:00 | 3.4133 | 216.0567 | 3.9233 | 237.4167 | 4.4633 | 14.6567 | 4.4467 | 9.39 | 6.7133 | 887 | 90.8 | 0
2019-03-26 07:15:00 | 3.1767 | 218.2533 | 3.6547 | 239.8267 | 4.6033 | 12.9867 | 4.5733 | 20.8133 | 6.74 | 887 | 90.4 | 0
2019-03-26 07:30:00 | 3.28 | 212.47 | 3.7733 | 233.48 | 4.2767 | 7.6867 | 4.48 | 22.7133 | 6.8047 | 887 | 90.1333 | 0.18267
2019-03-26 07:45:00 | 3.38 | 323.3707 | 3.89 | 355.3533 | 4.5467 | 9.1133 | 4.6533 | 19.82 | 6.7333 | 887 | 91.1 | 0.27333
2019-03-26 08:00:00 | 3.2333 | 112.52 | 3.7233 | 123.64 | 4.5333 | 16.4267 | 4.3067 | 17.4067 | 6.8267 | 887 | 91.0333 | 0
2019-03-26 08:15:00 | 3.1507 | 324.3153 | 3.6307 | 356.3933 | 4.3067 | 14.1433 | 4.1133 | 13.9567 | 7.15 | 887.8 | 89.6333 | 0
2019-03-26 08:30:00 | 3.0467 | 323.9567 | 3.5133 | 356 | 4.0933 | 12.8433 | 3.8067 | 16.65 | 7.49 | 888 | 87.9667 | 0
2019-03-26 08:45:00 | 2.7333 | 42.0533 | 3.1467 | 46.2067 | 3.8 | 12.2567 | 3.9267 | 20.5067 | 8.17 | 888.1333 | 85.1667 | 0
2019-03-26 09:00:00 | 2.6467 | 219.7667 | 3.0533 | 241.4933 | 3.6867 | 13.2633 | 3.8467 | 18.38 | 8.45 | 889 | 83.7 | 0
2019-03-26 09:15:00 | 2.6807 | 45.254 | 3.0847 | 49.7287 | 3.3987 | 3.0993 | 3.6913 | 16.454 | 8.5 | 889 | 83.4933 | 0
2019-03-26 09:30:00 | 2.8033 | 3.9433 | 3.23 | 4.33 | 3.5 | 4.8167 | 3.5833 | 12.61 | 8.66 | 889 | 82.9333 | 0
2019-03-26 09:45:00 | 2.616 | 300.3047 | 3.0093 | 330.0047 | 2.9627 | 18.9413 | 2.9947 | 11.9353 | 8.8413 | 889 | 81.4333 | 0
2019-03-26 10:00:00 | 1.76 | 141.5733 | 2.03 | 155.5733 | 2.17 | 49.9333 | 2.2333 | 18.4133 | 9.1633 | 889.4667 | 80.0667 | 0
2019-03-26 10:15:00 | 0.50667 | 101.2133 | 0.59333 | 111.22 | 0.77667 | 2.09 | 0.82333 | 124.2733 | 9.8133 | 890 | 78.0033 | 0
2019-03-26 10:30:00 | 0.14667 | 100.1533 | 0.17333 | 110.0533 | 0.15667 | 230.3833 | 0.45667 | 317.7 | 9.7667 | 890 | 79.37 | 0
2019-03-26 10:45:00 | 0.06 | 129.86 | 0.07 | 142.7 | 0.04 | 98.0667 | 0.29 | 99.8667 | 9.3333 | 890 | 83.4 | 0
2019-03-26 11:00:00 | 0.16667 | 143.2733 | 0.19667 | 157.4333 | 0.13333 | 157.2667 | 0.14333 | 295.9 | 9.42 | 890 | 83.8 | 0
2019-03-26 11:15:00 | 0.63333 | 139.44 | 0.72667 | 153.2333 | 0.61667 | 173.5667 | 0.49333 | 193.1667 | 10.1467 | 890 | 81.6667 | 0
2019-03-26 11:30:00 | 1.1667 | 141.3867 | 1.3533 | 155.3667 | 1.17 | 159.3 | 1.0733 | 171.1 | 10.4293 | 890 | 80.4667 | 0
2019-03-26 11:45:00 | 1.3 | 160.7067 | 1.5033 | 176.6 | 1.1933 | 160.6667 | 1.04 | 184.8333 | 10.3233 | 890 | 78.2433 | 0
2019-03-26 12:00:00 | 0.75333 | 144.9333 | 0.86333 | 159.2667 | 0.76 | 186.6667 | 0.58 | 184.5667 | 10.5167 | 890 | 74.5367 | 0
2019-03-26 12:15:00 | 1.47 | 142.4867 | 1.7 | 156.5667 | 1.78 | 195.6333 | 1.6433 | 180.6 | 11.0633 | 889.2 | 71.8833 | 0
2019-03-26 12:30:00 | 1.15 | 152.8533 | 1.32 | 167.9667 | 1.42 | 184.9667 | 1.0233 | 195.6667 | 11.4567 | 889 | 70.0767 | 0
2019-03-26 12:45:00 | 1.43 | 150.6067 | 1.66 | 165.5 | 1.76 | 202 | 1.6 | 223.4 | 11.7067 | 889 | 71.6267 | 0
2019-03-26 13:00:00 | 1.8633 | 148.8467 | 2.1467 | 163.5667 | 2.44 | 227.1333 | 2.3933 | 231.7333 | 11.9 | 889 | 71.46 | 0
2019-03-26 13:15:00 | 2.3033 | 150.6067 | 2.65 | 165.5 | 2.65 | 207.2333 | 2.5833 | 219.1667 | 12.15 | 889 | 69.3433 | 0
2019-03-26 13:30:00 | 2.0767 | 159.04 | 2.39 | 174.7667 | 2.2433 | 195.7 | 2.0167 | 217.7667 | 12.11 | 889 | 70.8767 | 0
2019-03-26 13:45:00 | 2.076 | 149.0873 | 2.3947 | 163.8333 | 2.1987 | 198.2533 | 1.872 | 207.62 | 12.0827 | 888.8667 | 71.2313 | 0
2019-03-26 14:00:00 | 2.3467 | 143.5667 | 2.7 | 157.7667 | 2.46 | 167 | 2.3333 | 190.7667 | 12.0533 | 888 | 70.46 | 0
2019-03-26 14:15:00 | 2.5707 | 150.304 | 2.954 | 165.1667 | 2.8347 | 157.04 | 2.7827 | 192.3933 | 12.3247 | 888 | 68.8607 | 0
2019-03-26 14:30:00 | 3 | 144.5733 | 3.45 | 158.8667 | 3.3533 | 175.3667 | 3.3467 | 172.3 | 12.78 | 888 | 66.34 | 0
2019-03-26 14:45:00 | 3.2507 | 146.8767 | 3.7473 | 161.3933 | 3.7127 | 182.56 | 3.7727 | 195.42 | 13.0773 | 887.8667 | 65.2767 | 0.054
2019-03-26 15:00:00 | 2.72 | 149.8867 | 3.1333 | 164.7 | 3.0867 | 166.4 | 3.1533 | 195.3667 | 13.4233 | 887 | 63.6067 | 0
2019-03-26 15:15:00 | 2.382 | 162.162 | 2.7487 | 178.1867 | 2.952 | 175.88 | 2.8873 | 177.0667 | 13.556 | 887 | 62.2073 | 0
2019-03-26 15:30:00 | 2.27 | 163.02 | 2.6133 | 179.1333 | 2.7533 | 202.6333 | 2.7433 | 202.8667 | 13.7933 | 887 | 63.01 | 0.10467
2019-03-26 15:45:00 | 2.7073 | 155.814 | 3.1167 | 171.2133 | 3.3713 | 204.4 | 3.3673 | 214.94 | 13.776 | 887 | 63.1387 | 1.018
2019-03-26 16:00:00 | 2.6033 | 170.8067 | 3 | 187.7 | 3.4533 | 212.5333 | 3.5767 | 226.1 | 13.6947 | 887 | 62.5333 | 1.6387
2019-03-26 16:15:00 | 2.7053 | 160.878 | 3.112 | 176.78 | 3.4593 | 208.4067 | 3.6787 | 238.0533 | 13.6507 | 886.3333 | 62.8747 | 0.594
2019-03-26 16:30:00 | 2.3667 | 164.99 | 2.7267 | 181.3 | 3.23 | 198.8333 | 3.3667 | 222.1333 | 13.6133 | 886.5333 | 64.08 | 0.796
2019-03-26 16:45:00 | 2.7 | 175.94 | 3.11 | 193.3333 | 3.66 | 213.3333 | 3.7367 | 234.1667 | 13.5233 | 886 | 65.0367 | 1.4707
2019-03-26 17:00:00 | 2.8 | 130.3867 | 3.2233 | 143.2667 | 3.4133 | 210.2667 | 3.5033 | 220.2333 | 13.35 | 886 | 65.8233 | 2.3293
2019-03-26 17:15:00 | 2.8067 | 160.68 | 3.2367 | 176.5667 | 3.61 | 221.4 | 3.7767 | 216.8667 | 13.1333 | 886 | 67.2067 | 1.8127
2019-03-26 17:30:00 | 2.88 | 169.2933 | 3.31 | 186.0333 | 3.4633 | 196.4 | 3.59 | 223.5333 | 13.0533 | 886 | 67.3933 | 0.48533
2019-03-26 17:45:00 | 2.1733 | 150.9967 | 2.5 | 165.9333 | 2.7 | 182.5667 | 3.18 | 211.5667 | 12.9433 | 886 | 67.7987 | 0
2019-03-26 18:00:00 | 2.1733 | 176.2433 | 2.5 | 193.6667 | 2.8733 | 206.7 | 3.1667 | 203.3 | 12.85 | 886 | 68.2967 | 0
2019-03-26 18:15:00 | 1.9833 | 166.658 | 2.2853 | 183.1333 | 2.864 | 214.7933 | 3.042 | 207.64 | 12.6833 | 886 | 69.1067 | 0
2019-03-26 18:30:00 | 2.06 | 184.43 | 2.3733 | 202.6667 | 2.9533 | 208.9333 | 3.0733 | 196.1667 | 12.5233 | 886 | 70.04 | 0
2019-03-26 18:45:00 | 1.7187 | 176.422 | 1.9773 | 193 | 2.5333 | 202.0333 | 2.7033 | 205.1333 | 12.4747 | 886 | 69.96 | 0
2019-03-26 19:00:00 | 1.7267 | 178.4493 | 1.9913 | 196.1 | 2.7893 | 209.1733 | 2.8093 | 206.4133 | 12.3927 | 886 | 70.3193 | 0
2019-03-26 19:15:00 | 1.0133 | 176.3033 | 1.1733 | 193.7333 | 1.9767 | 233.2333 | 2.21 | 237.6333 | 12.3367 | 886 | 70.23 | 0
2019-03-26 19:30:00 | 1.1667 | 185.4567 | 1.34 | 203.8 | 2.17 | 236.7 | 2.4367 | 241.6333 | 12.3007 | 886 | 70.5073 | 0
2019-03-26 19:45:00 | 0.87733 | 187.2333 | 1.012 | 205.7133 | 1.62 | 229.9 | 1.86 | 232 | 12.2467 | 886 | 70.5233 | 0
2019-03-26 20:00:00 | 0.91333 | 169.3233 | 1.06 | 186.0667 | 1.6133 | 209.1667 | 1.9933 | 215.8 | 12.1467 | 886 | 71.0733 | 0
2019-03-26 20:15:00 | 1.1933 | 156.7067 | 1.3733 | 172.2 | 1.98 | 195.5667 | 2.16 | 203.1667 | 11.96 | 886 | 72.1007 | 0
2019-03-26 20:30:00 | 1.678 | 166.74 | 1.928 | 183.22 | 2.25 | 188.18 | 2.45 | 204.84 | 11.898 | 886 | 72.334 | 0
2019-03-26 20:45:00 | 2.0333 | 177.5733 | 2.3467 | 195.1333 | 2.8633 | 201.6333 | 3.06 | 208.5667 | 11.8027 | 886 | 72.5833 | 0
2019-03-26 21:00:00 | 1.3 | 223.6267 | 1.5 | 245.7333 | 2.2167 | 219.4333 | 2.0533 | 217.2333 | 11.8 | 886 | 72.1787 | 0
2019-03-26 21:15:00 | 0.444 | 254.0733 | 0.512 | 279.2 | 0.72667 | 249.5667 | 0.42667 | 232.4133 | 11.8347 | 886.1333 | 71.5567 | 0
2019-03-26 21:30:00 | 0.58 | 242.5467 | 0.68 | 266.5333 | 1.12 | 260.7 | 0.44 | 258.4533 | 11.9633 | 887 | 71.07 | 0
2019-03-26 21:45:00 | 0.28 | 238.958 | 0.32 | 262.5867 | 0.54 | 222.4 | 0.44 | 220.5 | 12.0833 | 887 | 70.6367 | 0
2019-03-26 22:00:00 | 0 | 144.8467 | 0.006667 | 159.1667 | 0 | 222.4 | 0 | 220.5467 | 12.0767 | 887 | 70.7833 | 0
2019-03-26 22:15:00 | 0.043333 | 92.538 | 0.05 | 101.6867 | 0.086667 | 222.4 | 0.04 | 220.5333 | 11.8633 | 887 | 71.6467 | 0
2019-03-26 22:30:00 | 0.17 | 234.0533 | 0.19667 | 257.2 | 0.33333 | 222.4467 | 0.52 | 264.8667 | 11.8033 | 887 | 71.6467 | 0
2019-03-26 22:45:00 | 0.52667 | 298.8167 | 0.62 | 328.3667 | 1.0367 | 284.8333 | 1.2467 | 305.3667 | 11.9187 | 887 | 71.2167 | 0
2019-03-26 23:00:00 | 0.66667 | 312.1033 | 0.76667 | 342.9667 | 1.2833 | 331.5667 | 1.84 | 336.7667 | 11.7633 | 887 | 72.1033 | 0
2019-03-26 23:15:00 | 0.39333 | 260.09 | 0.46 | 262.116 | 0.75467 | 355.0467 | 1.3467 | 351.26 | 11.8187 | 887 | 72.064 | 0
2019-03-26 23:30:00 | 0.9 | 6.298 | 1.04 | 6.914 | 1.74 | 353.7067 | 1.906 | 349.88 | 11.694 | 887 | 72.806 | 0
2019-03-26 23:45:00 | 1.04 | 112.4533 | 1.2 | 123.5667 | 2.0267 | 236.3633 | 2.3987 | 348.0333 | 11.5167 | 887 | 73.83 | 0