## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-27 00:00:00 | 1.3143 | 320.2686 | 1.5229 | 351.9286 | 2.3914 | 208.61 | 2.5671 | 151.5971 | 11.57 | 887 | 73.946 | 0.73643
2019-03-27 00:15:00 | 1.5333 | 204.8933 | 1.7667 | 225.15 | 2.87 | 9.29 | 3.39 | 352.3 | 11.4267 | 887.6667 | 75.2033 | 1.0073
2019-03-27 00:30:00 | 1.83 | 195.096 | 2.108 | 214.38 | 3.12 | 213.36 | 3.394 | 349.28 | 11.266 | 887 | 75.99 | 0
2019-03-27 00:45:00 | 2.36 | 5.73 | 2.72 | 6.29 | 3.2467 | 8.8367 | 3.0567 | 236.5833 | 11.3633 | 887 | 75.4007 | 0
2019-03-27 01:00:00 | 2.626 | 199.038 | 3.02 | 218.72 | 3.632 | 19.238 | 3.506 | 20.586 | 11.314 | 887 | 76.276 | 0
2019-03-27 01:15:00 | 1.4033 | 89.2167 | 1.6267 | 98.0333 | 2.23 | 65.32 | 2.4733 | 73.92 | 11.5733 | 886.2 | 74.8133 | 0
2019-03-27 01:30:00 | 1.79 | 38.946 | 2.068 | 42.79 | 2.502 | 249.4 | 2.416 | 239.98 | 11.696 | 886 | 74.65 | 0.21
2019-03-27 01:45:00 | 2.7967 | 61.5133 | 3.22 | 67.5933 | 3.8233 | 339.2 | 3.9467 | 238.9133 | 10.37 | 886 | 83.6333 | 0.502
2019-03-27 02:00:00 | 2.4767 | 2.94 | 2.8467 | 3.2267 | 3.37 | 125.6467 | 2.9267 | 8.96 | 10.17 | 885.5333 | 85.6333 | 1.3593
2019-03-27 02:15:00 | 3.35 | 306.0333 | 3.85 | 336.3 | 4.7067 | 235.3 | 4.8133 | 234.38 | 10.2133 | 885.8 | 85.1667 | 7.0187
2019-03-27 02:30:00 | 3.43 | 297.42 | 3.95 | 326.8333 | 5.8267 | 251.0333 | 5.6667 | 2.1867 | 10.22 | 886 | 85.3667 | 12.716
2019-03-27 02:45:00 | 3.2133 | 128.28 | 3.6967 | 140.96 | 5.8167 | 228.05 | 5.7747 | 2.9667 | 10.33 | 886 | 84.4333 | 12.3933
2019-03-27 03:00:00 | 2.738 | 273.864 | 3.148 | 300.94 | 5.426 | 8.724 | 5.362 | 6.864 | 10.152 | 886 | 85.94 | 13.1013
2019-03-27 03:15:00 | 3.5367 | 115.9333 | 4.0733 | 127.3933 | 6.5733 | 15.8333 | 6.5733 | 19.5933 | 9.9733 | 885.8667 | 87.3 | 19.9107
2019-03-27 03:30:00 | 3.7833 | 319.9333 | 4.3533 | 351.5667 | 6.4867 | 11.9933 | 6.9133 | 26.7267 | 10.1267 | 885 | 86.7 | 22.8213
2019-03-27 03:45:00 | 3.9507 | 228.6 | 4.5507 | 251.1987 | 6.69 | 107.794 | 6.91 | 14.4827 | 10.354 | 885 | 85.5133 | 24.4127
2019-03-27 04:00:00 | 3.5067 | 26.1467 | 4.0333 | 28.7333 | 6.0233 | 356.9 | 6.1533 | 22.09 | 10.4 | 885 | 84.9533 | 21.736
2019-03-27 04:15:00 | 3.6067 | 28.4267 | 4.1467 | 31.23 | 5.4433 | 227.7267 | 5.3133 | 239.82 | 10.5067 | 885 | 84.3 | 20.308
2019-03-27 04:30:00 | 3.368 | 11.78 | 3.872 | 13.0633 | 5.39 | 5.5333 | 5.4 | 5.5 | 10.48 | 885 | 84.7 | 19.4373
2019-03-27 04:45:00 | 3.344 | 319.3993 | 3.8447 | 350.9867 | 5.6593 | 135.1307 | 5.2193 | 6.6867 | 10.3887 | 885 | 85.38 | 19.5047
2019-03-27 05:00:00 | 3.592 | 141.624 | 4.14 | 133.2467 | 6.2133 | 341.4 | 5.91 | 5.38 | 10.3533 | 885 | 85.9333 | 23.5507
2019-03-27 05:15:00 | 4.02 | 17.3167 | 4.6267 | 19.0333 | 7.16 | 0.35333 | 7.06 | 4.0667 | 10.356 | 885 | 86.3 | 27.644
2019-03-27 05:30:00 | 4.524 | 54.914 | 5.208 | 64.0533 | 7.8067 | 189.3467 | 8.16 | 14.4067 | 10.3693 | 885 | 86.2533 | 34.214
2019-03-27 05:45:00 | 5.1453 | 8.75 | 5.9153 | 9.612 | 8.0387 | 265.02 | 8.276 | 11.6707 | 10.434 | 885 | 85.76 | 36.254
2019-03-27 06:00:00 | 5.4933 | 3.15 | 6.3167 | 3.45 | 8.0833 | 5.2833 | 8.3833 | 12.2433 | 10.2567 | 885 | 87.1333 | 40.116
2019-03-27 06:15:00 | 6.0533 | 313.5667 | 6.9633 | 344.5667 | 9.46 | 9.2433 | 9.5767 | 7.5533 | 10.02 | 885 | 88.8 | 43.7333
2019-03-27 06:30:00 | 6.0933 | 319.2 | 7.01 | 350.7667 | 9.6067 | 218.7233 | 9.7567 | 20.6 | 10.08 | 885 | 88 | 44.1087
2019-03-27 06:45:00 | 5.1827 | 26.804 | 5.9573 | 29.454 | 9.4893 | 14.58 | 9.5067 | 17.214 | 10.0633 | 885 | 87.7667 | 43.4687
2019-03-27 07:00:00 | 5.14 | 136.8 | 5.912 | 150.3333 | 8.21 | 10.4067 | 8.3133 | 14.05 | 10.1867 | 885 | 87.4333 | 38.608
2019-03-27 07:15:00 | 4.54 | 125.3867 | 5.2267 | 137.7733 | 7.56 | 13.66 | 7.7767 | 5.71 | 10.4433 | 885 | 86.1867 | 31.6187
2019-03-27 07:30:00 | 4.3333 | 106.9933 | 4.9867 | 117.5667 | 7.0733 | 9.5 | 7.2367 | 17.2167 | 10.5767 | 885.4667 | 85.5 | 27.5507
2019-03-27 07:45:00 | 4.252 | 5.5187 | 4.89 | 6.0613 | 6.996 | 12.0413 | 7.5907 | 9.5027 | 10.622 | 886 | 85.54 | 31.462
2019-03-27 08:00:00 | 4.3507 | 150.5393 | 5.016 | 165.4193 | 7.2427 | 5.29 | 7.5953 | 14.1413 | 10.7193 | 886 | 85.1 | 35.658
2019-03-27 08:15:00 | 3.8433 | 315.5553 | 4.4193 | 346.7533 | 6.6953 | 39.2733 | 6.8367 | 13.4867 | 10.6873 | 886.8 | 85.9933 | 39.5747
2019-03-27 08:30:00 | 4.0733 | 134.67 | 4.6867 | 147.98 | 7.0167 | 9.2233 | 7.57 | 13.1 | 10.4833 | 887 | 88 | 44.0107
2019-03-27 08:45:00 | 4.656 | 183.01 | 5.3547 | 201.108 | 7.9267 | 9.5693 | 8.5093 | 16.246 | 10.4467 | 887 | 88.18 | 47.3187
2019-03-27 09:00:00 | 4.8733 | 317.5 | 5.61 | 348.9 | 8.7633 | 9.31 | 9.2367 | 16.3067 | 10.6433 | 887 | 87.2 | 48.7773
2019-03-27 09:15:00 | 5.0733 | 57.61 | 5.84 | 63.3067 | 9.1933 | 7.7233 | 9.81 | 10.2033 | 10.64 | 887 | 88.1667 | 49.97
2019-03-27 09:30:00 | 5.256 | 186.95 | 6.05 | 205.44 | 9.5067 | 8.39 | 9.7567 | 19.4567 | 10.4867 | 887 | 90.7667 | 51.6133
2019-03-27 09:45:00 | 4.97 | 218.5767 | 5.7167 | 240.1933 | 9.1133 | 12.7633 | 9.16 | 24.6667 | 10.1367 | 887 | 94.8333 | 52.696
2019-03-27 10:00:00 | 4.9233 | 5.45 | 5.6633 | 5.9867 | 9.38 | 15.8567 | 9.74 | 27.8467 | 10.1833 | 887 | 96.8333 | 56.5127
2019-03-27 10:15:00 | 5.602 | 43.4047 | 6.4453 | 52.012 | 10.5373 | 23.0853 | 11.282 | 27.6353 | 10.7653 | 887 | 97.92 | 55.972
2019-03-27 10:30:00 | 5.8467 | 210.0167 | 6.7233 | 230.7867 | 10.6067 | 20.9667 | 11.9367 | 24.7767 | 11.43 | 887 | 97.4333 | 55.3307
2019-03-27 10:45:00 | 6.5373 | 92.0013 | 7.5287 | 101.0987 | 11.456 | 33.5173 | 12.9107 | 36.7067 | 12.0307 | 887 | 94.36 | 55.2427
2019-03-27 11:00:00 | 7.2967 | 284.3167 | 8.3933 | 312.4333 | 12.7867 | 26.6633 | 13.5567 | 31.5933 | 13.1433 | 887.4667 | 87.9667 | 55.6253
2019-03-27 11:15:00 | 7.184 | 24.8493 | 8.2593 | 27.304 | 13.0673 | 16.566 | 13.32 | 31.39 | 13.168 | 888 | 84.4867 | 55.4647
2019-03-27 11:30:00 | 7.43 | 183.0333 | 8.5467 | 201.1367 | 13.3267 | 22.5133 | 13.4633 | 27.2567 | 12.5033 | 888 | 84.9533 | 56.266
2019-03-27 11:45:00 | 7.1573 | 182.7013 | 8.2353 | 200.76 | 13.0527 | 20.2193 | 13.1947 | 28.2753 | 11.9733 | 888 | 86.22 | 58.7827
2019-03-27 12:00:00 | 7.2067 | 105.0733 | 8.2933 | 115.4667 | 13.11 | 23.4433 | 13.56 | 27.12 | 11.9333 | 888 | 85.5333 | 57.4513
2019-03-27 12:15:00 | 7.1067 | 53.0133 | 8.1767 | 58.2467 | 12.57 | 20.3067 | 13.44 | 30.7167 | 12.0867 | 888 | 83.5 | 59.4847
2019-03-27 12:30:00 | 7.6333 | 53.3733 | 8.7833 | 58.6467 | 13.47 | 21.28 | 14.0867 | 26.0833 | 12.1353 | 888 | 81.9 | 60.0353
2019-03-27 12:45:00 | 7.984 | 282.972 | 9.18 | 310.9607 | 14.0193 | 21.3653 | 13.9847 | 32.6687 | 12.25 | 888 | 79.5567 | 58.7787
2019-03-27 13:00:00 | 7.58 | 116.35 | 8.72 | 127.86 | 13.4367 | 16.97 | 13.2 | 13.3333 | 12.1433 | 888 | 77.9367 | 59.9813
2019-03-27 13:15:00 | 7.678 | 225.346 | 8.842 | 247.6327 | 14.002 | 11.4253 | 13.882 | 15.7953 | 11.7987 | 888 | 77.248 | 59.854
2019-03-27 13:30:00 | 7.92 | 268.1167 | 9.11 | 294.6333 | 14.3533 | 10.37 | 14.4133 | 17.63 | 11.71 | 887.5333 | 76.1633 | 59.6573
2019-03-27 13:45:00 | 8.0253 | 141.708 | 9.234 | 155.7173 | 13.844 | 18.008 | 14.1913 | 37.5727 | 11.7887 | 887.1333 | 73.5153 | 58.5253
2019-03-27 14:00:00 | 8.1067 | 312.6467 | 9.3367 | 343.5667 | 14.0033 | 28.4 | 14.0893 | 28.3633 | 11.5033 | 888 | 72.8 | 58.01
2019-03-27 14:15:00 | 7.4293 | 204.0933 | 8.5547 | 224.28 | 13.22 | 20.2087 | 13.0767 | 23.1367 | 11.334 | 887.2 | 73.2413 | 57.9947
2019-03-27 14:30:00 | 7.6 | 75.58 | 8.7433 | 83.0533 | 13.5467 | 21.7267 | 13.4933 | 28.6533 | 11.62 | 887 | 72.24 | 58.7987
2019-03-27 14:45:00 | 8.0747 | 141.784 | 9.2873 | 155.8 | 14.1493 | 22.7927 | 14.0093 | 28.044 | 11.954 | 887 | 71.6827 | 58.402
2019-03-27 15:00:00 | 8.1067 | 288.7467 | 9.3367 | 317.3 | 14.2367 | 20.69 | 14.5333 | 28.0067 | 12.47 | 887 | 69.8167 | 59.658
2019-03-27 15:15:00 | 8.26 | 115.4867 | 9.5067 | 126.9067 | 14.3433 | 21.7267 | 14.22 | 25.5167 | 12.8267 | 887 | 65.2833 | 60.4713
2019-03-27 15:30:00 | 8.4067 | 122.44 | 9.6667 | 134.54 | 14.5833 | 12.9333 | 14.4133 | 32.0167 | 12.7093 | 887 | 64.2167 | 59.0247
2019-03-27 15:45:00 | 8.3007 | 202.01 | 9.5473 | 221.9873 | 14.2627 | 26.8307 | 14.244 | 27.336 | 12.972 | 886.2 | 60.8813 | 57.696
2019-03-27 16:00:00 | 7.5467 | 215.9133 | 8.6767 | 237.26 | 13.2033 | 23.6767 | 13.5267 | 22.3833 | 13.1967 | 886 | 59.75 | 56.1873
2019-03-27 16:15:00 | 7.7353 | 43.4727 | 8.9007 | 50.5527 | 13.628 | 19.1493 | 13.608 | 25.1307 | 13.5227 | 886 | 59.104 | 54.7593
2019-03-27 16:30:00 | 7.3567 | 187.8933 | 8.47 | 206.4767 | 13.24 | 17.3267 | 13.1133 | 21.4467 | 13.6367 | 886 | 58.8167 | 57.8693
2019-03-27 16:45:00 | 7.2413 | 74.702 | 8.338 | 82.08 | 12.92 | 15.638 | 12.8487 | 28.0607 | 13.6713 | 886 | 59.6253 | 57.274
2019-03-27 17:00:00 | 7 | 141.7233 | 8.0467 | 155.7333 | 12.6567 | 18.5333 | 12.5 | 18.3567 | 13.5767 | 886 | 59.8067 | 53.6827
2019-03-27 17:15:00 | 6.4933 | 89.8513 | 7.4733 | 114.9 | 11.72 | 24.95 | 11.7633 | 30.11 | 13.1133 | 885.8667 | 61.0667 | 51.4273
2019-03-27 17:30:00 | 5.8667 | 97.1 | 6.7467 | 106.7 | 10.9533 | 9.0033 | 10.9433 | 20.49 | 12.98 | 885.4667 | 61.6867 | 42.496
2019-03-27 17:45:00 | 5.528 | 99.4073 | 6.364 | 109.2393 | 10.1207 | 21.08 | 10.4507 | 23.4193 | 12.8587 | 885.2 | 61.886 | 35.3967
2019-03-27 18:00:00 | 5.4 | 129.4167 | 6.2133 | 142.2133 | 10.05 | 21.2333 | 10.2567 | 24.05 | 12.59 | 885.4667 | 62.0433 | 27.7347
2019-03-27 18:15:00 | 4.028 | 74.9833 | 4.6373 | 82.392 | 7.744 | 12.9 | 8.2707 | 28.6187 | 12.4127 | 886 | 61.9093 | 19.0793
2019-03-27 18:30:00 | 3.2967 | 95.6133 | 3.79 | 105.06 | 6.4267 | 19.3567 | 7.1033 | 30.9433 | 12.2933 | 886 | 62.652 | 17.038
2019-03-27 18:45:00 | 2.66 | 177.218 | 3.06 | 184.9667 | 5.23 | 17.7733 | 5.3033 | 23.85 | 12.1267 | 886 | 63.1233 | 18.212
2019-03-27 19:00:00 | 2.6867 | 238.39 | 3.0867 | 261.9667 | 5.2253 | 35.3667 | 3.8167 | 29.65 | 12.0553 | 886 | 62.39 | 16.3273
2019-03-27 19:15:00 | 2.3267 | 177.5413 | 2.6853 | 195.1033 | 4.2527 | 57.3707 | 3.218 | 23.8633 | 12.2333 | 886 | 59.78 | 13.462
2019-03-27 19:30:00 | 2.96 | 5.9867 | 3.4067 | 6.57 | 5.4167 | 33.1733 | 5.2133 | 36.8333 | 12.3207 | 885.5333 | 59.21 | 11.8013
2019-03-27 19:45:00 | 3.0067 | 138.7 | 3.46 | 152.4133 | 5.2387 | 134.64 | 5.3667 | 23.4867 | 12.0467 | 885.1333 | 60.7667 | 12.516
2019-03-27 20:00:00 | 3.0733 | 309.4933 | 3.5467 | 340.1 | 5.3367 | 130.0867 | 5.1333 | 12.06 | 11.94 | 886 | 61.1867 | 11.4967
2019-03-27 20:15:00 | 2.9333 | 85.8927 | 3.3833 | 117.9667 | 4.8867 | 5.2 | 4.9767 | 15.5767 | 12.02 | 886 | 60.82 | 12.9313
2019-03-27 20:30:00 | 2.9333 | 309.4067 | 3.3833 | 340 | 5.2867 | 225.04 | 5.2233 | 7.6033 | 11.9333 | 886 | 61.44 | 16.1633
2019-03-27 20:45:00 | 3.0033 | 204.2067 | 3.4567 | 224.4033 | 5.71 | 124.52 | 5.91 | 12.8 | 11.79 | 886 | 62.28 | 17.8913
2019-03-27 21:00:00 | 3.4367 | 227.9933 | 3.95 | 250.5367 | 6.2233 | 119.9333 | 6.27 | 4.4867 | 11.81 | 886 | 62.9667 | 22.0327
2019-03-27 21:15:00 | 3.73 | 265.6 | 4.29 | 291.8667 | 6.65 | 238.3667 | 6.6 | 9.53 | 11.8253 | 886 | 63.37 | 28.4893
2019-03-27 21:30:00 | 4.0233 | 105.2 | 4.63 | 115.6067 | 7.05 | 7.0733 | 7.0867 | 2.1033 | 11.8367 | 886 | 63.7633 | 27.5347
2019-03-27 21:45:00 | 4.0547 | 113.9913 | 4.6633 | 125.268 | 6.718 | 185.1147 | 6.7193 | 8.4007 | 11.7693 | 886 | 64.256 | 17.2507
2019-03-27 22:00:00 | 3.7533 | 313.3433 | 4.3133 | 344.3333 | 5.8033 | 238.6533 | 6.0767 | 237.9633 | 11.8533 | 886.4667 | 64.02 | 8.66
2019-03-27 22:15:00 | 2.6593 | 191.5827 | 3.0593 | 210.5233 | 4.9707 | 25.3173 | 5.3633 | 25.3473 | 11.758 | 887 | 63.9393 | 7.3047
2019-03-27 22:30:00 | 2.4833 | 185.8967 | 2.8533 | 204.2833 | 4.8133 | 5.74 | 4.9233 | 3.75 | 11.72 | 887 | 63.99 | 11.42
2019-03-27 22:45:00 | 2.9853 | 141.2153 | 3.4427 | 155.174 | 5.6347 | 8.8807 | 5.908 | 15.8073 | 11.4693 | 887 | 66.544 | 15.3387
2019-03-27 23:00:00 | 3.2533 | 321.8733 | 3.7433 | 353.7 | 5.39 | 9.8067 | 5.9833 | 20.7867 | 11.3767 | 887 | 67.4267 | 16.482
2019-03-27 23:15:00 | 3.746 | 202.116 | 4.3173 | 222.1067 | 6.17 | 8.9653 | 6.3313 | 15.7573 | 11.3947 | 887 | 67.4387 | 16.46
2019-03-27 23:30:00 | 3.5467 | 213.0067 | 4.0767 | 234.0733 | 6.2533 | 16.4267 | 6.4267 | 19.11 | 11.3747 | 887 | 66.9233 | 12.8507
2019-03-27 23:45:00 | 3.3867 | 297.8767 | 3.9033 | 327.3333 | 5.8367 | 9.6633 | 6.11 | 15.9533 | 11.3773 | 887 | 66.92 | 20.57