## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-28 00:00:00 | 3.8614 | 112.8757 | 4.4443 | 124.0264 | 6.5521 | 7.1571 | 6.9379 | 8.0421 | 11.3514 | 886.7273 | 66.94 | 17.4179
2019-03-28 00:15:00 | 2.942 | 268.25 | 3.39 | 294.7753 | 5.3013 | 17.4707 | 5.9413 | 22.4453 | 11.0673 | 886.1333 | 68.9553 | 3.9853
2019-03-28 00:30:00 | 2.5533 | 257.8667 | 2.94 | 283.3667 | 4.8733 | 13.9333 | 5.3033 | 24.0333 | 10.84 | 887 | 69.8567 | 2.6473
2019-03-28 00:45:00 | 2.166 | 307.856 | 2.492 | 338.3067 | 3.88 | 21.6653 | 4.3853 | 27.628 | 11.0027 | 887 | 68.5547 | 0.422
2019-03-28 01:00:00 | 2.3267 | 323.4733 | 2.6767 | 355.4667 | 3.32 | 12.1633 | 3.5867 | 32.15 | 11.2267 | 886.5333 | 67.01 | 0
2019-03-28 01:15:00 | 2.5873 | 298.6353 | 2.9773 | 328.1733 | 2.9847 | 324.4147 | 2.8493 | 11.0493 | 11.6047 | 886 | 63.9933 | 0
2019-03-28 01:30:00 | 3.0067 | 319.6533 | 3.4667 | 351.2667 | 3.59 | 118.84 | 3.8833 | 3.5 | 11.68 | 886 | 63.8467 | 0.28714
2019-03-28 01:45:00 | 2.9733 | 215.8493 | 3.4253 | 237.1867 | 3.9407 | 17.4647 | 4.0853 | 9.6047 | 11.5827 | 886.6667 | 64.1947 | 3.3833
2019-03-28 02:00:00 | 3.02 | 13.91 | 3.47 | 15.2867 | 4.2533 | 9.9333 | 4.6733 | 10.55 | 11.3067 | 886 | 65.7367 | 5.2167
2019-03-28 02:15:00 | 2.746 | 117.9987 | 3.16 | 129.6693 | 4.5053 | 10.1647 | 4.6933 | 15.0733 | 10.68 | 886 | 69.7567 | 4.5867
2019-03-28 02:30:00 | 2.9 | 309.0967 | 3.3467 | 339.6667 | 4.3167 | 25.8667 | 4.4533 | 31.4167 | 10.2267 | 886 | 71.9 | 1.152
2019-03-28 02:45:00 | 3.232 | 208.0733 | 3.726 | 228.65 | 4.2413 | 14.8967 | 4.5607 | 23.994 | 10.5213 | 886 | 69.5167 | 0.23
2019-03-28 03:00:00 | 3.4467 | 221.9867 | 3.97 | 243.9367 | 4.38 | 11.0333 | 4.1767 | 21.4 | 10.77 | 885.5333 | 67.84 | 0
2019-03-28 03:15:00 | 3.024 | 316.096 | 3.4767 | 347.36 | 3.7447 | 17.8453 | 3.5207 | 19.554 | 10.8473 | 885 | 67.5167 | 0
2019-03-28 03:30:00 | 3.26 | 122.2333 | 3.76 | 134.3267 | 4.05 | 6.68 | 3.6467 | 10.1267 | 10.5267 | 885 | 69.25 | 0
2019-03-28 03:45:00 | 3.2627 | 111.5273 | 3.76 | 121.2 | 3.9367 | 2.92 | 3.6133 | 6.5133 | 10.1633 | 885 | 70.75 | 0
2019-03-28 04:00:00 | 2.9933 | 323.57 | 3.4433 | 355.5667 | 3.29 | 2.2733 | 3.0067 | 235.0267 | 10.47 | 885 | 68.5033 | 0
2019-03-28 04:15:00 | 2.776 | 306.22 | 3.1927 | 336.5 | 3.1567 | 0.41 | 2.51 | 238.1733 | 10.3767 | 885 | 68.5913 | 0
2019-03-28 04:30:00 | 2.21 | 311.74 | 2.5533 | 342.5667 | 2.5567 | 13.7967 | 1.6967 | 235.44 | 10.3367 | 885 | 68.3133 | 0
2019-03-28 04:45:00 | 1.6 | 312.4393 | 1.84 | 342.7333 | 1.74 | 23.5167 | 0.86667 | 123.3133 | 10.18 | 884.2 | 69.4233 | 0
2019-03-28 05:00:00 | 2 | 321.4133 | 2.3 | 353.2 | 2.2067 | 7.65 | 0.95333 | 353.5667 | 10.1533 | 884 | 70.0447 | 0
2019-03-28 05:15:00 | 1.7067 | 322.3233 | 1.9633 | 354.2 | 1.75 | 4.9067 | 0.013333 | 353.06 | 10.1233 | 884 | 70.89 | 0
2019-03-28 05:30:00 | 1.776 | 129.868 | 2.04 | 142.706 | 1.546 | 5.696 | 0.012 | 310.7 | 9.77 | 884 | 73.98 | 0
2019-03-28 05:45:00 | 0.97067 | 322.66 | 1.122 | 354.5667 | 0.14333 | 17.4867 | 0.15333 | 234.2867 | 9.7467 | 884 | 73.9867 | 0
2019-03-28 06:00:00 | 0.964 | 319.7387 | 1.114 | 351.36 | 0.052 | 17.36 | 0.02 | 234.2 | 9.846 | 884 | 73.37 | 0
2019-03-28 06:15:00 | 1.2733 | 130.1787 | 1.47 | 119.7133 | 0.43 | 4.3467 | 0 | 234.2 | 9.3667 | 884 | 75.8133 | 0
2019-03-28 06:30:00 | 1.74 | 324.7007 | 2.0033 | 356.8067 | 1.2033 | 9.5 | 0.02 | 78.2267 | 9.18 | 884 | 77.1333 | 0
2019-03-28 06:45:00 | 2.3433 | 322.39 | 2.7 | 354.2667 | 2.2433 | 12.07 | 0.16667 | 118.7533 | 8.8933 | 884 | 78.2933 | 0
2019-03-28 07:00:00 | 1.73 | 321.1767 | 1.9933 | 352.9333 | 1.1967 | 17.4167 | 0 | 355 | 8.9733 | 884 | 75.58 | 0
2019-03-28 07:15:00 | 1.86 | 322.7333 | 2.14 | 354.5667 | 1.3733 | 45.7467 | 0.16 | 247.1367 | 9.14 | 884 | 74.31 | 0
2019-03-28 07:30:00 | 2.9467 | 111.1933 | 3.3867 | 122.1933 | 3.2533 | 9.3867 | 1.3133 | 10.83 | 8.7867 | 884 | 76.5433 | 0
2019-03-28 07:45:00 | 3.2673 | 106.5033 | 3.7573 | 117.0333 | 3.8267 | 7.3767 | 2.9733 | 5.8833 | 8.6767 | 884 | 79.8233 | 0
2019-03-28 08:00:00 | 2.74 | 319.848 | 3.154 | 351.48 | 2.946 | 4.664 | 1.606 | 12.902 | 9.308 | 884.4667 | 76.376 | 0
2019-03-28 08:15:00 | 2.3667 | 320.33 | 2.7267 | 352 | 2.3767 | 356.9 | 0.66 | 4.7 | 10.11 | 885 | 72.5233 | 0
2019-03-28 08:30:00 | 2.4867 | 112.8967 | 2.8667 | 124.0533 | 2.7767 | 164.6733 | 1.1133 | 1.8133 | 9.8367 | 885.4667 | 74.5327 | 0
2019-03-28 08:45:00 | 2.3467 | 0.58333 | 2.7 | 0.63 | 2.4133 | 1.0233 | 0.28 | 343.5667 | 10.2567 | 886 | 72.41 | 0
2019-03-28 09:00:00 | 2.48 | 1.0767 | 2.8533 | 1.1833 | 2.6867 | 4.4567 | 0.64667 | 350.7667 | 10.3633 | 886 | 72.8833 | 0
2019-03-28 09:15:00 | 2.0793 | 106.458 | 2.396 | 116.986 | 2.2247 | 4.1613 | 0.66067 | 307.6133 | 10.792 | 886.1333 | 71.7847 | 0
2019-03-28 09:30:00 | 0.77333 | 322.02 | 0.90333 | 353.8667 | 0.67 | 35.7067 | 0.7 | 216.6 | 12.4033 | 887 | 63.89 | 0
2019-03-28 09:45:00 | 0.60667 | 218.7333 | 0.7 | 240.3633 | 0.37333 | 305.6333 | 0.72667 | 212.5 | 12.7433 | 887 | 62.3567 | 0
2019-03-28 10:00:00 | 1.02 | 106.3267 | 1.18 | 116.83 | 1.1467 | 179.9 | 1.2933 | 191.0333 | 13.9433 | 887 | 60.606 | 0
2019-03-28 10:15:00 | 2.6067 | 154.3107 | 3.0053 | 169.5733 | 2.7107 | 151.92 | 2.4807 | 194.08 | 14.2927 | 887 | 60.2113 | 0
2019-03-28 10:30:00 | 3.0333 | 164.5 | 3.49 | 180.7667 | 3.23 | 177.7667 | 3.2933 | 189.9333 | 14.37 | 887 | 59.2067 | 0.53867
2019-03-28 10:45:00 | 3.6467 | 156.2893 | 4.2013 | 171.74 | 3.772 | 187.5533 | 3.7867 | 206.66 | 14.492 | 887.6667 | 58.6967 | 1.2093
2019-03-28 11:00:00 | 3.6167 | 156.7333 | 4.1567 | 172.2333 | 3.8867 | 175.9 | 3.74 | 202.0667 | 14.98 | 887.4667 | 56.0033 | 1.8087
2019-03-28 11:15:00 | 3.706 | 160.5947 | 4.2627 | 176.48 | 4.0933 | 206.36 | 3.5207 | 183.6733 | 15.2347 | 887.2 | 54.1687 | 2.0073
2019-03-28 11:30:00 | 3.52 | 161.8633 | 4.0533 | 177.8667 | 3.86 | 164.0333 | 3.9067 | 172.8 | 15.74 | 887 | 52.1033 | 2.7533
2019-03-28 11:45:00 | 3.4567 | 167.15 | 3.9767 | 183.6667 | 3.95 | 171.9333 | 4.06 | 208.3667 | 16.36 | 887 | 50.4567 | 2.5967
2019-03-28 12:00:00 | 3.95 | 140.93 | 4.5433 | 154.8667 | 4.57 | 175.8 | 4.3267 | 179.9667 | 16.8 | 887 | 49.6367 | 4.138
2019-03-28 12:15:00 | 4.47 | 135.41 | 5.14 | 148.8 | 5.2467 | 157.5 | 5.5 | 185.0667 | 17.0367 | 887 | 48.5933 | 5.7973
2019-03-28 12:30:00 | 4.652 | 136.244 | 5.36 | 149.72 | 5.496 | 144.8 | 5.68 | 164 | 17.336 | 887 | 48.49 | 7.3587
2019-03-28 12:45:00 | 5.0467 | 131.4333 | 5.8133 | 144.4333 | 6.1833 | 169.4 | 6.1367 | 159.4333 | 17.98 | 886.8667 | 47.7167 | 8.0013
2019-03-28 13:00:00 | 4.308 | 137.502 | 4.96 | 151.1 | 5.222 | 166.2 | 5.416 | 167.14 | 18.056 | 886 | 47.216 | 7.5093
2019-03-28 13:15:00 | 4.1833 | 154.2533 | 4.81 | 169.5 | 4.9533 | 150.6667 | 5.4533 | 163.8 | 18.7733 | 886 | 45.51 | 6.9907
2019-03-28 13:30:00 | 4.93 | 116.862 | 5.67 | 128.42 | 5.81 | 134.4 | 6.114 | 156.76 | 18.854 | 886 | 44.94 | 8.3487
2019-03-28 13:45:00 | 4.1067 | 162.5833 | 4.7267 | 178.6667 | 4.8533 | 201.2667 | 5.1933 | 182.6667 | 19.29 | 886 | 43.4867 | 9.6713
2019-03-28 14:00:00 | 4.86 | 157.72 | 5.588 | 173.32 | 5.446 | 171.38 | 5.708 | 170.38 | 19.694 | 886 | 42.5 | 10.4753
2019-03-28 14:15:00 | 4.994 | 160.4853 | 5.7467 | 176.3533 | 6.09 | 139.62 | 5.8473 | 156.1333 | 19.8667 | 886 | 42.0713 | 10.9953
2019-03-28 14:30:00 | 5.3 | 155.2733 | 6.1 | 170.6333 | 6.1933 | 173.9 | 6.26 | 156.4 | 19.8267 | 886 | 42.0473 | 10.614
2019-03-28 14:45:00 | 4.3567 | 158.1867 | 5.02 | 173.8333 | 5.2867 | 199.0667 | 5.73 | 191.6667 | 20.4133 | 886 | 40.6167 | 8.698
2019-03-28 15:00:00 | 4.616 | 167.024 | 5.314 | 183.54 | 5.436 | 197.44 | 5.72 | 188.54 | 20.4813 | 885.5333 | 39.974 | 9.3627
2019-03-28 15:15:00 | 4.9333 | 155.0767 | 5.6767 | 170.4 | 5.78 | 167.2333 | 5.94 | 181.1 | 20.6133 | 885 | 40.0333 | 8.2587
2019-03-28 15:30:00 | 5.022 | 150.832 | 5.776 | 165.74 | 5.74 | 169.0533 | 5.932 | 186 | 20.73 | 885 | 39.6093 | 6.8047
2019-03-28 15:45:00 | 4.66 | 140.6967 | 5.3633 | 154.6 | 5.45 | 159.8 | 5.5633 | 181.5333 | 20.6967 | 885 | 39.6533 | 7.4487
2019-03-28 16:00:00 | 4.388 | 137.998 | 5.052 | 149.8667 | 5.2033 | 196.8 | 5.37 | 179.1333 | 20.9367 | 885 | 39.1933 | 6.8647
2019-03-28 16:15:00 | 4.504 | 151.6167 | 5.1773 | 166.6067 | 5.402 | 175.3533 | 5.6867 | 168.2333 | 21.1527 | 885 | 38.8827 | 4.7367
2019-03-28 16:30:00 | 3.1133 | 170.14 | 3.58 | 187.6 | 3.9067 | 184.8667 | 4.2367 | 201.6333 | 21.35 | 885 | 38.4667 | 5.5967
2019-03-28 16:45:00 | 4.1573 | 155.6347 | 4.7927 | 171.02 | 4.8367 | 185.7133 | 4.9153 | 204.68 | 21.3367 | 884.8667 | 38.3333 | 8.0547
2019-03-28 17:00:00 | 3.744 | 132.1067 | 4.316 | 145.1667 | 4.6367 | 144.2667 | 4.8167 | 182.8333 | 21.3567 | 884 | 38.5933 | 11.3987
2019-03-28 17:15:00 | 4.1693 | 144.8827 | 4.8033 | 159.2 | 5.3147 | 160.2133 | 5.5087 | 169.4467 | 21.508 | 884 | 38.018 | 12.0313
2019-03-28 17:30:00 | 4.154 | 136.41 | 4.78 | 149.9 | 5.0533 | 178.2 | 5.1633 | 180.4333 | 21.2433 | 884 | 37.8467 | 13.326
2019-03-28 17:45:00 | 3.9833 | 135.5633 | 4.59 | 148.9667 | 4.8133 | 175.0667 | 5.3567 | 179.4 | 20.9767 | 884 | 38.1167 | 15.1893
2019-03-28 18:00:00 | 3.872 | 164.722 | 4.454 | 181.4333 | 4.7267 | 172 | 5.2367 | 189.7333 | 20.83 | 884 | 38.51 | 19.246
2019-03-28 18:15:00 | 4.0467 | 137.11 | 4.6567 | 150.6667 | 4.7267 | 178.1667 | 5.3367 | 182.9 | 20.5133 | 884 | 39.2433 | 19.762
2019-03-28 18:30:00 | 3.9733 | 141.0033 | 4.57 | 154.9333 | 4.88 | 194.3667 | 5.27 | 200.2333 | 20.22 | 884 | 40.1033 | 20.112
2019-03-28 18:45:00 | 4.2147 | 159.844 | 4.8573 | 175.6533 | 5.042 | 209.3933 | 5.6787 | 188.9067 | 19.9373 | 884 | 41.7447 | 20.8467
2019-03-28 19:00:00 | 4.2833 | 159.56 | 4.9267 | 173.7 | 5.0267 | 182.2 | 5.5533 | 192.4667 | 19.66 | 884 | 43.3567 | 22.3513
2019-03-28 19:15:00 | 4.0813 | 142.2273 | 4.6927 | 156.28 | 4.8733 | 205.3267 | 5.6353 | 203.64 | 19.266 | 883.2 | 45.2313 | 22.8633
2019-03-28 19:30:00 | 4.4233 | 181.2167 | 5.0867 | 199.1333 | 5.2933 | 193.9667 | 6.13 | 190.0667 | 18.9367 | 883 | 46.38 | 21.1073
2019-03-28 19:45:00 | 4.704 | 172.1573 | 5.4187 | 189.1867 | 5.7193 | 196.0067 | 6.2773 | 201.9867 | 18.6887 | 883 | 47.502 | 18.776
2019-03-28 20:00:00 | 4.54 | 179.39 | 5.2267 | 197.1333 | 5.45 | 181.2 | 5.7667 | 203.3 | 18.4267 | 883 | 48.73 | 16.0287
2019-03-28 20:15:00 | 4.1433 | 180.7953 | 4.776 | 198.68 | 5.1193 | 213.4533 | 5.4147 | 197.84 | 18.176 | 883.1333 | 49.9807 | 15.0247
2019-03-28 20:30:00 | 4.45 | 142.7467 | 5.1233 | 156.8667 | 5.3733 | 189.9333 | 5.8333 | 185.0333 | 17.9467 | 884 | 50.9567 | 15.798
2019-03-28 20:45:00 | 3.68 | 158.674 | 4.238 | 174.36 | 4.436 | 182.98 | 4.702 | 190.46 | 17.6 | 884 | 52.404 | 14.866
2019-03-28 21:00:00 | 3.9867 | 178.1233 | 4.5833 | 195.7333 | 4.8333 | 191.9 | 5.2633 | 196.2333 | 17.48 | 884 | 52.9133 | 11.6533
2019-03-28 21:15:00 | 3.6147 | 164.9293 | 4.162 | 181.2333 | 4.5167 | 191.36 | 4.7513 | 204.64 | 17.184 | 884 | 54.1833 | 9.8113
2019-03-28 21:30:00 | 3.42 | 166.1367 | 3.9333 | 182.5667 | 4.2867 | 189.9667 | 4.2267 | 192.2333 | 16.9533 | 884 | 55.1867 | 8.9747
2019-03-28 21:45:00 | 3.196 | 154.0927 | 3.686 | 169.3267 | 3.9907 | 201.58 | 4.3027 | 188.64 | 16.6593 | 884 | 56.384 | 8.9567
2019-03-28 22:00:00 | 3.1733 | 159.7367 | 3.6567 | 175.5333 | 3.8767 | 188.0667 | 4.3367 | 185.9667 | 16.6253 | 884 | 56.5973 | 10.3193
2019-03-28 22:15:00 | 3.2387 | 162.4827 | 3.7267 | 178.5467 | 3.9733 | 188.8067 | 4.446 | 195.4867 | 16.6213 | 884 | 56.768 | 11.2907
2019-03-28 22:30:00 | 2.7 | 187.61 | 3.1067 | 206.1667 | 3.3633 | 197.9 | 3.63 | 219.9667 | 16.3833 | 884 | 57.6067 | 12.3393
2019-03-28 22:45:00 | 3.26 | 170.7987 | 3.758 | 187.6867 | 4.5147 | 213.86 | 4.8953 | 219.4733 | 16.0927 | 884 | 59.184 | 12.3853
2019-03-28 23:00:00 | 3.32 | 174.0267 | 3.8267 | 191.2333 | 4.61 | 213.6 | 4.7933 | 217.6667 | 16.0833 | 884 | 59.78 | 11.156
2019-03-28 23:15:00 | 2.9933 | 180.8833 | 3.4467 | 198.7667 | 3.76 | 212.8333 | 3.8467 | 213.1333 | 15.8567 | 884 | 60.7333 | 12.156
2019-03-28 23:30:00 | 3.08 | 190.47 | 3.5467 | 209.3 | 3.9333 | 214.8333 | 4.2533 | 213 | 15.824 | 884 | 60.7133 | 10.94
2019-03-28 23:45:00 | 3.2407 | 179.678 | 3.7273 | 197.4467 | 4.1853 | 218.0067 | 4.5973 | 213.8333 | 15.968 | 883.8667 | 59.9447 | 10.3087