## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-29 00:00:00 | 3.8807 | 177.9229 | 4.4693 | 195.5143 | 4.9993 | 212.5286 | 5.1521 | 214.7286 | 15.8829 | 883 | 60.238 | 14.0714
2019-03-29 00:15:00 | 3.7333 | 178.9393 | 4.2947 | 196.6333 | 4.8427 | 215.1 | 5.1333 | 216.92 | 15.768 | 883 | 60.93 | 11.208
2019-03-29 00:30:00 | 2.8 | 179.13 | 3.22 | 196.8333 | 3.8467 | 211.8667 | 4.44 | 226.3 | 15.3967 | 883 | 62.11 | 11.87
2019-03-29 00:45:00 | 2.7907 | 164.8307 | 3.2087 | 181.1333 | 3.8533 | 217.96 | 4.4293 | 216.0333 | 14.9993 | 883 | 63.56 | 12.676
2019-03-29 01:00:00 | 2.4533 | 164.4067 | 2.8267 | 180.6667 | 3.39 | 215.9667 | 3.9767 | 216.6333 | 14.87 | 883 | 64.82 | 8.4187
2019-03-29 01:15:00 | 2.032 | 161.4607 | 2.3467 | 177.4267 | 2.75 | 185.88 | 3.294 | 192.9267 | 14.658 | 882.8667 | 65.1673 | 10.01
2019-03-29 01:30:00 | 2.4467 | 176.0067 | 2.8233 | 193.4 | 3.1933 | 204.6667 | 3.56 | 220.1 | 14.4833 | 882 | 65.87 | 9.1967
2019-03-29 01:45:00 | 1.7467 | 158.1667 | 2.0133 | 173.8 | 2.5667 | 212.4 | 2.8533 | 212.8 | 14.5867 | 882 | 66.08 | 7.2113
2019-03-29 02:00:00 | 2.0667 | 162.4133 | 2.3867 | 178.4667 | 2.7467 | 204.8 | 3.3133 | 208.4667 | 14.2533 | 882 | 66.6467 | 7.6493
2019-03-29 02:15:00 | 2.408 | 166.4753 | 2.7773 | 185.0867 | 3.24 | 197.64 | 3.44 | 201.1867 | 14.1673 | 882 | 67.4847 | 7.42
2019-03-29 02:30:00 | 2.602 | 197.744 | 2.99 | 217.3 | 3.49 | 204.7 | 3.89 | 213.32 | 14.2453 | 882 | 66.9847 | 11.86
2019-03-29 02:45:00 | 2.7747 | 174.1133 | 3.1893 | 191.3333 | 3.8233 | 212.7 | 4.2033 | 223.9667 | 14.2 | 882 | 67.3467 | 11.3847
2019-03-29 03:00:00 | 3.066 | 167.528 | 3.522 | 184.1 | 4.288 | 213.18 | 4.462 | 219.7 | 14.414 | 882 | 67.01 | 10.718
2019-03-29 03:15:00 | 2.72 | 178.2067 | 3.1267 | 195.8333 | 3.9367 | 221.66 | 4.32 | 222.6667 | 14.2167 | 881.8667 | 68.02 | 9.4533
2019-03-29 03:30:00 | 3.232 | 173.572 | 3.716 | 190.74 | 4.4747 | 213.72 | 4.642 | 220.98 | 14.232 | 881 | 68.602 | 10.0327
2019-03-29 03:45:00 | 2.68 | 147.4767 | 3.0867 | 162.0667 | 3.58 | 214.6667 | 3.97 | 216.8667 | 14.0167 | 881 | 69.55 | 10.0407
2019-03-29 04:00:00 | 2.4933 | 150.6967 | 2.8667 | 165.6 | 3.34 | 203.6 | 3.99 | 212.3333 | 13.6033 | 881 | 70.7033 | 7.07
2019-03-29 04:15:00 | 1.7133 | 157.92 | 1.9733 | 173.5333 | 2.37 | 192.4667 | 2.8967 | 197.1 | 13.4067 | 881 | 71.8 | 4.6027
2019-03-29 04:30:00 | 2.462 | 165.27 | 2.836 | 181.6 | 3.242 | 188.94 | 3.568 | 203.18 | 13.448 | 881 | 71.744 | 7.036
2019-03-29 04:45:00 | 2.7373 | 159.2053 | 3.1493 | 174.9467 | 3.6453 | 187.0067 | 4.1947 | 207.72 | 13.2247 | 881 | 72.9593 | 7.712
2019-03-29 05:00:00 | 2.67 | 157.7667 | 3.0733 | 173.3667 | 3.5333 | 184.3 | 3.62 | 203.8 | 13.0033 | 881 | 74.21 | 7.5967
2019-03-29 05:15:00 | 2.5287 | 155.6633 | 2.9147 | 171.0533 | 3.4173 | 181.5 | 3.6427 | 209.5067 | 12.7153 | 881 | 75.818 | 5.6067
2019-03-29 05:30:00 | 2.206 | 158.674 | 2.538 | 174.36 | 3.102 | 178.68 | 3.398 | 205.76 | 12.7393 | 881 | 76.284 | 3.5727
2019-03-29 05:45:00 | 1.7833 | 162.338 | 2.0573 | 178.3933 | 2.8647 | 180.52 | 2.924 | 200.98 | 12.842 | 881 | 76.2053 | 2.4967
2019-03-29 06:00:00 | 1.412 | 172.572 | 1.626 | 189.64 | 2.488 | 177.12 | 2.784 | 192.92 | 12.924 | 881 | 76.08 | 1.2327
2019-03-29 06:15:00 | 0.42333 | 222.77 | 0.49333 | 244.8 | 0.56333 | 122.8933 | 0.91333 | 135.1933 | 12.9573 | 881 | 76.0927 | 0.20533
2019-03-29 06:30:00 | 1.4967 | 314.4453 | 1.7333 | 345.54 | 1.79 | 239.56 | 1.6067 | 237.26 | 12.92 | 881 | 76.3167 | 0
2019-03-29 06:45:00 | 2.2793 | 324.1853 | 2.622 | 356.2467 | 2.8887 | 236 | 2.572 | 238.1 | 12.742 | 881.1333 | 76.576 | 0
2019-03-29 07:00:00 | 2.976 | 322.476 | 3.424 | 354.36 | 4.096 | 13.56 | 3.598 | 21.73 | 12.266 | 882 | 77.496 | 0.548
2019-03-29 07:15:00 | 3.3267 | 314.9867 | 3.8267 | 346.1333 | 4.86 | 17.76 | 4.88 | 25.0033 | 12.53 | 882 | 76.97 | 1.8913
2019-03-29 07:30:00 | 3.172 | 123.68 | 3.644 | 135.906 | 4.186 | 47.208 | 4.554 | 19.614 | 12.814 | 882 | 75.808 | 2.7807
2019-03-29 07:45:00 | 2.7533 | 217.5467 | 3.1667 | 239.0667 | 3.9967 | 15.2033 | 4.87 | 25.01 | 13.0133 | 882.8 | 74.9847 | 4.87
2019-03-29 08:00:00 | 2.68 | 3.304 | 3.08 | 3.626 | 4.108 | 14.912 | 4.998 | 24.256 | 13.088 | 883 | 75.038 | 5.5327
2019-03-29 08:15:00 | 2.6133 | 112 | 3.0133 | 123.0667 | 3.9933 | 46.48 | 4.1233 | 125.5933 | 13.19 | 883.8 | 74.9687 | 5.2047
2019-03-29 08:30:00 | 2.64 | 131.026 | 3.038 | 143.98 | 4.294 | 6.596 | 4.278 | 152.326 | 13.288 | 884 | 74.28 | 3.406
2019-03-29 08:45:00 | 2.9307 | 110.0433 | 3.3687 | 120.9267 | 3.6 | 24.1467 | 3.7867 | 8.8933 | 13.81 | 884.1333 | 71.6467 | 2.8553
2019-03-29 09:00:00 | 2.734 | 313.06 | 3.144 | 344.02 | 3.238 | 240.224 | 3.33 | 212.676 | 14.166 | 885 | 70.6087 | 0.57
2019-03-29 09:15:00 | 2.6913 | 269.7933 | 3.096 | 297.4333 | 3.2267 | 356.7467 | 3.2633 | 62.96 | 15.0933 | 885.1333 | 67.7 | 0.66067
2019-03-29 09:30:00 | 3.3333 | 65.72 | 3.8367 | 72.22 | 4.1133 | 355.8 | 4.15 | 266.9 | 15.0867 | 886 | 67.74 | 3.7287
2019-03-29 09:45:00 | 3.0873 | 184.8007 | 3.5573 | 223.51 | 4.61 | 19.73 | 4.7733 | 7.1633 | 16.1067 | 886 | 65.0267 | 4.4627
2019-03-29 10:00:00 | 2.8333 | 21.21 | 3.26 | 23.31 | 4.11 | 13.8367 | 4.16 | 10.8233 | 16.3733 | 886.4667 | 63.58 | 2.9927
2019-03-29 10:15:00 | 3.2773 | 110.814 | 3.7767 | 121.7653 | 4.5587 | 8.1333 | 4.4093 | 15.9407 | 16.7393 | 887 | 62.3107 | 5.5427
2019-03-29 10:30:00 | 3.74 | 103.9433 | 4.3033 | 114.22 | 5.6867 | 8.54 | 5.2867 | 12.37 | 17.2453 | 887 | 60.8867 | 8.63
2019-03-29 10:45:00 | 4.01 | 93.0313 | 4.6133 | 102.9933 | 6.5667 | 10.23 | 6.3133 | 18.9 | 18.3733 | 887 | 57.6733 | 8.362
2019-03-29 11:00:00 | 3.884 | 117.348 | 4.466 | 128.942 | 6.366 | 2.724 | 6.452 | 14.692 | 19.2 | 887 | 55.068 | 8.5447
2019-03-29 11:15:00 | 4.3333 | 124.6833 | 4.9967 | 137.0133 | 6.8233 | 30.26 | 6.7733 | 29.7733 | 19.05 | 887 | 55.3367 | 12.3953
2019-03-29 11:30:00 | 4.828 | 310.254 | 5.558 | 340.94 | 8.024 | 28.77 | 7.986 | 34.638 | 19.592 | 887 | 53.298 | 21.8313
2019-03-29 11:45:00 | 5.936 | 208.62 | 6.8287 | 230.0333 | 10.0667 | 12.86 | 9.9467 | 28.9433 | 19.88 | 887.6667 | 52.2167 | 28.5967
2019-03-29 12:00:00 | 6.6167 | 2.2767 | 7.6167 | 2.4933 | 10.9667 | 24.82 | 10.7267 | 11.5033 | 20.1667 | 887 | 51.2833 | 33.4093
2019-03-29 12:15:00 | 6.3133 | 23.162 | 7.2633 | 27.7813 | 10.532 | 10.7993 | 10.5547 | 24.0867 | 20.6593 | 887 | 48.672 | 30.9287
2019-03-29 12:30:00 | 6.1333 | 195.8867 | 7.0567 | 215.2467 | 10.6667 | 10.8533 | 10.5333 | 20.8467 | 21.2967 | 887 | 47.83 | 34.3613
2019-03-29 12:45:00 | 6.4047 | 78.9473 | 7.366 | 86.7553 | 11.32 | 9.3673 | 10.92 | 19.0527 | 22.236 | 887 | 45.7447 | 38.4167
2019-03-29 13:00:00 | 6.518 | 263.212 | 7.496 | 289.24 | 11.326 | 4.236 | 10.866 | 29.144 | 22.22 | 887 | 45.1 | 34.4627
2019-03-29 13:15:00 | 5.9533 | 271.7333 | 6.8433 | 298.6 | 9.9767 | 10.06 | 9.45 | 12.3633 | 22.6067 | 887 | 42.8867 | 28.224
2019-03-29 13:30:00 | 5.916 | 119.318 | 6.808 | 131.112 | 9.368 | 25.168 | 8.94 | 20.848 | 22.178 | 887 | 42.4987 | 28.768
2019-03-29 13:45:00 | 5.3467 | 113.4533 | 6.15 | 124.6667 | 8.8633 | 5.2 | 7.8067 | 17.9 | 22.1167 | 887 | 40.52 | 30.1473
2019-03-29 14:00:00 | 5.668 | 318.624 | 6.522 | 350.14 | 9.376 | 18.152 | 8.358 | 23.946 | 22.334 | 887 | 39.006 | 35.7873
2019-03-29 14:15:00 | 5.7867 | 98.51 | 6.6567 | 108.2533 | 9.4533 | 31.0167 | 8.4667 | 33.7033 | 22.4873 | 886.8667 | 38.59 | 37.3767
2019-03-29 14:30:00 | 6.364 | 121.28 | 7.328 | 133.272 | 10.344 | 24.308 | 9.906 | 21.19 | 22.5 | 886 | 38.48 | 37.7373
2019-03-29 14:45:00 | 5.7907 | 109.0807 | 6.6653 | 119.86 | 9.536 | 36.5647 | 8.9613 | 23.6873 | 22.514 | 886 | 37.966 | 37.728
2019-03-29 15:00:00 | 5.4229 | 281.7257 | 6.2357 | 309.5857 | 8.85 | 34.8571 | 8.08 | 38.8786 | 22.62 | 886 | 36.4757 | 41.0067
2019-03-29 15:15:00 | 6.1767 | 211.92 | 7.1167 | 232.8733 | 10.2167 | 22.3633 | 10.2067 | 34.1767 | 22.55 | 886 | 34.75 | 39.3293
2019-03-29 15:30:00 | 6.1033 | 116.0067 | 7.0233 | 127.4733 | 10.31 | 23.2367 | 10.6 | 22.8233 | 22.4967 | 886 | 34.69 | 38.6287
2019-03-29 15:45:00 | 6.6533 | 12.5647 | 7.6593 | 13.8053 | 10.942 | 29.3387 | 10.554 | 33.4953 | 22.7747 | 886 | 33.5013 | 36.5153
2019-03-29 16:00:00 | 6.094 | 177.372 | 7.01 | 194.908 | 10.124 | 21.34 | 9.84 | 39.424 | 22.626 | 886 | 33.354 | 36.7473
2019-03-29 16:15:00 | 5.8667 | 34.3333 | 6.75 | 37.72 | 10.11 | 7.8367 | 9.7433 | 18.98 | 22.5 | 885.2 | 33.0867 | 33.6907
2019-03-29 16:30:00 | 6.104 | 197.016 | 7.022 | 216.492 | 10.538 | 17.238 | 9.996 | 17.672 | 22.506 | 885 | 32.838 | 33.584
2019-03-29 16:45:00 | 5.4267 | 115.96 | 6.25 | 127.42 | 9.24 | 29.81 | 8.85 | 33.2167 | 22.3867 | 885 | 32.1327 | 33.3133
2019-03-29 17:00:00 | 5.766 | 260.352 | 6.634 | 286.1 | 9.952 | 34.158 | 9.402 | 42.456 | 22.164 | 885 | 32.072 | 35.922
2019-03-29 17:15:00 | 5.3287 | 119.438 | 6.128 | 131.244 | 9.2333 | 7.4047 | 9.46 | 29.3013 | 21.9787 | 885 | 31.9947 | 33.1967
2019-03-29 17:30:00 | 5.244 | 308.208 | 6.038 | 338.68 | 9.186 | 22.052 | 9.196 | 35.742 | 21.644 | 885 | 32.3053 | 27.4493
2019-03-29 17:45:00 | 5.0093 | 287.492 | 5.7647 | 315.92 | 8.828 | 31.6587 | 8.9093 | 33.0307 | 21.3813 | 885 | 32.6487 | 25.0147
2019-03-29 18:00:00 | 5.432 | 316.21 | 6.25 | 347.48 | 9.616 | 16.8 | 9.472 | 41.792 | 21.162 | 885 | 32.618 | 19.5347
2019-03-29 18:15:00 | 4.5467 | 270.9667 | 5.2333 | 297.7667 | 8.3 | 20.63 | 8.7067 | 26.13 | 20.63 | 885 | 33.7467 | 15.2927
2019-03-29 18:30:00 | 4.24 | 72.358 | 4.878 | 79.51 | 7.838 | 9.754 | 8.072 | 30.378 | 20.064 | 885 | 35.07 | 14.584
2019-03-29 18:45:00 | 4.2613 | 296.614 | 4.9107 | 325.9533 | 7.908 | 7.4787 | 8.0407 | 27.186 | 19.608 | 885 | 35.8733 | 15.9447
2019-03-29 19:00:00 | 4.1 | 228.536 | 4.72 | 251.14 | 7.652 | 21.646 | 7.788 | 25.41 | 19.406 | 884.5333 | 35.978 | 17.5947
2019-03-29 19:15:00 | 4.0787 | 186.644 | 4.6933 | 205.1 | 7.6033 | 15.362 | 7.652 | 15.6013 | 18.8393 | 884 | 37.1107 | 18.8767
2019-03-29 19:30:00 | 4.008 | 249.7367 | 4.608 | 274.4333 | 7.0933 | 15.1633 | 6.8867 | 17.64 | 18.2967 | 884 | 38.0333 | 21.3753
2019-03-29 19:45:00 | 3.9867 | 75.6333 | 4.5833 | 83.1133 | 6.9267 | 115.0533 | 6.7 | 11.41 | 17.8933 | 884 | 38.3967 | 22.724
2019-03-29 20:00:00 | 3.956 | 232.868 | 4.56 | 263.8333 | 7.0667 | 117.32 | 7.0733 | 17.3433 | 17.46 | 884 | 39.1967 | 21.8587
2019-03-29 20:15:00 | 3.9 | 1.9733 | 4.4867 | 2.16 | 6.8067 | 134.4267 | 6.5233 | 129.7933 | 17.24 | 884 | 39.6833 | 18.5633
2019-03-29 20:30:00 | 3.62 | 7.6 | 4.166 | 8.3533 | 6.16 | 350.3667 | 5.7433 | 174.8333 | 17.1867 | 884 | 40.0367 | 17.3507
2019-03-29 20:45:00 | 3.3193 | 109.4153 | 3.8193 | 120.236 | 6.054 | 233.9367 | 5.89 | 338.8533 | 16.726 | 884 | 41.5993 | 25.0147
2019-03-29 21:00:00 | 4.0667 | 275.52 | 4.6833 | 304.1667 | 7.53 | 49.81 | 7.2267 | 121.0867 | 16.4267 | 884 | 43.09 | 30.3587
2019-03-29 21:15:00 | 4.3973 | 197.9813 | 5.0647 | 217.56 | 7.734 | 336.016 | 7.5107 | 5.2733 | 16.174 | 884.1333 | 44.922 | 30.2967
2019-03-29 21:30:00 | 4.6533 | 10.2433 | 5.3633 | 11.2533 | 7.4733 | 119.0267 | 7.1947 | 6.97 | 16.11 | 885 | 46.0567 | 30.8567
2019-03-29 21:45:00 | 5.4493 | 245.394 | 6.28 | 269.6587 | 7.508 | 144.3993 | 7.2547 | 8.5427 | 16.328 | 885 | 46.0687 | 34.832
2019-03-29 22:00:00 | 5.6267 | 209.59 | 6.48 | 230.3233 | 8.5767 | 118.94 | 8.2633 | 11.0567 | 16.0267 | 885 | 47.8567 | 35.3527
2019-03-29 22:15:00 | 5.6107 | 68.1513 | 6.4533 | 74.8933 | 8.642 | 4.4907 | 8.474 | 14.4087 | 15.4827 | 885 | 50.8433 | 35.4153
2019-03-29 22:30:00 | 5.8067 | 217.23 | 6.6767 | 238.7167 | 8.4633 | 12.0533 | 8.1467 | 13.6933 | 15.23 | 885 | 52.44 | 37.3327
2019-03-29 22:45:00 | 5.652 | 86.8453 | 6.4973 | 95.4293 | 8.8193 | 7.616 | 8.7713 | 9.8573 | 14.8093 | 885 | 54.3653 | 37.4773
2019-03-29 23:00:00 | 5.82 | 160.8 | 6.7 | 176.7 | 9.4567 | 17.5833 | 9.2267 | 10.0067 | 14.5767 | 885 | 55.2067 | 37.0473
2019-03-29 23:15:00 | 5.1007 | 50.568 | 5.872 | 55.5607 | 8.6313 | 33.04 | 8.4647 | 25.7833 | 14.2233 | 885 | 56.3807 | 38.824
2019-03-29 23:30:00 | 5.54 | 0.89667 | 6.3767 | 0.98 | 8.48 | 73.356 | 8.59 | 10.44 | 14.0567 | 885 | 56.8133 | 39.7073
2019-03-29 23:45:00 | 5.8093 | 25.7407 | 6.6807 | 28.2813 | 9.3807 | 131.5013 | 8.8433 | 2.6013 | 13.8953 | 885 | 57.3267 | 42.494