## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-30 00:00:00 | 6.0214 | 198.41 | 6.9243 | 218.0321 | 9.6607 | 128.3407 | 9.3579 | 2.9971 | 13.7136 | 885 | 57.585 | 44.15
2019-03-30 00:15:00 | 6.9707 | 313.3907 | 8.024 | 344.3733 | 9.6793 | 226.5873 | 9.3347 | 7.4873 | 13.7933 | 885 | 56.3673 | 47.3333
2019-03-30 00:30:00 | 6.8767 | 305.2167 | 7.91 | 335.4 | 10.09 | 8.7467 | 9.7367 | 9.8433 | 13.72 | 885 | 56.01 | 49.8867
2019-03-30 00:45:00 | 7.4307 | 16.0493 | 8.5573 | 17.6353 | 11.6047 | 263.452 | 11.2073 | 19.7127 | 13.4613 | 885 | 56.3273 | 51.448
2019-03-30 01:00:00 | 7.576 | 140.0167 | 8.724 | 153.8507 | 11.7287 | 12.0053 | 11.3293 | 20.8093 | 13.3493 | 885 | 56.422 | 50.2553
2019-03-30 01:15:00 | 7.3527 | 34.1167 | 8.46 | 37.4907 | 11.6033 | 3.944 | 11.0613 | 334.1427 | 13.2533 | 885 | 56.342 | 50.1467
2019-03-30 01:30:00 | 7.24 | 150.92 | 8.3333 | 165.8467 | 11.6367 | 237.85 | 11.0967 | 356.7 | 13.1267 | 885 | 56.51 | 51.028
2019-03-30 01:45:00 | 7.5607 | 232.948 | 8.7027 | 255.984 | 12.2987 | 18.9827 | 11.8087 | 12.776 | 12.99 | 885 | 56.404 | 51.3327
2019-03-30 02:00:00 | 7.3533 | 199.6233 | 8.4533 | 219.3633 | 11.78 | 33.3267 | 11.3833 | 20.5933 | 13.14 | 885 | 54.9167 | 51.156
2019-03-30 02:15:00 | 7.4733 | 91.3693 | 8.5947 | 100.3993 | 11.8947 | 13.3047 | 11.8 | 279.4067 | 13.09 | 885 | 54.2187 | 50.5947
2019-03-30 02:30:00 | 7.35 | 99.55 | 8.4533 | 109.3867 | 11.42 | 7.51 | 11.4233 | 36.9667 | 13.07 | 885 | 53.3733 | 51.3887
2019-03-30 02:45:00 | 7.6133 | 81.7207 | 8.758 | 89.7993 | 12.398 | 17.2813 | 12.1727 | 20.8513 | 12.9107 | 885 | 53.1853 | 51.7127
2019-03-30 03:00:00 | 7.46 | 311.1267 | 8.5833 | 341.9 | 12.19 | 13.28 | 11.84 | 19.3267 | 12.8253 | 885 | 53.0933 | 51.52
2019-03-30 03:15:00 | 8 | 10.31 | 9.2 | 11.33 | 13.23 | 11.45 | 12.91 | 14.24 | 12.77 | 885 | 52.964 | 52.7373
2019-03-30 03:30:00 | 7.93 | 71.6213 | 9.1213 | 78.704 | 13.7307 | 17.0767 | 13.4867 | 16.3413 | 12.5793 | 885 | 53.6647 | 54.516
2019-03-30 03:45:00 | 7.932 | 9.1433 | 9.1267 | 10.0433 | 13.8387 | 2.7 | 13.554 | 20.0153 | 12.5067 | 885 | 53.904 | 55.1553
2019-03-30 04:00:00 | 7.8533 | 176.1 | 9.0333 | 193.5167 | 13.6467 | 5.4767 | 13.5067 | 19.46 | 12.4033 | 884.5333 | 54.7233 | 54.86
2019-03-30 04:15:00 | 8.1093 | 266.178 | 9.3307 | 292.5067 | 14.1947 | 10.752 | 13.8067 | 19.258 | 12.3527 | 884 | 55.348 | 55.4533
2019-03-30 04:30:00 | 8.2667 | 246.2167 | 9.5067 | 270.5667 | 14.3367 | 15.7333 | 14.16 | 15.7867 | 12.3167 | 884 | 55.7367 | 55.994
2019-03-30 04:45:00 | 8.05 | 224.228 | 9.264 | 246.3907 | 14.2147 | 16.6947 | 14.0733 | 21.154 | 12.1693 | 884 | 56.6807 | 56.7213
2019-03-30 05:00:00 | 8.1833 | 133.2533 | 9.4067 | 146.43 | 14.4267 | 14.32 | 14.5733 | 22.5033 | 12.1067 | 884 | 57.0233 | 56.7387
2019-03-30 05:15:00 | 7.7747 | 6.24 | 8.9547 | 6.8487 | 13.9487 | 13.7613 | 14.316 | 24.6347 | 12.082 | 884 | 57.0633 | 56.882
2019-03-30 05:30:00 | 7.4933 | 183.1033 | 8.6333 | 201.21 | 13.7333 | 5.6567 | 14.0867 | 24.0733 | 11.9433 | 884 | 57.448 | 56.4687
2019-03-30 05:45:00 | 7.772 | 148.8153 | 8.936 | 163.532 | 13.9887 | 9.6207 | 13.954 | 19.946 | 11.9467 | 884.6667 | 56.8913 | 57.964
2019-03-30 06:00:00 | 8.1853 | 197.952 | 9.42 | 217.528 | 14.49 | 13.258 | 14.404 | 16.024 | 12.06 | 884 | 55.884 | 59.694
2019-03-30 06:15:00 | 8.016 | 256.4507 | 9.2187 | 281.8 | 14.3973 | 17.4793 | 14.5333 | 21.6973 | 12.168 | 884.8 | 54.8367 | 60.2127
2019-03-30 06:30:00 | 8.3533 | 171.1167 | 9.61 | 188.0333 | 14.81 | 14.2067 | 14.98 | 22.49 | 12.2767 | 885 | 53.8933 | 60.0147
2019-03-30 06:45:00 | 7.6787 | 238.4867 | 8.8333 | 262.06 | 14.0767 | 4.646 | 14.4627 | 28.9633 | 12.2187 | 885 | 53.4847 | 60.8347
2019-03-30 07:00:00 | 7.7067 | 301.18 | 8.8667 | 330.9667 | 14.0233 | 12.2967 | 14.7733 | 26.1467 | 12.0533 | 885 | 53.94 | 60.512
2019-03-30 07:15:00 | 7.8587 | 279.32 | 9.036 | 306.9467 | 14.432 | 17.862 | 14.998 | 28.418 | 12.226 | 885 | 53.1553 | 61.3527
2019-03-30 07:30:00 | 7.9367 | 131.92 | 9.1367 | 144.9667 | 14.4533 | 20.1633 | 14.92 | 31.71 | 12.2793 | 885 | 52.95 | 60.3567
2019-03-30 07:45:00 | 7.7427 | 300.816 | 8.906 | 330.56 | 14.126 | 12.4267 | 14.2227 | 24.4467 | 12.3773 | 885.8 | 52.3707 | 61.3233
2019-03-30 08:00:00 | 7.8167 | 270.2767 | 8.9967 | 297 | 14.42 | 13.13 | 14.1533 | 27.34 | 12.5667 | 886 | 51.6667 | 61.176
2019-03-30 08:15:00 | 7.7633 | 152.4387 | 8.93 | 167.51 | 14.2273 | 11.97 | 14.6333 | 26.2627 | 12.768 | 886.1333 | 51.0647 | 59.8793
2019-03-30 08:30:00 | 7.72 | 1.0333 | 8.88 | 1.1233 | 14.0733 | 9.9333 | 14.5667 | 31.3967 | 13.01 | 887 | 50.3367 | 59.182
2019-03-30 08:45:00 | 7.9807 | 223.6793 | 9.1787 | 245.8 | 14.6387 | 19.872 | 14.854 | 32.778 | 13.7287 | 887 | 48.3967 | 59.136
2019-03-30 09:00:00 | 8.1667 | 220.1933 | 9.3933 | 241.9667 | 14.7333 | 22.14 | 14.9233 | 28.28 | 15.27 | 887.4667 | 43.7767 | 58.6667
2019-03-30 09:15:00 | 8.3073 | 70.4947 | 9.564 | 77.4573 | 14.7407 | 21.3827 | 14.8593 | 21.2153 | 16.37 | 888.1333 | 41.2787 | 58.8553
2019-03-30 09:30:00 | 8.478 | 103.4673 | 9.7633 | 113.6987 | 14.7913 | 15.062 | 14.9027 | 19.074 | 16.7287 | 889 | 39.7327 | 59.8767
2019-03-30 09:45:00 | 8.4147 | 195.508 | 9.6807 | 214.8413 | 14.98 | 15.0967 | 15.1253 | 26.5273 | 16.6413 | 889 | 39.768 | 57.784
2019-03-30 10:00:00 | 8.2907 | 185.046 | 9.5427 | 203.344 | 14.6067 | 16.6527 | 14.4473 | 24.952 | 16.898 | 889 | 39.098 | 58.6347
2019-03-30 10:15:00 | 8.3987 | 162.838 | 9.6593 | 178.932 | 14.6027 | 13.9933 | 14.428 | 25.148 | 16.6967 | 889 | 38.5947 | 57.188
2019-03-30 10:30:00 | 7.664 | 212.384 | 8.814 | 233.388 | 13.1953 | 18.468 | 13.234 | 20.514 | 17.04 | 889 | 36.892 | 53.5367
2019-03-30 10:45:00 | 7.8013 | 58.6273 | 8.982 | 62.9233 | 13.374 | 16.8333 | 13.1967 | 19.9667 | 17.6733 | 889 | 33.96 | 54.3093
2019-03-30 11:00:00 | 8.12 | 221.6667 | 9.3367 | 243.59 | 14.0367 | 13.4 | 13.7833 | 19.4333 | 18.26 | 889 | 32.4667 | 53.5947
2019-03-30 11:15:00 | 7.4347 | 313.7407 | 8.552 | 342.7933 | 12.5513 | 29.1633 | 12.714 | 34.948 | 18.1327 | 889.6667 | 31.2267 | 53.7507
2019-03-30 11:30:00 | 7.1367 | 299.8133 | 8.2067 | 329.4667 | 12.0533 | 23.3267 | 12.2667 | 35.0567 | 18.1393 | 889 | 29.9233 | 53.0287
2019-03-30 11:45:00 | 7.2493 | 79.8847 | 8.346 | 89.602 | 12.172 | 13.498 | 12.3753 | 31.0587 | 18.722 | 889 | 28.89 | 52.364
2019-03-30 12:00:00 | 6.8933 | 228.7533 | 7.9267 | 251.3667 | 11.44 | 24.5233 | 11.55 | 36.0767 | 18.8667 | 889 | 28.4767 | 49.1
2019-03-30 12:15:00 | 6.7853 | 298.8513 | 7.8013 | 328.4067 | 11.288 | 16.0667 | 10.914 | 22.7167 | 18.858 | 888.8667 | 28.2287 | 47.3907
2019-03-30 12:30:00 | 7.2333 | 304.36 | 8.32 | 334.4667 | 12.3533 | 15.1767 | 12.1733 | 16.63 | 19.3867 | 888 | 27.13 | 46.4127
2019-03-30 12:45:00 | 7.1353 | 39.7307 | 8.212 | 41.5087 | 12.0993 | 9.0453 | 11.676 | 31.2853 | 19.5567 | 888 | 26.044 | 45.0847
2019-03-30 13:00:00 | 7.2653 | 192.51 | 8.36 | 211.55 | 11.8367 | 12.1167 | 11.62 | 24.4933 | 19.3067 | 888 | 25.5033 | 47.2907
2019-03-30 13:15:00 | 6.892 | 49.6813 | 7.9267 | 54.59 | 11.136 | 21.036 | 10.736 | 19.8807 | 19.448 | 888 | 25.606 | 42.822
2019-03-30 13:30:00 | 6.3867 | 36.8667 | 7.3433 | 40.5067 | 10.71 | 12.5 | 10.57 | 26.7633 | 19.82 | 888 | 25.0833 | 43.138
2019-03-30 13:45:00 | 6.6807 | 108.1073 | 7.6893 | 118.7867 | 11.3567 | 17.0113 | 10.6887 | 17.1533 | 20.286 | 887.2 | 24.6733 | 43.6327
2019-03-30 14:00:00 | 6.7267 | 283.2267 | 7.7433 | 311.2333 | 11.4133 | 10.7533 | 11.08 | 24.5333 | 20.65 | 887 | 24.5267 | 39.5527
2019-03-30 14:15:00 | 6.5593 | 141.6713 | 7.5433 | 175.302 | 11.196 | 15.1667 | 10.56 | 21.5133 | 21.0953 | 887 | 24.2687 | 37.9693
2019-03-30 14:30:00 | 6.1033 | 216.25 | 7.02 | 237.6333 | 10.24 | 10.53 | 9.97 | 24.14 | 21.5033 | 887 | 23.1133 | 35.814
2019-03-30 14:45:00 | 6.232 | 30.27 | 7.1673 | 33.2613 | 9.6673 | 121.4627 | 9.2713 | 15.564 | 19.908 | 887 | 23.85 | 36.8053
2019-03-30 15:00:00 | 6.165 | 215.7371 | 7.0929 | 237.0679 | 9.4293 | 118.9814 | 9.3014 | 28.0836 | 19.2921 | 887 | 24.4536 | 32.0647
2019-03-30 15:15:00 | 5.5813 | 278.488 | 6.4193 | 306.0333 | 9.2973 | 19.5987 | 9.412 | 37.422 | 19.6047 | 886.2 | 24.578 | 30.8593
2019-03-30 15:30:00 | 5.66 | 278.5867 | 6.5067 | 306.1333 | 9.67 | 14.6733 | 9.6867 | 41.3067 | 19.72 | 886 | 24.72 | 31.7747
2019-03-30 15:45:00 | 5.7533 | 118.9933 | 6.6173 | 149.968 | 9.986 | 14.8293 | 9.5693 | 31.3287 | 19.6013 | 886 | 25.098 | 30.1713
2019-03-30 16:00:00 | 5.7567 | 312.0433 | 6.6233 | 342.9 | 9.9333 | 10.6933 | 9.6133 | 28.54 | 19.1967 | 886 | 25.83 | 35.382
2019-03-30 16:15:00 | 5.4407 | 315.9307 | 6.2693 | 347.1733 | 9.2953 | 15.8527 | 9.036 | 17.2253 | 18.904 | 885.2 | 26.102 | 30.418
2019-03-30 16:30:00 | 5.8133 | 301.7 | 6.6867 | 331.5333 | 9.9833 | 15.0867 | 9.7 | 28.17 | 18.6367 | 885 | 26.1967 | 35.946
2019-03-30 16:45:00 | 5.5513 | 169.0673 | 6.384 | 185.78 | 9.614 | 17.874 | 9.4373 | 24.0433 | 18.426 | 885 | 26.3747 | 36.5153
2019-03-30 17:00:00 | 5.9667 | 318.4067 | 6.8633 | 349.9 | 10.3767 | 15.0767 | 10.1233 | 26.4133 | 18.2367 | 885 | 26.47 | 42.168
2019-03-30 17:15:00 | 5.7547 | 91.7173 | 6.618 | 100.7887 | 10.5047 | 19.578 | 10.4613 | 23.596 | 17.8773 | 885 | 27.598 | 44.742
2019-03-30 17:30:00 | 6.3933 | 160.0067 | 7.35 | 175.8333 | 11.4367 | 14.0967 | 11.44 | 25.5867 | 17.4367 | 885 | 27.0233 | 47.802
2019-03-30 17:45:00 | 6.3953 | 212.0453 | 7.368 | 233.004 | 11.4133 | 21.0247 | 11.4027 | 29.3313 | 17.0987 | 885 | 27.28 | 46.2507
2019-03-30 18:00:00 | 6.5267 | 178.4367 | 7.5067 | 196.08 | 11.6733 | 13.28 | 11.81 | 17.15 | 16.8933 | 885 | 27.61 | 46.0227
2019-03-30 18:15:00 | 5.9827 | 199.61 | 6.8813 | 219.3533 | 10.8853 | 9.156 | 10.8773 | 22.4087 | 16.7173 | 885.8 | 28.3907 | 44.5
2019-03-30 18:30:00 | 5.74 | 67.768 | 6.614 | 74.468 | 10.494 | 12.056 | 10.556 | 18.868 | 16.6 | 886 | 28.626 | 44.5627
2019-03-30 18:45:00 | 5.7507 | 139.1467 | 6.616 | 152.9 | 10.64 | 8.7233 | 10.64 | 22.6133 | 16.4367 | 886 | 29.1433 | 46.3827
2019-03-30 19:00:00 | 5.8067 | 29.04 | 6.6867 | 31.9067 | 10.48 | 14.01 | 11.04 | 25.8733 | 16.2567 | 886 | 29.27 | 45.2627
2019-03-30 19:15:00 | 5.7367 | 267.3267 | 6.5967 | 293.7667 | 10.34 | 7.2233 | 10.4267 | 29.0633 | 16.1373 | 886.8 | 28.9633 | 41.7847
2019-03-30 19:30:00 | 5.612 | 238.664 | 6.456 | 262.26 | 9.8647 | 14.162 | 9.64 | 32.972 | 16.1293 | 887 | 28.008 | 36.3727
2019-03-30 19:45:00 | 4.912 | 175.9093 | 5.6513 | 193.3033 | 8.4753 | 21.96 | 7.4533 | 37.0373 | 16.182 | 887 | 26.6973 | 27.8227
2019-03-30 20:00:00 | 4.28 | 122.048 | 4.934 | 134.12 | 7.516 | 24.338 | 6.976 | 31.894 | 16.116 | 887 | 26.624 | 22.2353
2019-03-30 20:15:00 | 3.5833 | 195.2273 | 4.1267 | 214.53 | 6.4533 | 33.19 | 6.1653 | 31.5387 | 15.8653 | 887 | 27.4807 | 12.9013
2019-03-30 20:30:00 | 2.564 | 167.87 | 2.954 | 184.464 | 4.72 | 40.198 | 4.334 | 46.28 | 15.678 | 887.4667 | 27.898 | 5.0013
2019-03-30 20:45:00 | 1.6007 | 260.584 | 1.8473 | 286.3467 | 3.0713 | 26.1053 | 3.1487 | 16.0713 | 15.5607 | 888 | 27.5073 | 1.132
2019-03-30 21:00:00 | 0.854 | 137.54 | 0.986 | 151.14 | 1.672 | 28.782 | 2.022 | 220.052 | 15.4807 | 888 | 27.5147 | 0
2019-03-30 21:15:00 | 0.85667 | 194.512 | 0.99533 | 213.7507 | 1.0427 | 246.2127 | 1.5007 | 83.288 | 15.4247 | 888.8 | 27.3973 | 0
2019-03-30 21:30:00 | 0.948 | 188.172 | 1.088 | 206.776 | 1.416 | 41.188 | 1.472 | 79.372 | 15.564 | 889 | 27.278 | 0
2019-03-30 21:45:00 | 1.5053 | 30.6313 | 1.7313 | 33.6487 | 2.124 | 218.9733 | 2.214 | 218.2667 | 15.4267 | 889.8 | 27.6847 | 0
2019-03-30 22:00:00 | 1.838 | 92.812 | 2.114 | 101.976 | 2.486 | 107.932 | 2.268 | 120.272 | 15.182 | 890 | 28.956 | 0.56533
2019-03-30 22:15:00 | 3.382 | 154.7293 | 3.8967 | 170.02 | 4.1647 | 176.0733 | 4.3813 | 184.5267 | 14.772 | 890 | 37.8567 | 2.7653
2019-03-30 22:30:00 | 3.336 | 158.016 | 3.842 | 173.64 | 3.974 | 167.6 | 4.3447 | 172.98 | 14.48 | 890 | 44.842 | 5.302
2019-03-30 22:45:00 | 3.554 | 134.32 | 4.0913 | 147.6 | 4.284 | 171.5933 | 4.7647 | 174.6933 | 14.1533 | 890 | 49.8167 | 5.3007
2019-03-30 23:00:00 | 2.85 | 155.86 | 3.2767 | 171.2667 | 3.4267 | 169.0667 | 3.8033 | 176.8 | 14.04 | 890 | 51.21 | 2.5487
2019-03-30 23:15:00 | 3.128 | 143.9827 | 3.5987 | 158.2133 | 3.7793 | 176.7 | 4.046 | 192.2667 | 13.8487 | 890 | 52.006 | 1.616
2019-03-30 23:30:00 | 2.76 | 126.192 | 3.182 | 138.66 | 3.512 | 177.28 | 3.706 | 196.22 | 13.902 | 890 | 52.844 | 0
2019-03-30 23:45:00 | 1.4587 | 149.8147 | 1.686 | 164.6333 | 2.216 | 169.36 | 2.562 | 176.7 | 13.83 | 890 | 53.3907 | 0