## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-31 00:00:00 | 1.865 | 152.5871 | 2.1486 | 167.6714 | 2.4471 | 176.9143 | 2.7593 | 178.45 | 13.75 | 890 | 54.2643 | 0
2019-03-31 00:15:00 | 2.1227 | 164.904 | 2.4433 | 181.7333 | 2.8233 | 181.3667 | 3 | 183.0333 | 13.58 | 890 | 54.9233 | 0
2019-03-31 00:30:00 | 2.34 | 167.496 | 2.688 | 184.06 | 2.892 | 198.96 | 3.03 | 195.88 | 13.618 | 890 | 55.244 | 0
2019-03-31 00:45:00 | 2.7467 | 159.4287 | 3.1587 | 174.0667 | 3.7867 | 202.6333 | 3.6733 | 203.0333 | 13.28 | 890 | 58.0467 | 0.25533
2019-03-31 01:00:00 | 2.308 | 168.664 | 2.656 | 185.34 | 3.18 | 195.62 | 3.13 | 207.36 | 13.08 | 890 | 58.79 | 0.32667
2019-03-31 01:15:00 | 2.1113 | 174.9273 | 2.4287 | 192.9667 | 2.7933 | 205.4333 | 2.8267 | 221.6667 | 12.9567 | 890 | 58.586 | 0.024667
2019-03-31 01:30:00 | 1.92 | 175.23 | 2.214 | 192.56 | 2.62 | 210.38 | 2.836 | 227.54 | 12.858 | 890 | 59.526 | 0
2019-03-31 01:45:00 | 0.984 | 173.2687 | 1.1313 | 190.1267 | 1.492 | 218.1533 | 1.8467 | 241.78 | 12.8607 | 890 | 62.6487 | 0
2019-03-31 02:00:00 | 0.728 | 158.458 | 0.844 | 174.12 | 1.282 | 226 | 1.586 | 225.9 | 12.854 | 890 | 63.6 | 0
2019-03-31 02:15:00 | 0.716 | 161.8153 | 0.82467 | 177.82 | 1.3533 | 201.68 | 1.8093 | 232.72 | 12.614 | 890 | 64.9147 | 0
2019-03-31 02:30:00 | 1.392 | 176.158 | 1.602 | 193.58 | 2.148 | 194.88 | 2.414 | 212.84 | 12.452 | 890 | 66.586 | 0
2019-03-31 02:45:00 | 1.7547 | 179.926 | 2.026 | 197.72 | 2.514 | 189.9067 | 2.536 | 194.2467 | 12.3347 | 890 | 64.6753 | 0
2019-03-31 03:00:00 | 1.724 | 171.902 | 1.994 | 188.9 | 2.58 | 190.66 | 2.708 | 191.86 | 12.162 | 890 | 63.548 | 0
2019-03-31 03:15:00 | 1.552 | 174.7313 | 1.7953 | 192.0067 | 2.398 | 181.56 | 2.3887 | 196 | 12.114 | 890 | 63.2647 | 0
2019-03-31 03:30:00 | 1.256 | 177.724 | 1.458 | 195.3 | 1.97 | 179.76 | 2.324 | 185.32 | 12.124 | 890 | 63.288 | 0
2019-03-31 03:45:00 | 0.41 | 230.6133 | 0.47 | 254.2667 | 0.18 | 172.3133 | 0.38 | 174.2 | 11.7067 | 889.2 | 61.5233 | 0
2019-03-31 04:00:00 | 1.968 | 317.612 | 2.268 | 349.02 | 2.188 | 81.506 | 1.23 | 82.778 | 10.968 | 889 | 55.162 | 0
2019-03-31 04:15:00 | 3.016 | 217.6013 | 3.4707 | 239.12 | 4.164 | 16.4173 | 4.0267 | 21.0247 | 10.3867 | 889 | 53.412 | 0.68867
2019-03-31 04:30:00 | 2.944 | 3.156 | 3.386 | 3.464 | 5.034 | 12.934 | 5.262 | 17.686 | 10.062 | 889 | 52.43 | 7.2607
2019-03-31 04:45:00 | 3.3373 | 111.9807 | 3.8407 | 123.7333 | 5.6833 | 127.52 | 5.7133 | 8.7867 | 9.6633 | 889 | 51.6267 | 11.4073
2019-03-31 05:00:00 | 3.796 | 136.652 | 4.368 | 150.162 | 6.222 | 146.77 | 6.236 | 6.488 | 9.744 | 888.5333 | 49.96 | 15.538
2019-03-31 05:15:00 | 4.0667 | 20.74 | 4.6793 | 22.782 | 6.2547 | 255.2427 | 6.6153 | 18.2567 | 9.6987 | 888.8 | 48.5127 | 23.1027
2019-03-31 05:30:00 | 4.188 | 2.718 | 4.814 | 2.98 | 6.668 | 213.644 | 6.814 | 17.54 | 9.562 | 889 | 48.334 | 31.6873
2019-03-31 05:45:00 | 4.6067 | 131.7533 | 5.3 | 144.78 | 6.15 | 6.6 | 6.26 | 120.2467 | 9.7213 | 889 | 46.4667 | 35.32
2019-03-31 06:00:00 | 4.796 | 157.388 | 5.52 | 172.948 | 6.8873 | 11.084 | 6.8373 | 168.336 | 9.6447 | 889 | 46.5907 | 34.762
2019-03-31 06:15:00 | 4.6867 | 7.3133 | 5.4033 | 8.03 | 6.7967 | 4.7033 | 6.83 | 13.31 | 9.2887 | 889 | 47.8133 | 38.364
2019-03-31 06:30:00 | 5.304 | 176.742 | 6.108 | 194.22 | 7.908 | 209.204 | 7.874 | 220.056 | 9.25 | 889 | 47.474 | 39.9513
2019-03-31 06:45:00 | 5.4427 | 41.146 | 6.2567 | 45.22 | 8.012 | 130.1367 | 8.0573 | 10.022 | 9.1313 | 889 | 47.8913 | 41.3073
2019-03-31 07:00:00 | 5.168 | 5.02 | 5.944 | 5.518 | 8.812 | 352.84 | 8.508 | 5.988 | 8.916 | 889 | 48.656 | 41.6187
2019-03-31 07:15:00 | 5.2707 | 27.7553 | 6.0607 | 30.4953 | 9.0793 | 262.8507 | 9.0253 | 2.9127 | 9.0033 | 889 | 47.7767 | 42.418
2019-03-31 07:30:00 | 6.092 | 200.616 | 7.01 | 220.456 | 9.166 | 2.676 | 9.12 | 11.548 | 9.0547 | 889 | 47.52 | 43.586
2019-03-31 07:45:00 | 5.9013 | 292.814 | 6.7893 | 321.7733 | 8.4593 | 101.0227 | 8.6913 | 14.4953 | 9.0727 | 889.1333 | 47.0887 | 43.088
2019-03-31 08:00:00 | 5.768 | 313.482 | 6.642 | 344.48 | 8.228 | 147.934 | 8.332 | 216.904 | 9.376 | 890 | 46.814 | 42.5493
2019-03-31 08:15:00 | 5.728 | 265.416 | 6.596 | 291.666 | 7.986 | 344.16 | 7.998 | 79.464 | 9.472 | 890.1333 | 46.714 | 40.7053
2019-03-31 08:30:00 | 5.192 | 19.458 | 5.974 | 21.382 | 7.83 | 348.5 | 7.888 | 153.868 | 9.536 | 891 | 47.176 | 40.314
2019-03-31 08:45:00 | 5.6 | 3.164 | 6.4513 | 3.4753 | 7.8827 | 11.7653 | 8.1973 | 8.6687 | 10.0473 | 891 | 45.8013 | 40.518
2019-03-31 09:00:00 | 6.184 | 19.868 | 7.118 | 21.836 | 8.786 | 6.444 | 9.008 | 90.052 | 10.57 | 891 | 43.87 | 41.0533
2019-03-31 09:15:00 | 6.4693 | 17.0093 | 7.4367 | 18.6893 | 9.4327 | 8.7107 | 9.324 | 11.8333 | 10.93 | 891.8 | 42.8313 | 39.132
2019-03-31 09:30:00 | 5.978 | 11.622 | 6.872 | 11.36 | 9.12 | 10.1067 | 8.7353 | 20.6067 | 11.2967 | 892 | 42.6933 | 35.1707
2019-03-31 09:45:00 | 5.3467 | 87.3373 | 6.1593 | 95.9707 | 8.1107 | 11.0613 | 7.9207 | 7.1227 | 11.4093 | 892.8 | 42.9567 | 29.9787
2019-03-31 10:00:00 | 5.18 | 320.268 | 5.96 | 351.5333 | 7.9 | 24.0033 | 7.5367 | 10.88 | 12.0533 | 893 | 40.9167 | 26.642
2019-03-31 10:15:00 | 5.2327 | 104.4947 | 6.0193 | 114.826 | 8.2447 | 14.7467 | 7.72 | 15.9427 | 13.1807 | 893 | 38.6493 | 21.1067
2019-03-31 10:30:00 | 5.116 | 136.4533 | 5.89 | 149.9467 | 8.1933 | 17.51 | 7.6667 | 9.32 | 13.6453 | 893.4667 | 36.9967 | 16.278
2019-03-31 10:45:00 | 4.6133 | 218.5933 | 5.3067 | 240.2133 | 7.3967 | 18.71 | 6.82 | 27.0033 | 13.9567 | 894 | 36.14 | 13.112
2019-03-31 11:00:00 | 4.72 | 28.8 | 5.4333 | 34.2733 | 7.1833 | 22.8433 | 6.64 | 27.8767 | 14.0833 | 894 | 35.7533 | 10.818
2019-03-31 11:15:00 | 4.6307 | 151.412 | 5.328 | 166.386 | 7.12 | 20.2213 | 6.6167 | 20.658 | 14.2073 | 894 | 36.006 | 9.428
2019-03-31 11:30:00 | 4.46 | 159.47 | 5.13 | 175.2333 | 7.0133 | 19.2 | 6.54 | 19.8167 | 14.9 | 894 | 35.4133 | 6.48
2019-03-31 11:45:00 | 4.4553 | 210.7107 | 5.12 | 231.5507 | 6.5473 | 16.4413 | 6.1987 | 18.39 | 15.2973 | 894 | 34.5153 | 3.6287
2019-03-31 12:00:00 | 3.96 | 208.3067 | 4.55 | 228.8967 | 5.4133 | 15.9933 | 4.8767 | 13.2533 | 15.0967 | 894 | 34.1767 | 0.32067
2019-03-31 12:15:00 | 2.98 | 11.8927 | 3.4333 | 13.0673 | 3.592 | 5.2707 | 3.2833 | 16.162 | 15.4173 | 894 | 32.7853 | 0
2019-03-31 12:30:00 | 2.0467 | 223.0533 | 2.36 | 245.11 | 2.58 | 7.1533 | 2.3667 | 217.3067 | 15.7067 | 894 | 32.1367 | 0
2019-03-31 12:45:00 | 2.3413 | 42.8373 | 2.6933 | 47.0613 | 2.668 | 25.476 | 2.236 | 119.3267 | 16.5347 | 894 | 31.6207 | 0
2019-03-31 13:00:00 | 2.1067 | 87.9867 | 2.4267 | 96.6767 | 2.4467 | 29.7633 | 2.4267 | 135.5733 | 17.2433 | 893.5333 | 31.7767 | 0
2019-03-31 13:15:00 | 1.9933 | 97.082 | 2.292 | 106.68 | 2.288 | 94.9987 | 2.2013 | 74.6173 | 17.1627 | 893.8 | 32.2127 | 0.30133
2019-03-31 13:30:00 | 3.0533 | 137.36 | 3.51 | 150.9333 | 3.5233 | 164.3 | 3.5967 | 145.9 | 17.5033 | 893.5333 | 31.8033 | 1.4707
2019-03-31 13:45:00 | 2.792 | 158.1153 | 3.2153 | 173.7533 | 3.3453 | 182.86 | 3.2693 | 227.9333 | 17.4753 | 893 | 31.5813 | 0.40267
2019-03-31 14:00:00 | 2.0267 | 147.8867 | 2.3367 | 162.5 | 2.51 | 198.3667 | 2.83 | 202.5333 | 17.7533 | 893 | 30.8033 | 0
2019-03-31 14:15:00 | 1.868 | 168.222 | 2.1493 | 184.86 | 2.508 | 155.9133 | 2.588 | 166.4333 | 18.4153 | 893 | 29.4867 | 0
2019-03-31 14:30:00 | 2.5267 | 144.2333 | 2.9067 | 158.5 | 2.97 | 194.8667 | 3.1367 | 192.8 | 18.42 | 893 | 28.74 | 0
2019-03-31 14:45:00 | 3.0053 | 141.3387 | 3.4573 | 155.32 | 3.5787 | 182.12 | 3.702 | 184.4867 | 18.2827 | 893 | 28.602 | 0
2019-03-31 15:00:00 | 2.9333 | 137.14 | 3.3733 | 150.7 | 3.48 | 151.6333 | 3.73 | 156.2 | 18.3667 | 893 | 29.6967 | 0
2019-03-31 15:15:00 | 2.1987 | 161.2793 | 2.5307 | 177.2333 | 2.7867 | 189.9667 | 3.4467 | 205.7467 | 18.9467 | 893 | 28.5947 | 0
2019-03-31 15:30:00 | 2.4933 | 123.8233 | 2.87 | 136.0667 | 3.31 | 180.4333 | 3.5533 | 177.3 | 19.4033 | 893 | 29.14 | 1.0613
2019-03-31 15:45:00 | 2.9033 | 160.08 | 3.3353 | 175.9 | 3.5653 | 193.6 | 3.7113 | 201.8667 | 19.4653 | 892.8667 | 29.7613 | 1.0647
2019-03-31 16:00:00 | 2.4 | 144.6067 | 2.76 | 158.9 | 2.8933 | 172.4 | 3.3433 | 215.9333 | 19.0533 | 892 | 31.1033 | 1.5947
2019-03-31 16:15:00 | 2.6253 | 171.6573 | 3.0213 | 188.6333 | 3.4373 | 205.8667 | 3.68 | 202.3067 | 18.8787 | 892 | 31.776 | 1.284
2019-03-31 16:30:00 | 2.8233 | 169.1433 | 3.2433 | 185.8667 | 3.5133 | 213.9667 | 3.5567 | 194.7 | 19.0167 | 892 | 32.1867 | 2.76
2019-03-31 16:45:00 | 2.4813 | 145.172 | 2.8547 | 159.52 | 3.026 | 185.82 | 3.0833 | 196.9067 | 19.2207 | 892 | 32.8707 | 3.586
2019-03-31 17:00:00 | 2.9567 | 174.2667 | 3.4 | 191.5 | 3.5933 | 213.7 | 3.83 | 225.5333 | 18.8433 | 892 | 33.73 | 11.6113
2019-03-31 17:15:00 | 3.3593 | 172.0787 | 3.868 | 189.1 | 4.2147 | 214.7133 | 4.7433 | 229.3467 | 18.6967 | 892 | 34.9593 | 21.3947
2019-03-31 17:30:00 | 4.5033 | 155.67 | 5.19 | 171.0667 | 6.05 | 224 | 6.5333 | 237 | 18.3833 | 892 | 36.64 | 21.8113
2019-03-31 17:45:00 | 4.744 | 169.936 | 5.4547 | 186.74 | 6.364 | 222.6133 | 6.592 | 220.7933 | 18.0067 | 892 | 37.0247 | 19.978
2019-03-31 18:00:00 | 4.1593 | 172.2953 | 4.7873 | 189.3267 | 5.3753 | 214.04 | 5.516 | 227.26 | 17.524 | 892 | 38.0927 | 23.3233
2019-03-31 18:15:00 | 4.62 | 173.9633 | 5.3147 | 191.1667 | 6.12 | 224.7733 | 6.288 | 229.7133 | 17.184 | 892 | 40.376 | 21.8573
2019-03-31 18:30:00 | 4.764 | 189.9687 | 5.476 | 208.7533 | 6.1867 | 221.5533 | 6.6133 | 223.9 | 16.786 | 892 | 42.376 | 23.2393
2019-03-31 18:45:00 | 4.8187 | 177.3173 | 5.5507 | 194.8533 | 6.074 | 213.3267 | 6.642 | 222.3 | 16.416 | 892 | 43.598 | 20.3113
2019-03-31 19:00:00 | 4.5733 | 168.7733 | 5.2633 | 185.4667 | 5.82 | 210.8333 | 6.34 | 215.4 | 16.1633 | 892 | 44.53 | 18.7667
2019-03-31 19:15:00 | 4.2213 | 163.0947 | 4.8633 | 179.22 | 5.39 | 212.2467 | 6.0807 | 215.3267 | 15.8093 | 892 | 46.0473 | 18.0187
2019-03-31 19:30:00 | 4 | 160.6733 | 4.6 | 176.5667 | 5.09 | 209.5667 | 5.5433 | 211.7667 | 15.32 | 892 | 48.0533 | 20.578
2019-03-31 19:45:00 | 4.024 | 166.926 | 4.628 | 183.4267 | 5.11 | 200.7867 | 5.614 | 215.8533 | 14.9473 | 892 | 49.7027 | 21.6427
2019-03-31 20:00:00 | 4.5333 | 163.75 | 5.22 | 179.9333 | 5.7767 | 208.4667 | 6.49 | 215.6333 | 14.69 | 892 | 51.59 | 19.5547
2019-03-31 20:15:00 | 4.9327 | 175.6867 | 5.6767 | 193.06 | 6.2933 | 209.0533 | 6.222 | 207.5133 | 14.7433 | 892 | 51.818 | 19.38
2019-03-31 20:30:00 | 4.8867 | 171.9667 | 5.62 | 188.9667 | 6.4767 | 205.1333 | 6.9167 | 214.4 | 14.5933 | 892 | 52.29 | 24.41
2019-03-31 20:45:00 | 4.4633 | 161.5853 | 5.1307 | 177.5533 | 5.9413 | 211.72 | 6.5147 | 211.1067 | 14.2187 | 892 | 54.0507 | 25.43
2019-03-31 21:00:00 | 5.16 | 180.6467 | 5.9367 | 198.5 | 6.7347 | 208.4667 | 7.0267 | 214.0667 | 14.0493 | 892 | 54.8173 | 21.156
2019-03-31 21:15:00 | 4.4653 | 184.7607 | 5.136 | 203.1 | 5.52 | 208.6133 | 5.5127 | 212.8467 | 13.9973 | 892.8 | 55.106 | 17.924
2019-03-31 21:30:00 | 3.74 | 177.792 | 4.304 | 195.38 | 4.58 | 206.34 | 5.032 | 205.42 | 13.816 | 893 | 55.574 | 14.986
2019-03-31 21:45:00 | 3.42 | 157.5253 | 3.936 | 172.9667 | 4.1733 | 194.28 | 4.6433 | 197.14 | 13.462 | 893 | 57.0473 | 16.3007
2019-03-31 22:00:00 | 4.124 | 149.76 | 4.748 | 164.56 | 4.888 | 187.18 | 5.344 | 192.14 | 13.3747 | 893 | 57.926 | 16.8133
2019-03-31 22:15:00 | 4.4347 | 158.5913 | 5.112 | 174.2667 | 5.3333 | 193.8267 | 5.8307 | 203.2867 | 13.3773 | 893 | 58.7467 | 18.062
2019-03-31 22:30:00 | 4.036 | 153.808 | 4.64 | 169.02 | 4.93 | 185.72 | 5.446 | 206.46 | 13.15 | 893 | 60.094 | 14.9213
2019-03-31 22:45:00 | 3.6613 | 169.8907 | 4.2173 | 186.6867 | 4.646 | 204.24 | 5.0793 | 209.7133 | 12.814 | 893 | 61.6007 | 14.2047
2019-03-31 23:00:00 | 3.76 | 165.14 | 4.3267 | 181.4667 | 4.8233 | 199.2333 | 5.4333 | 206.9667 | 12.5233 | 893 | 63.52 | 14.1253
2019-03-31 23:15:00 | 3.6467 | 165.0307 | 4.198 | 181.34 | 4.448 | 207.7533 | 5.0773 | 202.1733 | 12.3967 | 893 | 65.2687 | 13.8033
2019-03-31 23:30:00 | 3.3233 | 163.4067 | 3.82 | 179.5667 | 4.05 | 187.5333 | 4.5333 | 202.8667 | 12.2367 | 893 | 67.7633 | 9.9447
2019-03-31 23:45:00 | 3.0867 | 151.4573 | 3.5493 | 166.4267 | 3.584 | 192.7867 | 4.1153 | 191.9333 | 12.018 | 893 | 69.0127 | 7.9393