## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-01 00:00:00 | 3.1493 | 143.2493 | 3.6243 | 157.4071 | 3.69 | 175.1071 | 4.2857 | 188.9429 | 11.8693 | 892.5714 | 69.15 | 8.6443
2019-04-01 00:15:00 | 2.9527 | 174.1087 | 3.3973 | 191.3267 | 3.4927 | 184.9733 | 4.1507 | 187.7533 | 11.7567 | 892 | 69.7553 | 8.9953
2019-04-01 00:30:00 | 3.1367 | 166.588 | 3.6093 | 183.06 | 3.774 | 183.78 | 4.492 | 182.36 | 11.708 | 892 | 70.31 | 9.3013
2019-04-01 00:45:00 | 3.1913 | 162.608 | 3.676 | 178.68 | 3.7747 | 179.66 | 4.2293 | 203.8867 | 11.62 | 892 | 71.268 | 9.9907
2019-04-01 01:00:00 | 3.152 | 146.248 | 3.634 | 160.7 | 3.776 | 192.28 | 4.472 | 196.44 | 11.504 | 892 | 72.164 | 9.1787
2019-04-01 01:15:00 | 3.8053 | 153.5447 | 4.384 | 168.72 | 4.622 | 187.14 | 5.2633 | 192.1467 | 11.488 | 892 | 73.4867 | 9.6667
2019-04-01 01:30:00 | 4.0333 | 170.32 | 4.64 | 187.1667 | 4.75 | 198 | 5.26 | 189.6 | 11.35 | 892 | 73.9733 | 9.5173
2019-04-01 01:45:00 | 4.0013 | 167.5707 | 4.612 | 184.14 | 4.7707 | 189.2 | 5.2727 | 195.1267 | 11.1653 | 892 | 75.3547 | 8.202
2019-04-01 02:00:00 | 3.73 | 137.53 | 4.29 | 151.1333 | 4.51 | 185.7333 | 4.96 | 195.9667 | 10.9533 | 892 | 76.3133 | 6.8353
2019-04-01 02:15:00 | 3.6847 | 163.4873 | 4.2387 | 179.6533 | 4.3553 | 188.7533 | 4.842 | 214.62 | 10.8787 | 892 | 77.702 | 6.502
2019-04-01 02:30:00 | 3.32 | 163.28 | 3.828 | 179.42 | 3.924 | 192.6 | 4.422 | 205.02 | 10.832 | 892 | 78.794 | 5.126
2019-04-01 02:45:00 | 2.94 | 152.8553 | 3.382 | 167.9733 | 3.49 | 195.6733 | 3.9653 | 188.9733 | 10.664 | 892 | 80.2573 | 7.1013
2019-04-01 03:00:00 | 3.488 | 171.352 | 4.008 | 188.3 | 4.25 | 202.14 | 4.814 | 194.46 | 10.5407 | 892 | 82.14 | 8.168
2019-04-01 03:15:00 | 3.4973 | 171.8067 | 4.0193 | 188.7933 | 4.2167 | 201.18 | 4.916 | 206.1067 | 10.5447 | 892 | 83.74 | 6.4733
2019-04-01 03:30:00 | 3.2 | 179.648 | 3.676 | 197.4 | 3.888 | 205.26 | 4.532 | 188.22 | 10.496 | 892 | 84.44 | 4.598
2019-04-01 03:45:00 | 3.3013 | 164.7667 | 3.7953 | 181.0533 | 3.8713 | 190.14 | 4.3507 | 181.6667 | 10.4787 | 892 | 85.48 | 3.1073
2019-04-01 04:00:00 | 2.888 | 154.464 | 3.324 | 169.74 | 3.418 | 181.62 | 3.874 | 197.62 | 10.452 | 891.5333 | 85.98 | 2.574
2019-04-01 04:15:00 | 2.5347 | 152.398 | 2.914 | 167.4733 | 3.088 | 182.54 | 3.5587 | 191.6533 | 10.4387 | 891 | 86.9867 | 2.9153
2019-04-01 04:30:00 | 2.9467 | 144.6933 | 3.39 | 159 | 3.4867 | 187.0333 | 3.72 | 183.8 | 10.4253 | 891 | 87.9 | 3.2467
2019-04-01 04:45:00 | 2.38 | 160.7373 | 2.7473 | 176.6267 | 2.8653 | 176.52 | 3.2827 | 189.3333 | 10.428 | 891 | 88.3867 | 3.4933
2019-04-01 05:00:00 | 2.518 | 152.258 | 2.898 | 167.32 | 2.966 | 192.18 | 3.472 | 188.58 | 10.4253 | 891 | 88.6467 | 3.1667
2019-04-01 05:15:00 | 2.9647 | 156.09 | 3.4127 | 171.52 | 3.474 | 190.2733 | 3.728 | 187.1 | 10.4093 | 891 | 88.3267 | 3.452
2019-04-01 05:30:00 | 2.984 | 151.116 | 3.438 | 166.06 | 3.484 | 192.2 | 3.858 | 194.04 | 10.324 | 891 | 87.5 | 5.0847
2019-04-01 05:45:00 | 2.9907 | 152.836 | 3.438 | 167.2 | 3.5613 | 195.0533 | 3.7527 | 210.9733 | 10.2567 | 891 | 87.0067 | 6.8147
2019-04-01 06:00:00 | 2.808 | 172.52 | 3.236 | 189.58 | 3.328 | 203.76 | 3.928 | 207.14 | 10.22 | 891 | 87.84 | 8.1253
2019-04-01 06:15:00 | 3.7333 | 173.4467 | 4.3033 | 190.6 | 4.69 | 201.5667 | 5.0967 | 208.6 | 10.2733 | 891 | 88.8333 | 6.6173
2019-04-01 06:30:00 | 3.062 | 176.016 | 3.524 | 193.42 | 3.844 | 195.86 | 4.066 | 201.56 | 10.284 | 891 | 89.22 | 5.4613
2019-04-01 06:45:00 | 2.7407 | 163.886 | 3.166 | 177.9333 | 3.31 | 202.2667 | 3.67 | 205.5667 | 10.1167 | 891 | 89.18 | 4.3793
2019-04-01 07:00:00 | 2.416 | 165.298 | 2.792 | 181.64 | 2.762 | 194.38 | 3.016 | 206.36 | 10.022 | 891 | 88.38 | 4.2547
2019-04-01 07:15:00 | 2.3613 | 155.7733 | 2.7253 | 171.1667 | 2.89 | 202.3333 | 3.5 | 199.8333 | 9.9167 | 891 | 88.22 | 3.4327
2019-04-01 07:30:00 | 1.796 | 160.67 | 2.08 | 176.56 | 2.338 | 208.78 | 2.95 | 184.66 | 9.872 | 891 | 88.84 | 2.6887
2019-04-01 07:45:00 | 2.0227 | 137.024 | 2.3347 | 154.2733 | 2.6467 | 216.3067 | 3.124 | 216.2267 | 9.7867 | 891 | 89.3867 | 3.3907
2019-04-01 08:00:00 | 2.444 | 164.856 | 2.812 | 181.16 | 3.18 | 214.6 | 3.344 | 216.28 | 10.072 | 891 | 89.54 | 2.656
2019-04-01 08:15:00 | 2.1213 | 162.2493 | 2.4387 | 178.2933 | 2.6147 | 207.6267 | 2.796 | 222.88 | 10.1053 | 891 | 88.7133 | 3.3173
2019-04-01 08:30:00 | 2.168 | 153.938 | 2.492 | 169.16 | 2.956 | 217.98 | 3.192 | 228.76 | 10.162 | 891 | 89.4 | 3.5793
2019-04-01 08:45:00 | 2.1853 | 161.07 | 2.5153 | 177 | 2.878 | 207.1533 | 3.382 | 220.06 | 10.2747 | 891.8 | 89.1667 | 2.1247
2019-04-01 09:00:00 | 2.032 | 175.536 | 2.338 | 192.9 | 2.624 | 216.26 | 3.068 | 221.66 | 10.514 | 892 | 87.96 | 1.6027
2019-04-01 09:15:00 | 1.876 | 150.3153 | 2.1673 | 165.18 | 2.138 | 181.9267 | 2.374 | 194.0667 | 10.958 | 892 | 85.32 | 1.4627
2019-04-01 09:30:00 | 2.42 | 146.57 | 2.782 | 161.06 | 2.782 | 185.36 | 2.906 | 186.52 | 11.332 | 892 | 83.52 | 1.5373
2019-04-01 09:45:00 | 3.0353 | 147.0787 | 3.492 | 161.62 | 3.578 | 168.08 | 3.3407 | 174.0467 | 11.918 | 892.1333 | 81.9 | 1.2073
2019-04-01 10:00:00 | 3.0167 | 127.006 | 3.474 | 139.5667 | 3.554 | 151.1933 | 3.5793 | 187.8333 | 12.2153 | 893 | 81.2067 | 1.3227
2019-04-01 10:15:00 | 2.7387 | 110.1127 | 3.158 | 120.9933 | 3.218 | 170.28 | 3.308 | 192.6333 | 12.3387 | 893 | 80.4733 | 0.922
2019-04-01 10:30:00 | 2.2747 | 164.7453 | 2.6193 | 181.0333 | 2.9847 | 222.54 | 2.952 | 220.6467 | 12.544 | 893 | 80.1053 | 0
2019-04-01 10:45:00 | 2.7707 | 139.964 | 3.1947 | 153.8067 | 3.348 | 169.2267 | 3.198 | 147.9 | 13.2847 | 893 | 76.448 | 0.038667
2019-04-01 11:00:00 | 2.36 | 144.686 | 2.722 | 159 | 2.736 | 150.04 | 2.8 | 153.82 | 12.812 | 893 | 77.784 | 0.26667
2019-04-01 11:15:00 | 2.5253 | 162.1487 | 2.906 | 178.1867 | 2.8707 | 177.3467 | 2.9733 | 185.7667 | 12.552 | 893 | 78.2427 | 0.53133
2019-04-01 11:30:00 | 2.476 | 187.628 | 2.844 | 206.18 | 2.982 | 215.06 | 3.056 | 215.96 | 12.812 | 893 | 77.668 | 0.46933
2019-04-01 11:45:00 | 2.7653 | 168.594 | 3.1827 | 185.2667 | 3.2793 | 203.9733 | 3.6007 | 223.3133 | 13.4167 | 892.2 | 74.6953 | 0.72733
2019-04-01 12:00:00 | 2.41 | 183.262 | 2.776 | 201.38 | 2.886 | 213.4 | 3.044 | 207.72 | 13.644 | 892 | 73.464 | 1.9493
2019-04-01 12:15:00 | 3.2447 | 162.3553 | 3.732 | 178.4067 | 3.8933 | 179.6467 | 3.986 | 216.1467 | 13.7687 | 892 | 71.5573 | 2.2947
2019-04-01 12:30:00 | 3.054 | 158.628 | 3.516 | 174.32 | 3.722 | 180.52 | 3.94 | 199.98 | 13.4993 | 892 | 72.246 | 2.0907
2019-04-01 12:45:00 | 2.9207 | 154.5547 | 3.3653 | 169.8267 | 3.538 | 176.9467 | 3.5747 | 210.58 | 13.2887 | 891.2 | 73.698 | 2.6113
2019-04-01 13:00:00 | 2.88 | 161.884 | 3.322 | 177.88 | 3.718 | 194.04 | 3.928 | 227.5 | 13.016 | 891 | 75.604 | 2.9067
2019-04-01 13:15:00 | 3.0813 | 178.924 | 3.5407 | 196.6133 | 3.7967 | 218.2133 | 4.0693 | 221.78 | 12.852 | 891 | 76.9987 | 4.2447
2019-04-01 13:30:00 | 3.128 | 184.694 | 3.594 | 202.96 | 4.128 | 227.52 | 4.5047 | 226.68 | 12.628 | 890.5333 | 79.034 | 4.4527
2019-04-01 13:45:00 | 3.1527 | 165.746 | 3.628 | 182.1333 | 3.8973 | 205.5467 | 4.0487 | 220.3933 | 12.6947 | 890 | 79.8973 | 4.034
2019-04-01 14:00:00 | 3.252 | 174.486 | 3.744 | 191.74 | 4.208 | 217.96 | 4.56 | 224.38 | 12.78 | 890 | 79.494 | 5.3207
2019-04-01 14:15:00 | 2.9747 | 179.5387 | 3.4173 | 197.2933 | 3.938 | 226.9867 | 4.2147 | 232.02 | 12.3287 | 889.2 | 81.7133 | 9.2353
2019-04-01 14:30:00 | 2.888 | 163.974 | 3.318 | 181 | 3.6367 | 217.4333 | 3.91 | 214.4667 | 12.1367 | 889 | 82.9667 | 14.0287
2019-04-01 14:45:00 | 4.2733 | 174.062 | 4.9187 | 191.0467 | 5.684 | 215 | 5.8807 | 218.26 | 11.994 | 888.8667 | 84.34 | 16.4873
2019-04-01 15:00:00 | 4.968 | 186.804 | 5.712 | 205.28 | 6.166 | 216.64 | 6.576 | 222.14 | 12.124 | 888 | 84.42 | 17.5093
2019-04-01 15:15:00 | 3.5613 | 193.478 | 4.102 | 212.6067 | 4.558 | 221.54 | 4.9107 | 221.24 | 12.444 | 888 | 82.5667 | 17.1153
2019-04-01 15:30:00 | 3.196 | 168.728 | 3.674 | 185.4 | 3.996 | 229.36 | 4.274 | 228.56 | 12.456 | 888 | 82.08 | 15.202
2019-04-01 15:45:00 | 3.0707 | 194.8007 | 3.5393 | 214.06 | 4.1113 | 229.9733 | 4.712 | 224.9333 | 12.4193 | 888 | 82 | 10.574
2019-04-01 16:00:00 | 3.0467 | 188.024 | 3.5167 | 207.3333 | 3.8933 | 230.3 | 4.4133 | 235.6 | 12.5933 | 888 | 81.5333 | 8.1493
2019-04-01 16:15:00 | 2.7127 | 169.3307 | 3.1213 | 186.0733 | 3.4047 | 204.6 | 3.8467 | 220.84 | 12.588 | 888 | 80.9867 | 6.2667
2019-04-01 16:30:00 | 2.774 | 181.256 | 3.192 | 199.18 | 3.51 | 215.88 | 3.848 | 223.82 | 12.778 | 887.5333 | 80.54 | 5.4907
2019-04-01 16:45:00 | 3.0353 | 162.042 | 3.4927 | 178.0533 | 3.8313 | 223.7467 | 4.1293 | 230.5 | 12.922 | 887 | 79.5 | 7.332
2019-04-01 17:00:00 | 3.05 | 185.28 | 3.51 | 203.6 | 3.79 | 217.25 | 4.13 | 234.45 | 12.77 | 887 | 79.948 | 7.162
2019-04-01 17:15:00 | 2.7533 | 168.6367 | 3.1687 | 185.3067 | 3.656 | 214.7067 | 3.9627 | 211.6133 | 12.718 | 887 | 80.292 | 5.6653
2019-04-01 17:30:00 | 2.4433 | 159.87 | 2.8067 | 175.6667 | 3.24 | 228.7667 | 3.5767 | 221.2533 | 12.61 | 887 | 80.6467 | 5.7493
2019-04-01 17:45:00 | 2.5093 | 173.164 | 2.8927 | 190.28 | 3.5067 | 235.7267 | 4.0087 | 236.4533 | 12.4807 | 887 | 81.2867 | 3.926
2019-04-01 18:00:00 | 1.9133 | 158.7633 | 2.2067 | 174.4667 | 2.7767 | 224.4333 | 3.2067 | 232.2667 | 12.32 | 887 | 82.1667 | 3.784
2019-04-01 18:15:00 | 1.9907 | 176.3373 | 2.2953 | 193.7733 | 2.9213 | 229.06 | 3.1293 | 236.6733 | 12.1887 | 887 | 82.6467 | 2.9187
2019-04-01 18:30:00 | 1.4333 | 161.6433 | 1.6633 | 177.6333 | 2.0867 | 223.5333 | 2.5333 | 227.6 | 12.09 | 887 | 83.1467 | 3.032
2019-04-01 18:45:00 | 1.8013 | 164.9267 | 2.0793 | 181.2333 | 2.7553 | 237.6 | 3.1033 | 231.66 | 11.9827 | 887 | 83.8533 | 3.462
2019-04-01 19:00:00 | 2.17 | 183.9433 | 2.4933 | 202.1333 | 3.1333 | 226.0667 | 3.4 | 224.3667 | 11.83 | 887 | 84.4467 | 3.714
2019-04-01 19:15:00 | 2.6567 | 171.8953 | 3.0633 | 188.8867 | 3.6327 | 217.38 | 3.8533 | 225.2533 | 11.6693 | 887 | 85.42 | 3.7147
2019-04-01 19:30:00 | 2.8567 | 154.1867 | 3.2867 | 169.4333 | 3.7967 | 226.6133 | 3.9667 | 228 | 11.3067 | 887 | 88.4 | 5.9953
2019-04-01 19:45:00 | 4.1947 | 148.3913 | 4.8253 | 163.06 | 5 | 164.3467 | 5.2193 | 171.6533 | 10.5773 | 886.8667 | 94.3667 | 6.932
2019-04-01 20:00:00 | 3.2233 | 153.8233 | 3.71 | 169.0333 | 3.84 | 178.6 | 4.1767 | 176 | 10.1467 | 886 | 97.6667 | 4.9373
2019-04-01 20:15:00 | 1.9393 | 151.8627 | 2.2367 | 166.8733 | 2.376 | 190.4333 | 3.218 | 202.6467 | 10.034 | 886 | 98.52 | 4.8193
2019-04-01 20:30:00 | 1.3133 | 169.2067 | 1.51 | 185.9333 | 1.58 | 216.2667 | 2.13 | 221.5667 | 10 | 886 | 98.6533 | 3.774
2019-04-01 20:45:00 | 1.7107 | 175.8253 | 1.9753 | 193.2067 | 2.0947 | 210.7533 | 2.8213 | 188.5067 | 10.0013 | 886 | 98.68 | 2.404
2019-04-01 21:00:00 | 1.7567 | 187.7033 | 2.0233 | 206.2667 | 2.2367 | 217.1333 | 2.5633 | 188.1667 | 10.0767 | 886.4667 | 98.2333 | 1.1207
2019-04-01 21:15:00 | 1.94 | 181.386 | 2.2393 | 199.3267 | 2.5533 | 214.7467 | 2.4473 | 203.1667 | 10.094 | 887 | 97.8667 | 2.2027
2019-04-01 21:30:00 | 2.0567 | 171.78 | 2.3633 | 188.7667 | 2.5833 | 204.3667 | 2.9467 | 206.1 | 10.0607 | 887 | 98.0467 | 0.77867
2019-04-01 21:45:00 | 0.83333 | 189.638 | 0.96933 | 208.3933 | 1.316 | 205.78 | 1.6647 | 207.1933 | 10.0087 | 887 | 98.34 | 0.222
2019-04-01 22:00:00 | 0.066667 | 201.0533 | 0.08 | 220.9333 | 0.13333 | 185.8667 | 0.36 | 196.8667 | 9.9433 | 887 | 98.6333 | 0.40667
2019-04-01 22:15:00 | 0.048 | 207.0707 | 0.056 | 227.5467 | 0.088 | 179.4867 | 0.10333 | 208 | 9.9113 | 887 | 98.78 | 0.42333
2019-04-01 22:30:00 | 0.228 | 209.232 | 0.264 | 229.92 | 0.384 | 239.76 | 0.272 | 222.76 | 9.898 | 887 | 98.8 | 0.35533
2019-04-01 22:45:00 | 0.42933 | 197.932 | 0.50533 | 217.5067 | 0.71733 | 235.92 | 0.94933 | 217.0267 | 9.8967 | 887 | 98.6667 | 0.17267
2019-04-01 23:00:00 | 0.824 | 192.916 | 0.948 | 212 | 1.394 | 222.16 | 1.306 | 218.78 | 9.902 | 887 | 98.38 | 0
2019-04-01 23:15:00 | 0.45067 | 207.1813 | 0.53067 | 227.6667 | 0.78467 | 239.8667 | 0.82467 | 232.8067 | 9.9447 | 887 | 97.86 | 0.51
2019-04-01 23:30:00 | 0.066667 | 241.8767 | 0.08 | 265.8 | 0.12667 | 251.2 | 0.18667 | 241.3667 | 10.0233 | 887 | 96.9333 | 0.896
2019-04-01 23:45:00 | 0 | 267.3533 | 0 | 293.7867 | 0 | 248.1533 | 0 | 240.3 | 10.0507 | 887 | 96.0733 | 1.032