## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-02 00:00:00 | 0.019286 | 268.64 | 0.019286 | 295.2 | 0.032143 | 175.9286 | 0.36643 | 184.4357 | 10.0886 | 887 | 95.2143 | 0.57286
2019-04-02 00:15:00 | 0.22733 | 123.7467 | 0.262 | 135.9867 | 0.20467 | 139.9333 | 1.3433 | 154.6133 | 10.292 | 886.2 | 93.4267 | 0.24467
2019-04-02 00:30:00 | 0.18 | 138.5133 | 0.20333 | 152.2 | 0.13333 | 170.2333 | 1.3067 | 177.6667 | 10.1433 | 886 | 95.4333 | 0
2019-04-02 00:45:00 | 0.010667 | 160.224 | 0.012 | 176.0667 | 0.004 | 168.14 | 0.60733 | 176.66 | 9.9273 | 886 | 97.2467 | 0
2019-04-02 01:00:00 | 0.36667 | 252.14 | 0.42667 | 277.0667 | 0.02 | 55.7933 | 0.18667 | 117.6667 | 9.81 | 886 | 98.1333 | 0
2019-04-02 01:15:00 | 1.5807 | 304.0173 | 1.82 | 334.08 | 1.4033 | 319.426 | 1.3947 | 101.2733 | 9.7013 | 886 | 98.9933 | 0
2019-04-02 01:30:00 | 2.336 | 317.622 | 2.692 | 349.04 | 2.554 | 154.584 | 2.85 | 356.2 | 9.612 | 886 | 99.7 | 0.20933
2019-04-02 01:45:00 | 2.3453 | 308.2313 | 2.7013 | 340.1533 | 3.1047 | 225.466 | 3.2693 | 237.4567 | 9.564 | 886 | 99.98 | 1.1747
2019-04-02 02:00:00 | 2.732 | 316.586 | 3.144 | 347.9 | 3.464 | 12.254 | 3.752 | 214.212 | 9.552 | 886 | 100 | 1.8647
2019-04-02 02:15:00 | 2.6467 | 310.062 | 3.0453 | 340.7133 | 3.5267 | 5.0447 | 3.7413 | 264.5813 | 9.4987 | 886 | 100 | 1.82
2019-04-02 02:30:00 | 2.102 | 123.998 | 2.418 | 136.248 | 3.87 | 10.906 | 3.616 | 15.132 | 9.54 | 885.5333 | 100 | 3.3647
2019-04-02 02:45:00 | 2.5347 | 238.936 | 2.9227 | 262.552 | 4.566 | 18.132 | 4.3447 | 19.1947 | 9.5913 | 885 | 100 | 6.5533
2019-04-02 03:00:00 | 2.65 | 11.702 | 3.048 | 12.846 | 5.01 | 17.718 | 4.86 | 13.14 | 9.5953 | 885 | 100 | 6.7593
2019-04-02 03:15:00 | 2.5953 | 213.2207 | 2.986 | 211.442 | 4.6567 | 5.9827 | 4.6507 | 12.926 | 9.5807 | 885 | 100 | 10.034
2019-04-02 03:30:00 | 2.684 | 94.128 | 3.094 | 103.436 | 5.116 | 10.746 | 5.282 | 17.874 | 9.558 | 885 | 100 | 12.49
2019-04-02 03:45:00 | 2.5873 | 96.58 | 2.9787 | 113.9753 | 5.0493 | 18.6153 | 5.2053 | 17.238 | 9.568 | 885 | 100 | 10.796
2019-04-02 04:00:00 | 2.764 | 74.58 | 3.184 | 81.954 | 5.248 | 11.174 | 5.22 | 13.948 | 9.5947 | 885 | 100 | 13.5453
2019-04-02 04:15:00 | 3.288 | 124.6873 | 3.7947 | 137.0147 | 5.882 | 9.3987 | 5.9567 | 22.722 | 9.6293 | 885 | 100 | 15.1487
2019-04-02 04:30:00 | 3.112 | 130.096 | 3.584 | 142.968 | 5.828 | 18.008 | 5.992 | 17.748 | 9.64 | 885 | 100 | 14.3907
2019-04-02 04:45:00 | 3.1227 | 232.1573 | 3.5933 | 235.5287 | 6.0893 | 13.3047 | 6.2013 | 21.2487 | 9.6413 | 885 | 100 | 11.8307
2019-04-02 05:00:00 | 3.1533 | 23.78 | 3.6333 | 26.1233 | 5.8767 | 13.8533 | 5.9133 | 22.09 | 9.6633 | 885 | 100 | 7.426
2019-04-02 05:15:00 | 2.346 | 201.59 | 2.6947 | 221.5273 | 4.552 | 15.138 | 4.6547 | 23.3887 | 9.6887 | 885 | 100 | 9.852
2019-04-02 05:30:00 | 2.294 | 195.92 | 2.64 | 215.288 | 4.474 | 14.44 | 4.824 | 24.926 | 9.702 | 885 | 100 | 10.8547
2019-04-02 05:45:00 | 2.7587 | 244.944 | 3.1727 | 269.1687 | 5.174 | 16.57 | 5.3207 | 17.23 | 9.714 | 885 | 100 | 11.7727
2019-04-02 06:00:00 | 3.084 | 4.086 | 3.558 | 4.482 | 5.518 | 15.434 | 5.478 | 19.358 | 9.7 | 885 | 100 | 14.0173
2019-04-02 06:15:00 | 3.1933 | 296.0867 | 3.674 | 325.3687 | 5.552 | 11.6567 | 5.698 | 18.8107 | 9.7093 | 885 | 100 | 13.2473
2019-04-02 06:30:00 | 3.348 | 132.33 | 3.852 | 145.408 | 5.28 | 5.16 | 5.418 | 16.884 | 9.7153 | 885 | 100 | 14.77
2019-04-02 06:45:00 | 3.0413 | 28.6527 | 3.498 | 31.474 | 5.4427 | 7.92 | 5.6207 | 14.9887 | 9.702 | 885.1333 | 100 | 14.4967
2019-04-02 07:00:00 | 2.812 | 18.476 | 3.236 | 20.3 | 4.896 | 10.38 | 5.208 | 14.878 | 9.7047 | 886 | 100 | 10.3247
2019-04-02 07:15:00 | 2.8533 | 173.4987 | 3.282 | 190.6527 | 5.212 | 7.5493 | 5.5787 | 14.7347 | 9.718 | 886 | 100 | 9.5567
2019-04-02 07:30:00 | 2.896 | 12.956 | 3.334 | 14.238 | 5.334 | 16.82 | 5.572 | 16.708 | 9.7247 | 886 | 100 | 10.7213
2019-04-02 07:45:00 | 3.0473 | 86.3653 | 3.506 | 94.9093 | 6.0213 | 17.6453 | 6.2593 | 19.9667 | 9.7653 | 886 | 100 | 12.436
2019-04-02 08:00:00 | 3.168 | 237.536 | 3.654 | 261.02 | 6.282 | 17.246 | 6.902 | 20.236 | 9.812 | 886 | 100 | 14.556
2019-04-02 08:15:00 | 3.4487 | 26.0133 | 3.9693 | 28.5847 | 6.786 | 16.8173 | 7.1907 | 20.9327 | 9.8347 | 886 | 100 | 17.43
2019-04-02 08:30:00 | 3.46 | 124.022 | 3.982 | 136.28 | 6.856 | 16.11 | 7.226 | 18.436 | 9.8547 | 886.4667 | 100 | 21.3347
2019-04-02 08:45:00 | 3.6493 | 32.8927 | 4.198 | 36.134 | 7.1667 | 15.1527 | 7.3373 | 19.8833 | 9.8887 | 887 | 100 | 22.6353
2019-04-02 09:00:00 | 3.578 | 130.5367 | 4.1187 | 143.4413 | 7.0513 | 13.176 | 7.29 | 21.0893 | 9.9333 | 887 | 100 | 23.986
2019-04-02 09:15:00 | 3.8807 | 214.214 | 4.476 | 235.396 | 7.618 | 19.224 | 7.8553 | 21.54 | 9.9893 | 887 | 100 | 25.6987
2019-04-02 09:30:00 | 3.878 | 194.862 | 4.466 | 214.124 | 7.52 | 19.154 | 7.66 | 24.322 | 9.988 | 887 | 100 | 25.248
2019-04-02 09:45:00 | 3.75 | 238.1767 | 4.3207 | 261.7333 | 7.2813 | 16.7207 | 7.6627 | 24.7953 | 10.1347 | 887 | 100 | 25.1173
2019-04-02 10:00:00 | 3.86 | 172.428 | 4.448 | 189.48 | 7.524 | 11.862 | 7.71 | 19.718 | 10.248 | 887.4667 | 100 | 24.7553
2019-04-02 10:15:00 | 3.7507 | 193.6053 | 4.3133 | 212.7467 | 7.3007 | 14.9633 | 7.478 | 20.6887 | 10.3653 | 888 | 100 | 26.1147
2019-04-02 10:30:00 | 3.872 | 287.064 | 4.462 | 315.46 | 7.314 | 17.636 | 7.69 | 24.022 | 10.528 | 888 | 100 | 27.6033
2019-04-02 10:45:00 | 3.8513 | 119.0333 | 4.4333 | 130.804 | 7.302 | 19.8993 | 7.8187 | 23.8133 | 10.5867 | 888 | 100 | 29.3873
2019-04-02 11:00:00 | 4.024 | 93.81 | 4.634 | 103.084 | 7.44 | 14.934 | 7.99 | 23.882 | 10.744 | 888 | 100 | 27.5027
2019-04-02 11:15:00 | 4.2787 | 231.3247 | 4.9247 | 254.2013 | 7.896 | 20.3167 | 8.1873 | 18.9073 | 11.0093 | 888 | 100 | 27.9487
2019-04-02 11:30:00 | 4.312 | 109.726 | 4.97 | 120.574 | 8.22 | 20.6 | 8.598 | 23.87 | 11.402 | 888 | 100 | 27.8
2019-04-02 11:45:00 | 4.6267 | 65.19 | 5.3193 | 71.3813 | 8.5473 | 19.3767 | 8.6593 | 22.278 | 11.5787 | 888.1333 | 100 | 25.3193
2019-04-02 12:00:00 | 4.202 | 223.376 | 4.838 | 245.46 | 8.058 | 16.564 | 8.252 | 16.208 | 11.91 | 889 | 100 | 27.0933
2019-04-02 12:15:00 | 4.6927 | 81.196 | 5.4033 | 80.0907 | 8.4727 | 15.8033 | 8.6193 | 21.256 | 11.7947 | 889 | 100 | 29.1453
2019-04-02 12:30:00 | 4.976 | 15.048 | 5.73 | 16.532 | 8.446 | 8.616 | 8.548 | 14.696 | 11.784 | 889 | 100 | 26.4067
2019-04-02 12:45:00 | 4.5893 | 220.08 | 5.2827 | 265.4173 | 8.342 | 8.6773 | 8.2847 | 18.302 | 11.5907 | 889 | 100 | 27.9573
2019-04-02 13:00:00 | 4.876 | 190.772 | 5.618 | 209.636 | 9.206 | 16.794 | 9.112 | 21.29 | 11.76 | 889 | 100 | 27.3233
2019-04-02 13:15:00 | 4.3373 | 246.05 | 4.9893 | 270.38 | 8.1433 | 8.4127 | 8.418 | 23.194 | 11.7993 | 888.2 | 100 | 24.3273
2019-04-02 13:30:00 | 4.142 | 306.68 | 4.772 | 337 | 7.668 | 17.076 | 7.694 | 23.708 | 12.182 | 888 | 100 | 29.2667
2019-04-02 13:45:00 | 4.662 | 204.042 | 5.3707 | 224.2267 | 8.8987 | 13.592 | 8.9433 | 18.5333 | 12.5607 | 888 | 99.8667 | 32.678
2019-04-02 14:00:00 | 5.032 | 49.144 | 5.786 | 54.006 | 9.524 | 13.056 | 9.576 | 18.998 | 12.734 | 888 | 98.3 | 29.3713
2019-04-02 14:15:00 | 4.7947 | 243.7773 | 5.514 | 267.88 | 8.73 | 14.7433 | 8.918 | 22.652 | 12.9733 | 888 | 95.3533 | 34.2987
2019-04-02 14:30:00 | 5.432 | 179.2513 | 6.2453 | 196.97 | 9.5913 | 15.3907 | 9.798 | 30.8333 | 13.1433 | 888 | 93.1733 | 40.864
2019-04-02 14:45:00 | 5.8413 | 301.4147 | 6.7267 | 331.2133 | 10.2387 | 7.9973 | 10.1773 | 29.5367 | 13.6827 | 888 | 89.42 | 41.0333
2019-04-02 15:00:00 | 5.892 | 112.824 | 6.784 | 123.98 | 10.69 | 21.548 | 10.73 | 20.274 | 14.442 | 888 | 87.72 | 41.1073
2019-04-02 15:15:00 | 6.0653 | 21.1993 | 6.9793 | 23.2967 | 10.8347 | 9.2447 | 10.8827 | 25.818 | 14.6287 | 888 | 84.66 | 38.996
2019-04-02 15:30:00 | 6.262 | 22.324 | 7.204 | 24.53 | 11.142 | 12.128 | 11.048 | 15.496 | 14.364 | 888 | 84.76 | 39.408
2019-04-02 15:45:00 | 6.258 | 288.3 | 7.1987 | 316.8113 | 10.966 | 18.3413 | 10.904 | 25.7587 | 13.9027 | 888 | 83.5067 | 34.7027
2019-04-02 16:00:00 | 5.614 | 307.946 | 6.468 | 338.4 | 10.018 | 21.846 | 9.93 | 26.718 | 13.774 | 888 | 83.38 | 33.648
2019-04-02 16:15:00 | 5.3493 | 195.6853 | 6.156 | 215.024 | 9.556 | 12.9807 | 9.4647 | 16.4267 | 13.254 | 888 | 84.0333 | 33.85
2019-04-02 16:30:00 | 5.634 | 39.456 | 6.49 | 43.346 | 9.94 | 24.546 | 9.816 | 25.93 | 13.438 | 888 | 83.14 | 33.5207
2019-04-02 16:45:00 | 5.3007 | 84.9333 | 6.0967 | 93.33 | 9.1227 | 19.6833 | 9.336 | 38.6193 | 13.5073 | 888 | 81.46 | 34.4207
2019-04-02 17:00:00 | 5.444 | 302.182 | 6.2613 | 332.54 | 9.272 | 20.116 | 9.0627 | 33.342 | 13.2753 | 888 | 81.42 | 30.442
2019-04-02 17:15:00 | 5.088 | 314.682 | 5.852 | 345.8067 | 8.9507 | 21.7413 | 8.8993 | 29.924 | 13.3273 | 888 | 80.7867 | 31.8207
2019-04-02 17:30:00 | 4.988 | 304.084 | 5.742 | 334.16 | 8.652 | 17.004 | 8.166 | 33.286 | 13.178 | 888 | 81.68 | 35.4833
2019-04-02 17:45:00 | 5.1973 | 129.8387 | 5.9747 | 142.6747 | 9.07 | 30.0467 | 8.868 | 37.5507 | 12.9427 | 888 | 82.28 | 40.1267
2019-04-02 18:00:00 | 5.968 | 185.554 | 6.868 | 203.9 | 10.444 | 34.872 | 10.29 | 34.112 | 12.702 | 888 | 82.3467 | 43.9313
2019-04-02 18:15:00 | 5.7173 | 99.6273 | 6.58 | 109.48 | 10.296 | 28.028 | 10.2953 | 34.964 | 12.4767 | 888 | 82.52 | 39.4307
2019-04-02 18:30:00 | 5.796 | 158.816 | 6.672 | 174.518 | 10.338 | 15.956 | 10 | 27.5833 | 12.248 | 888 | 83.54 | 44.946
2019-04-02 18:45:00 | 6.464 | 289.3213 | 7.4433 | 317.9333 | 11.3693 | 25.9247 | 11.6193 | 27.9033 | 12.0093 | 888 | 84.3933 | 46.3007
2019-04-02 19:00:00 | 7.2 | 122.244 | 8.284 | 134.326 | 12.504 | 13.116 | 12.636 | 32.436 | 11.956 | 888 | 83.66 | 42.1607
2019-04-02 19:15:00 | 6.6387 | 86.4913 | 7.6433 | 95.04 | 11.6873 | 16.9127 | 11.9653 | 28.8893 | 11.8 | 888 | 84.6133 | 42.1587
2019-04-02 19:30:00 | 6.748 | 134.612 | 7.768 | 147.922 | 11.96 | 14.914 | 12.144 | 30.672 | 11.576 | 888 | 85.86 | 43.7747
2019-04-02 19:45:00 | 6.6827 | 289.972 | 7.686 | 318.64 | 12.0573 | 19.9067 | 12.3953 | 27.758 | 11.408 | 888 | 86.1133 | 51.1307
2019-04-02 20:00:00 | 7.168 | 117.462 | 8.25 | 129.07 | 12.518 | 27.174 | 13.192 | 30.2 | 11.32 | 888.4667 | 86.34 | 54.1267
2019-04-02 20:15:00 | 7.8093 | 267.6967 | 8.9953 | 294.1767 | 13.902 | 16.4607 | 14.2093 | 26.2227 | 11.0867 | 889 | 87.3267 | 53.4613
2019-04-02 20:30:00 | 7.516 | 296.918 | 8.646 | 326.28 | 13.634 | 22.074 | 14.028 | 25.944 | 10.782 | 889 | 88.16 | 43.5493
2019-04-02 20:45:00 | 5.952 | 222.6513 | 6.85 | 244.6667 | 11.0073 | 13.1447 | 11.1907 | 22.22 | 10.682 | 889 | 88.36 | 45.3213
2019-04-02 21:00:00 | 6.214 | 167.214 | 7.15 | 183.74 | 11.434 | 21.218 | 11.618 | 25.854 | 10.552 | 889 | 89.3 | 43.2227
2019-04-02 21:15:00 | 6.5467 | 96.144 | 7.5287 | 105.6507 | 12.076 | 16.6793 | 12.4167 | 26.192 | 10.356 | 889.1333 | 90.08 | 42.1013
2019-04-02 21:30:00 | 6.482 | 287.832 | 7.46 | 316.3 | 12.0507 | 13.334 | 12.402 | 24.942 | 10.318 | 890 | 90.26 | 45.2767
2019-04-02 21:45:00 | 6.646 | 252.4013 | 7.652 | 277.3533 | 12.2933 | 21.8713 | 12.9407 | 32.126 | 10.2927 | 890 | 90.0867 | 45.6647
2019-04-02 22:00:00 | 6.934 | 178.4147 | 7.976 | 196.0527 | 12.668 | 20.636 | 13.3833 | 32.158 | 10.2993 | 890 | 89.86 | 43.738
2019-04-02 22:15:00 | 6.8553 | 176.8973 | 7.8933 | 194.3847 | 12.2893 | 21.3893 | 13.374 | 29.6487 | 10.2793 | 890 | 89.62 | 34.938
2019-04-02 22:30:00 | 6.47 | 146.49 | 7.44 | 160.978 | 11.408 | 26.34 | 12.342 | 25.298 | 10.3107 | 890 | 89.2 | 33.262
2019-04-02 22:45:00 | 6.45 | 20.65 | 7.42 | 22.68 | 11.51 | 10.43 | 11.62 | 23.19 | 10.286 | 890 | 89.2 | 36.527
2019-04-02 23:00:00 | 6.144 | 67.052 | 7.07 | 73.678 | 10.826 | 37.956 | 10.58 | 20.322 | 10.196 | 890.4667 | 89.98 | 34.8273
2019-04-02 23:15:00 | 5.5907 | 255.15 | 6.4307 | 280.3733 | 9.962 | 14.1113 | 9.6893 | 1.2853 | 10.1853 | 891 | 89.8 | 42.0647
2019-04-02 23:30:00 | 5.512 | 121.022 | 6.34 | 132.992 | 8.81 | 20.158 | 8.352 | 213.224 | 10.188 | 891 | 89.38 | 46.2267
2019-04-02 23:45:00 | 5.456 | 280.7513 | 6.2733 | 308.5147 | 8.47 | 91.194 | 8.1027 | 282.3333 | 10.3093 | 891 | 88.0067 | 51.732