## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-03 00:00:00 | 5.6514 | 264.9757 | 6.4986 | 291.1786 | 8.9507 | 127.3286 | 8.6786 | 257.4786 | 10.2957 | 891 | 87.3833 | 51.875
2019-04-03 00:15:00 | 5.9287 | 192.5607 | 6.8207 | 211.5947 | 9.8073 | 328.3933 | 9.4187 | 29 | 10.2753 | 891 | 86.6067 | 52.3413
2019-04-03 00:30:00 | 6.18 | 53.544 | 7.12 | 64.01 | 9.6333 | 345.4667 | 9.43 | 6.8933 | 10.31 | 891 | 85.3667 | 51.2607
2019-04-03 00:45:00 | 6.096 | 258.48 | 7.0127 | 284.0467 | 10.398 | 36.5373 | 9.932 | 10.8707 | 10.2233 | 891 | 85.4933 | 53.1227
2019-04-03 01:00:00 | 6.4267 | 257.53 | 7.3933 | 283 | 11.1567 | 240.9967 | 10.88 | 14.71 | 10.1133 | 891 | 85.5533 | 52.9867
2019-04-03 01:15:00 | 6.0113 | 313.1307 | 6.9227 | 344.1 | 11.2067 | 15.1387 | 11.1973 | 23.674 | 9.9827 | 891 | 85.8333 | 51.63
2019-04-03 01:30:00 | 5.704 | 128.198 | 6.558 | 140.874 | 10.896 | 14.408 | 11.0707 | 22.736 | 9.832 | 891 | 86.44 | 47.356
2019-04-03 01:45:00 | 5.048 | 258.494 | 5.8073 | 284.0527 | 9.5387 | 17.1627 | 9.8853 | 25.6187 | 9.7267 | 891 | 86.6 | 45.5553
2019-04-03 02:00:00 | 4.924 | 316.07 | 5.672 | 347.32 | 9.0347 | 7.684 | 9.684 | 33.652 | 9.62 | 891 | 86.98 | 42.716
2019-04-03 02:15:00 | 4.8333 | 123.4287 | 5.56 | 135.6267 | 8.836 | 15.016 | 8.9827 | 22.4827 | 9.656 | 891 | 86.22 | 43.924
2019-04-03 02:30:00 | 5.4567 | 177.6933 | 6.2733 | 195.2667 | 9.86 | 13.06 | 9.6367 | 17.5967 | 9.6967 | 891 | 85.8467 | 45.1027
2019-04-03 02:45:00 | 5.8 | 151.084 | 6.6793 | 166.0133 | 10.4293 | 17.73 | 10.6793 | 20.5747 | 9.7367 | 891 | 84.94 | 44.7107
2019-04-03 03:00:00 | 6.024 | 193.858 | 6.932 | 213.02 | 10.88 | 22.094 | 11.522 | 22.602 | 9.7947 | 891 | 83.94 | 45.714
2019-04-03 03:15:00 | 5.8493 | 112.5953 | 6.7267 | 123.7267 | 10.74 | 15.7367 | 11.148 | 22.1993 | 9.82 | 891 | 83.42 | 44.2187
2019-04-03 03:30:00 | 5.59 | 170.7567 | 6.4267 | 187.6333 | 10.1967 | 10.6367 | 10.3033 | 20.6733 | 9.7853 | 891 | 83.4467 | 39.0733
2019-04-03 03:45:00 | 5.0447 | 167.3247 | 5.8027 | 183.8667 | 9.3253 | 20.7707 | 10.0147 | 30.8293 | 9.72 | 891 | 83.4867 | 39.4267
2019-04-03 04:00:00 | 4.94 | 124.7033 | 5.6867 | 137.0333 | 8.8733 | 12.3833 | 9.4567 | 22.03 | 9.6933 | 891 | 82.8667 | 38.9893
2019-04-03 04:15:00 | 5.3293 | 236.1187 | 6.134 | 259.4707 | 9.59 | 20.7207 | 9.6093 | 18.3067 | 9.6267 | 891 | 82.7867 | 42.064
2019-04-03 04:30:00 | 5.68 | 186.96 | 6.53 | 205.4467 | 10.2733 | 14.2767 | 10.3033 | 22.1867 | 9.53 | 890.5333 | 83.1667 | 41.3093
2019-04-03 04:45:00 | 5.3247 | 217.5853 | 6.1353 | 239.1 | 9.5253 | 9.044 | 9.3153 | 23.0313 | 9.496 | 890 | 82.9667 | 40.2667
2019-04-03 05:00:00 | 5.232 | 259.804 | 6.026 | 285.5 | 8.54 | 2.53 | 8.394 | 18.896 | 9.4847 | 890 | 83.0533 | 40.6067
2019-04-03 05:15:00 | 5.4533 | 154.3813 | 6.2753 | 169.6467 | 8.0627 | 103.122 | 7.682 | 13.1747 | 9.51 | 890 | 82.4533 | 38.9587
2019-04-03 05:30:00 | 5.042 | 120.624 | 5.804 | 132.542 | 8.006 | 139.784 | 7.446 | 16.692 | 9.466 | 890 | 82.94 | 30.0467
2019-04-03 05:45:00 | 4.3433 | 6.172 | 5 | 6.7687 | 6.746 | 19.4387 | 6.5207 | 242.3307 | 9.3793 | 890.8 | 83.6467 | 29.3527
2019-04-03 06:00:00 | 4.304 | 8.882 | 4.958 | 9.752 | 6.704 | 20.59 | 6.46 | 19.636 | 9.36 | 891 | 83.9467 | 35.6687
2019-04-03 06:15:00 | 5.232 | 294.7713 | 6.0153 | 323.924 | 8.7507 | 17.6593 | 8.596 | 25.7413 | 9.292 | 890.2 | 84.56 | 37.0827
2019-04-03 06:30:00 | 5.126 | 140.816 | 5.892 | 154.734 | 9.19 | 10.868 | 8.928 | 23.624 | 9.188 | 890.4667 | 85.58 | 34.4407
2019-04-03 06:45:00 | 5.5113 | 38.8067 | 6.336 | 39.0313 | 9.216 | 126.958 | 8.8193 | 27.9727 | 9.2053 | 891 | 85.2333 | 34.0573
2019-04-03 07:00:00 | 5.576 | 98.996 | 6.412 | 108.784 | 9.23 | 143.564 | 8.984 | 14.028 | 9.248 | 891 | 84.92 | 34.1347
2019-04-03 07:15:00 | 5.2667 | 239.3893 | 6.0653 | 242.58 | 8.178 | 122.1887 | 8.0353 | 8.4753 | 9.2467 | 891 | 85 | 33.5833
2019-04-03 07:30:00 | 4.696 | 211.506 | 5.4 | 232.428 | 7.396 | 147.04 | 7.096 | 26.93 | 9.248 | 891 | 85.24 | 36.5593
2019-04-03 07:45:00 | 4.9747 | 22.2847 | 5.7267 | 24.5827 | 8.2907 | 15.596 | 8.0093 | 28.7147 | 9.2467 | 891 | 85.8467 | 34.7047
2019-04-03 08:00:00 | 5.118 | 32.234 | 5.892 | 35.42 | 9.142 | 11.046 | 9.042 | 19.974 | 9.2647 | 891 | 86.2 | 32.9167
2019-04-03 08:15:00 | 5.0833 | 50.6673 | 5.8427 | 55.668 | 9.1513 | 18.2833 | 8.9833 | 16.3287 | 9.3567 | 891.1333 | 86.04 | 30.2713
2019-04-03 08:30:00 | 4.772 | 62.99 | 5.486 | 69.214 | 8.422 | 24.376 | 8.182 | 19.772 | 9.48 | 892 | 85.6467 | 31.1367
2019-04-03 08:45:00 | 4.516 | 5.6113 | 5.1993 | 6.1647 | 7.1473 | 234.0653 | 7.1287 | 229.0933 | 9.7693 | 892 | 84.4067 | 26.1187
2019-04-03 09:00:00 | 4.6567 | 205.8533 | 5.3567 | 226.2067 | 7.7033 | 13.1667 | 6.9767 | 33.0033 | 10.2967 | 892 | 83 | 21.9747
2019-04-03 09:15:00 | 4.8213 | 52.256 | 5.5493 | 57.416 | 7.9107 | 21.3487 | 7.506 | 15.524 | 11.086 | 892.8 | 80.2173 | 19.9327
2019-04-03 09:30:00 | 4.348 | 22.998 | 5.008 | 25.26 | 7.012 | 23.602 | 6.552 | 12.744 | 11.558 | 893 | 77.966 | 18.3473
2019-04-03 09:45:00 | 4.524 | 299.9707 | 5.2027 | 329.6407 | 7.2587 | 13.08 | 7.008 | 22.8427 | 11.768 | 893.1333 | 76.246 | 15.95
2019-04-03 10:00:00 | 4.464 | 273.842 | 5.132 | 300.92 | 7.77 | 10.648 | 7.608 | 22.544 | 11.954 | 894 | 75.494 | 12.2473
2019-04-03 10:15:00 | 3.812 | 215.1287 | 4.388 | 216.58 | 6.8627 | 5.2987 | 6.7453 | 21.4413 | 12.1247 | 894 | 74.8647 | 9.13
2019-04-03 10:30:00 | 3.81 | 32.046 | 4.386 | 35.212 | 6.852 | 11.446 | 6.562 | 16.538 | 12.456 | 894 | 73.56 | 8.3847
2019-04-03 10:45:00 | 3.7587 | 278.3713 | 4.3233 | 305.9053 | 6.4527 | 10.6613 | 6.15 | 18.6247 | 12.8993 | 894 | 71.1907 | 7.4093
2019-04-03 11:00:00 | 3.956 | 303.812 | 4.55 | 333.86 | 6.552 | 16.168 | 6.214 | 24.894 | 13.332 | 894 | 69.538 | 6.5233
2019-04-03 11:15:00 | 3.706 | 239.1407 | 4.2687 | 262.79 | 5.9033 | 18.9873 | 5.736 | 21.316 | 13.8 | 894 | 67.102 | 4.0033
2019-04-03 11:30:00 | 3.648 | 30.112 | 4.206 | 33.082 | 5.622 | 17.614 | 5.43 | 26.446 | 14.014 | 894 | 66.042 | 2.574
2019-04-03 11:45:00 | 3.004 | 116.876 | 3.4527 | 128.4313 | 4.622 | 27.246 | 4.4327 | 28.6753 | 14.3073 | 894 | 65.0047 | 1.9533
2019-04-03 12:00:00 | 2.85 | 134.924 | 3.278 | 148.266 | 4.36 | 17.762 | 4.156 | 17.528 | 14.366 | 894 | 63.764 | 1.0193
2019-04-03 12:15:00 | 2.758 | 203.44 | 3.17 | 223.5487 | 4.6053 | 22.7927 | 4.2267 | 26.8453 | 14.5487 | 894 | 63.7347 | 0.46067
2019-04-03 12:30:00 | 2.672 | 194.652 | 3.074 | 213.892 | 4.244 | 20.842 | 3.898 | 20.006 | 14.584 | 894 | 63.002 | 0.254
2019-04-03 12:45:00 | 2.3453 | 186.5933 | 2.71 | 205.04 | 3.8587 | 20.3967 | 3.838 | 25.3673 | 14.308 | 893.2 | 63.1473 | 0
2019-04-03 13:00:00 | 2.16 | 285.956 | 2.488 | 314.24 | 3.552 | 18.97 | 3.258 | 34.324 | 14.022 | 893 | 64.37 | 0
2019-04-03 13:15:00 | 1.5715 | 49.1546 | 1.82 | 54.0054 | 2.5946 | 31.0808 | 2.4985 | 20.8792 | 13.6838 | 893 | 65.36 | 0
2019-04-03 13:30:00 | 0.628 | 86.934 | 0.728 | 95.532 | 1.06 | 98.624 | 1.522 | 104.888 | 13.15 | 893 | 67.166 | 0
2019-04-03 13:45:00 | 0.38 | 141.23 | 0.44 | 155.2 | 0.62 | 138 | 1.09 | 148.6 | 13.05 | 893 | 67.81 | 0
2019-04-03 14:00:00 | 1.418 | 173.06 | 1.634 | 190.18 | 1.928 | 199.86 | 2.104 | 188.68 | 12.246 | 892.5333 | 72.304 | 0
2019-04-03 14:15:00 | 1.522 | 170.236 | 1.75 | 187.0733 | 2.0347 | 221.46 | 2.2267 | 223.1067 | 11.726 | 892 | 74.8947 | 0
2019-04-03 14:30:00 | 0.812 | 175.396 | 0.94 | 192.74 | 1.23 | 231.16 | 1.414 | 231.84 | 12.052 | 892 | 72.5 | 0
2019-04-03 14:45:00 | 0.42 | 144.4307 | 0.48667 | 158.7133 | 0.59667 | 162.68 | 0.80467 | 155.1867 | 12.2987 | 891.2 | 70.928 | 0
2019-04-03 15:00:00 | 0.44 | 167.104 | 0.516 | 183.62 | 0.53 | 151.9 | 0.44 | 142.34 | 12.39 | 891 | 70.812 | 0
2019-04-03 15:15:00 | 0.12267 | 139.7987 | 0.14067 | 153.6133 | 0.090667 | 141.06 | 0.30467 | 140.1133 | 12.514 | 891 | 69.4113 | 0
2019-04-03 15:30:00 | 0.22 | 104.968 | 0.26 | 115.34 | 0.372 | 51.076 | 0.636 | 75.416 | 12.692 | 891 | 68.718 | 0
2019-04-03 15:45:00 | 0.32933 | 244.5973 | 0.384 | 268.78 | 0.44533 | 282.6173 | 0.552 | 103.9573 | 12.9933 | 891 | 67.7247 | 0
2019-04-03 16:00:00 | 0.472 | 173.666 | 0.546 | 190.84 | 0.54 | 125.84 | 0.708 | 145.46 | 12.868 | 891 | 67.826 | 0
2019-04-03 16:15:00 | 0.097333 | 178.2833 | 0.118 | 195.92 | 0.062667 | 39.7307 | 0.34133 | 108.54 | 12.6373 | 891 | 68.3847 | 0
2019-04-03 16:30:00 | 0.06 | 168.574 | 0.08 | 185.24 | 0.124 | 19.954 | 0.204 | 155.58 | 12.756 | 891 | 68.82 | 0
2019-04-03 16:45:00 | 0.04 | 254.75 | 0.044 | 279.9467 | 0.069333 | 230.5287 | 0.172 | 21.8707 | 12.9253 | 891 | 67.936 | 0
2019-04-03 17:00:00 | 0.108 | 111.11 | 0.13 | 122.1 | 0.2 | 16.214 | 0.648 | 19.436 | 12.62 | 891 | 69.214 | 0
2019-04-03 17:15:00 | 0.009333 | 110.774 | 0.011333 | 121.7267 | 0.018667 | 14.2807 | 0.156 | 42.6773 | 12.52 | 890.2 | 70.4393 | 0
2019-04-03 17:30:00 | 0 | 110.75 | 0 | 121.7 | 0 | 14.2793 | 0 | 43.464 | 12.49 | 890 | 71.728 | 0
2019-04-03 17:45:00 | 0 | 110.75 | 0 | 121.7 | 0 | 96.326 | 0.066667 | 75.332 | 12.4047 | 890 | 72.1587 | 0
2019-04-03 18:00:00 | 0 | 110.75 | 0 | 121.7 | 0 | 120.4 | 0 | 162.7 | 12.382 | 890 | 72.324 | 0
2019-04-03 18:15:00 | 0.40533 | 128.2047 | 0.47867 | 140.8733 | 0.692 | 147.4267 | 0.60133 | 162.7 | 12.1873 | 890 | 72.532 | 0
2019-04-03 18:30:00 | 0.44 | 129.78 | 0.516 | 142.6 | 0.736 | 160.86 | 0.908 | 162.7 | 12.032 | 890 | 73.472 | 0
2019-04-03 18:45:00 | 0.362 | 168.4947 | 0.426 | 188.2 | 0.59533 | 168.6667 | 0.814 | 195.9 | 11.9393 | 890 | 73.816 | 0
2019-04-03 19:00:00 | 1.508 | 169.184 | 1.74 | 185.92 | 2.046 | 185.74 | 1.958 | 194.04 | 11.838 | 890 | 74.968 | 0
2019-04-03 19:15:00 | 2.1947 | 176.4133 | 2.5267 | 193.8533 | 2.8 | 194.2333 | 2.638 | 199.6333 | 11.6227 | 890 | 76.8433 | 0
2019-04-03 19:30:00 | 2.38 | 173.442 | 2.74 | 190.6 | 3.114 | 195.14 | 3.148 | 196.84 | 11.476 | 890 | 78.236 | 0
2019-04-03 19:45:00 | 3.142 | 151.35 | 3.6153 | 166.32 | 3.712 | 191.4267 | 4.0187 | 191.3 | 11.46 | 890 | 78.7473 | 0.64467
2019-04-03 20:00:00 | 2.656 | 151.266 | 3.062 | 166.22 | 3.178 | 184.54 | 3.378 | 189.14 | 11.392 | 890 | 79.412 | 0.43533
2019-04-03 20:15:00 | 2.5707 | 157.178 | 2.9533 | 172.4867 | 3.0373 | 201.3333 | 3.016 | 202.8133 | 11.2873 | 890 | 80.2733 | 0.18533
2019-04-03 20:30:00 | 2.584 | 153.366 | 2.974 | 168.5333 | 3.0653 | 189.56 | 3.0973 | 188.7533 | 11.1167 | 890 | 81.7267 | 0
2019-04-03 20:45:00 | 2.6393 | 163.8267 | 3.0373 | 180.0333 | 3.2267 | 185.1267 | 3.2913 | 197.5867 | 11.0213 | 890 | 82.56 | 0
2019-04-03 21:00:00 | 2.222 | 159.014 | 2.556 | 174.74 | 2.766 | 193.76 | 2.884 | 199.3 | 10.934 | 890.4667 | 83.24 | 0
2019-04-03 21:15:00 | 2.336 | 160.728 | 2.6833 | 176.62 | 2.934 | 193.3467 | 2.912 | 199.02 | 10.8293 | 891 | 83.88 | 0
2019-04-03 21:30:00 | 2.024 | 154.698 | 2.334 | 170 | 2.51 | 178.94 | 2.588 | 194.34 | 10.782 | 891 | 84.28 | 0
2019-04-03 21:45:00 | 1.88 | 161.5527 | 2.1633 | 177.5333 | 2.3113 | 186.7933 | 2.4333 | 195.86 | 10.638 | 891 | 85.1067 | 0
2019-04-03 22:00:00 | 1.896 | 160.326 | 2.186 | 176.18 | 2.242 | 192.2 | 2.494 | 197.8 | 10.6047 | 891 | 85.2533 | 0
2019-04-03 22:15:00 | 1.856 | 180.9607 | 2.1407 | 198.86 | 2.3447 | 194.6667 | 2.362 | 196.44 | 10.566 | 891 | 85.4 | 0
2019-04-03 22:30:00 | 1.492 | 191.644 | 1.72 | 210.6 | 1.83 | 195.9 | 1.72 | 195.2 | 10.568 | 891 | 85.26 | 0
2019-04-03 22:45:00 | 1.484 | 166.6533 | 1.7093 | 183.1333 | 1.854 | 185.2867 | 1.6427 | 192.72 | 10.5027 | 891 | 85.6867 | 0
2019-04-03 23:00:00 | 1.512 | 163.218 | 1.738 | 179.36 | 1.868 | 183.6533 | 1.556 | 192.6533 | 10.368 | 891 | 86.42 | 0
2019-04-03 23:15:00 | 0.992 | 173.202 | 1.1433 | 190.3333 | 1.196 | 188.0533 | 0.87067 | 192.6 | 10.34 | 891 | 86.3133 | 0
2019-04-03 23:30:00 | 0.236 | 186.8367 | 0.278 | 205.3133 | 0.39 | 197.8 | 0.548 | 192.6 | 10.284 | 891 | 86.42 | 0
2019-04-03 23:45:00 | 0.009333 | 186.65 | 0.011333 | 205.1 | 0.012667 | 197.8 | 0.066667 | 192.6 | 10.1347 | 890.8667 | 87.0467 | 0