## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-04 00:00:00 | 0 | 186.65 | 0 | 205.1 | 0 | 197.8 | 0.068571 | 192.6 | 10.0943 | 890 | 87.3 | 0
2019-04-04 00:15:00 | 0 | 186.65 | 0 | 205.1 | 0 | 197.8 | 0 | 192.6 | 10.3633 | 890.8 | 86.0067 | 0
2019-04-04 00:30:00 | 0 | 186.65 | 0 | 205.1 | 0 | 197.8 | 0.168 | 192.6933 | 10.45 | 891 | 85.32 | 0
2019-04-04 00:45:00 | 0 | 186.65 | 0 | 205.1 | 0 | 197.8 | 0.39067 | 276.3 | 10.2413 | 891 | 86.4133 | 0
2019-04-04 01:00:00 | 0.252 | 186.6873 | 0.288 | 205.1467 | 0.504 | 80.698 | 1.008 | 297.48 | 10.142 | 890.5333 | 86.98 | 0
2019-04-04 01:15:00 | 0.75067 | 301.9553 | 0.864 | 331.8133 | 1.3933 | 1.902 | 1.6507 | 338.9867 | 9.9687 | 890 | 87.86 | 0
2019-04-04 01:30:00 | 0.832 | 313.404 | 0.96 | 344.4 | 1.452 | 35.868 | 1.776 | 348.3 | 10.098 | 890 | 87.36 | 0
2019-04-04 01:45:00 | 0.956 | 311.9467 | 1.1093 | 342.8 | 1.8553 | 313.764 | 2.2913 | 100.192 | 9.9973 | 890 | 87.82 | 0
2019-04-04 02:00:00 | 1.324 | 309.86 | 1.526 | 340.5 | 2.478 | 349.84 | 2.944 | 10.374 | 9.83 | 890 | 88.74 | 0.298
2019-04-04 02:15:00 | 1.7333 | 224.852 | 2.002 | 247.0893 | 3.2167 | 355.32 | 3.4893 | 6.4847 | 9.67 | 890 | 89.8333 | 1.8613
2019-04-04 02:30:00 | 1.914 | 20.3633 | 2.212 | 22.3767 | 3.7533 | 351.8667 | 3.8867 | 7.23 | 9.5647 | 890 | 90.2667 | 2.6113
2019-04-04 02:45:00 | 1.9033 | 220.486 | 2.2027 | 242.284 | 3.6767 | 118.2867 | 3.7473 | 13.344 | 9.694 | 890 | 89.1733 | 3.468
2019-04-04 03:00:00 | 1.836 | 6.628 | 2.112 | 7.288 | 3.424 | 150.046 | 3.9 | 28.414 | 9.736 | 890 | 88.9 | 2.46
2019-04-04 03:15:00 | 1.784 | 269.692 | 2.0533 | 296.3587 | 3.4773 | 105.2207 | 3.9267 | 20.5793 | 9.5933 | 889.2 | 90.3133 | 1.312
2019-04-04 03:30:00 | 1.648 | 318.852 | 1.908 | 350.38 | 3.192 | 175.748 | 3.57 | 9.866 | 9.502 | 889 | 90.9467 | 0.54133
2019-04-04 03:45:00 | 1.8773 | 109.8613 | 2.172 | 120.7267 | 3.464 | 20.504 | 3.87 | 25.0407 | 9.514 | 889 | 90.24 | 0
2019-04-04 04:00:00 | 1.44 | 287.092 | 1.662 | 315.48 | 2.836 | 10.454 | 3.194 | 18.896 | 9.542 | 889 | 89.8533 | 0
2019-04-04 04:15:00 | 0.99867 | 305.6933 | 1.1567 | 335.92 | 1.8907 | 14.5887 | 2.7327 | 28.9427 | 9.55 | 889 | 89.2133 | 0
2019-04-04 04:30:00 | 1.266 | 127.576 | 1.46 | 140.19 | 2.368 | 11.252 | 2.872 | 21.374 | 9.548 | 889 | 89.3 | 0
2019-04-04 04:45:00 | 1.198 | 95.396 | 1.3787 | 104.8233 | 2.3627 | 7.472 | 2.904 | 14.3127 | 9.4907 | 889 | 89.1933 | 0
2019-04-04 05:00:00 | 1.0333 | 299.58 | 1.19 | 329.2 | 2.0567 | 1.09 | 2.78 | 1.9467 | 9.41 | 889 | 89.3 | 0
2019-04-04 05:15:00 | 1.0613 | 299.6333 | 1.2293 | 329.2667 | 2.1007 | 93.23 | 2.852 | 12.3287 | 9.376 | 889 | 89.3 | 0
2019-04-04 05:30:00 | 0.86 | 299.58 | 0.994 | 329.2 | 1.708 | 351.96 | 2.26 | 3.528 | 9.288 | 889 | 89.3467 | 0
2019-04-04 05:45:00 | 0.80133 | 299.58 | 0.92867 | 329.2 | 1.596 | 265.1973 | 2.1653 | 9.2 | 9.2 | 889 | 89.8533 | 0
2019-04-04 06:00:00 | 1.048 | 299.58 | 1.21 | 329.2 | 2.084 | 14.22 | 2.602 | 21.752 | 9.148 | 889 | 90.28 | 0
2019-04-04 06:15:00 | 1.632 | 304.2867 | 1.8833 | 334.3733 | 3.1853 | 14.728 | 3.5953 | 19.6787 | 9.0293 | 889 | 91.32 | 1.1807
2019-04-04 06:30:00 | 1.836 | 126.994 | 2.118 | 139.55 | 3.538 | 20.062 | 3.78 | 22.968 | 8.89 | 889 | 91.72 | 4.1107
2019-04-04 06:45:00 | 2.1267 | 98.0393 | 2.4473 | 107.7367 | 4.0393 | 13.0887 | 4.376 | 22.676 | 8.726 | 889 | 91.9867 | 8.6613
2019-04-04 07:00:00 | 2.678 | 314.632 | 3.082 | 345.74 | 4.938 | 13.618 | 5.228 | 25.032 | 8.526 | 889 | 93.1 | 10.8647
2019-04-04 07:15:00 | 2.9847 | 26.4987 | 3.4327 | 29.12 | 5.722 | 10.6887 | 6.0213 | 18.4867 | 8.5567 | 889 | 93.2067 | 10.5227
2019-04-04 07:30:00 | 2.818 | 29.06 | 3.244 | 31.928 | 5.144 | 9.014 | 5.096 | 20.924 | 8.922 | 889 | 91.02 | 9.634
2019-04-04 07:45:00 | 2.9887 | 89.444 | 3.436 | 98.2853 | 5.4547 | 10.7207 | 5.5093 | 16.7053 | 9.3873 | 889.8 | 88.3133 | 11.6653
2019-04-04 08:00:00 | 3.2133 | 114.47 | 3.6967 | 125.7867 | 5.92 | 10.1333 | 6.1467 | 18.1133 | 9.3233 | 890 | 88.7667 | 16.6373
2019-04-04 08:15:00 | 3.8127 | 9.834 | 4.3913 | 10.8047 | 5.9527 | 238.7547 | 5.9533 | 8.076 | 9.1887 | 890 | 89.7733 | 22.1513
2019-04-04 08:30:00 | 3.896 | 11.126 | 4.484 | 12.222 | 6.166 | 10.254 | 6.426 | 16.128 | 9.572 | 890.4667 | 89.62 | 25.0947
2019-04-04 08:45:00 | 4.564 | 240.5913 | 5.2507 | 264.3753 | 7.7567 | 6.3633 | 8.142 | 12.144 | 10.6507 | 891 | 85.3267 | 23.2093
2019-04-04 09:00:00 | 4.884 | 305.454 | 5.628 | 335.66 | 7.96 | 7.24 | 8.018 | 107.32 | 11.312 | 891.4667 | 82.02 | 20.7613
2019-04-04 09:15:00 | 5.1187 | 105.7327 | 5.892 | 116.1867 | 7.8627 | 10.376 | 7.6607 | 26.564 | 11.8653 | 892 | 78.6653 | 17.97
2019-04-04 09:30:00 | 4.736 | 293.02 | 5.452 | 322 | 7.636 | 9.974 | 7.444 | 8.972 | 12.814 | 892 | 74.386 | 18.848
2019-04-04 09:45:00 | 4.77 | 253.0527 | 5.4987 | 278.0807 | 8.0573 | 10.9947 | 8.0167 | 25.4827 | 13.9973 | 892.6667 | 68.86 | 16.024
2019-04-04 10:00:00 | 4.776 | 32.296 | 5.498 | 35.486 | 7.756 | 13.588 | 7.59 | 22.17 | 14.218 | 892.4667 | 66.272 | 16.6273
2019-04-04 10:15:00 | 4.692 | 250.512 | 5.398 | 275.282 | 8.0707 | 12.2213 | 7.8927 | 16.022 | 15.0113 | 893 | 63.0667 | 17.1293
2019-04-04 10:30:00 | 4.948 | 135.142 | 5.698 | 148.5 | 8.114 | 15.574 | 8.056 | 25.358 | 15.206 | 893 | 60.418 | 14.4733
2019-04-04 10:45:00 | 5.032 | 177.7087 | 5.7967 | 195.2733 | 7.9033 | 20.5513 | 7.8453 | 26.7713 | 15.4953 | 893 | 57.986 | 13.318
2019-04-04 11:00:00 | 4.874 | 46.324 | 5.604 | 50.902 | 7.706 | 19.144 | 7.55 | 23.51 | 15.664 | 893 | 57.038 | 8.884
2019-04-04 11:15:00 | 4.6993 | 215.1493 | 5.4147 | 236.414 | 7.3007 | 22.7173 | 7.186 | 30.61 | 16.426 | 893 | 54.2347 | 5.198
2019-04-04 11:30:00 | 3.868 | 21.848 | 4.452 | 24.002 | 6.178 | 20.34 | 6.1 | 17.976 | 17.122 | 893 | 52.644 | 4.1733
2019-04-04 11:45:00 | 4.1613 | 229.2707 | 4.788 | 251.946 | 6.0753 | 22.1 | 5.9627 | 25.888 | 17.0647 | 893 | 51.068 | 4.4873
2019-04-04 12:00:00 | 4.3393 | 20.6267 | 4.994 | 22.6613 | 6.3387 | 31.0293 | 6.0707 | 15.8767 | 17.4573 | 893 | 49.6347 | 4.5653
2019-04-04 12:15:00 | 4.012 | 20.7433 | 4.614 | 22.7893 | 5.756 | 16.79 | 5.508 | 25.366 | 18.196 | 892.8667 | 47.9833 | 5.0593
2019-04-04 12:30:00 | 3.732 | 196.47 | 4.302 | 215.892 | 5.386 | 14.352 | 4.912 | 29.69 | 18.628 | 892 | 46.282 | 5.4013
2019-04-04 12:45:00 | 4.0507 | 45.7047 | 4.666 | 48.1413 | 5.4307 | 16.6933 | 5.108 | 33.0887 | 18.07 | 892 | 46.062 | 5.1933
2019-04-04 13:00:00 | 4.1333 | 11.0347 | 4.7573 | 12.1247 | 5.628 | 10.002 | 5.4887 | 23.3553 | 18.2447 | 892 | 45.1047 | 4.3853
2019-04-04 13:15:00 | 3.744 | 224.15 | 4.3047 | 224.826 | 5.1767 | 19.6233 | 5.1053 | 32.1147 | 18.934 | 892 | 43.4413 | 3.4793
2019-04-04 13:30:00 | 3.944 | 29.664 | 4.538 | 32.592 | 5.588 | 11.372 | 5.312 | 18.716 | 19.582 | 892 | 41.926 | 4.532
2019-04-04 13:45:00 | 3.84 | 220.192 | 4.4193 | 241.9587 | 5.5827 | 23.5653 | 5.3227 | 11.7547 | 20.266 | 892 | 40.2793 | 4.4247
2019-04-04 14:00:00 | 3.77 | 195.75 | 4.34 | 215.112 | 5.566 | 19.444 | 5.246 | 27.026 | 20.628 | 892 | 39.152 | 2.4133
2019-04-04 14:15:00 | 3.658 | 215.9993 | 4.2093 | 237.36 | 5.2847 | 23.7747 | 5.1913 | 27.9567 | 20.9333 | 891.8667 | 38.2253 | 2.942
2019-04-04 14:30:00 | 3.716 | 292.87 | 4.28 | 321.84 | 5.962 | 35.44 | 5.748 | 15.47 | 21.91 | 891 | 37.23 | 3.5187
2019-04-04 14:45:00 | 3.8013 | 34.2233 | 4.38 | 37.6053 | 6.1727 | 12.4093 | 5.8987 | 22.5753 | 22.6473 | 891 | 35.954 | 3.5167
2019-04-04 15:00:00 | 4.1 | 158.08 | 4.715 | 173.71 | 6.39 | 22.25 | 5.975 | 16.795 | 22.7586 | 891 | 35.2043 | 2.9473
2019-04-04 15:15:00 | 3.7613 | 42.1133 | 4.33 | 46.268 | 5.5487 | 15.2447 | 5.1673 | 14.4467 | 22.692 | 891 | 34.884 | 3.2413
2019-04-04 15:30:00 | 3.556 | 202.042 | 4.094 | 222.016 | 5.198 | 10.722 | 4.822 | 22.972 | 22.514 | 891 | 35.258 | 2.524
2019-04-04 15:45:00 | 2.7013 | 236.194 | 3.1047 | 259.5547 | 3.8367 | 17.2593 | 3.758 | 70.6653 | 22.3193 | 891 | 34.1753 | 2.5673
2019-04-04 16:00:00 | 3.292 | 19.244 | 3.786 | 21.14 | 5.02 | 22.772 | 4.912 | 26.814 | 22.3 | 890.5333 | 34.75 | 0.652
2019-04-04 16:15:00 | 2.964 | 111.7467 | 3.4113 | 122.792 | 4.488 | 12.4853 | 4.2267 | 18.2473 | 22.3787 | 890 | 33.9033 | 0.87467
2019-04-04 16:30:00 | 2.916 | 310.734 | 3.352 | 341.46 | 4.092 | 7.288 | 3.812 | 216.124 | 22.472 | 890 | 33.1833 | 0.014667
2019-04-04 16:45:00 | 2.3147 | 42.1367 | 2.6693 | 46.3067 | 2.9787 | 315.1933 | 2.8133 | 130.1667 | 22.1907 | 890 | 32.8007 | 0
2019-04-04 17:00:00 | 2.014 | 20.33 | 2.324 | 22.34 | 2.95 | 135.672 | 2.788 | 156.976 | 22.58 | 890 | 32.208 | 0.46267
2019-04-04 17:15:00 | 1.5487 | 155.4673 | 1.7853 | 170.8333 | 2.002 | 214.9813 | 2.1307 | 199.344 | 21.924 | 890 | 33.8133 | 1.662
2019-04-04 17:30:00 | 2.124 | 186.864 | 2.444 | 205.34 | 2.966 | 257.08 | 2.93 | 255.58 | 21.072 | 890 | 36.424 | 3.9207
2019-04-04 17:45:00 | 3.2227 | 173.3413 | 3.7053 | 190.4733 | 4.3247 | 227.2133 | 4.3353 | 225.38 | 20.9533 | 890 | 36.9707 | 6.6947
2019-04-04 18:00:00 | 3.774 | 165.528 | 4.342 | 181.9 | 4.866 | 234.08 | 5.092 | 229.2 | 20.646 | 890 | 37.594 | 20.3027
2019-04-04 18:15:00 | 4.9073 | 145.804 | 5.642 | 160.22 | 5.9593 | 193.8267 | 6.5107 | 197.2267 | 19.8007 | 890 | 40.798 | 30.066
2019-04-04 18:30:00 | 5.512 | 165.678 | 6.336 | 182.06 | 6.472 | 175.14 | 7.28 | 186.44 | 18.84 | 889.5333 | 46.174 | 25.4967
2019-04-04 18:45:00 | 4.6667 | 166.2687 | 5.372 | 182.7133 | 5.6373 | 188.8733 | 6.5533 | 196.5867 | 18.4 | 889 | 48.7033 | 29.2273
2019-04-04 19:00:00 | 4.684 | 129.502 | 5.39 | 142.3 | 5.456 | 193.82 | 5.932 | 190.88 | 18.056 | 889 | 50.312 | 30.7513
2019-04-04 19:15:00 | 4.508 | 127.0047 | 5.194 | 139.5533 | 5.4893 | 184.8067 | 5.6213 | 198.0667 | 17.6 | 889 | 52.3413 | 39.7153
2019-04-04 19:30:00 | 6.034 | 169.32 | 6.936 | 186.06 | 7.606 | 200.46 | 7.61 | 219.4 | 17.242 | 889 | 55.214 | 37.2213
2019-04-04 19:45:00 | 5.2273 | 175.4173 | 6.02 | 192.7533 | 6.4087 | 214.7267 | 6.4953 | 209.4267 | 16.814 | 889 | 58.9393 | 29.6287
2019-04-04 20:00:00 | 4.252 | 157.054 | 4.896 | 172.58 | 5.154 | 208.84 | 5.378 | 195.58 | 16.404 | 889 | 61.154 | 21.8727
2019-04-04 20:15:00 | 4.2573 | 150.874 | 4.908 | 165.7933 | 5.094 | 191.6133 | 5.6433 | 202.4067 | 16.22 | 889 | 62.174 | 18.3647
2019-04-04 20:30:00 | 4.022 | 178.258 | 4.632 | 195.88 | 4.75 | 187.24 | 5.214 | 194 | 16.01 | 889 | 63.068 | 17.746
2019-04-04 20:45:00 | 3.9793 | 150.7687 | 4.5773 | 165.6667 | 4.6193 | 195.5867 | 5.082 | 195.4 | 15.846 | 889.8 | 63.7827 | 17.594
2019-04-04 21:00:00 | 3.576 | 154.874 | 4.116 | 170.18 | 4.304 | 191.3 | 4.788 | 181.12 | 15.674 | 890 | 64.494 | 15.53
2019-04-04 21:15:00 | 3.804 | 172.9113 | 4.384 | 190.0067 | 4.648 | 198.5667 | 5.124 | 189.6 | 15.5607 | 890 | 64.7313 | 17.7287
2019-04-04 21:30:00 | 4.24 | 150.256 | 4.88 | 165.12 | 5.178 | 194.18 | 5.696 | 201.04 | 15.452 | 890 | 65.148 | 15.1773
2019-04-04 21:45:00 | 3.822 | 164.4467 | 4.3973 | 180.7067 | 4.5567 | 196.46 | 4.8467 | 200.1267 | 15.2827 | 890.8 | 66.032 | 11.8613
2019-04-04 22:00:00 | 3.272 | 162.496 | 3.76 | 178.56 | 4.01 | 191.16 | 4.152 | 206.88 | 15.012 | 891 | 67.336 | 9.2893
2019-04-04 22:15:00 | 3.3853 | 162.8853 | 3.8973 | 178.9867 | 4.01 | 189.84 | 4.256 | 192.52 | 14.8467 | 891 | 68.1613 | 7.046
2019-04-04 22:30:00 | 3.436 | 160.564 | 3.948 | 176.44 | 4.052 | 180.14 | 4.394 | 182.16 | 14.68 | 891 | 68.866 | 4.8693
2019-04-04 22:45:00 | 3.1147 | 153.0347 | 3.584 | 168.16 | 3.7733 | 185.9667 | 4.082 | 187.0667 | 14.584 | 891 | 69.5247 | 5.5313
2019-04-04 23:00:00 | 3.348 | 166.92 | 3.858 | 183.42 | 4.048 | 195.5533 | 4.424 | 184.46 | 14.446 | 891 | 70.304 | 7.6707
2019-04-04 23:15:00 | 3.6573 | 161.784 | 4.2087 | 177.78 | 4.2893 | 201.02 | 4.8387 | 191.0067 | 14.5087 | 891 | 70.372 | 8.75
2019-04-04 23:30:00 | 3.798 | 153.4607 | 4.3687 | 168.6267 | 4.41 | 184.1 | 5.07 | 181.66 | 14.3907 | 891 | 70.9613 | 8.6493
2019-04-04 23:45:00 | 3.244 | 168.774 | 3.7313 | 185.46 | 3.916 | 187.1933 | 4.6267 | 193.5733 | 14.2367 | 891 | 71.72 | 7.236