## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-05 00:00:00 | 2.9429 | 166.2543 | 3.3829 | 182.6857 | 3.6686 | 181 | 4.5257 | 177.5857 | 14.2229 | 891 | 71.872 | 4.7907
2019-04-05 00:15:00 | 2.9993 | 170.3087 | 3.4453 | 187.14 | 3.7593 | 172.26 | 4.21 | 168.6267 | 14.16 | 891 | 72.0167 | 4.6193
2019-04-05 00:30:00 | 2.936 | 160.95 | 3.374 | 176.86 | 3.578 | 180.66 | 4.178 | 169.94 | 14.136 | 891 | 71.946 | 5.2147
2019-04-05 00:45:00 | 3.1187 | 171.1207 | 3.59 | 188.0333 | 3.7407 | 176.5133 | 4.226 | 179.6867 | 14.0367 | 891 | 71.9727 | 4.116
2019-04-05 01:00:00 | 2.786 | 157.324 | 3.206 | 172.88 | 3.598 | 169.6 | 4.686 | 173.5 | 14.018 | 891 | 71.848 | 2.3473
2019-04-05 01:15:00 | 2.7113 | 169.928 | 3.126 | 186.7333 | 3.358 | 167.2933 | 4.2633 | 166.22 | 13.906 | 890.8667 | 72.392 | 2.864
2019-04-05 01:30:00 | 2.782 | 151.266 | 3.204 | 166.22 | 3.594 | 164.18 | 4.442 | 168.96 | 13.868 | 890 | 72.708 | 3.2
2019-04-05 01:45:00 | 2.5233 | 133.5607 | 2.9073 | 146.7667 | 3.3267 | 170.8867 | 4.2973 | 174.1133 | 13.6513 | 890 | 73.7793 | 4.0513
2019-04-05 02:00:00 | 2.852 | 148.066 | 3.284 | 162.7 | 3.606 | 186.48 | 4.346 | 173.62 | 13.558 | 890 | 74.096 | 4.5687
2019-04-05 02:15:00 | 3.172 | 156.8673 | 3.6533 | 172.38 | 3.8847 | 169.6667 | 4.4607 | 173.9667 | 13.4687 | 890 | 74.5107 | 4.1593
2019-04-05 02:30:00 | 3.094 | 160.296 | 3.558 | 176.14 | 3.882 | 180.02 | 4.328 | 173.32 | 13.316 | 890 | 75.336 | 4.0593
2019-04-05 02:45:00 | 3.0473 | 179.516 | 3.502 | 197.2733 | 3.8393 | 188.2733 | 4.6053 | 177.6267 | 13.2733 | 890 | 75.72 | 2.0253
2019-04-05 03:00:00 | 2.838 | 173.262 | 3.266 | 190.4 | 3.626 | 180.7 | 4.44 | 181.62 | 13.234 | 890 | 76.038 | 1.3987
2019-04-05 03:15:00 | 2.1847 | 174.41 | 2.514 | 191.6533 | 2.7753 | 183.86 | 3.2973 | 186.9933 | 13.3167 | 890 | 75.742 | 1.82
2019-04-05 03:30:00 | 2.344 | 172.746 | 2.7 | 189.82 | 2.922 | 187.92 | 3.51 | 188.64 | 13.3747 | 890 | 75.5413 | 1.0733
2019-04-05 03:45:00 | 2.0853 | 171.2953 | 2.4027 | 188.2333 | 2.6873 | 193.4933 | 3.1647 | 187.4 | 13.256 | 889.2 | 76.068 | 1.4727
2019-04-05 04:00:00 | 2.632 | 173.41 | 3.024 | 190.56 | 3.522 | 183.82 | 4.038 | 177.9533 | 12.952 | 889 | 77.54 | 0.41467
2019-04-05 04:15:00 | 2.348 | 169.8033 | 2.7027 | 186.6 | 3.1447 | 174.0067 | 3.958 | 173.86 | 13.1213 | 889 | 76.9707 | 0
2019-04-05 04:30:00 | 1.764 | 182.874 | 2.032 | 200.96 | 2.294 | 201.56 | 2.896 | 180.88 | 13.464 | 889 | 75.538 | 0
2019-04-05 04:45:00 | 2.0573 | 171.9273 | 2.3747 | 188.92 | 2.7313 | 182.0667 | 3.2733 | 180.72 | 13.324 | 889 | 76.2273 | 0
2019-04-05 05:00:00 | 1.892 | 165.984 | 2.186 | 182.4 | 2.476 | 180.96 | 3.12 | 183.28 | 13.3253 | 889 | 76.2807 | 0
2019-04-05 05:15:00 | 1.5453 | 164.928 | 1.7847 | 181.24 | 2.2227 | 182.64 | 2.92 | 180.56 | 13.1733 | 889 | 76.9793 | 0
2019-04-05 05:30:00 | 1.06 | 175.784 | 1.224 | 193.16 | 1.83 | 182.76 | 2.25 | 186.54 | 13.144 | 889 | 77.188 | 0
2019-04-05 05:45:00 | 0.99067 | 176.7813 | 1.1427 | 194.2667 | 1.6513 | 183.6267 | 2.0673 | 191.7533 | 13.0773 | 889 | 77.6107 | 0
2019-04-05 06:00:00 | 1.324 | 176.004 | 1.526 | 193.4 | 1.968 | 194.88 | 2.422 | 201.4 | 13.008 | 889 | 77.944 | 0
2019-04-05 06:15:00 | 1.6173 | 182.5067 | 1.8673 | 200.56 | 2.692 | 213.2133 | 2.974 | 204.32 | 12.6187 | 889 | 79.6173 | 0
2019-04-05 06:30:00 | 2.126 | 188.574 | 2.442 | 207.22 | 3.1 | 200.54 | 3.552 | 196.26 | 12.4 | 889 | 80.64 | 0.076
2019-04-05 06:45:00 | 2.066 | 188.4353 | 2.378 | 207.06 | 2.9147 | 200.1267 | 3.2853 | 199.9933 | 12.1333 | 889 | 82 | 0
2019-04-05 07:00:00 | 1.698 | 178.15 | 1.956 | 195.76 | 2.416 | 190.64 | 2.78 | 194.42 | 11.966 | 889 | 82.84 | 0
2019-04-05 07:15:00 | 2.182 | 175.6327 | 2.508 | 193 | 2.8573 | 205.96 | 3.576 | 188.5133 | 11.622 | 889 | 84.56 | 0
2019-04-05 07:30:00 | 2.164 | 175.762 | 2.49 | 193.14 | 2.736 | 186.42 | 3.354 | 178.9 | 11.678 | 889 | 84.64 | 0
2019-04-05 07:45:00 | 1.828 | 173.5393 | 2.11 | 190.7067 | 2.4727 | 169.1933 | 3.144 | 177.7667 | 11.9027 | 889.9333 | 83.7333 | 0
2019-04-05 08:00:00 | 1.5 | 176.51 | 1.726 | 193.96 | 2.308 | 169.42 | 3.128 | 171.22 | 12.226 | 890 | 82.8 | 0
2019-04-05 08:15:00 | 1.4787 | 156.3607 | 1.6993 | 171.8267 | 2.0027 | 167.5933 | 3.2093 | 173.5533 | 13.166 | 890 | 79.216 | 0
2019-04-05 08:30:00 | 1.676 | 152.016 | 1.926 | 167.04 | 2.056 | 181.38 | 2.984 | 176.46 | 13.466 | 890.6 | 78.246 | 0
2019-04-05 08:45:00 | 1.9827 | 147.252 | 2.29 | 161.8133 | 2.3307 | 192.54 | 2.8907 | 180.7133 | 13.594 | 891 | 78.5567 | 0
2019-04-05 09:00:00 | 2.214 | 146.676 | 2.546 | 161.18 | 2.53 | 193.48 | 2.892 | 190.68 | 13.75 | 891 | 77.968 | 0
2019-04-05 09:15:00 | 3.006 | 152.1853 | 3.4687 | 167.2333 | 3.1873 | 184.1333 | 3.2347 | 199.4267 | 14.066 | 891.2667 | 76.56 | 0
2019-04-05 09:30:00 | 3.264 | 141.144 | 3.758 | 155.1 | 3.55 | 190.72 | 3.282 | 213.16 | 14.03 | 892 | 77.582 | 0
2019-04-05 09:45:00 | 3.1893 | 156.872 | 3.6687 | 172.38 | 3.514 | 183.64 | 3.3233 | 205.96 | 14.3687 | 892 | 76.3033 | 0
2019-04-05 10:00:00 | 3.264 | 144.328 | 3.764 | 158.6 | 3.624 | 172.28 | 3.336 | 176.58 | 14.648 | 892 | 74.912 | 0
2019-04-05 10:15:00 | 3.2667 | 145.4227 | 3.7573 | 159.8 | 3.5987 | 169.5333 | 3.2267 | 181.98 | 15.0267 | 892 | 73.116 | 0
2019-04-05 10:30:00 | 3.102 | 147.636 | 3.568 | 162.24 | 3.294 | 174.8 | 3.158 | 188.78 | 15.276 | 892 | 71.746 | 0.254
2019-04-05 10:45:00 | 3.582 | 152.36 | 4.1173 | 167.4267 | 4.0767 | 171.56 | 3.7527 | 183.6067 | 16.1093 | 892 | 69.2487 | 0.696
2019-04-05 11:00:00 | 3.588 | 152.488 | 4.134 | 167.56 | 4.038 | 163.02 | 4.064 | 181.98 | 16.588 | 892 | 67.646 | 0.47333
2019-04-05 11:15:00 | 3.3907 | 133.524 | 3.91 | 146.72 | 3.8727 | 159.2733 | 3.8347 | 164.0333 | 16.9067 | 892 | 66.6193 | 0.628
2019-04-05 11:30:00 | 3.2933 | 146.2733 | 3.79 | 160.7333 | 3.89 | 166.2 | 3.7533 | 165.5 | 17.4667 | 892 | 64.9133 | 0.702
2019-04-05 11:45:00 | 3.6547 | 137.2547 | 4.2107 | 150.82 | 4.3033 | 169.7467 | 4.364 | 180.54 | 17.8173 | 892 | 63.34 | 1.8253
2019-04-05 12:00:00 | 3.996 | 125.744 | 4.598 | 138.18 | 4.534 | 154.24 | 4.572 | 183.5 | 17.954 | 892 | 62.194 | 3.24
2019-04-05 12:15:00 | 4.2227 | 122.32 | 4.8633 | 134.42 | 4.9113 | 153.6133 | 5.064 | 168.18 | 18.1513 | 891.6667 | 60.7847 | 5.536
2019-04-05 12:30:00 | 4.35 | 119.302 | 5 | 131.1 | 5.196 | 182.1 | 5.178 | 155.58 | 18.552 | 891 | 59.838 | 5.6807
2019-04-05 12:45:00 | 5.07 | 173.8273 | 5.84 | 191.0067 | 5.8933 | 170.8733 | 6.0367 | 180.3133 | 18.7173 | 891 | 58.674 | 6.2087
2019-04-05 13:00:00 | 4.628 | 169.634 | 5.332 | 186.4 | 5.46 | 171.92 | 5.558 | 185.7 | 19.104 | 891 | 57.86 | 5.776
2019-04-05 13:15:00 | 4.0907 | 136.7887 | 4.7107 | 150.3067 | 4.76 | 146.5867 | 4.9353 | 180.02 | 19.728 | 891 | 55.86 | 7.4847
2019-04-05 13:30:00 | 4.796 | 156.034 | 5.514 | 171.46 | 5.788 | 162.18 | 5.86 | 182.64 | 20 | 890.3333 | 54.534 | 5.352
2019-04-05 13:45:00 | 4.608 | 146.8167 | 5.298 | 161.34 | 5.4493 | 175.7267 | 5.468 | 184.52 | 20.1287 | 890 | 54.3127 | 8.7753
2019-04-05 14:00:00 | 4.698 | 145.732 | 5.408 | 160.14 | 5.52 | 163.26 | 5.642 | 186.44 | 20.486 | 890 | 53.144 | 10.6367
2019-04-05 14:15:00 | 4.7953 | 122.6493 | 5.5173 | 134.7667 | 5.78 | 156.0467 | 6.002 | 194.8267 | 20.9207 | 890 | 52.0453 | 13.0427
2019-04-05 14:30:00 | 3.8733 | 152.5833 | 4.4667 | 167.6667 | 4.7467 | 155.4333 | 5.15 | 164.4667 | 21.26 | 890 | 50.4967 | 14.0373
2019-04-05 14:45:00 | 4.484 | 150.5927 | 5.1707 | 165.4733 | 5.6433 | 228.9533 | 5.9527 | 232.28 | 21.6493 | 890 | 47.6447 | 15.472
2019-04-05 15:00:00 | 4.3571 | 156.4029 | 5.0229 | 171.8571 | 5.6914 | 245.3429 | 6.0886 | 234.2857 | 21.8686 | 889.4286 | 46.1371 | 16.422
2019-04-05 15:15:00 | 4.5453 | 143.6207 | 5.2273 | 157.8133 | 5.7567 | 194.38 | 5.9287 | 201.3333 | 22.0307 | 889 | 46.1393 | 17.1553
2019-04-05 15:30:00 | 4.412 | 179.298 | 5.074 | 197.02 | 5.812 | 236.32 | 6.35 | 235.34 | 22.242 | 889 | 46.404 | 16.3353
2019-04-05 15:45:00 | 3.916 | 186.726 | 4.5033 | 205.18 | 5.0093 | 215.24 | 5.3647 | 236.3667 | 22.102 | 889 | 47.468 | 17.7327
2019-04-05 16:00:00 | 3.684 | 164.082 | 4.236 | 180.3 | 4.652 | 210 | 5.042 | 223.5 | 22.44 | 889 | 46.79 | 15.2767
2019-04-05 16:15:00 | 4.7547 | 156.198 | 5.4787 | 171.6467 | 5.7733 | 165.4533 | 5.786 | 199.3133 | 21.928 | 889 | 47.514 | 17.8233
2019-04-05 16:30:00 | 5.128 | 152.33 | 5.902 | 167.4 | 6.342 | 147.3 | 6.398 | 187.42 | 21.96 | 888.4 | 47.646 | 18.5847
2019-04-05 16:45:00 | 3.9907 | 150.2127 | 4.594 | 165.0667 | 4.9367 | 193.3933 | 5.2327 | 182.6867 | 22.0667 | 888 | 48.0713 | 20.324
2019-04-05 17:00:00 | 4.57 | 136.798 | 5.262 | 150.32 | 5.548 | 160.94 | 5.46 | 180.1 | 21.872 | 888 | 48.68 | 23.0967
2019-04-05 17:15:00 | 5.098 | 147.242 | 5.8647 | 161.8 | 6.0547 | 168.3667 | 6.324 | 180.2733 | 21.62 | 888 | 49.724 | 23.4607
2019-04-05 17:30:00 | 4.932 | 131.16 | 5.684 | 144.12 | 5.914 | 193.04 | 5.994 | 190.06 | 21.414 | 888 | 49.868 | 25.126
2019-04-05 17:45:00 | 4.8587 | 138.1467 | 5.588 | 151.8 | 5.758 | 185 | 6.094 | 185.0867 | 21.2407 | 888 | 50.2893 | 26.32
2019-04-05 18:00:00 | 5.136 | 167.996 | 5.906 | 184.6 | 6.032 | 188.22 | 6.516 | 174.74 | 21.062 | 888 | 50.77 | 26.0767
2019-04-05 18:15:00 | 4.3453 | 174.6853 | 5.0073 | 191.96 | 5.1493 | 203.2733 | 5.5547 | 181.9533 | 20.8153 | 887.0667 | 51.438 | 32.148
2019-04-05 18:30:00 | 4.248 | 155.362 | 4.892 | 170.72 | 5.176 | 182.76 | 5.028 | 201.1 | 20.596 | 887 | 52.066 | 29.7353
2019-04-05 18:45:00 | 3.978 | 139.6687 | 4.5753 | 153.1333 | 4.8967 | 182.6333 | 5.02 | 176.5067 | 20.374 | 887 | 52.9147 | 28.0233
2019-04-05 19:00:00 | 4.2 | 147.906 | 4.828 | 162.52 | 5.112 | 186.52 | 5.37 | 200.42 | 20.126 | 887 | 53.956 | 28.156
2019-04-05 19:15:00 | 4.396 | 153.4927 | 5.064 | 168.6667 | 5.1973 | 190.5333 | 5.578 | 189.2333 | 19.91 | 887 | 54.552 | 30.0707
2019-04-05 19:30:00 | 4.514 | 162.276 | 5.192 | 178.32 | 5.298 | 196.12 | 5.964 | 167.52 | 19.722 | 887 | 55.18 | 28.0927
2019-04-05 19:45:00 | 4.2007 | 156.8773 | 4.8307 | 172.3867 | 5.0753 | 181.7867 | 5.4773 | 183.7733 | 19.414 | 887 | 56.7693 | 25.6313
2019-04-05 20:00:00 | 3.84 | 154.08 | 4.416 | 169.32 | 4.74 | 196.94 | 5.142 | 198.32 | 19.016 | 887 | 58.426 | 25.41
2019-04-05 20:15:00 | 3.932 | 161.968 | 4.5267 | 177.9733 | 4.7333 | 180.7133 | 5.1393 | 207.0667 | 18.7253 | 887 | 59.2553 | 26.1227
2019-04-05 20:30:00 | 4.262 | 157.058 | 4.908 | 172.58 | 5.184 | 189.58 | 5.386 | 205.74 | 18.59 | 887 | 59.62 | 25.7013
2019-04-05 20:45:00 | 4.3373 | 173.5007 | 4.988 | 191.96 | 5.2187 | 187.56 | 5.48 | 200.9467 | 18.448 | 887 | 60.1827 | 24.132
2019-04-05 21:00:00 | 4.34 | 181.616 | 4.994 | 199.58 | 5.178 | 197.64 | 5.122 | 185.14 | 18.192 | 887 | 61.312 | 21.5387
2019-04-05 21:15:00 | 4.152 | 160.4453 | 4.7847 | 176.3133 | 4.9233 | 193.64 | 5.1367 | 188.42 | 17.8747 | 887 | 62.9067 | 19.888
2019-04-05 21:30:00 | 4.44 | 156.694 | 5.12 | 172.18 | 5.276 | 198.92 | 5.932 | 188.72 | 17.766 | 887 | 63.7 | 18.564
2019-04-05 21:45:00 | 3.9893 | 175.838 | 4.5933 | 193.22 | 4.7813 | 189.2133 | 5.39 | 180.24 | 17.5413 | 887 | 64.988 | 16.4987
2019-04-05 22:00:00 | 4.368 | 171.14 | 5.03 | 188.06 | 5.172 | 173.86 | 5.966 | 179.86 | 17.416 | 887 | 65.962 | 15.3433
2019-04-05 22:15:00 | 4.3487 | 167.9667 | 5.0033 | 187.8533 | 5.312 | 176.94 | 5.7913 | 184.82 | 17.284 | 887.9333 | 67.0887 | 14.1633
2019-04-05 22:30:00 | 4.084 | 188.72 | 4.698 | 207.38 | 4.982 | 201.72 | 5.344 | 184.84 | 17.136 | 888 | 67.932 | 12.6893
2019-04-05 22:45:00 | 3.7507 | 174.952 | 4.31 | 192.2467 | 4.4913 | 187.7333 | 4.968 | 182.7867 | 16.9253 | 888 | 68.864 | 11.2273
2019-04-05 23:00:00 | 3.644 | 177.104 | 4.188 | 194.62 | 4.344 | 200.94 | 4.89 | 190.24 | 16.762 | 888 | 69.438 | 11.1533
2019-04-05 23:15:00 | 3.5427 | 163.0987 | 4.0733 | 179.22 | 4.32 | 195.0867 | 4.9127 | 195.3333 | 16.5913 | 887.0667 | 70.0567 | 10.0107
2019-04-05 23:30:00 | 3.372 | 163.718 | 3.884 | 179.9 | 4.276 | 199.18 | 4.724 | 203.52 | 16.37 | 887 | 70.934 | 11.95
2019-04-05 23:45:00 | 3.5907 | 178.26 | 4.1313 | 195.88 | 4.4413 | 194.6667 | 5.2407 | 187.9067 | 16.5687 | 887 | 69.8267 | 12.288