## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-06 00:00:00 | 3.7714 | 175.0543 | 4.3357 | 192.3571 | 4.6371 | 186.4143 | 5.0114 | 197.0714 | 16.4171 | 887 | 70.3291 | 12.39
2019-04-06 00:15:00 | 3.6387 | 170.434 | 4.186 | 187.28 | 4.5733 | 189.5133 | 5.05 | 191.1933 | 16.3673 | 887 | 70.6133 | 10.3153
2019-04-06 00:30:00 | 3.264 | 151.206 | 3.756 | 166.16 | 4.034 | 189.88 | 4.452 | 188.32 | 15.812 | 887 | 73.158 | 10.5467
2019-04-06 00:45:00 | 3.2827 | 156.75 | 3.776 | 172.2533 | 3.91 | 181.7733 | 4.3653 | 193.9867 | 15.5773 | 887 | 74.4513 | 11.2193
2019-04-06 01:00:00 | 3.076 | 155.9 | 3.538 | 171.32 | 3.73 | 202.38 | 4.542 | 200.16 | 15.6407 | 887 | 74.28 | 11.344
2019-04-06 01:15:00 | 3.072 | 126.1507 | 3.5287 | 138.6267 | 3.754 | 194.3933 | 4.642 | 197.9733 | 15.4913 | 887 | 75.0333 | 12.344
2019-04-06 01:30:00 | 3.04 | 157.998 | 3.504 | 173.62 | 3.738 | 197.52 | 4.322 | 206.3 | 15.252 | 887 | 76.238 | 14.2527
2019-04-06 01:45:00 | 3.2907 | 163.878 | 3.784 | 180.0867 | 4.1007 | 193.12 | 5.074 | 196.3933 | 15.2053 | 886.6667 | 76.6573 | 16.1173
2019-04-06 02:00:00 | 3.664 | 178.706 | 4.218 | 196.38 | 4.48 | 186.74 | 5.11 | 192.86 | 15.098 | 886 | 77.126 | 15.534
2019-04-06 02:15:00 | 3.6987 | 159.7407 | 4.2593 | 175.5267 | 4.4707 | 190.0467 | 4.6847 | 188.9267 | 14.8847 | 886 | 78.2087 | 15.418
2019-04-06 02:30:00 | 3.664 | 160.11 | 4.216 | 175.94 | 4.466 | 187.58 | 4.95 | 194.46 | 14.686 | 886 | 79.116 | 16.37
2019-04-06 02:45:00 | 3.784 | 158.1153 | 4.352 | 173.7533 | 4.7167 | 205.58 | 5.21 | 197.8333 | 14.6873 | 886 | 79.0333 | 13.5953
2019-04-06 03:00:00 | 3.284 | 140.984 | 3.776 | 154.92 | 4.09 | 190.24 | 4.734 | 198.8 | 14.55 | 886 | 79.598 | 12.3813
2019-04-06 03:15:00 | 3.3547 | 158.968 | 3.856 | 174.68 | 3.934 | 174.7867 | 4.4433 | 193.5733 | 14.318 | 885.7333 | 80.6527 | 10.5813
2019-04-06 03:30:00 | 3.47 | 168.986 | 3.99 | 185.7 | 4.206 | 173.68 | 4.546 | 192.74 | 14.242 | 885 | 80.96 | 8.648
2019-04-06 03:45:00 | 3.454 | 168.6433 | 3.9713 | 185.3267 | 4.1873 | 181.24 | 4.6287 | 180.9267 | 14.114 | 885 | 81.5067 | 8.762
2019-04-06 04:00:00 | 3.772 | 141.264 | 4.344 | 155.24 | 4.524 | 177.76 | 5.09 | 182.72 | 13.996 | 885 | 82.08 | 9.538
2019-04-06 04:15:00 | 3.5867 | 151.9733 | 4.1227 | 167 | 4.3307 | 167.4267 | 5.0353 | 182.6733 | 14.0747 | 885 | 81.7333 | 10.688
2019-04-06 04:30:00 | 3.684 | 157.548 | 4.238 | 173.12 | 4.436 | 165.32 | 4.936 | 174.28 | 14.1 | 885 | 81.5 | 10.652
2019-04-06 04:45:00 | 3.564 | 164.7933 | 4.0993 | 181.0933 | 4.204 | 182.68 | 4.844 | 183.2267 | 14.0127 | 884.7333 | 81.8867 | 10.7507
2019-04-06 05:00:00 | 3.512 | 161.298 | 4.038 | 177.24 | 4.178 | 183.88 | 4.782 | 184.42 | 13.932 | 884 | 82.32 | 10.856
2019-04-06 05:15:00 | 3.544 | 152.39 | 4.074 | 167.5133 | 4.2553 | 168.84 | 4.722 | 175.6 | 13.7593 | 884 | 82.8667 | 10.6247
2019-04-06 05:30:00 | 3.624 | 150.054 | 4.178 | 164.88 | 4.388 | 186.04 | 5.002 | 182.34 | 13.396 | 884 | 84.56 | 11.9953
2019-04-06 05:45:00 | 3.572 | 159.626 | 4.1207 | 175.4133 | 4.1667 | 189.64 | 4.6593 | 181.5133 | 13.22 | 884 | 85.48 | 11.004
2019-04-06 06:00:00 | 3.154 | 146.676 | 3.632 | 161.18 | 3.72 | 177.78 | 4.08 | 205.7 | 13.098 | 884 | 86.1 | 12.5987
2019-04-06 06:15:00 | 3.3727 | 145.7 | 3.8813 | 160.1 | 4.06 | 181.66 | 4.4747 | 188.42 | 12.8887 | 884 | 87.0467 | 12.0407
2019-04-06 06:30:00 | 3.33 | 158.324 | 3.832 | 173.98 | 3.98 | 175.24 | 4.392 | 174.92 | 12.71 | 884 | 87.9 | 10.4893
2019-04-06 06:45:00 | 3.4347 | 149.1653 | 3.952 | 163.9067 | 4.1827 | 183.7933 | 4.6533 | 185.9467 | 12.4193 | 884 | 89.3533 | 8.5567
2019-04-06 07:00:00 | 3.396 | 156.782 | 3.912 | 172.28 | 4.11 | 180.02 | 4.418 | 184.2 | 12.39 | 884 | 89.5 | 6.4273
2019-04-06 07:15:00 | 3.1027 | 154.8447 | 3.5707 | 170.1467 | 3.766 | 154.0733 | 4.1207 | 184.4267 | 12.442 | 884 | 89.3867 | 4.8393
2019-04-06 07:30:00 | 3.258 | 148.43 | 3.752 | 163.1 | 3.982 | 180.48 | 4.332 | 184.02 | 12.632 | 884 | 88.74 | 5.0527
2019-04-06 07:45:00 | 2.9087 | 153.1833 | 3.3467 | 168.3267 | 3.4993 | 184.04 | 3.8733 | 182.7267 | 12.988 | 884.9333 | 87.38 | 4.8287
2019-04-06 08:00:00 | 2.802 | 158.594 | 3.222 | 174.28 | 3.232 | 179.88 | 3.62 | 195.12 | 13.38 | 885 | 85.7 | 4.932
2019-04-06 08:15:00 | 2.8593 | 143.5967 | 3.294 | 157.8 | 3.1627 | 186.9733 | 3.42 | 203.08 | 13.792 | 885.2667 | 84.1267 | 5.8687
2019-04-06 08:30:00 | 2.816 | 125.202 | 3.238 | 137.58 | 3.17 | 180.64 | 3.186 | 199.32 | 14.1 | 886 | 82.98 | 2.8367
2019-04-06 08:45:00 | 2.036 | 139.2247 | 2.3393 | 152.9933 | 2.2953 | 193.1867 | 2.6247 | 212.4267 | 14.5667 | 886 | 81.1933 | 1.378
2019-04-06 09:00:00 | 2.312 | 146.858 | 2.666 | 161.38 | 2.478 | 200.66 | 3.056 | 212.56 | 14.954 | 886.6 | 79.994 | 2.442
2019-04-06 09:15:00 | 3.0013 | 129.3887 | 3.4567 | 142.18 | 3.4633 | 202.0867 | 3.764 | 200.9867 | 15.4553 | 887 | 78.418 | 2.698
2019-04-06 09:30:00 | 3.068 | 138.22 | 3.53 | 151.88 | 3.278 | 188.78 | 3.046 | 188.46 | 15.744 | 887 | 76.912 | 2.4953
2019-04-06 09:45:00 | 2.924 | 154.9853 | 3.366 | 170.3067 | 3.2073 | 175.7667 | 2.9567 | 185.74 | 16.2747 | 887 | 75.2507 | 2.3667
2019-04-06 10:00:00 | 3.266 | 133.196 | 3.76 | 146.36 | 3.666 | 183.64 | 3.774 | 187.54 | 16.596 | 887 | 73.48 | 2.6487
2019-04-06 10:15:00 | 3.7247 | 136.8507 | 4.2827 | 150.3867 | 4.138 | 168.52 | 4.118 | 188.54 | 16.9053 | 887 | 72.2187 | 4.2867
2019-04-06 10:30:00 | 4.268 | 144.314 | 4.914 | 158.58 | 4.95 | 182.3 | 4.848 | 182.8 | 17.278 | 887 | 70.412 | 5.066
2019-04-06 10:45:00 | 4.5187 | 135.3593 | 5.2033 | 148.74 | 5.4207 | 165.82 | 5.1533 | 178.9733 | 17.834 | 887 | 68.1147 | 6.3013
2019-04-06 11:00:00 | 4.812 | 137.746 | 5.534 | 151.36 | 5.82 | 164.02 | 5.806 | 186.52 | 18.13 | 887 | 66.75 | 7.9887
2019-04-06 11:15:00 | 5.1907 | 133.8153 | 5.9793 | 147.0533 | 6.4307 | 140.3133 | 6.4207 | 168.36 | 18.446 | 887 | 65.6393 | 7.316
2019-04-06 11:30:00 | 4.78 | 113.202 | 5.506 | 124.4 | 5.806 | 147.46 | 5.744 | 165.98 | 18.668 | 887 | 65.1227 | 5.4527
2019-04-06 11:45:00 | 4.192 | 122.754 | 4.826 | 134.8933 | 4.8287 | 157.2467 | 4.984 | 143.7667 | 18.9773 | 887 | 63.852 | 6.9493
2019-04-06 12:00:00 | 4.852 | 115.88 | 5.592 | 127.34 | 5.588 | 147.02 | 5.462 | 163.32 | 19.5 | 887 | 61.986 | 8.5447
2019-04-06 12:15:00 | 4.944 | 146.5413 | 5.696 | 161.0333 | 5.9467 | 165.62 | 6.226 | 187.8133 | 19.712 | 887 | 60.2993 | 6.978
2019-04-06 12:30:00 | 4.258 | 153.852 | 4.896 | 169.06 | 5.014 | 175.02 | 5.228 | 178.6 | 20.364 | 887 | 57.27 | 9.2207
2019-04-06 12:45:00 | 3.962 | 150.7587 | 4.5573 | 165.6733 | 4.7127 | 184.06 | 4.9187 | 167.48 | 20.9707 | 887 | 54.7807 | 14.3933
2019-04-06 13:00:00 | 4.516 | 138.048 | 5.204 | 151.7 | 5.46 | 173.4 | 5.792 | 180.72 | 21.126 | 886.3333 | 52.896 | 12.2487
2019-04-06 13:15:00 | 4.86 | 157.0987 | 5.592 | 172.6333 | 5.7107 | 168.2933 | 5.8307 | 181.56 | 21.2167 | 886 | 51.9707 | 7.7313
2019-04-06 13:30:00 | 4.032 | 151.242 | 4.642 | 166.2 | 5.056 | 180.62 | 5.114 | 193.66 | 21.496 | 886 | 49.346 | 5.082
2019-04-06 13:45:00 | 3.1427 | 162.3193 | 3.6167 | 178.36 | 4.088 | 213.5 | 4.3713 | 243.2333 | 22.464 | 886 | 47.05 | 6.6347
2019-04-06 14:00:00 | 3.392 | 150.284 | 3.904 | 165.14 | 4.384 | 250.72 | 4.806 | 257.84 | 23.22 | 886 | 44.556 | 9.2267
2019-04-06 14:15:00 | 3.824 | 141.72 | 4.4 | 155.74 | 4.86 | 218.1067 | 5.1087 | 234.36 | 22.884 | 886 | 43.852 | 10.2267
2019-04-06 14:30:00 | 4.044 | 163.114 | 4.652 | 179.24 | 4.912 | 216.3 | 5.002 | 185.1 | 22.8327 | 886 | 44.48 | 12.1093
2019-04-06 14:45:00 | 4.0467 | 117.5793 | 4.652 | 129.2 | 4.9107 | 161.8067 | 4.9527 | 177.66 | 23.3727 | 886 | 43.1467 | 9.21
2019-04-06 15:00:00 | 3.4971 | 145.4 | 4.0214 | 159.7714 | 4.3771 | 202.6286 | 4.56 | 204.8143 | 23.3014 | 885.4286 | 43.2286 | 9.5053
2019-04-06 15:15:00 | 3.9533 | 158.0427 | 4.5453 | 173.6733 | 4.7667 | 190.64 | 5.0433 | 192.14 | 23.4227 | 885 | 42.1047 | 9.552
2019-04-06 15:30:00 | 3.68 | 168.602 | 4.228 | 185.28 | 4.776 | 215.28 | 4.958 | 210.06 | 23.602 | 885 | 42.398 | 9.9587
2019-04-06 15:45:00 | 4.3013 | 188.578 | 4.952 | 207.2267 | 5.384 | 205.8533 | 5.41 | 210.8333 | 23.6353 | 885 | 42.878 | 10.808
2019-04-06 16:00:00 | 4.06 | 122.328 | 4.672 | 134.42 | 4.876 | 172.38 | 5.04 | 181.44 | 23.59 | 885 | 43.252 | 12.1693
2019-04-06 16:15:00 | 4.4027 | 135.9047 | 5.0673 | 149.3467 | 5.2113 | 187.1 | 5.4767 | 189.2133 | 23.4153 | 885 | 44.262 | 13.4053
2019-04-06 16:30:00 | 5.244 | 154.74 | 6.038 | 170.04 | 6.094 | 187.42 | 6.246 | 175.32 | 23.372 | 884.4 | 43.564 | 16.86
2019-04-06 16:45:00 | 5.428 | 140.952 | 6.246 | 154.88 | 6.4647 | 164.0733 | 6.5113 | 184.6933 | 23.3973 | 884 | 42.9493 | 18.232
2019-04-06 17:00:00 | 4.94 | 149.462 | 5.694 | 164.24 | 5.94 | 180.82 | 6.146 | 167.96 | 23.582 | 884 | 41.738 | 20.5133
2019-04-06 17:15:00 | 4.9587 | 137.9447 | 5.702 | 151.5733 | 5.9707 | 184.5133 | 5.722 | 181.9067 | 23.5673 | 884 | 41.2927 | 20.45
2019-04-06 17:30:00 | 5.124 | 143.43 | 5.894 | 157.6 | 6.22 | 185.94 | 6.322 | 181.72 | 23.4893 | 884 | 40.974 | 23.7673
2019-04-06 17:45:00 | 5.252 | 152.07 | 6.042 | 167.1067 | 6.2907 | 186.3133 | 6.4553 | 178.9067 | 23.3453 | 884 | 41.182 | 25.594
2019-04-06 18:00:00 | 4.652 | 138.342 | 5.362 | 152.02 | 5.832 | 170.24 | 5.658 | 187.18 | 23.17 | 884 | 41.768 | 22.0687
2019-04-06 18:15:00 | 4.4453 | 133.266 | 5.1167 | 146.4467 | 5.4053 | 176.0267 | 5.626 | 193.96 | 22.854 | 884 | 42.8227 | 22.3707
2019-04-06 18:30:00 | 3.874 | 168.408 | 4.462 | 185.06 | 4.768 | 213.54 | 4.994 | 200.46 | 22.548 | 883.4 | 44.212 | 22.4633
2019-04-06 18:45:00 | 3.354 | 162.8813 | 3.8673 | 178.9867 | 4.2347 | 207.6467 | 4.062 | 178.1467 | 22.2773 | 883 | 45.208 | 18.5113
2019-04-06 19:00:00 | 3.504 | 160.64 | 4.038 | 176.52 | 4.298 | 189.06 | 4.274 | 186.18 | 22.074 | 883 | 46.046 | 16.838
2019-04-06 19:15:00 | 3.7067 | 157.5867 | 4.2753 | 173.1733 | 4.6167 | 173.8733 | 4.926 | 187.1667 | 21.7793 | 883 | 47.6073 | 15.2873
2019-04-06 19:30:00 | 3.148 | 162.616 | 3.62 | 178.7 | 3.938 | 183.22 | 4.434 | 194.34 | 21.338 | 883 | 49.402 | 13.986
2019-04-06 19:45:00 | 3.732 | 168.8333 | 4.3027 | 185.5267 | 4.6127 | 202.9133 | 5.162 | 197.5933 | 21.23 | 883 | 50.0513 | 12.958
2019-04-06 20:00:00 | 3.764 | 158.778 | 4.34 | 174.48 | 4.592 | 186.7 | 5.056 | 207.08 | 21.0653 | 883 | 50.764 | 11.72
2019-04-06 20:15:00 | 4.0267 | 185.0913 | 4.6413 | 203.4 | 5.036 | 196.4467 | 5.368 | 203.8933 | 20.88 | 883 | 51.3067 | 10.3167
2019-04-06 20:30:00 | 3.972 | 165.824 | 4.568 | 182.22 | 4.888 | 181.58 | 5.216 | 191.28 | 20.642 | 883 | 52.124 | 9.0127
2019-04-06 20:45:00 | 3.7973 | 165.6107 | 4.3667 | 181.98 | 4.6413 | 202.0733 | 5.3427 | 197.28 | 20.39 | 883.9333 | 53.0573 | 6.544
2019-04-06 21:00:00 | 3.12 | 161.018 | 3.59 | 176.94 | 3.866 | 192.32 | 4.156 | 202.38 | 20.224 | 884 | 53.796 | 6.4607
2019-04-06 21:15:00 | 2.54 | 158.9713 | 2.9273 | 174.6867 | 3.1407 | 184.3733 | 3.6733 | 193.1 | 19.796 | 884 | 55.256 | 6.752
2019-04-06 21:30:00 | 3.088 | 156.722 | 3.556 | 172.22 | 3.828 | 195.88 | 4.12 | 189.62 | 19.664 | 884 | 55.904 | 5.2253
2019-04-06 21:45:00 | 2.824 | 165.6753 | 3.2453 | 182.06 | 3.44 | 200.92 | 3.6667 | 192.9667 | 19.472 | 884 | 56.7693 | 7.2467
2019-04-06 22:00:00 | 2.962 | 145.734 | 3.408 | 160.14 | 3.748 | 183.44 | 4.184 | 191.3133 | 19.34 | 884 | 57.33 | 6.7153
2019-04-06 22:15:00 | 3.062 | 152.1007 | 3.524 | 167.14 | 3.8973 | 205.8133 | 4.392 | 198.18 | 19.2667 | 884 | 57.782 | 7.9547
2019-04-06 22:30:00 | 3.204 | 152.104 | 3.694 | 167.14 | 3.952 | 191.58 | 4.354 | 192.96 | 19.032 | 884 | 58.62 | 6.6567
2019-04-06 22:45:00 | 2.896 | 157.912 | 3.3273 | 173.5267 | 3.5253 | 194.7267 | 3.9407 | 197.96 | 18.824 | 884 | 59.4027 | 6.0307
2019-04-06 23:00:00 | 2.564 | 172.14 | 2.946 | 189.16 | 2.966 | 196.72 | 3.594 | 191.94 | 18.7907 | 884 | 59.4573 | 7.6047
2019-04-06 23:15:00 | 2.852 | 169.5053 | 3.286 | 186.2667 | 3.4087 | 190.9067 | 4.37 | 198.4867 | 18.742 | 884 | 59.558 | 8.5113
2019-04-06 23:30:00 | 2.8613 | 161.1793 | 3.2967 | 177.1133 | 3.522 | 194.9333 | 4.1793 | 194.82 | 18.5313 | 884 | 60.252 | 8.2767
2019-04-06 23:45:00 | 2.4827 | 159.526 | 2.86 | 175.1733 | 3.0193 | 189.5533 | 3.1293 | 197.08 | 18.35 | 884 | 60.9067 | 6.298