## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-07 00:00:00 | 2.2543 | 156.9829 | 2.5957 | 172.5 | 2.8286 | 166.3857 | 3.0543 | 191.4 | 18.1214 | 884 | 61.7143 | 7.7086
2019-04-07 00:15:00 | 2.468 | 172.7033 | 2.838 | 189.78 | 3.0267 | 190.3867 | 3.2873 | 190.92 | 18.0187 | 884 | 61.9447 | 6.5353
2019-04-07 00:30:00 | 2.494 | 162.99 | 2.868 | 179.1 | 3.126 | 192.2333 | 3.436 | 195.28 | 17.876 | 884 | 62.324 | 5.596
2019-04-07 00:45:00 | 3.11 | 151.5433 | 3.58 | 166.52 | 3.8473 | 179.12 | 3.9587 | 190.52 | 17.764 | 884 | 62.5213 | 6.3187
2019-04-07 01:00:00 | 3.112 | 135.724 | 3.584 | 149.14 | 3.726 | 188.94 | 3.76 | 188.92 | 17.686 | 884 | 62.664 | 7.9513
2019-04-07 01:15:00 | 2.928 | 149.9707 | 3.3747 | 164.7933 | 3.5193 | 190.6067 | 3.9147 | 196.4533 | 17.4073 | 884 | 63.7413 | 8.518
2019-04-07 01:30:00 | 2.592 | 158.746 | 2.984 | 174.44 | 3.288 | 193.4 | 3.606 | 204.52 | 17.048 | 884 | 65.088 | 9.498
2019-04-07 01:45:00 | 2.544 | 164.43 | 2.9347 | 180.68 | 3.2067 | 185.9867 | 3.558 | 200.88 | 16.736 | 884 | 66.1707 | 10.26
2019-04-07 02:00:00 | 2.872 | 159.712 | 3.304 | 175.5 | 3.574 | 181.64 | 3.91 | 195.78 | 16.608 | 884 | 66.558 | 10.934
2019-04-07 02:15:00 | 2.7747 | 164.996 | 3.1893 | 181.3133 | 3.3713 | 187.08 | 3.6753 | 203.9267 | 16.4707 | 883 | 67.0073 | 10.4533
2019-04-07 02:30:00 | 2.836 | 154.412 | 3.268 | 169.68 | 3.566 | 176.02 | 3.732 | 202.68 | 16.254 | 883 | 67.858 | 9.5807
2019-04-07 02:45:00 | 2.8467 | 157.6693 | 3.2787 | 173.2667 | 3.5473 | 178.7 | 3.816 | 192.2267 | 16.1087 | 883 | 68.4753 | 10.604
2019-04-07 03:00:00 | 3.046 | 159.848 | 3.506 | 175.66 | 3.784 | 183.3 | 4.154 | 193.44 | 16.1 | 883 | 68.484 | 9.6447
2019-04-07 03:15:00 | 3.2113 | 157.5787 | 3.7047 | 173.1667 | 3.904 | 179.8867 | 4.3713 | 180.12 | 15.876 | 883 | 69.3867 | 8.962
2019-04-07 03:30:00 | 3.2473 | 154.6673 | 3.7413 | 169.96 | 4.0627 | 179.2333 | 4.3567 | 177.06 | 15.6993 | 883 | 70.0993 | 9.262
2019-04-07 03:45:00 | 3.2973 | 179.076 | 3.788 | 196.78 | 4.096 | 182.2867 | 4.3307 | 185.2467 | 15.5173 | 882.6667 | 70.9813 | 11.3347
2019-04-07 04:00:00 | 4.04 | 167.816 | 4.646 | 184.4 | 4.916 | 193.3 | 4.872 | 191.82 | 15.538 | 882 | 70.8853 | 9.546
2019-04-07 04:15:00 | 3.7053 | 155.904 | 4.2633 | 171.32 | 4.4533 | 188.4067 | 4.4827 | 195.54 | 15.472 | 882 | 71.14 | 8.21
2019-04-07 04:30:00 | 3.214 | 144.892 | 3.694 | 159.22 | 3.922 | 185 | 4.226 | 203.92 | 15.116 | 882 | 72.58 | 11.45
2019-04-07 04:45:00 | 3.2407 | 160.0067 | 3.7247 | 175.8333 | 4.018 | 185.5333 | 4.19 | 196.9067 | 14.9653 | 882 | 73.1227 | 10.3827
2019-04-07 05:00:00 | 3.416 | 164.502 | 3.93 | 180.76 | 4.158 | 186.84 | 4.286 | 202.92 | 14.9367 | 882 | 73.238 | 8.846
2019-04-07 05:15:00 | 2.9493 | 167.29 | 3.3927 | 183.8267 | 3.61 | 184.9733 | 3.9433 | 205.6667 | 14.7107 | 882 | 74.3127 | 8.1093
2019-04-07 05:30:00 | 2.738 | 162.586 | 3.146 | 178.66 | 3.422 | 186.78 | 3.96 | 209.64 | 14.66 | 882 | 74.462 | 9.12
2019-04-07 05:45:00 | 2.9433 | 170.326 | 3.386 | 187.1667 | 3.586 | 187.5267 | 4.1667 | 198.7067 | 14.7147 | 882 | 73.9887 | 8.456
2019-04-07 06:00:00 | 3.084 | 167.614 | 3.546 | 184.18 | 3.882 | 181.26 | 4.176 | 194.8 | 14.6 | 882 | 74.194 | 7.5407
2019-04-07 06:15:00 | 2.66 | 165.266 | 3.062 | 181.6067 | 3.318 | 181.6867 | 3.724 | 197.9467 | 14.7413 | 882 | 73.446 | 7.692
2019-04-07 06:30:00 | 2.836 | 174.816 | 3.268 | 192.1 | 3.548 | 178.02 | 3.788 | 203.34 | 14.72 | 882 | 73.488 | 6.7027
2019-04-07 06:45:00 | 2.72 | 162.4307 | 3.1293 | 178.4867 | 3.4027 | 181.0867 | 3.62 | 194.9667 | 14.572 | 882 | 74.1013 | 4.194
2019-04-07 07:00:00 | 2.12 | 161.506 | 2.446 | 177.48 | 2.8 | 181 | 3.35 | 192.1 | 14.712 | 882 | 73.384 | 4.9327
2019-04-07 07:15:00 | 2.0133 | 168.0913 | 2.318 | 184.7067 | 2.8853 | 185.7467 | 3.5513 | 196.0333 | 15.0373 | 883 | 71.7707 | 5.7867
2019-04-07 07:30:00 | 2.604 | 176.198 | 2.992 | 193.62 | 3.53 | 196.34 | 4.274 | 196.16 | 15.42 | 883 | 70.312 | 5.1727
2019-04-07 07:45:00 | 2.604 | 169.9687 | 2.9947 | 186.7667 | 3.518 | 201.8467 | 4.3953 | 196.5867 | 15.8347 | 883 | 69.2147 | 5.5193
2019-04-07 08:00:00 | 2.868 | 170.742 | 3.296 | 187.62 | 3.826 | 203.2 | 4.716 | 197.6 | 15.948 | 883.6667 | 70.562 | 7.456
2019-04-07 08:15:00 | 2.5867 | 162.01 | 2.9753 | 178.0333 | 3.2107 | 203.7133 | 3.962 | 192.3867 | 16.3947 | 884 | 69.0713 | 6.8253
2019-04-07 08:30:00 | 2.464 | 139.892 | 2.836 | 153.72 | 2.872 | 196.2 | 3.716 | 202.86 | 16.828 | 884.6667 | 66.936 | 6.0613
2019-04-07 08:45:00 | 2.5653 | 153.1787 | 2.9533 | 168.32 | 2.92 | 185.9333 | 3.7213 | 200.3267 | 17.3187 | 885 | 64.7507 | 4.674
2019-04-07 09:00:00 | 2.576 | 150.466 | 2.962 | 165.34 | 2.782 | 193.86 | 3.464 | 213.5 | 17.678 | 885 | 63.74 | 3.4833
2019-04-07 09:15:00 | 2.5253 | 156.37 | 2.9033 | 171.8333 | 2.7287 | 175.8867 | 3.1133 | 197.2333 | 18.2767 | 885.3333 | 61.656 | 2.446
2019-04-07 09:30:00 | 2.416 | 152.466 | 2.786 | 167.54 | 2.668 | 186.74 | 2.968 | 196.3 | 18.596 | 886 | 60.154 | 1.92
2019-04-07 09:45:00 | 2.8187 | 180.774 | 3.2393 | 198.6467 | 3.168 | 200.4333 | 3.232 | 222.5267 | 18.7913 | 886 | 59.1433 | 2.702
2019-04-07 10:00:00 | 3.25 | 155.74 | 3.74 | 171.14 | 3.588 | 182.14 | 3.56 | 219.22 | 19.05 | 886 | 59.01 | 4.4633
2019-04-07 10:15:00 | 3.438 | 149.8533 | 3.9547 | 164.6733 | 3.8733 | 189.1667 | 4.292 | 197.2733 | 19.1507 | 886 | 58.942 | 5.526
2019-04-07 10:30:00 | 3.676 | 146.616 | 4.23 | 161.12 | 4.216 | 190.96 | 4.392 | 194.36 | 19.528 | 886 | 57.984 | 6.014
2019-04-07 10:45:00 | 3.6733 | 155.7507 | 4.226 | 171.1467 | 4.136 | 176.2667 | 4.3053 | 191.24 | 20.0867 | 886 | 56.4707 | 4.658
2019-04-07 11:00:00 | 4.026 | 146.582 | 4.634 | 161.08 | 4.484 | 171.74 | 4.334 | 178.9 | 20.29 | 886 | 54.504 | 4.9267
2019-04-07 11:15:00 | 4.3167 | 151.2633 | 4.966 | 166.2133 | 4.98 | 182.26 | 5.0127 | 174.74 | 20.7767 | 886 | 51.8907 | 6.03
2019-04-07 11:30:00 | 4.856 | 150.372 | 5.594 | 165.24 | 5.572 | 165.72 | 5.43 | 173.94 | 21.028 | 886 | 50.862 | 7.8733
2019-04-07 11:45:00 | 4.996 | 122.3787 | 5.7553 | 134.48 | 5.8147 | 150.0133 | 6.1967 | 166.3133 | 21.4973 | 886 | 50.23 | 9.9013
2019-04-07 12:00:00 | 5.188 | 150.642 | 5.972 | 165.54 | 6.056 | 166.06 | 6.286 | 187.36 | 21.712 | 886 | 49.782 | 10.9853
2019-04-07 12:15:00 | 5.3227 | 124.602 | 6.1267 | 136.9267 | 6.4347 | 173.62 | 6.2153 | 175.88 | 22.3733 | 885 | 48.4673 | 8.7853
2019-04-07 12:30:00 | 4.304 | 110.964 | 4.954 | 121.94 | 5.276 | 153.06 | 5.294 | 146.5 | 23 | 885 | 46.752 | 7.6693
2019-04-07 12:45:00 | 4.2333 | 153.168 | 4.874 | 168.3133 | 4.9733 | 172.86 | 5.0473 | 174.5133 | 23.176 | 885 | 45.6427 | 7.4927
2019-04-07 13:00:00 | 3.462 | 140.524 | 3.98 | 154.42 | 4.268 | 216.72 | 4.47 | 183.84 | 23.546 | 885 | 44.926 | 7.404
2019-04-07 13:15:00 | 3.514 | 149.9267 | 4.0413 | 164.7533 | 4.4093 | 195.7733 | 4.4007 | 199.8 | 23.9887 | 885 | 43.4893 | 8.5853
2019-04-07 13:30:00 | 4.26 | 192.598 | 4.91 | 211.64 | 5.284 | 222.28 | 5.48 | 222.28 | 24.294 | 885 | 42.914 | 8.962
2019-04-07 13:45:00 | 3.8667 | 154.2593 | 4.45 | 169.5067 | 4.7213 | 216.5333 | 4.9293 | 222.16 | 24.6833 | 884.6667 | 41.6433 | 9.9687
2019-04-07 14:00:00 | 4.984 | 135.114 | 5.742 | 148.48 | 5.882 | 172.68 | 6.058 | 170.1 | 24.928 | 884 | 40.294 | 12.184
2019-04-07 14:15:00 | 4.8853 | 154.7127 | 5.6273 | 170.0133 | 5.674 | 174.16 | 5.7313 | 182.7267 | 24.7813 | 884 | 40.0233 | 15.2893
2019-04-07 14:30:00 | 4.946 | 155.0033 | 5.69 | 170.3333 | 5.93 | 164.76 | 6.0573 | 162.5667 | 25.0873 | 884 | 39.1767 | 18.0853
2019-04-07 14:45:00 | 5.2713 | 156.3807 | 6.0593 | 171.8467 | 6.1673 | 190.14 | 6.4627 | 203.1867 | 25.5287 | 883.0667 | 37.7067 | 19.5507
2019-04-07 15:00:00 | 4.802 | 157.974 | 5.524 | 173.6 | 5.768 | 186.64 | 6.16 | 174.98 | 25.832 | 883 | 36.634 | 24.384
2019-04-07 15:15:00 | 5.5407 | 141.2313 | 6.384 | 155.2 | 6.776 | 173.3867 | 6.884 | 180.8733 | 26 | 882.7333 | 35.8113 | 29.864
2019-04-07 15:30:00 | 5.224 | 121.046 | 6.012 | 133.02 | 6.456 | 153.78 | 6.528 | 182.88 | 26.2 | 882 | 34.702 | 32.982
2019-04-07 15:45:00 | 6.5973 | 151.354 | 7.588 | 166.3267 | 7.688 | 172.7133 | 8.4 | 175.6533 | 25.8973 | 882 | 33.6073 | 34.4993
2019-04-07 16:00:00 | 5.47 | 160.05 | 6.294 | 175.88 | 6.542 | 164.66 | 7.204 | 186.46 | 26.122 | 882 | 32.596 | 36.3893
2019-04-07 16:15:00 | 7.0433 | 130.218 | 8.1087 | 143.0933 | 8.3913 | 167.86 | 9.164 | 191.9533 | 26.066 | 881.7333 | 31.1467 | 37.1207
2019-04-07 16:30:00 | 6.08 | 147.496 | 7 | 162.08 | 7.302 | 171.12 | 7.952 | 172.98 | 26.1 | 881 | 30.348 | 37.122
2019-04-07 16:45:00 | 6.7733 | 151.1493 | 7.7973 | 166.0933 | 8.2193 | 174.24 | 9.0533 | 180.7 | 26.0307 | 881 | 30.372 | 38.0073
2019-04-07 17:00:00 | 6.316 | 158.238 | 7.268 | 173.88 | 7.63 | 181.06 | 8.548 | 195.08 | 25.87 | 881 | 29.858 | 34.3973
2019-04-07 17:15:00 | 6.5373 | 145.5647 | 7.5213 | 159.96 | 7.75 | 173.9667 | 8.6347 | 185.0667 | 25.8367 | 880.0667 | 29.1367 | 37.5387
2019-04-07 17:30:00 | 6.172 | 150.74 | 7.112 | 165.64 | 7.382 | 168.38 | 8 | 200.74 | 25.67 | 880 | 28.81 | 36.408
2019-04-07 17:45:00 | 6.068 | 164.7947 | 6.9827 | 181.0933 | 7.2633 | 165.0467 | 7.8107 | 184.9533 | 25.4967 | 880 | 28.97 | 36.8247
2019-04-07 18:00:00 | 5.9133 | 185.32 | 6.81 | 205.1667 | 7.178 | 192.4 | 7.6367 | 202.3 | 25.2533 | 880 | 29.5333 | 39.3073
2019-04-07 18:15:00 | 5.304 | 154.4173 | 6.106 | 169.68 | 6.3527 | 206.1867 | 6.44 | 221.2467 | 25.0753 | 879.7333 | 30.3333 | 41.388
2019-04-07 18:30:00 | 4.744 | 135.572 | 5.456 | 148.98 | 5.938 | 198.04 | 6.232 | 191.38 | 24.758 | 879 | 30.934 | 42.3773
2019-04-07 18:45:00 | 5.4073 | 154.1267 | 6.2193 | 169.36 | 6.6293 | 214.86 | 6.3987 | 234.08 | 24.6227 | 879 | 30.7213 | 39.5047
2019-04-07 19:00:00 | 5.0233 | 140.9827 | 5.776 | 154.9267 | 6.0693 | 193.9333 | 6.4467 | 203.8267 | 24.2273 | 879 | 31.398 | 40.0633
2019-04-07 19:15:00 | 5.53 | 140.6107 | 6.3607 | 154.52 | 6.5813 | 198.4933 | 7.5227 | 218.2733 | 24.198 | 879 | 31.436 | 41.3133
2019-04-07 19:30:00 | 5.542 | 150.558 | 6.372 | 165.44 | 6.638 | 190.06 | 7.73 | 194.42 | 24.004 | 879 | 32.114 | 37.9193
2019-04-07 19:45:00 | 5.5167 | 160.914 | 6.3493 | 176.8267 | 6.6273 | 199.5533 | 7.5127 | 198.4733 | 23.7307 | 879 | 33.1487 | 32.6273
2019-04-07 20:00:00 | 5.442 | 161.14 | 6.256 | 177.08 | 6.664 | 198.82 | 7.6 | 198.52 | 23.534 | 879 | 33.928 | 29.8633
2019-04-07 20:15:00 | 4.61 | 163.708 | 5.312 | 179.8933 | 5.7573 | 184.9933 | 6.3347 | 192.6267 | 23.118 | 879 | 35.132 | 26.65
2019-04-07 20:30:00 | 4.036 | 160.974 | 4.642 | 176.88 | 5.11 | 197.3 | 5.568 | 188.24 | 22.866 | 879 | 35.692 | 25.0853
2019-04-07 20:45:00 | 4.0587 | 176.9287 | 4.6807 | 194.4267 | 5.2567 | 191.4333 | 5.6987 | 197.48 | 22.806 | 879 | 35.8307 | 19.9253
2019-04-07 21:00:00 | 3.648 | 179.248 | 4.21 | 196.98 | 5.002 | 209.84 | 5.06 | 209.4 | 22.554 | 879 | 36.612 | 14.8333
2019-04-07 21:15:00 | 3.052 | 158.3653 | 3.5073 | 174.02 | 4.254 | 220.7733 | 4.2227 | 210.52 | 22.138 | 879 | 37.9173 | 13.132
2019-04-07 21:30:00 | 2.912 | 190.39 | 3.346 | 209.22 | 3.918 | 217.94 | 3.962 | 212.28 | 22.012 | 879 | 38.344 | 13.6553
2019-04-07 21:45:00 | 3.28 | 170.0767 | 3.782 | 186.8867 | 4.6153 | 213.0067 | 4.698 | 189.8533 | 21.9653 | 879 | 38.58 | 11.3827
2019-04-07 22:00:00 | 2.854 | 180.35 | 3.29 | 198.18 | 3.968 | 211.38 | 3.968 | 185.18 | 21.864 | 879 | 38.9 | 11.332
2019-04-07 22:15:00 | 2.5593 | 179.31 | 2.9447 | 197.0333 | 3.3573 | 210.6067 | 3.272 | 201.58 | 21.6147 | 879 | 39.636 | 12.2013
2019-04-07 22:30:00 | 2.664 | 172.608 | 3.066 | 189.68 | 3.354 | 199.76 | 4.022 | 198.66 | 21.6 | 879 | 39.598 | 10.648
2019-04-07 22:45:00 | 2.5347 | 160.6013 | 2.918 | 176.48 | 3.158 | 190.68 | 3.4153 | 206.8733 | 21.5573 | 878.7333 | 39.782 | 9.988
2019-04-07 23:00:00 | 2.388 | 158.492 | 2.754 | 174.16 | 3.044 | 189.28 | 3.496 | 203.56 | 21.22 | 878 | 41.058 | 7.8087
2019-04-07 23:15:00 | 2.1013 | 151.5813 | 2.414 | 166.5733 | 2.6907 | 181.0133 | 3.0453 | 186.48 | 21.2007 | 878 | 41.8407 | 6.5153
2019-04-07 23:30:00 | 1.308 | 169.72 | 1.502 | 186.5 | 1.954 | 202.18 | 2.63 | 185.4 | 20.988 | 878 | 42.528 | 5.2333
2019-04-07 23:45:00 | 2.2627 | 163.8 | 2.6047 | 179.9933 | 3.046 | 188.1933 | 2.9593 | 200.12 | 20.8173 | 878 | 43.2653 | 5.222